## Instructions
Gas Distribution Pipeline Service Provider
Annual Reporting Statement
This template is to be used by AusNet Gas Services to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return two (2) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT (such as NA) into cells that are to contain numeric data.

## CONTENTS
ANNUAL REPORTING
AusNet Gas Services
2023
CONTENTS
| TEMPLATE DATED | APRIL 2023
| SUBMISSION | Business & other details
| EXPENDITURE | E1. Expenditure Summary
E11. Labour
E21. ARS
| NETWORK | N1. Demand
N2. Network characteristcs
| SERVICE | S1.1. Customer numbers - by customer type
S1.2. Customer numbers - by tariff
S10. Supply quality
S11. Network reliability
S14. Network integrity
| FINANCIAL | F1. Income
F2. Capex
F3. Revenue
F4. Opex
F6. Related party transactions
F7. Provisions
F9. Pass throughs
F10. Assets
| ADMIN | Additional disclosures

## Business & other details
ANNUAL REPORTING
AusNet Gas Services
2023
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | AusNet (Gas)
| ACN/ABN |  |  | 86015036
| Business Address | [8 empty] | Postal Address
| Address 1 |  |  | Level 31 |  |  |  |  | Address 1 | Locked Bag 14051
| Address 2 |  |  | 2 Southbank Boulevard |  |  |  |  | Address 2
| Suburb |  |  | Southbank |  |  |  |  | Suburb | MELBOURNE
| State |  |  | Vic |  | Post code | 3004 |  | State | Vic | Post code | 8001
`
Contact Names
Name
Phone
Email
REGULATORY CONTROL PERIODS
|  | ANNUAL RINS | For period | 2023 | 2023 is the six month transitional period from 1 January 2023 to 30 June 2023
SUBMISSION DETAILS
|  |  | RIN type | Annual Reporting
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | .
|  |  | Submission Date | 2023-11-30
Contents
Instructions

## E1. Expenditure Summary
ANNUAL REPORTING
AusNet Gas Services
2023
E1. EXPENDITURE SUMMARY
E1.1 - CAPEX
E1.1.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023
Connections | 22060800.28
Mains replacement | 8524140.94
Mains augmentation | 1045944.12
Telemetry | 70549.08
Meter replacement | 6761893.67
ICT | 3240133.76
Capitalised network overheads | 3008313.29
Capitalised corporate overheads | 0
Other capex | 2507898.43
Capital contributions included in the above | 5888125.31
Total (less capital contributions) | 41331548.26
E1.1.2 - NON-REFERENCE SERVICES
Other Non-Reference Services | 273978.1
Capital contributions included in the above | 46048.44
Total (less capital contributions) | 227929.66
E1.2 - OPEX
E1.2.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023
repairs and maintenance | 7132231.32
marketing and retail incentives | 0
debt raising | 0
equity raising | 0
unaccounted for gas | 39157.04
jurisdictional charges | 2819813.54
GSL payments | 9240
other opex | 14451018.03
Total | 24451459.93
E1.2.2 - NON-REFERENCE SERVICES
Repairs and Maintenance | 2583413.65
Total | 2583413.65
E1.3 - CAPCONS
E1.3.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023
Connections | 2153016.9461
Mains replacement | 0
Mains augmentation | 0
Telemetry | 0
Meter replacement | 0
ICT | 0
Capitalised network overheads | 446111.749
Capitalised corporate overheads | 0
Other capex | 3288996.6149
Total | 5888125.31
E1.3.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023
Other Non-Reference Services | 46048.44
Total | 46048.44
E1.4 - CAPITALISED OVERHEADS
E1.4.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023
Connections | 1488898.38
Mains replacement | 563858.22
Mains augmentation | 62549.6
Telemetry | 4568.13
Meter replacement | 447862.55
ICT | 260422.64
Other capex | 180153.77
capital contributions included in the above | 446111.749
Total (less capital contributions) | 2562201.541
E1.4.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2023
Other Non-Reference Services | 18549.23
Capital contributions included in the above | 3117.6328
Total (less capital contributions) | 15431.5972
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E11. Labour
ANNUAL REPORTING
AusNet Gas Services
2023
E11. LABOUR
Tables E11.1 and E11.2 omitted.
E11.3 - LABOUR / NON-LABOUR EXPENDITURE SPLIT
EXPENDITURE
$0's, nominal
2023
E11.3.1 - OPEX
In-house labour expenditure | 5088463.93
Labour expenditure outsourced to related parties | 0
Labour expenditure outsourced to unrelated parties | 0
Non-labour expenditure | 21946410
Total | 27034873.93
E11.3.2 - CAPEX
In-house labour expenditure | 170877.6451
Labour expenditure outsourced to related parties | 0
Labour expenditure outsourced to unrelated parties | 0
Non-labour expenditure | 41388600.2748
Total | 41559477.92
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E21. ARS
ANNUAL REPORTING
AusNet Gas Services
2023
E21. ANCILLARY REFERENCE SERVICES
E21.1 - VOLUMES
VOLUMES
0's, number of services provided
Description | 2023
ARS - Reconnections | 752
ARS - Disconnections | 3103
ARS - Meter & Gas Installation test | 54
ARS - Special Meter Reads | 121492
Total | 125401
E21.2 omitted
E21.3 - EXPENDITURE
EXPENDITURE
$0's, nominal
2023
ARS - Reconnections | 32535.91
ARS - Disconnections | 39092.06
ARS - Meter & Gas Installation test | 4578.94
ARS - Special Meter Reads | 729745.94
Total | 805952.85
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N1. Demand
ANNUAL REPORTING
AusNet Gas Services
2023
N1. DEMAND
N1.1 - DEMAND - BY CUSTOMER TYPE
VOLUMES
GJ
2023
Residential | 13207280.643
Commercial | 2751037.815
Industrial | 11991680.89
Total | 27949999.348
N1.2 - DEMAND - BY TARIFF
VOLUMES
GJ
Tariff | 2023
Tariff V Central Domestic | 10054928.273
Tariff V Central Non-Domestic | 2003778.102
Tariff V Adjoining Central Domestic | 28295.675
Tariff V Adjoining Central Non-Domestic | 2328.586
Tariff V West Domestic | 2873573.08
Tariff V West Non-Domestic | 697018.366
Tariff V Adjoining West Domestic | 250483.615
Tariff V Adjoining West Non-Domestic | 47912.761
Tariff D Central | 8990488.65
Tariff D Adjoining Central | 91619.07
Tariff D West | 2471512.49
Tariff D Adjoining West | 15874.88
Tariff M Central | 281536.47
Tariff M Adjoining Central | 0
Tariff M West | 140649.33
Tariff M Adjoining West | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N2. Network characteristcs
ANNUAL REPORTING
AusNet Gas Services
2023
N2. NETWORK CHARACTERISTICS
N2.1 - NETWORK LENGTH - BY PRESSURE AND ASSET TYPE
VOLUMES
KM
2023
N2.1.1 - LOW PRESSURE
Cast Iron | 54.9632
PVC | 173.1999
Polyamide | 0
High density polyethylene (80) | 3.8412
High density polyethylene (100) | 1.1516
High density polyethylene (250) | 0
High density polyethylene (575) | 2.8939
Medium density polyethylene | 0
Other polyethylene | 0
Unprotected steel | 32.8312
Protected steel | 4.9454
Other | 0
N2.1.2 - MEDIUM PRESSURE
Cast Iron | 0.46177
PVC | 0
Polyamide | 0
High density polyethylene (80) | 16.7276
High density polyethylene (100) | 8.6527
High density polyethylene (250) | 24.6611
High density polyethylene (575) | 171.0774
Medium density polyethylene | 0
Other polyethylene | 0
Unprotected steel | 195.2146
Protected steel | 195.9288
Other | 0
N2.1.3 - HIGH PRESSURE
Cast Iron | 0.21746
PVC | 0.20424
Polyamide | 0
High density polyethylene (80) | 3965.0707
High density polyethylene (100) | 2775.7024
High density polyethylene (250) | 0.05313
High density polyethylene (575) | 2751.6289
Medium density polyethylene | 0
Other polyethylene | 51.3549
Unprotected steel | 0.67811
Protected steel | 2299.0407
Other | 0.00649
N2.1.4 - TRANSMISSION
Protected steel | 184
Other | 0
TOTAL | 12914.5072
N2.2 - CITY GATES/REGULATORS
VOLUMES
0's, number of assets
2023
City Gate | 43
Field Regulator | 109
District Regulator | 30
Total | 182
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.1. Customer numbers
ANNUAL REPORTING
AusNet Gas Services
2023
S1. CUSTOMER NUMBERS
S1.1 - CUSTOMER NUMBERS - BY CUSTOMER TYPE
VOLUMES
0's, number of customers
2023
A. RESIDENTIAL
Customer numbers as at the begining of the period | 777149
Customer numbers as at the end of the period | 785032
Total customer connections | 8724
Total customer disconnections | 841
B. COMMERCIAL
Customer numbers as at the begining of the period | 19230
Customer numbers as at the end of the period | 19326
Total customer connections | 127
Total customer disconnections | 31
C. INDUSTRIAL
Customer numbers as at the begining of the period | 331
Customer numbers as at the end of the period | 332
Total customer connections | 1
Total customer disconnections | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.2. Customer numbers
ANNUAL REPORTING
AusNet Gas Services
2023
S1. CUSTOMER NUMBERS
S1.2 - CUSTOMER NUMBERS - BY TARIFF
S1.2.1 - CUSTOMER NUMBERS AS AT the begining of the period
VOLUMES
0's, number of customers
2023
Tariff V Central Domestic | 604152
Tariff V Central Non-Domestic | 12127
Tariff V Adjoining Central Domestic | 2406
Tariff V Adjoining Central Non-Domestic | 26
Tariff V West Domestic | 157907
Tariff V West Non-Domestic | 6752
Tariff V Adjoining West Domestic | 12684
Tariff V Adjoining West Non-Domestic | 325
Tariff D Central | 222
Tariff D Adjoining Central | 1
Tariff D West | 72
Tariff D Adjoining West | 2
Tariff M Central | 26
Tariff M Adjoining Central | 0
Tariff M West | 8
Tariff M Adjoining West | 0
Total | 796710
S1.2.2 - CUSTOMER NUMBERS AS AT the end of the period
VOLUMES
0's, number of customers
2023
Tariff V Central Domestic | 610777
Tariff V Central Non-Domestic | 12191
Tariff V Adjoining Central Domestic | 2441
Tariff V Adjoining Central Non-Domestic | 33
Tariff V West Domestic | 158996
Tariff V West Non-Domestic | 6777
Tariff V Adjoining West Domestic | 12818
Tariff V Adjoining West Non-Domestic | 325
Tariff D Central | 222
Tariff D Adjoining Central | 1
Tariff D West | 72
Tariff D Adjoining West | 2
Tariff M Central | 27
Tariff M Adjoining Central | 0
Tariff M West | 8
Tariff M Adjoining West | 0
Total | 804690
S1.2.3 - TOTAL CUSTOMER CONNECTIONS
VOLUMES
0's, number of customers
2023
Tariff V Central Domestic | 7314
Tariff V Central Non-Domestic | 81
Tariff V Adjoining Central Domestic | 42
Tariff V Adjoining Central Non-Domestic | 7
Tariff V West Domestic | 1225
Tariff V West Non-Domestic | 38
Tariff V Adjoining West Domestic | 143
Tariff V Adjoining West Non-Domestic | 1
Tariff D Central | 0
Tariff D Adjoining Central | 0
Tariff D West | 0
Tariff D Adjoining West | 0
Tariff M Central | 1
Tariff M Adjoining Central | 0
Tariff M West | 0
Tariff M Adjoining West | 0
Total | 8852
S1.2.4 - TOTAL CUSTOMER DISCONNECTIONS
VOLUMES
0's, number of customers
2023
Tariff V Central Domestic | 689
Tariff V Central Non-Domestic | 17
Tariff V Adjoining Central Domestic | 7
Tariff V Adjoining Central Non-Domestic | 0
Tariff V West Domestic | 136
Tariff V West Non-Domestic | 13
Tariff V Adjoining West Domestic | 9
Tariff V Adjoining West Non-Domestic | 1
Tariff D Central | 0
Tariff D Adjoining Central | 0
Tariff D West | 0
Tariff D Adjoining West | 0
Tariff M Central | 0
Tariff M Adjoining Central | 0
Tariff M West | 0
Tariff M Adjoining West | 0
Total | 872
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S10. Supply quality
ANNUAL REPORTING
AusNet Gas Services
2023
S10. SUPPLY QUALITY
S10.1 - PRESSURE FAULTS
VOLUMES
0's, number of events
2023
Poor Pressure events - mains | 4
Poor Pressure events - services | 4
Poor Pressure event - meters | 0
Pressure events impacting 5+ customers | 3
Pressure events with >12 hr resolution | 3
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S11. Network reliability
ANNUAL REPORTING
AusNet Gas Services
2023
S11. NETWORK RELIABILITY
S11.1 - NETWORK OUTAGES
S11.1.1 - PLANNED
VOLUMES
0's, number of events
2023
Count of outage events | 50
Outages affecting 5+ customers | 45
Outages with >12 hr supply interuption | 1
S11.1.2 - UNPLANNED
VOLUMES
0's, number of events
2023
Count of outage events | 136
Outages affecting 5+ customers | 3
Outages with >12 hr supply interuption | 3
S11.2 - LEAKS - BY ASSET TYPE AND CAUSE OF LEAK
S11.2.1 - LOW PRESSURE
VOLUMES
Number per KM
2023
Cast Iron
Broken pipe - cracked | 0.036855
Broken pipe - full break | 0
Corrosion | 0.018428
Joint leak | 0.14742
3rd party damage | 0
Identified water in main | 0
Other | 2.6167
PVC
Broken pipe - cracked | 0.011592
Broken pipe - full break | 0.011592
Corrosion | 0.017388
Joint leak | 0.0057959
3rd party damage | 0
Identified water in main | 0
Other | 0.8404
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 1.4159
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.030732
Corrosion | 0
Joint leak | 0.061465
3rd party damage | 0
Identified water in main | 0
Other | 1.4752
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.20221
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 1.8199
S11.2.2 - MEDIUM PRESSURE
VOLUMES
Number per KM
2023
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0.35869
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.081099
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0.60825
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.011691
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0.38579
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.030733
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0.63515
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.0051039
Corrosion | 0.061247
Joint leak | 0
3rd party damage | 0.015312
Identified water in main | 0
Other | 0.67371
S11.2.3 - HIGH PRESSURE
VOLUMES
Number per KM
2023
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.0010088
Joint leak | 0
3rd party damage | 0.0005044
Identified water in main | 0
Other | 0.090036
High density polyethylene (100)
Broken pipe - cracked | 0.00036027
Broken pipe - full break | 0
Corrosion | 0.00036027
Joint leak | 0
3rd party damage | 0.00072054
Identified water in main | 0
Other | 0.082862
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.0090855
Joint leak | 0.0018171
3rd party damage | 0.00036342
Identified water in main | 0
Other | 0.20243
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0.077889
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0.00043496
Broken pipe - full break | 0.00086993
Corrosion | 0.023923
Joint leak | 0
3rd party damage | 0.0026098
Identified water in main | 0
Other | 0.31709
S11.3 - UNACCOUNTED FOR GAS - TRANSMISSION AND DISTRIBUTION
VOLUMES
TJ
Place of loss | 2023
Declared Transmission System | 1426.3166
Non Delcared Transmission System | 12.2691
Total | 1438.5857
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S14. Network integrity
ANNUAL REPORTING
AusNet Gas Services
2023
S14. NETWORK INTEGRITY
S14.1 - LOSS OF CONTAINMENT
VOLUMES
0's
| Units | 2023
S14.1.1 - MAINS
Number of Leaks - publicly reported | number of leaks | 217
Number of Leaks - found through survey | number of leaks | 192
Repaired Leaks | number of leaks | 409
Length of network subject to survey | km | 349.39
S14.1.2 - SERVICES
Number of Leaks - publicly reported | number of leaks | 2290
Number of Leaks - found through survey | number of leaks | 25
Repaired Leaks | number of leaks | 2315
Number of services surveyed | number of services | 0
S14.1.3 - METERS
Number of Leaks - publicly reported | number of leaks | 4172
Number of Leaks - found through survey | number of leaks | 0
Repaired Leaks | number of leaks | 4172
Number of meters surveyed | number of meters | 0
S14.2 - INSTANCES OF DAMAGE
VOLUMES
0's
| Units | 2023
Mains | number of instances | 16
Services | number of instances | 571
Meters | number of instances | 5
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F1. Income
ANNUAL REPORTING
AusNet Gas Services
2023
F1. INCOME
F1.1 - AUDITED STATUTORY ACCOUNTS
$0's, nominal
2023
F1.1.1 - REVENUE
Distribution revenue
Capital contributions
Profit from sale of fixed assets
Other revenue
Total revenue
F1.1.2 - EXPENDITURE
Operating expenditure
Depreciation
Net finance expenses
Loss from sale of fixed assets
Impairment losses
Other expenses
Total expenditure
F1.1.3 - PROFIT
Profit before tax
Income tax expenses (/ benefit)
Profit after tax
F1.2 - ADJUSTMENTS
$0's, nominal
2023
F1.2.1 - REVENUE
Distribution revenue
Capital contributions
Profit from sale of fixed assets
Other Revenue
Total revenue
F1.2.2 - EXPENDITURE
Operating expenditure
Depreciation
Net finance expenses
Loss from sale of fixed assets
Impairment losses
Other expenses
Total expenditure
F1.2.3 - PROFIT
Profit before tax
Income tax expenses (/ benefit)
Profit after tax
F1.3 - DISTRIBUTION BUSINESS
$0's, nominal
2023
F1.3.1 - REVENUE
Distribution revenue | 0
Capital contributions | 0
Profit from sale of fixed assets | 0
Other Revenue | 0
Total revenue | 0
F1.3.2 - EXPENDITURE
Operating expenditure | 0
Depreciation | 0
Net finance expenses | 0
Loss from sale of fixed assets | 0
Impairment losses | 0
Other expenses | 0
Total expenditure | 0
F1.3.3 - PROFIT
Profit before tax | 0
Income tax expenses (/ benefit) | 0
Profit after tax | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F2. Capex
ANNUAL REPORTING
AusNet Gas Services
2023
F2. CAPITAL EXPENDITURE
F2.4 - CAPEX BY ASSET CLASS
F2.4.2 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2023
Transmission Pipelines | 0
Distribution Pipelines | 16186781.2468
Service Pipes | 15873593.0572
Cathodic Protection | 191938.17
Supply Regulators / Valve Stations | 439964.291
Meters | 10904144.915
SCADA and remote control | 78631.8022
Other - IT | 3497041.8078
Other - non IT | 31949.41
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY23 | 15628.87
Total | 47219673.57
F2.4.3 - MOVEMENT IN PROVISIONS ALLOCATED TO AS-INCURRED CAPEX
EXPENDITURE
$0's, nominal
Asset Class | 2023
Transmission Pipelines | 0
Distribution Pipelines | -60025.2059
Service Pipes | -58863.8147
Cathodic Protection | -711.7615
Supply Regulators / Valve Stations | -1631.5132
Meters | -40435.6823
SCADA and remote control | -291.5892
Other - IT | -12968.0294
Other - non IT
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY23
Total | -174927.5961
F2.5 - CAPITAL CONTRIBUTIONS BY ASSET CLASS
F2.5.1 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2023
Transmission Pipelines | 0
Distribution Pipelines | 3106662.0845
Service Pipes | 1240122.3845
Cathodic Protection | 0
Supply Regulators / Valve Stations | 0
Meters | 1541340.841
SCADA and remote control | 0
Other - IT | 0
Other - non IT | 0
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY23 | 0
0
Total | 5888125.31
F2.6 - DISPOSALS BY ASSET CLASS
F2.6.2 - ACTUAL
EXPENDITURE
$0's, nominal
Asset Class | 2023
Transmission Pipelines | 0
Distribution Pipelines | 0
Service Pipes | 0
Cathodic Protection | 0
Supply Regulators / Valve Stations | 0
Meters | 0
SCADA and remote control | 0
Other - IT | 0
Other - non IT | 0
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY23 | 0
0
Total | 0
F2.7 - IMMEDIATE EXPENSING CAPITAL EXPENDITURE
ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2023
Transmission Pipelines
Distribution Pipelines
Service Pipes
Cathodic Protection
Supply Regulators / Valve Stations
Meters
SCADA and remote control
Other - IT
Other - non IT
Non-approved asset class - Non- Network Leasehold Land & Buildings - CY23
Total
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F3. Revenue
ANNUAL REPORTING
AusNet Gas Services
2023
F3. REVENUE
F3.1 - REFERENCE SERVICES
F3.1.1 - REVENUE - BY TARIFF
REVENUE
$0's, nominal
Tariff | 2023
Tariff V Central Domestic | 73462695.0901
Tariff V Central Non-Domestic | 2244872.8174
Tariff V Adjoining Central Domestic | 286362.612
Tariff V Adjoining Central Non-Domestic | 10593.0569
Tariff V West Domestic | 16578619.4294
Tariff V West Non-Domestic | 811134.3573
Tariff V Adjoining West Domestic | 2005214.2906
Tariff V Adjoining West Non-Domestic | 187710.9022
Tariff D Central | 530324.56
Tariff D Adjoining Central | 4221.14
Tariff D West | 181081.78
Tariff D Adjoining West | 3222.48
Tariff M Central | 68707.71
Tariff M Adjoining Central | 0
Tariff M West | 26965.46
Tariff M Adjoining West | 0
Total | 96401725.6859
F3.2 - ANCILLARY REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2023
Reconnections | 48461.56
Disconnections | 200384.14
Meter and Gas Installation test | 10382.84
Special Meter Reads | 1212612.88
Total | 1471841.42
F3.3 - REBATEABLE SERVICES
REVENUE
$0's, nominal
Service Name | 2023
Total | 0
F3.4 - NON-REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2023
Non-Reference Services | 1995965.76
Total | 1995965.76
F3.5 - TOTAL REVENUE
2023
Total | 99869532.8659
F3.6 - REWARDS AND PENALTIES FROM INCENTIVE SCHEMES
Scheme | 2023
Efficiency carryover | 5185163.9032
Total | 5185163.9032
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F4. Opex
ANNUAL REPORTING
AusNet Gas Services
2023
F4. OPERATING EXPENDITURE
F4.1 - OPEX - BY PURPOSE
F4.1.1 - AUDITED STATUTORY ACCOUNTS
EXPENDITURE
$0's, nominal
Description | 2023
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total
F4.1.2 - ADJUSTMENTS
EXPENDITURE
$0's, nominal
Description | 2023
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total
F4.1.3 - DISTRIBUTION BUSINESS
EXPENDITURE
$0's, nominal
Description | 2023
repairs and maintenance | 9715644.97
marketing and retail incentives | 0
debt raising | 0
equity raising | 0
unaccounted for gas | 39157.04
jurisdictional charges | 2819813.54
GSL payments | 9240
other opex | 14451018.03
Total | 27034873.58
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F6. Related party transactions
ANNUAL REPORTING
AusNet Gas Services
2023
F6. RELATED PARTY TRANSACTIONS
F6.1 - AusNet (Gas) PAYMENTS GREATER THAN $1,000,000 MADE TO RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
Name of related party | 2023
F6.1.1 - EXPENDITURE
F6.1.2 - CORRESPONDING EXPENSES INCURRED BY RELATED PARTY
F6.2 - AusNet (Gas) PAYMENTS GREATER THAN $1,000,000 RECEIVED FROM RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
2023
F6.2.1 - REVENUE
F6.2.2 - CORRESPONDING EXPENSES INCURRED BY AusNet (Gas)
F6.3 - RELATED PARTY MARGIN EXPENDITURE - BY CATEGORY
F6.3.1 - CAPEX
EXPENDITURE
$0's, nominal
Capex category | 2023
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 0
F6.3.2 - OPEX
EXPENDITURE
$0's, nominal
Opex category | 2023
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0
F6.4 - PER CENTAGE OF CAPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2023
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
F6.5 - PER CENTAGE OF OPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2023
Total
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F7. Provisions
ANNUAL REPORTING
AusNet Gas Services
2023
F7. PROVISIONS
F7 - PROVISIONS
VALUES $0's, nominal
2023
Provision for Doubtful Debts
Provision for doubtful debt is an allowance that has been made for estimated unrecoverable amounts, determined by reference to past default experience of individual debtors.
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component | 0
Capex component | 0
Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | 0
Capex component | 0
Other component | 0
Unused amounts reversed during the period
Opex component | 0
Capex component | 0
Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 0
Capex component | 0
Other component | 0
Closing balance (carrying amount at the end of the period)
Employee Entitlements
Provisions for employee entitlements are liabilities for wages and salaries, including non-monetary benefits and annual leave are recognised in respect of employees’ services up to the reporting date and are measured at the amounts expected to be paid when the liabilities are settled.
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component | 44227.4664
Capex component | 23604.8936
Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -51089.3574
Capex component | -27267.1926
Other component | 0
Unused amounts reversed during the period
Opex component | 11087.0678
Capex component | 5917.3422
Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 0
Capex component | 0
Other component | -1817.64
Closing balance (carrying amount at the end of the period)
Environmental Provision
This provision is used for environmental matters such land remediation costs. The liability is determined based on the present value of the obligation as appropriate.
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component | 0
Capex component | 0
Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -690000.3
Capex component | 0
Other component | 0
Unused amounts reversed during the period
Opex component | -100650.2251
Capex component | 0
Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 0
Capex component | 0
Other component | 853995.7585
Closing balance (carrying amount at the end of the period)
Miscellaneous Provision
Provision represents sundry matters including the work out provision and carbon tax pass through
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component | 0
Capex component | 0
Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -2094386.4076
Capex component | -135690.265
Other component | 0
Unused amounts reversed during the period
Opex component | -87676.6124
Capex component | -41492.3744
Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 0
Capex component | 0
Other component | 0
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F9. Pass throughs
ANNUAL REPORTING
AusNet Gas Services
2023
F9. PASS THROUGHS
F9.1 - PASS THROUGH EVENT EXPENDITURE
EXPENDITURE
$0's, nominal
Description of passthrough event | 2023
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F10. Assets
ANNUAL REPORTING
AusNet Gas Services
2023
F10. ASSETS
F10.1 - CAPITAL BASE VALUES
VALUES
$0's, nominal
2023
FOR TOTAL ASSET BASE
Opening value | 1809239338.4376
Inflation addition | 38073218.4015
Straight line depreciation | 38432859.8284
Actual additions (recognised in RAB) | 41798358.7917
Disposals | 0
Closing value | 1850678055.8024
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY