## Changes summary
Data category 02: Operational outputs
Changes from January 2023 Consultation workbooks
Data requirements
Worksheet | Table | Change | Rationale
Asset replacements | All | Units of measure updated | Consistency with other units of measure now being used.

## Introduction
AER Network information requirements review
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 02: Operational outputs
Operational outputs are measures of the activities undertaken by a TNSP or the volume of services delivered to customers by the TNSP.
Operational output data is used for benchmarking TNSPs, and is useful for understanding the overall performance of TNSPs, and the volume of services they provide to their customers.

## Definitions
Data category 02: Operational outputs
Definitions have been provided for each column descriptor as well as each row descriptor of the data tabs in this workbook. To find the full meaning of a data element, please consider all relevant column, row and table heading definitions provided in the table below.
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
Connections
Connection point | Has the meaning prescribed in the National Electricity Rules, as updated from time to time. Definition as at Version 203, December 2023: In relation to a declared shared network and a distribution network (other than an embedded network), the agreed point of supply established between Network Service Provider(s) and another Registered Participant, Non-Registered Customer or franchise customer and includes a parent connection point. In relation to other transmission networks, the point at which power flows to or from a person connected to the transmission network can be isolated from the transmission network. If there is more than one such point, the Network Service Provider and that person will agree which point is the connection point in their connection agreement. In relation to an embedded network, the child connection point, unless otherwise specified.
Connection voltage | Nominal voltage (KV).
Connection point rating | The normal cyclic rating for a connection point.
Connection services (transmission) | As defined in the NER, an entry service (being a service provided to serve a generator or a group of generators, or a network service provider or a group of network service providers, at the same connection point) or an exit service (being a service provided to serve a transmission customer or distribution customer or a group or transmission customers or distribution customers, or a network service provider or a group of network service providers, at the same connection point).
Overhead conductor | Overhead conductor / line Assets located above ground used for the primary function of transmitting power in a transmission network or distributing power in a distribution network. Excludes assets that are included in any other asset category or asset group.
Underground asset (cable) | An asset with the primary function of distributing power, below ground. This includes cables, cable joints and other assets used to connect the underground network to the overhead system. It excludes any pole mounted assets that are included in any other asset group. This does not include underground substations and transformers.
Asset replacements
Asset replacement | The replacement of an asset with its modern equivalent where the asset has reached the end of its economic life.
Asset failure | The failure of an asset to perform its intended function safely and in compliance with jurisdictional regulations, not as a result of external impacts such as: (a) extreme or atypical weather events; or (b) third party interference, such as traffic accidents and vandalism; or (c) wildlife interference, but only where the wildlife interference directly, clearly and unambiguously influenced asset performance; or (d) vegetation interference, but only where the vegetation interference directly, clearly and unambiguously influenced asset performance. Excludes planned interruptions.
Assets inspected | The number of assets inspected in accordance with an asset inspection cycle and/or in response to an asset failure.
Assets maintained | The number of assets subject to maintenance work, excluding asset inspection.
Transmission tower | Vertically oriented asset that provides load bearing structural support for conductors or other lines assets. Includes associated transmission tower support structures, insulators, earthing, footings, where these are replaced in conjunction with a transmission tower replacement project. It excludes any assets that are included in any other asset group.
Transmission tower support structures | Horizontally oriented structures and their components that provide support for conductors or other line assets to be located on a transmission tower and provide adequate clearances.
Transmission cable | This asset has the primary function of transmitting power, below ground, between segments of the network. Includes the material primarily used to transmit the power and cable ends, joints, terminations and associated hardware and equipment (e.g. surge diverters, etc.), cable tunnels, ducts, pipes, pits and pillars. It excludes any assets that are included in any other asset group.
Substation switchbay | An asset used to provide switching within the substation. Includes disconnect switches, circuit breakers, current transformers, voltage transformers and associated busbars and steelwork.
Substation power transformer | Asset used to transform between voltage levels within segments of the network. This includes all its components such as the cooling systems and tap changing equipment. It excludes any assets that are included in any other asset group. For the avoidance of doubt, this does not include instrument transformers as defined in the National Electricity Rules.
Substation reactive plant | These are assets used to support the transfer of real power across the network. This includes reactors, synchronous condensers, shunt capacitors, static VAr compensators, dynamic VAr compensators. It excludes any assets that are included in any other asset group.
SCADA and network control and protection systems | SCADA and network control hardware, software and associated IT systems. Includes protection and control systems and communication systems. Excludes SCADA and Network Control systems that exist within gateway devices (routers, bridges etc.) at corporate offices. Protection systems has the meaning prescribed in the National Electricity Rules.
Overhead conductor | Overhead conductor / line Assets located above ground used for the primary function of transmitting power in a transmission network or distributing power in a distribution network. Excludes assets that are included in any other asset category or asset group.
Transmission cable | This asset has the primary function of transmitting power, below ground, between segments of the network. Includes the material primarily used to transmit the power and cable ends, joints, terminations and associated hardware and equipment (e.g. surge diverters, etc.), cable tunnels, ducts, pipes, pits and pillars. It excludes any assets that are included in any other asset group.
Other outputs
Asset augmentation activities
Units added | New assets are added to the network.
Project ID | NSP’s identifier for the project. This may be the project name, location and/or code.

## Validations
Data category 02: Operational outputs
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | Input cells | Rules applying
Connections | Description of connection points | Project name (Business defined) | Project names must match project names used in Data category 07: Capex - Connections Direct material expenditure and Direct labour expenditure
NULL valid
|  | Connection point rating (MVA) | Number
≥0
Null invalid if project identified
|  | Connection voltage (KV) | Number
≥0
Null invalid if project identified
|  | Underground / Overhead | Text only "Underground" or "Overhead"
Null invalid if project identified
|  | Year connection project completed | YYYY
Null invalid if project identified
Asset Replacements | Asset replacement activities | Number of assets | ≥0
Number
NULL invalid
|  | km | ≥0
Number
NULL invalid
|  | Other - Interconnector defined categories | free text
Other outputs | Material projects | Project name | Free text
NULL valid
|  | Project ID | Free text
NULL valid (unless Project name <> NULL)
|  | Project Type | Free text
NULL valid (unless Project name <> NULL)
|  | Project Trigger | Free text
NULL valid (unless Project name <> NULL)
|  | Voltage (KV) | ≥0
Number
NULL valid (unless Project name <> NULL)
|  | Assets added | ≥0
Number
NULL valid (unless Project name <> NULL)

## Checks and Totals
Data category 02: Operational outputs
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference | Worksheet | Table | Sub table | Reference | Check

## Connections
Data category 02: Operational outputs
| Connections (transmission) |  |  |  | Prescribed Transmission Services
Stakeholder Comments | [5 empty] | Current RIN reference | Assurance standard - Non-Financial data
Description of connection projects
|  | Connection Point Rating (MVA) | Connection Voltage (KV) | Underground / Overhead | Year Connection Project Completed
| Project name | MVA | KV | Underground / Overhead | Year
| <Business defined project 1> |  |  |  |  | CA2.5.2 | ASAE3000
| <Business defined project 2> |  |  |  |  | CA2.5.2 | ASAE3000
| <Business defined project 3> |  |  |  |  | CA2.5.2 | ASAE3000
| <Business defined project 4> |  |  |  |  | CA2.5.2 | ASAE3000
| <Business defined project 5> |  |  |  |  | CA2.5.2 | ASAE3000
<additional rows allowed>

## Asset Replacements
Data category 02: Operational outputs
Asset replacement activities
Stakeholder Comments |  | Units | Asset Replacements | Asset Failures | Assets Maintained | Assets Inspected | Current RIN reference | Assurance standard - Non-Financial data
| Transmission towers: highest operating voltage; circuit configuration | Number of assets |  |  |  |  | NEW | ASAE3000
| Transmission tower support structures by: highest operating voltage; circuit configuration | Number of assets |  |  |  |  | NEW | ASAE3000
| Overhead Conductors by: voltage; maximum continuous rating | km |  |  |  |  | NEW | ASAE3000
| Transmission cables by: highest operating voltage; insulation type | km |  |  |  |  | NEW | ASAE3000
| Substation switchbays by: highest operating voltage; switch type | Number of assets |  |  |  |  | NEW | ASAE3000
| Substation power transformers by: highest operating voltage; ampere rating | Number of assets |  |  |  |  | NEW | ASAE3000
| Substation reactive plant by: highest operating voltage; function | Number of assets |  |  |  |  | NEW | ASAE3000
| SCADA, network control and protection systems by: function | Number of assets |  |  |  |  | NEW | ASAE3000
| Other by: Interconnector defined | Number of assets |  |  |  |  | NEW | ASAE3000

## Other outputs
Data category 02: Operational outputs
Other outputs
Stakeholder Comments |  | Units | Assets added | Current RIN reference | Assurance standard - Non-Financial data
Material projects
PROJECT 1
| Project name | Free text |  | CA2.3.2 | ASAE3000
| Project ID | Free text |  | CA2.3.2 | ASAE3000
| Project type | Free text |  | CA2.3.2 | ASAE3000
| Project trigger | Free text |  | CA2.3.2 | ASAE3000
| Voltage | KV |  | CA2.3.2 | ASAE3000
Assets added
| <NSP defined asset type1> | <NSP defined unit of measure (km, number, MVA)> |  | CA2.3.2 | ASAE3000
| <NSP defined asset type2> | <NSP defined unit of measure (km, number, MVA)> |  | CA2.3.2 | ASAE3000
| <NSP defined asset type3> | <NSP defined unit of measure (km, number, MVA)> |  | CA2.3.2 | ASAE3000
| <NSP defined asset type4> | <NSP defined unit of measure (km, number, MVA)> |  | CA2.3.2 | ASAE3000
<additional assets allowed>
<additional projects allowed>