## Changes summary
Data category 03: Network metrics
Changes from January 2023 Consultation workbooks
Data requirements
Worksheet name | Table name | Change | Rationale
All | Units of measure | Updated units of measure | Units of measure updated to provide clarity and consistency in reporting.
Capacity | Circuit capacity | Column heading changed to capacity | Clarify reporting requirements
Safety | ALL | The safety data has been removed from the workbook. | The AER has opted to request information on safety incidents as supporting information, rather than prescribing data requirements. This will allow for each NSP to provide information that reflects its safety management and reporting framework, and will provide the AER with the ability to develop a more consistent safety reporting framework in the future.

## Introduction
AER Network information requirements review
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 03: Network metrics
Network metrics describe the physical characteristics of the network, including the volume, capacity, location and age of assets, and information about the environment in which the network operates.
Network metrics data used to assess expenditure forecasts, and inform specific analysis (such as benchmarking analysis). It also provides insights to the operating environment of the network, that may impact the operational and investment decisions of the network business.
Yes
No
not sure
other - see explanation

## Definitions
Data category 03: Network metrics
Definitions have been provided for each column descriptor as well as each row descriptor of the data tabs in this workbook. To find the full meaning of a data element, please consider all relevant column, row and table heading definitions provided in the table below.
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
Network assets - volume
Installed assets - quantity currently in commission by year | The number of assets currently in commission and the year they were installed.
Transmission tower | Vertically oriented asset that provides load bearing structural support for conductors or other lines assets. Includes associated transmission tower support structures, insulators, earthing, footings, where these are replaced in conjunction with a transmission tower replacement project. It excludes any assets that are included in any other asset group.
Transmission tower support structures | Horizontally oriented structures and their components that provide support for conductors or other line assets to be located on a transmission tower and provide adequate clearances.
Overhead conductor | Overhead conductor / line Assets located above ground used for the primary function of transmitting power in a transmission network or distributing power in a distribution network. Excludes assets that are included in any other asset category or asset group.
Transmission cable | This asset has the primary function of transmitting power, below ground, between segments of the network. Includes the material primarily used to transmit the power and cable ends, joints, terminations and associated hardware and equipment (e.g. surge diverters, etc.), cable tunnels, ducts, pipes, pits and pillars. It excludes any assets that are included in any other asset group.
Substation switchbay | An asset used to provide switching within the substation. Includes disconnect switches, circuit breakers, current transformers, voltage transformers and associated busbars and steelwork.
Substation power transformer | Asset used to transform between voltage levels within segments of the network. This includes all its components such as the cooling systems and tap changing equipment. It excludes any assets that are included in any other asset group. For the avoidance of doubt, this does not include instrument transformers as defined in the National Electricity Rules.
Substation reactive plant | These are assets used to support the transfer of real power across the network. This includes reactors, synchronous condensers, shunt capacitors, static VAr compensators, dynamic VAr compensators. It excludes any assets that are included in any other asset group.
SCADA and network control and protection systems | SCADA and network control hardware, software and associated IT systems. Includes protection and control systems and communication systems. Excludes SCADA and Network Control systems that exist within gateway devices (routers, bridges etc.) at corporate offices. Protection systems has the meaning prescribed in the National Electricity Rules.
Length
Circuit length | Circuit length is calculated from the route length (measured in kilometres) of lines in service (the total length of feeders including all spurs), where each SWER line, single-phase line, and three-phase line counts as one line. A double circuit line counts as twice the length. The length does not take into account vertical components such as sag.
Overhead network assets | Assets used to conduct electricity from one point to another above ground. These include poles, pole-top structures and overhead conductors. This does not include pole top substations and transformers.
Underground asset (cable) | An asset with the primary function of distributing power, below ground. This includes cables, cable joints and other assets used to connect the underground network to the overhead system. It excludes any pole mounted assets that are included in any other asset group. This does not include underground substations and transformers.
Capacity
Estimated overhead network weighted average MVA capacity by voltage class | For overhead network, estimated typical or weighted average capacities for each of the listed voltage classes under normal circumstances taking account of limits imposed by thermal or by voltage drop considerations as relevant.
Estimated underground network weighted average MVA capacity by voltage class | For underground network, estimated typical or weighted average capacities for each of the listed voltage classes under normal circumstances taking account of limits imposed by thermal or by voltage drop considerations as relevant.

## Validations
Data category 03: Network metrics
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | input cells | Rules applying
Network assets - volume | Installed assets - quantity currently in commission by year | Number of assets | ≥0
Number
NULL valid
|  | km | ≥0
Number
NULL valid
|  | MVA | ≥0
Number
NULL valid
Length | Length data | km | ≥0
Number
NULL invalid
Capacity | Circuit capacity | MVA | ≥0
Number
NULL invalid

## Checks and Totals
Data category 03: Network metrics
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference | Worksheet | Table | Sub table | Reference | Check

## Network Assets - Volume
Data category 03: Network metrics
Network Assets (Volume)
Stakeholder Comments | [6 empty] | Current RIN reference | Assurance standard - Non-Financial data
| Installed assets - quantity currently in commission by year | Units | Current FY | FY-1 | … | FY-30
| Transmission towers | Number of assets |  |  | … |  | RA PTS Asset aging | ASAE3000
| Transmission tower support structures | Number of assets |  |  | … |  | RA PTS Asset aging | ASAE3000
| Conductors | km |  |  | … |  | RA PTS Asset aging | ASAE3000
| Transmission cables | km |  |  | … |  | RA PTS Asset aging | ASAE3000
| Substation switchbays | Number of assets |  |  | … |  | RA PTS Asset aging | ASAE3000
| Substation power transformers | MVA |  |  | … |  | RA PTS Asset aging | ASAE3000
| Substation reactive plant | Number of assets |  |  | … |  | RA PTS Asset aging | ASAE3000
| SCADA, network control and protection systems | Number of assets |  |  | … |  | RA PTS Asset aging | ASAE3000
| Other | Number of assets |  |  | … |  | RA PTS Asset aging | ASAE3000

## Length
Data category 03: Network metrics
Length
Stakeholder Comments |  | Units |  | Current RIN reference | Assurance standard - Non-Financial data
| Length data |  | Length
| OVERHEAD NETWORK LENGTH OF CIRCUIT AT EACH VOLTAGE | km | 0
| 500 kV | km |  | NEW | ASAE3000
| 330 kV | km |  | NEW | ASAE3000
| 275 kV | km |  | NEW | ASAE3000
| 220 kV | km |  | NEW | ASAE3000
| 132 kV | km |  | NEW | ASAE3000
| 110 kV | km |  | NEW | ASAE3000
| 88 kV | km |  | NEW | ASAE3000
| 66 kV | km |  | NEW | ASAE3000
| 33 kV | km |  | NEW | ASAE3000
| 22 kV | km |  | NEW | ASAE3000
| 11 kV | km |  | NEW | ASAE3000
| Other voltages | km |  | NEW | ASAE3000
| UNDERGROUND CABLE CIRCUIT LENGTH AT EACH VOLTAGE | km | 0
| 500 kV | km |  | NEW | ASAE3000
| 330 kV | km |  | NEW | ASAE3000
| 275 kV | km |  | NEW | ASAE3000
| 220 kV | km |  | NEW | ASAE3000
| 132 kV | km |  | NEW | ASAE3000
| 110 kV | km |  | NEW | ASAE3000
| 88 kV | km |  | NEW | ASAE3000
| 66 kV | km |  | NEW | ASAE3000
| 33 kV | km |  | NEW | ASAE3000
| 22 kV | km |  | NEW | ASAE3000
| 11 kV | km |  | NEW | ASAE3000
| Other voltages | km |  | NEW | ASAE3000

## Capacity
Data category 03: Network metrics
Capacity
Stakeholder Comments |  | Units |  | Current RIN reference | Assurance standard - Non-Financial data
| Circuit Capacity |  | Capacity
ESTIMATED OVERHEAD NETWORK WEIGHTED AVERAGE MVA CAPACITY BY VOLTAGE CLASS
| 500 kV | MVA |  | NEW | ASAE3000
| 330 kV | MVA |  | NEW | ASAE3000
| 275 kV | MVA |  | NEW | ASAE3000
| 220 kV | MVA |  | NEW | ASAE3000
| 132 kV | MVA |  | NEW | ASAE3000
| 110 kV | MVA |  | NEW | ASAE3000
| 88 kV | MVA |  | NEW | ASAE3000
| 66 kV | MVA |  | NEW | ASAE3000
| 33 kV | MVA |  | NEW | ASAE3000
| 22 kV | MVA |  | NEW | ASAE3000
| 11 kV | MVA |  | NEW | ASAE3000
ESTIMATED UNDERGROUND NETWORK WEIGHTED AVERAGE MVA CAPACITY BY VOLTAGE CLASS
| 500 kV | MVA |  | NEW | ASAE3000
| 330 kV | MVA |  | NEW | ASAE3000
| 275 kV | MVA |  | NEW | ASAE3000
| 220 kV | MVA |  | NEW | ASAE3000
| 132 kV | MVA |  | NEW | ASAE3000
| 110 kV | MVA |  | NEW | ASAE3000
| 88 kV | MVA |  | NEW | ASAE3000
| 66 kV | MVA |  | NEW | ASAE3000
| 33 kV | MVA |  | NEW | ASAE3000
| 22 kV | MVA |  | NEW | ASAE3000
| 11 kV | MVA |  | NEW | ASAE3000