## Repex & Safety program forecast
2026-2031 Electricity Distribution Repex & Safety program forecasts
| Note: Direct costs expressed in real 2023-24 and excluding contractor support costs, overheads and real cost escalation |  | FORECAST VOLUMES | FORECAST UNIT RATES ($'000) | FORECAST CAPEX ($'000)
| Description | Program |  |  | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31
| Watsonia Refurbishment | Station rebuild |  |  |  | 3206.1035 | 8015.2587 | 9618.3105 | 8015.2587
| Thomastown Stage 2 - 22kV upgrade | Station rebuild |  |  | 3373.0355 | 8432.5888 | 10119.1065 | 6746.071
| Traralgon Stage 2 - 22kV switchboard upgrade | Station rebuild |  |  | 0 | 0 | 2358.8 | 7076.4 | 2358.8
| Newmeralla Refurbishment | Station rebuild |  |  | 0 | 0 | 0 | 1963.8 | 9819
| Kilmore South ZSS 22kV Switchroom Replacement | Station rebuild |  |  | 2100 | 3500 | 1400 | 0 | 0
| Traralgon ZSS Rebuild Stage 1 | Station rebuild |  |  | 500
| Warragul ZSS Rebuild | Station rebuild |  |  | 1000
Major Station rebuilds SUBTOTAL |  |  |  |  | 6973.0355 | 15138.6923 | 21893.1652 | 25404.5815 | 20193.0588
| Replace roofs, doors, window | Civil Infrastructure |  |  | 435.256 | 435.256 | 435.256 | 435.256 | 435.256
| Renew roads, drains and other | Civil Infrastructure |  |  | 0 | 0 | 0 | 0 | 0
Civil Infrastructure SUBTOTAL |  |  |  |  | 435.256 | 435.256 | 435.256 | 435.256 | 435.256
| Power Transformer Replacement 20 MVA | Plant |  |  | 3831.2253 | 3831.2253 | 0 | 0 | 0
| Power Transformer Replacement 10 MVA | Plant |  |  | 0 | 0 | 2722.1912 | 2722.1912 | 2722.1912
| Power Transformer Replacement 5 MVA | Plant |  |  | 0 | 0 | 0 | 0 | 0
| Power Transformer Life Extension (if any) | Plant |  |  | 0 | 0 | 0 | 0 | 0
| PT Bushing | Plant |  |  | 900 | 900 | 1350 | 1350 | 1350
Power Transformers SUBTOTAL |  |  |  |  | 4731.2253 | 4731.2253 | 4072.1912 | 4072.1912 | 4072.1912
| 66kV Circuit breakers | Plant |  |  | 3828.0636 | 2871.0477 | 3828.0636 | 3828.0636 | 6699.1113
| 22kV Circuit breakers | Plant |  |  | 0 | 0 | 0 | 0 | 0
| Switchboards (buildings) - Urban | Plant |  |  | 0 | 0 | 0 | 0 | 0
| Switchboards (buildings) - Rural | Plant |  |  | 0 | 0 | 0 | 0 | 0
CB/Switchboard SUBTOTAL |  |  |  |  | 3828.0636 | 2871.0477 | 3828.0636 | 3828.0636 | 6699.1113
| Instrument transformers - VTs | Plant |  |  | 686.7427 | 564.6251 | 752.996 | 787.6411 | 823.2889
| Instrument transformers - CTs - 66kV | Plant |  |  | 0 | 1371.3843 | 1371.3843 | 1371.3843 | 1371.3843
| Cap banks & reactors | Plant |  |  | 0 | 0 | 0 | 0 | 0
| NERs & NEDs | Plant |  |  | 98.5902 | 98.5902 | 98.5902 | 98.5902 | 0
| NERs & NEDs Health Monitoring | Plant |  |  | 0 | 0 | 0 | 0 | 0
| 66kV Surge arresters | Plant |  |  | 565.74 | 565.74 | 528.024 | 528.024 | 528.024
| 22 kV Surge Arresters | Plant |  |  | 265.5487 | 265.5487 | 0 | 0 | 0
| HV switches, earth switches & isolators | Plant |  |  | 0 | 2989.3112 | 3736.639 | 3736.639 | 3736.639
Plant SUBTOTAL |  |  |  |  | 1616.6216 | 5855.1995 | 6487.6335 | 6522.2787 | 6459.3363
Zone Substation Plant TOTAL |  |  |  |  | 10611.1665 | 13892.7285 | 14823.1443 | 14857.7894 | 17665.8948
| Subtransmission poles - complex 147COM | Poles |  |  | 120.9746 | 145.1695 | 145.1695 | 145.1695 | 145.1695
| Subtransmission poles - simple 147SIM | Poles |  |  | 2557.3592 | 2578.6705 | 2621.2931 | 2621.2931 | 2642.6045
Subtransmission poles |  |  |  |  | 2678.3337 | 2723.84 | 2766.4626 | 2766.4626 | 2787.774
| Distribution poles - HV complex 148HVC | Poles |  |  | 6218.4005 | 6243.0767 | 6267.7529 | 6317.1053 | 6341.7815
| Distribution poles - HV simple 148HVS | Poles |  |  | 16097.8186 | 15760.5557 | 15397.3495 | 15060.0866 | 14748.767
| Distribution poles - LV 148LVP | Poles |  |  | 10976.8913 | 10665.1743 | 10386.8556 | 10119.6696 | 9874.7491
| Distribution poles - street lights 148SIM | Poles |  |  | 1354.0099 | 1415.7563 | 1481.9132 | 1548.07 | 1618.6373
Distribution poles |  |  |  |  | 34647.1205 | 34084.5631 | 33533.8712 | 33044.9315 | 32583.9349
| Pole reinforcement 149FWK | Poles |  |  | 594.825 | 613.305 | 630.63 | 646.8 | 661.815
Pole staking |  |  |  |  | 594.825 | 613.305 | 630.63 | 646.8 | 661.815
Pole Replacement SUBTOTAL |  |  |  |  | 37920.2792 | 37421.7081 | 36930.9638 | 36458.1941 | 36033.5238
| Crossarms - HV | Crossarms |  |  | 4770.5477 | 4957.5385 | 5139.9687 | 5326.9595 | 5513.9504
| Crossarms - LV | Crossarms |  |  | 2112.8549 | 2192.4052 | 2275.1374 | 2361.0517 | 2446.966
| Crossarms - Subtransmission | Crossarms |  |  | 598.7227 | 618.2888 | 641.7681 | 661.3342 | 680.9003
Crossarms SUBTOTAL |  |  |  |  | 7482.1253 | 7768.2325 | 8056.8742 | 8349.3455 | 8641.8167
| Conductor - Cu HV | Conductor |  |  | 2040.3995 | 2091.7654 | 2203.9181 | 2203.9181 | 2203.9181
| Conductor - Reactive Replacement | Conductor |  |  | 0 | 0 | 0 | 0 | 0
| Conductor - Aluminium LV & MV | Conductor |  |  | 8235.4264 | 8347.5064 | 8467.5064 | 8587.5064 | 8587.5064
| Conductor - ACSR LV & MV | Conductor |  |  | 7608.4358 | 7800.9158 | 7920.9158 | 8040.9158 | 8040.9158
| Conductor - ACSR HV (Subtr) | Conductor |  |  | 7.6108 | 7.6108 | 7.6108 | 7.6108 | 7.6108
| Conductor - Steel | Conductor |  |  | 3613.6223 | 3613.6223 | 3613.6223 | 3613.6223 | 3613.6223
| Conductor - SWER (Non Codified) | Conductor |  |  | 7.385 | 7.385 | 7.385 | 7.385 | 7.385
Conductor SUBTOTAL |  |  |  |  | 21512.8798 | 21868.8057 | 22220.9583 | 22460.9583 | 22460.9583
| Cables | Switches & Other |  |  | 3028 | 5046.6667 | 8074.6667 | 7065.3333 | 4037.3333
| Distribution subs Pole Top | Switches & Other |  |  | 2333.0208 | 2407.7971 | 2437.7076 | 2527.4392 | 2557.3497
| Distribution subs Ground | Switches & Other |  |  | 616.9114 | 616.9114 | 616.9114 | 616.9114 | 616.9114
| Services (LV Service Cables) | Switches & Other |  |  | 3084 | 3112.5 | 3135 | 3142.5 | 3150
Cables, Subs, Services SUBTOTAL |  |  |  |  | 9061.9322 | 11183.8752 | 14264.2857 | 13352.1839 | 10361.5944
| Control Boxes | Switches & Other |  |  | 3476.4676 | 6835.7509 | 7499.7952 | 9687.2355 | 9960.6655
| ACRs | Switches & Other |  |  | 1272.2867 | 4134.9317 | 5301.1945 | 8693.959 | 8906.0068
| MV switches - Manual Gas | Switches & Other |  |  | 1797.0339 | 933.5241 | 1096.8908 | 1516.9767 | 1271.9266
| MV Switches - Air Break | Switches & Other |  |  | 132.7261 | 331.8152 | 685.7514 | 1459.9868 | 1039.6875
| MV Switches - Ground/Indoor | Switches & Other |  |  | 1396.5485 | 1396.5485 | 2382.3474 | 4586.7033 | 7023.8173
| Fuses | Switches & Other |  |  | 1778.5 | 1778.5 | 1778.5 | 1778.5 | 1778.5
Switchgear SUBTOTAL |  |  |  |  | 9853.5627 | 15411.0704 | 18744.4793 | 27723.3613 | 29980.6038
| Surge arresters | Switches & Other |  |  | 839.293 | 839.293 | 839.293 | 839.293 | 839.293
| Line voltage regulators | Switches & Other |  |  | 536.8235 | 1073.647 | 536.8235 | 536.8235 | 536.8235
| Pole top capacitors | Switches & Other |  |  | 52.112 | 52.112 | 52.112 | 52.112 | 52.112
| Insulators | Switches & Other |  |  | 2673.7252 | 2673.7252 | 2673.7252 | 2677.2619 | 2677.2619
Misc Lines SUBTOTAL |  |  |  |  | 4101.9537 | 4638.7772 | 4101.9537 | 4105.4904 | 4105.4904
Lines TOTAL |  |  |  |  | 89932.7329 | 98292.469 | 104319.5151 | 112449.5335 | 111583.9875
| Protection & Control Replacements | Substation Protection |  |  | 4673.5108 | 7010.2662 | 8178.6439 | 10515.3993 | 10515.3993
| RTU | Substation Protection |  |  | 809.6858 | 0 | 0 | 809.6858 | 0
| Aux Supply | Substation Protection |  |  | 3445.2184 | 4593.6246 | 4593.6246 | 4593.6246 | 5742.0307
Substation Protection |  |  |  |  | 8928.4151 | 11603.8908 | 12772.2684 | 15918.7097 | 16257.43
Secondary and Protection TOTAL |  |  |  |  | 8928.4151 | 11603.8908 | 12772.2684 | 15918.7097 | 16257.43
| Zone substation lighting | Infrastructure Security |  |  | 334.8123 | 334.8123 | 502.2184 | 502.2184 | 502.2184
| ZSS Perimeter CCTV & intruder detection | Infrastructure Security |  |  | 5000 | 2659 | 2659
| ZSS perimeter fencing upgrades | Infrastructure Security |  |  |  | 2845.5 | 2845.5 | 1145 | 1145
| ZSS Fence replacement - general | Infrastructure Security |  |  | 279.0102 | 279.0102 | 279.0102 | 279.0102 | 558.0205
| Line voltage regulator fence replacement | Infrastructure Security |  |  | 55.802 | 111.6041 | 111.6041 | 111.6041 | 111.6041
| Ground type distribution sub fence replacement | Infrastructure Security |  |  | 27.901 | 27.901 | 27.901 | 27.901 | 27.901
Infrastructure SUBTOTAL |  |  |  |  | 5697.5256 | 6257.8276 | 6425.2338 | 2065.7338 | 2344.744
Infrastructure TOTAL |  |  |  |  | 5697.5256 | 6257.8276 | 6425.2338 | 2065.7338 | 2344.744
| 4G Replacements | Comms |  |  | 0 | 0 | 0 | 1339.2491 | 1339.2491
| SDH/PDH and DIC Switch & Serial Server Replacement | Comms |  |  | 0 | 0 | 0 | 0 | 2504.3959
| Security Enhancement | Comms |  |  | 217.628 | 217.628 | 217.628 | 217.628 | 217.628
Comms SUBTOTAL |  |  |  |  | 217.628 | 217.628 | 217.628 | 1556.8771 | 4061.273
Comms TOTAL |  |  |  |  | 217.628 | 217.628 | 217.628 | 1556.8771 | 4061.273
Replacement TOTAL |  |  |  |  | 122360.5036 | 145403.2362 | 160450.9549 | 172253.225 | 172106.388
| Upgrade oil control -Distribution Voltage Regulators | Environmental |  |  | 1064.7031 | 1064.7031 | 1597.0546 | 1597.0546 | 1597.0546
| Upgrade oil control -ZSS | Environmental |  |  | 1970.8837 | 3941.7674 | 3941.7674 | 4927.2092 | 3941.7674
Zone Substation Environmental SUBTOTAL |  |  |  |  | 3035.5868 | 5006.4704 | 5538.822 | 6524.2638 | 5538.822
| Proactive Fuses | Safety |  |  | 16616.1879 | 7555.3948 | 6603.8696 | 7863.102 | 7129.3387
| BA fuse replacements (candling) (Covered by Reactive volume) | Safety |  |  | 0 | 0 | 0 | 0 | 0
| Low service compliance | Compliance |  |  | 3000.8 | 3000.8 | 3000.8 | 3000.8 | 3000.8
| Conductor clearance compliance (3D Model/LiDAR) | Compliance |  |  | 2930 | 2365 | 1995 | 1650 | 1200
| Fall arrest systems | Safety |  |  | 1316.9283 | 1316.9283 | 1316.9283 | 1316.9283 | 1527.6369
| SWER Earths | Safety |  |  | 255.1621 | 255.1621 | 255.1621 | 255.1621 | 255.1621
| Proactive insulation/undergrounding of SWER (Codified areas) | Safety |  |  | 0 | 6800 | 6800 | 6800 | 6800
| SWER condition/risk based replacement (Codified Areas) | Safety |  |  | 544 | 544 | 544 | 544 | 544
| Bare conductor condition/risk based replacement (Codified Areas) | Safety |  |  | 1517 | 1517 | 1517 | 1517 | 1517
| Early fault detection/broken conductor detection (High consequence areas) | Safety |  |  | 3840 | 5120 | 2739.2 | 497 | 400
Safety Other SUBTOTAL |  |  |  |  | 30020.0784 | 28474.2853 | 24771.96 | 23443.9925 | 22373.9378
Safety & Environmental TOTAL |  |  |  |  | 33055.6651 | 33480.7558 | 30310.782 | 29968.2563 | 27912.7597