## Cover
CitiPower
Regulatory proposal 2026-31
#NAME?
Model number: | #NAME?
2025-01-31

## CitiPower
CitiPower
Reserve feeder cost (2023-24 dollars) |  | Source
$/kVA
LV | 9.0733
HV | 4.3672
SubT | 0.64089
Overhead rate | 41.13% | 2023-24 CAT RIN, 2.1 Expenditure summary, network overheads / direct maintenance
Demand
MVA
LV | 1195.4374 | Based on LV proportion of consumption
HV | 1279 | 2023-24 EB RIN, 3.4 Operational data, sum of zone substation coincident demand
SubT | 1400 | 2023-24 EB RIN, 3.4 Operational data, sum of terminal station coincident demand
Energy supplies
GWh
Residential | 1217.76 | 2023-24 EB RIN, 3.4 Operational data
Business not on demand tariff | 673.14 | 2023-24 EB RIN, 3.4 Operational data
Business LV on demand tariff | 2770.17 | 2023-24 EB RIN, 3.4 Operational data
High voltage | 797.6 | 2023-24 EB RIN, 3.4 Operational data
Total | 5458.67
Feeder maintenance cost
$m
LV | 7.6857 | Allocated based on spans cut
HV | 3.9579 | Allocated based on spans cut
SubT | 0.63578 | Allocated based on spans cut
Total | 12.2794
Total spans cut
Number
LV | 3542 | 2023-24 EB RIN, 3.7 Operational environment (underlying work paper)
HV | 1824 | 2023-24 EB RIN, 3.7 Operational environment (underlying work paper)
SubT | 293 | 2023-24 EB RIN, 3.7 Operational environment (underlying work paper)
Total | 5659
Pole and line maintenance expenditure
$m
Vegetation management | 2.5624 | 2023-24 CAT RIN, 2.7 Vegetation management
Pole top, overhead & service lines | 5.6238 | 2023-24 CAT RIN, 2.7 Vegetation management
Pole inspection and treatment | 3.1542 | 2023-24 CAT RIN, 2.7 Vegetation management
Overhead asset inspection | 0.13297 | 2023-24 CAT RIN, 2.7 Vegetation management
Network underground cable | 0.80604 | 2023-24 CAT RIN, 2.7 Vegetation management
Total | 12.2794