## Cover
CitiPower
Regulatory proposal 2026-31
Network management systems risk
Model number: | 6.10
2025-01-31

## Summary
Powercor & CitiPower
Network management systems risk
SUMMARY
RESULTS
|  |  |  | PV of total costs | PV of incremental costs | PV of incremental benefits | NPV
| Option |  |  | 2026-06-30 | 2026-06-30 | 2026-06-30 | 2026-06-30
| Option 1 (base case) | Do not maintain currency |  | -2.3158 | 0 | 0 | 0
| Option 2 | Maintain currency |  | -29.6563 | -27.3405 | 108.5171 | 81.1766
| Option 3 | Maintain currency with more frequent upgrades |  | -35.8945 | -33.5787 | 107.8295 | 74.2508
NPV
| Preferred option: |  | 2026-06-30
| Option 2 | Maintain currency | 81.1766
PREFERRED OPTION
Preferred Option
Option 2
| Expenditure forecast | 2026-06-30 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | #REF! |  | Total
| Capital expenditure |  | 10.1205 | 9.5703 | 8.43 | 12.8604 | 9.3536 |  | 50.3347
| Operating expenditure |  | 0 | 0 | 0 | 0 | 0 |  | 0
CHART
OPTION DATA
Select category for table:
Incremental Capital expenditure
| Incremental Capital expenditure | 2026-06-30 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 |  | Total
| Option 1 (base case) | Do not maintain currency | 0 | 0 | 0 | 0 | 0 |  | 0
| Option 2 | Maintain currency | 10.1205 | 9.5703 | 8.43 | 12.8604 | 9.3536 |  | 50.3347
| Option 3 | Maintain currency with more frequent upgrades | 12.8752 | 11.1426 | 12.6251 | 9.8597 | 13.9112 |  | 60.4138
End |  |  | . | . | . | . | . | . | .

## Assumptions
Powercor & CitiPower
Network management systems risk
Project
|  | Business: | select > | Powercor & CitiPower
|  | Descripton: |  | Network management systems risk
|  | Date of cost inputs: | select > | June | 2024
|  | Option |  | Description
|  | Option 1 (base case) |  | Do not maintain currency
|  | Option 2 |  | Maintain currency
|  | Option 3 |  | Maintain currency with more frequent upgrades
Timing & WACC
|  | Input dollars |  |  | 2024-06-30 | [input_dollars]
|  | Pre-tax real WACC |  |  | 3.5% | [real_disc]
|  | Model start year |  |  | 2025-26 | [start]
|  | Analysis period (years) |  |  | 5 | [years]\
|  | Output dollars |  |  | 2026-06-30 | [output_dollars]
|  | Other benefits date |  |  | 2024-06-30 | [custval_date]
Risks
SAFETY
|  | Value of statistical life |  |  | 5300000 | 2022-06-30
Disproportionate factors applied to various bushfire and other risk valuations
|  | Harm to property from network |  |  | 1
|  | Harm to property from bushfire |  |  | 1
|  | Harm to environment |  |  | 1
|  | Safety - Public trespass |  |  | 1
|  | Safety - Single fatality or serious injury ^ |  |  | 3
|  | Safety from bushfire in HBRA |  |  | 3
|  | Safety - Multiple fatality or serious injury ^ |  |  | 6
|  | Safety from bushfire (REFCL declared areas) |  |  | 6
|  | Safety from bushfire (electric line construction areas) |  |  | 10
^ Public or employee
|  | Incident type |  |  | Value | Probability | DF selected | Description/comment
|  | Safety (fatality) |  |  | 5915014.65 | 0 | 0 | 0

## Option1 (base case)
Powercor & CitiPower
Network management systems risk
OPTION 1 (base case)
Count |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
|  |  | Units | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46 | 2046-47 | 2047-48 | 2048-49 | 2049-50 | 2050-51
INVESTMENT & OPERATING COST
| Capex | Asset life (yrs)
| capex | 5 | 2024-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ongoing capex | 5 | 2024-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| < Enter description > | 0 | 2024-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Capital expenditure |  | 2024-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Operating expenditure |  | 2024-06-30 |  | 387802 | 426581 | 469240 | 516163 | 567780 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RISK ASSUMPTIONS
| Risk escalation | 0%
| Reliability risk |  | 2024-06-30 |  | 22171642.9485 | 22171642.9485 | 22171642.9485 | 22171642.9485 | 22171642.9485 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Compliance risk |  | 2024-06-30 |  | 630000 | 630000 | 630000 | 630000 | 630000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Bushfire risk |  | 2024-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Safety risk |  | 2024-06-30 |  | 18300596.1541 | 18300596.1541 | 18300596.1541 | 18300596.1541 | 18300596.1541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Customer experience risk |  | 2024-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Outage risk |  | 2024-06-30 |  | 5727064.8295 | 5727064.8295 | 5727064.8295 | 5727064.8295 | 5727064.8295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Suitability and system sustainability |  | 2024-06-30 |  | 207153 | 207153 | 207153 | 207153 | 207153 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total risk cost |  |  |  | 47036456.9321 | 47036456.9321 | 47036456.9321 | 47036456.9321 | 47036456.9321 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BENEFITS
| Total risk reductions |  | 2024-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Billing productivity benefits |  | 2024-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SAP productivity benefits |  | 2024-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Opex reduction |  | 2024-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total other benefits |  | 2024-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUMMARY
| Risks mitigated vs base case |  | 2024-06-30
Capital expenditure
| capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| ongoing capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| < Enter description > |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
Cumulative capex
| capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| ongoing capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| < Enter description > |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
Annualised capex
| Annualised capex - capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Annualised capex - ongoing capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Annualised capex - < Enter description > |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Total annualised capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Annualised capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Operating expenditure |  | 2024-06-30 | 1 2026-27: -387802; 2 2027-28: -426581; 3 2028-29: -469240; 4 2029-30: -516163; 5 2030-31: -567780
| Risk mitigated |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Other benefits value |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Net benefits |  | 2024-06-30 | 1 2026-27: -387802; 2 2027-28: -426581; 3 2028-29: -469240; 4 2029-30: -516163; 5 2030-31: -567780

## Option2
Powercor & CitiPower
Network management systems risk
OPTION 2 | Maintain currency
Count |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
|  |  | Units | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46 | 2046-47 | 2047-48 | 2048-49 | 2049-50 | 2050-51
INVESTMENT & OPERATING COST
| Capex | Asset life (yrs)
| capex | 5 | 2024-06-30 | 9443248 | 8929904 | 7865857 | 11999841 | 8727656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ongoing capex | 5 | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| < Enter description > | 0 | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Capital expenditure |  | 2024-06-30 | 9443248 | 8929904 | 7865857 | 11999841 | 8727656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Operating expenditure |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RISKS
| Risk escalation | 0%
| Reliability risk |  | 2024-06-30 | 8868657.1794 | 8868657.1794 | 8868657.1794 | 8868657.1794 | 8868657.1794 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Compliance risk |  | 2024-06-30 | 126000 | 126000 | 126000 | 126000 | 126000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Bushfire risk |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Safety risk |  | 2024-06-30 | 12200397.436 | 12200397.436 | 12200397.436 | 12200397.436 | 12200397.436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Customer experience risk |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Outage risk |  | 2024-06-30 | 3742382.3007 | 3742382.3007 | 3742382.3007 | 3742382.3007 | 3742382.3007 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Suitability and system sustainability |  | 2024-06-30 | 55240.8 | 55240.8 | 55240.8 | 55240.8 | 55240.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total risk |  | 2024-06-30 | 24992677.7161 | 24992677.7161 | 24992677.7161 | 24992677.7161 | 24992677.7161 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BENEFITS
| Total risk reductions (vs base case) |  | 2024-06-30 | 22043779.216 | 22043779.216 | 22043779.216 | 22043779.216 | 22043779.216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Billing productivity benefits |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SAP productivity benefits |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Opex reduction |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total other benefits |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUMMARY
| Risks mitigated vs base case |  | 2024-06-30 | 1 2026-27: -22043779.216; 2 2027-28: -22043779.216; 3 2028-29: -22043779.216; 4 2029-30: -22043779.216; 5 2030-31: -22043779.216
Capital expenditure
| Incremental capex |  | 2024-06-30 | 1 2026-27: -9443248; 2 2027-28: -8929904; 3 2028-29: -7865857; 4 2029-30: -11999841; 5 2030-31: -8727656
| ongoing capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| < Enter description > |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
Cumulative capex
| Incremental capex |  | 2024-06-30 | 1 2026-27: -9443248; 2 2027-28: -18373152; 3 2028-29: -26239009; 4 2029-30: -38238850; 5 2030-31: -46966506
| ongoing capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| < Enter description > |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
Annualised capex
| Annualised capex - Incremental capex |  | 2024-06-30 | 1 2026-27: -2091503.5341; 2 2027-28: -4069310.9342; 3 2028-29: -5811451.7436; 4 2029-30: -8469193.006; 5 2030-31: -10402206.2413
| Annualised capex - ongoing capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Annualised capex - < Enter description > |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Total annualised capex |  | 2024-06-30 | 1 2026-27: -2091503.5341; 2 2027-28: -4069310.9342; 3 2028-29: -5811451.7436; 4 2029-30: -8469193.006; 5 2030-31: -10402206.2413
| Annualised Incremental capex |  | 2024-06-30 | 1 2026-27: -2091503.5341; 2 2027-28: -4069310.9342; 3 2028-29: -5811451.7436; 4 2029-30: -8469193.006; 5 2030-31: -10402206.2413
| Incremental operating expenditure |  | 2024-06-30 | 1 2026-27: 387802; 2 2027-28: 426581; 3 2028-29: 469240; 4 2029-30: 516163; 5 2030-31: 567780
| Risk mitigated |  | 2024-06-30 | 1 2026-27: 22043779.216; 2 2027-28: 22043779.216; 3 2028-29: 22043779.216; 4 2029-30: 22043779.216; 5 2030-31: 22043779.216
| Other benefits value |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Net benefits |  | 2024-06-30 | 1 2026-27: 20340077.6818; 2 2027-28: 18401049.2818; 3 2028-29: 16701567.4723; 4 2029-30: 14090749.21; 5 2030-31: 12209352.9746
| First capex year |  | 1
| First opex year |  | 0
| First year |  | 1

## Option3
Powercor & CitiPower
Network management systems risk
OPTION 3 | Maintain currency with more frequent upgrades
Count |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
|  |  | Units | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46 | 2046-47 | 2047-48 | 2048-49 | 2049-50 | 2050-51
INVESTMENT & OPERATING COST
| Capex | Asset life (yrs)
| capex | 5 | 2024-06-30 | 12013628 | 10396988 | 11780302 | 9199913 | 12980302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ongoing capex | 5 | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| < Enter description > | 0 | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Capital expenditure |  | 2024-06-30 | 12013628 | 10396988 | 11780302 | 9199913 | 12980302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Operating expenditure |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RISKS
| Risk escalation | 0%
| Reliability risk |  | 2024-06-30 | 8868657.1794 | 8868657.1794 | 8868657.1794 | 8868657.1794 | 8868657.1794 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Compliance risk |  | 2024-06-30 | 315000 | 315000 | 315000 | 315000 | 315000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Bushfire risk |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Safety risk |  | 2024-06-30 | 12200397.436 | 12200397.436 | 12200397.436 | 12200397.436 | 12200397.436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Customer experience risk |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Outage risk |  | 2024-06-30 | 3727597.9587 | 3727597.9587 | 3727597.9587 | 3727597.9587 | 3727597.9587 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Suitability and system sustainability |  | 2024-06-30 | 20715.3 | 20715.3 | 20715.3 | 20715.3 | 20715.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total risk |  | 2024-06-30 | 25132367.8741 | 25132367.8741 | 25132367.8741 | 25132367.8741 | 25132367.8741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BENEFITS
| Total risk reductions (vs base case) |  | 2024-06-30 | 21904089.058 | 21904089.058 | 21904089.058 | 21904089.058 | 21904089.058 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Billing productivity benefits |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SAP productivity benefits |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Opex reduction |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total other benefits |  | 2024-06-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUMMARY
| Risks mitigated vs base case |  | 2024-06-30 | 1 2026-27: -21904089.058; 2 2027-28: -21904089.058; 3 2028-29: -21904089.058; 4 2029-30: -21904089.058; 5 2030-31: -21904089.058
Capital expenditure
| Incremental capex |  | 2024-06-30 | 1 2026-27: -12013628; 2 2027-28: -10396988; 3 2028-29: -11780302; 4 2029-30: -9199913; 5 2030-31: -12980302
| ongoing capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| < Enter description > |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
Cumulative capex
| Incremental capex |  | 2024-06-30 | 1 2026-27: -12013628; 2 2027-28: -22410616; 3 2028-29: -34190918; 4 2029-30: -43390831; 5 2030-31: -56371133
| ongoing capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| < Enter description > |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
Annualised capex
| Annualised capex - Incremental capex |  | 2024-06-30 | 1 2026-27: -2660794.8261; 2 2027-28: -4963534.005; 3 2028-29: -7572651.4682; 4 2029-30: -9610260.8324; 5 2030-31: -12485155.9433
| Annualised capex - ongoing capex |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Annualised capex - < Enter description > |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Total annualised capex |  | 2024-06-30 | 1 2026-27: -2660794.8261; 2 2027-28: -4963534.005; 3 2028-29: -7572651.4682; 4 2029-30: -9610260.8324; 5 2030-31: -12485155.9433
| Annualised Incremental capex |  | 2024-06-30 | 1 2026-27: -2660794.8261; 2 2027-28: -4963534.005; 3 2028-29: -7572651.4682; 4 2029-30: -9610260.8324; 5 2030-31: -12485155.9433
| Incremental operating expenditure |  | 2024-06-30 | 1 2026-27: 387802; 2 2027-28: 426581; 3 2028-29: 469240; 4 2029-30: 516163; 5 2030-31: 567780
| Risk mitigated |  | 2024-06-30 | 1 2026-27: 21904089.058; 2 2027-28: 21904089.058; 3 2028-29: 21904089.058; 4 2029-30: 21904089.058; 5 2030-31: 21904089.058
| Other benefits value |  | 2024-06-30 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Net benefits |  | 2024-06-30 | 1 2026-27: 19631096.2319; 2 2027-28: 17367136.053; 3 2028-29: 14800677.5898; 4 2029-30: 12809991.2256; 5 2030-31: 9986713.1146
| First capex year |  | 1
| First opex year |  | 0
| First year |  | 1

## Consol
Powercor & CitiPower
Network management systems risk
CONSOLIDATED
Discount factor |  |  |  |  | 1 | 0.98295 | 0.94971 | 0.91759 | 0.88656 | 0.85658 | 0.82761 | 0.79963 | 0.77259 | 0.74646 | 0.72122 | 0.69683 | 0.67326 | 0.6505 | 0.6285 | 0.60725 | 0.58671 | 0.56687 | 0.5477 | 0.52918 | 0.51129 | 0.494 | 0.47729 | 0.46115 | 0.44556 | 0.43049
Count |  |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Analysis period |  |  |  |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[5 empty] | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46 | 2046-47 | 2047-48 | 2048-49 | 2049-50 | 2050-51
COSTS |  |  | PV
Option 1 (base case) | Incremental capital expenditure | Option 1 (base case)Incremental capital expenditure | 0 | 2026-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | Total risk cost | Option 1 (base case)Total risk cost | 231551115.3987 | 2026-06-30 |  | 50409676.441 | 50409676.441 | 50409676.441 | 50409676.441 | 50409676.441 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) |  | Option 1 (base case)
Option 1 (base case) | Annualised Incremental capex | Option 1 (base case)Annualised Incremental capex | 0 | 2026-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | Incremental operating expenditure | Option 1 (base case)Incremental operating expenditure | -2315810.4865 | 2026-06-30 |  | -415613.2204 | -457173.2564 | -502891.5466 | -553179.6295 | -608498.3427 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | Risk mitigated | Option 1 (base case)Risk mitigated | 0 | 2026-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | Other benefits value | Option 1 (base case)Other benefits value | 0 | 2026-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | Net benefits | Option 1 (base case)Net benefits |  | 2026-06-30 |  | -415613.2204 | -457173.2564 | -502891.5466 | -553179.6295 | -608498.3427 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | NPV | Option 1 (base case)NPV | -2315810.4865 | 2026-06-30
Option 1 (base case) | PV of incremental costs | Option 1 (base case)PV of incremental costs | -2315810.4865 | 2026-06-30
Option 1 (base case) | PV of incremental benefits | Option 1 (base case)PV of incremental benefits | 0 | 2026-06-30
Option 2 | Incremental capital expenditure | Option 2Incremental capital expenditure | -46185744.0676 | 2026-06-30 |  | -10120470.5303 | -9570312.0654 | -8429956.9348 | -12860409.5973 | -9353559.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 | Total risk cost | Option 2Total risk cost | 123033977.885 | 2026-06-30 |  | 26785027.5985 | 26785027.5985 | 26785027.5985 | 26785027.5985 | 26785027.5985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 |  | Option 2
Option 2 | Annualised Incremental capex | Option 2Annualised Incremental capex | -29656298.0091 | 2026-06-30 |  | -2241495.7101 | -4361141.5678 | -6228220.0054 | -9076561.1824 | -11148200.4619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 | Incremental operating expenditure | Option 2Incremental operating expenditure | 2315810.4865 | 2026-06-30 |  | 415613.2204 | 457173.2564 | 502891.5466 | 553179.6295 | 608498.3427 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 | Risk mitigated | Option 2Risk mitigated | 108517137.5137 | 2026-06-30 |  | 23624648.8424 | 23624648.8424 | 23624648.8424 | 23624648.8424 | 23624648.8424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 | Other benefits value | Option 2Other benefits value | 0 | 2026-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 | Net benefits | Option 2Net benefits |  | 2026-06-30 |  | 21798766.3528 | 19720680.531 | 17899320.3836 | 15101267.2896 | 13084946.7232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 | NPV | Option 2NPV | 81176649.9911 | 2026-06-30
Option 2 | PV of incremental costs | Option 2PV of incremental costs | -27340487.5226 | 2026-06-30
Option 2 | PV of incremental benefits | Option 2PV of incremental benefits | 108517137.5137 | 2026-06-30
Option 3 | Incremental capital expenditure | Option 3Incremental capital expenditure | -55479798.3226 | 2026-06-30 |  | -12875185.332 | -11142607.9944 | -12625126.3579 | -9859684.7608 | -13911184.3579 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3 | Total risk cost | Option 3Total risk cost | 123721644.7291 | 2026-06-30 |  | 26934735.6362 | 26934735.6362 | 26934735.6362 | 26934735.6362 | 26934735.6362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3
Option 3 | Annualised Incremental capex | Option 3Annualised Incremental capex | -35894467.0487 | 2026-06-30 |  | -2851613.727 | -5319493.8462 | -8115724.1682 | -10299460.6879 | -13380528.9018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3 | Incremental operating expenditure | Option 3Incremental operating expenditure | 2315810.4865 | 2026-06-30 |  | 415613.2204 | 457173.2564 | 502891.5466 | 553179.6295 | 608498.3427 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3 | Risk mitigated | Option 3Risk mitigated | 107829470.6697 | 2026-06-30 |  | 23474940.8048 | 23474940.8048 | 23474940.8048 | 23474940.8048 | 23474940.8048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3 | Other benefits value | Option 3Other benefits value | 0 | 2026-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3 | Net benefits | Option 3Net benefits |  | 2026-06-30 |  | 21038940.2982 | 18612620.215 | 15862108.1831 | 13728659.7464 | 10702910.2457 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3 | NPV | Option 3NPV | 74250814.1075 | 2026-06-30
Option 3 | PV of incremental costs | Option 3PV of incremental costs | -33578656.5622 | 2026-06-30
Option 3 | PV of incremental benefits | Option 3PV of incremental benefits | 107829470.6697 | 2026-06-30
CHART DATA | [5 empty] | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44 | FY45 | FY46 | FY47 | FY48 | FY49 | FY50 | FY51
Option 2 | capex | -1 |  |  | Option 2 capex | 2.2415 | 4.3611 | 6.2282 | 9.0766 | 11.1482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | Total risk cost | 1 |  |  | Option 1 (base case) risk cost | 50.4097 | 50.4097 | 50.4097 | 50.4097 | 50.4097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Cost summary
Powercor & CitiPower
Network management systems risk
COST SUMMARY
CP and PAL
CAPEX
|  |  | Total | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | Ongoing capex
| Option 1 - Do not maintain currency | $ real 2024 | 0
| Option 2 - Maintain currency | $ real 2024 | 46966506 | 9443248 | 8929904 | 7865857 | 11999841 | 8727656
| Option 3 - Maintain currency with more frequent upgrades | $ real 2024 | 56371133 | 12013628 | 10396988 | 11780302 | 9199913 | 12980302
OPEX
|  |  | Total | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | Ongoing opex
| Option 1 - Do not maintain currency | $ real 2024 | 2367566 | 387802 | 426581 | 469240 | 516163 | 567780
| Option 2 - Maintain currency | $ real 2024 | 0
| Option 3 - Maintain currency with more frequent upgrades | $ real 2024 | 0

## Risk summary
Powercor & CitiPower
Network management systems risk
RISK SUMMARY
Annual risks
Total risk
|  | Business risks |  |  | Do not maintain currency | Maintain currency | Maintain currency with more frequent upgrades
|  | Reliability | BR1 | Customer loss of supply due to cyber attack
|  |  | BR2 | Customer loss of supply due to system failure
|  |  | BR3 | Customer loss of supply due to system failure
|  |  | BR4 | Customer loss of supply due to cyber attack
|  |  | BR5 | Supply restoration time impacted by system failure | 22171642.9485 | 8868657.1794 | 8868657.1794
|  |  | BR6 | Supply restoration time impacted by cyber attack
|  | Compliance | BC1 | Delays in publishing key data to the market due to system failure
|  |  | BC2 | Delays in publishing key data to the market due to cyber attack
|  |  | BC3 | Unauthorised access to employee personal data due to reasons other than a cyber attack
|  |  | BC4 | Unauthorised access to employee personal data due to cyber attack
|  |  | BC5 | Unauthorised access to customer data due to reasons other than a cyber attack
|  |  | BC6 | Unauthorised access to customer data due to cyber attack
|  |  | BC7 | System fault causes failure to notify customers of an outage | 630000 | 126000 | 315000
|  |  | BC8 | Cyber attack causes failure to notify customers of an outage
|  | Bushfire | BF1 | Systems outage impacts bushfire preparation / mitigation program
|  |  | BF2 | Cyber attack causes systems outage impacting bushfire preparation / mitigation program
|  | Safety | BS1 | Systems outage causes loss of supply to life-support customers
|  |  | BS2 | Cyber attack causes systems outage impacting life-support customers
|  |  | BS3 | Systems outage prevents correct operation of network protection systems, causing elevated safety risk, e.g. failure to de-energise a downed line or re-energising a line that should be de-energised for maintenance | 18300596.1541 | 12200397.436 | 12200397.436
|  |  | BS4 | Cyber attack prevents correct operation of network protection systems, causing elevated safety risk, e.g. failure to de-energise a downed line or re-energising a line that should be de-energised for maintenance
|  | Customer experience risks | BCX1 | Customers impacted by failure of customer-facing system due to software or hardware fault
|  |  | BCX2 | Customers impacted by failure of customer-facing system due to cyber attack
IT risks
|  | IT Outage | ITO1 | System failure | 5628295.7545 | 3726579.2487 | 3713770.2882
|  |  | ITO2 | System down due to cyber attack
|  |  | ITO3 | System failure - impact on field services delivery | 98769.075 | 15803.052 | 13827.6705
|  | IT suitability and system sustainability | ITS1 | Increased change management costs | 207153 | 55240.8 | 20715.3
|  |  | ITS2 | Data storage exceeded
|  |  | ITS3 | Performance degradation
|  |  | ITS4 | Increased maintenance costs
Other benefits
Other benefits
|  |  |  | Annual total risk | 47036456.9321 | 24992677.7161 | 25132367.8741

## General risk inputs
Powercor & CitiPower
Network management systems risk
General inputs
| Inputs | Unit | Input value | Source/notes
| VCR | $/kWh | 45.143 | We have used a weighted average of the Victorian residential VCR and the VCR for distribution-connected commercial and industrial customers, as published annually by the AER, weighted according to the CP/PAL customer mix. VCR: - CP: $47.82, PAL: $43.82, Proportion of customers: - CP: 27%, PAL: 73% Weighted average = (27% x 48.72) + (73% x 43.82) = 45.1
| CECV | $/kWh | 0.022 | The AER publishes the CECV for Victoria annually in the form of a table of 30-minute $/kWh value forecasts for the following 20 years. For risk quantification, use an average of all 30-minute values for the relevant year, multiplied by two to produce an average hourly value.
| Average hourly rate for internal employees | $/hr | 145.78 | Average hourly rate for internal employees
| Civil penalty under Privacy Act | $ | 50000000 | Maximum penalty per s13G of the Privacy Act 1988
| Average customer kWh per hour | kWh/hr | 1.4842 | forecast customer numbers and energy consumption - CitiPower: 1.82 kWh - PAL: 1.36 kWh Weighted average = (27% x 1.82) + (73% x 1.36) = 1.48 kWh
| AEMO penalty | $ | 1435000 | Per section 2AB(b)(ii)(A) of the National Electricity Law.
| Additional AEMO penalty for every day the breach continues | $/day | 71800 | Per section 2AB(b)(ii)(B) of the National Electricity Law.
| IT specialist hourly rate | $/hr | 230.17 | Based on a daily rate of $1,841.36 for external IT specialists
| Average solar customer export kWh per hour | kWh/hr | 0.60502 | Average customer exports of 5,300 kWh, equating to 0.605 kWh per hour.
| Total number of customers | number | 1489300 | Total forecast customer numbers -CP:416,400 -PAL:1,072,900
| Total number of employees | number | 5684 | Employees= 2,572 (VPN: 2186, UE: 386) Contractors= 3,498
| Total number of solar customers | number | 519300 | Solar customer forecast - CP: 56,500 - PAL: 462,800
| Number of system failures (annual) | number | 14 | Average system failures the critical incidents occuring on VPN systems from 2021 to 2024. Excluding critical failures associated with SAP and IT infrastructure. 50% of these failures are attributed to network management systems
| Likely system downtime | hours | 35.55 | Average system downtime for critical incidents occuring on VPN systems from 2021 to 2024. Excluding critical failures associated with SAP and IT infrastructure
| Increase in supply restoration time if coinciding with system outage | hours | 3 | past experience, if system is not working at the same time as outage, this would cost an additional 3 hours of time.
| Customers connected to LV DERMS | number | 229300 | Solar customer connected to DERMS forecast - CP: 32,600 - PAL: 196,700
| Average number of outages per hour | number | 1.9965 | See calculation A below.
Calculation A
|  | Unit | Most likely case | Source
SAIFI
| SAIFI (PAL) - Urban | number | 0.82 | As per targets published on website
| SAIFI (PAL) - Short rural | number | 1.15
| SAIFI (PAL) - Long rural | number | 2.02
| SAIFI (CitiPower) - CBD | number | 0.11
| SAIFI (CitiPower) - Urban | number | 0.39
Number of customers
| Number of customers (PAL) - Urban | number | 404869.9326
| Number of customers (PAL) - Short rural | number | 406306.7319
| Number of customers (PAL) - Long rural | number | 261723.3355
| Number of customers (CitiPower) - CBD | number | 75780.0316
| Number of customers (CitiPower) - Urban | number | 340619.9684
| Number of individual customer interruptions | number | 1469104.8152
| Average customers impacted per outage | number | 84
| Number of outages per annum | number | 17489.343
| Average number of outages per hour | number | 1.9965
General inputs - other
| Inputs | Unit | Best case | Most Likely | Worst Case | Source/notes
| Likely number of customers affected per outage | number | 1 | 84 | 8148 | Ranging from a single customer to an entire feeder
| Likely system downtime (total) | hours | 5 | 35.55 | 71.1 | Most likely is historical critical incident data while worst case is double the average
Likelihoods
| Likelihood Per Event | Bound | Likelihood | Occurrence
|  | Years | #
| Monthly | 0.083333 | 12 | Risk occurs once per month
| Annual | 1 | 1 | Risk occurs once per year
| Every 2 years | 2 | 0.5 | Risk occurs once every 2 years
| Every 5 years | 5 | 0.2 | Risk occurs once every 5 years
| Every 10 years | 10 | 0.1 | Risk occurs once every 10 years
| Every 20 years | 20 | 0.05 | Risk occurs once every 20 years

## Benefit BR5
Powercor & CitiPower
Network management systems risk
Supply restoration time impacted by system failure
Option 1 (base case) - Do not maintain currency
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Number of critical system failures | number | 10.5 |  |  | incident data, approximately 14 'critical' IT incidents occur per year outside of SAP and IT infrastructure. Under a do nothing scenario we estimate that this will increase by 50% to 21 incidents per year. 50% of these incidents are attributed to our network management systems.
| Likelihood of system failure resulting in impacts to supply restoration | number | 0.5 |  |  | A system failure per the incident data may not necessarily result in customer loss of supply. It is assumed that only 5% of these incidents will relate to customer loss of supply. This equates to approximately one incident occurring every two years.
| Increase in supply restoration time | hours | 3 | 3 | 3 | General input
| Likely system downtime | number | 5 | 35.55 | 71.1 | General input
| Average number of outages per hour | number | 1.9965 | 1.9965 | 1.9965 | General input
| Outages occurring during system downtime per incident per annum | number | 9.9825 | 70.9756 | 141.9512 | Calculation
| Number of customers impacted in an outage | number | 1 | 84 | 8148 | General input
| Total number of customers impacted in outages occurring during system downtime | number | 9.9825 | 5961.9493 | 1156618.1711 | Calculation
| Average customer kWh per hour | number | 1.4842 | 1.4842 | 1.4842 | General input
| VCR | $/kWh | 45.143 | 45.143 | 45.143 | General input
| Number of solar customers impacted | number | 3.4808 | 2078.856 | 403298.0704 | Calculation
| Average solar customer export kWh per hour | kWh/hr | 0.60502 | 0.60502 | 0.60502 | General input
| CECV | $/kWh | 0.022 | 0.022 | 0.022 | General input
Option 2 - Maintain currency
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Number of critical system failures | number | 7 |  |  | incident data, approximately 14 'critical' IT incidents occur per year outside of SAP and IT infrastructure. 50% of these incidients are attributed to our network management systems
| Likelihood of system failure resulting in impacts to supply restoration | number | 0.2 |  |  | Likelihood reduced to 3% of incidents that lead to a loss of export capacity. This equates to approximately one incident occurring every five years.
| Increase in supply restoration time | hours | 3 | 3 | 3
| Likely system downtime | number | 5 | 35.55 | 71.1 | last 3 years of incident data
| Average number of outages per hour | number | 1.9965 | 1.9965 | 1.9965 | General input
| Outages occurring during system downtime per incident per annum | number | 9.9825 | 70.9756 | 141.9512 | Calculation
| Number of customers impacted in an outage | number | 1 | 84 | 8148 | General input
| Total number of customers impacted in outages occurring during system downtime | number | 9.9825 | 5961.9493 | 1156618.1711 | Calculation
| Average customer kWh per hour | number | 1.4842 | 1.4842 | 1.4842 | General input
| VCR | $/kWh | 45.143 | 45.143 | 45.143 | General input
| Number of solar customers impacted | number | 3.4808 | 2078.856 | 403298.0704 | Proportion of customers impacted applied to solar customers.
| Average solar customer export kWh per hour | kWh/hr | 0.60502 | 0.60502 | 0.60502 | General input
| CECV | $/kWh | 0.022 | 0.022 | 0.022 | General input
Option 3 - Maintain currency with more frequent upgrades
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Number of critical system failures | number | 7 |  |  | as per option 2
| Likelihood of system failure resulting in impacts to supply restoration | number | 0.2
| Increase in supply restoration time | hours | 3 | 3 | 3 | General input
| Likely system downtime | number | 5 | 35.55 | 71.1 | last 3 years of incident data
| Average number of outages per hour | number | 1.9965 | 1.9965 | 1.9965 | General input
| Outages occurring during system downtime per incident per annum | number | 9.9825 | 70.9756 | 141.9512 | Calculation
| Number of customers impacted in an outage | number | 1 | 84 | 8148 | General input
| Total number of customers impacted in outages occurring during system downtime | number | 9.9825 | 5961.9493 | 1156618.1711 | Calculation
| Average customer kWh per hour | number | 1.4842 | 1.4842 | 1.4842 | General input
| VCR | $/kWh | 45.143 | 45.143 | 45.143 | General input
| Number of solar customers impacted | number | 3.4808 | 2078.856 | 403298.0704 | Proportion of customers impacted applied to solar customers.
| Average solar customer export kWh per hour | kWh/hr | 0.60502 | 0.60502 | 0.60502 | General input
| CECV | $/kWh | 0.022 | 0.022 | 0.022 | General input
Summary
Likelihood
| Option | Likelihood value | Likelihood category
| Option 1 | 0.5 | Every 2 years
| Option 2 | 0.2 | Every 5 years
| Option 3 | 0.2 | Every 5 years
Consequence
| Consequence | Class | Best case | Most likely | Worst Case
| Option 1 |  | 2006.659 | 1198457.0175 | 232500661.3998
| Option 2 |  | 2006.659 | 1198457.0175 | 232500661.3998
| Option 3 |  | 2006.659 | 1198457.0175 | 232500661.3998
Monetised risk
| Consequence | Applied consequence (per annum) | Monetised risk
| Option 1 | 44343285.897 | 22171642.9485
| Option 2 | 44343285.897 | 8868657.1794
| Option 3 | 44343285.897 | 8868657.1794
Risk benefit
| Option | Risk benefit
| Option 1 | n/a
| Option 2 | 13302985.7691
| Option 3 | 13302985.7691

## Benefit BC7
Powercor & CitiPower
Network management systems risk
System fault causes failure to notify customers of an outage
Option 1 (base case) - Do not maintain currency
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Forecast frequency of software or hardware failure impacting network management systems that lead to a failure to notify customers | number | 1 | 1 | 1 | Without appropriate upgrades we anticipate that failures to notify customers due to software or hardware failure will occur annually.
| EIPN penalties | $ | 60000 | 630000 | 1200000 | Worst case scenario 1.5x the 2023 ESC penalty handed to Jemena for breaches of notifications to customers. Best case is most recent (2019) ESC penalty handed to Citipower/Powercor
Option 2 - Maintain currency
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Forecast frequency of software or hardware failure impacting network management systems that lead to a failure to notify customers | number | 0.2 | 1 | 1 | Maintaining network management systems is likely to decrease the likelihood of a critical incident compared to Option 1 as well as the likelihood that the critical incident impacts our ability to notify customers
| EIPN penalties | $ | 60000 | 630000 | 1200000 | as per option 1
Option 3 - Maintain currency with more frequent upgrades
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Forecast frequency of software or hardware failure impacting network management systems that lead to a failure to notify customers | number | 0.5 | 1 | 1 | Likelihood is slightly higher than option 2 as deploying upgrades as they are released increases the chances that are systems are impacted by unknown bugs or coding errors
| EIPN penalties | $ | 60000 | 630000 | 1200000 | as per option 2
Summary
Likelihood
| Option | Likelihood value | Likelihood category
| Option 1 | 1 | Annual
| Option 2 | 0.2 | Every 5 years
| Option 3 | 0.5 | Every 2 years
Consequence
| Consequence | Class | Best case | Most likely | Worst Case
| Option 1 |  | 60000 | 630000 | 1200000
| Option 2 |  | 60000 | 630000 | 1200000
| Option 3 |  | 60000 | 630000 | 1200000
Monetised risk
| Consequence | Applied consequence (per annum) | Monetised risk
| Option 1 | 630000 | 630000
| Option 2 | 630000 | 126000
| Option 3 | 630000 | 315000
Risk benefit
| Option | Risk benefit
| Option 1 | n/a
| Option 2 | 504000
| Option 3 | 315000

## Benefit BS3
Powercor & CitiPower
Network management systems risk
Systems outage prevents correct operation of network protection systems, causing elevated safety risk
Option 1 (base case) - Do not maintain currency
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Number of critical system failures | number | 10.5 | 1 | 1 | incident data, approximately 14 'critical' IT incidents occur per year outside of SAP and IT infrastructure. Under a do nothing scenario we estimate that this will increase by 50% to 21 incidents per year. 50% of these incidents are attributed to our network management systems.
| Likely system downtime | number | 5 | 35.55 | 71.1 | general input
| Average number of outages per hour | number | 1.9965 | 1.9965 | 1.9965 | general input
| Outages occurring during system downtime per incident per annum | number | 9.9825 | 70.9756 | 141.9512 | general input
| Likelihood of serious injury | number | 0.0005 | 0.0005 | 0.0005 | 0.05% probability of serious injury from an outage event
| Value of a statistical life | $ | 5300000 | 7950000 | 10600000 | Worst case is a class 5 incident leading to multiple fatalities. Best case is a class 4 incident which includes permanent disability or a single fatality (Value of a statistical life - Office of impact analysis)
| Disproportionate factor | number | 3 | 4.5 | 6 | General input
| Escalated value of a statistical life | $ | 15900000 | 39750000 | 63600000 | calculation
Option 2 - Maintain currency
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Number of critical system failures | number | 7 | 1 | 1 | incident data, approximately 14 'critical' IT incidents occur per year outside of SAP and IT infrastructure. 50% of these incidients are attributed to our network management systems
| Likely system downtime | number | 5 | 35.55 | 71.1 | general input
| Average number of outages per hour | number | 1.9965 | 1.9965 | 1.9965 | general input
| Outages occurring during system downtime per incident per annum | number | 9.9825 | 70.9756 | 141.9512 | general input
| Likelihood of serious injury | number | 0.0005 | 0.0005 | 0.0005 | As per option 1
| Value of a statistical life | $ | 5300000 | 7950000 | 10600000 | as per option 1
| Disproportionate factor | number | 3 | 4.5 | 6 | General input
| Escalated value of a statistical life | $ | 15900000 | 39750000 | 63600000 | calculation
Option 3 - Maintain currency with more frequent upgrades
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Number of critical system failures | number | 7 | 1 | 1 | as per option 2
| Likely system downtime | number | 5 | 35.55 | 71.1 | general input
| Average number of outages per hour | number | 1.9965 | 1.9965 | 1.9965 | general input
| Outages occurring during system downtime per incident per annum | number | 9.9825 | 70.9756 | 141.9512 | general input
| Likelihood of serious injury | number | 0.0005 | 0.0005 | 0.0005 | As per option 1
| Value of a statistical life | $ | 5300000 | 7950000 | 10600000 | as per option 1
| Disproportionate factor | number | 3 | 4.5 | 6 | General input
| Escalated value of a statistical life | $ | 15900000 | 39750000 | 63600000 | calculation
Summary
Likelihood
| Option | Likelihood value | Likelihood category
| Option 1 | 10.5 | Monthly
| Option 2 | 7 | Every 2 months
| Option 3 | 7 | Every 2 months
Consequence
| Consequence | Class | Best case | Most likely | Worst Case
| Option 1 |  | 79360.8888 | 1410639.7982 | 4514047.3542
| Option 2 |  | 79360.8888 | 1410639.7982 | 4514047.3542
| Option 3 |  | 79360.8888 | 1410639.7982 | 4514047.3542
Monetised risk
| Consequence | Applied consequence (per annum) | Monetised risk
| Option 1 | 1742913.9194 | 18300596.1541
| Option 2 | 1742913.9194 | 12200397.436
| Option 3 | 1742913.9194 | 12200397.436
Risk benefit
| Option | Risk benefit
| Option 1 | n/a
| Option 2 | 6100198.718
| Option 3 | 6100198.718

## Benefit ITO1
Powercor & CitiPower
Network management systems risk
System failure
Option 1 (base case) - Do not maintain currency
| Inputs | Unit | Input value | Notes
| Likelihood of system outage | number | 10.5 | incident data, approximately 14 'critical' IT incidents occur per year outside of SAP and IT infrastructure. Under a do nothing scenario we estimate that this will increase by 50% to 21 incidents per year. 50% of these incidents are attributed to our network management systems.
| Likely system downtime | hours | 35.55 | average system downtime per incident data.
| Total number of employees |  | 333 | average number of users for an NMS system
| Impacted employees requiring immediate access to network management systems | % | 30% | Not all employees will require immediate access to to these systems, therefore a 50% reduction has been applied. We have also applied a 20% reduction due to some processes being able to be undertaken manually.
| Number of users affected | number | 99.9 | Calculation
| Average hourly rate for internal employees | $/hr | 145.78 | General input
| Number of IT specialists required to rectify | number | 5.3 | expected number of specialists required to rectify an NMS system
| Hours to rectify | hours | 15 | expected number of hours to rectify an NMS system under a do nothing scenario
| IT specialist / vendor hourly rate (restoration) | $/hr | 230.17 | General input
| Rectification fixed costs | $ | 0 | No fixed rectification costs.
Option 2 - Maintain currency
| Inputs | Unit | Input value | Notes
| Likelihood of system outage | number | 7 | incident data, approximately 14 'critical' IT incidents occur per year outside of SAP and IT infrastructure. 50% of these incidients are attributed to our network management systems
| Likely system downtime | hours | 35.55 | average system downtime per incident data.
| Total number of employees |  | 333 | the average number of users for an NMS system
| Impacted employees requiring immediate access to network management systems | % | 30% | as per option 1
| Number of users affected | number | 99.9 | Calculation
| Average hourly rate for internal employees | $/hr | 145.78 | General input
| Number of IT specialists required to rectify | number | 5.3 | expected number of specialists required to rectify an NMS system
| Hours to rectify | hours | 12 | expected number of hours to rectify an NMS system when maintaining currency
| IT specialist / vendor hourly rate (restoration) | $/hr | 230.17 | General input
| Rectification fixed costs | $ | 0 | No fixed rectification costs.
Option 3 - Maintain currency with more frequent upgrades
| Inputs | Unit | Input value | Notes
| Likelihood of system outage | number | 7 | as per option 2
| Likely system downtime | hours | 35.55 | average system downtime per incident data.
| Total number of employees |  | 333 | the average number of users for an NMS system
| Impacted employees requiring immediate access to network management systems | % | 30% | as per option 1
| Number of users affected | number | 99.9 | Calculation
| Average hourly rate for internal employees | $/hr | 145.78 | General input
| Number of IT specialists required to rectify | number | 5.3 | expected number of specialists required to rectify an NMS system
| Hours to rectify | hours | 10.5 | expected number of hours to rectify an NMS system when upgrading more frequently
| IT specialist / vendor hourly rate (restoration) | $/hr | 230.17 | General input
| Rectification fixed costs | $ | 0 | No fixed rectification costs.
Summary
Likelihood
| Option | Likelihood value | Likelihood category
| Option 1 | 10.5 | Monthly
| Option 2 | 7 | Every 2 months
| Option 3 | 7 | Every 2 months
Consequence
| Consequence | Consequence
| Option 1 | 536028.1671
| Option 2 | 532368.4641
| Option 3 | 530538.6126
Monetised risk
| Consequence | Monetised risk
| Option 1 | 5628295.7545
| Option 2 | 3726579.2487
| Option 3 | 3713770.2882
Risk benefit
| Option | Risk benefit
| Option 1 | n/a
| Option 2 | 1901716.5058
| Option 3 | 1914525.4663

## Benefit ITO3
Powercor & CitiPower
Network management systems risk
System failure - impact on field services delivery
Option 1 (base case) - Do not maintain currency
| Inputs | Unit | Input value | Notes
| Likelihood of system failure leading to field services being impacted | number | 1 | under a do nothing approach a system failure leading to a field services impact is estimated to occur annually
| Incremental operational labour | number | 11.5 | as per option 2
| Time to restore system (to fully operational) | hours | 48 | 4 weeks per Ausgrid business case.
| Number of IT specialists required | number | 5.3 | expected number of specialists required to rectify an NMS system
| Hours taken to rectify per specialist | hours | 15 | expected number of hours to rectify an NMS system under a do nothing scenario
| Labour hourly rate | $/hr | 145.78 | General input
| IT specialist hourly rate | $/hr | 230.17 | General input
Option 2 - Maintain currency
| Inputs | Unit | Input value | Notes
| Likelihood of system failure leading to field services being impacted | number | 0.2 | Under our maintain currency approach a system failure leading to a field services impact is estimated to occur once every 5 years
| Incremental operational labour | number | 11.5 | Per 2021-26 click mobile business case that outlined the incremental operational labour required for field services under a manual dispatch scenario.
| Time to restore system (to fully operational) | hours | 38.4 | 20% reduction in hours
| Number of IT specialists required | number | 5.3 | expected number of specialists required to rectify an NMS system
| Hours taken to rectify per specialist | hours | 12 | expected number of hours to rectify an NMS system when maintaining currency
| Labour hourly rate | $/hr | 145.78 | General input
| IT specialist hourly rate | $/hr | 230.17 | General input
Option 3 - Maintain currency with more frequent upgrades
| Inputs | Unit | Input value | Notes
| Likelihood of system failure leading to field services being impacted | number | 0.2 | as per option 2
| Incremental operational labour | number | 11.5 | as per option 2
| Time to restore system (to fully operational) | hours | 33.6 | 30% reduction in hours
| Number of IT specialists required | number | 5.3 | expected number of specialists required to rectify an NMS system
| Hours taken to rectify per specialist | hours | 10.5 | expected number of hours to rectify an NMS system when upgrading more frequently
| Labour hourly rate | $/hr | 145.78 | General input
| IT specialist hourly rate | $/hr | 230.17 | General input
Summary
Likelihood
| Option | Likelihood value | Likelihood category
| Option 1 | 1 | Annual
| Option 2 | 0.2 | Every 5 years
| Option 3 | 0.2 | Every 5 years
Consequence
| Option | Consequence
| Option 1 | 98769.075
| Option 2 | 79015.26
| Option 3 | 69138.3525
Monetised risk
| Consequence | Monetised risk | Check
| Option 1 | 98769.075 | FALSE
| Option 2 | 15803.052 | FALSE
| Option 3 | 13827.6705 | FALSE
Risk benefit
| Option | Risk benefit
| Option 1 | n/a
| Option 2 | 82966.023
| Option 3 | 84941.4045

## Benefit ITS1
Powercor & CitiPower
Network management systems risk
Increased change management costs
Option 1 (base case) - Do not maintain currency
| Inputs | Unit | Input value | Notes
| Number of change requests/feature enhancements annually | number | 12 | Monthly change requests
| Number of IT specialists required | number | 3 | Estimated IT specialist required to implement change (elements of Developer, Change manger, Application owner, tester and vendor)
| Hours per IT specialist | number | 25 | 10 days of effort across resources
| IT specialist hourly rate | $/hr | 230.17 | General input
Option 2 - Maintain currency
| Inputs | Unit | Input value | Notes
| Number of change requests/feature enhancements annually | number | 4 | Likelihood of change requests when compared to Option 1 due to more frequent upgrades of systems
| Number of IT specialists required | number | 3 | As per option 1
| Hours per IT specialist | number | 20 | 8 days of effort across resources
| IT specialist hourly rate | $/hr | 230.17 | Calculation
Option 3 - Maintain currency with more frequent upgrades
| Inputs | Unit | Input value | Notes
| Number of change requests/feature enhancements annually | number | 2 | Likelihood of change requests when compared to Option 2 due to more frequent upgrades of systems
| Number of IT specialists required | number | 3 | As per option 1
| Hours per IT specialist | number | 15 | 6 days of effort across resources
| IT specialist hourly rate | $/hr | 230.17 | Calculation
Summary
Likelihood
| Option | Likelihood value | Likelihood category
| Option 1 | 12 | Monthly
| Option 2 | 4 | Every quarter
| Option 3 | 2 | Every 6 months
Consequence
| Consequence | Consequence
| Option 1 | 17262.75
| Option 2 | 13810.2
| Option 3 | 10357.65
Monetised risk
| Consequence | Monetised risk
| Option 1 | 207153
| Option 2 | 55240.8
| Option 3 | 20715.3
Risk benefit
| Option | Risk benefit
| Option 1 | n/a
| Option 2 | 151912.2
| Option 3 | 186437.7

## Misc_calcs
Powercor & CitiPower
Network management systems risk
ESCALATION & OTHER
| Year end |  |  | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30
| Actual/forecast CPI (June to June) |  |  | 0% | 0.86% | 3.5% | 7.83% | 4.05% | 3%
| HY ending |  |  | 2021-06-30 | 2021-12-31 | 2022-06-30 | 2022-12-31 | 2023-06-30 | 2023-12-31 | 2024-06-30 | 2024-12-31 | 2025-06-30 | 2025-12-31 | 2026-06-30
| FY ending |  |  | 2021-06-30 | 2022-06-30 | 2022-06-30 | 2023-06-30 | 2023-06-30 | 2024-06-30 | 2024-06-30 | 2025-06-30 | 2025-06-30 | 2026-06-30 | 2026-06-30
| Actual/forecast CPI (June to June) |  |  | 0% | 0.86% | 0.86% | 3.5% | 3.5% | 7.83% | 7.83% | 4.05% | 4.05% | 3% | 3%
| Actual cumulative HY escalation |  |  | 1 | 1.0043 | 1.0086 | 1.0261 | 1.0439 | 1.084 | 1.1256 | 1.1482 | 1.1712 | 1.1887 | 1.2064
| Convert from input dollars | 2024-06-30 | 1.1256
| To output dollars | 2026-06-30 | 1.2064
| Conversion from input dollars to output dollars |  | 1.0717
FIRST YEAR | bar: 2021-06-30 to 2025-06-30
| Option | First year | Option included
| Option 2 | 1 | TRUE
| Option 3 | 1 | TRUE
| First year | 1
CHECKS | bar: 2021-06-30 to 2025-06-30
| Option 1 (base case) | FALSE | FALSE
FALSE
FALSE
| Option 2 | FALSE | FALSE
FALSE
FALSE
| Option 3 | FALSE | FALSE
FALSE
FALSE
Message | !! Capex asset life required !!
!

## Data
Powercor & CitiPower | [12 empty] | 2023-09-18
Network management systems risk
DATA
Options
|  | Not used | Text
Option1 | Option 1 (base case) | FALSE |  | Option 1 (base case): Do not maintain currency
Option2 | Option 2 | FALSE
Option3 | Option 3 | FALSE
Legend
Input
| No change to existing practices | [12 empty] | Fixed input
| Not applicable (compliance) | [12 empty] | Calculation
[defined name]
Categories
Short categ
| Incremental Capital expenditure | -1
| Annualised incremental capex | -1 | [11 empty] | June = Calendar year actual spend
| Incremental operating expenditure | -1 | [11 empty] | December = Financial year actual (eg as reported in RIN)
| Risk mitigated | 1
| Other benefits value | 1
| Net benefits | 1
| Total risk cost | 1
Conversions
| thous_conv | 1000
| mill_conv | 1000000
Message
| Message | Enter asset life
Error message |  | Remove inputs prior to start year
Disproportionate factors applied to various bushfire and other risk valuations
| - Select - |  |  |  | 0
| Harm to property from network |  |  |  | 1
| Harm to property from bushfire |  |  |  | 1
| Harm to environment |  |  |  | 1
| Safety - Public trespass |  |  |  | 1
| Safety - Single fatality or serious injury ^ |  |  |  | 3
| Safety from bushfire in HBRA |  |  |  | 3
| Safety - Multiple fatality or serious injury ^ |  |  |  | 6
| Safety from bushfire (REFCL declared areas) |  |  |  | 6
| Safety from bushfire (electric line construction areas) |  |  |  | 10
DROPDOWN LISTS
| Business |  |  | Type |  | Include | Dollar inputs - month |  |  | Not used options | Conversions | Dollar inputs - year
| CitiPower | CP |  | - Select - |  | FALSE | June | 6 | CY | Not used |  | 2024
| Powercor & CitiPower | PA |  | Capex |  | TRUE | December | 12 | FY |  |  | 2023
| United Energy | UE |  | Opex | [7 empty] | 2022
2021
2020