## Proactive Lifecycle Replacement
Proactive Lifecycle Replacement
2024-06-01
[5 empty] | Time on Task (hour/mins) | [8 empty] | 2 | 60 | 124.8244 | Source: JEN- Att 10-03M ACS Metering opex and capex model - 20250131 - Public
Meter Type | AER Type | RIN Subcategory 3 | Meter Code | FTE | Travel to site | Field crew to complete job safety assessment (JSA) | Setup traffic management | Inspect and record service status and condition | Inspect and record point of attachment status and condition | Replace meter and perform post installation safety and load test | Field crew completes paperwork, work activity record (WAR), record meter number, and remove traffic control devices. | Job Mins for Each FTE | Job Total Minutes | Total billable (Including FTE) | Total Efforts Hours (Including FTE) | Total Labour Cost
AMI - Single Phase, single element | Meter Type 4 | Single phase single element - AMI | AMI 1ph 1e | FTE1 | 10 | 10 |  |  | 5 |  | 10 | 35 | 55 | 110 | 1.8333 | 228.8448
|  |  |  | FTE2 | 10 |  | 10 | 5 |  | 30 |  | 55
AMI - Single Phase, two elements with 31.5A load control | Meter Type 4 | Single phase two element with contactor - AMI | AMI 1ph 2e | FTE1 | 10 | 10 |  |  | 5 |  | 10 | 35 | 55 | 110 | 1.8333 | 228.8448
|  |  |  | FTE2 | 10 |  | 10 | 5 |  | 30 |  | 55
AMI - 3 Phase with no load control | Meter Type 4 | Three phase - AMI | AMI 3ph | FTE1 | 10 | 10 |  |  | 5 |  | 10 | 35 | 65 | 130 | 2.1667 | 270.4529
|  |  |  | FTE2 | 10 |  | 10 | 5 |  | 40 |  | 65
AMI - Single Phase, single element, with 31.5A load control | Meter Type 4 | Single phase single element with contactor - AMI | AMI 1ph DC | FTE1 | 10 | 10 |  |  | 5 |  | 10 | 35 | 55 | 110 | 1.8333 | 228.8448
|  |  |  | FTE2 | 10 |  | 10 | 5 |  | 30 |  | 55
AMI - 3 Phase with 31.5A and 2A load control | Meter Type 4 | Three phase direct connected meter with contactor - AMI | AMI 3ph DC | FTE1 | 10 | 10 |  |  | 5 |  | 10 | 35 | 65 | 130 | 2.1667 | 270.4529
|  |  |  | FTE2 | 10 |  | 10 | 5 |  | 40 |  | 65
AMI - 3 Phase CT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT | FTE1 | 10 | 10 |  |  | 5 |  | 10 | 35 | 105 | 210 | 3.5 | 436.8854
|  |  |  | FTE2 | 10 |  | 10 | 5 |  | 80 |  | 105
AMI - 3 Phase CT & VT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT VT | FTE1 | 10 | 10 |  |  | 5 |  | 10 | 35 | 145 | 290 | 4.8333 | 603.318
|  |  |  | FTE2 | 10 |  | 10 | 5 |  | 120 |  | 145
Non AMI - Type 5 Locally read Interval - Single Phase | Meter Type 5 | Single phase non off peak - MRIM | INT 1ph | FTE1 | 10 | 10 |  |  | 5 |  | 10 | 35 | 55 | 110 | 1.8333 | 228.8448
|  |  |  | FTE2 | 10 |  | 10 | 5 |  | 30 |  | 55
Non AMI - Type 6 Locally read Accumulation - Single Phase | Meter Type 6 | Single phase non off peak - Accumulation | ACC 1ph | FTE1 | 10 | 10 |  |  | 5 |  | 10 | 35 | 55 | 110 | 1.8333 | 228.8448
|  |  |  | FTE2 | 10 |  | 10 | 5 |  | 30 |  | 55
Non AMI - Type 5 Locally read Interval - 3 Phase | Meter Type 5 | Multi phase direct connect - MRIM | INT 3ph | FTE1 | 10 | 10 |  |  | 5 |  | 10 | 35 | 55 | 110 | 1.8333 | 228.8448
|  |  |  | FTE2 | 10 |  | 10 | 5 |  | 30 |  | 55
Non AMI - Type 6 Locally read Accumulation - 3 Phase | Meter Type 6 | Multi phase direct connect - Accumulation | ACC 3ph | FTE1 | 10 | 10 |  |  | 5 |  | 10 | 35 | 55 | 110 | 1.8333 | 228.8448
|  |  |  | FTE2 | 10 |  | 10 | 5 |  | 30 |  | 55

## Faults and Failures
Faults and Failures
2024-06-01
[5 empty] | Time on Task (hour/mins) | [8 empty] | 2 | 60 | 124.8244 | Source: JEN- Att 10-03M ACS Metering opex and capex model - 20250131 - Public
Meter Type | AER Type | RIN Subcategory 3 | Meter Code | FTE | Travel to site | Field crew to complete job safety assessment (JSA) | Setup traffic management | Inspect and record service status and condition | Inspect and record point of attachment status and condition | Replace meter and perform post installation safety and load test | Field crew completes paperwork, work activity record (WAR), record meter number, and remove traffic control devices. | Job Mins for Each FTE | Job Total Minutes | Total billable (Including FTE) | Total Efforts Hours (Including FTE) | Total Labour Cost
AMI - Single Phase, single element | Meter Type 4 | Single phase single element - AMI | AMI 1ph 1e | FTE1 | 25 | 10 |  |  | 5 | 20 | 5 | 65 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 5 |  | 20 | 5 | 75
AMI - Single Phase, two elements with 31.5A load control | Meter Type 4 | Single phase two element with contactor - AMI | AMI 1ph 2e | FTE1 | 25 | 10 |  |  | 5 | 20 | 5 | 65 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 5 |  | 20 | 5 | 75
AMI - 3 Phase with no load control | Meter Type 4 | Three phase - AMI | AMI 3ph | FTE1 | 25 | 10 |  |  | 5 | 25 | 5 | 70 | 80 | 160 | 2.6667 | 332.8651
|  |  |  | FTE2 | 25 | 10 | 10 | 5 |  | 25 | 5 | 80
AMI - Single Phase, single element, with 31.5A load control | Meter Type 4 | Single phase single element with contactor - AMI | AMI 1ph DC | FTE1 | 25 | 10 |  |  | 5 | 20 | 5 | 65 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 5 |  | 20 | 5 | 75
AMI - 3 Phase with 31.5A and 2A load control | Meter Type 4 | Three phase direct connected meter with contactor - AMI | AMI 3ph DC | FTE1 | 25 | 10 |  |  | 5 | 30 | 5 | 75 | 85 | 170 | 2.8333 | 353.6692
|  |  |  | FTE2 | 25 | 10 | 10 | 5 |  | 30 | 5 | 85
AMI - 3 Phase CT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT | FTE1 | 25 | 10 |  |  | 5 | 40 | 5 | 85 | 95 | 190 | 3.1667 | 395.2773
|  |  |  | FTE2 | 25 | 10 | 10 | 5 |  | 40 | 5 | 95
AMI - 3 Phase CT & VT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT VT | FTE1 | 25 | 10 |  |  | 5 | 60 | 5 | 105 | 115 | 230 | 3.8333 | 478.4936
|  |  |  | FTE2 | 25 | 10 | 10 | 5 |  | 60 | 5 | 115
Non AMI - Type 5 Locally read Interval - Single Phase | Meter Type 5 | Single phase non off peak - MRIM | INT 1ph | FTE1 | 25 | 10 |  |  | 5 | 20 | 5 | 65 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 5 |  | 20 | 5 | 75
Non AMI - Type 6 Locally read Accumulation - Single Phase | Meter Type 6 | Single phase non off peak - Accumulation | ACC 1ph | FTE1 | 25 | 10 |  |  | 5 | 20 | 5 | 65 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 5 |  | 20 | 5 | 75
Non AMI - Type 5 Locally read Interval - 3 Phase | Meter Type 5 | Multi phase direct connect - MRIM | INT 3ph | FTE1 | 25 | 10 |  |  | 5 | 20 | 5 | 65 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 5 |  | 20 | 5 | 75
Non AMI - Type 6 Locally read Accumulation - 3 Phase | Meter Type 6 | Multi phase direct connect - Accumulation | ACC 3ph | FTE1 | 25 | 10 |  |  | 5 | 20 | 5 | 65 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 5 |  | 20 | 5 | 75

## Abolishments_Service Removed
Abolishments_Service Removed
[15 empty] | 2024-06-01 | Field worker labour rate (excluding overheads)
[5 empty] | Time on Task (hour/mins) | [7 empty] | 2 | 60 | 124.8244 | Source: JEN- Att 10-03M ACS Metering opex and capex model - 20250131 - Public
Meter Type | AER Type | RIN Subcategory 3 | Meter Code | FTE | Travel to site | Field crew to complete job safety assessment (JSA) | Setup traffic management | Remove service wire, point of attachment and make safe (if applicable) | Remove meter board and make safe | Field crew completes paperwork, work activity record (WAR), record meter number, and remove traffic control devices. | Job Mins for Each FTE | Job Total Minutes | Total billable (Including FTE) | Total Efforts Hours (Including FTE) | Total Labour Cost
AMI - Single Phase, single element | Meter Type 4 | Single phase single element - AMI | AMI 1ph 1e | FTE1 | 25 | 10 |  |  | 10 | 10 | 55 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 20 |  | 10 | 75
AMI - Single Phase, two elements with 31.5A load control | Meter Type 4 | Single phase two element with contactor - AMI | AMI 1ph 2e | FTE1 | 25 | 10 |  |  | 10 | 10 | 55 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 20 |  | 10 | 75
AMI - 3 Phase with no load control | Meter Type 4 | Three phase - AMI | AMI 3ph | FTE1 | 25 | 10 |  |  | 20 | 20 | 75 | 95 | 190 | 3.1667 | 395.2773
|  |  |  | FTE2 | 25 | 10 | 10 | 30 |  | 20 | 95
AMI - Single Phase, single element, with 31.5A load control | Meter Type 4 | Single phase single element with contactor - AMI | AMI 1ph DC | FTE1 | 25 | 10 |  |  | 10 | 10 | 55 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 20 |  | 10 | 75
AMI - 3 Phase with 31.5A and 2A load control | Meter Type 4 | Three phase direct connected meter with contactor - AMI | AMI 3ph DC | FTE1 | 25 | 10 |  |  | 25 | 25 | 85 | 95 | 190 | 3.1667 | 395.2773
|  |  |  | FTE2 | 25 | 10 | 10 | 25 |  | 25 | 95
AMI - 3 Phase CT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT | FTE1 | 25 | 10 |  |  | 35 | 35 | 105 | 115 | 230 | 3.8333 | 478.4936
|  |  |  | FTE2 | 25 | 10 | 10 | 35 |  | 35 | 115
AMI - 3 Phase CT & VT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT VT | FTE1 | 25 | 10 |  |  | 120 | 10 | 165 | 175 | 350 | 5.8333 | 728.1424
|  |  |  | FTE2 | 25 | 10 | 10 | 120 |  | 10 | 175
Non AMI - Type 5 Locally read Interval - Single Phase | Meter Type 5 | Single phase non off peak - MRIM | INT 1ph | FTE1 | 25 | 10 |  |  | 10 | 10 | 55 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 20 |  | 10 | 75
Non AMI - Type 6 Locally read Accumulation - Single Phase | Meter Type 6 | Single phase non off peak - Accumulation | ACC 1ph | FTE1 | 25 | 10 |  |  | 10 | 10 | 55 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 20 |  | 10 | 75
Non AMI - Type 5 Locally read Interval - 3 Phase | Meter Type 5 | Multi phase direct connect - MRIM | INT 3ph | FTE1 | 25 | 10 |  |  | 10 | 10 | 55 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 20 |  | 10 | 75
Non AMI - Type 6 Locally read Accumulation - 3 Phase | Meter Type 6 | Multi phase direct connect - Accumulation | ACC 3ph | FTE1 | 25 | 10 |  |  | 10 | 10 | 55 | 75 | 150 | 2.5 | 312.061
|  |  |  | FTE2 | 25 | 10 | 10 | 20 |  | 10 | 75

## Metering Inspections
Metering Inspections
2024-06-01
[5 empty] | Time on Task (hour/mins) | [7 empty] | 2 | 60 | 124.8244 | Source: JEN- Att 10-03M ACS Metering opex and capex model - 20250131 - Public
Meter Type | AER Type | RIN Subcategory 3 | Meter Code | FTE | Travel to site | Field crew to complete job safety assessment (JSA) | Setup traffic management | Meter installation inspection | Inspect and record point of attachment status and condition | Field crew completes paperwork, work activity record (WAR), record meter number, and remove traffic control devices. | Job Mins for Each FTE | Job Total Minutes | Total billable (Including FTE) | Total Efforts Hours (Including FTE) | Total Labour Cost
AMI - Single Phase, single element | Meter Type 4 | Single phase single element - AMI | AMI 1ph 1e | FTE1 | 10 | 5 |  | 10 |  | 5 | 30 | 30 | 60 | 1 | 124.8244
|  |  |  | FTE2 | 10 |  | 5 |  | 5 | 5 | 25
AMI - Single Phase, two elements with 31.5A load control | Meter Type 4 | Single phase two element with contactor - AMI | AMI 1ph 2e | FTE1 | 10 | 5 |  | 10 |  | 5 | 30 | 30 | 60 | 1 | 124.8244
|  |  |  | FTE2 | 10 |  | 5 |  | 5 | 5 | 25
AMI - 3 Phase with no load control | Meter Type 4 | Three phase - AMI | AMI 3ph | FTE1 | 10 | 5 |  | 10 |  | 5 | 30 | 30 | 60 | 1 | 124.8244
|  |  |  | FTE2 | 10 |  | 5 |  | 5 | 5 | 25
AMI - Single Phase, single element, with 31.5A load control | Meter Type 4 | Single phase single element with contactor - AMI | AMI 1ph DC | FTE1 | 10 | 5 |  | 10 |  | 5 | 30 | 30 | 60 | 1 | 124.8244
|  |  |  | FTE2 | 10 |  | 5 |  | 5 | 5 | 25
AMI - 3 Phase with 31.5A and 2A load control | Meter Type 4 | Three phase direct connected meter with contactor - AMI | AMI 3ph DC | FTE1 | 10 | 5 |  | 15 |  | 5 | 35 | 35 | 70 | 1.1667 | 145.6285
|  |  |  | FTE2 | 10 |  | 5 |  | 5 | 5 | 25
AMI - 3 Phase CT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT | FTE1 | 10 | 5 |  | 15 |  | 5 | 35 | 35 | 70 | 1.1667 | 145.6285
|  |  |  | FTE2 | 10 |  | 5 | 5 | 5 | 5 | 30
AMI - 3 Phase CT & VT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT VT | FTE1 | 10 | 5 |  | 15 |  | 5 | 35 | 35 | 70 | 1.1667 | 145.6285
|  |  |  | FTE2 | 10 |  | 5 | 5 | 5 | 5 | 30
Non AMI - Type 5 Locally read Interval - Single Phase | Meter Type 5 | Single phase non off peak - MRIM | INT 1ph | FTE1 | 10 | 5 |  | 10 |  | 5 | 30 | 30 | 60 | 1 | 124.8244
|  |  |  | FTE2 | 10 |  | 5 |  | 5 | 5 | 25
Non AMI - Type 6 Locally read Accumulation - Single Phase | Meter Type 6 | Single phase non off peak - Accumulation | ACC 1ph | FTE1 | 10 | 5 |  | 10 |  | 5 | 30 | 30 | 60 | 1 | 124.8244
|  |  |  | FTE2 | 10 |  | 5 |  | 5 | 5 | 25
Non AMI - Type 5 Locally read Interval - 3 Phase | Meter Type 5 | Multi phase direct connect - MRIM | INT 3ph | FTE1 | 10 | 5 |  | 10 |  | 5 | 30 | 30 | 60 | 1 | 124.8244
|  |  |  | FTE2 | 10 |  | 5 |  | 5 | 5 | 25
Non AMI - Type 6 Locally read Accumulation - 3 Phase | Meter Type 6 | Multi phase direct connect - Accumulation | ACC 3ph | FTE1 | 10 | 5 |  | 10 |  | 5 | 30 | 30 | 60 | 1 | 124.8244
|  |  |  | FTE2 | 10 |  | 5 |  | 5 | 5 | 25

## NH-Abolishment_Service Removed (hidden)
Abolishment / Service Removed
|  |  |  | Time on Task (hour/mins) | [6 empty] | 60
Meter Type | AER Type | RIN Subcategory 3 | Meter Code | Travel to site | Field crew completes job safety assessment (JSA) | Setup traffic management | Field crew completes abolishment work | Field crew completes paperwork, work activity record (WAR), record meter number, and remove traffic control devices. | Total Minutes | Total (Including FTE | Total Hours(Including FTE)
AMI - Single Phase, single element | Meter Type 4 | Single phase single element - AMI | AMI 1ph 1e | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
AMI - Single Phase, two elements with 31.5A load control | Meter Type 4 | Single phase two element with contactor - AMI | AMI 1ph 2e | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
AMI - 3 Phase with no load control | Meter Type 4 | Three phase - AMI | AMI 3ph | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
AMI - Single Phase, single element, with 31.5A load control | Meter Type 4 | Single phase single element with contactor - AMI | AMI 1ph DC | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
AMI - 3 Phase with 31.5A and 2A load control | Meter Type 4 | Three phase direct connected meter with contactor - AMI | AMI 3ph DC | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
AMI - 3 Phase CT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
AMI - 3 Phase CT & VT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT VT | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
Non AMI - Type 5 Locally read Interval - Single Phase | Meter Type 5 | Single phase non off peak - MRIM | INT 1ph | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
Non AMI - Type 6 Locally read Accumulation - Single Phase | Meter Type 6 | Single phase non off peak - Accumulation | ACC 1ph | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
Non AMI - Type 5 Locally read Interval - 3 Phase | Meter Type 5 | Multi phase direct connect - MRIM | INT 3ph | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
Non AMI - Type 6 Locally read Accumulation - 3 Phase | Meter Type 6 | Multi phase direct connect - Accumulation | ACC 3ph | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
Number of FTE
Meter Type | AER Type | RIN Subcategory 3 | Meter Code | Total
AMI - Single Phase, single element | Meter Type 4 | Single phase single element - AMI | AMI 1ph 1e | 2
AMI - Single Phase, two elements with 31.5A load control | Meter Type 4 | Single phase two element with contactor - AMI | AMI 1ph 2e | 2
AMI - 3 Phase with no load control | Meter Type 4 | Three phase - AMI | AMI 3ph | 2
AMI - Single Phase, single element, with 31.5A load control | Meter Type 4 | Single phase single element with contactor - AMI | AMI 1ph DC | 2
AMI - 3 Phase with 31.5A and 2A load control | Meter Type 4 | Three phase direct connected meter with contactor - AMI | AMI 3ph DC | 2
AMI - 3 Phase CT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT | 2
AMI - 3 Phase CT & VT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT VT | 2
Non AMI - Type 5 Locally read Interval - Single Phase | Meter Type 5 | Single phase non off peak - MRIM | INT 1ph | 2
Non AMI - Type 6 Locally read Accumulation - Single Phase | Meter Type 6 | Single phase non off peak - Accumulation | ACC 1ph | 2
Non AMI - Type 5 Locally read Interval - 3 Phase | Meter Type 5 | Multi phase direct connect - MRIM | INT 3ph | 2
Non AMI - Type 6 Locally read Accumulation - 3 Phase | Meter Type 6 | Multi phase direct connect - Accumulation | ACC 3ph | 2

## A20-MetersExchanged Non AMI-AMI (hidden)
Meters Exchanged -Non AMI to AMI
|  |  |  | Time on task (hour/mins) | [7 empty] | 60
Meter Type | AER Type | RIN Subcategory 3 | Meter Code | Pre inspection (including travel to site to confirm address, access, vegetation issues etc.) | Travel to site | Field crew to complete job safety assessment (JSA) | Replace meter, prepare for testing | Field crew to complete NST testing | Field crew completes paperwork, work activity record (WAR), record meter number, and remove traffic control devices. | Total Minutes | Total (Including FTE | Total Hours(Including FTE)
AMI - Single Phase, single element | Meter Type 4 | Single phase single element - AMI | AMI 1ph 1e | 60 | 30 | 10 | 82.5 | 30 | 20 | 172.5 | 345 | 5.75
AMI - Single Phase, two elements with 31.5A load control | Meter Type 4 | Single phase two element with contactor - AMI | AMI 1ph 2e | 60 | 30 | 10 | 82.5 | 30 | 20 | 172.5 | 345 | 5.75
AMI - 3 Phase with no load control | Meter Type 4 | Three phase - AMI | AMI 3ph | 60 | 30 | 10 | 82.5 | 30 | 20 | 172.5 | 345 | 5.75
AMI - Single Phase, single element, with 31.5A load control | Meter Type 4 | Single phase single element with contactor - AMI | AMI 1ph DC | 60 | 30 | 10 | 82.5 | 30 | 20 | 172.5 | 345 | 5.75
AMI - 3 Phase with 31.5A and 2A load control | Meter Type 4 | Three phase direct connected meter with contactor - AMI | AMI 3ph DC | 60 | 30 | 10 | 82.5 | 30 | 20 | 172.5 | 345 | 5.75
AMI - 3 Phase CT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT | 60 | 30 | 30 | 82.5 | 30 | 30 | 202.5 | 405 | 6.75
AMI - 3 Phase CT & VT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT VT | 60 | 30 | 30 | 82.5 | 30 | 30 | 202.5 | 405 | 6.75
Non AMI - Type 5 Locally read Interval - Single Phase | Meter Type 5 | Single phase non off peak - MRIM | INT 1ph | 60 | 30 | 10 | 82.5 | 30 | 20 | 172.5 | 345 | 5.75
Non AMI - Type 6 Locally read Accumulation - Single Phase | Meter Type 6 | Single phase non off peak - Accumulation | ACC 1ph | 60 | 30 | 10 | 82.5 | 30 | 20 | 172.5 | 345 | 5.75
Non AMI - Type 5 Locally read Interval - 3 Phase | Meter Type 5 | Multi phase direct connect - MRIM | INT 3ph | 60 | 30 | 10 | 82.5 | 30 | 20 | 172.5 | 345 | 5.75
Non AMI - Type 6 Locally read Accumulation - 3 Phase | Meter Type 6 | Multi phase direct connect - Accumulation | ACC 3ph | 60 | 30 | 30 | 82.5 | 30 | 30 | 202.5 | 405 | 6.75
Number of FTE
Meter Type | AER Type | RIN Subcategory 3 | Meter Code | Total
AMI - Single Phase, single element | Meter Type 4 | Single phase single element - AMI | AMI 1ph 1e | 2
AMI - Single Phase, two elements with 31.5A load control | Meter Type 4 | Single phase two element with contactor - AMI | AMI 1ph 2e | 2
AMI - 3 Phase with no load control | Meter Type 4 | Three phase - AMI | AMI 3ph | 2
AMI - Single Phase, single element, with 31.5A load control | Meter Type 4 | Single phase single element with contactor - AMI | AMI 1ph DC | 2
AMI - 3 Phase with 31.5A and 2A load control | Meter Type 4 | Three phase direct connected meter with contactor - AMI | AMI 3ph DC | 2
AMI - 3 Phase CT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT | 2
AMI - 3 Phase CT & VT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT VT | 2
Non AMI - Type 5 Locally read Interval - Single Phase | Meter Type 5 | Single phase non off peak - MRIM | INT 1ph | 2
Non AMI - Type 6 Locally read Accumulation - Single Phase | Meter Type 6 | Single phase non off peak - Accumulation | ACC 1ph | 2
Non AMI - Type 5 Locally read Interval - 3 Phase | Meter Type 5 | Multi phase direct connect - MRIM | INT 3ph | 2
Non AMI - Type 6 Locally read Accumulation - 3 Phase | Meter Type 6 | Multi phase direct connect - Accumulation | ACC 3ph | 2

## Failures_Faults (hidden)
Failures_Faults
|  |  |  | Time on Task (hour/mins) | [6 empty] | 60
Meter Type | AER Type | RIN Subcategory 3 | Meter Code | Travel to site | Field crew completes job safety assessment (JSA) | Setup traffic management | Field crew completes NST testing and seal meter. | Field crew completes paperwork, work activity record (WAR), record meter number, and remove traffic control devices. | Total Minutes | Total (Including FTE | Total Hours(Including FTE)
AMI - Single Phase, single element | Meter Type 4 | Single phase single element - AMI | AMI 1ph 1e | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
AMI - Single Phase, two elements with 31.5A load control | Meter Type 4 | Single phase two element with contactor - AMI | AMI 1ph 2e | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
AMI - 3 Phase with no load control | Meter Type 4 | Three phase - AMI | AMI 3ph | 30 | 10 | 10 | 30 | 10 | 90 | 180 | 3 | 1.5
AMI - Single Phase, single element, with 31.5A load control | Meter Type 4 | Single phase single element with contactor - AMI | AMI 1ph DC | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
AMI - 3 Phase with 31.5A and 2A load control | Meter Type 4 | Three phase direct connected meter with contactor - AMI | AMI 3ph DC | 30 | 10 | 10 | 30 | 10 | 90 | 180 | 3 | 1.5
AMI - 3 Phase CT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT | 30 | 10 | 10 | 30 | 10 | 90 | 270 | 4.5 | 1.5
AMI - 3 Phase CT & VT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT VT | 30 | 10 | 10 | 30 | 10 | 90 | 270 | 4.5 | 1.5
Non AMI - Type 5 Locally read Interval - Single Phase | Meter Type 5 | Single phase non off peak - MRIM | INT 1ph | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
Non AMI - Type 6 Locally read Accumulation - Single Phase | Meter Type 6 | Single phase non off peak - Accumulation | ACC 1ph | 30 | 10 | 10 | 20 | 10 | 80 | 160 | 2.6667 | 1.3333
Non AMI - Type 5 Locally read Interval - 3 Phase | Meter Type 5 | Multi phase direct connect - MRIM | INT 3ph | 30 | 10 | 10 | 30 | 10 | 90 | 180 | 3 | 1.5
Non AMI - Type 6 Locally read Accumulation - 3 Phase | Meter Type 6 | Multi phase direct connect - Accumulation | ACC 3ph | 30 | 10 | 10 | 30 | 10 | 90 | 180 | 3 | 1.5
Number of FTE
Meter Type | AER Type | RIN Subcategory 3 | Meter Code | Total
AMI - Single Phase, single element | Meter Type 4 | Single phase single element - AMI | AMI 1ph 1e | 2
AMI - Single Phase, two elements with 31.5A load control | Meter Type 4 | Single phase two element with contactor - AMI | AMI 1ph 2e | 2
AMI - 3 Phase with no load control | Meter Type 4 | Three phase - AMI | AMI 3ph | 2
AMI - Single Phase, single element, with 31.5A load control | Meter Type 4 | Single phase single element with contactor - AMI | AMI 1ph DC | 2
AMI - 3 Phase with 31.5A and 2A load control | Meter Type 4 | Three phase direct connected meter with contactor - AMI | AMI 3ph DC | 2
AMI - 3 Phase CT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT | 3
AMI - 3 Phase CT & VT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT VT | 3
Non AMI - Type 5 Locally read Interval - Single Phase | Meter Type 5 | Single phase non off peak - MRIM | INT 1ph | 2
Non AMI - Type 6 Locally read Accumulation - Single Phase | Meter Type 6 | Single phase non off peak - Accumulation | ACC 1ph | 2
Non AMI - Type 5 Locally read Interval - 3 Phase | Meter Type 5 | Multi phase direct connect - MRIM | INT 3ph | 2
Non AMI - Type 6 Locally read Accumulation - 3 Phase | Meter Type 6 | Multi phase direct connect - Accumulation | ACC 3ph | 2

## A10- AMI Meter Replacement (hidden)
AMI Meter Replacement
|  |  |  | Time on Task (hour/mins) | [6 empty] | 60
Meter Type | AER Type | RIN Subcategory 3 | Meter Code | Travel to site | Field crew to complete job safety assessment (JSA) | Setup traffic management | Replace meter,field crew to complete NST testing | Field crew completes paperwork, work activity record (WAR), record meter number, and remove traffic control devices. | Total Minutes | Total (Including FTE | Total Efforts Hours (Including FTE) | Duration, hours
AMI - Single Phase, single element | Meter Type 4 | Single phase single element - AMI | AMI 1ph 1e | 10 | 10 | 10 | 20 | 10 | 60 | 120 | 2 | 1 | 1.3333
AMI - Single Phase, two elements with 31.5A load control | Meter Type 4 | Single phase two element with contactor - AMI | AMI 1ph 2e | 10 | 10 | 10 | 20 | 10 | 60 | 120 | 2 | 1 | 1.3333
AMI - 3 Phase with no load control | Meter Type 4 | Three phase - AMI | AMI 3ph | 10 | 10 | 10 | 30 | 10 | 70 | 140 | 2.3333 | 1.1667 | 1.5
AMI - Single Phase, single element, with 31.5A load control | Meter Type 4 | Single phase single element with contactor - AMI | AMI 1ph DC | 10 | 10 | 10 | 20 | 10 | 60 | 120 | 2 | 1 | 1.3333
AMI - 3 Phase with 31.5A and 2A load control | Meter Type 4 | Three phase direct connected meter with contactor - AMI | AMI 3ph DC | 10 | 10 | 10 | 30 | 10 | 70 | 140 | 2.3333 | 1.1667 | 1.5
AMI - 3 Phase CT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT | 10 | 10 | 10 | 30 | 10 | 70 | 210 | 3.5 | 1.1667 | 1.5
AMI - 3 Phase CT & VT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT VT | 10 | 10 | 10 | 30 | 10 | 70 | 210 | 3.5 | 1.1667 | 1.5
Non AMI - Type 5 Locally read Interval - Single Phase | Meter Type 5 | Single phase non off peak - MRIM | INT 1ph | 10 | 10 | 10 | 20 | 10 | 60 | 120 | 2 | 1 | 1.3333
Non AMI - Type 6 Locally read Accumulation - Single Phase | Meter Type 6 | Single phase non off peak - Accumulation | ACC 1ph | 10 | 10 | 10 | 20 | 10 | 60 | 120 | 2 | 1 | 1.3333
Non AMI - Type 5 Locally read Interval - 3 Phase | Meter Type 5 | Multi phase direct connect - MRIM | INT 3ph | 10 | 10 | 10 | 30 | 10 | 70 | 140 | 2.3333 | 1.1667 | 1.5
Non AMI - Type 6 Locally read Accumulation - 3 Phase | Meter Type 6 | Multi phase direct connect - Accumulation | ACC 3ph | 10 | 10 | 10 | 30 | 10 | 70 | 140 | 2.3333 | 1.1667 | 1.5
Number of FTE
Meter Type | AER Type | RIN Subcategory 3 | Meter Code | Total
AMI - Single Phase, single element | Meter Type 4 | Single phase single element - AMI | AMI 1ph 1e | 2
AMI - Single Phase, two elements with 31.5A load control | Meter Type 4 | Single phase two element with contactor - AMI | AMI 1ph 2e | 2
AMI - 3 Phase with no load control | Meter Type 4 | Three phase - AMI | AMI 3ph | 2
AMI - Single Phase, single element, with 31.5A load control | Meter Type 4 | Single phase single element with contactor - AMI | AMI 1ph DC | 2
AMI - 3 Phase with 31.5A and 2A load control | Meter Type 4 | Three phase direct connected meter with contactor - AMI | AMI 3ph DC | 2
AMI - 3 Phase CT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT | 3
AMI - 3 Phase CT & VT connect | Meter Type 4 | Three phase Current transformer connected meter - AMI | AMI 3ph CT VT | 3
Non AMI - Type 5 Locally read Interval - Single Phase | Meter Type 5 | Single phase non off peak - MRIM | INT 1ph | 2
Non AMI - Type 6 Locally read Accumulation - Single Phase | Meter Type 6 | Single phase non off peak - Accumulation | ACC 1ph | 2
Non AMI - Type 5 Locally read Interval - 3 Phase | Meter Type 5 | Multi phase direct connect - MRIM | INT 3ph | 2
Non AMI - Type 6 Locally read Accumulation - 3 Phase | Meter Type 6 | Multi phase direct connect - Accumulation | ACC 3ph | 2