## Cover
Powercor
Regulatory proposal 2026-31
#NAME?
Model number: | #NAME?
2025-01-31

## Powercor
Powercor
Reserve feeder cost (2023-24 dollars) |  | Source
$/kVA
LV | 15.8902
HV | 38.4632
SubT | 2.6493
Overhead rate | 21.44% | 2023-24 CAT RIN, 2.1 Expenditure summary, network overheads / direct maintenance
Demand
MVA
LV | 1964.8893 | Based on LV proportion of consumption
HV | 2629 | 2023-24 EB RIN, 3.4 Operational data, sum of zone substation coincident demand
SubT | 2652 | 2023-24 EB RIN, 3.4 Operational data, sum of terminal station coincident demand
Energy supplies
GWh
Residential | 3882.59 | 2023-24 EB RIN, 3.4 Operational data
Business not on demand tariff | 1185.45 | 2023-24 EB RIN, 3.4 Operational data
Business LV on demand tariff | 3233.38 | 2023-24 EB RIN, 3.4 Operational data
High voltage | 2902.96 | 2023-24 EB RIN, 3.4 Operational data
Total | 11204.38
Feeder maintenance cost
$m
LV | 25.7096 | Allocated based on spans cut
HV | 83.265 | Allocated based on spans cut
SubT | 5.7853 | Allocated based on spans cut
Total | 114.7599
Total spans cut
Number
LV | 9230 | 2023-24 EB RIN, 3.7 Operational environment (underlying work paper)
HV | 29893 | 2023-24 EB RIN, 3.7 Operational environment (underlying work paper)
SubT | 2077 | 2023-24 EB RIN, 3.7 Operational environment (underlying work paper)
Total | 41200
Pole and line maintenance expenditure
$m
Vegetation management | 69.0716 | 2023-24 CAT RIN, 2.7 Vegetation management
Pole top, overhead & service lines | 22.7089 | 2023-24 CAT RIN, 2.7 Vegetation management
Pole inspection and treatment | 21.6725 | 2023-24 CAT RIN, 2.7 Vegetation management
Overhead asset inspection | 0.83489 | 2023-24 CAT RIN, 2.7 Vegetation management
Network underground cable | 0.47198 | 2023-24 CAT RIN, 2.7 Vegetation management
Total | 114.7599