## Cover
Powercor
Regulatory proposal 2026-31
Conductor rectification based on LiDAR
| Model number: | 4.09
2025-01-31
2

## Costs
#NAME?
#NAME?
COSTS
Inputs
| Clearance issues | Volumes
| Ground Clearance | 300
| Mid Span Phase-to-Phase | 10
| Pole Top | 30
| Total | 340
Conductor clearance solutions and associated costs
| Conductor clearance rectification solution | Estimated cost to implement per site
| Restringing/Re-Sagged | 7590
| Pole Top Augmentation (Raiser Bracket, Crossarm) | 7000
| Pole Replacement/New Pole | 17288
| Other (LV retirement etc) | 7590
| Spreader installation | 1767
Powercor pole population replaced under wood pole replacement program
To prevent double counting of costs between the wood pole replacement program and the wood poles being replaced under this program, 100% of the cost of replacing an aged (>=50 years of age) pole with a taller pole will be attributed to the wood pole replacement program.
| Proportion of poles <50 years old | 63.59%
Interim risk mitigation measure prior to implementation of clearance solution
If we are unable to rectify a P1 clearance defect within 24h, rotamarkas are installed as an iterim risk mitigation until the clearance rectification solution is implemented
| Rotamarka required annually for ground clearance defects | 11.04
| Rotamarka installation cost | 275
Option 1 - base case
Base case of "do nothing" is not a viable option as it will result in non-compliance with AS7000.
Option 2 - Pole replacement to rectify ground clearance issues
| Annual rotamarka costs |  | 3036
| Annual cost to rectify phase-to-phase clearance issues |  | 17670
| Annual cost to rectify pole top clearance issues |  | 210000
| Annual pole replacement costs to rectify ground clearance issues |  | 3297857.3282 | excluding pole replacements attributed to the wood pole replacement program
| Total annual cost |  | 3528563.3282
Option 3 - Combination of solutions to rectify ground clearance issues
| Gound clearance rectification | Estimated % deployment
| Restringing/Re-Sagged | 38%
| Pole Top Augmentation (Raiser Bracket, Crossarm) | 6%
| Pole Replacement/New Pole | 52%
| Other (LV retirement etc) | 4%
| Annual rotamarka costs |  | 3036
| Annual cost to rectify phase-to-phase clearance issues |  | 17670
| Annual cost to rectify pole top clearance issues |  | 210000
| Annual cost to rectify ground clearance issues with restringing |  | 865260
| Annual cost to rectify ground clearance issues with pole top augmentation |  | 126000
| Annual cost to rectify ground clearance issues with pole replacement |  | 1714885.8107 | excluding pole replacements attributed to the wood pole replacement program
| Annual cost to rectify ground clearance issues with other solution |  | 91080
| Total annual cost |  | 3027931.8107