## Cover
Powercor
Regulatory proposal 2026-31
HV wooden crossarms (bushfire)
| Model number: | 4.16
2025-01-31
5

## Summary
Powercor
Proactive HBRA HV wood crossarm replacements
Summary
|  | Incremental cost PV | Incremental benefit PV | NPV
|  | 2026-06-30 | 2026-06-30 | 2026-06-30
| Option 1 | 0 | 0 | 0
| Option 2 | -2.7685 | 12.7049 | 9.9363
| Preferred option: | Option 2
Incremental capital expenditure vs Option 1 (base case)
|  |  | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31
| Capital expenditure ($ 2026) |  | 4.7757 | 4.7757 | 4.7757 | 4.7757 | 4.7757

## Calculations
Powercor
Proactive HBRA HV wood crossarm replacements
WORKINGS - COSTS
Discount factor | [7 empty] | 1 | 0.98295 | 0.94971 | 0.91759 | 0.88656 | 0.85658 | 0.82761 | 0.79963 | 0.77259 | 0.74646 | 0.72122 | 0.69683 | 0.67326 | 0.6505
Assumptions
|  | Estimated HV & SubT wood crossarms in HBRA | 2024 |  | 17004
|  | Current replacement volume pa | Condition based |  | 1265
|  |  | Pole replacements |  | 484
|  | Estimated volume remaining at 30 June 2031 | 2031 |  | 4761
|  | Replacement unit cost |  | 2023-12-31 | 4506.6129
|  | Annual bushfire risk from a HBRA HV wood crossarm |  | 2023-12-31 | 707.807
|  | Annual bushfire risk from a HBRA HV steel crossarm |  | 2023-12-31 | 8.4514
|  | Option 2 incremental replacements pa |  |  | 952.2
Option 1 (base case)
Replacement volumes
[6 empty] | 2024-06-01 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46
|  | Current replacement rate |  |  |  |  | 1749 | 1749 | 1749 | 1749 | 1749 | 1749 | 1749 | 1749 | 1749 | 1263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Closing balance wood cross-arms |  |  |  | 17004 | 15255 | 13506 | 11757 | 10008 | 8259 | 6510 | 4761 | 3012 | 1263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Closing balance steel cross-arms |  |  |  |  | 1749 | 3498 | 5247 | 6996 | 8745 | 10494 | 12243 | 13992 | 15741 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004
| Option 1 | Replacement cost |  | 2023-12-31 |  |  |  |  | 7882065.8838 | 7882065.8838 | 7882065.8838 | 7882065.8838 | 7882065.8838 | 7882065.8838 | 7882065.8838 | 5691852.0362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Option 1 | Bushfire risk |  | 2023-12-31 |  |  |  |  | 8366031.8341 | 7142858.8931 | 5919685.9521 | 4696513.011 | 3473340.07 | 2250167.129 | 1026994.1879 | 143708.0675 | 143708.0675 | 143708.0675 | 143708.0675 | 143708.0675 | 143708.0675 | 143708.0675 | 143708.0675 | 143708.0675 | 143708.0675 | 143708.0675 | 143708.0675 | 143708.0675
Option 2
Replacement volumes
[6 empty] | 2024-06-01 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46
|  | Replacement volumes |  |  |  |  | 1749 | 1749 | 1749 | 1749 | 1749 | 1749 | 1749 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Incremental replacements over 2026-31 | [6 empty] | 952.2 | 952.2 | 952.2 | 952.2 | 952.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Closing balance wood cross-arms |  |  |  | 17004 | 15255 | 13506 | 10804.8 | 8103.6 | 5402.4 | 2701.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Closing balance steel cross-arms |  |  |  | 0 | 1749 | 3498 | 6199.2 | 8900.4 | 11601.6 | 14302.8 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004 | 17004
| Option 2 | Replacement cost |  | 2023-12-31 |  |  | 2026-27: 12173262.6446; 2027-28: 12173262.6446; 2028-29: 12173262.6446; 2029-30: 12173262.6446; 2030-31: 12173262.6446; 2031-32: 0; 2032-33: 0; 2033-34: 0; 2034-35: 0; 2035-36: 0
| Option 2 | Bushfire risk |  |  |  |  | 2026-27: 7700105.4336; 2027-28: 5811006.0921; 2028-29: 3921906.7506; 2029-30: 2032807.4091; 2030-31: 143708.0675; 2031-32: 143708.0675; 2032-33: 143708.0675; 2033-34: 143708.0675; 2034-35: 143708.0675; 2035-36: 143708.0675
Option 2
NPV
|  | Incrmental capex vs Option 1 (base case) |  |  |  |  | 2026-27: 4291196.7608; 2027-28: 4291196.7608; 2028-29: 4291196.7608; 2029-30: 4291196.7608; 2030-31: 4291196.7608; 2031-32: -7882065.8838; 2032-33: -7882065.8838; 2033-34: -5691852.0362
|  | PV of incremental capex | 2487645.0724 | 2023-12-31
|  | Incremental benefit vs Option 1 (base case) |  |  |  |  | 2026-27: 665926.4005; 2027-28: 1331852.801; 2028-29: 1997779.2015; 2029-30: 2663705.602; 2030-31: 3329632.0024; 2031-32: 2106459.0614; 2032-33: 883286.1204; 2033-34: 0; 2034-35: 0; 2035-36: 0
|  | PV of benefits | 11415857.1794 | 2023-12-31
|  | NPV | 8928212.107 | 2023-12-31

## Assumptions (hidden)
Powercor
COST BENEFIT MODEL
Project
| Business: | select > | Powercor
| Descripton: |  | Proactive HBRA HV wood crossarm replacements
| Date of cost inputs: | select > | December | 2023
| Option |  | Description
| Option 1 (base case) |  | No change to existing practices
| Option 2 |  | Proactively replace all 4,761 HBRA HV wood crossarms with steel crossarms in 2026-31 reg period
Timing & WACC
| Input dollars |  | 2023-12-31
| Pre-tax real WACC |  | 3.5%
| Model start year |  | 2025-26
| Output dollars |  | 2026-06-30

## Misc_calcs (hidden)
Powercor
Proactive HBRA HV wood crossarm replacements
ESCALATION & OTHER
| Year end |  |  | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30
| Actual/forecast CPI (June to June) |  |  | 0% | 0.8606% | 3.498% | 7.832% | 4.052% | 3%
| HY ending |  |  | 2021-06-30 | 2021-12-31 | 2022-06-30 | 2022-12-31 | 2023-06-30 | 2023-12-31 | 2024-06-30 | 2024-12-31 | 2025-06-30 | 2025-12-31 | 2026-06-30
| FY ending |  |  | 2021-06-30 | 2022-06-30 | 2022-06-30 | 2023-06-30 | 2023-06-30 | 2024-06-30 | 2024-06-30 | 2025-06-30 | 2025-06-30 | 2026-06-30 | 2026-06-30
| Actual/forecast CPI (June to June) |  |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
| Actual cumulative HY escalation |  |  | 1 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
| Convert from input dollars | 2023-12-31 | 1.084
| To output dollars | 2026-06-30 | 1.2064
| Conversion from input dollars to output dollars |  | 1.1129
| Input dollars | 2023-12-31
| To input dollars | 2023-12-31 | 1.084
| Pre-tax real WACC | 3.5%
| Start year | 2025-26
FIRST YEAR
| Option | First year | Option included
| Option 2 | 1 | TRUE
| Option 3 | Not used | FALSE
| Option 4 | Not used | FALSE
| Option 5 | Not used | FALSE
| First year | 1
VCR
Network average
| PAL: Network average | 43815.5584
CHECKS
| Option 1 (base case) | FALSE | FALSE
FALSE
FALSE
| Option 2 | FALSE | FALSE
FALSE
FALSE
| Option 3 | FALSE | FALSE
FALSE
FALSE
| Option 4 | FALSE | FALSE
FALSE
FALSE
| Option 5 | FALSE | FALSE
FALSE
FALSE
Message | !! Capex asset life required !!
!