## Cover
Powercor
Regulatory proposal 2026-31
Market systems risk
Model number: | 7.12
2025-01-31

## Summary
Powercor & CitiPower
Market systems risk
SUMMARY
RESULTS
|  |  |  | PV of total costs | PV of incremental costs | PV of incremental benefits | NPV
| Option |  |  | 2026-06-30 | 2026-06-30 | 2026-06-30 | 2026-06-30
| Option 1 (base case) | Do not maintain currency |  | -3.9892 | 0 | 0 | 0
| Option 2 | Maintain currency |  | -13.848 | -9.8588 | 24.0087 | 14.1499
| Option 3 | Maintain currency with more frequent upgrades |  | -13.7436 | -9.7544 | 20.7605 | 11.0061
NPV
| Preferred option: |  | 2026-06-30
| Option 2 | Maintain currency | 14.1499
PREFERRED OPTION
Preferred Option
Option 2
| Expenditure forecast | 2026-06-30 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 |  | Total
| Capital expenditure |  | 11.2654 | 0.72397 | 0 | 0 | 9.5311 |  | 21.5205
| Operating expenditure |  | 0 | 0 | 0 | 0 | 0 |  | 0
CHART
OPTION DATA
Select category for table:
Incremental Capital expenditure
| Incremental Capital expenditure | 2026-06-30 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 |  | Total
| Option 1 (base case) | Do not maintain currency | 0 | 0 | 0 | 0 | 0 |  | 0
| Option 2 | Maintain currency | 11.2654 | 0.72397 | 0 | 0 | 9.5311 |  | 21.5205
| Option 3 | Maintain currency with more frequent upgrades | 9.3312 | 0.59321 | 3.4893 | 0.26152 | 8.5331 |  | 22.2084
End |  |  | . | . | . | . | . | . | .

## Assumptions
Powercor & CitiPower
Market systems risk
Project
| Business: | select > | Powercor & CitiPower
| Descripton: |  | Market systems risk
| Date of cost inputs: | select > | December | 2023
| Option |  | Description
| Option 1 (base case) |  | Do not maintain currency
| Option 2 |  | Maintain currency
| Option 3 |  | Maintain currency with more frequent upgrades
Timing & WACC
| Input dollars |  |  | 2023-12-31 | [input_dollars]
| Pre-tax real WACC |  |  | 3.5% | [real_disc]
| Model start year |  |  | 2025-26 | [start]
| Analysis period (years) |  |  | 5 | [years]\
| Output dollars |  |  | 2026-06-30 | [output_dollars]
| Other benefits date |  |  | 2024-06-30 | [custval_date]
| Value of CO2 reductions value date |  |  | 2023-06-30

## Option1 (base case)
Powercor & CitiPower
Market systems risk
OPTION 1 (base case)
Count |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
|  |  | Units | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46 | 2046-47 | 2047-48 | 2048-49 | 2049-50 | 2050-51
INVESTMENT & OPERATING COST
| Capex | Asset life (yrs)
| capex | 5 | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ongoing capex | 5 | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| < Enter description > | 0 | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Capital expenditure |  | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Operating expenditure |  | 2023-12-31 |  | 774000 | 774000 | 782848 | 785060 | 787272 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RISK ASSUMPTIONS
| Risk escalation | 0%
| Reliability risk |  | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Compliance risk |  | 2023-12-31 |  | 2279921.4375 | 2279921.4375 | 2279921.4375 | 2279921.4375 | 2279921.4375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Bushfire risk |  | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Safety risk |  | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Customer experience risk |  | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Outage risk |  | 2023-12-31 |  | 8843603.7844 | 8843603.7844 | 8843603.7844 | 8843603.7844 | 8843603.7844 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Suitability and system sustainability |  | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total risk cost |  |  |  | 11123525.2219 | 11123525.2219 | 11123525.2219 | 11123525.2219 | 11123525.2219 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BENEFITS
| Total risk reductions |  | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Billing productivity benefits |  | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SAP productivity benefits |  | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Opex reduction |  | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total other benefits |  | 2023-12-31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUMMARY
| Risks mitigated vs base case |  | 2023-12-31
Capital expenditure
| capex |  | 2023-12-31 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
| ongoing capex |  | 2023-12-31 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
| < Enter description > |  | 2023-12-31 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
Cumulative capex
| capex |  | 2023-12-31 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
| ongoing capex |  | 2023-12-31 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
| < Enter description > |  | 2023-12-31 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
Annualised capex
| Annualised capex - capex |  | 2023-12-31 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
| Annualised capex - ongoing capex |  | 2023-12-31 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
| Annualised capex - < Enter description > |  | 2023-12-31 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
| Total annualised capex |  | 2023-12-31 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
| Annualised capex |  | 2023-12-31 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
| Operating expenditure |  | 2023-12-31 | 1: -774000; 2: -774000; 3: -782848; 4: -785060; 5: -787272
| Risk mitigated |  | 2023-12-31 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
| Other benefits value |  | 2023-12-31 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
| Net benefits |  | 2023-12-31 | 1: -774000; 2: -774000; 3: -782848; 4: -785060; 5: -787272

## Option2
Powercor & CitiPower
Market systems risk
OPTION 2 | Maintain currency
Count |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
|  |  | Units | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46 | 2046-47 | 2047-48 | 2048-49 | 2049-50 | 2050-51
INVESTMENT & OPERATING COST
| Capex | Asset life (yrs)
| capex | 5 | 2023-12-31 | 10122741 | 650537 | - | - | 8564376 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ongoing capex | 5 | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| < Enter description > | 0 | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Capital expenditure |  | 2023-12-31 | 10122741 | 650537 | 0 | 0 | 8564376 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Operating expenditure |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RISKS
| Risk escalation | 0%
| Reliability risk |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Compliance risk |  | 2023-12-31 | 428796 | 428796 | 428796 | 428796 | 428796 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Bushfire risk |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Safety risk |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Customer experience risk |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Outage risk |  | 2023-12-31 | 5998096.8356 | 5998096.8356 | 5998096.8356 | 5998096.8356 | 5998096.8356 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Suitability and system sustainability |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total risk |  | 2023-12-31 | 6426892.8356 | 6426892.8356 | 6426892.8356 | 6426892.8356 | 6426892.8356 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BENEFITS
| Total risk reductions (vs base case) |  | 2023-12-31 | 4696632.3862 | 4696632.3862 | 4696632.3862 | 4696632.3862 | 4696632.3862 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Billing productivity benefits |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SAP productivity benefits |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Opex reduction |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total other benefits |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUMMARY
| Risks mitigated vs base case |  | 2023-12-31 | 1 2026-27: -4696632.3862; 2 2027-28: -4696632.3862; 3 2028-29: -4696632.3862; 4 2029-30: -4696632.3862; 5 2030-31: -4696632.3862
Capital expenditure
| Incremental capex |  | 2023-12-31 | 1 2026-27: -10122741; 2 2027-28: -650537; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: -8564376
| ongoing capex |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| < Enter description > |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
Cumulative capex
| Incremental capex |  | 2023-12-31 | 1 2026-27: -10122741; 2 2027-28: -10773278; 3 2028-29: -10773278; 4 2029-30: -10773278; 5 2030-31: -19337654
| ongoing capex |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| < Enter description > |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
Annualised capex
| Annualised capex - Incremental capex |  | 2023-12-31 | 1 2026-27: -2241998.5768; 2 2027-28: -2386080.4049; 3 2028-29: -2386080.4049; 4 2029-30: -2386080.4049; 5 2030-31: -4282930.1616
| Annualised capex - ongoing capex |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Annualised capex - < Enter description > |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Total annualised capex |  | 2023-12-31 | 1 2026-27: -2241998.5768; 2 2027-28: -2386080.4049; 3 2028-29: -2386080.4049; 4 2029-30: -2386080.4049; 5 2030-31: -4282930.1616
| Annualised Incremental capex |  | 2023-12-31 | 1 2026-27: -2241998.5768; 2 2027-28: -2386080.4049; 3 2028-29: -2386080.4049; 4 2029-30: -2386080.4049; 5 2030-31: -4282930.1616
| Incremental operating expenditure |  | 2023-12-31 | 1 2026-27: 774000; 2 2027-28: 774000; 3 2028-29: 782848; 4 2029-30: 785060; 5 2030-31: 787272
| Risk mitigated |  | 2023-12-31 | 1 2026-27: 4696632.3862; 2 2027-28: 4696632.3862; 3 2028-29: 4696632.3862; 4 2029-30: 4696632.3862; 5 2030-31: 4696632.3862
| Other benefits value |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Net benefits |  | 2023-12-31 | 1 2026-27: 3228633.8094; 2 2027-28: 3084551.9814; 3 2028-29: 3093399.9814; 4 2029-30: 3095611.9814; 5 2030-31: 1200974.2247
| First capex year |  | 1
| First opex year |  | 0
| First year |  | 1

## Option3
Powercor & CitiPower
Market systems risk
OPTION 3 | Maintain currency with more frequent upgrades
Count |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
|  |  | Units | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46 | 2046-47 | 2047-48 | 2048-49 | 2049-50 | 2050-51
INVESTMENT & OPERATING COST
| Capex | Asset life (yrs)
| capex | 5 | 2023-12-31 | 8384759.5016 | 533040.5891 | 3135403.6512 | 234993.1832 | 7667602.5609 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ongoing capex | 5 | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| < Enter description > | 0 | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Capital expenditure |  | 2023-12-31 | 8384759.5016 | 533040.5891 | 3135403.6512 | 234993.1832 | 7667602.5609 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Operating expenditure |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RISKS
| Risk escalation | 0%
| Reliability risk |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Compliance risk |  | 2023-12-31 | 1071990 | 1071990 | 1071990 | 1071990 | 1071990 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Bushfire risk |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Safety risk |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Customer experience risk |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Outage risk |  | 2023-12-31 | 5990319.9667 | 5990319.9667 | 5990319.9667 | 5990319.9667 | 5990319.9667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Suitability and system sustainability |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total risk |  | 2023-12-31 | 7062309.9667 | 7062309.9667 | 7062309.9667 | 7062309.9667 | 7062309.9667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BENEFITS
| Total risk reductions (vs base case) |  | 2023-12-31 | 4061215.2551 | 4061215.2551 | 4061215.2551 | 4061215.2551 | 4061215.2551 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Billing productivity benefits |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SAP productivity benefits |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Opex reduction |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total other benefits |  | 2023-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUMMARY
| Risks mitigated vs base case |  | 2023-12-31 | 1 2026-27: -4061215.2551; 2 2027-28: -4061215.2551; 3 2028-29: -4061215.2551; 4 2029-30: -4061215.2551; 5 2030-31: -4061215.2551
Capital expenditure
| Incremental capex |  | 2023-12-31 | 1 2026-27: -8384759.5016; 2 2027-28: -533040.5891; 3 2028-29: -3135403.6512; 4 2029-30: -234993.1832; 5 2030-31: -7667602.5609
| ongoing capex |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| < Enter description > |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
Cumulative capex
| Incremental capex |  | 2023-12-31 | 1 2026-27: -8384759.5016; 2 2027-28: -8917800.0906; 3 2028-29: -12053203.7418; 4 2029-30: -12288196.9251; 5 2030-31: -19955799.486
| ongoing capex |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| < Enter description > |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
Annualised capex
| Annualised capex - Incremental capex |  | 2023-12-31 | 1 2026-27: -1857068.048; 2 2027-28: -1975126.6096; 3 2028-29: -2669560.1157; 4 2029-30: -2721606.7286; 5 2030-31: -4419837.8726
| Annualised capex - ongoing capex |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Annualised capex - < Enter description > |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Total annualised capex |  | 2023-12-31 | 1 2026-27: -1857068.048; 2 2027-28: -1975126.6096; 3 2028-29: -2669560.1157; 4 2029-30: -2721606.7286; 5 2030-31: -4419837.8726
| Annualised Incremental capex |  | 2023-12-31 | 1 2026-27: -1857068.048; 2 2027-28: -1975126.6096; 3 2028-29: -2669560.1157; 4 2029-30: -2721606.7286; 5 2030-31: -4419837.8726
| Incremental operating expenditure |  | 2023-12-31 | 1 2026-27: 774000; 2 2027-28: 774000; 3 2028-29: 782848; 4 2029-30: 785060; 5 2030-31: 787272
| Risk mitigated |  | 2023-12-31 | 1 2026-27: 4061215.2551; 2 2027-28: 4061215.2551; 3 2028-29: 4061215.2551; 4 2029-30: 4061215.2551; 5 2030-31: 4061215.2551
| Other benefits value |  | 2023-12-31 | 1 2026-27: 0; 2 2027-28: 0; 3 2028-29: 0; 4 2029-30: 0; 5 2030-31: 0
| Net benefits |  | 2023-12-31 | 1 2026-27: 2978147.2071; 2 2027-28: 2860088.6455; 3 2028-29: 2174503.1394; 4 2029-30: 2124668.5265; 5 2030-31: 428649.3825
| First capex year |  | 1
| First opex year |  | 0
| First year |  | 1

## Consol
Powercor & CitiPower
Market systems risk
CONSOLIDATED
Discount factor |  |  |  |  | 1 | 0.98295 | 0.94971 | 0.91759 | 0.88656 | 0.85658 | 0.82761 | 0.79963 | 0.77259 | 0.74646 | 0.72122 | 0.69683 | 0.67326 | 0.6505 | 0.6285 | 0.60725 | 0.58671 | 0.56687 | 0.5477 | 0.52918 | 0.51129 | 0.494 | 0.47729 | 0.46115 | 0.44556 | 0.43049
Count |  |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Analysis period |  |  |  |  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[5 empty] | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46 | 2046-47 | 2047-48 | 2048-49 | 2049-50 | 2050-51
COSTS |  |  | PV
Option 1 (base case) | Incremental capital expenditure | Option 1 (base case)Incremental capital expenditure | 0 | 2026-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | Total risk cost | Option 1 (base case)Total risk cost | 56862313.2113 | 2026-06-30 |  | 12379170.8182 | 12379170.8182 | 12379170.8182 | 12379170.8182 | 12379170.8182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) |  | Option 1 (base case)
Option 1 (base case) | Annualised Incremental capex | Option 1 (base case)Annualised Incremental capex | 0 | 2026-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | Incremental operating expenditure | Option 1 (base case)Incremental operating expenditure | -3989207.5189 | 2026-06-30 |  | -861370.6556 | -861370.6556 | -871217.4354 | -873679.1304 | -876140.8253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | Risk mitigated | Option 1 (base case)Risk mitigated | 0 | 2026-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | Other benefits value | Option 1 (base case)Other benefits value | 0 | 2026-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | Net benefits | Option 1 (base case)Net benefits |  | 2026-06-30 |  | -861370.6556 | -861370.6556 | -871217.4354 | -873679.1304 | -876140.8253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | NPV | Option 1 (base case)NPV | -3989207.5189 | 2026-06-30
Option 1 (base case) | PV of incremental costs | Option 1 (base case)PV of incremental costs | -3989207.5189 | 2026-06-30
Option 1 (base case) | PV of incremental benefits | Option 1 (base case)PV of incremental benefits | 0 | 2026-06-30
Option 2 | Incremental capital expenditure | Option 2Incremental capital expenditure | -19925052.8927 | 2026-06-30 |  | -11265416.0878 | -723970.9072 | 0 | 0 | -9531139.7548 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 | Total risk cost | Option 2Total risk cost | 32853613.0503 | 2026-06-30 |  | 7152373.25 | 7152373.25 | 7152373.25 | 7152373.25 | 7152373.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 |  | Option 2
Option 2 | Annualised Incremental capex | Option 2Annualised Incremental capex | -13848001.9251 | 2026-06-30 |  | -2495079.8243 | -2655425.895 | -2655425.895 | -2655425.895 | -4766395.8156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 | Incremental operating expenditure | Option 2Incremental operating expenditure | 3989207.5189 | 2026-06-30 |  | 861370.6556 | 861370.6556 | 871217.4354 | 873679.1304 | 876140.8253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 | Risk mitigated | Option 2Risk mitigated | 24008700.161 | 2026-06-30 |  | 5226797.5682 | 5226797.5682 | 5226797.5682 | 5226797.5682 | 5226797.5682 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 | Other benefits value | Option 2Other benefits value | 0 | 2026-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 | Net benefits | Option 2Net benefits |  | 2026-06-30 |  | 3593088.3995 | 3432742.3289 | 3442589.1087 | 3445050.8036 | 1336542.5779 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 2 | NPV | Option 2NPV | 14149905.7548 | 2026-06-30
Option 2 | PV of incremental costs | Option 2PV of incremental costs | -9858794.4062 | 2026-06-30
Option 2 | PV of incremental benefits | Option 2PV of incremental benefits | 24008700.161 | 2026-06-30
Option 3 | Incremental capital expenditure | Option 3Incremental capital expenditure | -20478450.2659 | 2026-06-30 |  | -9331247.7896 | -593211.2683 | -3489334.2361 | -261519.68 | -8533136.7506 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3 | Total risk cost | Option 3Total risk cost | 36101799.8624 | 2026-06-30 |  | 7859517.5276 | 7859517.5276 | 7859517.5276 | 7859517.5276 | 7859517.5276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3
Option 3 | Annualised Incremental capex | Option 3Annualised Incremental capex | -13743618.0488 | 2026-06-30 |  | -2066697.5737 | -2198082.82 | -2970905.358 | -3028827.0958 | -4918757.9407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3 | Incremental operating expenditure | Option 3Incremental operating expenditure | 3989207.5189 | 2026-06-30 |  | 861370.6556 | 861370.6556 | 871217.4354 | 873679.1304 | 876140.8253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3 | Risk mitigated | Option 3Risk mitigated | 20760513.3489 | 2026-06-30 |  | 4519653.2906 | 4519653.2906 | 4519653.2906 | 4519653.2906 | 4519653.2906 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3 | Other benefits value | Option 3Other benefits value | 0 | 2026-06-30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3 | Net benefits | Option 3Net benefits |  | 2026-06-30 |  | 3314326.3726 | 3182941.1263 | 2419965.3681 | 2364505.3252 | 477036.1753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3 | NPV | Option 3NPV | 11006102.819 | 2026-06-30
Option 3 | PV of incremental costs | Option 3PV of incremental costs | -9754410.5299 | 2026-06-30
Option 3 | PV of incremental benefits | Option 3PV of incremental benefits | 20760513.3489 | 2026-06-30
CHART DATA | [5 empty] | FY27 | FY28 | FY29 | FY30 | FY31 | FY32 | FY33 | FY34 | FY35 | FY36 | FY37 | FY38 | FY39 | FY40 | FY41 | FY42 | FY43 | FY44 | FY45 | FY46 | FY47 | FY48 | FY49 | FY50 | FY51
Option 2 | capex | -1 |  |  | Option 2 capex | 2.4951 | 2.6554 | 2.6554 | 2.6554 | 4.7664 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 1 (base case) | Total risk cost | 1 |  |  | Option 1 (base case) risk cost | 12.3792 | 12.3792 | 12.3792 | 12.3792 | 12.3792 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Cost summary
Powercor & CitiPower
Market systems risk
COST SUMMARY
Powercor & CItiPower
CAPEX
|  |  | Total | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | Ongoing capex
| Option 1 - Do not maintain currency | $ real 2024 | 0
| Option 2 - Maintain currency | $ real 2024 | 19337654 | 10122741 | 650537 | - | - | 8564376
| Option 3 - Maintain currency with more frequent upgrades | $ real 2024 | 19955799.486 | 8384759.5016 | 533040.5891 | 3135403.6512 | 234993.1832 | 7667602.5609
OPEX
|  |  | Total | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | Ongoing opex
| Option 1 - Do not maintain currency | $ real 2024 | 3903180 | 774000 | 774000 | 782848 | 785060 | 787272
| Option 2 - Maintain currency | $ real 2024 | 0
| Option 3 - Maintain currency with more frequent upgrades | $ real 2024 | 0

## Risk summary
Powercor & CitiPower
Market systems risk
RISK SUMMARY
Annual risks
Total risk
|  | Business risks |  |  | Do not maintain currency | Maintain currency | Maintain currency with more frequent upgrades
|  | Reliability | BR1 | Customer loss of supply due to cyber attack
|  |  | BR2 | Customer loss of supply due to system failure
|  |  | BR3 | Customer loss of export capability due to system failure
|  |  | BR4 | Customer loss of export capability due to cyber attack
|  |  | BR5 | Supply restoration time impacted by system failure
|  |  | BR6 | Supply restoration time impacted by cyber attack
|  | Compliance | BC1 | Delays in publishing key data to the market due to system failure | 1618421.4375 | 302796 | 756990
|  |  | BC2 | Delays in publishing key data to the market due to cyber attack
|  |  | BC3 | Unauthorised access to employee personal data due to reasons other than a cyber attack
|  |  | BC4 | Unauthorised access to employee personal data due to cyber attack
|  |  | BC5 | Unauthorised access to customer data due to reasons other than a cyber attack
|  |  | BC6 | Unauthorised access to customer data due to cyber attack
|  |  | BC7 | System fault causes failure to notify customers of an outage | 661500 | 126000 | 315000
|  |  | BC8 | Cyber attack causes failure to notify customers of an outage
|  | Bushfire | BF1 | Systems outage impacts bushfire preparation / mitigation program
|  |  | BF2 | Cyber attack causes systems outage impacting bushfire preparation / mitigation program
|  | Safety | BS1 | Systems outage causes loss of supply to life-support customers
|  |  | BS2 | Cyber attack causes systems outage impacting life-support customers
|  |  | BS3 | Systems outage prevents correct operation of network protection systems, causing elevated safety risk, e.g. failure to de-energise a downed line or re-energising a line that should be de-energised for maintenance
|  |  | BS4 | Cyber attack prevents correct operation of network protection systems, causing elevated safety risk, e.g. failure to de-energise a downed line or re-energising a line that should be de-energised for maintenance
|  | Customer experience risks | BCX1 | Customers impacted by failure of customer-facing system due to software or hardware fault
|  |  | BCX2 | Customers impacted by failure of customer-facing system due to cyber attack
IT risks
|  | Outage | ITO1 | System failure | 8843603.7844 | 5998096.8356 | 5990319.9667
|  |  | ITO2 | System down due to cyber attack
|  |  | ITO3 | System failure - impact on field services delivery
|  | Suitability and system sustainability | ITS1 | Increased change management costs
|  |  | ITS2 | Data storage exceeded
|  |  | ITS3 | Performance degradation
|  |  | ITS4 | Increased maintenance costs
Other benefits
Other benefits
|  |  |  | Annual total risk | 11123525.2219 | 6426892.8356 | 7062309.9667

## General inputs
Powercor & CitiPower
Market systems risk
General inputs
| Inputs | Unit | Input value | Source/notes
| VCR | $/kWh | 45.143 | We have used a weighted average of the Victorian residential VCR and the VCR for distribution-connected commercial and industrial customers, as published annually by the AER, weighted according to the CP/PAL customer mix. VCR: - CP: $47.82, PAL: $43.82, Proportion of customers: - CP: 27%, PAL: 73% Weighted average = (27% x 48.72) + (73% x 43.82) = 45.1
| CECV | $/kWh | 0.022 | The AER publishes the CECV for Victoria annually in the form of a table of 30-minute $/kWh value forecasts for the following 20 years. For risk quantification, use an average of all 30-minute values for the relevant year, multiplied by two to produce an average hourly value.
| Average hourly rate for internal employees | $/hr | 145.78 | Average hourly rate for internal employees
| Civil penalty under Privacy Act | $ | 50000000 | Maximum penalty per s13G of the Privacy Act 1988
| Average customer kWh per hour | kWh/hr | 1.4842 | forecast customer numbers and energy consumption - CitiPower: 1.82 kWh - PAL: 1.36 kWh Weighted average = (27% x 1.82) + (73% x 1.36) = 1.48 kWh
| AEMO penalty | $ | 1435000 | Per section 2AB(b)(ii)(A) of the National Electricity Law.
| Additional AEMO penalty for every day the breach continues | $/day | 71800 | Per section 2AB(b)(ii)(B) of the National Electricity Law.
| IT specialist / vendor hourly rate (restoration) | $/hr | 230.17 | Based on a daily rate of $1,841.36 for external IT specialists
| Average solar customer export kWh per hour | kWh/hr | 0.60502 | Average customer exports of 5,300 kWh, equating to 0.605 kWh per hour.
| Total number of customers | number | 1489300 | Total forecast customer numbers -CP:416,400 -PAL:1,072,900
| Total number of employees | number | 5684 | Employees= 2,186 Contractors= 3,498
| Total number of solar customers | number | 519300 | Solar customer forecast - CP: 56,500 - PAL: 462,800
| Number of system failures (annual) | number | 14 | Average system failures the critical incidents occuring on VPN systems from 2021 to 2024. Excluding critical failures associated with SAP and IT infrastructure. 25% of these failures are attributed to market systems
| Likely system downtime | hours | 35.55 | Average system downtime for critical incidents occuring on VPN systems from 2021 to 2024. Excluding critical failures associated with SAP and IT infrastructure
| Increase in supply restoration time if coinciding with system outage | hours | 3 | past experience, if system is not working at the same time as outage, this would cost an additional 3 hours of time.
| Customers connected to LV DERMS | number | 229300 | Solar customer connected to DERMS forecast - CP: 32,600 - PAL: 196,700
| Average number of outages per hour | number | 1.9965 | See calculation A below.
Calculation A
|  | Unit | Most likely case | Source
SAIFI
| SAIFI (PAL) - Urban | number | 0.82 | As per targets published on website
| SAIFI (PAL) - Short rural | number | 1.15
| SAIFI (PAL) - Long rural | number | 2.02
| SAIFI (CitiPower) - CBD | number | 0.11
| SAIFI (CitiPower) - Urban | number | 0.39
Number of customers
| Number of customers (PAL) - Urban | number | 404869.9326
| Number of customers (PAL) - Short rural | number | 406306.7319
| Number of customers (PAL) - Long rural | number | 261723.3355
| Number of customers (CitiPower) - CBD | number | 75780.0316
| Number of customers (CitiPower) - Urban | number | 340619.9684
| Number of individual customer interruptions | number | 1469104.8152
| Average customers impacted per outage | number | 84
| Number of outages per annum | number | 17489.343
| Average number of outages per hour | number | 1.9965
General inputs - other
| Inputs | Unit | Best case | Most Likely | Worst Case | Source/notes
| Likely number of customers affected per outage | number | 1 | 84 | 8148 | Ranging from a single customer to an entire feeder
| Likely system downtime (total) | hours | 5 | 35.55 | 71.1 | Most likely is historical critical incident data while worst case is double the average
Likelihoods
| Likelihood Per Event | Bound | Likelihood | Occurrence
|  | Years | #
| Monthly | 0.083333 | 12 | Risk occurs once per month
| Annual | 1 | 1 | Risk occurs once per year
| Every 2 years | 2 | 0.5 | Risk occurs once every 2 years
| Every 5 years | 5 | 0.2 | Risk occurs once every 5 years
| Every 10 years | 10 | 0.1 | Risk occurs once every 10 years
| Every 20 years | 20 | 0.05 | Risk occurs once every 20 years

## Benefit BC1
Powercor & CitiPower
Market systems risk
Delays in publishing key data to the market due to system failure
Option 1 (base case) - Do not maintain currency
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Likelihood of system failure impacting ability to publish market data | number | 1.05 |  |  | Without appropriate upgrades we anticipate that failures to publish market data due to software or hardware failure will occur more frequently. We estimate that we will not be able to publish market data under 30% of market system failures
| Base civil penalty | $ | 1435000 | 1435000 | 1435000 | Based on penalties outlined in the NEL.
| Daily civil penalty | $ | 71800 | 71800 | 71800
| Number of additional days breach continues | days | 0 | 1.4812 | 2.9625 | Best case assumes that the breach does not continue for any additional days. The worst case value assumes that the breach continues for the number of days the system is down (worst case double the average system outage) and that the additional penalty per day applies. The most likely case takes the average of the best case and worst case.
| AEMO expected penalty | $ | 1435000 | 1541353.75 | 1647707.5 | Calculation
Option 2 - Maintain currency
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Likelihood of system failure impacting ability to publish market data | number | 0.2 |  |  | Maining our currency significantly reduces both the likelihood of a system failure and the likelihood that a failure will lead to an inability to publish market data
| Base civil penalty | $ | 1435000 | 1435000 | 1435000 | Based on penalties outlined in the NEL.
| Daily civil penalty | $ | 71800 | 71800 | 71800
| Number of additional days breach continues | days | 0 | 1.1 | 2.2 | Best case assumes that the breach does not continue for any additional days. The worst case value assumes that the breach continues for the number of days the system is down (modelled based on the duration system outlined in the incident data) and that the additional penalty per day applies. The most likely case takes the average of the best case and worst case.
| AEMO expected penalty | $ | 1435000 | 1513980 | 1592960 | Calculation
Option 3 - Maintain currency with more frequent upgrades
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Likelihood of system failure impacting ability to publish market data | number | 0.5 |  |  | Likelihood is slightly higher than option 2 as deploying upgrades as they are released increases the chances that are systems are impacted by unknown bugs or coding errors
| Base civil penalty | $ | 1435000 | 1435000 | 1435000 | As per explanation in Option 2
| Daily civil penalty | $ | 71800 | 71800 | 71800
| Number of additional days breach continues | days | 0 | 1.1 | 2.2
| AEMO expected penalty | $ | 1435000 | 1513980 | 1592960
Summary
Likelihood
| Option | Likelihood value | Likelihood category
| Option 1 | 1.05 | Annually
| Option 2 | 0.2 | Every 5 years
| Option 3 | 0.5 | Every 2 years
Consequence
| Consequence | Class | Best case | Most likely | Worst Case
| Option 1 | Minimal | 1435000 | 1541353.75 | 1647707.5
| Option 2 | Minimal | 1435000 | 1513980 | 1592960
| Option 3 | Minimal | 1435000 | 1513980 | 1592960
Monetised risk
| Consequence | Applied consequence | Monetised risk
| Option 1 | 1541353.75 | 1618421.4375
| Option 2 | 1513980 | 302796
| Option 3 | 1513980 | 756990
Risk benefit
| Option | Risk benefit
| Option 1 | n/a
| Option 2 | 1315625.4375
| Option 3 | 861431.4375

## Benefit BC7
Powercor & CitiPower
Market systems risk
System fault causes failure to notify customers of an outage
Option 1 (base case) - Do not maintain currency
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Forecast frequency of software or hardware failure impacting market systems that lead to a failure to notify customers | number | 1.05 | 1 | 1 | Without appropriate upgrades we anticipate that failures to publish market data due to software or hardware failure will occur annually. This will occur for approximately 30% of market system failures
| EIPN penalties | $ | 60000 | 630000 | 1200000 | Worst case scenario 1.5x the 2023 ESC penalty handed to Jemena for breaches of notifications to customers. Best case is most recent (2019) ESC penalty handed to Citipower/Powercor
Option 2 - Maintain currency
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Forecast frequency of software or hardware failure impacting market systems that lead to a failure to notify customers | number | 0.2 | 1 | 1 | Maintaining market systems is likely to decrease the likelihood of a critical incident compared to Option 1 as well as the likelihood that the critical incident impacts our ability to notify customers
| EIPN penalties | $ | 60000 | 630000 | 1200000 | as per option 1
Option 3 - Maintain currency with more frequent upgrades
Input value
| Inputs | Unit | Best case | Most Likely | Worst Case | Notes
| Forecast frequency of software or hardware failure impacting market systems that lead to a failure to notify customers | number | 0.5 | 1 | 1 | Likelihood is slightly higher than option 2 as deploying upgrades as they are released increases the chances that are systems are impacted by unknown bugs or coding errors
| EIPN penalties | $ | 60000 | 630000 | 1200000 | as per option 2
Summary
Likelihood
| Option | Likelihood value | Likelihood category
| Option 1 | 1.05 | Annually
| Option 2 | 0.2 | Every 5 years
| Option 3 | 0.5 | Every 2 years
Consequence
| Consequence | Class | Best case | Most likely | Worst Case
| Option 1 |  | 60000 | 630000 | 1200000
| Option 2 |  | 60000 | 630000 | 1200000
| Option 3 |  | 60000 | 630000 | 1200000
Monetised risk
| Consequence | Applied consequence (per annum) | Monetised risk
| Option 1 | 630000 | 661500
| Option 2 | 630000 | 126000
| Option 3 | 630000 | 315000
Risk benefit
| Option | Risk benefit
| Option 1 | n/a
| Option 2 | 535500
| Option 3 | 346500

## Benefit ITO1
Powercor & CitiPower
Market systems risk
System failure
Option 1 (base case) - Do not maintain currency
| Inputs | Unit | Input value | Notes
| Likelihood of system outage | number | 6.25 | incident data, approximately 17 'critical' IT incidents occur per year outside of SAP and IT infrastructure. Under a do nothing scenario we estimate that this will increase by 50% to 25 incidents per year. 25% of these incidents are attributed to our market systems.
| Likely system downtime | hours | 35.55 | general input
| Total number of employees |  | 539 | number of unique users for the CIS OV system
| Impacted employees requiring immediate access to market systems | % | 50% | Not all employees will require immediate access to these systems, therefore a 50% reduction has been applied.
| Number of users affected | number | 269.5 | Calculation
| Average hourly rate for internal employees | $/hr | 145.78 | General input
| Number of IT specialists required to rectify | number | 5.3 | expected number of specialists required to rectify a market system
| Hours to rectify | hours | 15 | expected number of hours to rectify a market system under a do nothing scenario
| IT specialist / vendor hourly rate (restoration) | $/hr | 230.17 | General input
| Rectification fixed costs | $ | 0 | No fixed rectification costs.
Option 2 - Maintain currency
| Inputs | Unit | Input value | Notes
| Likelihood of system outage | number | 4.25 | incident data, approximately 17 'critical' IT incidents occur per year outside of SAP and IT infrastructure. 25% of these incidients are attributed to our market systems
| Likely system downtime | hours | 35.55 | general input
| Total number of employees |  | 539 | number of unique users for the CIS OV system
| Impacted employees requiring immediate access to market systems | % | 50% | as per option 1
| Number of users affected | number | 269.5 | Calculation
| Average hourly rate for internal employees | $/hr | 145.78 | General input
| Number of IT specialists required to rectify | number | 5.3 | expected number of specialists required to rectify a market system
| Hours to rectify | hours | 12 | expected number of hours to rectify a market system when maintaining currency
| IT specialist / vendor hourly rate (restoration) | $/hr | 230.17 | General input
| Rectification fixed costs | $ | 0 | No fixed rectification costs.
Option 3 - Maintain currency with more frequent upgrades
| Inputs | Unit | Input value | Notes
| Likelihood of system outage | number | 4.25 | as per option 2
| Likely system downtime | hours | 35.55 | general input
| Total number of employees |  | 539 | number of unique users for the CIS OV system
| Impacted employees requiring immediate access to market systems | % | 50% | as per option 1
| Number of users affected | number | 269.5 | Calculation
| Average hourly rate for internal employees | $/hr | 145.78 | General input
| Number of IT specialists required to rectify | number | 5.3 | expected number of specialists required to rectify a market system
| Hours to rectify | hours | 10.5 | expected number of hours to rectify a market system when upgrading more frequently
| IT specialist / vendor hourly rate (restoration) | $/hr | 230.17 | General input
| Rectification fixed costs | $ | 0 | No fixed rectification costs.
Summary
Likelihood
| Option | Likelihood value | Likelihood category
| Option 1 | 6.25 | Every 2 months
| Option 2 | 4.25 | Every 1.5 months
| Option 3 | 4.25 | Every 1.5 months
Consequence
| Consequence | Consequence
| Option 1 | 1414976.6055
| Option 2 | 1411316.9025
| Option 3 | 1409487.051
Monetised risk
| Consequence | Monetised risk
| Option 1 | 8843603.7844
| Option 2 | 5998096.8356
| Option 3 | 5990319.9667
Risk benefit
| Option | Risk benefit
| Option 1 | n/a
| Option 2 | 2845506.9487
| Option 3 | 2853283.8176

## Misc_calcs
Powercor & CitiPower
Market systems risk
ESCALATION & OTHER
| Year end |  |  | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30
| Actual/forecast CPI (June to June) |  |  | 0% | 0.86% | 3.5% | 7.83% | 4.05% | 3%
| HY ending |  |  | 2021-06-30 | 2021-12-31 | 2022-06-30 | 2022-12-31 | 2023-06-30 | 2023-12-31 | 2024-06-30 | 2024-12-31 | 2025-06-30 | 2025-12-31 | 2026-06-30
| FY ending |  |  | 2021-06-30 | 2022-06-30 | 2022-06-30 | 2023-06-30 | 2023-06-30 | 2024-06-30 | 2024-06-30 | 2025-06-30 | 2025-06-30 | 2026-06-30 | 2026-06-30
| Actual/forecast CPI (June to June) |  |  | 0% | 0.86% | 0.86% | 3.5% | 3.5% | 7.83% | 7.83% | 4.05% | 4.05% | 3% | 3%
| Actual cumulative HY escalation |  |  | 1 | 1.0043 | 1.0086 | 1.0261 | 1.0439 | 1.084 | 1.1256 | 1.1482 | 1.1712 | 1.1887 | 1.2064
| Convert from input dollars | 2023-12-31 | 1.084
| To output dollars | 2026-06-30 | 1.2064
| Conversion from input dollars to output dollars |  | 1.1129
FIRST YEAR | bar: 2021-06-30 to 2025-06-30
| Option | First year | Option included
| Option 2 | 1 | TRUE
| Option 3 | 1 | TRUE
| First year | 1
CHECKS | bar: 2021-06-30 to 2025-06-30
| Option 1 (base case) | FALSE | FALSE
FALSE
FALSE
| Option 2 | FALSE | FALSE
FALSE
FALSE
| Option 3 | FALSE | FALSE
FALSE
FALSE
Message | !! Capex asset life required !!
!

## Data
Powercor & CitiPower
Market systems risk
DATA
Options
|  | Not used | Text
Option1 | Option 1 (base case) | FALSE |  | Option 1 (base case): Do not maintain currency
Option2 | Option 2 | FALSE
Option3 | Option 3 | FALSE
Legend
Input
| No change to existing practices | [10 empty] | Fixed input
| Not applicable (compliance) | [10 empty] | Calculation
[defined name]
Categories
Short categ
| Incremental Capital expenditure | -1
| Annualised incremental capex | -1 | [9 empty] | June = Calendar year actual spend
| Incremental operating expenditure | -1 | [9 empty] | December = Financial year actual (eg as reported in RIN)
| Risk mitigated | 1
| Other benefits value | 1
| Net benefits | 1
| Total risk cost | 1
Conversions
| thous_conv | 1000
| mill_conv | 1000000
Message
| Message | Enter asset life
Error message |  | Remove inputs prior to start year
DROPDOWN LISTS
| Business |  |  | Type | Include | Dollar inputs - month |  |  | Not used options | Conversions | Dollar inputs - year
| CitiPower | CP |  | - Select - | FALSE | June | 6 | CY | Not used |  | 2024
| Powercor & CitiPower | PA |  | Capex | TRUE | December | 12 | FY |  |  | 2023
| United Energy | UE |  | Opex | [6 empty] | 2022
2021
2020