## Final Decision
Table 10.1 Final decision — Service Component caps, floors and target for 2025–30
Parameter | Floor | Target | Cap
Unplanned outage circuit event rate (percentage):
Circuit event rate – fault | 1144% | 566.7% | 194.8%
Circuit event rate - forced | 99.86% | 33.33% | 1.71%
Proper operation of equipment (number of events):
Failure of protection system | 3 | 0.8 | 0

## Directlink SC Data
AER's input data and target calculations:
7.9.1 - Historical performance and proposed floor, caps and targets for the service component of the STPIS
Parameter | [5 empty] | Floor (95th Percentile) | Target = Average of performance | Cap (5th Percentile) | Weighting (% of MAR)
| 2019 | 2020 | 2021 | 2022 | 2023
Unplanned outage circuit event rate (percentage):
Circuit outage rate - fault | 1200% | 533.3% | 233.3% | 400% | 466.7% | 1144% | 566.7% | 194.8% | 0.75%
Circuit outage rate - forced | 100% | 33.33% | 0% | 33.33% | 0% | 99.86% | 33.33% | 1.71% | 0.5%
Proper operation of equipment (number of events):
Failure of protection system | 4 | 0 | 0 | 0 | 0 | 3 | 0.8 | 0% | 0%

## @Risk Results
Directlink - distributions selected based on mechanical selection of lowest K-S distance statistic, 2019-2023 underlying input data. Calendar year data
| Distribution | KS Distance Statistic | Mean of sample | Mean of fitted distribution | SD of fitted distribution | Cap at 1SD | Cap at 2SD | Collar at 1SD | Collar at 2SD | 5th percentile of fitted distribution | 50th percentile of fitted distribution | 95th percentile of fitted distribution
Circuit outage rate - fault | LogLogistic | 0.2001 | 5.6667 | 5.505 | 3.747 | 9.252 | 12.999 | 1.758 | -1.989 | 1.948 | 4.722 | 11.444
Circuit outage rate - forced | Expon | 0.4 | 0.3333 | 0.3333 | 0.3333 | 0.6666 | 0.9999 | 0 | -0.3333 | 0.0171 | 0.231 | 0.9986
DirectLink - distributions selected based on mechanical selection of lowest AIC, 2019-2023 underlying input data.
| Distribution | AIC | Mean of sample | Mean of fitted distribution | SD of fitted distribution | Cap at 1SD | Cap at 2SD | Collar at 1SD | Collar at 2SD | 5th percentile of fitted distribution | 50th percentile of fitted distribution | 95th percentile of fitted distribution
Failure of protection system | Geomet | 15.6986 | 0.8 | 0.8 | 1.2 | 2 | 3.2 | -0.4 | -1.6 | 0 | 0 | 3