## Forecast opex summary
|  |  |  | Expenditure (real FY26) | [5 empty] | Expenditure (nominal)
Opex type | Asset class | Asset type | Cycle | FY27 | FY28 | FY29 | FY30 | FY31 | Total | FY27 | FY28 | FY29 | FY30 | FY31 | Total
Inspection | substation | Circuit breakers | Annualised for smoothing |  |  | 10988.9414 | 11085.5417 | 11181.7852 | 33256.2683 |  |  | 11868.5491 | 12284.1738 | 12712.982 | 36865.7048
Inspection | substation | Series Reactor bay | Annualised for smoothing |  |  | 426.0407 | 429.7859 | 433.5172 | 1289.3438 |  |  | 460.143 | 476.2568 | 492.8817 | 1429.2815
Inspection | substation | New substations & New sets of battery installations | Annualised for smoothing |  |  | 29235.1354 | 29492.1322 | 29748.1797 | 88475.4473 |  |  | 31575.2561 | 32680.9899 | 33821.7974 | 98078.0435
Inspection | substation | Kiosks | Annualised for smoothing |  |  | 37.0433 | 37.3689 | 37.6934 | 112.1056 |  |  | 40.0084 | 41.4095 | 42.855 | 124.2729
Inspection | substation | Instrument transformers | Annualised for smoothing |  |  | 20591.9672 | 20772.9847 | 20953.3335 | 62318.2855 |  |  | 22240.2473 | 23019.0784 | 23822.614 | 69081.9397
Maintenance | substation | Circuit breakers | Annualised for smoothing |  |  | 5693.4908 | 5743.5405 | 5793.4053 | 17230.4367 |  |  | 6149.2252 | 6364.5649 | 6586.7352 | 19100.5253
Maintenance | substation | Series Reactor bay | Annualised for smoothing |  |  | 109.2132 | 110.1733 | 111.1298 | 330.5162 |  |  | 117.9552 | 122.0858 | 126.3475 | 366.3885
Maintenance | substation | New substations & New sets of battery installations | Annualised for smoothing |  |  | 29155.5564 | 29411.8538 | 29667.2042 | 88234.6144 |  |  | 31489.3073 | 32592.0313 | 33729.7335 | 97811.0721
Maintenance | substation | Kiosks | Annualised for smoothing |  |  | 114.9797 | 115.9904 | 116.9974 | 347.9675 |  |  | 124.1832 | 128.532 | 133.0187 | 385.7338
Maintenance | substation | Instrument transformers | Annualised for smoothing |  |  | 3323.1175 | 3352.33 | 3381.4345 | 10056.8819 |  |  | 3589.1158 | 3714.803 | 3844.477 | 11148.3958
|  | Total Substation Maintenance & Inspections |  | 0 | 0 | 99675.4856 | 100551.7015 | 101424.6802 | 301651.8673 | 0 | 0 | 107653.9906 | 111423.9254 | 115313.4419 | 334391.3579
Inspection | Lines & Cables | 132kV poles | Annualised for smoothing |  |  | 20306.2291 | 20484.7348 | 20662.581 | 61453.5449 |  |  | 21931.6373 | 22699.6612 | 23492.0468 | 68123.3453
Inspection | Lines & Cables | 132kV Overhead Conductors | Annualised for smoothing |  |  | 3593.1144 | 3624.7003 | 3656.1695 | 10873.9842 |  |  | 3880.7245 | 4016.6236 | 4156.8334 | 12054.1814
Inspection | Lines & Cables | 132kV underground cable | Annualised for smoothing |  |  | 6621.5964 | 6679.8048 | 6737.7981 | 20039.1994 |  |  | 7151.6209 | 7402.0634 | 7660.45 | 22214.1343
Maintenance | Lines & Cables | 132kV poles | Annualised for smoothing |  |  | 54826.8186 | 55308.7839 | 55788.9686 | 165924.5711 |  |  | 59215.4207 | 61289.0853 | 63428.5263 | 183933.0322
|  | Total Lines & Cables Maintenance & Inspections |  | 0 | 0 | 85347.7585 | 86098.0238 | 86845.5173 | 258291.2995 | 0 | 0 | 92179.4033 | 95407.4336 | 98737.8564 | 286324.6933
Inspection | Secondary systems | Switchbays | Annualised for smoothing |  |  | 8701.4964 | 8777.9885 | 8854.198 | 26333.6828 |  |  | 9398.0059 | 9727.1147 | 10066.6627 | 29191.7833
Maintenance | Secondary systems | Switchbays | Annualised for smoothing |  |  | 3901.0956 | 3935.3889 | 3969.5555 | 11806.04 |  |  | 4213.358 | 4360.9056 | 4513.1334 | 13087.397
|  | Total Secondary Systems Maintenance & Inspections |  | 0 | 0 | 12602.5919 | 12713.3774 | 12823.7535 | 38139.7228 | 0 | 0 | 13611.364 | 14088.0203 | 14579.7961 | 42279.1803
Maintenance | Land and Easements | Easement corridor requiring veg management | Annual |  |  | 286422.544 | 288940.3944 | 291448.943 | 866811.8814 |  |  | 309349.1811 | 320182.2792 | 331359.0014 | 960890.4617
|  |  |  | 0 | 0 | 286422.544 | 288940.3944 | 291448.943 | 866811.8814 | 0 | 0 | 309349.1811 | 320182.2792 | 331359.0014 | 960890.4617
| Lifecycle Expenditure |  |  |  |  | 246384.9841 | 248550.8769 | 250708.7682 | 745644.6291 | 0 | 0 | 266106.8224 | 275425.6165 | 285040.0012 | 826572.4402
|  | Total |  | 0 | 0 | 246384.9841 | 248550.8769 | 250708.7682 | 745644.6291 | 0 | 0 | 266106.8224 | 275425.6165 | 285040.0012 | 826572.4402
|  | TOTAL MAINTENANCE |  | 0 | 0 | 730433.3641 | 736854.3739 | 743251.6622 | 2210539.4001 | 0 | 0 | 788900.7614 | 816527.275 | 845030.097 | 2450458.1334
| Operations / Control Room |  |  | 45095.4237 | 325362.1285 | 456465.1407 | 709065.9417 | 818025.1042 | 2354013.7388 | 46267.8938 | 342500.7413 | 493002.8046 | 785734.1988 | 930042.768 | 2597548.4064
| Grid Planning Support |  |  | 9360.57 | 67562.5354 | 94784.3034 | 147229.1119 | 169855.1904 | 488791.7111 | 9603.9425 | 71121.4257 | 102371.2946 | 163148.364 | 193114.6008 | 539359.6276
|  | TOTAL OPERATIONS/CONTROL ROOM |  | 54455.9937 | 392924.6639 | 551249.4441 | 856295.0536 | 987880.2946 | 2842805.4499 | 55871.8363 | 413622.167 | 595374.0992 | 948882.5628 | 1123157.3688 | 3136908.034
CAM allocation
| Mobilisation |  |  | 7892.3983 | 196288.6806 | 278618.974 | 410353.1136 | 414609.9423 | 1307763.1088 | 8097.5987 | 206628.285 | 300920.9758 | 454722.8347 | 471385.2624 | 1441754.9566
| Support and Asset Management |  |  | 127.0864 | 6320.1349 | 8962.7815 | 13131.3645 | 13276.2322 | 41817.5995 | 130.3906 | 6653.0512 | 9680.2056 | 14551.2026 | 15094.2357 | 46109.0857
| Property Management |  |  | 8424.5768 | 209527.3465 | 297309.9827 | 436846.726 | 441501.6679 | 1393610.2999 | 8643.6138 | 220564.3042 | 321108.1027 | 484081.0876 | 501959.4523 | 1536356.5607
| Finance |  |  | 8396.0673 | 208916.3311 | 296686.3551 | 437810.4487 | 442265.4566 | 1394074.6588 | 8614.363 | 219921.1033 | 320434.557 | 485149.0135 | 502827.8317 | 1536946.8686
| Information Technology |  |  | 19139.4222 | 476184.628 | 676243.9035 | 998364.1212 | 1008423.7981 | 3178355.873 | 19637.0425 | 501267.8914 | 730373.7159 | 1106312.949 | 1146514.032 | 3504105.6308
| Social Procurement |  |  | 3188.3198 | 79245.2961 | 112395.5035 | 164638.8768 | 166474.1026 | 525942.0988 | 3271.2154 | 83419.5817 | 121392.1798 | 182440.572 | 189270.5179 | 579794.0668
| Other |  |  | 6452.6652 | 160442.4468 | 227677.5116 | 334762.2117 | 338310.638 | 1067645.4733 | 6620.4329 | 168893.8329 | 245901.914 | 370958.613 | 384637.7826 | 1177012.5754
| Training & Development |  |  | 5335.7499 | 132712.5487 | 188360.8013 | 277214.2081 | 280118.0878 | 883741.3959 | 5474.4781 | 139703.2486 | 203438.1052 | 307188.1907 | 318476.5362 | 974280.5588
|  | Total CAM allocation expenditure |  | 58956.2859 | 1469637.4128 | 2086255.8132 | 3073121.0706 | 3104979.9255 | 9792950.5081 | 60489.135 | 1547051.2984 | 2253249.756 | 3405404.4631 | 3530165.6509 | 10796360.3034
| Regulatory (incremental) |  |  | 50000 | 300000 | 300000 | 50000 | 50000 | 750000 | 51299.9878 | 315802.65 | 324013.4419 | 55406.2854 | 56846.8353 | 803369.2005
|  | Total Regulatory expenditure |  | 50000 | 300000 | 300000 | 50000 | 50000 | 750000 | 51299.9878 | 315802.65 | 324013.4419 | 55406.2854 | 56846.8353 | 803369.2005
|  | Total Opex |  | 163412.2797 | 2162562.0767 | 3667938.6213 | 4716270.4981 | 4886111.8823 | 15596295.3581 | 167660.9591 | 2276476.1154 | 3961538.0585 | 5226220.5863 | 5555199.9521 | 17187095.6713

## Costings
|  | Inspection |  |  | Maintenance
Item | Lines and Cable | Unit Rate | Multiplier | Total Cost | Unit Rate | Multiplier | Total Cost | Assumptions
1 | 132kV poles |  |  | 98900 |  |  | 53406 | Inspection & maintenance/replacement; allowance corrective breakdown
2 | Conductor (double & single circuit) |  |  | 7000 |  |  |  | Pole & line inspection mostly covered; maintenance costs included with poles above
3 | 132kV cable (single phase) |  |  | 38700 |  |  |  | Assume no maintenance costs; UGOH caught in pole & line inspection
4 | 3ph 132kV Sealing Ends | [6 empty] | Assume no maintenance costs
Substations
7 | DTCBs (new 132kV switchbays) |  |  | 10075 |  |  | 5340.5405 | Typical manufacturer & Unit Rate; avg amount per year maintenance
7a | LTCBs |  |  | 629.1667 |  |  | 205.4054 | Typical manufacturer & Unit Rate; avg amount per year maintenance
8 | New Series Reactor bay |  |  | 415 |  |  | 106.383 | Typical manufacturer & Unit Rate; avg amount per year maintenance
10 | New substations & new sets of battery installations |  |  | 28477.5167 |  |  | 28400
18 | Kiosks |  |  | 36.0833 |  |  | 112
19 | MVTs, CVTs, PVTs |  |  | 20058.3333 |  |  | 3237
Communications
12 | 276km OPGW | [6 empty] | Zero maintenance - considered in pole & line above
13 | 2km of ADSS | [6 empty] | Zero maintenance - considered in pole & line above
14 | New Comms Rooms at new substations | [6 empty] | Included in $ for 2 new substations x 2x new sets of battery installations (item 10)
15 | New Fibre Marshalling Kiosk. | [6 empty] | Included in $ for 2 new substations x 2x new sets of battery installations (item 10)
Secondary Systems
16 | Switchbays |  |  | 8476 |  |  | 3800
Land and Easements
17 | Easement corridor requiring veg management | [5 empty] | 279000 | • Access track is built and does not require maintaining & Easements already built • Access track is parallel to the line • The feeder is built with clearance that means a 12 month cycle is appropriate without outage

## CAM allocations
CAM allocations
Category |  | Total | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | Estimation approach
Mobilisation | Nominal | 1441754.9566 | 0 | 0 | 8097.5987 | 206628.285 | 300920.9758 | 454722.8347 | 471385.2624 | CAM allocation
Support and Asset Management | Nominal | 46109.0857 | 0 | 0 | 130.3906 | 6653.0512 | 9680.2056 | 14551.2026 | 15094.2357 | CAM allocation
Operations / Control Room | Real | 2276940 | 0 | 0 | 44688 | 319860 | 444636 | 684672 | 783084 | Other cost allocation
Grid Planning Support | Real | 472788 | 0 | 0 | 9276 | 66420 | 92328 | 142164 | 162600 | Other cost allocation
Rates & Taxes | Nominal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Property Management | Nominal | 1536356.5607 | 0 | 0 | 8643.6138 | 220564.3042 | 321108.1027 | 484081.0876 | 501959.4523 | CAM allocation
Environmental | Nominal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Corporate Governance | Nominal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Customer Relations | Nominal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Regulatory (incremental) | Nominal | 803369.2005 | 0 | 0 | 51299.9878 | 315802.65 | 324013.4419 | 55406.2854 | 56846.8353
Legal | Nominal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finance | Nominal | 1536946.8686 | 0 | 0 | 8614.363 | 219921.1033 | 320434.557 | 485149.0135 | 502827.8317 | CAM allocation
Information Technology | Nominal | 3504105.6308 | 0 | 0 | 19637.0425 | 501267.8914 | 730373.7159 | 1106312.949 | 1146514.032 | CAM allocation
HR & Payroll | Nominal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Handback obligations at end of term | Nominal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Spares | Nominal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lifecycle Expenditure | Nominal | 720000 | 0 | 0 | 0 | 0 | 240000 | 240000 | 240000 | Lifecycle Expenditure
Social Procurement | Nominal | 579794.0668 | 0 | 0 | 3271.2154 | 83419.5817 | 121392.1798 | 182440.572 | 189270.5179 | CAM allocation
Other | Nominal | 1177012.5754 | 0 | 0 | 6620.4329 | 168893.8329 | 245901.914 | 370958.613 | 384637.7826 | CAM allocation
Training & Development | Nominal | 974280.5588 | 0 | 0 | 5474.4781 | 139703.2486 | 203438.1052 | 307188.1907 | 318476.5362 | CAM allocation
Total O&M (ex GST) | Nominal | 15069457.5039 | 0 | 0 | 165753.1228 | 2249133.9484 | 3354227.198 | 4527646.7485 | 4772696.4862

## Escalations
| FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31
Inflation Forecast | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31
Regulatory forecast CPI |  |  | 2.6% | 2.6% | 2.6% | 2.6% | 2.6% | Source: Ausgrid Regulatory Forecast Inflation - 19 Feb 2025
CPI Escalation (FY25=1) |  | 1 | 1.026 | 1.0527 | 1.08 | 1.1081 | 1.1369
Real escalation | FY25 | FY26 | FY27 | FY28 | FY29 | FY30 | FY31 | Source:
WPI | 1.494% | 1.492% | 0.9117% | 0.8012% | 0.9243% | 0.8791% | 0.8682% | WPI from FY25 to FY30: AER - FD Ausgrid distribution determination 2024-29 - Opex model - April 2024
|  | 1 | 1.0091 | 1.0172 | 1.0266 | 1.0356 | 1.0446 | WPI from FY30 to FY31: average of the last 3 years