## Major Event Day Threshold
Major event day threshold calculation
STPIS scheme V2 - Appendix D ¦ 2.5 beta method
[5 empty] | For the S-factor Assessment Year |  | 2029-2030
Source: S-factor model, 'Major Event Days' sheet (multiple assessment years) |  |  |  | α | β | α+2.5β
Date | Network SAIDI | Ln(SAIDI) | Beta multiplier | 5 year average Ln(SAIDI) | 5 year stdev Ln(SAIDI) | MED threshold (Ln SAIDI) | MED threshold SAIDI
2024-07-01 | 0.042854 | -3.15 | 2.5 | -3.1061 | 1.944 | 1.7538 | 5.7767
2024-07-02 | 0.20339 | -1.5926
2024-07-03 | 0.083492 | -2.483
2024-07-04 | 0.098475 | -2.3179
2024-07-05 | 0.25663 | -1.3601
2024-07-06 | 0.32921 | -1.1111
2024-07-07 | 0.8676 | -0.14203
2024-07-08 | 1.3426 | 0.2946
2024-07-09 | 0.066401 | -2.712
2024-07-10 | 0.20339 | -1.5926
2024-07-11 | 0.089315 | -2.4156
2024-07-12 | 0.61862 | -0.48027
2024-07-13 | 0.069172 | -2.6712
2024-07-14 | 0.16362 | -1.8102
2024-07-15 | 0.0021148 | -6.1588
2024-07-16 | 0.13328 | -2.0153
2024-07-17 | 0.030955 | -3.4752
2024-07-18 | 0.083411 | -2.484
2024-07-19 | 0.20424 | -1.5885
2024-07-20 | 0.27094 | -1.3058
2024-07-21 | 0.16679 | -1.791
2024-07-22 | 0.18476 | -1.6887
2024-07-23 | 0.31245 | -1.1633
2024-07-24 | 0.049118 | -3.0135
2024-07-25 | 0.064621 | -2.7392
2024-07-26 | 0.051017 | -2.9756
2024-07-27 | 0.18714 | -1.6759
2024-07-28 | 0.21728 | -1.5266
2024-07-29 | 0.11688 | -2.1466
2024-07-30 | 0.12236 | -2.1008
2024-07-31 | 0.11373 | -2.1739
2024-08-01 | 0.12018 | -2.1188
2024-08-02 | 0.089296 | -2.4158
2024-08-03 | 0.14037 | -1.9635
2024-08-04 | 0.07201 | -2.6309
2024-08-05 | 0.12479 | -2.0811
2024-08-06 | 0.10104 | -2.2922
2024-08-07 | 0.27945 | -1.2749
2024-08-08 | 0.4444 | -0.81103
2024-08-09 | 0.088146 | -2.4288
2024-08-10 | 0.3944 | -0.93038
2024-08-11 | 0.1539 | -1.8715
2024-08-12 | 0.091858 | -2.3875
2024-08-13 | 0.053258 | -2.9326
2024-08-14 | 0.099193 | -2.3107
2024-08-15 | 0.066123 | -2.7162
2024-08-16 | 0.0021609 | -6.1372
2024-08-17 | 0.33329 | -1.0987
2024-08-18 | 0.19924 | -1.6132
2024-08-19 | 0.25895 | -1.3511
2024-08-20 | 0.10812 | -2.2245
2024-08-21 | 0.04055 | -3.2052
2024-08-22 | 0.25293 | -1.3746
2024-08-23 | 0.20339 | -1.5926
2024-08-24 | 0.15656 | -1.8543
2024-08-25 | 0.17036 | -1.7698
2024-08-26 | 0.12901 | -2.0479
2024-08-27 | 0.039981 | -3.2194
2024-08-28 | 0.027742 | -3.5848
2024-08-29 | 0.027243 | -3.603
2024-08-30 | 0.079475 | -2.5323
2024-08-31 | 0.11273 | -2.1827
2024-09-01 | 0.10009 | -2.3017
2024-09-02 | 0.014358 | -4.2434
2024-09-03 | 0.20339 | -1.5926
2024-09-04 | 0.22009 | -1.5137
2024-09-05 | 0.030005 | -3.5064
2024-09-06 | 0.093946 | -2.365
2024-09-07 | 0.40025 | -0.91567
2024-09-08 | 1.3879 | 0.32777
2024-09-09 | 0.11159 | -2.1929
2024-09-10 | 0.011838 | -4.4364
2024-09-11 | 0.1176 | -2.1405
2024-09-12 | 0.053502 | -2.928
2024-09-13 | 0.10914 | -2.2151
2024-09-14 | 0.017003 | -4.0744
2024-09-15 | 0.081804 | -2.5034
2024-09-16 | 0.031745 | -3.45
2024-09-17 | 0.033183 | -3.4057
2024-09-18 | 0.0065436 | -5.0293
2024-09-19 | 0.011731 | -4.4456
2024-09-20 | 0.17812 | -1.7253
2024-09-21 | 0.079835 | -2.5278
2024-09-22 | 0.3877 | -0.94753
2024-09-23 | 0.098348 | -2.3192
2024-09-24 | 0.030742 | -3.4821
2024-09-25 | 0.08895 | -2.4197
2024-09-26 | 0.026015 | -3.6491
2024-09-27 | 0.24261 | -1.4163
2024-09-28 | 0.015571 | -4.1624
2024-09-29 | 0.080615 | -2.5181
2024-09-30 | 0.0098576 | -4.6195
2024-10-01 | 0.053606 | -2.9261
2024-10-02 | 0.05637 | -2.8758
2024-10-03 | 0.085398 | -2.4604
2024-10-04 | 0.0023419 | -6.0568
2024-10-05 | 0.28636 | -1.2505
2024-10-06 | 0.01475 | -4.2165
2024-10-07 | 0.12482 | -2.0809
2024-10-08 | 0.41978 | -0.86803
2024-10-09 | 0.16869 | -1.7797
2024-10-10 | 0.07512 | -2.5887
2024-10-11 | 0.0034721 | -5.663
2024-10-12 | 0.014145 | -4.2584
2024-10-13 | 0.011873 | -4.4335
2024-10-14 | 0.094827 | -2.3557
2024-10-15 | 0.033655 | -3.3916
2024-10-16 | 0.10434 | -2.2601
2024-10-17 | 0.096591 | -2.3373
2024-10-18 | 0.050826 | -2.9794
2024-10-19 | 0.11057 | -2.2021
2024-10-20 | 0.13104 | -2.0322
2024-10-21 | 0.04767 | -3.0435
2024-10-22 | 0.14268 | -1.9471
2024-10-23 | 0.077793 | -2.5537
2024-10-24 | 0.20339 | -1.5926
2024-10-25 | 0.19916 | -1.6136
2024-10-26 | 0.25592 | -1.3629
2024-10-27 | 0.040563 | -3.2049
2024-10-28 | 0.2151 | -1.5367
2024-10-29 | 0.23057 | -1.4672
2024-10-30 | 0.1135 | -2.1759
2024-10-31 | 0.30683 | -1.1815
2024-11-01 | 0.13322 | -2.0158
2024-11-02 | 0.32201 | -1.1332
2024-11-03 | 0.80938 | -0.21149
2024-11-04 | 1.9484 | 0.66699
2024-11-05 | 0.21847 | -1.5211
2024-11-06 | 0.094905 | -2.3549
2024-11-07 | 0.083702 | -2.4805
2024-11-08 | 0.20337 | -1.5927
2024-11-09 | 1.1338 | 0.12557
2024-11-10 | 0.23986 | -1.4277
2024-11-11 | 0.3951 | -0.92861
2024-11-12 | 0.402 | -0.91131
2024-11-13 | 0.066064 | -2.7171
2024-11-14 | 0.098571 | -2.317
2024-11-15 | 0.20339 | -1.5926
2024-11-16 | 0.20339 | -1.5926
2024-11-17 | 0.15708 | -1.851
2024-11-18 | 0.079485 | -2.5322
2024-11-19 | 0.39578 | -0.9269
2024-11-20 | 0.35848 | -1.0259
2024-11-21 | 0.35354 | -1.0398
2024-11-22 | 0.20339 | -1.5926
2024-11-23 | 0.11247 | -2.185
2024-11-24 | 0.2506 | -1.3839
2024-11-25 | 0.16964 | -1.774
2024-11-26 | 0.35711 | -1.0297
2024-11-27 | 0.16078 | -1.8277
2024-11-28 | 0.31548 | -1.1537
2024-11-29 | 0.20339 | -1.5926
2024-11-30 | 0.451 | -0.79629
2024-12-01 | 0.45298 | -0.79191
2024-12-02 | 0.20339 | -1.5926
2024-12-03 | 0.047917 | -3.0383
2024-12-04 | 0.019927 | -3.9157
2024-12-05 | 0.037454 | -3.2846
2024-12-06 | 0.010073 | -4.5979
2024-12-07 | 0.012941 | -4.3474
2024-12-08 | 0.019919 | -3.9161
2024-12-09 | 0.028133 | -3.5708
2024-12-10 | 0.03541 | -3.3407
2024-12-11 | 0.053084 | -2.9359
2024-12-12 | 0.01504 | -4.1971
2024-12-13 | 0.27788 | -1.2806
2024-12-14 | 0.068836 | -2.676
2024-12-15 | 0.050707 | -2.9817
2024-12-16 | 0.039234 | -3.2382
2024-12-17 | 0.027564 | -3.5913
2024-12-18 | 0.00019501 | -8.5424
2024-12-19 | 0.56766 | -0.56623
2024-12-20 | 0.00097325 | -6.9349
2024-12-21 | 0.0055473 | -5.1945
2024-12-22 | 0.00024665 | -8.3075
2024-12-23 | 0.0016099 | -6.4316
2024-12-24 | 0.00028979 | -8.1464
2024-12-25 | 0.0026439 | -5.9355
2024-12-26 | 0.0042271 | -5.4662
2024-12-27 | 0.00013669 | -8.8978
2024-12-28 | 0.0007272 | -7.2263
2024-12-29 | 0.00014337 | -8.85
2024-12-30 | 0.00054677 | -7.5115
2024-12-31 | 0.0065418 | -5.0295
2025-01-01 | 0.027327 | -3.5999
2025-01-02 | 0.0012462 | -6.6877
2025-01-03 | 0.77924 | -0.24944
2025-01-04 | 0.20339 | -1.5926
2025-01-05 | 0.17161 | -1.7625
2025-01-06 | 0.029863 | -3.5111
2025-01-07 | 0.18779 | -1.6724
2025-01-08 | 0.33163 | -1.1037
2025-01-09 | 0.17356 | -1.7512
2025-01-10 | 0.02582 | -3.6566
2025-01-11 | 0.024315 | -3.7167
2025-01-12 | 0.3146 | -1.1565
2025-01-13 | 0.084799 | -2.4675
2025-01-14 | 0.10813 | -2.2245
2025-01-15 | 0.14906 | -1.9034
2025-01-16 | 0.35916 | -1.024
2025-01-17 | 0.28428 | -1.2578
2025-01-18 | 0.2339 | -1.4528
2025-01-19 | 0.049261 | -3.0106
2025-01-20 | 0.04299 | -3.1468
2025-01-21 | 0.011763 | -4.4428
2025-01-22 | 0.023345 | -3.7574
2025-01-23 | 0.37003 | -0.99417
2025-01-24 | 0.20339 | -1.5926
2025-01-25 | 0.16354 | -1.8107
2025-01-26 | 0.18033 | -1.713
2025-01-27 | 0.23516 | -1.4475
2025-01-28 | 0.030815 | -3.4798
2025-01-29 | 0.051916 | -2.9581
2025-01-30 | 0.17178 | -1.7615
2025-01-31 | 0.071266 | -2.6413
2025-02-01 | 0.45298 | -0.79191
2025-02-02 | 0.20339 | -1.5926
2025-02-03 | 0.047917 | -3.0383
2025-02-04 | 0.019927 | -3.9157
2025-02-05 | 0.037454 | -3.2846
2025-02-06 | 0.010073 | -4.5979
2025-02-07 | 0.012941 | -4.3474
2025-02-08 | 0.019919 | -3.9161
2025-02-09 | 0.028133 | -3.5708
2025-02-10 | 0.03541 | -3.3407
2025-02-11 | 0.053084 | -2.9359
2025-02-12 | 0.01504 | -4.1971
2025-02-13 | 0.27788 | -1.2806
2025-02-14 | 0.068836 | -2.676
2025-02-15 | 0.050707 | -2.9817
2025-02-16 | 0.039234 | -3.2382
2025-02-17 | 0.027564 | -3.5913
2025-02-18 | 0.031461 | -3.459
2025-02-19 | 0.089238 | -2.4164
2025-02-20 | 0.045394 | -3.0924
2025-02-21 | 0.38099 | -0.96498
2025-02-22 | 0.044562 | -3.1109
2025-02-23 | 0.026156 | -3.6437
2025-02-24 | 0.013382 | -4.3138
2025-02-25 | 0.054122 | -2.9165
2025-02-26 | 0.030579 | -3.4874
2025-02-27 | 0.14998 | -1.8972
2025-02-28 | 0.095749 | -2.346
2025-03-01 | 0.13431 | -2.0076
2025-03-02 | 0.0028134 | -5.8734
2025-03-03 | 0.011364 | -4.4773
2025-03-04 | 0.021537 | -3.838
2025-03-05 | 0.010484 | -4.5579
2025-03-06 | 0.0020716 | -6.1794
2025-03-07 | 0.0028991 | -5.8434
2025-03-08 | 0.010689 | -4.5385
2025-03-09 | 0.0042326 | -5.4649
2025-03-10 | 0.40477 | -0.90443
2025-03-11 | 0.090397 | -2.4035
2025-03-12 | 0.082885 | -2.4903
2025-03-13 | 0.022067 | -3.8137
2025-03-14 | 0.0026968 | -5.9157
2025-03-15 | 0.063228 | -2.761
2025-03-16 | 0.0010237 | -6.8844
2025-03-17 | 0.00031956 | -8.0486
2025-03-18 | 0.019247 | -3.9504
2025-03-19 | 0.01193 | -4.4287
2025-03-20 | 0.15039 | -1.8945
2025-03-21 | 0.10271 | -2.2758
2025-03-22 | 0.0092306 | -4.6852
2025-03-23 | 0.0014696 | -6.5228
2025-03-24 | 0.018619 | -3.9836
2025-03-25 | 0.0004605 | -7.6832
2025-03-26 | 0.0022527 | -6.0956
2025-03-27 | 0.0032071 | -5.7424
2025-03-28 | 0.010819 | -4.5265
2025-03-29 | 0.0006385 | -7.3564
2025-03-30 | 0.072865 | -2.6192
2025-03-31 | 5.1639e-05 | -9.8712
2025-04-01 | 0.0071709 | -4.9377
2025-04-02 | 0.11591 | -2.1549
2025-04-03 | 0.028162 | -3.5698
2025-04-04 | 0.24565 | -1.4039
2025-04-05 | 0.20339 | -1.5926
2025-04-06 | 0.089582 | -2.4126
2025-04-07 | 0.1561 | -1.8572
2025-04-08 | 0.12062 | -2.1151
2025-04-09 | 0.33112 | -1.1053
2025-04-10 | 0.19955 | -1.6117
2025-04-11 | 0.080301 | -2.522
2025-04-12 | 0.038576 | -3.2551
2025-04-13 | 0.28604 | -1.2516
2025-04-14 | 0.1112 | -2.1965
2025-04-15 | 0.13887 | -1.9743
2025-04-16 | 0.089667 | -2.4117
2025-04-17 | 0.15465 | -1.8666
2025-04-18 | 0.22227 | -1.5038
2025-04-19 | 0.01249 | -4.3829
2025-04-20 | 0.11952 | -2.1243
2025-04-21 | 0.019005 | -3.9631
2025-04-22 | 0.02929 | -3.5305
2025-04-23 | 0.24684 | -1.399
2025-04-24 | 0.0871 | -2.4407
2025-04-25 | 0.026501 | -3.6306
2025-04-26 | 0.036755 | -3.3035
2025-04-27 | 0.085361 | -2.4609
2025-04-28 | 0.12482 | -2.0809
2025-04-29 | 0.047664 | -3.0436
2025-04-30 | 0.13774 | -1.9824
2025-05-01 | 0.10113 | -2.2913
2025-05-02 | 0.10244 | -2.2785
2025-05-03 | 0.17461 | -1.7452
2025-05-04 | 0.14516 | -1.9299
2025-05-05 | 0.050972 | -2.9765
2025-05-06 | 0.018479 | -3.9911
2025-05-07 | 0.088479 | -2.425
2025-05-08 | 0.21882 | -1.5195
2025-05-09 | 0.17158 | -1.7627
2025-05-10 | 0.1863 | -1.6804
2025-05-11 | 0.46451 | -0.76678
2025-05-12 | 0.047687 | -3.0431
2025-05-13 | 0.029158 | -3.535
2025-05-14 | 0.041748 | -3.1761
2025-05-15 | 0.1295 | -2.0441
2025-05-16 | 0.25389 | -1.3708
2025-05-17 | 0.25523 | -1.3656
2025-05-18 | 0.017682 | -4.0352
2025-05-19 | 0.12115 | -2.1107
2025-05-20 | 0.092463 | -2.3809
2025-05-21 | 0.28075 | -1.2703
2025-05-22 | 0.21627 | -1.5312
2025-05-23 | 0.21469 | -1.5386
2025-05-24 | 0.18619 | -1.681
2025-05-25 | 0.15491 | -1.8649
2025-05-26 | 0.075244 | -2.587
2025-05-27 | 0.15433 | -1.8686
2025-05-28 | 0.35757 | -1.0284
2025-05-29 | 0.082183 | -2.4988
2025-05-30 | 0.050645 | -2.9829
2025-05-31 | 0.06358 | -2.7555
2025-06-01 | 5.8929e-05 | -9.7392
2025-06-02 | 0.0022253 | -6.1078
2025-06-03 | 0.0005899 | -7.4356
2025-06-04 | 0.0021986 | -6.1199
2025-06-05 | 0.00025577 | -8.2712
2025-06-06 | 0.00043863 | -7.7319
2025-06-07 | 0.00047994 | -7.6418
2025-06-08 | 0.053755 | -2.9233
2025-06-09 | 0.0067064 | -5.0047
2025-06-10 | 0.00018651 | -8.587
2025-06-11 | 0.0028134 | -5.8734
2025-06-12 | 0.0009696 | -6.9386
2025-06-13 | 0.015618 | -4.1594
2025-06-14 | 0.01649 | -4.105
2025-06-15 | 0.00094166 | -6.9679
2025-06-16 | 0.0030151 | -5.8041
2025-06-17 | 0.00019866 | -8.5239
2025-06-18 | 0.0052204 | -5.2552
2025-06-19 | 0.0020941 | -6.1686
2025-06-20 | 0.0091353 | -4.6956
2025-06-21 | 0.050217 | -2.9914
2025-06-22 | 0.00030315 | -8.1013
2025-06-23 | 0.0076213 | -4.8768
2025-06-24 | 0.0015437 | -6.4736
2025-06-25 | 0.054408 | -2.9112
2025-06-26 | 0.00076365 | -7.1774
2025-06-27 | 0.00038456 | -7.8634
2025-06-28 | 0.0011318 | -6.7839
2025-06-29 | 0.00099937 | -6.9084
2025-06-30 | 0.01362 | -4.2962
2025-07-01 | 0.042854 | -3.15
2025-07-02 | 0.40989 | -0.89187
2025-07-03 | 0.083492 | -2.483
2025-07-04 | 0.098475 | -2.3179
2025-07-05 | 0.25663 | -1.3601
2025-07-06 | 0.32921 | -1.1111
2025-07-07 | 0.8676 | -0.14203
2025-07-08 | 0.0021148 | -6.1588
2025-07-09 | 0.066401 | -2.712
2025-07-10 | 0.20339 | -1.5926
2025-07-11 | 0.089315 | -2.4156
2025-07-12 | 0.61862 | -0.48027
2025-07-13 | 0.069172 | -2.6712
2025-07-14 | 0.16362 | -1.8102
2025-07-15 | 0.0021148 | -6.1588
2025-07-16 | 0.13328 | -2.0153
2025-07-17 | 0.030955 | -3.4752
2025-07-18 | 0.083411 | -2.484
2025-07-19 | 0.20424 | -1.5885
2025-07-20 | 0.27094 | -1.3058
2025-07-21 | 0.16679 | -1.791
2025-07-22 | 0.18476 | -1.6887
2025-07-23 | 0.31245 | -1.1633
2025-07-24 | 0.049118 | -3.0135
2025-07-25 | 0.064621 | -2.7392
2025-07-26 | 0.051017 | -2.9756
2025-07-27 | 0.18714 | -1.6759
2025-07-28 | 0.21728 | -1.5266
2025-07-29 | 0.11688 | -2.1466
2025-07-30 | 0.12236 | -2.1008
2025-07-31 | 0.11373 | -2.1739
2025-08-01 | 0.12018 | -2.1188
2025-08-02 | 0.089296 | -2.4158
2025-08-03 | 0.14037 | -1.9635
2025-08-04 | 0.07201 | -2.6309
2025-08-05 | 0.12479 | -2.0811
2025-08-06 | 0.10104 | -2.2922
2025-08-07 | 0.27945 | -1.2749
2025-08-08 | 0.4444 | -0.81103
2025-08-09 | 0.088146 | -2.4288
2025-08-10 | 0.3944 | -0.93038
2025-08-11 | 0.1539 | -1.8715
2025-08-12 | 0.091858 | -2.3875
2025-08-13 | 0.053258 | -2.9326
2025-08-14 | 0.099193 | -2.3107
2025-08-15 | 0.066123 | -2.7162
2025-08-16 | 0.0021609 | -6.1372
2025-08-17 | 0.33329 | -1.0987
2025-08-18 | 0.19924 | -1.6132
2025-08-19 | 0.25895 | -1.3511
2025-08-20 | 0.10812 | -2.2245
2025-08-21 | 0.04055 | -3.2052
2025-08-22 | 0.25293 | -1.3746
2025-08-23 | 0.20339 | -1.5926
2025-08-24 | 0.15656 | -1.8543
2025-08-25 | 0.17036 | -1.7698
2025-08-26 | 0.12901 | -2.0479
2025-08-27 | 0.039981 | -3.2194
2025-08-28 | 0.027742 | -3.5848
2025-08-29 | 0.027243 | -3.603
2025-08-30 | 0.079475 | -2.5323
2025-08-31 | 0.11273 | -2.1827
2025-09-01 | 0.10009 | -2.3017
2025-09-02 | 0.014358 | -4.2434
2025-09-03 | 0.6235 | -0.47241
2025-09-04 | 0.22009 | -1.5137
2025-09-05 | 0.030005 | -3.5064
2025-09-06 | 0.093946 | -2.365
2025-09-07 | 0.40025 | -0.91567
2025-09-08 | 0.0021148 | -6.1588
2025-09-09 | 0.11159 | -2.1929
2025-09-10 | 0.011838 | -4.4364
2025-09-11 | 0.1176 | -2.1405
2025-09-12 | 0.053502 | -2.928
2025-09-13 | 0.10914 | -2.2151
2025-09-14 | 0.017003 | -4.0744
2025-09-15 | 0.081804 | -2.5034
2025-09-16 | 0.031745 | -3.45
2025-09-17 | 0.033183 | -3.4057
2025-09-18 | 0.0065436 | -5.0293
2025-09-19 | 0.011731 | -4.4456
2025-09-20 | 0.17812 | -1.7253
2025-09-21 | 0.079835 | -2.5278
2025-09-22 | 0.3877 | -0.94753
2025-09-23 | 0.098348 | -2.3192
2025-09-24 | 0.030742 | -3.4821
2025-09-25 | 0.08895 | -2.4197
2025-09-26 | 0.026015 | -3.6491
2025-09-27 | 0.24261 | -1.4163
2025-09-28 | 0.015571 | -4.1624
2025-09-29 | 0.080615 | -2.5181
2025-09-30 | 0.0098576 | -4.6195
2025-10-01 | 0.053606 | -2.9261
2025-10-02 | 0.05637 | -2.8758
2025-10-03 | 0.085398 | -2.4604
2025-10-04 | 0.0023419 | -6.0568
2025-10-05 | 0.28636 | -1.2505
2025-10-06 | 0.01475 | -4.2165
2025-10-07 | 0.12482 | -2.0809
2025-10-08 | 0.41978 | -0.86803
2025-10-09 | 0.16869 | -1.7797
2025-10-10 | 0.07512 | -2.5887
2025-10-11 | 0.0034721 | -5.663
2025-10-12 | 0.014145 | -4.2584
2025-10-13 | 0.011873 | -4.4335
2025-10-14 | 0.094827 | -2.3557
2025-10-15 | 0.033655 | -3.3916
2025-10-16 | 0.10434 | -2.2601
2025-10-17 | 0.096591 | -2.3373
2025-10-18 | 0.050826 | -2.9794
2025-10-19 | 0.11057 | -2.2021
2025-10-20 | 0.13104 | -2.0322
2025-10-21 | 0.04767 | -3.0435
2025-10-22 | 0.14268 | -1.9471
2025-10-23 | 0.077793 | -2.5537
2025-10-24 | 0.20339 | -1.5926
2025-10-25 | 0.19916 | -1.6136
2025-10-26 | 0.25592 | -1.3629
2025-10-27 | 0.040563 | -3.2049
2025-10-28 | 0.2151 | -1.5367
2025-10-29 | 0.23057 | -1.4672
2025-10-30 | 0.1135 | -2.1759
2025-10-31 | 0.30683 | -1.1815
2025-11-01 | 0.13322 | -2.0158
2025-11-02 | 0.32201 | -1.1332
2025-11-03 | 0.80938 | -0.21149
2025-11-04 | 0.0021148 | -6.1588
2025-11-05 | 0.21847 | -1.5211
2025-11-06 | 0.094905 | -2.3549
2025-11-07 | 0.083702 | -2.4805
2025-11-08 | 0.20337 | -1.5927
2025-11-09 | 1.1338 | 0.12557
2025-11-10 | 0.23986 | -1.4277
2025-11-11 | 0.3951 | -0.92861
2025-11-12 | 0.402 | -0.91131
2025-11-13 | 0.066064 | -2.7171
2025-11-14 | 0.098571 | -2.317
2025-11-15 | 0.20339 | -1.5926
2025-11-16 | 0.20339 | -1.5926
2025-11-17 | 0.15708 | -1.851
2025-11-18 | 0.079485 | -2.5322
2025-11-19 | 0.39578 | -0.9269
2025-11-20 | 0.35848 | -1.0259
2025-11-21 | 0.35354 | -1.0398
2025-11-22 | 0.20339 | -1.5926
2025-11-23 | 0.11247 | -2.185
2025-11-24 | 0.2506 | -1.3839
2025-11-25 | 0.16964 | -1.774
2025-11-26 | 0.35711 | -1.0297
2025-11-27 | 0.16078 | -1.8277
2025-11-28 | 0.31548 | -1.1537
2025-11-29 | 0.0021148 | -6.1588
2025-11-30 | 0.451 | -0.79629
2025-12-01 | 0.45298 | -0.79191
2025-12-02 | 0.20339 | -1.5926
2025-12-03 | 0.047917 | -3.0383
2025-12-04 | 0.019927 | -3.9157
2025-12-05 | 0.037454 | -3.2846
2025-12-06 | 0.010073 | -4.5979
2025-12-07 | 0.012941 | -4.3474
2025-12-08 | 0.019919 | -3.9161
2025-12-09 | 0.028133 | -3.5708
2025-12-10 | 0.03541 | -3.3407
2025-12-11 | 0.053084 | -2.9359
2025-12-12 | 0.01504 | -4.1971
2025-12-13 | 0.27788 | -1.2806
2025-12-14 | 0.068836 | -2.676
2025-12-15 | 0.050707 | -2.9817
2025-12-16 | 0.039234 | -3.2382
2025-12-17 | 0.027564 | -3.5913
2025-12-18 | 0.00019501 | -8.5424
2025-12-19 | 0.56766 | -0.56623
2025-12-20 | 0.00097325 | -6.9349
2025-12-21 | 0.0055473 | -5.1945
2025-12-22 | 0.00024665 | -8.3075
2025-12-23 | 0.0016099 | -6.4316
2025-12-24 | 0.00028979 | -8.1464
2025-12-25 | 0.0026439 | -5.9355
2025-12-26 | 0.0042271 | -5.4662
2025-12-27 | 0.00013669 | -8.8978
2025-12-28 | 0.0007272 | -7.2263
2025-12-29 | 0.00014337 | -8.85
2025-12-30 | 0.00054677 | -7.5115
2025-12-31 | 0.0065418 | -5.0295
2026-01-01 | 0.027327 | -3.5999
2026-01-02 | 0.0021148 | -6.1588
2026-01-03 | 0.77924 | -0.24944
2026-01-04 | 0.0021148 | -6.1588
2026-01-05 | 0.17161 | -1.7625
2026-01-06 | 0.029863 | -3.5111
2026-01-07 | 0.18779 | -1.6724
2026-01-08 | 0.33163 | -1.1037
2026-01-09 | 0.17356 | -1.7512
2026-01-10 | 0.02582 | -3.6566
2026-01-11 | 0.024315 | -3.7167
2026-01-12 | 0.3146 | -1.1565
2026-01-13 | 0.084799 | -2.4675
2026-01-14 | 0.10813 | -2.2245
2026-01-15 | 0.14906 | -1.9034
2026-01-16 | 0.35916 | -1.024
2026-01-17 | 0.28428 | -1.2578
2026-01-18 | 0.2339 | -1.4528
2026-01-19 | 0.049261 | -3.0106
2026-01-20 | 0.04299 | -3.1468
2026-01-21 | 0.011763 | -4.4428
2026-01-22 | 0.023345 | -3.7574
2026-01-23 | 0.37003 | -0.99417
2026-01-24 | 0.0021148 | -6.1588
2026-01-25 | 0.16354 | -1.8107
2026-01-26 | 0.18033 | -1.713
2026-01-27 | 0.23516 | -1.4475
2026-01-28 | 0.030815 | -3.4798
2026-01-29 | 0.051916 | -2.9581
2026-01-30 | 0.17178 | -1.7615
2026-01-31 | 0.071266 | -2.6413
2026-02-01 | 0.45298 | -0.79191
2026-02-02 | 0.20339 | -1.5926
2026-02-03 | 0.047917 | -3.0383
2026-02-04 | 0.019927 | -3.9157
2026-02-05 | 0.037454 | -3.2846
2026-02-06 | 0.010073 | -4.5979
2026-02-07 | 0.012941 | -4.3474
2026-02-08 | 0.019919 | -3.9161
2026-02-09 | 0.028133 | -3.5708
2026-02-10 | 0.03541 | -3.3407
2026-02-11 | 0.053084 | -2.9359
2026-02-12 | 0.01504 | -4.1971
2026-02-13 | 0.27788 | -1.2806
2026-02-14 | 0.068836 | -2.676
2026-02-15 | 0.050707 | -2.9817
2026-02-16 | 0.039234 | -3.2382
2026-02-17 | 0.027564 | -3.5913
2026-02-18 | 0.031461 | -3.459
2026-02-19 | 0.089238 | -2.4164
2026-02-20 | 0.045394 | -3.0924
2026-02-21 | 0.38099 | -0.96498
2026-02-22 | 0.044562 | -3.1109
2026-02-23 | 0.026156 | -3.6437
2026-02-24 | 0.013382 | -4.3138
2026-02-25 | 0.054122 | -2.9165
2026-02-26 | 0.030579 | -3.4874
2026-02-27 | 0.14998 | -1.8972
2026-02-28 | 0.095749 | -2.346
2026-03-01 | 0.13431 | -2.0076
2026-03-02 | 0.0028134 | -5.8734
2026-03-03 | 0.011364 | -4.4773
2026-03-04 | 0.021537 | -3.838
2026-03-05 | 0.010484 | -4.5579
2026-03-06 | 0.0020716 | -6.1794
2026-03-07 | 0.0028991 | -5.8434
2026-03-08 | 0.010689 | -4.5385
2026-03-09 | 0.0042326 | -5.4649
2026-03-10 | 0.40477 | -0.90443
2026-03-11 | 0.090397 | -2.4035
2026-03-12 | 0.082885 | -2.4903
2026-03-13 | 0.022067 | -3.8137
2026-03-14 | 0.0026968 | -5.9157
2026-03-15 | 0.063228 | -2.761
2026-03-16 | 0.0010237 | -6.8844
2026-03-17 | 0.00031956 | -8.0486
2026-03-18 | 0.019247 | -3.9504
2026-03-19 | 0.01193 | -4.4287
2026-03-20 | 0.15039 | -1.8945
2026-03-21 | 0.10271 | -2.2758
2026-03-22 | 0.0092306 | -4.6852
2026-03-23 | 0.0014696 | -6.5228
2026-03-24 | 0.018619 | -3.9836
2026-03-25 | 0.0004605 | -7.6832
2026-03-26 | 0.0022527 | -6.0956
2026-03-27 | 0.0032071 | -5.7424
2026-03-28 | 0.010819 | -4.5265
2026-03-29 | 0.0006385 | -7.3564
2026-03-30 | 0.072865 | -2.6192
2026-03-31 | 5.1639e-05 | -9.8712
2026-04-01 | 0.0071709 | -4.9377
2026-04-02 | 0.11591 | -2.1549
2026-04-03 | 0.028162 | -3.5698
2026-04-04 | 0.24565 | -1.4039
2026-04-05 | 0.20339 | -1.5926
2026-04-06 | 2.5896 | 0.9515
2026-04-07 | 0.1561 | -1.8572
2026-04-08 | 0.12062 | -2.1151
2026-04-09 | 0.33112 | -1.1053
2026-04-10 | 0.19955 | -1.6117
2026-04-11 | 0.080301 | -2.522
2026-04-12 | 0.038576 | -3.2551
2026-04-13 | 0.28604 | -1.2516
2026-04-14 | 0.1112 | -2.1965
2026-04-15 | 0.13887 | -1.9743
2026-04-16 | 0.089667 | -2.4117
2026-04-17 | 0.15465 | -1.8666
2026-04-18 | 0.22227 | -1.5038
2026-04-19 | 0.01249 | -4.3829
2026-04-20 | 0.11952 | -2.1243
2026-04-21 | 0.019005 | -3.9631
2026-04-22 | 0.02929 | -3.5305
2026-04-23 | 0.24684 | -1.399
2026-04-24 | 0.0871 | -2.4407
2026-04-25 | 0.026501 | -3.6306
2026-04-26 | 0.036755 | -3.3035
2026-04-27 | 0.085361 | -2.4609
2026-04-28 | 0.12482 | -2.0809
2026-04-29 | 0.047664 | -3.0436
2026-04-30 | 0.13774 | -1.9824
2026-05-01 | 0.10113 | -2.2913
2026-05-02 | 0.10244 | -2.2785
2026-05-03 | 0.17461 | -1.7452
2026-05-04 | 0.14516 | -1.9299
2026-05-05 | 0.050972 | -2.9765
2026-05-06 | 0.018479 | -3.9911
2026-05-07 | 0.088479 | -2.425
2026-05-08 | 0.21882 | -1.5195
2026-05-09 | 0.17158 | -1.7627
2026-05-10 | 0.1863 | -1.6804
2026-05-11 | 0.46451 | -0.76678
2026-05-12 | 0.047687 | -3.0431
2026-05-13 | 0.029158 | -3.535
2026-05-14 | 0.041748 | -3.1761
2026-05-15 | 0.1295 | -2.0441
2026-05-16 | 0.25389 | -1.3708
2026-05-17 | 0.25523 | -1.3656
2026-05-18 | 0.017682 | -4.0352
2026-05-19 | 0.12115 | -2.1107
2026-05-20 | 0.092463 | -2.3809
2026-05-21 | 0.28075 | -1.2703
2026-05-22 | 0.21627 | -1.5312
2026-05-23 | 0.21469 | -1.5386
2026-05-24 | 0.18619 | -1.681
2026-05-25 | 0.15491 | -1.8649
2026-05-26 | 0.075244 | -2.587
2026-05-27 | 0.15433 | -1.8686
2026-05-28 | 0.35757 | -1.0284
2026-05-29 | 0.082183 | -2.4988
2026-05-30 | 0.050645 | -2.9829
2026-05-31 | 0.06358 | -2.7555
2026-06-01 | 5.8929e-05 | -9.7392
2026-06-02 | 0.0022253 | -6.1078
2026-06-03 | 0.0005899 | -7.4356
2026-06-04 | 0.0021986 | -6.1199
2026-06-05 | 0.00025577 | -8.2712
2026-06-06 | 0.00043863 | -7.7319
2026-06-07 | 0.00047994 | -7.6418
2026-06-08 | 0.053755 | -2.9233
2026-06-09 | 0.0067064 | -5.0047
2026-06-10 | 0.00018651 | -8.587
2026-06-11 | 0.0028134 | -5.8734
2026-06-12 | 0.0009696 | -6.9386
2026-06-13 | 0.015618 | -4.1594
2026-06-14 | 0.01649 | -4.105
2026-06-15 | 0.00094166 | -6.9679
2026-06-16 | 0.0030151 | -5.8041
2026-06-17 | 0.00019866 | -8.5239
2026-06-18 | 0.0052204 | -5.2552
2026-06-19 | 0.0020941 | -6.1686
2026-06-20 | 0.0091353 | -4.6956
2026-06-21 | 0.050217 | -2.9914
2026-06-22 | 0.00030315 | -8.1013
2026-06-23 | 0.0076213 | -4.8768
2026-06-24 | 0.0015437 | -6.4736
2026-06-25 | 0.054408 | -2.9112
2026-06-26 | 0.00076365 | -7.1774
2026-06-27 | 0.00038456 | -7.8634
2026-06-28 | 0.0011318 | -6.7839
2026-06-29 | 0.00099937 | -6.9084
2026-06-30 | 0.01362 | -4.2962
2026-07-01 | 0.042854 | -3.15
2026-07-02 | 0.40989 | -0.89187
2026-07-03 | 0.083492 | -2.483
2026-07-04 | 0.098475 | -2.3179
2026-07-05 | 0.25663 | -1.3601
2026-07-06 | 0.32921 | -1.1111
2026-07-07 | 0.8676 | -0.14203
2026-07-08 | 0.0021148 | -6.1588
2026-07-09 | 0.066401 | -2.712
2026-07-10 | 0.20339 | -1.5926
2026-07-11 | 0.089315 | -2.4156
2026-07-12 | 0.61862 | -0.48027
2026-07-13 | 0.069172 | -2.6712
2026-07-14 | 0.16362 | -1.8102
2026-07-15 | 0.0021148 | -6.1588
2026-07-16 | 0.13328 | -2.0153
2026-07-17 | 0.030955 | -3.4752
2026-07-18 | 0.083411 | -2.484
2026-07-19 | 0.20424 | -1.5885
2026-07-20 | 0.27094 | -1.3058
2026-07-21 | 0.16679 | -1.791
2026-07-22 | 0.18476 | -1.6887
2026-07-23 | 0.31245 | -1.1633
2026-07-24 | 0.049118 | -3.0135
2026-07-25 | 0.064621 | -2.7392
2026-07-26 | 0.051017 | -2.9756
2026-07-27 | 0.18714 | -1.6759
2026-07-28 | 0.21728 | -1.5266
2026-07-29 | 0.11688 | -2.1466
2026-07-30 | 0.12236 | -2.1008
2026-07-31 | 0.11373 | -2.1739
2026-08-01 | 0.12018 | -2.1188
2026-08-02 | 0.089296 | -2.4158
2026-08-03 | 0.14037 | -1.9635
2026-08-04 | 0.07201 | -2.6309
2026-08-05 | 0.12479 | -2.0811
2026-08-06 | 0.10104 | -2.2922
2026-08-07 | 0.27945 | -1.2749
2026-08-08 | 0.4444 | -0.81103
2026-08-09 | 0.088146 | -2.4288
2026-08-10 | 0.3944 | -0.93038
2026-08-11 | 0.1539 | -1.8715
2026-08-12 | 0.091858 | -2.3875
2026-08-13 | 0.053258 | -2.9326
2026-08-14 | 0.099193 | -2.3107
2026-08-15 | 0.066123 | -2.7162
2026-08-16 | 0.0021609 | -6.1372
2026-08-17 | 0.33329 | -1.0987
2026-08-18 | 0.19924 | -1.6132
2026-08-19 | 0.25895 | -1.3511
2026-08-20 | 0.10812 | -2.2245
2026-08-21 | 0.04055 | -3.2052
2026-08-22 | 0.25293 | -1.3746
2026-08-23 | 0.20339 | -1.5926
2026-08-24 | 0.15656 | -1.8543
2026-08-25 | 0.17036 | -1.7698
2026-08-26 | 0.12901 | -2.0479
2026-08-27 | 0.039981 | -3.2194
2026-08-28 | 0.027742 | -3.5848
2026-08-29 | 0.027243 | -3.603
2026-08-30 | 0.079475 | -2.5323
2026-08-31 | 0.11273 | -2.1827
2026-09-01 | 0.10009 | -2.3017
2026-09-02 | 0.014358 | -4.2434
2026-09-03 | 0.6235 | -0.47241
2026-09-04 | 0.22009 | -1.5137
2026-09-05 | 0.030005 | -3.5064
2026-09-06 | 0.093946 | -2.365
2026-09-07 | 0.40025 | -0.91567
2026-09-08 | 0.0021148 | -6.1588
2026-09-09 | 0.11159 | -2.1929
2026-09-10 | 0.011838 | -4.4364
2026-09-11 | 0.1176 | -2.1405
2026-09-12 | 0.053502 | -2.928
2026-09-13 | 0.10914 | -2.2151
2026-09-14 | 0.017003 | -4.0744
2026-09-15 | 0.081804 | -2.5034
2026-09-16 | 0.031745 | -3.45
2026-09-17 | 0.033183 | -3.4057
2026-09-18 | 0.0065436 | -5.0293
2026-09-19 | 0.011731 | -4.4456
2026-09-20 | 0.17812 | -1.7253
2026-09-21 | 0.079835 | -2.5278
2026-09-22 | 0.3877 | -0.94753
2026-09-23 | 0.098348 | -2.3192
2026-09-24 | 0.030742 | -3.4821
2026-09-25 | 0.08895 | -2.4197
2026-09-26 | 0.026015 | -3.6491
2026-09-27 | 0.24261 | -1.4163
2026-09-28 | 0.015571 | -4.1624
2026-09-29 | 0.080615 | -2.5181
2026-09-30 | 0.0098576 | -4.6195
2026-10-01 | 0.053606 | -2.9261
2026-10-02 | 0.05637 | -2.8758
2026-10-03 | 0.085398 | -2.4604
2026-10-04 | 0.0023419 | -6.0568
2026-10-05 | 0.28636 | -1.2505
2026-10-06 | 0.01475 | -4.2165
2026-10-07 | 0.12482 | -2.0809
2026-10-08 | 0.41978 | -0.86803
2026-10-09 | 0.16869 | -1.7797
2026-10-10 | 0.07512 | -2.5887
2026-10-11 | 0.0034721 | -5.663
2026-10-12 | 0.014145 | -4.2584
2026-10-13 | 0.011873 | -4.4335
2026-10-14 | 0.094827 | -2.3557
2026-10-15 | 0.033655 | -3.3916
2026-10-16 | 0.10434 | -2.2601
2026-10-17 | 0.096591 | -2.3373
2026-10-18 | 0.050826 | -2.9794
2026-10-19 | 0.11057 | -2.2021
2026-10-20 | 0.13104 | -2.0322
2026-10-21 | 0.04767 | -3.0435
2026-10-22 | 0.14268 | -1.9471
2026-10-23 | 0.077793 | -2.5537
2026-10-24 | 0.20339 | -1.5926
2026-10-25 | 0.19916 | -1.6136
2026-10-26 | 0.25592 | -1.3629
2026-10-27 | 0.040563 | -3.2049
2026-10-28 | 0.2151 | -1.5367
2026-10-29 | 0.23057 | -1.4672
2026-10-30 | 0.1135 | -2.1759
2026-10-31 | 0.30683 | -1.1815
2026-11-01 | 0.13322 | -2.0158
2026-11-02 | 0.32201 | -1.1332
2026-11-03 | 0.80938 | -0.21149
2026-11-04 | 0.0021148 | -6.1588
2026-11-05 | 0.21847 | -1.5211
2026-11-06 | 0.094905 | -2.3549
2026-11-07 | 0.083702 | -2.4805
2026-11-08 | 0.20337 | -1.5927
2026-11-09 | 1.1338 | 0.12557
2026-11-10 | 0.23986 | -1.4277
2026-11-11 | 0.3951 | -0.92861
2026-11-12 | 0.402 | -0.91131
2026-11-13 | 0.066064 | -2.7171
2026-11-14 | 0.098571 | -2.317
2026-11-15 | 0.20339 | -1.5926
2026-11-16 | 0.20339 | -1.5926
2026-11-17 | 0.15708 | -1.851
2026-11-18 | 0.079485 | -2.5322
2026-11-19 | 0.39578 | -0.9269
2026-11-20 | 0.35848 | -1.0259
2026-11-21 | 0.35354 | -1.0398
2026-11-22 | 0.20339 | -1.5926
2026-11-23 | 0.11247 | -2.185
2026-11-24 | 0.2506 | -1.3839
2026-11-25 | 0.16964 | -1.774
2026-11-26 | 0.35711 | -1.0297
2026-11-27 | 0.16078 | -1.8277
2026-11-28 | 0.31548 | -1.1537
2026-11-29 | 0.0021148 | -6.1588
2026-11-30 | 0.451 | -0.79629
2026-12-01 | 0.45298 | -0.79191
2026-12-02 | 0.20339 | -1.5926
2026-12-03 | 0.047917 | -3.0383
2026-12-04 | 0.019927 | -3.9157
2026-12-05 | 0.037454 | -3.2846
2026-12-06 | 0.010073 | -4.5979
2026-12-07 | 0.012941 | -4.3474
2026-12-08 | 0.019919 | -3.9161
2026-12-09 | 0.028133 | -3.5708
2026-12-10 | 0.03541 | -3.3407
2026-12-11 | 0.053084 | -2.9359
2026-12-12 | 0.01504 | -4.1971
2026-12-13 | 0.27788 | -1.2806
2026-12-14 | 0.068836 | -2.676
2026-12-15 | 0.050707 | -2.9817
2026-12-16 | 0.039234 | -3.2382
2026-12-17 | 0.027564 | -3.5913
2026-12-18 | 0.00019501 | -8.5424
2026-12-19 | 0.56766 | -0.56623
2026-12-20 | 0.00097325 | -6.9349
2026-12-21 | 0.0055473 | -5.1945
2026-12-22 | 0.00024665 | -8.3075
2026-12-23 | 0.0016099 | -6.4316
2026-12-24 | 0.00028979 | -8.1464
2026-12-25 | 0.0026439 | -5.9355
2026-12-26 | 0.0042271 | -5.4662
2026-12-27 | 0.00013669 | -8.8978
2026-12-28 | 0.0007272 | -7.2263
2026-12-29 | 0.00014337 | -8.85
2026-12-30 | 0.00054677 | -7.5115
2026-12-31 | 0.0065418 | -5.0295
2027-01-01 | 0.027327 | -3.5999
2027-01-02 | 0.4186 | -0.87083
2027-01-03 | 0.77924 | -0.24944
2027-01-04 | 0.0021148 | -6.1588
2027-01-05 | 0.17161 | -1.7625
2027-01-06 | 0.029863 | -3.5111
2027-01-07 | 0.18779 | -1.6724
2027-01-08 | 0.33163 | -1.1037
2027-01-09 | 0.17356 | -1.7512
2027-01-10 | 0.02582 | -3.6566
2027-01-11 | 0.024315 | -3.7167
2027-01-12 | 0.3146 | -1.1565
2027-01-13 | 0.084799 | -2.4675
2027-01-14 | 0.10813 | -2.2245
2027-01-15 | 0.14906 | -1.9034
2027-01-16 | 0.35916 | -1.024
2027-01-17 | 0.28428 | -1.2578
2027-01-18 | 0.2339 | -1.4528
2027-01-19 | 0.049261 | -3.0106
2027-01-20 | 0.04299 | -3.1468
2027-01-21 | 0.011763 | -4.4428
2027-01-22 | 0.023345 | -3.7574
2027-01-23 | 0.37003 | -0.99417
2027-01-24 | 0.0021148 | -6.1588
2027-01-25 | 0.16354 | -1.8107
2027-01-26 | 0.18033 | -1.713
2027-01-27 | 0.23516 | -1.4475
2027-01-28 | 0.030815 | -3.4798
2027-01-29 | 0.051916 | -2.9581
2027-01-30 | 0.17178 | -1.7615
2027-01-31 | 0.071266 | -2.6413
2027-02-01 | 0.45298 | -0.79191
2027-02-02 | 0.20339 | -1.5926
2027-02-03 | 0.047917 | -3.0383
2027-02-04 | 0.019927 | -3.9157
2027-02-05 | 0.037454 | -3.2846
2027-02-06 | 0.010073 | -4.5979
2027-02-07 | 0.012941 | -4.3474
2027-02-08 | 0.019919 | -3.9161
2027-02-09 | 0.028133 | -3.5708
2027-02-10 | 0.03541 | -3.3407
2027-02-11 | 0.053084 | -2.9359
2027-02-12 | 0.01504 | -4.1971
2027-02-13 | 0.27788 | -1.2806
2027-02-14 | 0.068836 | -2.676
2027-02-15 | 0.050707 | -2.9817
2027-02-16 | 0.039234 | -3.2382
2027-02-17 | 0.027564 | -3.5913
2027-02-18 | 0.031461 | -3.459
2027-02-19 | 0.089238 | -2.4164
2027-02-20 | 0.045394 | -3.0924
2027-02-21 | 0.38099 | -0.96498
2027-02-22 | 0.044562 | -3.1109
2027-02-23 | 0.026156 | -3.6437
2027-02-24 | 0.013382 | -4.3138
2027-02-25 | 0.054122 | -2.9165
2027-02-26 | 0.030579 | -3.4874
2027-02-27 | 0.14998 | -1.8972
2027-02-28 | 0.095749 | -2.346
2027-03-01 | 0.13431 | -2.0076
2027-03-02 | 0.0028134 | -5.8734
2027-03-03 | 0.011364 | -4.4773
2027-03-04 | 0.021537 | -3.838
2027-03-05 | 0.010484 | -4.5579
2027-03-06 | 0.0020716 | -6.1794
2027-03-07 | 0.0028991 | -5.8434
2027-03-08 | 0.010689 | -4.5385
2027-03-09 | 0.0042326 | -5.4649
2027-03-10 | 0.40477 | -0.90443
2027-03-11 | 0.090397 | -2.4035
2027-03-12 | 0.082885 | -2.4903
2027-03-13 | 0.022067 | -3.8137
2027-03-14 | 0.0026968 | -5.9157
2027-03-15 | 0.063228 | -2.761
2027-03-16 | 0.0010237 | -6.8844
2027-03-17 | 0.00031956 | -8.0486
2027-03-18 | 0.019247 | -3.9504
2027-03-19 | 0.01193 | -4.4287
2027-03-20 | 0.15039 | -1.8945
2027-03-21 | 0.10271 | -2.2758
2027-03-22 | 0.0092306 | -4.6852
2027-03-23 | 0.0014696 | -6.5228
2027-03-24 | 0.018619 | -3.9836
2027-03-25 | 0.0004605 | -7.6832
2027-03-26 | 0.0022527 | -6.0956
2027-03-27 | 0.0032071 | -5.7424
2027-03-28 | 0.010819 | -4.5265
2027-03-29 | 0.0006385 | -7.3564
2027-03-30 | 0.072865 | -2.6192
2027-03-31 | 5.1639e-05 | -9.8712
2027-04-01 | 0.0071709 | -4.9377
2027-04-02 | 0.11591 | -2.1549
2027-04-03 | 0.028162 | -3.5698
2027-04-04 | 0.24565 | -1.4039
2027-04-05 | 0.4186 | -0.87083
2027-04-06 | 0.4186 | -0.87083
2027-04-07 | 0.1561 | -1.8572
2027-04-08 | 0.12062 | -2.1151
2027-04-09 | 0.33112 | -1.1053
2027-04-10 | 0.19955 | -1.6117
2027-04-11 | 0.080301 | -2.522
2027-04-12 | 0.038576 | -3.2551
2027-04-13 | 0.28604 | -1.2516
2027-04-14 | 0.1112 | -2.1965
2027-04-15 | 0.13887 | -1.9743
2027-04-16 | 0.089667 | -2.4117
2027-04-17 | 0.15465 | -1.8666
2027-04-18 | 0.22227 | -1.5038
2027-04-19 | 0.01249 | -4.3829
2027-04-20 | 0.11952 | -2.1243
2027-04-21 | 0.019005 | -3.9631
2027-04-22 | 0.02929 | -3.5305
2027-04-23 | 0.24684 | -1.399
2027-04-24 | 0.0871 | -2.4407
2027-04-25 | 0.026501 | -3.6306
2027-04-26 | 0.036755 | -3.3035
2027-04-27 | 0.085361 | -2.4609
2027-04-28 | 0.12482 | -2.0809
2027-04-29 | 0.047664 | -3.0436
2027-04-30 | 0.13774 | -1.9824
2027-05-01 | 0.10113 | -2.2913
2027-05-02 | 0.10244 | -2.2785
2027-05-03 | 0.17461 | -1.7452
2027-05-04 | 0.14516 | -1.9299
2027-05-05 | 0.050972 | -2.9765
2027-05-06 | 0.018479 | -3.9911
2027-05-07 | 0.088479 | -2.425
2027-05-08 | 0.21882 | -1.5195
2027-05-09 | 0.17158 | -1.7627
2027-05-10 | 0.1863 | -1.6804
2027-05-11 | 0.46451 | -0.76678
2027-05-12 | 0.047687 | -3.0431
2027-05-13 | 0.029158 | -3.535
2027-05-14 | 0.041748 | -3.1761
2027-05-15 | 0.1295 | -2.0441
2027-05-16 | 0.25389 | -1.3708
2027-05-17 | 0.25523 | -1.3656
2027-05-18 | 0.017682 | -4.0352
2027-05-19 | 0.12115 | -2.1107
2027-05-20 | 0.092463 | -2.3809
2027-05-21 | 0.28075 | -1.2703
2027-05-22 | 0.21627 | -1.5312
2027-05-23 | 0.21469 | -1.5386
2027-05-24 | 0.18619 | -1.681
2027-05-25 | 0.15491 | -1.8649
2027-05-26 | 0.075244 | -2.587
2027-05-27 | 0.15433 | -1.8686
2027-05-28 | 0.35757 | -1.0284
2027-05-29 | 0.082183 | -2.4988
2027-05-30 | 0.050645 | -2.9829
2027-05-31 | 0.06358 | -2.7555
2027-06-01 | 5.8929e-05 | -9.7392
2027-06-02 | 0.0022253 | -6.1078
2027-06-03 | 0.0005899 | -7.4356
2027-06-04 | 0.0021986 | -6.1199
2027-06-05 | 0.00025577 | -8.2712
2027-06-06 | 0.00043863 | -7.7319
2027-06-07 | 0.00047994 | -7.6418
2027-06-08 | 0.053755 | -2.9233
2027-06-09 | 0.0067064 | -5.0047
2027-06-10 | 0.00018651 | -8.587
2027-06-11 | 0.0028134 | -5.8734
2027-06-12 | 0.0009696 | -6.9386
2027-06-13 | 0.015618 | -4.1594
2027-06-14 | 0.01649 | -4.105
2027-06-15 | 0.00094166 | -6.9679
2027-06-16 | 0.0030151 | -5.8041
2027-06-17 | 0.00019866 | -8.5239
2027-06-18 | 0.0052204 | -5.2552
2027-06-19 | 0.0020941 | -6.1686
2027-06-20 | 0.0091353 | -4.6956
2027-06-21 | 0.050217 | -2.9914
2027-06-22 | 0.00030315 | -8.1013
2027-06-23 | 0.0076213 | -4.8768
2027-06-24 | 0.0015437 | -6.4736
2027-06-25 | 0.054408 | -2.9112
2027-06-26 | 0.00076365 | -7.1774
2027-06-27 | 0.00038456 | -7.8634
2027-06-28 | 0.0011318 | -6.7839
2027-06-29 | 0.00099937 | -6.9084
2027-06-30 | 0.01362 | -4.2962
2027-07-01 | 0.042854 | -3.15
2027-07-02 | 0.40989 | -0.89187
2027-07-03 | 0.083492 | -2.483
2027-07-04 | 0.098475 | -2.3179
2027-07-05 | 0.25663 | -1.3601
2027-07-06 | 0.32921 | -1.1111
2027-07-07 | 0.8676 | -0.14203
2027-07-08 | 0.0021148 | -6.1588
2027-07-09 | 0.066401 | -2.712
2027-07-10 | 0.20339 | -1.5926
2027-07-11 | 0.089315 | -2.4156
2027-07-12 | 0.61862 | -0.48027
2027-07-13 | 0.069172 | -2.6712
2027-07-14 | 0.16362 | -1.8102
2027-07-15 | 0.0021148 | -6.1588
2027-07-16 | 0.13328 | -2.0153
2027-07-17 | 0.030955 | -3.4752
2027-07-18 | 0.083411 | -2.484
2027-07-19 | 0.20424 | -1.5885
2027-07-20 | 0.27094 | -1.3058
2027-07-21 | 0.16679 | -1.791
2027-07-22 | 0.18476 | -1.6887
2027-07-23 | 0.31245 | -1.1633
2027-07-24 | 0.049118 | -3.0135
2027-07-25 | 0.064621 | -2.7392
2027-07-26 | 0.051017 | -2.9756
2027-07-27 | 0.18714 | -1.6759
2027-07-28 | 0.21728 | -1.5266
2027-07-29 | 0.11688 | -2.1466
2027-07-30 | 0.12236 | -2.1008
2027-07-31 | 0.11373 | -2.1739
2027-08-01 | 0.12018 | -2.1188
2027-08-02 | 0.089296 | -2.4158
2027-08-03 | 0.14037 | -1.9635
2027-08-04 | 0.07201 | -2.6309
2027-08-05 | 0.12479 | -2.0811
2027-08-06 | 0.10104 | -2.2922
2027-08-07 | 0.27945 | -1.2749
2027-08-08 | 0.4444 | -0.81103
2027-08-09 | 0.088146 | -2.4288
2027-08-10 | 0.3944 | -0.93038
2027-08-11 | 0.1539 | -1.8715
2027-08-12 | 0.091858 | -2.3875
2027-08-13 | 0.053258 | -2.9326
2027-08-14 | 0.099193 | -2.3107
2027-08-15 | 0.066123 | -2.7162
2027-08-16 | 0.0021609 | -6.1372
2027-08-17 | 0.33329 | -1.0987
2027-08-18 | 0.19924 | -1.6132
2027-08-19 | 0.25895 | -1.3511
2027-08-20 | 0.10812 | -2.2245
2027-08-21 | 0.04055 | -3.2052
2027-08-22 | 0.25293 | -1.3746
2027-08-23 | 0.20339 | -1.5926
2027-08-24 | 0.15656 | -1.8543
2027-08-25 | 0.17036 | -1.7698
2027-08-26 | 0.12901 | -2.0479
2027-08-27 | 0.039981 | -3.2194
2027-08-28 | 0.027742 | -3.5848
2027-08-29 | 0.027243 | -3.603
2027-08-30 | 0.079475 | -2.5323
2027-08-31 | 0.11273 | -2.1827
2027-09-01 | 0.10009 | -2.3017
2027-09-02 | 0.014358 | -4.2434
2027-09-03 | 0.6235 | -0.47241
2027-09-04 | 0.22009 | -1.5137
2027-09-05 | 0.030005 | -3.5064
2027-09-06 | 0.093946 | -2.365
2027-09-07 | 0.40025 | -0.91567
2027-09-08 | 0.0021148 | -6.1588
2027-09-09 | 0.11159 | -2.1929
2027-09-10 | 0.011838 | -4.4364
2027-09-11 | 0.1176 | -2.1405
2027-09-12 | 0.053502 | -2.928
2027-09-13 | 0.10914 | -2.2151
2027-09-14 | 0.017003 | -4.0744
2027-09-15 | 0.081804 | -2.5034
2027-09-16 | 0.031745 | -3.45
2027-09-17 | 0.033183 | -3.4057
2027-09-18 | 0.0065436 | -5.0293
2027-09-19 | 0.011731 | -4.4456
2027-09-20 | 0.17812 | -1.7253
2027-09-21 | 0.079835 | -2.5278
2027-09-22 | 0.3877 | -0.94753
2027-09-23 | 0.098348 | -2.3192
2027-09-24 | 0.030742 | -3.4821
2027-09-25 | 0.08895 | -2.4197
2027-09-26 | 0.026015 | -3.6491
2027-09-27 | 0.24261 | -1.4163
2027-09-28 | 0.015571 | -4.1624
2027-09-29 | 0.080615 | -2.5181
2027-09-30 | 0.0098576 | -4.6195
2027-10-01 | 0.053606 | -2.9261
2027-10-02 | 0.05637 | -2.8758
2027-10-03 | 0.085398 | -2.4604
2027-10-04 | 0.0023419 | -6.0568
2027-10-05 | 0.28636 | -1.2505
2027-10-06 | 0.01475 | -4.2165
2027-10-07 | 0.12482 | -2.0809
2027-10-08 | 0.41978 | -0.86803
2027-10-09 | 0.16869 | -1.7797
2027-10-10 | 0.07512 | -2.5887
2027-10-11 | 0.0034721 | -5.663
2027-10-12 | 0.014145 | -4.2584
2027-10-13 | 0.011873 | -4.4335
2027-10-14 | 0.094827 | -2.3557
2027-10-15 | 0.033655 | -3.3916
2027-10-16 | 0.10434 | -2.2601
2027-10-17 | 0.096591 | -2.3373
2027-10-18 | 0.050826 | -2.9794
2027-10-19 | 0.11057 | -2.2021
2027-10-20 | 0.13104 | -2.0322
2027-10-21 | 0.04767 | -3.0435
2027-10-22 | 0.14268 | -1.9471
2027-10-23 | 0.077793 | -2.5537
2027-10-24 | 0.20339 | -1.5926
2027-10-25 | 0.19916 | -1.6136
2027-10-26 | 0.25592 | -1.3629
2027-10-27 | 0.040563 | -3.2049
2027-10-28 | 0.2151 | -1.5367
2027-10-29 | 0.23057 | -1.4672
2027-10-30 | 0.1135 | -2.1759
2027-10-31 | 0.30683 | -1.1815
2027-11-01 | 0.13322 | -2.0158
2027-11-02 | 0.32201 | -1.1332
2027-11-03 | 0.80938 | -0.21149
2027-11-04 | 0.0021148 | -6.1588
2027-11-05 | 0.21847 | -1.5211
2027-11-06 | 0.094905 | -2.3549
2027-11-07 | 0.083702 | -2.4805
2027-11-08 | 0.20337 | -1.5927
2027-11-09 | 1.1338 | 0.12557
2027-11-10 | 0.23986 | -1.4277
2027-11-11 | 0.3951 | -0.92861
2027-11-12 | 0.402 | -0.91131
2027-11-13 | 0.066064 | -2.7171
2027-11-14 | 0.098571 | -2.317
2027-11-15 | 0.20339 | -1.5926
2027-11-16 | 0.20339 | -1.5926
2027-11-17 | 0.15708 | -1.851
2027-11-18 | 0.079485 | -2.5322
2027-11-19 | 0.39578 | -0.9269
2027-11-20 | 0.35848 | -1.0259
2027-11-21 | 0.35354 | -1.0398
2027-11-22 | 0.20339 | -1.5926
2027-11-23 | 0.11247 | -2.185
2027-11-24 | 0.2506 | -1.3839
2027-11-25 | 0.16964 | -1.774
2027-11-26 | 0.35711 | -1.0297
2027-11-27 | 0.16078 | -1.8277
2027-11-28 | 0.31548 | -1.1537
2027-11-29 | 0.0021148 | -6.1588
2027-11-30 | 0.451 | -0.79629
2027-12-01 | 0.45298 | -0.79191
2027-12-02 | 0.20339 | -1.5926
2027-12-03 | 0.047917 | -3.0383
2027-12-04 | 0.019927 | -3.9157
2027-12-05 | 0.037454 | -3.2846
2027-12-06 | 0.010073 | -4.5979
2027-12-07 | 0.012941 | -4.3474
2027-12-08 | 0.019919 | -3.9161
2027-12-09 | 0.028133 | -3.5708
2027-12-10 | 0.03541 | -3.3407
2027-12-11 | 0.053084 | -2.9359
2027-12-12 | 0.01504 | -4.1971
2027-12-13 | 0.27788 | -1.2806
2027-12-14 | 0.068836 | -2.676
2027-12-15 | 0.050707 | -2.9817
2027-12-16 | 0.039234 | -3.2382
2027-12-17 | 0.027564 | -3.5913
2027-12-18 | 0.00019501 | -8.5424
2027-12-19 | 0.56766 | -0.56623
2027-12-20 | 0.00097325 | -6.9349
2027-12-21 | 0.0055473 | -5.1945
2027-12-22 | 0.00024665 | -8.3075
2027-12-23 | 0.0016099 | -6.4316
2027-12-24 | 0.00028979 | -8.1464
2027-12-25 | 0.0026439 | -5.9355
2027-12-26 | 0.0042271 | -5.4662
2027-12-27 | 0.00013669 | -8.8978
2027-12-28 | 0.0007272 | -7.2263
2027-12-29 | 0.00014337 | -8.85
2027-12-30 | 0.00054677 | -7.5115
2027-12-31 | 0.0065418 | -5.0295
2028-01-01 | 0.027327 | -3.5999
2028-01-02 | 0.4186 | -0.87083
2028-01-03 | 0.77924 | -0.24944
2028-01-04 | 0.4186 | -0.87083
2028-01-05 | 0.17161 | -1.7625
2028-01-06 | 0.029863 | -3.5111
2028-01-07 | 0.18779 | -1.6724
2028-01-08 | 0.33163 | -1.1037
2028-01-09 | 0.17356 | -1.7512
2028-01-10 | 0.02582 | -3.6566
2028-01-11 | 0.024315 | -3.7167
2028-01-12 | 0.3146 | -1.1565
2028-01-13 | 0.084799 | -2.4675
2028-01-14 | 0.10813 | -2.2245
2028-01-15 | 0.14906 | -1.9034
2028-01-16 | 0.35916 | -1.024
2028-01-17 | 0.28428 | -1.2578
2028-01-18 | 0.2339 | -1.4528
2028-01-19 | 0.049261 | -3.0106
2028-01-20 | 0.04299 | -3.1468
2028-01-21 | 0.011763 | -4.4428
2028-01-22 | 0.023345 | -3.7574
2028-01-23 | 0.37003 | -0.99417
2028-01-24 | 0.4186 | -0.87083
2028-01-25 | 0.16354 | -1.8107
2028-01-26 | 0.18033 | -1.713
2028-01-27 | 0.23516 | -1.4475
2028-01-28 | 0.030815 | -3.4798
2028-01-29 | 0.051916 | -2.9581
2028-01-30 | 0.17178 | -1.7615
2028-01-31 | 0.071266 | -2.6413
2028-02-01 | 0.45298 | -0.79191
2028-02-02 | 0.20339 | -1.5926
2028-02-03 | 0.047917 | -3.0383
2028-02-04 | 0.019927 | -3.9157
2028-02-05 | 0.037454 | -3.2846
2028-02-06 | 0.010073 | -4.5979
2028-02-07 | 0.012941 | -4.3474
2028-02-08 | 0.019919 | -3.9161
2028-02-09 | 0.028133 | -3.5708
2028-02-10 | 0.03541 | -3.3407
2028-02-11 | 0.053084 | -2.9359
2028-02-12 | 0.01504 | -4.1971
2028-02-13 | 0.27788 | -1.2806
2028-02-14 | 0.068836 | -2.676
2028-02-15 | 0.050707 | -2.9817
2028-02-16 | 0.039234 | -3.2382
2028-02-17 | 0.027564 | -3.5913
2028-02-18 | 0.031461 | -3.459
2028-02-19 | 0.089238 | -2.4164
2028-02-20 | 0.045394 | -3.0924
2028-02-21 | 0.38099 | -0.96498
2028-02-22 | 0.044562 | -3.1109
2028-02-23 | 0.026156 | -3.6437
2028-02-24 | 0.013382 | -4.3138
2028-02-25 | 0.054122 | -2.9165
2028-02-26 | 0.030579 | -3.4874
2028-02-27 | 0.14998 | -1.8972
2028-02-28 | 0.095749 | -2.346
2028-02-29 | 0.13431 | -2.0076
2028-03-01 | 0.0028134 | -5.8734
2028-03-02 | 0.011364 | -4.4773
2028-03-03 | 0.021537 | -3.838
2028-03-04 | 0.010484 | -4.5579
2028-03-05 | 0.0020716 | -6.1794
2028-03-06 | 0.0028991 | -5.8434
2028-03-07 | 0.010689 | -4.5385
2028-03-08 | 0.0042326 | -5.4649
2028-03-09 | 0.40477 | -0.90443
2028-03-10 | 0.090397 | -2.4035
2028-03-11 | 0.082885 | -2.4903
2028-03-12 | 0.022067 | -3.8137
2028-03-13 | 0.0026968 | -5.9157
2028-03-14 | 0.063228 | -2.761
2028-03-15 | 0.0010237 | -6.8844
2028-03-16 | 0.00031956 | -8.0486
2028-03-17 | 0.019247 | -3.9504
2028-03-18 | 0.01193 | -4.4287
2028-03-19 | 0.15039 | -1.8945
2028-03-20 | 0.10271 | -2.2758
2028-03-21 | 0.0092306 | -4.6852
2028-03-22 | 0.0014696 | -6.5228
2028-03-23 | 0.018619 | -3.9836
2028-03-24 | 0.0004605 | -7.6832
2028-03-25 | 0.0022527 | -6.0956
2028-03-26 | 0.0032071 | -5.7424
2028-03-27 | 0.010819 | -4.5265
2028-03-28 | 0.0006385 | -7.3564
2028-03-29 | 0.072865 | -2.6192
2028-03-30 | 5.1639e-05 | -9.8712
2028-03-31 | 0.0071709 | -4.9377
2028-04-01 | 0.11591 | -2.1549
2028-04-02 | 0.028162 | -3.5698
2028-04-03 | 0.24565 | -1.4039
2028-04-04 | 0.4186 | -0.87083
2028-04-05 | 0.20339 | -1.5926
2028-04-06 | 0.1561 | -1.8572
2028-04-07 | 0.12062 | -2.1151
2028-04-08 | 0.33112 | -1.1053
2028-04-09 | 0.19955 | -1.6117
2028-04-10 | 0.080301 | -2.522
2028-04-11 | 0.038576 | -3.2551
2028-04-12 | 0.28604 | -1.2516
2028-04-13 | 0.1112 | -2.1965
2028-04-14 | 0.13887 | -1.9743
2028-04-15 | 0.089667 | -2.4117
2028-04-16 | 0.15465 | -1.8666
2028-04-17 | 0.22227 | -1.5038
2028-04-18 | 0.01249 | -4.3829
2028-04-19 | 0.11952 | -2.1243
2028-04-20 | 0.019005 | -3.9631
2028-04-21 | 0.02929 | -3.5305
2028-04-22 | 0.24684 | -1.399
2028-04-23 | 0.0871 | -2.4407
2028-04-24 | 0.026501 | -3.6306
2028-04-25 | 0.036755 | -3.3035
2028-04-26 | 0.085361 | -2.4609
2028-04-27 | 0.12482 | -2.0809
2028-04-28 | 0.047664 | -3.0436
2028-04-29 | 0.13774 | -1.9824
2028-04-30 | 0.10113 | -2.2913
2028-05-01 | 0.10244 | -2.2785
2028-05-02 | 0.17461 | -1.7452
2028-05-03 | 0.14516 | -1.9299
2028-05-04 | 0.050972 | -2.9765
2028-05-05 | 0.018479 | -3.9911
2028-05-06 | 0.088479 | -2.425
2028-05-07 | 0.21882 | -1.5195
2028-05-08 | 0.17158 | -1.7627
2028-05-09 | 0.1863 | -1.6804
2028-05-10 | 0.46451 | -0.76678
2028-05-11 | 0.047687 | -3.0431
2028-05-12 | 0.029158 | -3.535
2028-05-13 | 0.041748 | -3.1761
2028-05-14 | 0.1295 | -2.0441
2028-05-15 | 0.25389 | -1.3708
2028-05-16 | 0.25523 | -1.3656
2028-05-17 | 0.017682 | -4.0352
2028-05-18 | 0.12115 | -2.1107
2028-05-19 | 0.092463 | -2.3809
2028-05-20 | 0.28075 | -1.2703
2028-05-21 | 0.21627 | -1.5312
2028-05-22 | 0.21469 | -1.5386
2028-05-23 | 0.18619 | -1.681
2028-05-24 | 0.15491 | -1.8649
2028-05-25 | 0.075244 | -2.587
2028-05-26 | 0.15433 | -1.8686
2028-05-27 | 0.35757 | -1.0284
2028-05-28 | 0.082183 | -2.4988
2028-05-29 | 0.050645 | -2.9829
2028-05-30 | 0.06358 | -2.7555
2028-05-31 | 5.8929e-05 | -9.7392
2028-06-01 | 0.0022253 | -6.1078
2028-06-02 | 0.0005899 | -7.4356
2028-06-03 | 0.0021986 | -6.1199
2028-06-04 | 0.00025577 | -8.2712
2028-06-05 | 0.00043863 | -7.7319
2028-06-06 | 0.00047994 | -7.6418
2028-06-07 | 0.053755 | -2.9233
2028-06-08 | 0.0067064 | -5.0047
2028-06-09 | 0.00018651 | -8.587
2028-06-10 | 0.0028134 | -5.8734
2028-06-11 | 0.0009696 | -6.9386
2028-06-12 | 0.015618 | -4.1594
2028-06-13 | 0.01649 | -4.105
2028-06-14 | 0.00094166 | -6.9679
2028-06-15 | 0.0030151 | -5.8041
2028-06-16 | 0.00019866 | -8.5239
2028-06-17 | 0.0052204 | -5.2552
2028-06-18 | 0.0020941 | -6.1686
2028-06-19 | 0.0091353 | -4.6956
2028-06-20 | 0.050217 | -2.9914
2028-06-21 | 0.00030315 | -8.1013
2028-06-22 | 0.0076213 | -4.8768
2028-06-23 | 0.0015437 | -6.4736
2028-06-24 | 0.054408 | -2.9112
2028-06-25 | 0.00076365 | -7.1774
2028-06-26 | 0.00038456 | -7.8634
2028-06-27 | 0.0011318 | -6.7839
2028-06-28 | 0.00099937 | -6.9084
2028-06-29 | 0.01362 | -4.2962
2028-06-30 | 0.00099937 | -6.9084
2028-07-01 | 0.042854 | -3.15
2028-07-02 | 0.40989 | -0.89187
2028-07-03 | 0.083492 | -2.483
2028-07-04 | 0.098475 | -2.3179
2028-07-05 | 0.25663 | -1.3601
2028-07-06 | 0.32921 | -1.1111
2028-07-07 | 0.8676 | -0.14203
2028-07-08 | 0.4186 | -0.87083
2028-07-09 | 0.066401 | -2.712
2028-07-10 | 0.20339 | -1.5926
2028-07-11 | 0.089315 | -2.4156
2028-07-12 | 0.61862 | -0.48027
2028-07-13 | 0.069172 | -2.6712
2028-07-14 | 0.16362 | -1.8102
2028-07-15 | 0.0021148 | -6.1588
2028-07-16 | 0.13328 | -2.0153
2028-07-17 | 0.030955 | -3.4752
2028-07-18 | 0.083411 | -2.484
2028-07-19 | 0.20424 | -1.5885
2028-07-20 | 0.27094 | -1.3058
2028-07-21 | 0.16679 | -1.791
2028-07-22 | 0.18476 | -1.6887
2028-07-23 | 0.31245 | -1.1633
2028-07-24 | 0.049118 | -3.0135
2028-07-25 | 0.064621 | -2.7392
2028-07-26 | 0.051017 | -2.9756
2028-07-27 | 0.18714 | -1.6759
2028-07-28 | 0.21728 | -1.5266
2028-07-29 | 0.11688 | -2.1466
2028-07-30 | 0.12236 | -2.1008
2028-07-31 | 0.11373 | -2.1739
2028-08-01 | 0.12018 | -2.1188
2028-08-02 | 0.089296 | -2.4158
2028-08-03 | 0.14037 | -1.9635
2028-08-04 | 0.07201 | -2.6309
2028-08-05 | 0.12479 | -2.0811
2028-08-06 | 0.10104 | -2.2922
2028-08-07 | 0.27945 | -1.2749
2028-08-08 | 0.4444 | -0.81103
2028-08-09 | 0.088146 | -2.4288
2028-08-10 | 0.3944 | -0.93038
2028-08-11 | 0.1539 | -1.8715
2028-08-12 | 0.091858 | -2.3875
2028-08-13 | 0.053258 | -2.9326
2028-08-14 | 0.099193 | -2.3107
2028-08-15 | 0.066123 | -2.7162
2028-08-16 | 0.0021609 | -6.1372
2028-08-17 | 0.33329 | -1.0987
2028-08-18 | 0.19924 | -1.6132
2028-08-19 | 0.25895 | -1.3511
2028-08-20 | 0.10812 | -2.2245
2028-08-21 | 0.04055 | -3.2052
2028-08-22 | 0.25293 | -1.3746
2028-08-23 | 0.20339 | -1.5926
2028-08-24 | 0.15656 | -1.8543
2028-08-25 | 0.17036 | -1.7698
2028-08-26 | 0.12901 | -2.0479
2028-08-27 | 0.039981 | -3.2194
2028-08-28 | 0.027742 | -3.5848
2028-08-29 | 0.027243 | -3.603
2028-08-30 | 0.079475 | -2.5323
2028-08-31 | 0.11273 | -2.1827
2028-09-01 | 0.10009 | -2.3017
2028-09-02 | 0.014358 | -4.2434
2028-09-03 | 0.6235 | -0.47241
2028-09-04 | 0.22009 | -1.5137
2028-09-05 | 0.030005 | -3.5064
2028-09-06 | 0.093946 | -2.365
2028-09-07 | 0.40025 | -0.91567
2028-09-08 | 0.4186 | -0.87083
2028-09-09 | 0.11159 | -2.1929
2028-09-10 | 0.011838 | -4.4364
2028-09-11 | 0.1176 | -2.1405
2028-09-12 | 0.053502 | -2.928
2028-09-13 | 0.10914 | -2.2151
2028-09-14 | 0.017003 | -4.0744
2028-09-15 | 0.081804 | -2.5034
2028-09-16 | 0.031745 | -3.45
2028-09-17 | 0.033183 | -3.4057
2028-09-18 | 0.0065436 | -5.0293
2028-09-19 | 0.011731 | -4.4456
2028-09-20 | 0.17812 | -1.7253
2028-09-21 | 0.079835 | -2.5278
2028-09-22 | 0.3877 | -0.94753
2028-09-23 | 0.098348 | -2.3192
2028-09-24 | 0.030742 | -3.4821
2028-09-25 | 0.08895 | -2.4197
2028-09-26 | 0.026015 | -3.6491
2028-09-27 | 0.24261 | -1.4163
2028-09-28 | 0.015571 | -4.1624
2028-09-29 | 0.080615 | -2.5181
2028-09-30 | 0.0098576 | -4.6195
2028-10-01 | 0.053606 | -2.9261
2028-10-02 | 0.05637 | -2.8758
2028-10-03 | 0.085398 | -2.4604
2028-10-04 | 0.0023419 | -6.0568
2028-10-05 | 0.28636 | -1.2505
2028-10-06 | 0.01475 | -4.2165
2028-10-07 | 0.12482 | -2.0809
2028-10-08 | 0.41978 | -0.86803
2028-10-09 | 0.16869 | -1.7797
2028-10-10 | 0.07512 | -2.5887
2028-10-11 | 0.0034721 | -5.663
2028-10-12 | 0.014145 | -4.2584
2028-10-13 | 0.011873 | -4.4335
2028-10-14 | 0.094827 | -2.3557
2028-10-15 | 0.033655 | -3.3916
2028-10-16 | 0.10434 | -2.2601
2028-10-17 | 0.096591 | -2.3373
2028-10-18 | 0.050826 | -2.9794
2028-10-19 | 0.11057 | -2.2021
2028-10-20 | 0.13104 | -2.0322
2028-10-21 | 0.04767 | -3.0435
2028-10-22 | 0.14268 | -1.9471
2028-10-23 | 0.077793 | -2.5537
2028-10-24 | 0.20339 | -1.5926
2028-10-25 | 0.19916 | -1.6136
2028-10-26 | 0.25592 | -1.3629
2028-10-27 | 0.040563 | -3.2049
2028-10-28 | 0.2151 | -1.5367
2028-10-29 | 0.23057 | -1.4672
2028-10-30 | 0.1135 | -2.1759
2028-10-31 | 0.30683 | -1.1815
2028-11-01 | 0.13322 | -2.0158
2028-11-02 | 0.32201 | -1.1332
2028-11-03 | 0.80938 | -0.21149
2028-11-04 | 0.4186 | -0.87083
2028-11-05 | 0.21847 | -1.5211
2028-11-06 | 0.094905 | -2.3549
2028-11-07 | 0.083702 | -2.4805
2028-11-08 | 0.20337 | -1.5927
2028-11-09 | 0.4186 | -0.87083
2028-11-10 | 0.23986 | -1.4277
2028-11-11 | 0.3951 | -0.92861
2028-11-12 | 0.402 | -0.91131
2028-11-13 | 0.066064 | -2.7171
2028-11-14 | 0.098571 | -2.317
2028-11-15 | 0.20339 | -1.5926
2028-11-16 | 0.20339 | -1.5926
2028-11-17 | 0.15708 | -1.851
2028-11-18 | 0.079485 | -2.5322
2028-11-19 | 0.39578 | -0.9269
2028-11-20 | 0.35848 | -1.0259
2028-11-21 | 0.35354 | -1.0398
2028-11-22 | 0.20339 | -1.5926
2028-11-23 | 0.11247 | -2.185
2028-11-24 | 0.2506 | -1.3839
2028-11-25 | 0.16964 | -1.774
2028-11-26 | 0.35711 | -1.0297
2028-11-27 | 0.16078 | -1.8277
2028-11-28 | 0.31548 | -1.1537
2028-11-29 | 0.4186 | -0.87083
2028-11-30 | 0.451 | -0.79629
2028-12-01 | 0.45298 | -0.79191
2028-12-02 | 0.20339 | -1.5926
2028-12-03 | 0.047917 | -3.0383
2028-12-04 | 0.019927 | -3.9157
2028-12-05 | 0.037454 | -3.2846
2028-12-06 | 0.010073 | -4.5979
2028-12-07 | 0.012941 | -4.3474
2028-12-08 | 0.019919 | -3.9161
2028-12-09 | 0.028133 | -3.5708
2028-12-10 | 0.03541 | -3.3407
2028-12-11 | 0.053084 | -2.9359
2028-12-12 | 0.01504 | -4.1971
2028-12-13 | 0.27788 | -1.2806
2028-12-14 | 0.068836 | -2.676
2028-12-15 | 0.050707 | -2.9817
2028-12-16 | 0.039234 | -3.2382
2028-12-17 | 0.027564 | -3.5913
2028-12-18 | 0.00019501 | -8.5424
2028-12-19 | 0.56766 | -0.56623
2028-12-20 | 0.00097325 | -6.9349
2028-12-21 | 0.0055473 | -5.1945
2028-12-22 | 0.00024665 | -8.3075
2028-12-23 | 0.0016099 | -6.4316
2028-12-24 | 0.00028979 | -8.1464
2028-12-25 | 0.0026439 | -5.9355
2028-12-26 | 0.0042271 | -5.4662
2028-12-27 | 0.00013669 | -8.8978
2028-12-28 | 0.0007272 | -7.2263
2028-12-29 | 0.00014337 | -8.85
2028-12-30 | 0.00054677 | -7.5115
2028-12-31 | 0.0065418 | -5.0295
2029-01-01 | 0.027327 | -3.5999
2029-01-02 | 0.44125 | -0.81815
2029-01-03 | 0.77924 | -0.24944
2029-01-04 | 0.4186 | -0.87083
2029-01-05 | 0.17161 | -1.7625
2029-01-06 | 0.029863 | -3.5111
2029-01-07 | 0.18779 | -1.6724
2029-01-08 | 0.33163 | -1.1037
2029-01-09 | 0.17356 | -1.7512
2029-01-10 | 0.02582 | -3.6566
2029-01-11 | 0.024315 | -3.7167
2029-01-12 | 0.3146 | -1.1565
2029-01-13 | 0.084799 | -2.4675
2029-01-14 | 0.10813 | -2.2245
2029-01-15 | 0.14906 | -1.9034
2029-01-16 | 0.35916 | -1.024
2029-01-17 | 0.28428 | -1.2578
2029-01-18 | 0.2339 | -1.4528
2029-01-19 | 0.049261 | -3.0106
2029-01-20 | 0.04299 | -3.1468
2029-01-21 | 0.011763 | -4.4428
2029-01-22 | 0.023345 | -3.7574
2029-01-23 | 0.37003 | -0.99417
2029-01-24 | 0.4186 | -0.87083
2029-01-25 | 0.16354 | -1.8107
2029-01-26 | 0.18033 | -1.713
2029-01-27 | 0.23516 | -1.4475
2029-01-28 | 0.030815 | -3.4798
2029-01-29 | 0.051916 | -2.9581
2029-01-30 | 0.17178 | -1.7615
2029-01-31 | 0.071266 | -2.6413
2029-02-01 | 0.45298 | -0.79191
2029-02-02 | 0.20339 | -1.5926
2029-02-03 | 0.047917 | -3.0383
2029-02-04 | 0.019927 | -3.9157
2029-02-05 | 0.037454 | -3.2846
2029-02-06 | 0.010073 | -4.5979
2029-02-07 | 0.012941 | -4.3474
2029-02-08 | 0.019919 | -3.9161
2029-02-09 | 0.028133 | -3.5708
2029-02-10 | 0.03541 | -3.3407
2029-02-11 | 0.053084 | -2.9359
2029-02-12 | 0.01504 | -4.1971
2029-02-13 | 0.27788 | -1.2806
2029-02-14 | 0.068836 | -2.676
2029-02-15 | 0.050707 | -2.9817
2029-02-16 | 0.039234 | -3.2382
2029-02-17 | 0.027564 | -3.5913
2029-02-18 | 0.031461 | -3.459
2029-02-19 | 0.089238 | -2.4164
2029-02-20 | 0.045394 | -3.0924
2029-02-21 | 0.38099 | -0.96498
2029-02-22 | 0.044562 | -3.1109
2029-02-23 | 0.026156 | -3.6437
2029-02-24 | 0.013382 | -4.3138
2029-02-25 | 0.054122 | -2.9165
2029-02-26 | 0.030579 | -3.4874
2029-02-27 | 0.14998 | -1.8972
2029-02-28 | 0.095749 | -2.346
2029-03-01 | 0.13431 | -2.0076
2029-03-02 | 0.0028134 | -5.8734
2029-03-03 | 0.011364 | -4.4773
2029-03-04 | 0.021537 | -3.838
2029-03-05 | 0.010484 | -4.5579
2029-03-06 | 0.0020716 | -6.1794
2029-03-07 | 0.0028991 | -5.8434
2029-03-08 | 0.010689 | -4.5385
2029-03-09 | 0.0042326 | -5.4649
2029-03-10 | 0.40477 | -0.90443
2029-03-11 | 0.090397 | -2.4035
2029-03-12 | 0.082885 | -2.4903
2029-03-13 | 0.022067 | -3.8137
2029-03-14 | 0.0026968 | -5.9157
2029-03-15 | 0.063228 | -2.761
2029-03-16 | 0.0010237 | -6.8844
2029-03-17 | 0.00031956 | -8.0486
2029-03-18 | 0.019247 | -3.9504
2029-03-19 | 0.01193 | -4.4287
2029-03-20 | 0.15039 | -1.8945
2029-03-21 | 0.10271 | -2.2758
2029-03-22 | 0.0092306 | -4.6852
2029-03-23 | 0.0014696 | -6.5228
2029-03-24 | 0.018619 | -3.9836
2029-03-25 | 0.0004605 | -7.6832
2029-03-26 | 0.0022527 | -6.0956
2029-03-27 | 0.0032071 | -5.7424
2029-03-28 | 0.010819 | -4.5265
2029-03-29 | 0.0006385 | -7.3564
2029-03-30 | 0.072865 | -2.6192
2029-03-31 | 5.1639e-05 | -9.8712
2029-04-01 | 0.0071709 | -4.9377
2029-04-02 | 0.11591 | -2.1549
2029-04-03 | 0.028162 | -3.5698
2029-04-04 | 0.24565 | -1.4039
2029-04-05 | 0.4186 | -0.87083
2029-04-06 | 0.20339 | -1.5926
2029-04-07 | 0.1561 | -1.8572
2029-04-08 | 0.12062 | -2.1151
2029-04-09 | 0.33112 | -1.1053
2029-04-10 | 0.19955 | -1.6117
2029-04-11 | 0.080301 | -2.522
2029-04-12 | 0.038576 | -3.2551
2029-04-13 | 0.28604 | -1.2516
2029-04-14 | 0.1112 | -2.1965
2029-04-15 | 0.13887 | -1.9743
2029-04-16 | 0.089667 | -2.4117
2029-04-17 | 0.15465 | -1.8666
2029-04-18 | 0.22227 | -1.5038
2029-04-19 | 0.01249 | -4.3829
2029-04-20 | 0.11952 | -2.1243
2029-04-21 | 0.019005 | -3.9631
2029-04-22 | 0.02929 | -3.5305
2029-04-23 | 0.24684 | -1.399
2029-04-24 | 0.0871 | -2.4407
2029-04-25 | 0.026501 | -3.6306
2029-04-26 | 0.036755 | -3.3035
2029-04-27 | 0.085361 | -2.4609
2029-04-28 | 0.12482 | -2.0809
2029-04-29 | 0.047664 | -3.0436
2029-04-30 | 0.13774 | -1.9824
2029-05-01 | 0.10113 | -2.2913
2029-05-02 | 0.10244 | -2.2785
2029-05-03 | 0.17461 | -1.7452
2029-05-04 | 0.14516 | -1.9299
2029-05-05 | 0.050972 | -2.9765
2029-05-06 | 0.018479 | -3.9911
2029-05-07 | 0.088479 | -2.425
2029-05-08 | 0.21882 | -1.5195
2029-05-09 | 0.17158 | -1.7627
2029-05-10 | 0.1863 | -1.6804
2029-05-11 | 0.46451 | -0.76678
2029-05-12 | 0.047687 | -3.0431
2029-05-13 | 0.029158 | -3.535
2029-05-14 | 0.041748 | -3.1761
2029-05-15 | 0.1295 | -2.0441
2029-05-16 | 0.25389 | -1.3708
2029-05-17 | 0.25523 | -1.3656
2029-05-18 | 0.017682 | -4.0352
2029-05-19 | 0.12115 | -2.1107
2029-05-20 | 0.092463 | -2.3809
2029-05-21 | 0.28075 | -1.2703
2029-05-22 | 0.21627 | -1.5312
2029-05-23 | 0.21469 | -1.5386
2029-05-24 | 0.18619 | -1.681
2029-05-25 | 0.15491 | -1.8649
2029-05-26 | 0.075244 | -2.587
2029-05-27 | 0.15433 | -1.8686
2029-05-28 | 0.35757 | -1.0284
2029-05-29 | 0.082183 | -2.4988
2029-05-30 | 0.050645 | -2.9829
2029-05-31 | 0.06358 | -2.7555
2029-06-01 | 5.8929e-05 | -9.7392
2029-06-02 | 0.0022253 | -6.1078
2029-06-03 | 0.0005899 | -7.4356
2029-06-04 | 0.0021986 | -6.1199
2029-06-05 | 0.00025577 | -8.2712
2029-06-06 | 0.00043863 | -7.7319
2029-06-07 | 0.00047994 | -7.6418
2029-06-08 | 0.053755 | -2.9233
2029-06-09 | 0.0067064 | -5.0047
2029-06-10 | 0.00018651 | -8.587
2029-06-11 | 0.0028134 | -5.8734
2029-06-12 | 0.0009696 | -6.9386
2029-06-13 | 0.015618 | -4.1594
2029-06-14 | 0.01649 | -4.105
2029-06-15 | 0.00094166 | -6.9679
2029-06-16 | 0.0030151 | -5.8041
2029-06-17 | 0.00019866 | -8.5239
2029-06-18 | 0.0052204 | -5.2552
2029-06-19 | 0.0020941 | -6.1686
2029-06-20 | 0.0091353 | -4.6956
2029-06-21 | 0.050217 | -2.9914
2029-06-22 | 0.00030315 | -8.1013
2029-06-23 | 0.0076213 | -4.8768
2029-06-24 | 0.0015437 | -6.4736
2029-06-25 | 0.054408 | -2.9112
2029-06-26 | 0.00076365 | -7.1774
2029-06-27 | 0.00038456 | -7.8634
2029-06-28 | 0.0011318 | -6.7839
2029-06-29 | 0.00099937 | -6.9084
2029-06-30 | 0.01362 | -4.2962
0
Formulas:
Date = [Date, row above]+1
=
𝑇_𝑀𝐸𝐷=𝑒^((𝛼+2.5𝛽))
Source: DNSP STPIS APPENDIX D
Collect values of daily unplanned SAIDI over five sequential regulatory years ending on the last day of the last complete reporting period. These values should reflect any exclusions permitted under clause 3.3 and 5.4 of the scheme.
Only those days where an unplanned SAIDI/day value > 0 are considered.
Calculate the natural logarithm of each daily unplanned SAIDI value in the data set.
4(b)
(1) Find α, the average of the logarithms of the data set
(2) Find β, the standard deviation of the logarithms of the set.
(3) The boundary for an extreme event or major event day () is then calculated as follows: =
Source: DNSP STPIS APPENDIX D
Collect values of daily unplanned SAIDI over five sequential regulatory years ending on the last day of the last complete reporting period. These values should reflect any exclusions permitted under clause 3.3 and 5.4 of the scheme.
Only those days where an unplanned SAIDI/day value > 0 are considered.
Calculate the natural logarithm of each daily unplanned SAIDI value in the data set.
4(b)
(1) Find α, the average of the logarithms of the data set
(2) Find β, the standard deviation of the logarithms of the set.
(3) The boundary for an extreme event or major event day (𝑇_𝑀𝐸𝐷) is then calculated as follows: 𝑇_𝑀𝐸𝐷=𝑒^((𝛼+2.5𝛽))