## Cover
CitiPower
Revised regulatory proposal 2026-31
Innovation allowance cost-benefit analysis
| Model number: | 3.8.01
2025-12-01
4

## Summary
CitiPower
Innovation allowance
Summary ($ June 2026)
| # | Project | Capex | Opex | Benefits | Net benefit
| 1 | Supporting hard to abate industries in their electrification transition | 125000 | 350000 | 750000 | 275000
| 2 | Behavioural price signals trial | 500000 | 150000 | 772902.3501 | 122902.3501
| 3 | EV load product trial | 50000 | 150000 | 487418.6251 | 287418.6251
| 4 | Supporting sensitive customers with new technologies | 200000 | 100000 | 525000 | 225000
| 5 | Portable protection systems | 400000 | 100000 | 699205.77 | 199205.77
| 6 | Smart cable guard | 200000 | 100000 | 580975.0326 | 280975.0326
| 7 | Community energy fund | 620800 | 1000003.44 | 3179433.236 | 1558629.796
| 8 | VPP integration with hot water load control | 469538 | 54200 | 983754.1967 | 460016.1967
| 9 | Inverter-based load modelling | 399940 | 49500 | 745819.488 | 296379.488
|  | Total | 2965278 | 2053703.44 | 8724508.6986 | 3705527.2586
|  | Total less 10% self-funding | 2668750.2 | 1848333.096

## Projects
CitiPower
Innovation allowance
Detailed project analysis
[6 empty] | Cost build up | Benefits assumptions | Pathway to BAU
Supporting hard to abate industries in their electrification transition
Project cost | Capex | Opex |  |  | Total costs | To deliver this initiative we have assumed that we would engage with customers that are in hard to abate industries. the capital cost for the program is allowance for local network upgrades required to support additional capacity at the connection point. The operational cost is for funding to support customers with non-network solutions, advice on energy consumption management to improve renewable energy consumption and or reduce demand from gas. In additon, site operational and engament costs have been included. | The benefits calculation are based on the estimated improvement on customer bills ($2,000) and the value of CO2 emissions reductions. The energy reduction was based on a assessment of a typical energy profile for hard to abate customers and assumed a reduction of 15% from an estimated 10,000 tonnes of CO2 emissions. This total emissions reduction was then mulitplied with the VER to estimate benefit. | If the project is successful, we can expect higher levels of engagement and support in regional and rural areas through their consumption levels via fully electrified solutions and customer engagement activities. Assessment of carbon emissions reduction and impact to the community will also be considered at the completion of trial. To determine whether to scale project an assement of the benefits assumptions will be completed, in addition to working with customers to determine their value in the process. If the benefits meet or exceed expectations the business would establish a program of works and continue to roll out the program to additional customers.
| 125000 | 350000 |  |  | 475000
Project benefits |  |  |  |  | Total benefits
| Cost reduction |  | customers
Customer energy affordability improvements - industrial customers | 2000 |  | 6 |  | 12000
| $/tonne | CO2 emissions reduction | customers
Emission reductions (VER 2026-27 average) | 82 | 1500 | 6 |  | 738000
Total benefits |  |  |  |  | 750000
Net benefit |  |  |  |  | 275000
Behavioural price signals trial
Project cost | Capex | Opex |  |  | Total costs | The capital cost for the behavioural price signals is the build up of an IT platform that manages a set of customers on a dynamic tariff, this includes inputs from the local network and wholesale market signals. The operational cost is associated with customer engagment and support activities as part of the trial. | The benefits of the behavioural price signals trial are calculated based on 1200 residential customers and 4 large customers participating in the trial and improving their energy bill impact by $30. In addition, the customer inconvenience factor that represents the value of deferred energy as a proportion of unserved energy with a consumption of 7kW over two hours. | The trial success will be measure by the customer experience in participation of the trial, the customer savings experienced by the customer. In addition, the change in customer behaviours as a response to market signals will also be considered as part of expansion of the trial an/or roll out to BAU.
| 500000 | 150000 |  |  | 650000
Project benefits |  |  |  |  | Total benefits
| residential customer saving | customers
Energy affordability improvements | 30 | 1200 |  |  | 36000
| large customer saving | customers
| 50000 | 4 |  |  | 200000
| customer value | customers | hours | kW
Customer inconvenience factor: EV load flexibility as a proportion of VCR | 31.9585 | 1200 | 2 | 7 | 536902.3501
Customer inconvenience factor represents the value of deferred energy, as a proportion of unserved energy (where VCR represents unserved energy).
Total benefits |  |  |  |  | 772902.3501
Net benefit |  |  |  |  | 122902.3501
EV load product tool
Project cost | Capex | Opex |  |  | Total costs | The capital cost is associated with the development of an IT platform that has the capability to communicate with EV chargers and our internal systems for scheduling purposes. The operational cost is associated with engagement with customers and vendors that are willing to support the EV load trial. | The benefits are assessed on the customer incovenience factor, where customer will not have to worry about aligning charging behaviour to be incentivised. In addition it is expected that customers will experience bill improvements with charging behaviours adjusted to periods of low demand | To roll the trial out to BAU, we would need to engage customers on how their perceived benefits and responsiveness to EV load control . In addition, we will also consider impacts on customer trust. If the trial delivers positive customer outcomes and tangible customer benefits we would review capability to expand the trial.
| 50000 | 150000 |  |  | 200000
Project benefits |  |  |  |  | Total benefits
|  | customer saving | customers
Energy affordability improvements |  | 200 | 200 |  | 40000
EV load optimisation | hours | customer value | customers | kW
Customer inconvenience factor: EV load flexibility as a proportion of VCR | 10 | 31.9585 | 200 | 7 | 447418.6251
Total benefits |  |  |  |  | 487418.6251
Net benefit |  |  |  |  | 287418.6251
Supporting sensitive customers with new technologies
Project cost | Capex | Opex |  |  | Total costs | The capital cost is associated with the procurement of new equipment to be trialled to identify and control power quality issues within close proximity to customers who have sensitve processes within their business. The operation cost is associated with engagement activities and on-going management of equipment. | The benefits stem from the customer savings associated with not having sensitive machinery and technology impacted by momentary and sustained outages. As part of our economic growth engagement and again in our test and validate sessions with commercial and industrial customers, we received feedback from customers that each brownout incident can cost businesses in the vicinity of $20,000 - $30,000. For one customer brownouts had occured 6 times in the past year with a total of 119 incidents. We have assumed 70% of this estimated cost for our benefits and assumed incidents occur 3 times per year. | We would look at performance data and outage events experienced by the customer and determine whether the new technology had the modelled impact in improving performance. We would also engage with the customer to determine their experience and perception of improvement from the installation of new devices.
| 200000 | 100000 |  |  | 300000
Project benefits |  |  |  |  | Total benefits
| Business impact | incidents per year | customers
Customer savings from avoided supply interruptions | 17500 | 3 | 10 |  | 525000
Total benefits |  |  |  |  | 525000
Net benefit |  |  |  |  | 225000
Portable protection systems
Project cost | Capex | Opex |  |  | Total costs | The capital cost build up for the portable protection system is the protective equipment and associated infrastructure required to build the system. Operation cost is for the on-going maintenance and transportation costs to where it is required. | The customer value of improving network reilience was used to assess the benefits. This was based on 450 residential customers avoiding an outage time for 5 hours with a typical consumption of 4kW. | The portable protection system will need to demonstrate that it has the capability to prevent customer outages in times of severe weather. Criteria for assessment could include that the system operated as intended by design, customer perceptions and experience of the system and its viability.
| 400000 | 100000 |  |  | 500000
Project benefits |  |  |  |  | Total benefits
| hours | customer value | customers | kW
customer value per kWh of network resilience improvement | 5 | 77.6895 | 450 | 4 | 699205.77
Total benefits |  |  |  |  | 699205.77
Net benefit |  |  |  |  | 199205.77
Smart cable guard
Project cost | Capex | Opex |  |  | Total costs | The capital cost build up for smart cable guards includes the procurement of technology, and associated infrastructure required to install the device in addition to communication equipment. The operational cost is associated with the ongoing maintenance and field inspections. | Benefits assumptions include the smart cable guard to detect and prevent an outage for customers on a line. It is assumed that there are 800 impacted customers on a line, that would normally experience a two hour outage (the time it takes for the field crew to attend site and restore assets and customers) if the fault was not detected. | The smart cable guard would need to be tested through different scenarios and network locations to determine its capability of detecting faults. In addition the fault detected would need to interrogated to determine whether it was an actual fault. Consideration would be give to this technology to further scale the trial before rolling out to BAU.
| 200000 | 100000 |  |  | 300000
Project benefits |  |  |  |  | Total benefits
| hours | customer value | customers | kW
customer value per kWh of improving worst-served areas | 2 | 161.382 | 450 | 4 | 580975.0326
Total benefits |  |  |  |  | 580975.0326
Net benefit |  |  |  |  | 280975.0326
Community energy fund
Project cost | Capex | Opex |  |  | Total costs | The capital cost is associated with the network costs associated with the community innovation project. The operational cost is associated the awarding of funds, excluding network associated costs, to successful community groups. | The benefits are assessed based on improving affordability for all customers impacted by the program. It is assumed that there will be 8 projects across the fund lifespan, with 200 customers assisted per project. Each project will provide energy affordability improvements of $50 per customer. 50% of the projects will involve a local storage element, and 10% of the projects will assist worst served areas. | The criteria for success for the fund is that the customer impact and affordability savings per project are reached or exceeded, and a joint assessment by the innovation allowance governance committee and relevant community determines the project has created value for the community.
| 620800 | 1000003.44 |  |  | 1620803.44
Project benefits |  |  |  |  | Total benefits
| residential customer saving |  | customer
Energy affordability improvements | 50 |  | 1600 |  | 80000
| customer value | hours | customer | kW
Customer value per kWh of storage capacity in local community: | 64.5809 | 10 | 800 | 4 | 2066588.7335
Customer value per kWh of improving worst-served areas (10% projects) | customer value | hours | customer | kW
| 161.382 | 10 | 160 | 4 | 1032844.5025
assumptions | years fund operating | #projects | funding per project | customers assisted per project | 3179433.236
| 5 | 8 | 193225.43 | 200 | 1558629.796
VPP integration with hot water load control
Project cost | Capex | Opex |  |  | Total costs | The capital component of the cost is associated with IT costs to develop necessary APIs and interfaces and to build analytical tools monitor and assess performance. The operating cost is associated with any licensing and related costs. | The benefits assumptions are based on customer energy savings through optimisation of energy use of customer appliances. The customer inconvenience factor is also applied as customers will be able to align load behaviors with market signals, avoiding the need to defer energy consumption or worry about charging during peak periods | The trial success criteria to be considered as part of this trial include whether the customer receives an improvement in bill impact. in addition, the assessment of customer experience and whether their was inconvenience experienced as part of optimisation. Consideration would be given to the cost, scalability and uptake of the trial before rolling out to BAU.
| 469538 | 54200 |  |  | 523738
Project benefits |  |  |  |  | Total benefits
|  | Savings | customers
Energy affordability improvements |  | 50 | 500 |  | 25000
Improved reliability | hours | customer value | customer | frequency (days)
Customer inconvenience factor: EV load flexibility equivalent as a proportion of VCR | 2 | 31.9585 | 500 | 30 | 958754.1967
Total benefits |  |  |  |  | 983754.1967
Net benefit |  |  |  |  | 460016.1967
Inverter-based load modelling
Project cost | Capex | Opex |  |  | Total costs | The capital cost includes purchase of a controlled load bank, inverters with grid forming and grid following capabilities and installation of high speed monitoring devices. The operational cost includes software licensing and any specialist grid modelling studies required. | Benefits assumptions rely on at least 800 customers deriving a benefit from improved network resilience. | This trial would be highly relevant in the rapidly growing industry development occuring in Victoria and nationally. Access to internet trunks and 66kV networks means this project is highly relevant for our network. Insights from seeing the response of inverter based loads may reveal further pathways for enhancing system security and/or tapping into a new category of flexible resource on distribution networks.
| 399940 | 49500 |  |  | 449440
Project benefits |  |  |  |  | Total benefits
| customer value | hours | customer | kW
Customer value per kWh of network resilience improvement | 77.6895 | 3 | 800 | 4 | 745819.488
745819.488
296379.488

## Customer values
CitiPower
Innovation allowance
Customer values
Development of our customer values
In 2021, we completed a significant body of work with our customers to develop an estimate of the value they place on various services, such as network resilience and enabling solar exports. These values were designed to be additive to other value measures, such as the AER’s VCR. We were the first network business in Australia to incorporate such values into our internal investment assessment approach. That is, these values are now contributing to the prioritisation of our capital program to help investments align with our customers' expectations. At the recommendation of the Customer Advisory Panel (CAP), these values were re-tested and updated in 2023 to ensure they remain reflective of our customer’s views. This was undertaken given the economic environment had changed materially, and there was a question of whether customer’s preferences had evolved as well. Values produced during this re-testing were very similar to the initial values produced in 2021, demonstrating that customer’s continued to value these services.
| Residential and SMB aggregated | CitiPower
Residential and SMB
| Customer value per kWh of increased solar export: | 4.4983
| Customer value per kWh of storage capacity in local community: | 64.5809
| Customer value per kWh of improving worst-served areas: | 161.382
| Customer value per kWh of network resilience improvement | 77.6895
| Customer value per hour of time | 35.0206
| Customer inconvenience factor: EV load flexibility as a proportion of VCR | 64.92%