## Cover
CitiPower
Revised Proposal 2026-31
Reserve feeder
Model number: | 6.09
2025-12-01

## CitiPower
CitiPower
| 2021-22 | 2022-23 | 2023-24 | 2024-25 | Average | Source
$ real 2024
| $/kVA | $/kVA | $/kVA | $/kVA | $/kVA
LV | 6.2474 | 8.6559 | 9.0733 | 4.3492 | 7.0815
HV | 2.8496 | 3.0787 | 4.3672 | 1.8743 | 3.0424
SubT | 0.46818 | 0.8689 | 0.64089 | 0.32872 | 0.57667
$ nominal
| $/kVA | $/kVA | $/kVA | $/kVA
LV | 5.5979 | 8.0272 | 9.0733 | 4.5254
HV | 2.5533 | 2.8551 | 4.3672 | 1.9503
SubT | 0.4195 | 0.80579 | 0.64089 | 0.34204
Overhead rate | 22.96% | 32.05% | 41.13% | 26.4% |  | CAT RIN, 2.1 Expenditure summary, network overheads / direct maintenance
Demand
| MVA | MVA | MVA | MVA
LV | 1186.0975 | 1214.2742 | 1195.4374 | 1182.9986 |  | Based on LV proportion of consumption
HV | 1240 | 1291 | 1279 | 1336 |  | EB RIN, 3.4 Operational data, sum of zone substation non-coincident demand
SubT | 1384 | 1416 | 1400 | 1380 |  | EB RIN, 3.4 Operational data, sum of terminal station non-coincident demand
Energy supplies
| GWh | GWh | GWh | GWh
Residential | 1253 | 1244 | 1217.76 | 1262 |  | EB RIN, 3.4 Operational data
Business not on demand tariff | 585 | 650 | 673.14 | 698 |  | EB RIN, 3.4 Operational data
Business LV on demand tariff | 2663 | 2753 | 2770.17 | 2820 |  | EB RIN, 3.4 Operational data
High voltage | 751 | 772 | 797.6 | 796 |  | EB RIN, 3.4 Operational data
Total | 5252 | 5419 | 5458.67 | 5576
Feeder maintenance cost
| $m | $m | $m | $m
LV | 5.3996 | 7.3817 | 7.6857 | 4.2354 |  | Allocated based on spans cut
HV | 2.5748 | 2.7914 | 3.9579 | 2.0613 |  | Allocated based on spans cut
SubT | 0.47216 | 0.86409 | 0.63578 | 0.37343 |  | Allocated based on spans cut
Total | 8.4465 | 11.0373 | 12.2794 | 6.6702
Total spans cut
| Number | Number | Number | Number
LV | 5025.282 | 2617.6868 | 3542 | 6485.0055 |  | EB RIN, 3.7 Operational environment (underlying work paper)
HV | 2396.29 | 989.8912 | 1824 | 3156.2162 |  | EB RIN, 3.7 Operational environment (underlying work paper)
SubT | 439.4281 | 306.422 | 293 | 571.7783 |  | EB RIN, 3.7 Operational environment (underlying work paper)
Total | 7861 | 3914 | 5659 | 10213
Pole and line maintenance expenditure
| $m | $m | $m | $m
Vegetation management | 2.9703 | 6.8549 | 2.5624 | 2.4269 |  | CAT RIN, 2.7 Vegetation management
Pole top, overhead & service lines | 2.3281 | 0.53713 | 5.6238 | 0.337 |  | CAT RIN, 2.8 maintenance
Pole inspection and treatment | 2.182 | 2.5137 | 3.1542 | 2.8128 |  | CAT RIN, 2.8 maintenance
Overhead asset inspection | 0.14661 | 0.088 | 0.13297 | 0.25811 |  | CAT RIN, 2.8 maintenance
Network underground cable | 0.81951 | 1.0436 | 0.80604 | 0.8353 |  | CAT RIN, 2.8 maintenance
Total | 8.4465 | 11.0373 | 12.2794 | 6.6702
Inflation (lagged) |  | 3.498% | 7.832% | 4.052%
Conversion to $ real 2024 | 1.116 | 1.0783 | 1 | 0.96106