## Home
|  | Cost Benefit Analysis |  |  |  |  | Overall check: | Ok
|  | Home | Home | Home | Home | Home
Copyright Jemena Limited. Jemena is not liable for any loss caused by reliance on this document.
Project Details
| Project Name: |  | Switchgear Replacement
| Project No: |  | [Please insert project number here]
| Start Date: |  | 2024-01-01
Table Of Contents & Checks
| Worksheet |  | Ref | Check | Description
| Home |  | 1 | Ok | Outlines project details, model checks and model structure
| Input¦Costs |  | 2 | Ok | Inputs project cost and benefit information
| Input¦Benefits |  | 3 | Ok | Outputs the summary of costs and benefits of each option
| Output¦Tables |  | 4 | Ok | Outputs the options analysis for the business case
Model Key Legend
| Model key |  |  | Description
| Input |  | ---------> | Input assumption (hardcode)
| Internal link |  | ---------> | Internal link (different sheet within the model)
| Drop-down |  | ---------> | Choose from a drop-down list
| Calculation |  | ---------> | Calculation (general formula driven)
Version control
| Version | Person |  | Date | Sheet | Comment
| v1.0 | George Tziokas |  | 2025-11-18 | All | Initial model development
v2.0
v3.0
v4.0
v4.1
End

## Input¦Costs
|  | Cost Benefit Analysis | [5 empty] | Section Check: | Ok |  | Overall Check: | Ok |  | Legend: | Input | Internal | Select | Calculation
Input¦Costs
[8 empty] | Year Display | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | EDPR Total
|  |  | Option | Unit | Basis | Asset |  | Start Year | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Copyright Jemena Limited. All rights reserved. Jemena is not liable for any loss caused by reliance on this document.
Input ¦ Options
|  | Option | Option | Unit | Basis |  | Short description | Detailed Description / Objectives | 2028-29 2028: Benefits Delivered
|  | Option 1 - Do nothing | Option 1 | n/a | n/a |  | Do nothing | Do not undertake switch replacement | 2028-29 2028: n/a
|  | Option 2 - Replacement based on historical trend | Option 2 | n/a | n/a |  | Replacement based on historical trend | Replacement levels to maintain network performance and reliability and meet compliance obligations | 2028-29 2028: Replacement levels to maintain network performance and reliability and meet compliance obligations
|  | Option 3 - Option 2 plus additional 20% opportunistic replacement | Option 3 | n/a | n/a |  | Option 2 plus additional 20% opportunistic replacement | Replacement levels to increase network performance and reliability | 2028-29 2028: Replacement levels to increase network performance and reliability
Summary
Forecast Capex
|  | Forecast Capex | Option | Unit | Basis | Code | Source |  | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | EDPR Total
|  | Option 1 - Do nothing | Option 1 | Volume | n/a | n/a | Calculated |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Option 2 - Replacement based on historical trend | Option 2 | Volume | n/a | n/a | Capex model submitted to the AER |  | n/a | n/a | 1779640.6399 | 2256301.1211 | 2255791.9373 | 2256513.8474 | 2256931.3632 | 10805178.9089
|  | Option 3 - Option 2 plus additional 20% opportunistic replacement | Option 3 | Volume | n/a | n/a | Capex model submitted to the AER |  | n/a | n/a | 2135568.7679 | 2707561.3453 | 2706950.3247 | 2707816.6169 | 2708317.6358 | 12966214.6907
Option 2 - Replacement based on historical trend
Unit Costs
|  | Unit Costs | Option | Unit | Basis | MATT code |  |  |  |  | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31
|  | ACR Replacement | Option 2 | Dollars | Real 2024 | RHH |  |  |  |  | 34610.99 | 34610.99 | 34610.99 | 34610.99 | 34610.99
|  | Fuse Unit Replacement | Option 2 | Dollars | Real 2024 | RXF |  |  |  |  | 2574.5254 | 2569.3196 | 2566.2452 | 2571.7926 | 2573.9232
|  | Gas Switch Replacement | Option 2 | Dollars | Real 2024 | RHG |  |  |  |  | 28318.4408 | 27343.2 | 27343.2 | 27343.2 | 27343.2
|  | HV Isolator Replacement (Single) | Option 2 | Dollars | Real 2024 | RHJ |  |  |  |  | 2556.03 | 2556.03 | 2556.03 | 2556.03 | 2556.03
|  | HV Isolators Replacement | Option 2 | Dollars | Real 2024 | RHH |  |  |  |  | 6985.07 | 6985.07 | 6985.07 | 6985.07 | 6985.07
|  | Indoor/Kiosk Switch Repl | Option 2 | Dollars | Real 2024 | RHE |  |  |  |  | 106253.53 | 106253.53 | 106253.53 | 106253.53 | 106253.53
|  | LV Isolator Replacement | Option 2 | Dollars | Real 2024 | RHL |  |  |  |  | 1995.9638 | 1993.3234 | 2000.909 | 1994.0132 | 1995.7337
|  | LV Switchgear Replacement | Option 2 | Dollars | Real 2024 | RHF |  |  |  |  | 16074.38 | 16074.38 | 16074.38 | 16074.38 | 16074.38
|  | [Spare] | Option 2 | Dollars | Real 2024 | [Spare] |  |  |  |  | 0 | 0 | 0 | 0 | 0
|  | [Spare] | Option 2 | Dollars | Real 2024 | [Spare] |  |  |  |  | 0 | 0 | 0 | 0 | 0
Historical Volumes
|  | Historical Volumes | Option | Unit | Basis | Code | Source | Unique code | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | EDPR Total
|  | ACR Replacement | Option 2 | Volume | n/a | RHH | Capex model submitted to the AER | A469 | 0 | 0 | 6 | 6 | 6 | 6 | 6 | 30
|  | Fuse Unit Replacement | Option 2 | Volume | n/a | RXF | Capex model submitted to the AER | A217 | 28 | 27 | 28 | 28 | 28 | 28 | 28 | 140
|  | Gas Switch Replacement | Option 2 | Volume | n/a | RHG | Capex model submitted to the AER | A144 | 8 | 0 | 12 | 26 | 26 | 26 | 26 | 116
|  | HV Isolator Replacement (Single) | Option 2 | Volume | n/a | RHJ | Capex model submitted to the AER | A900 | 0 | 0 | 10 | 10 | 10 | 10 | 10 | 50
|  | HV Isolators Replacement | Option 2 | Volume | n/a | RHH | Capex model submitted to the AER | A147 | 43.3386 | 58.724 | 68 | 68 | 68 | 68 | 68 | 340
|  | Indoor/Kiosk Switch Repl | Option 2 | Volume | n/a | RHE | Capex model submitted to the AER | A143 | 1 | 0 | 2 | 3 | 3 | 3 | 3 | 14
|  | LV Isolator Replacement | Option 2 | Volume | n/a | RHL | Capex model submitted to the AER | A149 | 178 | 205 | 208 | 208 | 207 | 208 | 208 | 1039
|  | LV Switchgear Replacement | Option 2 | Volume | n/a | RHF | Capex model submitted to the AER | A142 | 1 | 1.9908 | 1.9817 | 1.9817 | 1.9817 | 1.9817 | 1.9817 | 9.9083
|  | [Spare] | Option 2 | Volume | n/a | [Spare] | Capex model submitted to the AER | A285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | [Spare] | Option 2 | Volume | n/a | [Spare] | Capex model submitted to the AER | [Spare] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total | Option 2 | Volume | n/a | n/a | Calculated |  | 259.3386 | 292.7148 | 335.9817 | 350.9817 | 349.9817 | 350.9817 | 350.9817 | 1738.9083
Replacement Expenditure
|  | Replacement Expenditure | Option | Unit | Basis | Code | Source |  | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | EDPR Total
|  | [Spare] | Option 2 | Dollars | Real 2024 | n/a | Capex model submitted to the AER |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Option 3 - Option 2 plus additional 20% opportunistic replacement
Historical Volumes
|  | Option 3 Adjustment Factor | Option | Unit | Basis | Code | Source
|  | Option 3 Adjustment Factor | Option 3 | % | n/a | n/a | Source | 20%
|  | Volumes | Option | Unit | Basis | Code | Source | Unique code | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | EDPR Total
|  | ACR Replacement | Option 3 | Volume | n/a | n/a | Capex model submitted to the AER | A469 | 0 | 0 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 36
|  | Fuse Unit Replacement | Option 3 | Volume | n/a | n/a | Capex model submitted to the AER | A217 | 33.6 | 32.4 | 33.6 | 33.6 | 33.6 | 33.6 | 33.6 | 168
|  | Gas Switch Replacement | Option 3 | Volume | n/a | n/a | Capex model submitted to the AER | A144 | 9.6 | 0 | 14.4 | 31.2 | 31.2 | 31.2 | 31.2 | 139.2
|  | HV Isolator Replacement (Single) | Option 3 | Volume | n/a | n/a | Capex model submitted to the AER | A900 | 0 | 0 | 12 | 12 | 12 | 12 | 12 | 60
|  | HV Isolators Replacement | Option 3 | Volume | n/a | n/a | Capex model submitted to the AER | A147 | 52.0063 | 70.4688 | 81.6 | 81.6 | 81.6 | 81.6 | 81.6 | 408
|  | Indoor/Kiosk Switch Repl | Option 3 | Volume | n/a | n/a | Capex model submitted to the AER | A143 | 1.2 | 0 | 2.4 | 3.6 | 3.6 | 3.6 | 3.6 | 16.8
|  | LV Isolator Replacement | Option 3 | Volume | n/a | n/a | Capex model submitted to the AER | A149 | 213.6 | 246 | 249.6 | 249.6 | 248.4 | 249.6 | 249.6 | 1246.8
|  | LV Switchgear Replacement | Option 3 | Volume | n/a | n/a | Capex model submitted to the AER | A142 | 1.2 | 2.389 | 2.378 | 2.378 | 2.378 | 2.378 | 2.378 | 11.89
|  | [Spare] | Option 3 | Volume | n/a | n/a | Capex model submitted to the AER | A285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | [Spare] | Option 3 | Volume | n/a | n/a | Capex model submitted to the AER | [Spare] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total | Option 3 | Volume | n/a | n/a | Calculated |  | 311.2063 | 351.2578 | 403.178 | 421.178 | 419.978 | 421.178 | 421.178 | 2086.69
Replacement Expenditure
|  | Replacement Expenditure | Option | Unit | Basis | Code | Source |  | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | EDPR Total
|  | [Spare] | Option 2 | Dollars | Real 2024 | n/a | Capex model submitted to the AER |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End

## Input¦Benefits
|  |  | Cost Benefit Analysis | [5 empty] | Section Check: | Ok |  | Overall Check: | Ok |  | Legend: | Input | Internal | Select | Calculation
Input¦Benefits
[9 empty] | Year Display | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | EDPR Total
|  |  |  | Option | Unit | Basis | Asset |  | Start Year | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Copyright Jemena Limited. All rights reserved. Jemena is not liable for any loss caused by reliance on this document.
Benefits
Option 2 - Replacement based on historical trend
|  |  | Isolator Replacement | Option | Unit | Basis | Source |  | LV | 2024-25 2024: HV; 2026-27 2026: There are approximately 431 HV air break switches, 2,038 HV disconnectors, and 1,317 gas switches installed on the JEN. There are 232 high voltage (HV) feeders on JEN and each feeder supplies an average of 1,613 customers.
Each feeder has an average of 2 air break switches, 9 sets of isolators and 6 gas switches; therefore, a failure to operate can adversely affect the operational efficiency and flexibility of the network.
|  |  | Population | Option 2 | # | n/a | There are an estimated 13,000 LV three phase switching devices on the LV overhead network |  | 13000 | 2024-25 2024: 3800
|  |  | Failure rate | Option 2 | % | n/a | Source |  | 1.4% | 2024-25 2024: 3.28%
|  |  | Annual failures | Option 2 | # | n/a | Calculated |  | 182 | 2024-25 2024: 124.64
|  |  | Customers (Both LV Circuits) | Option 2 | # | n/a | Source |  | 200 | 2024-25 2024: 823; 2026-27 2026: 50% of HV Customers affected
|  |  | Average Duration | Option 2 | Hours | n/a | Source |  | 1 | 2024-25 2024: 2
|  |  | Total Duration (Hours) | Option 2 | Hours | n/a | Source |  | 200 | 2024-25 2024: 1646
|  |  | % Split between Categories | Option | Unit | Basis | Source |  | % Split
|  |  | Residential | Option 2 | % | n/a | Source |  | 80%
|  |  | Commercial | Option 2 | % | n/a | Source |  | 15%
|  |  | Industrial | Option 2 | % | n/a | Source |  | 5%
0 |  |  | Total % | Option 2 | % | n/a | Source |  | 100%
|  |  | kW per Hour | Option | Unit | Basis | Source |  | kWh p.a. | 2024-25 2024: Hours per Year; 2025-26 2025: kW per Hour
|  |  | Residential | Option 2 | Mixed | n/a | Source |  | 6100 | 2024-25 2024: 8760; 2025-26 2025: 0.69635
|  |  | Commercial | Option 2 | Mixed | n/a | Source |  | 14600 | 2024-25 2024: 8760; 2025-26 2025: 1.6667
|  |  | Industrial | Option 2 | Mixed | n/a | Source |  | 146000 | 2024-25 2024: 8760; 2025-26 2025: 16.6667
|  |  | 2025 VCR - $/kWh | Option | Unit | Basis | Source |  | $/kWh
|  |  | Residential | Option 2 | $/kWh | Real 2024 | AER VCR Final Report |  | 54.4084 | 2025-26 2025: Check Dollar Basis
|  |  | Commercial | Option 2 | $/kWh | Real 2024 | AER VCR Final Report |  | 34.39 | 2025-26 2025: Check Dollar Basis
|  |  | Industrial | Option 2 | $/kWh | Real 2024 | AER VCR Final Report |  | 33.49 | 2025-26 2025: Check Dollar Basis
|  |  | VCR Calculation | Option | Unit | Basis | Source |  | LV kWh | 2024-25 2024: LV VCR per Outage; 2026-27 2026: HV kWh; 2027-28 2027: HV VCR per Outage
|  |  | Residential | Option 2 | Mixed | n/a | Source |  | 111.4155 | 2024-25 2024: 6061.9424; 2026-27 2026: 916.9498; 2027-28 2027: 49889.786
|  |  | Commercial | Option 2 | Mixed | n/a | Source |  | 50 | 2024-25 2024: 1719.5; 2026-27 2026: 411.5; 2027-28 2027: 14151.485
|  |  | Industrial | Option 2 | Mixed | n/a | Source |  | 166.6667 | 2024-25 2024: 5581.6667; 2026-27 2026: 1371.6667; 2027-28 2027: 45937.1167
|  |  | Total VCR per Outage | Option 2 | $ | Real 2024 | Calculated |  |  | 2024-25 2024: 13363.1091; 2027-28 2027: 109978.3877
|  |  | Estimated Fault Levels & Savings | Option | Unit | Basis | Source |  | LV | bar: 2024-25 2024
|  |  | Estimated number of LV isolator faults | Option 2 | Volume | n/a | Source |  | 182 | 2024-25 2024: 124.64
|  |  | % Averted | Option 2 | % | n/a | Source |  | 10% | 2024-25 2024: 15%
|  |  | Estimated number of faults averted pa | Option 2 | # | n/a | Calculated |  | 18.2 | 2024-25 2024: 18.696
|  |  | Cost of expected unserved energy pa | Option 2 | $ | Real 2024 | Calculated |  | 243208.5851 | 2024-25 2024: 2056155.9358
|  |  | Reg Period | Option 2 | Years | n/a | Input |  | 5 | 2024-25 2024: 5
|  |  | Cost of expected unserved energy over 5 years | Option 2 | $ | Real 2024 | Calculated |  | 1216042.9256 | 2024-25 2024: 10280779.6792
Option 3 - Option 2 plus additional 20% opportunistic replacement
|  |  | Historical Volume | Option | Unit | Basis | Source |  | Unique code | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | EDPR Total
|  |  | ACR Replacement | Option 2 | Volume | n/a | Capex model submitted to the AER |  | A469 | 0 | 0 | 6 | 6 | 6 | 6 | 6 | 30
|  |  | Fuse Unit Replacement | Option 2 | Volume | n/a | Capex model submitted to the AER |  | A217 | 28 | 27 | 28 | 28 | 28 | 28 | 28 | 140
|  |  | Gas Switch Replacement | Option 2 | Volume | n/a | Capex model submitted to the AER |  | A144 | 8 | 0 | 12 | 26 | 26 | 26 | 26 | 116
|  |  | HV Isolator Replacement (Single) | Option 2 | Volume | n/a | Capex model submitted to the AER |  | A900 | 0 | 0 | 10 | 10 | 10 | 10 | 10 | 50
|  |  | HV Isolators Replacement | Option 2 | Volume | n/a | Capex model submitted to the AER |  | A147 | 43.3386 | 58.724 | 68 | 68 | 68 | 68 | 68 | 340
|  |  | Indoor/Kiosk Switch Repl | Option 2 | Volume | n/a | Capex model submitted to the AER |  | A143 | 1 | 0 | 2 | 3 | 3 | 3 | 3 | 14
|  |  | LV Isolator Replacement | Option 2 | Volume | n/a | Capex model submitted to the AER |  | A149 | 178 | 205 | 208 | 208 | 207 | 208 | 208 | 1039
|  |  | LV Switchgear Replacement | Option 2 | Volume | n/a | Capex model submitted to the AER |  | A142 | 1 | 1.9908 | 1.9817 | 1.9817 | 1.9817 | 1.9817 | 1.9817 | 9.9083
|  |  | [Spare] | Option 2 | Volume | n/a | Capex model submitted to the AER |  | A285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | [Spare] | Option 2 | Volume | n/a | Capex model submitted to the AER |  | [Spare] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Total | Option 2 | Volume | n/a | Capex model submitted to the AER |  |  | 259.3386 | 292.7148 | 335.9817 | 350.9817 | 349.9817 | 350.9817 | 350.9817 | 1738.9083
|  |  | Volume for option 3 (20% more than option 2) | Option | Unit | Basis | Source |  | Unique code | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | EDPR Total
|  |  | ACR Replacement | Option 3 | Volume | n/a | Calculated |  | A469 | 0 | 0 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 36
|  |  | Fuse Unit Replacement | Option 3 | Volume | n/a | Calculated |  | A217 | 33.6 | 32.4 | 33.6 | 33.6 | 33.6 | 33.6 | 33.6 | 168
|  |  | Gas Switch Replacement | Option 3 | Volume | n/a | Calculated |  | A144 | 9.6 | 0 | 14.4 | 31.2 | 31.2 | 31.2 | 31.2 | 139.2
|  |  | HV Isolator Replacement (Single) | Option 3 | Volume | n/a | Calculated |  | A900 | 0 | 0 | 12 | 12 | 12 | 12 | 12 | 60
|  |  | HV Isolators Replacement | Option 3 | Volume | n/a | Calculated |  | A147 | 52.0063 | 70.4688 | 81.6 | 81.6 | 81.6 | 81.6 | 81.6 | 408
|  |  | Indoor/Kiosk Switch Repl | Option 3 | Volume | n/a | Calculated |  | A143 | 1.2 | 0 | 2.4 | 3.6 | 3.6 | 3.6 | 3.6 | 16.8
|  |  | LV Isolator Replacement | Option 3 | Volume | n/a | Calculated |  | A149 | 213.6 | 246 | 249.6 | 249.6 | 248.4 | 249.6 | 249.6 | 1246.8
|  |  | LV Switchgear Replacement | Option 3 | Volume | n/a | Calculated |  | A142 | 1.2 | 2.389 | 2.378 | 2.378 | 2.378 | 2.378 | 2.378 | 11.89
|  |  | [Spare] | Option 3 | Volume | n/a | Calculated |  | A285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | [Spare] | Option 3 | Volume | n/a | Calculated |  | [Spare] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Total | Option 3 | Volume | n/a | Calculated |  |  | 311.2063 | 351.2578 | 403.178 | 421.178 | 419.978 | 421.178 | 421.178 | 2086.69
|  |  | Estimated Fault Levels & Savings | Option | Unit | Basis | Source |  | LV | bar: 2024-25
|  |  | LV Isolator Replacement | Option 2 | Volume | n/a | Calculated |  | 1039
|  |  | HV Isolators Replacement | Option 2 | Volume | n/a | Calculated |  |  | 2024-25: 340
|  |  | LV Isolator Replacement | Option 3 | Volume | n/a | Calculated |  | 1246.8
|  |  | HV Isolators Replacement | Option 3 | Volume | n/a | Calculated |  |  | 2024-25: 408
|  |  | Estimated number of faults averted pa | Option 3 | # | n/a | Calculated |  | 21.84 | 2024-25: 22.4352
|  |  | Cost of expected unserved energy pa | Option 3 | $ | Real 2024 | Calculated |  | 291850.3021 | 2024-25: 2467387.123
|  |  | Reg Period | Option 3 | Years | n/a | Input |  | 5 | 2024-25: 5
|  |  | Cost of expected unserved energy over 5 years | Option 3 | $ | Real 2024 | Calculated |  | 1459251.5107 | 2024-25: 12336935.6151
End
|  |  | Option 2 - Replacement based on historical trend | Option | Unit | Basis | MATT code |  | Option 2 - Replacement based on historical trend
|  |  | HV U/G Cable Replacement | #REF! | Dollars | Real 2024 | RUA |  | 495.7045
|  |  | LV U/G Cable Replacement | #REF! | Dollars | Real 2024 | RUC |  | 620.9524
|  |  | Pillar to Pillar | #REF! | Dollars | Real 2024 | RUF |  | 6511.7807
|  |  | HV U/G Termination Replacement | #REF! | Dollars | Real 2024 | RUH |  | 16991.4222
|  |  | LV U/G Termination Replacement | #REF! | Dollars | Real 2024 | RUL |  | 10501.5786
|  |  | Replace Metal Trifurcating Boxes | #REF! | Dollars | Real 2024 | RUA |  | 0
|  |  | [Spare] | #REF! | Dollars | Real 2024 | [Select from list] |  | 0
|  |  | [Spare] | #REF! | Dollars | Real 2024 | [Select from list] |  | 0
|  |  | [Spare] | #REF! | Dollars | Real 2024 | [Select from list] |  | 0
|  |  | [Spare] | #REF! | Dollars | Real 2024 | [Select from list] |  | 0
Historical Volumes
|  |  | Historical Volumes | Option | Unit | Basis | Code | Source | Unique code | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | EDPR Total
|  |  | HV U/G Cable Replacement | #REF! | Volume | n/a | RUA | Capex model submitted to the AER | A208 | 37.6857 | 42.8 | 327.9 | 321.3 | 327.9 | 321.3 | 327.9 | 1626.3
|  |  | LV U/G Cable Replacement | #REF! | Volume | n/a | RUC | Capex model submitted to the AER | A210 | 179.0071 | 203.9 | 200 | 200 | 200 | 200 | 200 | 1000
|  |  | Pillar to Pillar | #REF! | Volume | n/a | RUF | Capex model submitted to the AER | A211 | 5 | 5.39 | 5 | 5 | 5 | 5 | 5 | 25
|  |  | HV U/G Termination Replacement | #REF! | Volume | n/a | RUH | Capex model submitted to the AER | A239 | 23.5536 | 23.81 | 20 | 20 | 20 | 20 | 20 | 100
|  |  | LV U/G Termination Replacement | #REF! | Volume | n/a | RUL | Capex model submitted to the AER | A213 | 42.3964 | 47.16 | 45 | 45 | 45 | 45 | 45 | 225
|  |  | Replace Metal Trifurcating Boxes | #REF! | Volume | n/a | RUA | Capex model submitted to the AER | A209 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | [Spare] | #REF! | Volume | n/a | [Select from list] | Capex model submitted to the AER | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | [Spare] | #REF! | Volume | n/a | [Select from list] | Capex model submitted to the AER | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | [Spare] | #REF! | Volume | n/a | [Select from list] | Capex model submitted to the AER | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | [Spare] | #REF! | Volume | n/a | [Select from list] | Capex model submitted to the AER | n/a | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 287.6429 | 323.06 | 597.9 | 591.3 | 597.9 | 591.3 | 597.9 | 2976.3
Replacement Expenditure
|  |  | Replacement Expenditure | Option | Unit | Basis | Code | Source |  | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | EDPR Total
|  |  | Replace Metal Trifurcating Boxes | #REF! | Dollars | Real 2024 | n/a | Capex model submitted to the AER |  | 387979.1732 | 0 | 0 | 1216459.3501 | 853666.7401 | 883175.2626 | 394408.1723 | 3347709.5251
|  |  | [Spare] | #REF! | Dollars | Real 2024 | n/a | Capex model submitted to the AER |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | [Spare] | #REF! | Dollars | Real 2024 | n/a | Capex model submitted to the AER |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | [Spare] | #REF! | Dollars | Real 2024 | n/a | Capex model submitted to the AER |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | [Spare] | #REF! | Dollars | Real 2024 | n/a | Capex model submitted to the AER |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inputs ¦ Sensitivity (Apply to all options)
Customer ¦ Customer benefits overestimate
|  |  | Customer benefits overestimate (%) | Option | Unit | Basis |  | Sensitivity
|  |  | Overestimate by | All | #NAME? | #NAME? |  | 10%
End

## Output¦Tables
|  | Cost Benefit Analysis |  |  |  |  | Section Check: | Ok |  | Overall Check: | Ok |  | Legend: | Input | Internal | Select | Calculation
Output¦Tables
[7 empty] | Year Display | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | EDPR Total
|  |  | Option | Unit | Basis | Asset | Start Year | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Copyright Jemena Limited. All rights reserved. Jemena is not liable for any loss caused by reliance on this document.
Underground Cable Replacement Business Case
Table 1: Credible options and summary of economic analysis & Table 8: Costs of Options
|  | Option | Total capital expenditure ($m) | Value of Customer Reliability ($m over 5 years) | Ranking
|  | Option 1 – Do nothing | 0 | 0 | 3
|  | Option 2 - Replacement levels to maintain network performance and reliability and meet compliance obligations | 10.8052 | 11.4968 | 1
|  | Option 3 - Replacement levels to increase network performance and reliability | 12.9662 | 13.7962 | 2
End