## Cover
Powercor
Revised regulatory proposal 2026-31
Reserve feeder
Model number: | 6.09
2025-12-01

## Powercor
Powercor
| 2021-22 | 2022-23 | 2023-24 | 2024-25 | Average | Source
$ real 2024
| $/kVA | $/kVA | $/kVA | $/kVA | $/kVA
LV | 12.5578 | 14.6232 | 15.8902 | 9.7553 | 13.2066
HV | 25.204 | 34.5386 | 38.4632 | 31.6022 | 32.452
SubT | 1.4811 | 1.1758 | 2.6493 | 1.3398 | 1.6615
$ nominal
| $/kVA | $/kVA | $/kVA | $/kVA
LV | 11.2521 | 13.5611 | 15.8902 | 10.1506
HV | 22.5834 | 32.03 | 38.4632 | 32.8827
SubT | 1.3271 | 1.0904 | 2.6493 | 1.3941
Overhead rate | 25% | 28.61% | 21.44% | 7.8% |  | CAT RIN, 2.1 Expenditure summary, network overheads / direct maintenance
Demand
| MVA | MVA | MVA | MVA
LV | 1934.9734 | 1958.3107 | 1964.8893 | 2070.6996 |  | Based on LV proportion of consumption
HV | 2589 | 2628 | 2629 | 2841 |  | EB RIN, 3.4 Operational data, sum of zone substation non-coincident demand
SubT | 2597 | 2631 | 2652 | 2818 |  | EB RIN, 3.4 Operational data, sum of terminal station non-coincident demand
Energy supplies
| GWh | GWh | GWh | GWh
Residential | 3922 | 3901 | 3882.59 | 4062 |  | EB RIN, 3.4 Operational data
Business not on demand tariff | 1113 | 1044 | 1185.45 | 1259 |  | EB RIN, 3.4 Operational data
Business LV on demand tariff | 3181 | 3215 | 3233.38 | 3327 |  | EB RIN, 3.4 Operational data
High voltage | 2811 | 2803 | 2902.96 | 3121 |  | EB RIN, 3.4 Operational data
Total | 11027 | 10963 | 11204.38 | 11769
Feeder maintenance cost
| $m | $m | $m | $m
LV | 17.418 | 20.6498 | 25.7096 | 19.498 |  | Allocated based on spans cut
HV | 46.7748 | 65.4516 | 83.265 | 86.6602 |  | Allocated based on spans cut
SubT | 2.7573 | 2.2306 | 5.7853 | 3.6442 |  | Allocated based on spans cut
Total | 66.95 | 88.332 | 114.7599 | 109.8024
Total spans cut
| Number | Number | Number | Number
LV | 13777.4798 | 10285.1415 | 9230 | 11859.0401 |  | EB RIN, 3.7 Operational environment (underlying work paper)
HV | 36998.5369 | 32599.8308 | 29893 | 52708.4635 |  | EB RIN, 3.7 Operational environment (underlying work paper)
SubT | 2180.9833 | 1111.0277 | 2077 | 2216.4964 |  | EB RIN, 3.7 Operational environment (underlying work paper)
Total | 52957 | 43996 | 41200 | 66784
Pole and line maintenance expenditure
| $m | $m | $m | $m
Vegetation management | 33.6032 | 46.7849 | 69.0716 | 72.1821 |  | CAT RIN, 2.7 Vegetation management
Pole top, overhead & service lines | 17.1338 | 21.3593 | 22.7089 | 17.3762 |  | CAT RIN, 2.8 maintenance
Pole inspection and treatment | 15.6259 | 19.2102 | 21.6725 | 19.0896 |  | CAT RIN, 2.8 maintenance
Overhead asset inspection | 0.30681 | 0.66885 | 0.83489 | 0.8256 |  | CAT RIN, 2.8 maintenance
Network underground cable | 0.28024 | 0.30881 | 0.47198 | 0.32899 |  | CAT RIN, 2.8 maintenance
Total | 66.95 | 88.332 | 114.7599 | 109.8024
Inflation (lagged) |  | 3.498% | 7.832% | 4.052%
Conversion to $ real 2024 | 1.116 | 1.0783 | 1 | 0.96106