## Cover
United Energy
Revised regulatory proposal 2026-31
Reserve feeder
Model number: | 6.09
2025-12-01

## United Energy
United Energy
| 2021-22 | 2022-23 | 2023-24 | 2024-25 | Average | Source
$ real 2024
| $/kVA | $/kVA | $/kVA | $/kVA | $/kVA
LV | 9.2374 | 8.3752 | 9.1876 | 7.7312 | 8.6328
HV | 7.1506 | 7.9078 | 7.009 | 6.3066 | 7.0935
SubT | 0.6919 | 1.3057 | 1.045 | 1.0799 | 1.0306
$ nominal
| $/kVA | $/kVA | $/kVA | $/kVA
LV | 8.2769 | 7.7669 | 9.1876 | 8.0444
HV | 6.4071 | 7.3334 | 7.009 | 6.5622
SubT | 0.61996 | 1.2109 | 1.045 | 1.1236
Overhead rate | 29.99% | 26.98% | 30.07% | 25.6% |  | CAT RIN, 2.1 Expenditure summary, network overheads / direct maintenance
Demand
| MVA | MVA | MVA | MVA
LV | 1646.956 | 1664.9682 | 1770.9565 | 1783.3124 |  | Based on LV proportion of consumption
HV | 2009 | 2037 | 2056.79 | 2137 |  | EB RIN, 3.4 Operational data, sum of zone substation non-coincident demand
SubT | 1927 | 1950 | 2061.649 | 2056 |  | EB RIN, 3.4 Operational data, sum of terminal station non-coincident demand
Energy supplies
| GWh | GWh | GWh | GWh
Residential | 2941 | 2899 | 2870.3 | 3000.285 |  | EB RIN, 3.4 Operational data
Business not on demand tariff | 668 | 707 | 712.3 | 729.946 |  | EB RIN, 3.4 Operational data
Business LV on demand tariff | 2819 | 2837 | 2813.6 | 2824.843 |  | EB RIN, 3.4 Operational data
High voltage | 1093 | 1103 | 1049.9 | 1002.341 |  | EB RIN, 3.4 Operational data
Total | 7521 | 7546 | 7446.1 | 7557.415
Feeder maintenance cost
| $m | $m | $m | $m
LV | 10.4864 | 10.1844 | 12.5089 | 11.4217 |  | Allocated based on spans cut
HV | 9.9019 | 11.7646 | 11.083 | 11.1651 |  | Allocated based on spans cut
SubT | 0.91901 | 1.8595 | 1.6563 | 1.8393 |  | Allocated based on spans cut
Total | 21.3073 | 23.8085 | 25.2482 | 24.4262
Total spans cut
| Number | Number | Number | Number
LV | 17456.6014 | 9705.5028 | 14659 | 15285.4404 |  | EB RIN, 3.7 Operational environment (underlying work paper)
HV | 16483.5372 | 11211.3893 | 12988 | 14942.0192 |  | EB RIN, 3.7 Operational environment (underlying work paper)
SubT | 1529.8613 | 1772.1079 | 1941 | 2461.5404 |  | EB RIN, 3.7 Operational environment (underlying work paper)
Total | 35470 | 22689 | 29588 | 32689
Pole and line maintenance expenditure
| $m | $m | $m | $m
Vegetation management | 15.1133 | 16.3246 | 17.6125 | 15.798 |  | CAT RIN, 2.7 Vegetation management
Pole top, overhead & service lines | 1.1921 | 2.6108 | 3.0262 | 3.3781 |  | CAT RIN, 2.8 maintenance
Pole inspection and treatment | 0.75961 | 1.8039 | 1.5785 | 2.7889 |  | CAT RIN, 2.8 maintenance
Overhead asset inspection | 0.80314 | 1.2199 | 1.453 | 0.72441 |  | CAT RIN, 2.8 maintenance
Network underground cable | 3.4392 | 1.8493 | 1.5781 | 1.7367 |  | CAT RIN, 2.8 maintenance
Total | 21.3073 | 23.8085 | 25.2482 | 24.4262
Inflation (lagged) |  | 3.498% | 7.832% | 4.052%
Conversion to $ real 2024 | 1.116 | 1.0783 | 1 | 0.96106