## Contents
Values of Customer Reliability 2025 Annual Adjustment
Appendices A–C: Detailed values
This workbook contains the following sheets:
Sheet title | Description
App A - VCR values - Res | Table 1-1. Residential VCR values by state and Table 1-2. Residential VCR values by segment
App A - VCR values - Bus | Table 1-3. Business < 10 MVA peak demand per annum VCR values ($/kWh) and Table 1-4. Business > 10 MVA peak demand per annum VCR values ($/kWh)
App B - Detailed VCR - Res | Tables 2-1. to 2-12. Residential VCRs by event ($/kWh)
App B - Detailed VCR - Bus | Tables 2-13. to 2-18. Business VCRs by event ($/kWh) and Table 2-19. Direct Cost outage frequency weighted VCRs ($/kWh)
App B Res Outage probabilities | Tables 2-20. to 2-31. Residential outage probabilities by event (%)
App B Bus Outage probabilities | Tables 2-32. to 2-35. Business outage probabilities by event (%)
App B - WTP - Res & Bus | Table 2-41. Contingent valuation results by residential segment ($/month) and Table 2-42. Contingent valuation results by business segment (% of bill and $/month)
App B - Consumption - Res | Table 2-37. Annual consumption by residential segment/region
App B - USE - Res | Table 2-38. Unserved energy per household per hour by event for residential segments (kWh)
App B - Consumption - Bus | Table 2-39. Average annual bill ($) and consumption (kWh) amounts by business segment and Table 2-40. Peak factors by event and business segment
App B - Choice experiment - Res | Tables 2-43. to 2-54 Residential choice experiment results
App B - Choice experiment - Bus | Tables 2-55. to 2-57. Business choice experiment results
App B - Load weightings | Table 2-58. Residential load weightings (%) and Table 2-59. Business segment weightings by size (%)
App C - Survey Sample - Res | Table 3-1. Main survey residential sample plan and responses
App C - Survey Sample - Bus | Table 3-2. Main survey business responses by ABS ANZSIC sectors

## App A - VCR values - Res
Table 1-1. Residential VCR values by state
Year | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Update type | Review | Annual adjustment | Annual adjustment | Annual adjustment | Annual adjustment | Review | Annual adjustment
Region | VCR ($/kWh) | VCR ($/kWh) | VCR ($/kWh) | VCR ($/kWh) | VCR ($/kWh) | VCR ($/kWh) | VCR ($/kWh)
NSW | 25.85 | 26.03 | 26.82 | 28.76 | 30.31 | 38.5254 | 39.9933
VIC | 21.43 | 21.58 | 22.23 | 23.85 | 25.13 | 49.225 | 51.1006
QLD | 23.76 | 23.93 | 24.65 | 26.44 | 27.86 | 36.089 | 37.4641
SA | 30.31 | 30.52 | 31.44 | 33.72 | 35.53 | 48.5195 | 50.3682
ACT | 21.38 | 21.53 | 22.17 | 23.79 | 25.06 | 50.6962 | 52.6278
TAS | 16.96 | 17.08 | 17.6 | 18.87 | 19.89 | 35.6894 | 37.0493
NT | 18.31 | 18.44 | 18.99 | 20.37 | 21.47 | 30.6924 | 31.8618
NEM | 24.08 | 24.25 | 24.98 | 26.79 | 28.23 | 41.4821 | 43.0627
Table 1-2. Residential VCR values by segment
Year | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Update type | Review | Annual adjustment | Annual adjustment | Annual adjustment | Annual adjustment | Review | Annual adjustment
Residential customer segment | VCR ($/kWh) | VCR ($/kWh) | VCR ($/kWh) | VCR ($/kWh) | VCR ($/kWh) | VCR ($/kWh) | VCR ($/kWh)
NT | 18.3086 | 18.44 | 18.99 | 20.37 | 21.47 | 30.6924 | 31.8618
CZ1 Regional | 23.9465 | 24.11 | 24.84 | 26.64 | 28.08 | 35.6915 | 37.0514
CZ2 CBD & Suburban | 22.9456 | 23.1 | 23.8 | 25.53 | 26.9 | 36.6935 | 38.0917
CZ2 Regional | 25.5587 | 25.74 | 26.51 | 28.44 | 29.97 | 35.3488 | 36.6957
CZ3/4 Regional | 26.466 | 26.65 | 27.45 | 29.45 | 31.03 | 24.8624 | 25.8097
CZ5 CBD & Suburban NSW | 29.2745 | 29.48 | 30.37 | 32.57 | 34.32 | 35.3716 | 36.7193
CZ5 CBD & Suburban SA | 33.2262 | 33.46 | 34.46 | 36.97 | 38.96 | 53.6463 | 55.6904
CZ5 Regional | 24.5672 | 24.74 | 25.48 | 27.33 | 28.8 | 42.142 | 43.7477
CZ6 CBD & Suburban | 21.2467 | 21.39 | 22.04 | 23.64 | 24.91 | 55.1017 | 57.2012
CZ6 Regional | 21.766 | 21.92 | 22.58 | 24.22 | 25.52 | 38.8976 | 40.3797
CZ7 CBD & Suburban | 21.3869 | 21.54 | 22.18 | 23.8 | 25.07 | 50.7187 | 52.6512
CZ7 Regional | 16.9635 | 17.08 | 17.6 | 18.87 | 19.89 | 35.6894 | 37.0493

## App A - VCR values - Bus
Table 1-3. Business < 10 MVA peak demand per annum VCR values ($/kWh)
Year | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Update type | Review | Annual adjustment | Annual adjustment | Annual adjustment | Annual adjustment | Review | Annual adjustment
Sector | $/kWh | $/kWh | $/kWh | $/kWh | $/kWh | $/kWh | $/kWh
Agriculture | 37.87 | 38.14 | 39.28 | 42.14 | 44.4 | 22.25 | 23.1022
Small & Medium | 57.6412 | 58.0408 | 59.789 | 64.1345 | 67.581 | 33.1515 | 34.4147
Large | 33.6947 | 33.9282 | 34.9502 | 37.4904 | 39.5051 | 19.4505 | 20.1916
Industrial | 63.7877 | 64.2299 | 66.1646 | 70.9735 | 74.7875 | 33.4899 | 34.766
Small & Medium | 79.3732 | 79.9234 | 82.3308 | 88.3147 | 93.0606 | 55.9567 | 58.0887
Large | 62.8614 | 63.2972 | 65.2037 | 69.9428 | 73.7014 | 32.8307 | 34.0816
Commercial | 44.5199 | 44.8286 | 46.1788 | 49.5352 | 52.1971 | 34.3938 | 35.7042
Small & Medium | 68.2934 | 68.7668 | 70.8381 | 75.9868 | 80.0702 | 52.6306 | 54.636
Large | 39.9215 | 40.1983 | 41.4091 | 44.4187 | 46.8057 | 30.8792 | 32.0558
Table 1-4. Business > 10 MVA peak demand per annum VCR values ($/kWh)
Year | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Update type | Review | Annual adjustment | Annual adjustment | Annual adjustment | Annual adjustment | Review | Annual adjustment
Segment | $/kWh | $/kWh | $/kWh | $/kWh | $/kWh | $/kWh | $/kWh
Services | 10.5431 | 10.61 | 10.93 | 11.73 | 12.36 | 33.1047 | 34.366
Industrial | 117.9905 | 118.81 | 122.39 | 131.28 | 138.34 | 12.2228 | 12.6885
Metals | 19.8621 | 20 | 20.6 | 22.1 | 23.28 | 5.3769 | 5.5817
Mines | 35.1554 | 35.4 | 36.47 | 39.12 | 41.22 | 10.6336 | 11.0388

## App B - Detailed VCR - Res
Tables 2-1. to 2-12. Residential VCRs by event ($/kWh)
2025
NT
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 39.7073 | 31.4025 | 37.9529 | 31.0703 | 51.6247 | 45.3131 | 49.4032 | 44.0154
1 -3 | 38.7627 | 30.6551 | 37.0394 | 30.3229 | 35.3992 | 31.0703 | 33.8836 | 30.1879
3 -6 | 28.8384 | 22.8071 | 27.5616 | 22.5683 | 24.4473 | 21.4575 | 23.3988 | 20.845
6 -12 | 18.6339 | 14.741 | 17.8138 | 14.5853 | 15.2289 | 13.3603 | 14.5749 | 12.9866
CZ1 Regional
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 66.6149 | 51.1783 | 63.376 | 50.8046 | 41.6693 | 36.3646 | 39.5828 | 35.1189
1 -3 | 68.2551 | 52.4448 | 64.9435 | 52.0607 | 42.6971 | 37.2574 | 40.5586 | 35.9805
3 -6 | 46.6418 | 35.8352 | 44.3788 | 35.5757 | 29.1706 | 25.4646 | 27.7173 | 24.5822
6 -12 | 25.3815 | 19.4955 | 24.1462 | 19.3606 | 15.8725 | 13.8586 | 15.0836 | 13.3811
CZ2 CBD & Suburban
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 46.2993 | 33.2919 | 43.7767 | 32.9078 | 32.2745 | 26.9802 | 30.4682 | 26.4196
1 -3 | 59.888 | 43.0604 | 56.6076 | 42.5621 | 41.742 | 34.8905 | 39.4063 | 34.1639
3 -6 | 45.2819 | 32.5652 | 42.8112 | 32.1915 | 31.5686 | 26.3885 | 29.7935 | 25.8383
6 -12 | 26.1705 | 18.8208 | 24.7379 | 18.6028 | 18.2394 | 15.2497 | 17.2221 | 14.9279
CZ2 Regional
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 42.4687 | 31.5894 | 40.6935 | 30.6655 | 32.804 | 27.6238 | 30.8939 | 26.6792
1 -3 | 58.8914 | 43.8078 | 56.4311 | 42.5206 | 45.4895 | 38.3059 | 42.8424 | 36.9979
3 -6 | 41.8666 | 31.143 | 40.1122 | 30.2295 | 32.3368 | 27.2294 | 30.4579 | 26.3055
6 -12 | 24.7794 | 18.4263 | 23.7413 | 17.8865 | 19.1426 | 16.1217 | 18.0214 | 15.5611
CZ3&4 Regional
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 28.8384 | 24.7587 | 51.033 | 44.3269 | 32.7313 | 29.5443 | 59.4208 | 54.1058
1 -3 | 29.7519 | 25.5476 | 36.4996 | 31.7036 | 33.7694 | 30.489 | 42.4998 | 38.7004
3 -6 | 21.769 | 18.6858 | 24.9144 | 21.6444 | 24.7068 | 22.2984 | 29.0149 | 26.4196
6 -12 | 13.35 | 11.4606 | 14.8448 | 12.8932 | 15.1563 | 13.6822 | 17.2844 | 15.7376
CZ5 CBD & Suburban NSW
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 41.1399 | 30.5098 | 39.4167 | 30.9561 | 44.2438 | 38.4824 | 43.403 | 38.1294
1 -3 | 44.4722 | 32.9908 | 42.614 | 33.4683 | 47.8356 | 41.5967 | 46.9221 | 41.223
3 -6 | 31.361 | 23.2638 | 30.0426 | 23.596 | 33.7279 | 29.3367 | 33.0842 | 29.0668
6 -12 | 19.0284 | 14.1182 | 18.2394 | 14.3258 | 20.4713 | 17.8034 | 20.0769 | 17.6373
CZ5 CBD & Suburban SA
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 45.9152 | 36.6968 | 41.4306 | 35.3162 | 118.115 | 103.7373 | 112.3017 | 100.976
1 -3 | 48.4793 | 38.7419 | 43.7455 | 37.2886 | 80.1621 | 70.4039 | 76.2173 | 68.525
3 -6 | 42.8943 | 34.2781 | 38.7107 | 32.9908 | 63.0127 | 55.3411 | 59.9191 | 53.867
6 -12 | 25.776 | 20.6063 | 23.2638 | 19.8277 | 36.8318 | 32.3472 | 35.0151 | 31.4856
CZ5 Regional
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 51.7181 | 40.3821 | 48.4793 | 38.5343 | 57.0644 | 49.59 | 54.957 | 48.3547
1 -3 | 54.2511 | 42.3649 | 50.8565 | 40.4236 | 59.8568 | 52.0296 | 57.6457 | 50.7216
3 -6 | 39.1468 | 30.572 | 36.6968 | 29.1706 | 43.1953 | 37.5481 | 41.5967 | 36.6034
6 -12 | 22.2153 | 17.3467 | 20.8243 | 16.5577 | 24.5095 | 21.3018 | 23.6064 | 20.7724
CZ6 CBD & Suburban
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 54.4068 | 39.1883 | 51.7181 | 40.1537 | 70.5597 | 58.3205 | 69.9472 | 58.3205
1 -3 | 61.5489 | 44.3269 | 58.5073 | 45.4273 | 79.8195 | 65.9816 | 79.1344 | 65.9713
3 -6 | 43.4133 | 31.2676 | 41.2645 | 32.0358 | 56.2962 | 46.5276 | 55.8083 | 46.5276
6 -12 | 26.0875 | 18.7896 | 24.8002 | 19.2568 | 33.8317 | 27.9664 | 33.541 | 27.9664
CZ6 Regional
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 32.3057 | 25.4854 | 30.7693 | 25.3815 | 43.8286 | 39.5308 | 42.832 | 38.8665
1 -3 | 44.1193 | 34.8075 | 42.0223 | 34.6622 | 59.8568 | 53.9812 | 58.4969 | 53.0781
3 -6 | 32.8974 | 25.9525 | 31.3402 | 25.8487 | 44.6383 | 40.2575 | 43.621 | 39.5828
6 -12 | 21.3433 | 16.8484 | 20.3364 | 16.7757 | 28.963 | 26.1186 | 28.309 | 25.6826
CZ7 CBD & Suburban
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 46.9117 | 31.7555 | 44.7525 | 32.7936 | 70.3728 | 55.1439 | 68.089 | 54.303
1 -3 | 52.5694 | 35.5861 | 50.1506 | 36.7487 | 78.8541 | 61.7981 | 76.3004 | 60.843
3 -6 | 36.4165 | 24.6549 | 34.7452 | 25.4542 | 54.6248 | 42.8112 | 52.8601 | 42.1469
6 -12 | 21.4991 | 14.5542 | 20.5129 | 15.0317 | 32.2538 | 25.2777 | 31.2053 | 24.8833
CZ7 Regional
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 39.9669 | 30.4682 | 37.9426 | 30.4786 | 17.492 | 14.5749 | 17.0145 | 14.1389
1 -3 | 45.0224 | 34.3196 | 42.7386 | 34.33 | 58.8603 | 49.0502 | 57.2616 | 47.5865
3 -6 | 30.6136 | 23.3365 | 29.0668 | 23.3469 | 42.9981 | 35.8248 | 41.825 | 34.7556
6 -12 | 20.8658 | 15.9037 | 19.8069 | 15.9141 | 30.8004 | 25.6618 | 29.9596 | 24.8936

## App B - Detailed VCR - Bus
Tables 2-13. to 2-18. Business VCRs by event ($/kWh)
2025
Agricultural - small & medium
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 78.0651 | 78.0651 | 78.0651 | 78.0651 | 94.0519 | 94.0519 | 94.0519 | 94.0519
1 -3 | 37.1017 | 37.1017 | 37.1017 | 37.1017 | 42.4375 | 42.4375 | 42.4375 | 42.4375
3 -6 | 22.6306 | 22.6306 | 22.6306 | 22.6306 | 25.2881 | 25.2881 | 25.2881 | 25.2881
6 -12 | 12.0108 | 12.0108 | 12.0108 | 12.0108 | 13.3396 | 13.3396 | 13.3396 | 13.3396
Agricultural - large
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 45.801 | 45.801 | 45.801 | 45.801 | 55.1854 | 55.1854 | 55.1854 | 55.1854
1 -3 | 21.769 | 21.769 | 21.769 | 21.769 | 24.8936 | 24.8936 | 24.8936 | 24.8936
3 -6 | 13.2773 | 13.2773 | 13.2773 | 13.2773 | 14.8448 | 14.8448 | 14.8448 | 14.8448
6 -12 | 7.0487 | 7.0487 | 7.0487 | 7.0487 | 7.8273 | 7.8273 | 7.8273 | 7.8273
Industrial - small & medium
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 146.5278 | 125.7866 | 170.373 | 153.3378 | 165.2344 | 154.5212 | 186.6296 | 178.7504
1 -3 | 52.3825 | 44.9705 | 60.9053 | 54.8221 | 59.0679 | 55.2373 | 66.7187 | 63.9054
3 -6 | 28.1014 | 24.1151 | 32.669 | 29.399 | 31.6828 | 29.6274 | 35.7833 | 34.2781
6 -12 | 14.0455 | 12.0627 | 16.3293 | 14.6995 | 15.8414 | 14.8137 | 17.8968 | 17.139
Industrial - large
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 85.9754 | 73.7985 | 99.9586 | 89.9617 | 96.9482 | 90.6573 | 109.4988 | 104.8792
1 -3 | 30.7381 | 26.3885 | 35.7314 | 32.1603 | 34.6622 | 32.4095 | 39.1468 | 37.4962
3 -6 | 16.485 | 14.1493 | 19.1633 | 17.2532 | 18.5924 | 17.3882 | 21.0008 | 20.108
6 -12 | 8.2425 | 7.0798 | 9.5817 | 8.6266 | 9.291 | 8.6889 | 10.4952 | 10.0592
Commercial - small & medium
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 152.8602 | 142.8322 | 161.5699 | 157.3344 | 160.6979 | 149.175 | 170.9232 | 173.207
1 -3 | 57.9986 | 54.002 | 61.5905 | 59.753 | 60.9676 | 56.4 | 65.1615 | 65.7844
3 -6 | 31.008 | 28.828 | 33.0116 | 31.9631 | 32.6067 | 30.1049 | 34.9217 | 35.1916
6 -12 | 15.5092 | 14.4192 | 16.5058 | 15.9867 | 16.2982 | 15.0525 | 17.4608 | 17.5958
Commercial - large
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 89.6815 | 83.7954 | 94.7993 | 92.3079 | 94.2802 | 87.5222 | 100.2805 | 101.6196
1 -3 | 34.0289 | 31.6828 | 36.1363 | 35.0566 | 35.7729 | 33.0946 | 38.2332 | 38.5966
3 -6 | 18.1979 | 16.9106 | 19.3709 | 18.7585 | 19.1322 | 17.6685 | 20.4921 | 20.6478
6 -12 | 9.0938 | 8.4605 | 9.6855 | 9.374 | 9.5609 | 8.8342 | 10.246 | 10.3291
Table 2-19. Direct Cost outage frequency weighted VCRs ($/kWh)
2025
Segment | 10 min | 1 hour | 3 hour | 6 hour | 12 hour | Total
| $/kWh | $/kWh | $/kWh | $/kWh | $/kWh | $/kWh
Services | 0.35514 | 1.8926 | 5.9321 | 11.8627 | 14.3235 | 34.366
Industrial | 4.7994 | 3.2326 | 3.4931 | 0.98044 | 0.183 | 12.6885
Metals | 0.40861 | 0.32395 | 3.7299 | 0.96905 | 0.15021 | 5.5817
Mines | 1.7529 | 2.3598 | 4.4718 | 1.9451 | 0.50918 | 11.0388

## App B Res Outage probabilities
Tables 2-20. to 2-31. Residential outage probabilities by event (%)
NT
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 3.185% | 0.2298% | 1.636% | 0.1658% | 4.08% | 2.177% | 5.041% | 3.331%
1 -3 | 0.7646% | 1.022% | 1.845% | 0.7305% | 17.38% | 5.718% | 14.37% | 3.631%
3 -6 | 3.389% | 0.1544% | 2.056% | 0.07524% | 4.226% | 1.024% | 7.385% | 3.773%
6 -12 | 4.644% | 0.5139% | 0% | 0% | 4.957% | 2.372% | 0.07657% | 0.04281%
CZ1 Regional
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 1.414% | 0.8363% | 0.2092% | 0.8785% | 4.712% | 0.9972% | 0.8891% | 0.5253%
1 -3 | 6.27% | 1.91% | 1.856% | 0.6047% | 17.38% | 7.209% | 4.889% | 2.128%
3 -6 | 3.483% | 0.6842% | 1.321% | 0.7999% | 16.19% | 3.55% | 4.901% | 1.273%
6 -12 | 1.565% | 0.4031% | 0.6903% | 0.3727% | 7.047% | 2.942% | 1.625% | 0.4441%
CZ2 CBD & Suburban
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 1.858% | 0.67% | 0.5949% | 0.1537% | 2.994% | 1.478% | 0.5859% | 0.02091%
1 -3 | 10.29% | 4.077% | 3.043% | 1.345% | 20.24% | 5.908% | 5.768% | 1.462%
3 -6 | 3.426% | 0.7808% | 2.568% | 0.2493% | 17.02% | 3.235% | 0.7896% | 0.2972%
6 -12 | 1.597% | 0.6104% | 0.3775% | 0.135% | 6.38% | 1.779% | 0.2318% | 0.04071%
CZ2 Regional
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 1.884% | 0.8532% | 0.4708% | 0.4443% | 4.129% | 1.833% | 1.11% | 0.7328%
1 -3 | 8.175% | 4.577% | 1.806% | 1.75% | 15.08% | 5.159% | 3.636% | 1.683%
3 -6 | 4.615% | 1.656% | 2.218% | 0.9123% | 10.36% | 4.505% | 6.35% | 0.9626%
6 -12 | 1.351% | 0.5464% | 1.394% | 0.5119% | 7.451% | 2.104% | 1.167% | 0.5773%
CZ3&4 Regional
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 1.262% | 0.911% | 0.524% | 0.2209% | 1.6% | 0.77% | 1.745% | 0.3409%
1 -3 | 7.545% | 3.423% | 1.421% | 1.074% | 11.74% | 5.759% | 3.719% | 1.649%
3 -6 | 8.05% | 1.479% | 0.8786% | 0.3708% | 8.774% | 3.671% | 4.516% | 1.411%
6 -12 | 2.248% | 0.9% | 3.429% | 1.21% | 13.37% | 4.323% | 1.288% | 0.3785%
CZ5 CBD & Suburban NSW
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 1.534% | 0.5663% | 0.4224% | 0.2133% | 2.218% | 0.8008% | 0.6252% | 0.09636%
1 -3 | 11% | 3.093% | 4.225% | 1.439% | 16.98% | 3.888% | 5.729% | 4.534%
3 -6 | 14.36% | 1.431% | 1.918% | 0.3843% | 6.441% | 1.078% | 2.068% | 0.8193%
6 -12 | 2.918% | 0.5769% | 2.697% | 0.5787% | 3.916% | 0.6541% | 2.385% | 0.4123%
CZ5 CBD & Suburban SA
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 3.083% | 0.343% | 0.1772% | 0.133% | 2.597% | 0.4913% | 0.7483% | 0.236%
1 -3 | 11.5% | 5.961% | 2.576% | 1.578% | 16.6% | 6.311% | 5.641% | 1.537%
3 -6 | 8.939% | 1.807% | 2.513% | 0.3389% | 5.268% | 2.511% | 2.514% | 0.8652%
6 -12 | 5.825% | 1.938% | 1.357% | 0.6768% | 3.294% | 0.9913% | 1.3% | 0.3533%
CZ5 Regional
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 1.314% | 0.4595% | 0.5667% | 0.2131% | 2.64% | 0.6464% | 0.6105% | 0.2659%
1 -3 | 12.93% | 4.871% | 1.875% | 0.7978% | 12.64% | 6.126% | 3.349% | 0.799%
3 -6 | 5.96% | 1.782% | 2.778% | 0.6108% | 11.88% | 5.008% | 3.304% | 1.133%
6 -12 | 5.036% | 1.664% | 0.2147% | 0.07821% | 6.147% | 2.738% | 1.218% | 0.3419%
CZ6 CBD & Suburban
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 1.755% | 1.299% | 0.8443% | 0.4417% | 7.148% | 1.776% | 2.357% | 0.7079%
1 -3 | 8.546% | 2.715% | 4.24% | 0.5825% | 15.33% | 6.395% | 4.405% | 2.689%
3 -6 | 5.266% | 1.267% | 2.257% | 0.3014% | 6.657% | 1.309% | 4.696% | 1.747%
6 -12 | 3.005% | 0.9641% | 0.4668% | 0.187% | 4.797% | 1.585% | 3.296% | 0.9701%
CZ6 Regional
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 1.713% | 1.212% | 0.3784% | 0.06014% | 3.247% | 0.8148% | 1.2% | 0.7239%
1 -3 | 6.723% | 3.174% | 2.541% | 0.5285% | 10.92% | 6.809% | 3.542% | 2.67%
3 -6 | 5.89% | 2.3% | 1.425% | 0.2939% | 11.78% | 3.596% | 3.533% | 2.273%
6 -12 | 4.228% | 1.896% | 2.145% | 0.7477% | 6.645% | 2.047% | 4.074% | 0.8708%
CZ7 CBD & Suburban
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 7.049% | 0.6081% | 0.1164% | 0.06021% | 6.073% | 3.961% | 4.254% | 1.779%
1 -3 | 13.66% | 1.583% | 1.213% | 0.2853% | 15.67% | 2.748% | 2.898% | 4.037%
3 -6 | 2.776% | 2.204% | 0.3005% | 0.2078% | 8.345% | 0.9449% | 0.3151% | 0.4346%
6 -12 | 5.142% | 2.058% | 1.412% | 0.6859% | 5.09% | 1.989% | 1.432% | 0.6637%
CZ7 Regional
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 3.422% | 1.805% | 1.38% | 0.2574% | 3.719% | 2.145% | 1.039% | 0.3273%
1 -3 | 8.208% | 3.07% | 3.373% | 1.533% | 9.883% | 6.904% | 3.89% | 1.114%
3 -6 | 6.956% | 1.968% | 2.365% | 0.7674% | 9.422% | 3.053% | 2.109% | 1.285%
6 -12 | 7.111% | 1.869% | 1.577% | 0.7662% | 4.021% | 1.493% | 2.207% | 0.9611%

## App B Bus Outage probabilities
Tables 2-32. to 2-35. Business outage probabilities by event (%)
Agricultural
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 1.977% | 0.8633% | 0.491% | 0.2178% | 3.322% | 1.221% | 1.213% | 0.4565%
1 -3 | 8.137% | 3.362% | 2.373% | 1.086% | 12.76% | 6.251% | 3.38% | 1.818%
3 -6 | 6.231% | 1.73% | 1.717% | 0.5367% | 11.19% | 3.468% | 3.433% | 1.368%
6 -12 | 4.185% | 1.418% | 1.93% | 0.6973% | 8.176% | 2.645% | 1.696% | 0.6501%
Industrial
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 1.981% | 1.116% | 0.7724% | 0.3823% | 4.293% | 1.36% | 1.412% | 0.4863%
1 -3 | 10.32% | 3.624% | 3.669% | 1.051% | 17.59% | 5.327% | 6.447% | 3.053%
3 -6 | 8.019% | 1.199% | 2.342% | 0.3221% | 7.541% | 1.842% | 3.501% | 1.162%
6 -12 | 2.244% | 0.6368% | 0.8688% | 0.2736% | 3.065% | 0.9216% | 2.73% | 0.4565%
Commercial
Outage | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak | Offpeak | Peak
duration | Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
(hours) | Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
0 - 1 | 1.978% | 0.9567% | 0.595% | 0.2786% | 3.68% | 1.273% | 1.286% | 0.4675%
1 -3 | 8.942% | 3.459% | 2.852% | 1.073% | 14.54% | 5.91% | 4.513% | 2.274%
3 -6 | 6.891% | 1.534% | 1.948% | 0.4574% | 9.842% | 2.868% | 3.458% | 1.292%
6 -12 | 3.468% | 1.13% | 1.538% | 0.5408% | 6.288% | 2.009% | 2.078% | 0.5786%

## App B - WTP - Res & Bus
Table 2-41. Contingent valuation results by residential segment ($/month)
Residential Customer Segment | Average residential WTP ($/month)
NT | 5.6
CZ1 Regional | 6.49
CZ2 CBD & Suburban | 4.71
CZ2 Regional | 4.05
CZ3/4 Regional | 4.23
CZ5 CBD & Suburban NSW | 4.72
CZ5 CBD & Suburban SA | 4.53
CZ5 Regional | 5.78
CZ6 CBD & Suburban | 5.03
CZ6 Regional | 3.47
CZ7 CBD & Suburban | 5.28
CZ7 Regional | 5.24
Table 2-42. Contingent valuation results by business segment (% of bill and $/month)
Business Customer Segment | Average business WTP (% of bill) | Average business WTP ($/month)
Agricultural - small & medium | 5.759% | 24.3013
Agricultural - large | 5.759% | 631.0115
Industrial - small & medium | 11.96% | 55.1792
Industrial - large | 11.96% | 12562.7413
Commercial - small & medium | 11.03% | 43.7122
Commercial - large | 11.03% | 1515.3317
Note: Dollar amounts in this sheet were calculated at the time of the VCR review in 2024, and have not been updated for inflation or changes in energy market conditions

## App B - Consumption - Res
Table 2-37. Annual consumption by residential segment/region
Residential Segment | Annual Consumption (kWh)
NT | 9328
CZ1 Regional | 7141
CZ2 CBD & Suburban | 6615
CZ2 Regional | 5912
CZ3/4 Regional | 6949
CZ5 CBD & Suburban NSW | 5838
CZ5 CBD & Suburban SA | 4699
CZ5 Regional | 5622
CZ6 CBD & Suburban | 4514
CZ6 Regional | 5064
CZ7 CBD & Suburban | 5255
CZ7 Regional | 5815
Region | Annual Consumption (kWh)
NSW | 5663.8673
VIC | 4858.0236
QLD | 6542.1704
SA | 4983.0538
ACT | 5255.6269
TAS | 5814.9332
NT | 9328
NEM | 5641.7436

## App B - USE - Res
Table 2-38. Unserved energy per household per hour by event for residential segments (kWh)
Residential segment | Off-peak Weekday Winter | Peak Weekday Winter | Off-peak Weekend Winter | Peak Weekend Winter | Off-peak Weekday Summer | Peak Weekday Summer | Off-peak Weekend Summer | Peak Weekend Summer
NT | 0.87793 | 1.1099 | 0.91857 | 1.122 | 1.2317 | 1.4032 | 1.2869 | 1.4444
CZ1 Regional | 0.60727 | 0.79042 | 0.63828 | 0.79619 | 0.97089 | 1.1124 | 1.0219 | 1.1519
CZ2 CBD & Suburban | 0.63406 | 0.88186 | 0.67074 | 0.89209 | 0.9097 | 1.0882 | 0.96365 | 1.1113
CZ2 Regional | 0.59441 | 0.79908 | 0.62037 | 0.82318 | 0.76955 | 0.9138 | 0.81702 | 0.94619
CZ3/4 Regional | 0.91405 | 1.0647 | 0.94472 | 1.0876 | 0.8054 | 0.89224 | 0.81125 | 0.89104
CZ5 CBD & Suburban NSW | 0.71456 | 0.96327 | 0.74573 | 0.94955 | 0.66436 | 0.76389 | 0.67722 | 0.77082
CZ5 CBD & Suburban SA | 0.61391 | 0.76818 | 0.6804 | 0.79818 | 0.49937 | 0.56859 | 0.52522 | 0.58417
CZ5 Regional | 0.6967 | 0.89216 | 0.74319 | 0.93495 | 0.6314 | 0.72649 | 0.65565 | 0.74518
CZ6 CBD & Suburban | 0.5759 | 0.7996 | 0.60586 | 0.78025 | 0.44408 | 0.53726 | 0.44793 | 0.53728
CZ6 Regional | 0.67 | 0.84917 | 0.70339 | 0.85262 | 0.49383 | 0.54758 | 0.50532 | 0.5569
CZ7 CBD & Suburban | 0.70072 | 1.0351 | 0.73451 | 1.0024 | 0.46715 | 0.5961 | 0.48279 | 0.60541
CZ7 Regional | 0.8163 | 1.0709 | 0.85986 | 1.0705 | 0.48784 | 0.58548 | 0.50153 | 0.60352

## App B - Consumption - Bus
Table 2-39. Average annual bill ($) and consumption (kWh) amounts by business segment
Business customer segment | Average annual bill ($) | Average annual consumption (kWh)
Agriculture - Small and Medium | 5063.5099 | 16985.9438
Agriculture - Large | 131479.7035 | 751742.1583
Industrial - Small and Medium | 5537.64 | 18576.4509
Industrial - Large | 1260763.498 | 7208481.9786
Commercial - Small and Medium | 4753.6545 | 15946.5094
Commercial - Large | 164790.5759 | 942198.8328
Table 2-40. Peak factors by event and business segment
| Off-peak | Peak | Off-peak | Peak | Off-peak | Peak | Off-peak | Peak
| Weekday | Weekday | Weekend | Weekend | Weekday | Weekday | Weekend | Weekend
| Winter | Winter | Winter | Winter | Summer | Summer | Summer | Summer
Agriculture | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Industrial | 1.1061 | 1.2885 | 0.9513 | 1.057 | 0.98085 | 1.0489 | 0.86843 | 0.90668
Commercial | 0.97848 | 1.0779 | 0.89077 | 0.94263 | 0.93072 | 1.032 | 0.84205 | 0.85622
Note: Dollar amounts in this sheet were calculated at the time of the VCR review in 2024, and have not been updated for inflation or changes in energy market conditions

## App B - Choice experiment - Res
Tables 2-43. to 2-54 Residential choice experiment results
Northern Territory
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate ($/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.62363 | *** | 0.11351 | 12.6013 | 2.3337 | 8.0274 | 17.1753
| Severity | -0.037761 |  | 0.07373 | -0.76301 | 1.4895 | -3.6823 | 2.1563
| Duration 3 hours | -0.53414 | *** | 0.098772 | -10.7929 | 2.0787 | -14.8671 | -6.7187
| Duration 6 hours | -0.93001 | *** | 0.10163 | -18.792 | 2.6441 | -23.9744 | -13.6097
| Duration 12 hours | -1.2829 | *** | 0.11406 | -25.9225 | 3.3569 | -32.5019 | -19.343
| Peak | 0.10009 |  | 0.075175 | 2.0224 | 1.5707 | -1.0562 | 5.1009
| Summer | -0.22823 | *** | 0.070879 | -4.6117 | 1.4956 | -7.5429 | -1.6804
| Weekend | -0.062422 |  | 0.073258 | -1.2613 | 1.4896 | -4.1809 | 1.6582
| Discount | 0.049489 | *** | 0.0061855
CZ1 Regional
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate ($/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.41549 | *** | 0.10936 | 8.3633 | 2.1245 | 4.1995 | 12.5272
| Severity | -0.2215 | *** | 0.073499 | -4.4585 | 1.5559 | -7.5079 | -1.4091
| Duration 3 hours | -0.66918 | *** | 0.098473 | -13.4696 | 2.2292 | -17.8388 | -9.1004
| Duration 6 hours | -1.0328 | *** | 0.1027 | -20.7885 | 2.7571 | -26.1923 | -15.3846
| Duration 12 hours | -1.1526 | *** | 0.11065 | -23.1995 | 3.0182 | -29.115 | -17.284
| Peak | -0.048961 |  | 0.074976 | -0.98552 | 1.4959 | -3.9174 | 1.9463
| Summer | -0.14924 | ** | 0.070411 | -3.004 | 1.4328 | -5.8121 | -0.19583
| Weekend | -0.078607 |  | 0.072957 | -1.5822 | 1.4849 | -4.4926 | 1.3281
| Discount | 0.049681 | *** | 0.006225
CZ2 Suburban
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate ($/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.41146 | *** | 0.11058 | 6.7162 | 1.7159 | 3.353 | 10.0793
| Severity | -0.16735 | ** | 0.075386 | -2.7317 | 1.249 | -5.1796 | -0.28366
| Duration 3 hours | -0.83166 | *** | 0.09829 | -13.5748 | 1.7995 | -17.1019 | -10.0478
| Duration 6 hours | -1.4059 | *** | 0.10642 | -22.9471 | 2.4583 | -27.7654 | -18.1289
| Duration 12 hours | -1.6698 | *** | 0.11669 | -27.2549 | 2.8341 | -32.8095 | -21.7002
| Peak | -0.15949 | ** | 0.076471 | -2.6033 | 1.2371 | -5.028 | -0.17854
| Summer | -0.05473 |  | 0.07257 | -0.89333 | 1.1815 | -3.2091 | 1.4224
| Weekend | -0.097151 |  | 0.074408 | -1.5857 | 1.2274 | -3.9914 | 0.81994
| Discount | 0.061265 | *** | 0.0064246
CZ2 Regional
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate ($/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.51999 | *** | 0.11392 | 8.7 | 1.8314 | 5.1105 | 12.2894
| Severity | -0.14434 | * | 0.075244 | -2.4149 | 1.2693 | -4.9027 | 0.07286
| Duration 3 hours | -0.76551 | *** | 0.10155 | -12.8079 | 1.842 | -16.418 | -9.1977
| Duration 6 hours | -1.1905 | *** | 0.10597 | -19.919 | 2.2923 | -24.4119 | -15.4261
| Duration 12 hours | -1.4537 | *** | 0.11676 | -24.3219 | 2.655 | -29.5256 | -19.1181
| Peak | -0.17638 | ** | 0.076635 | -2.9511 | 1.2828 | -5.4652 | -0.43691
| Summer | -0.17687 | ** | 0.072691 | -2.9593 | 1.2367 | -5.3831 | -0.5355
| Weekend | -0.010816 |  | 0.075137 | -0.18096 | 1.2581 | -2.6467 | 2.2848
| Discount | 0.059769 | *** | 0.006367
CZ3&4 Regional
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate ($/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.50861 | *** | 0.12201 | 6.3866 | 1.4452 | 3.5541 | 9.2191
| Severity | -0.1204 |  | 0.080585 | -1.5119 | 1.0145 | -3.5004 | 0.47656
| Duration 3 hours | -0.70618 | *** | 0.10692 | -8.8676 | 1.333 | -11.4803 | -6.2549
| Duration 6 hours | -1.1892 | *** | 0.11195 | -14.9328 | 1.6013 | -18.0712 | -11.7943
| Duration 12 hours | -1.5354 | *** | 0.12554 | -19.2803 | 1.8831 | -22.9712 | -15.5895
| Peak | -0.1693 | ** | 0.081294 | -2.1259 | 1.0108 | -4.107 | -0.14481
| Summer | -0.11307 |  | 0.077429 | -1.4198 | 0.97188 | -3.3247 | 0.48501
| Weekend | -0.27929 | *** | 0.079321 | -3.5071 | 1.0361 | -5.5378 | -1.4765
| Discount | 0.079636 | *** | 0.0067626
CZ5 Suburban NSW
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate ($/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.40265 | *** | 0.10975 | 6.1881 | 1.6171 | 3.0186 | 9.3576
| Severity | -0.043561 |  | 0.073623 | -0.66947 | 1.1295 | -2.8832 | 1.5443
| Duration 3 hours | -0.68887 | *** | 0.097913 | -10.5869 | 1.5588 | -13.6421 | -7.5317
| Duration 6 hours | -1.0974 | *** | 0.10245 | -16.8651 | 1.892 | -20.5733 | -13.1569
| Duration 12 hours | -1.3977 | *** | 0.11418 | -21.4802 | 2.2066 | -25.8052 | -17.1553
| Peak | -0.099043 |  | 0.075315 | -1.5221 | 1.1408 | -3.7581 | 0.71379
| Summer | -0.030152 |  | 0.070443 | -0.46339 | 1.0793 | -2.5788 | 1.652
| Weekend | -0.18381 | ** | 0.07334 | -2.8249 | 1.1601 | -5.0987 | -0.55107
| Discount | 0.065068 | *** | 0.0062789
CZ5 Suburban SA
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate ($/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.28826 | *** | 0.10913 | 4.3199 | 1.561 | 1.2604 | 7.3793
| Severity | -0.10604 |  | 0.073605 | -1.5892 | 1.1052 | -3.7553 | 0.57694
| Duration 3 hours | -0.65465 | *** | 0.095706 | -9.8105 | 1.453 | -12.6584 | -6.9626
| Duration 6 hours | -1.3909 | *** | 0.10381 | -20.8436 | 2.0635 | -24.888 | -16.7993
| Duration 12 hours | -1.7326 | *** | 0.11637 | -25.9653 | 2.4269 | -30.7218 | -21.2087
| Peak | -0.019986 |  | 0.074745 | -0.29951 | 1.1171 | -2.4889 | 1.8899
| Summer | -0.32997 | *** | 0.070558 | -4.9448 | 1.1131 | -7.1264 | -2.7632
| Weekend | -0.15739 | ** | 0.073036 | -2.3587 | 1.1193 | -4.5525 | -0.16483
| Discount | 0.066729 | ***
CZ5 Regional
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate ($/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.49534 | *** | 0.11297 | 9.671 | 2.1481 | 5.4609 | 13.8812
| Severity | -0.094877 |  | 0.074876 | -1.8524 | 1.4691 | -4.7318 | 1.0271
| Duration 3 hours | -0.63612 | *** | 0.099628 | -12.4195 | 2.1212 | -16.577 | -8.2621
| Duration 6 hours | -1.0494 | *** | 0.10432 | -20.4891 | 2.754 | -25.8868 | -15.0913
| Duration 12 hours | -1.2308 | *** | 0.11355 | -24.0312 | 3.1181 | -30.1425 | -17.9199
| Peak | -0.092628 |  | 0.076201 | -1.8085 | 1.469 | -4.6876 | 1.0707
| Summer | -0.075295 |  | 0.071991 | -1.4701 | 1.402 | -4.2179 | 1.2778
| Weekend | -0.076783 |  | 0.074165 | -1.4991 | 1.4604 | -4.3614 | 1.3632
| Discount | 0.051219 | *** | 0.0063029
CZ6 Suburban
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate ($/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.44142 | *** | 0.10693 | 6.6704 | 1.5432 | 3.6458 | 9.6949
| Severity | -0.097777 |  | 0.069783 | -1.4775 | 1.057 | -3.5492 | 0.59416
| Duration 3 hours | -0.79692 | *** | 0.094733 | -12.0425 | 1.4847 | -14.9525 | -9.1325
| Duration 6 hours | -1.2607 | *** | 0.097271 | -19.0512 | 1.8065 | -22.5918 | -15.5105
| Duration 12 hours | -1.5827 | *** | 0.10813 | -23.9159 | 2.1695 | -28.168 | -19.6637
| Peak | -0.1705 | ** | 0.070907 | -2.5765 | 1.0709 | -4.6755 | -0.47748
| Summer | 0.10926 | * | 0.066251 | 1.651 | 1.0176 | -0.34351 | 3.6455
| Weekend | 0.083372 |  | 0.069168 | 1.2599 | 1.0512 | -0.8005 | 3.3202
| Discount | 0.066176 | *** | 0.0058528
CZ6 Regional
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate ($/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.42116 | *** | 0.10172 | 6.0571 | 1.3945 | 3.3239 | 8.7903
| Severity | -0.032028 |  | 0.067673 | -0.46062 | 0.97273 | -2.3671 | 1.4459
| Duration 3 hours | -0.74828 | *** | 0.089794 | -10.7616 | 1.3252 | -13.3589 | -8.1644
| Duration 6 hours | -1.2348 | *** | 0.093319 | -17.7585 | 1.6374 | -20.9678 | -14.5492
| Duration 12 hours | -1.6745 | *** | 0.10591 | -24.0818 | 2.0377 | -28.0757 | -20.0879
| Peak | -0.024267 |  | 0.068642 | -0.34901 | 0.98384 | -2.2773 | 1.5793
| Summer | -0.091282 |  | 0.064497 | -1.3128 | 0.92536 | -3.1265 | 0.50087
| Weekend | -0.12381 | * | 0.066803 | -1.7806 | 0.9695 | -3.6808 | 0.11959
| Discount | 0.069532 | *** | 0.0057387
CZ7 Suburban
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate ($/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.33011 | *** | 0.10607 | 5.5192 | 1.6889 | 2.2091 | 8.8293
| Severity | -0.099065 |  | 0.070542 | -1.6563 | 1.1851 | -3.9791 | 0.66653
| Duration 3 hours | -0.74548 | *** | 0.094282 | -12.4637 | 1.7017 | -15.7989 | -9.1286
| Duration 6 hours | -1.1547 | *** | 0.097536 | -19.3047 | 2.0945 | -23.4099 | -15.1995
| Duration 12 hours | -1.4204 | *** | 0.1077 | -23.7481 | 2.4506 | -28.5512 | -18.9451
| Peak | -0.17839 | ** | 0.071793 | -2.9825 | 1.1918 | -5.3184 | -0.64663
| Summer | 0.0030807 |  | 0.067328 | 0.051506 | 1.126 | -2.1555 | 2.2585
| Weekend | -0.050934 |  | 0.069634 | -0.85157 | 1.166 | -3.1368 | 1.4337
| Discount | 0.059812 | *** | 0.0059416
CZ7 Regional
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate ($/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.74691 | *** | 0.099778 | 13.761 | 1.9269 | 9.9843 | 17.5377
| Severity | -0.071661 |  | 0.065341 | -1.3203 | 1.2068 | -3.6855 | 1.045
| Duration 3 hours | -0.6764 | *** | 0.08671 | -12.4618 | 1.7263 | -15.8454 | -9.0782
| Duration 6 hours | -1.0223 | *** | 0.08911 | -18.8348 | 2.1094 | -22.9692 | -14.7005
| Duration 12 hours | -1.497 | *** | 0.10157 | -27.5804 | 2.8693 | -33.2042 | -21.9566
| Peak | 0.069259 |  | 0.066506 | 1.276 | 1.2518 | -1.1775 | 3.7296
| Summer | 0.20996 | *** | 0.062764 | 3.8682 | 1.2453 | 1.4275 | 6.3089
| Weekend | -0.079532 |  | 0.064485 | -1.4653 | 1.1942 | -3.8059 | 0.87529
| Discount | 0.054277 | *** | 0.0055174
Note: Dollar amounts in this sheet were calculated at the time of the VCR review in 2024, and have not been updated for inflation or changes in energy market conditions

## App B - Choice experiment - Bus
Tables 2-55. to 2-57. Business choice experiment results
Agriculture
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate (%/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.41923 | *** | 0.14343 | 1.9745 | 0.53601 | 0.92398 | 3.0251
| Severity | -0.085263 |  | 0.080801 | -0.40158 | 0.38811 | -1.1623 | 0.3591
| Duration 3 hours | -0.52082 | *** | 0.10606 | -2.453 | 0.8172 | -4.0547 | -0.85128
| Duration 6 hours | -0.90386 | *** | 0.10928 | -4.2571 | 1.0549 | -6.3247 | -2.1895
| Duration 12 hours | -1.0346 | *** | 0.11724 | -4.8727 | 1.1947 | -7.2143 | -2.5312
| Peak | -0.030381 |  | 0.079197 | -0.14309 | 0.36873 | -0.86579 | 0.57961
| Summer | -0.25053 | *** | 0.075618 | -1.18 | 0.46498 | -2.0913 | -0.26862
| Weekend | 0.027377 |  | 0.080152 | 0.12894 | 0.3755 | -0.60702 | 0.86491
| Discount | 0.21232 | *** | 0.052856
Industrial
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate (%/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.427 | *** | 0.098354 | 2.4761 | 0.48986 | 1.516 | 3.4362
| Severity | -0.1358 | ** | 0.053274 | -0.78751 | 0.33615 | -1.4464 | -0.12866
| Duration 3 hours | -0.14953 | ** | 0.074563 | -0.86713 | 0.47825 | -1.8045 | 0.070227
| Duration 6_12 hours | -0.31037 | *** | 0.06661 | -1.7998 | 0.44506 | -2.6721 | -0.92753
| Peak | -0.094982 | * | 0.051271 | -0.5508 | 0.30897 | -1.1564 | 0.05478
| Summer | -0.047379 |  | 0.048785 | -0.27475 | 0.28901 | -0.8412 | 0.29171
| Weekend | 0.088255 | * | 0.051515 | 0.51179 | 0.30957 | -0.094961 | 1.1185
| Discount | 0.17245 | *** | 0.035978
Commercial
| Outage variable | Coefficient estimate | Statistical significance | Standard error | WTA estimate (%/month) | Standard error | Lower confidence interval | Upper confidence interval
| Status quo outage | 0.646 | *** | 0.055716 | 2.7073 | 0.20883 | 2.298 | 3.1166
| Severity | 0.026599 |  | 0.030946 | 0.11147 | 0.13072 | -0.14474 | 0.36768
| Duration 3 hours | -0.36404 | *** | 0.042213 | -1.5256 | 0.2253 | -1.9672 | -1.084
| Duration 6_12 hours | -0.57206 | *** | 0.037779 | -2.3974 | 0.21606 | -2.8209 | -1.9739
| Peak | -0.077191 | *** | 0.02977 | -0.3235 | 0.12546 | -0.5694 | -0.077595
| Summer | -0.062171 | ** | 0.028519 | -0.26055 | 0.12146 | -0.4986 | -0.022494
| Weekend | 0.099364 | *** | 0.029727 | 0.41642 | 0.12752 | 0.16647 | 0.66636
| Discount | 0.23862 | *** | 0.020821

## App B - Load weightings
Table 2-58. Residential load weightings (%)
State | CZ1 Regional | CZ2 CBD & Suburban | CZ2 Regional | CZ3/4 Regional | CZ5 CBD & Suburban NSW | CZ5 CBD & Suburban SA | CZ5 Regional | CZ6 CBD & Suburban | CZ6 Regional | CZ7 CBD & Suburban | CZ7 Regional
NSW | 0% | 1.2% | 5.5% | 10.3% | 50.5% | 0% | 4.3% | 18.4% | 5.8% | 0.5% | 3.5%
VIC | 0% | 0% | 0% | 5.8% | 0% | 0% | 0% | 69% | 15.3% | 1.9% | 8.1%
QLD | 12.5% | 63.4% | 15.7% | 4.2% | 0% | 0% | 4.2% | 0% | 0% | 0% | 0%
SA | 0% | 0% | 0% | 5.8% | 0% | 65.4% | 11.4% | 2.6% | 14.9% | 0% | 0%
ACT | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 99.9% | 0.1%
TAS | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100%
NEM | 3.4% | 17.5% | 6.2% | 6.7% | 17.9% | 4.9% | 3.5% | 24.2% | 7.1% | 2.5% | 6.1%
Table 2-59. Business segment weightings by size (%)
Business customer segment | Small & Medium | Large
Agriculture | 20.46% | 79.54%
Industrial | 2.851% | 97.15%
Commercial | 16.16% | 83.84%

## App C - Survey Sample - Res
Table 3-1. Main survey residential sample plan and responses
Segment | Climate Zone | Remoteness | States included | Initial Target | Responses
NEM - Climate Zone 1 - Regional Australia | 1 | Inner Regional, Outer Regional, Remote Australia | QLD | 300 | 289
NEM - Climate Zone 2 - Suburban Australia | 2 | Major Cities of Australia | QLD, NSW | 300 | 294
NEM - Climate Zone 2 - Regional Australia | 2 | Inner Regional, Outer Regional, Remote Australia | QLD, NSW | 300 | 293
NEM - Climate Zone 3 & 4 - Regional Australia | 3 & 4 | Inner Regional. Outer Regional, Remote Australia | QLD, NSW, VIC, SA | 300 | 247
NEM - Climate Zone 5 - Suburban Australia NSW | 5 | Major Cities of Australia | NSW | 300 | 276
NEM - Climate Zone 5 - Suburban Australia SA | 5 | Major Cities of Australia | SA | 300 | 297
NEM - Climate Zone 5 - Regional Australia | 5 | Inner Regional, Outer Regional, Remote Australia | QLD, NSW, SA | 300 | 277
NEM - Climate Zone 6 - Suburban Australia | 6 | Major Cities of Australia | NSW, VIC, SA | 300 | 318
NEM - Climate Zone 6 - Regional Australia | 6 | Inner Regional, Outer Regional, Remote Australia | QLD, NSW, VIC, SA | 300 | 229
NEM - Climate Zone 7 - Suburban Australia | 7 | Major Cities of Australia | ACT, VIC | 300 | 303
NEM - Climate Zone 7 - Regional Australia | 7 | Inner Regional, Outer Regional, Remote Australia | NSW, VIC, TAS | 300 | 376
Northern Territory |  |  | NT | 300 | 291

## App C - Survey Sample - Bus
Table 3-2. Main survey business responses by ABS ANZSIC sectors
ANZSIC sector | ANZSIC Description | Target | Responses
A | Agriculture, forestry and fishing | 250 | 247
B | Mining | 0 | 44
C | Manufacturing | 250 | 251
D | Electricity, gas, water and waste service | 100 | 90
E | Construction | 100 | 116
F | Wholesale trade | 100 | 99
G | Retail trade | 100 | 121
H | Accomodation and food services | 100 | 125
I | Transport, postal and warehousing | 100 | 114
J | Information media and telecommuncations | 100 | 126
K | Financial and insurance services | 100 | 112
L | Rental hiring and real estate services | 100 | 103
M | Professional, scientific and technical services | 100 | 154
N | Administrative and support services | 100 | 124
O | Public administration and safety | 100 | 79
P | Education and training | 100 | 124
Q | Health care and social assistance | 100 | 128
R | Arts and recreation services | 100 | 115
S | Other services | 0 | 51