## Instructions
Gas Distribution Pipeline Service Provider
Annual Reporting RIN
This template is to be used by Australian Gas Networks Limited (reporting data for Albury and Victoria) to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Businesses must use the macro at the top of each worksheet to identify confidential information in the confidential workbook and where confidential information has been removed in the public workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return two (2) files to the AER: CONSOLIDATED (2 files) 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form. The public version must include the confidential markings to identify where confidential information has been removed from the file. Use the drop down box on the Business and other details worksheet to identify the file Confidentiality Status as either 'Confidential', or ‘Public’. Use the drop down box on the Business and other details worksheet to identify the file Data Quality as 'Consolidated'. If there is no confidential information reported in the workbook, the consolidated confidential file does NOT have to be submitted.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.

## CONTENTS
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
CONTENTS
| TEMPLATE DATE | JUNE 2023
| SUBMISSION | Business & other details
| EXPENDITURE | E1. Expenditure Summary
E11. Labour
E21. ARS
| NETWORK | N1. Demand
N2. Network characteristcs
| SERVICE | S1.1. Customer numbers - by customer type
S1.2. Customer numbers - by tariff
S10. Supply quality
S11. Network reliability
S14. Network integrity
| FINANCIAL | F1. Income
F2. Capex
F3. Revenue
F4. Opex
F6. Related party transactions
F7. Provisions
F9. Pass throughs
F10. Assets
| ADMIN | Additional disclosures

## Business & other details
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
BUSINESS & OTHER DETAILS
TEMPLATE DATE - JUNE 2023
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | AGN (Albury and Victoria)
| ACN/ABN |  |  | 19078551685
| Business Address | [6 empty] | Postal Address
| Address 1 |  |  | Level 6 |  |  | Address 1 | PO Box 6468
| Address 2 |  |  | 400 King William Street |  |  | Address 2 | Halifax Street
| Suburb |  |  | ADELAIDE |  |  | Suburb | ADELAIDE
| State |  |  | SA | Post code |  | State | SA | Post code
`
REGULATORY CONTROL PERIODS
|  |  | Commencing year | 2024-25
ANNUAL RINS
|  |  | Final year | 2025-26
SUBMISSION DETAILS
|  |  | RIN type | Annual Reporting
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
Amended RIN Amendment Reason
|  |  | Submission Date | 2025-11-28
Contents
Instructions

## E1. Expenditure Summary
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
E1. EXPENDITURE SUMMARY
TEMPLATE DATE - JUNE 2023
E1.1 - CAPEX
E1.1.1 - REFERENCE SERVICES
EXPENDITURE
$
2024-25
Connections | 44065685.1488
Mains replacement | 9617609.3
Mains augmentation | 2951714.7695
Telemetry | 961753.16
Meter replacement | 7579498.21
ICT | 19434962.6254
Capitalised network overheads | 7628154.1404
Capitalised corporate overheads
Other capex | 33102910.7015
Capital contributions included in the above | 17763426.3236
Total (less capital contributions) | 107578861.7321
E1.1.2 - NON-REFERENCE SERVICES
Capital contributions included in the above
Total (less capital contributions) | 0
E1.2 - OPEX
E1.2.1 - REFERENCE SERVICES
EXPENDITURE
$
2024-25
repairs and maintenance | 64351908.8115
marketing and retail incentives | 4047052.4209
debt raising | 2145521.7882
equity raising | 0
unaccounted for gas | -10960766.13
jurisdictional charges | 8165401.61
GSL payments | 12030
other opex | 23664364.616
Total | 91425513.1166
E1.2.2 - NON-REFERENCE SERVICES
repairs and maintenance | 727735.2669
Total | 727735.2669
E1.3 - CAPCONS
E1.3.1 - REFERENCE SERVICES
EXPENDITURE
$
2024-25
Connections | 7101800.1292
Mains replacement | 0
Mains augmentation | 0
Telemetry | 0
Meter replacement | 0
ICT | 0
Capitalised network overheads | 1229558.2644
Capitalised corporate overheads | 0
Other capex | 9432067.93
Total | 17763426.3236
E1.3.2 - NON-REFERENCE SERVICES
EXPENDITURE
$
2024-25
Total | 0
E1.4 - CAPITALISED OVERHEADS
E1.4.1 - REFERENCE SERVICES
EXPENDITURE
$
2024-25
Connections | 3440780.6667
Mains replacement | 722945.0692
Mains augmentation | 182831.3535
Telemetry | 76975.5356
Meter replacement | 610476.3631
ICT | 0
Other capex | 2594145.1523
capital contributions included in the above | 1229558.2644
Total (less capital contributions) | 6398595.876
E1.4.2 - NON-REFERENCE SERVICES
EXPENDITURE
$
2024-25
Capital contributions included in the above
Total (less capital contributions) | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E11. Labour
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
E11. LABOUR
TEMPLATE DATE - JUNE 2023
Tables E11.1 and E11.2 omitted.
E11.3 - LABOUR / NON-LABOUR EXPENDITURE SPLIT
EXPENDITURE
$
2024-25
E11.3.1 - OPEX
In-house labour expenditure | 14211936.7578
Labour expenditure outsourced to related parties
Labour expenditure outsourced to unrelated parties | 40182438.4207
Non-labour expenditure | 37758873.205
Total | 92153248.3835
E11.3.2 - CAPEX
In-house labour expenditure | 3686899.8142
Labour expenditure outsourced to related parties
Labour expenditure outsourced to unrelated parties | 71673266.6287
Non-labour expenditure | 32218695.2692
Total | 107578861.7121
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E21. ARS
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
E21. ANCILLARY REFERENCE SERVICES
TEMPLATE DATE - JUNE 2023
E21.1 - VOLUMES
VOLUMES
Description | 2024-25
Disconnection | 7179
Reconnection | 6277
Special Meter Read - Metro | 170736
Special Meter Read - Non Metro | 66893
Meter Removal | 308
Meter Reinstallation | 59
Meter Gas and Installtion test | 215
Abolishments | 2784
Total | 254451
E21.2 omitted
E21.3 - EXPENDITURE
EXPENDITURE
$
2024-25
Disconnection | 603018
Reconnection | 615090
Special Meter Read - Metro | 1815454.2
Special Meter Read - Non Metro | 989969
Meter Removal | 36928.8455
Meter Reinstallation | 7060
Meter Gas and Installtion test | 54305
Abolishments | 598606
Total | 4720431.0455
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N1. Demand
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
N1. DEMAND
TEMPLATE DATE - JUNE 2023
N1.1 - DEMAND - BY CUSTOMER TYPE
VOLUMES
GJ
2024-25
Residential | 24884671.7912
Commercial | 7812520.3119
Industrial | 15206456.878
Total | 47903648.9811
N1.2 - DEMAND - BY TARIFF
VOLUMES
GJ
Tariff | 2024-25
Tariff V - Central Zone - Residential | 20912203.7323
Tariff V - North Zone - Residential | 2831218.5811
Tariff V - Murray Valley Zone - Residential | 223040.9367
Tariff V - Bairnsdale Zone - Residential | 103914.6272
Tariff V - Central Zone - Non-Residential | 6774001.6734
Tariff V - North Zone - Non-Residential | 715333.9391
Tariff V - Murray Valley Zone - Non-Residential | 59501.1171
Tariff V - Bairnsdale Zone - Non-Residential | 54130.2116
Tariff D - Central Zone - Industrial | 9266184.946
Tariff D - Northern Zone - Industrial | 4014381.79
Tariff D - Murray Valley Zone - Industrial
Tariff D - Bairnsdale Zone - Industrial
Tariff V - Albury Zone - Residential | 814293.914
Tariff V - Albury Zone - Non-Residential | 209553.3706
Tariff D - Albury Zone - Industrial
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N2. Network characteristcs
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
N2. NETWORK CHARACTERISTICS
TEMPLATE DATE - JUNE 2023
N2.1 - NETWORK LENGTH - BY PRESSURE AND ASSET TYPE
VOLUMES
KM
2024-25
N2.1.1 - LOW PRESSURE
Cast Iron | 1.4567
PVC | 17.032
Polyamide
High density polyethylene (80)
High density polyethylene (100) | 20.723
High density polyethylene (250)
High density polyethylene (575) | 0.20797
Medium density polyethylene | 0.35934
Other polyethylene
Unprotected steel | 0.23157
Protected steel | 9.6039
Other
N2.1.2 - MEDIUM PRESSURE
Cast Iron
PVC
Polyamide
High density polyethylene (80)
High density polyethylene (100) | 3.901
High density polyethylene (250)
High density polyethylene (575) | 1.098
Medium density polyethylene | 0.49595
Other polyethylene
Unprotected steel | 0.01939
Protected steel | 12.2738
Other
N2.1.3 - HIGH PRESSURE
Cast Iron
PVC | 0.51749
Polyamide
High density polyethylene (80)
High density polyethylene (100) | 2333.8838
High density polyethylene (250) | 0.15159
High density polyethylene (575) | 3050.9878
Medium density polyethylene | 4128.986
Other polyethylene
Unprotected steel
Protected steel | 3032.9205
Other
N2.1.4 - TRANSMISSION
Protected steel | 252.0188
Other
TOTAL | 12866.8686
N2.2 - CITY GATES/REGULATORS
VOLUMES
2024-25
City Gate | 59
Field Regulator | 64
District Regulator
Total | 123
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.1. Customer numbers
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
S1. CUSTOMER NUMBERS
TEMPLATE DATE - JUNE 2023
S1.1 - CUSTOMER NUMBERS - BY CUSTOMER TYPE
VOLUMES
2024-25
A. RESIDENTIAL
Customer numbers as at 1 July | 738681
Customer numbers as at 30 June | 749366
Total customer connections | 20594
Total customer disconnections | 9909
B. COMMERCIAL
Customer numbers as at 1 July | 23809
Customer numbers as at 30 June | 23631
Total customer connections | 256
Total customer disconnections | 434
C. INDUSTRIAL
Customer numbers as at 1 July | 281
Customer numbers as at 30 June | 277
Total customer connections | 2
Total customer disconnections | 6
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.2. Customer numbers
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
S1. CUSTOMER NUMBERS
TEMPLATE DATE - JUNE 2023
S1.2 - CUSTOMER NUMBERS - BY TARIFF
S1.2.1 - CUSTOMER NUMBERS AS AT 1 JULY
VOLUMES
2024-25
Tariff V - Central Zone - Residential | 612818
Tariff V - North Zone - Residential | 87462
Tariff V - Murray Valley Zone - Residential | 9022
Tariff V - Bairnsdale Zone - Residential | 5275
Tariff V - Central Zone - Non-Residential | 19509
Tariff V - North Zone - Non-Residential | 2972
Tariff V - Murray Valley Zone - Non-Residential | 345
Tariff V - Bairnsdale Zone - Non-Residential | 123
Tariff D - Central Zone - Industrial | 213
Tariff D - Northern Zone - Industrial | 50
Tariff D - Murray Valley Zone - Industrial | 7
Tariff D - Bairnsdale Zone - Industrial | 3
Tariff V - Albury Zone - Residential | 24104
Tariff V - Albury Zone - Non-Residential | 860
Tariff D - Albury Zone - Industrial | 8
Total | 762771
S1.2.2 - CUSTOMER NUMBERS AS AT 30 JUNE
VOLUMES
2024-25
Tariff V - Central Zone - Residential | 621698
Tariff V - North Zone - Residential | 88741
Tariff V - Murray Valley Zone - Residential | 9148
Tariff V - Bairnsdale Zone - Residential | 5455
Tariff V - Central Zone - Non-Residential | 19346
Tariff V - North Zone - Non-Residential | 2963
Tariff V - Murray Valley Zone - Non-Residential | 346
Tariff V - Bairnsdale Zone - Non-Residential | 123
Tariff D - Central Zone - Industrial | 209
Tariff D - Northern Zone - Industrial | 50
Tariff D - Murray Valley Zone - Industrial | 7
Tariff D - Bairnsdale Zone - Industrial | 3
Tariff V - Albury Zone - Residential | 24324
Tariff V - Albury Zone - Non-Residential | 853
Tariff D - Albury Zone - Industrial | 8
Total | 773274
S1.2.3 - TOTAL CUSTOMER CONNECTIONS
VOLUMES
2024-25
Tariff V - Central Zone - Residential | 16516
Tariff V - North Zone - Residential | 2780
Tariff V - Murray Valley Zone - Residential | 321
Tariff V - Bairnsdale Zone - Residential | 273
Tariff V - Central Zone - Non-Residential | 125
Tariff V - North Zone - Non-Residential | 14
Tariff V - Murray Valley Zone - Non-Residential | 26
Tariff V - Bairnsdale Zone - Non-Residential | 4
Tariff D - Central Zone - Industrial | 2
Tariff D - Northern Zone - Industrial | 0
Tariff D - Murray Valley Zone - Industrial | 0
Tariff D - Bairnsdale Zone - Industrial | 0
Tariff V - Albury Zone - Residential | 704
Tariff V - Albury Zone - Non-Residential | 87
Tariff D - Albury Zone - Industrial | 0
Total | 20852
S1.2.4 - TOTAL CUSTOMER DISCONNECTIONS
VOLUMES
2024-25
Tariff V - Central Zone - Residential | 7636
Tariff V - North Zone - Residential | 1501
Tariff V - Murray Valley Zone - Residential | 195
Tariff V - Bairnsdale Zone - Residential | 93
Tariff V - Central Zone - Non-Residential | 288
Tariff V - North Zone - Non-Residential | 23
Tariff V - Murray Valley Zone - Non-Residential | 25
Tariff V - Bairnsdale Zone - Non-Residential | 4
Tariff D - Central Zone - Industrial | 6
Tariff D - Northern Zone - Industrial | 0
Tariff D - Murray Valley Zone - Industrial | 0
Tariff D - Bairnsdale Zone - Industrial | 0
Tariff V - Albury Zone - Residential | 484
Tariff V - Albury Zone - Non-Residential | 94
Tariff D - Albury Zone - Industrial | 0
Total | 10349
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S10. Supply quality
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
S10. SUPPLY QUALITY
TEMPLATE DATE - JUNE 2023
S10.1 - PRESSURE FAULTS
VOLUMES
2024-25
Poor Pressure events - mains
Poor Pressure events - services
Poor Pressure event - meters | 347
Pressure events impacting 5+ customers | 0
Pressure events with >12 hr resolution | 144
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S11. Network reliability
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
S11. NETWORK RELIABILITY
TEMPLATE DATE - JUNE 2023
S11.1 - NETWORK OUTAGES
S11.1.1 - PLANNED
VOLUMES
2024-25
Count of outage events | 287
Outages affecting 5+ customers | 0
Outages with >12 hr supply interuption | 0
S11.1.2 - UNPLANNED
VOLUMES
2024-25
Count of outage events | 495
Outages affecting 5+ customers | 10
Outages with >12 hr supply interuption | 28
S11.2 - LEAKS - BY ASSET TYPE AND CAUSE OF LEAK
S11.2.1 - LOW PRESSURE
VOLUMES
Number per KM
2024-25
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0.11743
Broken pipe - full break | 0
Corrosion | 0.058713
Joint leak | 0.17614
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0.048255
Corrosion | 0
Joint leak | 0.048255
3rd party damage | 0.096511
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.10412
3rd party damage | 0
Identified water in main | 0
Other | 0
S11.2.2 - MEDIUM PRESSURE
VOLUMES
Number per KM
2024-25
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0.081474
Identified water in main | 0
Other | 0
S11.2.3 - HIGH PRESSURE
VOLUMES
Number per KM
2024-25
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0.007284
Broken pipe - full break | 0.007284
Corrosion | 0.0059986
Joint leak | 0.033421
3rd party damage | 0.046275
Identified water in main | 0
Other | 0.0055701
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0.027204
Broken pipe - full break | 0.022616
Corrosion | 0.041298
Joint leak | 0.077352
3rd party damage | 0.11111
Identified water in main | 0
Other | 0.018027
Medium density polyethylene
Broken pipe - cracked | 0.013563
Broken pipe - full break | 0.014047
Corrosion | 0.018164
Joint leak | 0.083071
3rd party damage | 0.054251
Identified water in main | 0
Other | 0.0067813
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0.038906
Broken pipe - full break | 0.025388
Corrosion | 0.051106
Joint leak | 0.14112
3rd party damage | 0.096277
Identified water in main | 0
Other | 0.013518
S11.3 - UNACCOUNTED FOR GAS - TRANSMISSION AND DISTRIBUTION
VOLUMES
TJ
Place of loss | 2024-25
Total Transmission and Distribution | 2083
Total | 2083
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S14. Network integrity
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
S14. NETWORK INTEGRITY
TEMPLATE DATE - JUNE 2023
S14.1 - LOSS OF CONTAINMENT
VOLUMES
| Units | 2024-25
S14.1.1 - MAINS
Number of Leaks - publicly reported | number | 188
Number of Leaks - found through survey | number | 10
Repaired Leaks | number | 198
Length of network subject to survey | km | 2869
S14.1.2 - SERVICES
Number of Leaks - publicly reported | number | 2089
Number of Leaks - found through survey | number | 12
Repaired Leaks | number | 2101
Number of services surveyed | number
S14.1.3 - METERS
Number of Leaks - publicly reported | number | 12433
Number of Leaks - found through survey | number | 1
Repaired Leaks | number | 12434
Number of meters surveyed | number
S14.2 - INSTANCES OF DAMAGE
VOLUMES
| Units | 2024-25
Mains | number | 44
Services | number | 925
Meters | number | 5
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F1. Income
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
F1. INCOME
TEMPLATE DATE - JUNE 2023
F1.1 - AUDITED STATUTORY ACCOUNTS
$
2024-25
F1.1.1 - REVENUE
Distribution revenue | 288757054.06
Capital contributions | 12247546.66
Profit from sale of fixed assets | 0
Other revenue | 2959247.23
Total revenue | 303963847.95
F1.1.2 - EXPENDITURE
Operating expenditure | 44503417.77
Depreciation | 87395243.44
Net finance expenses | 53705586.5273
Loss from sale of fixed assets | 0
Impairment losses | 640608
Other expenses | 0
Total expenditure | 186244855.7373
F1.1.3 - PROFIT
Profit before tax | 117718992.2127
Income tax expenses (/ benefit) | 35315697.6638
Profit after tax | 82403294.5489
F1.2 - ADJUSTMENTS
$
2024-25
F1.2.1 - REVENUE
Distribution revenue | 17264866.7576
Capital contributions | 12247546.66
Profit from sale of fixed assets | 0
Other Revenue | 2959247.23
Total revenue | 32471660.6476
F1.2.2 - EXPENDITURE
Operating expenditure | -47649830.6135
Depreciation | -27958485.7765
Net finance expenses | 311167.9323
Loss from sale of fixed assets | 0
Impairment losses | 640608
Other expenses | 0
Total expenditure | -74656540.4577
F1.2.3 - PROFIT
Profit before tax | 107128201.1053
Income tax expenses (/ benefit) | 32138460.3316
Profit after tax | 74989740.7737
F1.3 - DISTRIBUTION BUSINESS
$
2024-25
F1.3.1 - REVENUE
Distribution revenue | 271492187.3024
Capital contributions | 0
Profit from sale of fixed assets | 0
Other Revenue | 0
Total revenue | 271492187.3024
F1.3.2 - EXPENDITURE
Operating expenditure | 92153248.3835
Depreciation | 115353729.2165
Net finance expenses | 53394418.595
Loss from sale of fixed assets | 0
Impairment losses | 0
Other expenses | 0
Total expenditure | 260901396.1951
F1.3.3 - PROFIT
Profit before tax | 10590791.1074
Income tax expenses (/ benefit) | 3177237.3322
Profit after tax | 7413553.7752
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F2. Capex
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
F2. CAPITAL EXPENDITURE
TEMPLATE DATE - JUNE 2023
F2.4 - CAPEX BY ASSET CLASS
F2.4.2 - ACTUAL - AS INCURRED
EXPENDITURE
$
Asset Class | 2024-25
Mains & Services - Victoria | 64808873.8385
Meters - Victoria | 13333666.9194
Buildings - Victoria | 0
SCADA - Victoria | 1038728.6956
Computer Equipment - Victoria | 18814522.3972
Land - Victoria | 0
Other Assets - Victoria | 24860776.3083
Mains & Services - Albury | 1496627.8758
Meters - Albury | 271197.6622
Buildings - Albury | 0
SCADA - Albury | 0
Computer Equipment - Albury | 620440.2283
Other Assets - Albury | 97454.1304
Total | 125342288.0557
F2.4.3 - MOVEMENT IN PROVISIONS ALLOCATED TO AS-INCURRED CAPEX
EXPENDITURE
$
Asset Class | 2024-25
Mains & Services - Victoria
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Land - Victoria
Other Assets - Victoria
Mains & Services - Albury
Meters - Albury
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury
Total | 0
F2.5 - CAPITAL CONTRIBUTIONS BY ASSET CLASS
F2.5.1 - ACTUAL - AS INCURRED
EXPENDITURE
$
Asset Class | 2024-25
Mains & Services - Victoria | 17235167.428
Meters - Victoria | 469255.7417
Buildings - Victoria | 0
SCADA - Victoria | 0
Computer Equipment - Victoria | 0
Land - Victoria | 0
Other Assets - Victoria | 0
Mains & Services - Albury | 59003.1538
Meters - Albury | 0
Buildings - Albury | 0
SCADA - Albury | 0
Computer Equipment - Albury | 0
Other Assets - Albury | 0
Total | 17763426.3236
F2.6 - DISPOSALS BY ASSET CLASS
F2.6.2 - ACTUAL
EXPENDITURE
$
Asset Class | 2024-25
Mains & Services - Victoria
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Land - Victoria
Other Assets - Victoria
Mains & Services - Albury
Meters - Albury
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury
Total | 0
F2.7 - IMMEDIATE EXPENSING CAPITAL EXPENDITURE
ACTUAL - AS INCURRED
EXPENDITURE
$
Asset Class | 2024-25
Mains & Services - Victoria | 9892742.3104
Meters - Victoria
Buildings - Victoria
SCADA - Victoria
Computer Equipment - Victoria
Land - Victoria
Other Assets - Victoria
Mains & Services - Albury | 447812.0588
Meters - Albury
Buildings - Albury
SCADA - Albury
Computer Equipment - Albury
Other Assets - Albury
Total | 10340554.3692
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F3. Revenue
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
F3. REVENUE
TEMPLATE DATE - JUNE 2023
F3.1 - REFERENCE SERVICES
F3.1.1 - REVENUE - BY TARIFF
REVENUE
$
Tariff | 2024-25
Tariff V - Central Zone - Residential | 198953807.1505
Tariff V - North Zone - Residential | 24752418.1273
Tariff V - Murray Valley Zone - Residential | 2224361.2634
Tariff V - Bairnsdale Zone - Residential | 2079760.3798
Tariff V - Central Zone - Non-Residential | 18959400.5312
Tariff V - North Zone - Non-Residential | 1992030.8156
Tariff V - Murray Valley Zone - Non-Residential | 220620.2836
Tariff V - Bairnsdale Zone - Non-Residential | 260888.5119
Tariff D - Central Zone - Industrial | 3711720.72
Tariff D - Northern Zone - Industrial | 1381283
Tariff D - Murray Valley Zone - Industrial
Tariff D - Bairnsdale Zone - Industrial
Tariff V - Albury Zone - Residential | 6663219.9704
Tariff V - Albury Zone - Non-Residential | 537129.3087
Tariff D - Albury Zone - Industrial
Total | 261736640.0624
F3.2 - ANCILLARY REFERENCE SERVICES
REVENUE
$
Service Name | 2024-25
Disconnection | 603018
Reconnection | 615090
Special Meter Read - Metro | 1815454.2
Special Meter Read - Non Metro | 989969
Meter Removal | 36928.8455
Meter Reinstallation | 7060
Meter Gas and Installation test | 54305
Abolishments | 637062.1545
Total | 4758887.2
F3.3 - REBATEABLE SERVICES
REVENUE
$
Service Name | 2024-25
Total | 0
F3.4 - NON-REFERENCE SERVICES
REVENUE
$
Service Name | 2024-25
Out of Hours Special Read | 28237
Meter Alter Position | 294437.77
Same Day Premium Service | 78779
Disconnect/Reconnect Service in Street | 83572
No Access/Incomplete Meter Fix | 375025
New Standard Connection | 3627593
Total | 4487643.77
F3.5 - TOTAL REVENUE
2024-25
Total | 270983171.0324
F3.6 - REWARDS AND PENALTIES FROM INCENTIVE SCHEMES
Scheme | 2024-25
Opex Efficiency Carryover Mechanism | -5219622.2259
Capital Expenditure Sharing Scheme | -2691948.4877
Total | -7911570.7136
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F4. Opex
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
F4. OPERATING EXPENDITURE
TEMPLATE DATE - JUNE 2023
F4.1 - OPEX - BY PURPOSE
F4.1.1 - AUDITED STATUTORY ACCOUNTS
EXPENDITURE
$
Description | 2024-25
repairs and maintenance | 43638671.49
marketing and retail incentives | 179890.81
debt raising | 0
equity raising | 0
unaccounted for gas | -3916000
jurisdictional charges | 5782428.76
GSL payments | 12030
other opex | -1193603.29
Total | 44503417.77
F4.1.2 - ADJUSTMENTS
EXPENDITURE
$
Description | 2024-25
repairs and maintenance | -21440972.5885
marketing and retail incentives | -3867161.6109
debt raising | -2145521.7882
equity raising | 0
unaccounted for gas | 7044766.13
jurisdictional charges | -2382972.85
GSL payments | 0
other opex | -24857967.906
Total | -47649830.6135
F4.1.3 - DISTRIBUTION BUSINESS
EXPENDITURE
$
Description | 2024-25
repairs and maintenance | 65079644.0785
marketing and retail incentives | 4047052.4209
debt raising | 2145521.7882
equity raising | 0
unaccounted for gas | -10960766.13
jurisdictional charges | 8165401.61
GSL payments | 12030
other opex | 23664364.616
Total | 92153248.3835
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F6. Related party transactions
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
F6. RELATED PARTY TRANSACTIONS
TEMPLATE DATE - JUNE 2023
F6.1 - AGN (Albury and Victoria) PAYMENTS GREATER THAN $1,000,000 MADE TO RELATED PARTY
| VALUE $ | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
Name of related party | 2024-25
F6.1.1 - EXPENDITURE
F6.1.2 - CORRESPONDING EXPENSES INCURRED BY RELATED PARTY
F6.2 - AGN (Albury and Victoria) PAYMENTS GREATER THAN $1,000,000 RECEIVED FROM RELATED PARTY
| VALUE $ | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
2024-25
F6.2.1 - REVENUE
F6.2.2 - CORRESPONDING EXPENSES INCURRED BY AGN (Albury and Victoria)
F6.3 - RELATED PARTY MARGIN EXPENDITURE - BY CATEGORY
F6.3.1 - CAPEX
EXPENDITURE
$
Capex category | 2024-25
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 0
F6.3.2 - OPEX
EXPENDITURE
$
Opex category | 2024-25
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total | 0
F6.4 - PER CENTAGE OF CAPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2024-25
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
F6.5 - PER CENTAGE OF OPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2024-25
Total
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F7. Provisions
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
F7. PROVISIONS
TEMPLATE DATE - JUNE 2023
F7 - PROVISIONS
VALUE $
2024-25
Provision name: Current employee entitlements
Current provision for employee long service leave
Opening balance (the carrying amount at the beginning of the period) | 1969436.4592
Additional provisions made in the period, including increases to existing provisions
Opex component | 1328132.9255
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -1157436.7902
Capex component
Other component
Unused amounts reversed during the period
Opex component | -990254.9151
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 1983.3626
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 1151861.0419
Provision name: Provision for Long Service Leave (Non Current)
Non Current Provision for Long Service Leave
Opening balance (the carrying amount at the beginning of the period) | 76830.3154
Additional provisions made in the period, including increases to existing provisions
Opex component | 102720.3408
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 77.3736
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 179628.0297
Asbestos Claims Provision
Provision for potential future Asbestos claims
Opening balance (the carrying amount at the beginning of the period) | 108308.7931
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component | -81313.4008
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 109.0747
Capex component
Other component
Closing balance (carrying amount at the end of the period) | 27104.4669
Historic Haulage Service Charging Provision
Provision for Legal costs associated with the Historic Haulage Service Charges
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F9. Pass throughs
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
F9. PASS THROUGHS
TEMPLATE DATE - JUNE 2023
F9.1 - PASS THROUGH EVENT EXPENDITURE
EXPENDITURE
$
Description | 2024-25
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F10. Assets
ANNUAL REPORTING
Australian Gas Networks Limited (reporting data for Albury and Victoria)
2024-25
F10. ASSETS
TEMPLATE DATE - JUNE 2023
F10.1 - CAPITAL BASE VALUES
VALUE $
2024-25
FOR TOTAL ASSET BASE
Opening value | 2089403725.4774
Inflation addition | 84662383.3718
Straight line depreciation | -115353729.2165
Actual additions (recognised in RAB) | 111151264.035
Disposals | 0
Closing value | 2169863643.6676
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## Additional disclosures
This sheet may be used to identify amendments made to data resubmitted to the AER.
NSP data amendments
Worksheet | Table | Comments
Contents
Instructions
Contents
Instructions