## Business & other details
ECONOMIC BENCHMARKING
AusNet Services (D)
2006
BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings.
SUBMISSION PARTICULARS INPUT SHEETS
ENTITY DETAILS
Short name | AusNet (D)
ACN / ABN | 91064651118
Business address | Address 1 |  | Level 32
|  | Address 2 | 2 Southbank Boulevard
| Suburb |  | SOUTHBANK
|  | State | Vic | p/code | 3006
Postal address | Address 1 |  | Locked Bag 14051
Address 2
| Suburb |  | MELBOURNE CITY MAIL CENTRE
|  | State | VIC | p/code | 8001
Contact name/s
Contact phone/s
Contact email address/s
REGULATORY CONTROL PERIODS
Forthcoming regulatory control period | 2015-16 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Current regulatory control period | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Previous regulatory control period | 2005 | 2006 | 2007 | 2008 | 2009
Current regulatory year | 2006 | CRY
Source | Reporting |  | Please select the correct submission type from the dropdown list.
Data quality (actual, estimate, public, consolidated) | Consolidated
Amended RIN submission - amendment reason | 20230607 - Amended Table 6.1.1 (Tab 3.5) - #15,358,573 20190702 - Change to 3.2.2 opex network services (scs) - (D19/95494 & D19/95493)
Submission Date | 2016-07-15 | dms_SubmissionDate | Please enter date this file submitted to AER (dd/mm/yyyy)
EBSS - First application of scheme in forthcoming period? | No
Sector | Electricity | dms_Sector | =INDEX(dms_Sector_List,MATCH(dms_TradingName,dms_TradingName_List))
Segment | Distribution | dms_Segment | =INDEX(dms_Segment_List,MATCH(dms_TradingName,dms_TradingName_List))
Regulatory Year Ending | 2013 | dms_RYE | =IF(dms_MultiYear_Flag=1,LEFT(dms_Specified_FinalYear,2)&RIGHT(dms_Specified_FinalYear,2),INDEX(dms_RYE_Formula_Result,MATCH(dms_Model,dms_Model_List)))
Reporting Period Type | Calendar | dms_RPT | =INDEX(dms_RPT_List,MATCH(dms_TradingName,dms_TradingName_List))
Model or RIN Type | EB | dms_Model | Drop down selection
Security Classification | Public | dms_Classification | Always Public
Template - version no. | 5 | dms_TemplateNumber
Dollar $ real month | December | dms_RPTMonth | =INDEX(dms_RPTMonth_List,MATCH(dms_TradingName,dms_TradingName_List))
Dollar $ real (the last month before the FRCP_y1) | 2006-12-01 | dms_DollarReal | =IF(SUM(dms_SingleYear_Model)>0,CONCATENATE(dms_RPTMonth)&" "&VALUE((LEFT(CRY,2))&RIGHT(CRY,2)),CONCATENATE(dms_RPTMonth)&" "&VALUE((LEFT(dms_CRCP_FinalYear_Result,2))&RIGHT(dms_CRCP_FinalYear_Result,2)))
Form of control | Revenue cap | dms_FormControl | =INDEX(dms_FormControl_List,MATCH(dms_TradingName,dms_TradingName_List))
RIN response - version no. | 1 | dms_RINversion
Jurisdiction | Vic | dms_Jurisdiction | =INDEX(dms_JurisdictionList,MATCH(dms_TradingName,dms_TradingName_List))
Backcast Multiyear EB, CA or ARR? | 1 | dms_MultiYear_Flag | 1=y, 0-n
| 2013 | dms_Specified_FinalYear | The result here is returned to dms_CRCP_FinalYear_Result if dms_MultiYear_Flag is set to 1
Single Year Model T/F | 1 | dms_EB
| 0 | dms_CA | =dms_SingleYear_Model
| 0 | dms_ARR
Single Year Final Year Reference | CRY | dms_SingleYear_FinalYear_Ref | This is the reference for EB, CA & ARR RINs
Single Year Final Year Result | 2006 | dms_SingleYear_FinalYear_Result | =INDIRECT(dms_SingleYear_FinalYear_Ref) |  |  |  | Formula errors OK
FRCP length in years | 5 | dms_FRCPlength_Num | =INDEX(dms_FRCPlength_List,MATCH(dms_TradingName,dms_TradingName_List))
Multi Year Final Year Reference | FRCP_y5 | dms_MultiYear_FinalYear_Ref | =INDEX(dms_FinalYear_List,MATCH(dms_FRCPlength_Num,dms_FRCPlength_Num_List))
Multi Year Final Year Result | 2013 | dms_MultiYear_FinalYear_Result | =IF(dms_MultiYear_Flag=0,INDIRECT(dms_MultiYear_FinalYear_Ref),dms_Specified_FinalYear) |  |  |  | Formula errors OK
CRCP length in years | 5 | dms_CRCPlength_Num | =INDEX(dms_CRCPlength_List,MATCH(dms_TradingName,dms_TradingName_List))
CRCP Final Year Reference | CRCP_y5 | dms_CRCP_FinalYear_Ref | =INDEX(dms_CFinalYear_List,MATCH(dms_CRCPlength_Num,dms_CRCPlength_Num_List))
CRCP First Year Result | 2010 | dms_CRCP_FirstYear_Result | =INDEX(dms_CRCP_years,MATCH(dms_CRCPlength_Num,dms_CRCP_index))
CRCP Final Year Result | 2013 | dms_CRCP_FinalYear_Result | =IF(dms_MultiYear_Flag=0,(IF(SUM(dms_SingleYear_Model)>0,CRY,dms_CRCP_yZ)),dms_Specified_FinalYear)
Table 6.6.3 - Public lighting repair - no. business days | 2 | dms_663
Distribution Determination Reference | 2016-20 Distribution Determination
Backcast templates only - unit of measure | $0s | dms_Backcast_UOM | If the cover sheet is for Backcast data ensure to apply dms_Backcast_UOM named range to this field. Otherwise, do not apply this named range.
EB/CA Unit of Measure for Monetary Values | $0s | dms_dollar_nom_UOM | If the cover sheet is attached to an EB files make sure this field is set
discard this record? | NO | dms_DISCARD | If record is to be discarded from DB set this flag to YES
USES NAMED RANGES FLAG | yes | dms_Defined_Names_Used
Contents
Instructions

## 1. Contents
Contents
3. Opex
5. Operational data
2. Revenue
4. Assets (RAB)
7. Quality of services
6. Physical assets
1. Contents
8. Operating environment

## 3.1 Revenue
2. Revenue worksheet
| Scope of services |  | Standard control services | [7 empty] | Alternative control services
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
Variable_Code | Variable | Unit
Table 2.1 Revenue grouping by chargeable quantity
ED_REV210_00001 | Revenue from Fixed Customer Charges | $'000 | 24818368 | 25697651 | 16785690 | 8733170 | 10200636 | 10312431 | 11751106 | 23343250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00002 | Revenue from Energy Delivery charges where time of use is not a determinant | $'000 | 108986967 | 122571927 | 130239284 | 137840176 | 161711816 | 179974311 | 198544678 | 209776826 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00003 | Revenue from On–Peak Energy Delivery charges | $'000 | 94433834 | 99738552 | 106155735 | 104126405 | 118235046 | 126277088 | 132415578 | 145166205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00004 | Revenue from Shoulder period Energy Delivery Charges | $'000 | 2560162 | 4049556 | 4791243 | 5250149 | 6067702 | 9754327 | 11666839 | 17263789 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00005 | Revenue from Off–Peak Energy Delivery charges | $'000 | 37750656 | 37849337 | 39497843 | 37961944 | 41826841 | 44791064 | 47096052 | 45778754 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00006 | Revenue from controlled load customer charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00007 | Revenue from unmetered supplies | $'000 | 3008821 | 3373211 | 3611199 | 3789582 | 4389714 | 3819133 | 4300437 | 6545250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00008 | Revenue from Contracted Maximum Demand charges | $'000 | 32130578 | 32293338 | 34941298 | 37056693 | 42524353 | 22903908 | 23942320 | 43306517 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00009 | Revenue from Measured Maximum Demand charges | $'000 | 0 | 0 | 0 | 0 | 0 | 19684256 | 21306979 | 15559788 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00010 | Revenue from metering charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3139802 | 3307172 | 3372879 | 3563203 | 3656494 | 3518661 | 3874590 | 4011569
ED_REV210_00011 | Revenue from connection charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1623721 | 1767185 | 1841604 | 1909406 | 2110301 | 2892021 | 2649585 | 2289315
ED_REV210_00012 | Revenue from public lighting charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3625192 | 3697775 | 4246883 | 4458706 | 4919749 | 6624657 | 7454150 | 7867933
ED_REV210_00013 | Revenue from other Sources | $'000 | 0 | 0 | 0 | 0 | -17536 | -257457 | -1668598 | -2773521 | 5438291 | 6293149 | 5651775 | 7343826 | 7701451 | 7507629 | 8162397 | 6290406
Table 2.2 Revenue grouping by Customer type or class
ED_REV220_00001 | Revenue from residential Customers | $'000 | 132487375 | 146351800 | 148910683 | 151399163 | 177349881 | 195724516 | 214450469 | 237927407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV220_00002 | Revenue from non-residential customers not on demand tariffs | $'000 | 101003201 | 105066039 | 108470170 | 105524749 | 120172312 | 129434088 | 134748643 | 141050599 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV220_00003 | Revenue from non-residential low voltage demand tariff customers | $'000 | 52506293 | 57130544 | 61219428 | 61115851 | 68301252 | 73702853 | 81466554 | 100151645 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV220_00004 | Revenue from non-residential high voltage demand tariff customers | $'000 | 14683695 | 13651979 | 13810813 | 12928774 | 14725413 | 14578471 | 14389288 | 18291957 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV220_00005 | Revenue from unmetered supplies | $'000 | 3008821 | 3373211 | 3611199 | 3789582 | 4389714 | 3819133 | 4300437 | 6545250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV220_00006 | Revenue from Other Customers | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13827006 | 15065281 | 15113141 | 17275141 | 18387995 | 20542968 | 22140722 | 20459222
Table 2.3 Revenue (penalties) allowed (deducted) through incentive schemes
ED_REV230_00001 | EBSS | $'000 | 6283102 | 6280444 | 6266671 | 6246520 | 6242806 | -3587732 | -3824428 | -4122488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV230_00002 | STPIS | $'000 | 2484636 | 7365368 | -5394595 | -8479758 | 47554623 | 0 | 0 | 15422374 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV230_00003 | Other | $'000 | 0 | 0 | 0 | 0 | 0 | -6123084 | -6527047 | -7035738 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total revenue of incentive schemes | $'000 | 8767738 | 13645812 | 872076 | -2233238 | 53797429 | -9710816 | -10351475 | 4264148 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 3.2 Operating Expenditure
3. Opex worksheet
Scope of services |  | Standard control services (incl AMI) | [7 empty] | Alternative control services
Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
Variable | Unit
Table 3.1 Opex categories
Table 3.1.1 Current opex categories and cost allocations
Maintenance - Routine | $'000 | 6204768 | 6717140 | 8587612 | 9669989 | 11355504 | 16046719 | 10355235 | 12370889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maintenance - Condition based | $'000 | 17917977 | 19506776 | 27679722 | 32599317 | 38281498 | 33167541 | 44278674 | 53264184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maintenance - Emergency | $'000 | 12140916 | 12949043 | 14760535 | 11475368 | 13475567 | 14069505 | 17149161 | 14793034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maintenance - SCADA/Network Control | $'000 | 104253 | 90676 | 139208 | 12302 | 41868 | 9598 | 13042 | 22636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maintenance - AMI | $'000 | 191468 | 554149 | 538081 | 557964 | 839512 | 817386 | 592408 | 983926 | 3908 | 11309 | 10981 | 11387 | 17133 | 0 | 0 | 0
Maintenance - Public Lighting | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1539161 | 2612913 | 2000154 | 1915807 | 1284265 | 2283204 | 2209782 | 2391739
Maintenance - Alternative control -other | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16681 | 12090 | 20080
Maintenance - Bushfire costs | $'000 | 0 | 0 | 0 | 6465970 | 1697439 | 338439 | 73849 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Network Operating Costs | $'000 | 31379381 | 41995532 | 37585695 | 42768287 | 43822267 | 42096561 | 42695416 | 50667374 | 2231571 | 2579854 | 2994475 | 3042867 | 3894124 | 10658688 | 5007393 | 4558017
Billing & Revenue Collection | $'000 | 399731 | 511158 | 721911 | 896467 | 736254 | 374811 | 292487 | 599711 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Advertising/Marketing | $'000 | 969115 | 1097923 | 1535041 | 1893481 | 852467 | 806192 | 218608 | 397803 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Customer Service | $'000 | 2115488 | 3354111 | 3904304 | 4529243 | 5352739 | 3175754 | 2410929 | 9434606 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Regulatory | $'000 | -284091 | 1756121 | 2116558 | 1388371 | 2481912 | 882989 | 795833 | 1044058 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IT | $'000 | 4987509 | 7422512 | 9210482 | 4912659 | 4477193 | 18681724 | 21631500 | 24093766 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Licence fee | $'000 | 157622 | 911568 | 568023 | -263597 | 359756 | -92463 | 38200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GSL payments | $'000 | 2093032 | 4429044 | 1961210 | 8635625 | 4256435 | 3577031 | 6696847 | 5025168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-network alternatives costs | $'000 | 0 | 0 | 0 | 0 | 0 | 36000 | 575127 | 232000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other - Standard Control Services | $'000 | 4354000 | 7674682 | 5394373 | 7842305 | 11546000 | 17529451 | 16714341 | 18798754 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AMI | $'000 | 11470264 | 14217342 | 20671840 | 26189382 | 37719418 | 36175455 | 33987169 | 34962180 | 0 | 0 | 0 | 2596045 | 2831996 | 3242613 | 3821295 | 3877317
Alternative control -other | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6190 | 2697 | 0 | 26622 | 16876 | 0 | 0 | 0
Bushfire & Royal Commission costs | $'000 | 0 | 0 | 0 | 7213477 | 499705 | 114378 | 65650 | 115231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.1.2 Historical opex categories and cost allocations
Maintenance - Subtransmission | $'000 | 3634339 | 4064247 | 4173349 | 4582429 | 5415286 |  |  |  | 0 | 0 | 0 | 0 | 0
Maintenance - Urban | $'000 | 10073004 | 13090334 | 16983823 | 14203124 | 16648837 |  |  |  | 0 | 0 | 0 | 0 | 0
Maintenance - Rural – short | $'000 | 11314699 | 11663700 | 15694803 | 22447694 | 26325345 |  |  |  | 0 | 0 | 0 | 0 | 0
Maintenance - Rural – long | $'000 | 11241620 | 10354678 | 14176033 | 12511427 | 14723101 |  |  |  | 0 | 0 | 0 | 0 | 0
Maintenance - Metering - excluded services | $'000 | 0 | 0 | 0 | 0 | 0 |  |  |  | 3908 | 11309 | 10981 | 11387 | 17133
Maintenance - METERING - RBPC | $'000 | 191468 | 554149 | 538081 | 557964 | 839512 |  |  |  | 0 | 0 | 0 | 0 | 0
Maintenance - Public Lighting | $'000 | 0 | 0 | 0 | 0 | 0 |  |  |  | 1539161 | 2612913 | 2000154 | 1915807 | 1284265
Maintenance - SCADA/Network control | $'000 | 104253 | 90676 | 139208 | 12302 | 41868 |  |  |  | 0 | 0 | 0 | 0 | 0
Maintenance- Bushfire costs | $'000 | 0 | 0 | 0 | 6465970 | 1697439 |  |  |  | 0 | 0 | 0 | 0 | 0
Network Operating Costs | $'000 | 31379381 | 41995532 | 37585695 | 42768287 | 43822267 |  |  |  | 2231571 | 2579854 | 2994475 | 3042867 | 3894124
Meter Data Services | $'000 | 11470264 | 14217342 | 20671840 | 26189382 | 37719418 |  |  |  | 0 | 0 | 0 | 2596045 | 2831996
Billing & Revenue Collection | $'000 | 399731 | 511158 | 721911 | 896467 | 736254 |  |  |  | 0 | 0 | 0 | 0 | 0
Advertising & Marketing | $'000 | 969115 | 1097923 | 1535041 | 1893481 | 852467 |  |  |  | 0 | 0 | 0 | 0 | 0
Customer Service | $'000 | 2115488 | 3354111 | 3904304 | 4529243 | 5352739 |  |  |  | 0 | 0 | 0 | 0 | 0
Regulatory | $'000 | -284091 | 1756121 | 2116558 | 1388371 | 2481912 |  |  |  | 0 | 0 | 0 | 0 | 0
Other | $'000 | 11592502 | 20437686 | 17134175 | 21126591 | 20639858 |  |  |  | 6190 | 2697 | 0 | 26622 | 16876
Bushfire & Royal Commission costs | $'000 | 0 | 0 | 0 | 7213477 | 499705 |  |  |  | 0 | 0 | 0 | 0 | 0
Table 3.2 Opex consistency
Table 3.2.1 Opex consistency - current cost allocation approach
Opex for network services | $'000 | 82540041 | 104522864 | 117354963 | 139244322 | 139237080 | 145236239 | 158632404 | 181028396
Opex for metering | $'000 | 11661731 | 18664794 | 18019858 | 27541888 | 38558930 | 42570834 | 39952069 | 44068527 | 316887 | 1502576 | 1340772 | 2849797 | 3640027 | 4991852 | 4410109 | 4455579
Opex for connection services | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2105792 | 1798998 | 1686446 | 2444363 | 2495918 | 8155573 | 3429316 | 3394828
Opex for public lighting | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1248329 | 1647423 | 1680902 | 1915807 | 1284265 | 2283204 | 2209782 | 2391739
Opex for amounts payable for easement levy or similar direct charges on DNSP | $'000 | 2778865 | 4750476 | 4645438 | 5672103 | 9878284 | 11839389 | 12555947 | 13283394 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Opex for transmission connection point planning | $'000 | 37646 | 38733 | 40167 | 40993 | 42123 | 43384 | 44340 | 45558 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.2.2 Opex consistency - historical cost allocation approaches
Opex for network services | $'000 | 81250614.0268 | 103209386.4511 | 116017524.6347 | 137883296.3585 | 137860360.8765 | 143839818.508 | 157205919.2177 | 179574566.5094
Opex for metering | $'000 | 11661731 | 18664794 | 18019858 | 27541888 | 38558930 | 42570834 | 39952069 | 44068527 | 316887 | 1502576 | 1340772 | 2849797 | 3640027 | 4991852 | 4410109 | 4455579
Opex for connection services | $'000 | 1251780.9732 | 1274744.5489 | 1297271.3653 | 1320032.6415 | 1334596.1235 | 1353036.492 | 1382144.7823 | 1408271.4906 | 2105792 | 1798998 | 1686446 | 2444363 | 2495918 | 8155573 | 3429316 | 3394828
Opex for public lighting | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1248329 | 1647423 | 1680902 | 1915807 | 1284265 | 2283204 | 2209782 | 2391739
Opex for amounts payable for easement levy or similar direct charges on DNSP | $'000 | 2778865 | 4750476 | 4645438 | 5672103 | 9878284 | 11839389 | 12555947 | 13283394 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Opex for transmission connection point planning | $'000 | 37646 | 38733 | 40167 | 40993 | 42123 | 43384 | 44340 | 45558 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.4 Opex for high voltage customers |  | Standard control services (incl AMI) 2006: End user costs (not standard control services)
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
Opex for high voltage customers | $'000 | 243717 | 140545 | 260053 | 271953 | 295641 | 304151 | 185831 | 191493

## 3.3 Assets (RAB)
4. Assets (RAB) worksheet
| Scope of services |  | Network services | [8 empty] | Standard control services | [8 empty] | Alternative control services
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 4.1 Regulatory Asset Base Values
For total asset base:
ED_RAB410_00001 | Opening value | $'000 | 1264717187.3972 | 1365589455.0494 | 1481845559.6482 | 1624751299.3557 | 1858761666.8045 | 2077259192.3929 | 2276705563.2903 | 2562318006.9176 |  | 1353260641.2629 | 1438779485.4043 | 1539175133.8313 | 1664056460.5966 | 1879981443.821 | 2093438548.0311 | 2276705563.2903 | 2562318006.9176 |  | 553999 | 1517249 | 1957658 | 3075020 | 4328281 | 7454168.212 | 7194579.5256 | 8065995.9352
ED_RAB410_00002 | Inflation addition | $'000 | 38272046.9364 | 53784898.4298 | 27600206.3133 | 80930234.9616 | 23443840.8426 | 57906988.1628 | 80137933.8492 | 51349058.2549 |  | 40951491.2074 | 56667549.8257 | 28668001.8504 | 82888058.2517 | 23711477.6698 | 58358014.091 | 80137933.8492 | 51349058.2549 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB410_00003 | Straight line depreciation | $'000 | -56565419.6469 | -66700723.3625 | -73552324.6463 | -82384991.3794 | -88913315.4879 | -130732864.0211 | -112282345.4523 | -129504237.729 |  | -74598287.4288 | -85443830.9301 | -92644533.1256 | -102428198.8939 | -109209320.2143 | -147363245.5876 | -112282345.4523 | -129504237.729 |  | -37750.0949 | -64451.5428 | -94900.1142 | -141121.3608 | -191079.1239 | -247498.043 | -312499.7551 | -387278.1397
ED_RAB410_00004 | bar: Network services 2006 to Network services 2012
ED_RAB410_00005 | Actual additions (recognised in RAB) | $'000 | 119200640.3628 | 129699661.1498 | 188932858.0405 | 235768123.8667 | 256945311.3478 | 272384929.1057 | 322240395.9904 | 379421116.1734 |  | 119200640.3628 | 129699929.5315 | 188932858.0405 | 235768614.6207 | 256945311.3478 | 272384929.1057 | 322240395.9904 | 379421116.1734 |  | 1001213 | 504860 | 1212262 | 1394382.6761 | 3316966.336 | -12090.6434 | 1183916.1648 | 1397402.8008
ED_RAB410_00006 | Disposals | $'000 | -35000 | -527731.6183 | -75000 | -303000 | -814000 | -112682.35 | -4483540.76 | -5636079.19 |  | -35000 | -528000 | -75000 | -303490.754 | -814000 | -112682.35 | -4483540.76 | -5636079.19 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB410_00007 | Closing value | $'000 | 1365589455.0494 | 1481845559.6482 | 1624751299.3557 | 1858761666.8045 | 2077259192.3929 | 2276705563.2903 | 2562318006.9176 | 2857947864.4268 |  | 1438779485.4043 | 1539175133.8313 | 1664056460.5966 | 1879981443.821 | 2093438548.0311 | 2276705563.2903 | 2562318006.9176 | 2857947864.4268 |  | 1517249 | 1957658 | 3075020 | 4328281.3152 | 7454168.212 | 7194579.5256 | 8065995.9352 | 9076120.5963
Table 4.2 Asset value roll forward
For overhead network assets less than 33kV:
ED_RAB421_00001 | Opening value | $'000 | 534169780.2778 | 581124747.0633 | 637003928.2138 | 697330124.1217 | 799415562.9958 | 897588074.412 | 990077079.9302 | 1099621886.6639 |  | 534169780.2778 | 581124747.0633 | 637003928.2138 | 697330124.1217 | 799415562.9958 | 897588074.412 | 990077079.9302 | 1099621886.6639 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB421_00002 | Inflation addition | $'000 | 16164697.615 | 22888090.8389 | 11864556.1453 | 34734602.6517 | 10082718.8126 | 25021731.6117 | 34849799.1204 | 22036510.7548 |  | 16164697.615 | 22888090.8389 | 11864556.1453 | 34734602.6517 | 10082718.8126 | 25021731.6117 | 34849799.1204 | 22036510.7548 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB421_00003 | Straight line depreciation | $'000 | -17109356.2046 | -19109826.8501 | -20920412.4666 | -23628610.8711 | -25711511.1268 | -31726944.6884 | -34694125.6811 | -37322196.0097 |  | -17109356.2046 | -19109826.8501 | -20920412.4666 | -23628610.8711 | -25711511.1268 | -31726944.6884 | -34694125.6811 | -37322196.0097 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB421_00004
ED_RAB421_00005 | Actual additions (recognised in RAB) | $'000 | 47899625.375 | 52157085.7699 | 69382052.2292 | 90979447.0935 | 88428004.4269 | 99194218.5948 | 110158316.3925 | 129087683.2797 |  | 47899625.375 | 52157085.7699 | 69382052.2292 | 90979447.0935 | 88428004.4269 | 99194218.5948 | 110158316.3925 | 129087683.2797 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB421_00006 | Disposals | $'000 | 0 | -56168.6083 | 0 | 0 | 0 | 0 | -769183.0981 | -2382886.5591 |  | 0 | -56168.6083 | 0 | 0 | 0 | 0 | -769183.0981 | -2382886.5591 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB421_00007 | Closing value | $'000 | 581124747.0633 | 637003928.2138 | 697330124.1217 | 799415562.9958 | 897588074.412 | 990077079.9302 | 1099621886.6639 | 1211040998.1297 |  | 581124747.0633 | 637003928.2138 | 697330124.1217 | 799415562.9958 | 897588074.412 | 990077079.9302 | 1099621886.6639 | 1211040998.1297 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For underground network assets less than 33kV:
ED_RAB422_00001 | Opening value | $'000 | 340738978.7537 | 370690855.5176 | 406335356.2396 | 444816541.7066 | 509935328.7887 | 572558117.4913 | 631555482.0928 | 701432489.2773 |  | 340738978.7537 | 370690855.5176 | 406335356.2396 | 444816541.7066 | 509935328.7887 | 572558117.4913 | 631555482.0928 | 701432489.2773 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB422_00002 | Inflation addition | $'000 | 10311220.8151 | 14599973.6152 | 7568224.3616 | 22156687.7647 | 6431616.7595 | 15960991.4129 | 22230169.8832 | 14056763.3122 |  | 10311220.8151 | 14599973.6152 | 7568224.3616 | 22156687.7647 | 6431616.7595 | 15960991.4129 | 22230169.8832 | 14056763.3122 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB422_00003 | Straight line depreciation | $'000 | -10913804.516 | -12189875.0649 | -13344820.7708 | -15072340.3585 | -16400991.5331 | -20238147.3667 | -22130868.1056 | -23807275.1824 |  | -10913804.516 | -12189875.0649 | -13344820.7708 | -15072340.3585 | -16400991.5331 | -20238147.3667 | -22130868.1056 | -23807275.1824 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB422_00004
ED_RAB422_00005 | Actual additions (recognised in RAB) | $'000 | 30554460.4648 | 33270231.2938 | 44257781.8762 | 58034439.6759 | 56406912.248 | 63274520.5554 | 70268355.8948 | 82343118.2264 |  | 30554460.4648 | 33270231.2938 | 44257781.8762 | 58034439.6759 | 56406912.248 | 63274520.5554 | 70268355.8948 | 82343118.2264 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB422_00006 | Disposals | $'000 | 0 | -35829.122 | 0 | 0 | 0 | 0 | -490650.4879 | -1520007.9873 |  | 0 | -35829.122 | 0 | 0 | 0 | 0 | -490650.4879 | -1520007.9873 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB422_00007 | Closing value | $'000 | 370690855.5176 | 406335356.2396 | 444816541.7066 | 509935328.7887 | 572558117.4913 | 631555482.0928 | 701432489.2773 | 772505087.6462 |  | 370690855.5176 | 406335356.2396 | 444816541.7066 | 509935328.7887 | 572558117.4913 | 631555482.0928 | 701432489.2773 | 772505087.6462 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For distribution substations and transformers:
ED_RAB423_00001 | Opening value | $'000 | 167617996.2129 | 182352070.9124 | 199886489.2197 | 218816343.4543 | 250849897.8379 | 281655608.4085 | 310677882.5038 | 345052123.9495 |  | 167617996.2129 | 182352070.9124 | 199886489.2197 | 218816343.4543 | 250849897.8379 | 281655608.4085 | 310677882.5038 | 345052123.9495 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB423_00002 | Inflation addition | $'000 | 5072346.5154 | 7182090.9104 | 3722998.1936 | 10899426.9438 | 3163872.5853 | 7851609.4871 | 10935574.6294 | 6914872.2234 |  | 5072346.5154 | 7182090.9104 | 3722998.1936 | 10899426.9438 | 3163872.5853 | 7851609.4871 | 10935574.6294 | 6914872.2234 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB423_00003 | Straight line depreciation | $'000 | -5368772.4566 | -5996503.3644 | -6564649.9429 | -7414459.8847 | -8068056.5127 | -9955649.1044 | -10886725.61 | -11711392.0337 |  | -5368772.4566 | -5996503.3644 | -6564649.9429 | -7414459.8847 | -8068056.5127 | -9955649.1044 | -10886725.61 | -11711392.0337 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB423_00004
ED_RAB423_00005 | Actual additions (recognised in RAB) | $'000 | 15030500.6407 | 16366455.9993 | 21771505.984 | 28548587.3245 | 27747966.0183 | 31126313.7127 | 34566755.6302 | 40506632.172 |  | 15030500.6407 | 16366455.9993 | 21771505.984 | 28548587.3245 | 27747966.0183 | 31126313.7127 | 34566755.6302 | 40506632.172 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB423_00006 | Disposals | $'000 | 0 | -17625.2381 | 0 | 0 | 0 | 0 | -241363.204 | -747729.8136 |  | 0 | -17625.2381 | 0 | 0 | 0 | 0 | -241363.204 | -747729.8136 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB423_00007 | Closing value | $'000 | 182352070.9124 | 199886489.2197 | 218816343.4543 | 250849897.8379 | 281655608.4085 | 310677882.5038 | 345052123.9495 | 380014506.4976 |  | 182352070.9124 | 199886489.2197 | 218816343.4543 | 250849897.8379 | 281655608.4085 | 310677882.5038 | 345052123.9495 | 380014506.4976 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For overhead network assets 33kV and above:
ED_RAB424_00001 | Opening value | $'000 | 50331694.1513 | 54264625.9999 | 58077873.6521 | 65365073.4432 | 75624319.5101 | 69050053.7654 | 76538354.548 | 91950500.4883 |  | 50331694.1513 | 54264625.9999 | 58077873.6521 | 65365073.4432 | 75624319.5101 | 69050053.7654 | 76538354.548 | 91950500.4883 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB424_00002 | Inflation addition | $'000 | 1523104.9124 | 2137258.3004 | 1081733.0353 | 3255889.5347 | 953820.2461 | 1924882.8748 | 2694079.4157 | 1842695.4006 |  | 1523104.9124 | 2137258.3004 | 1081733.0353 | 3255889.5347 | 953820.2461 | 1924882.8748 | 2694079.4157 | 1842695.4006 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB424_00003 | Straight line depreciation | $'000 | -1677636.4807 | -2025319.792 | -2376723.443 | -2838504.6064 | -3242642.3992 | -2407937.8085 | -3146487.7756 | -3840653.1757 |  | -1677636.4807 | -2025319.792 | -2376723.443 | -2838504.6064 | -3242642.3992 | -2407937.8085 | -3146487.7756 | -3840653.1757 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB424_00004
ED_RAB424_00005 | Actual additions (recognised in RAB) | $'000 | 4087463.417 | 3716397.1727 | 8582190.1987 | 9841861.1386 | 9052266.117 | 7971355.7162 | 15864554.3002 | 22792827.5715 |  | 4087463.417 | 3716397.1727 | 8582190.1987 | 9841861.1386 | 9052266.117 | 7971355.7162 | 15864554.3002 | 22792827.5715 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB424_00006 | Disposals | $'000 | 0 | -15088.0288 | 0 | 0 | 0 | 0 | 0 | -59394.6547 |  | 0 | -15088.0288 | 0 | 0 | 0 | 0 | 0 | -59394.6547 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB424_00007 | Closing value | $'000 | 54264625.9999 | 58077873.6521 | 65365073.4432 | 75624319.5101 | 69050053.7654 | 76538354.548 | 91950500.4883 | 112685975.63 |  | 54264625.9999 | 58077873.6521 | 65365073.4432 | 75624319.5101 | 69050053.7654 | 76538354.548 | 91950500.4883 | 112685975.63 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For underground network assets 33kV and above:
ED_RAB425_00001 | Opening value | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB425_00002 | Inflation addition | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB425_00003 | Straight line depreciation | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB425_00004
ED_RAB425_00005 | Actual additions (recognised in RAB) | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB425_00006 | Disposals | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB425_00007 | Closing value | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Zone substations and transformers
ED_RAB426_00001 | Opening value | $'000 | 96809002.9707 | 104373683.9821 | 111708161.9789 | 125724510.0894 | 145457352.3813 | 132812276.0981 | 147215425.9409 | 176859460.5255 |  | 96809002.9707 | 104373683.9821 | 111708161.9789 | 125724510.0894 | 145457352.3813 | 132812276.0981 | 147215425.9409 | 176859460.5255 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB426_00002 | Inflation addition | $'000 | 2929570.929 | 4110846.0313 | 2080627.2944 | 6262444.0713 | 1834597.2372 | 3702358.8236 | 5181847.0758 | 3544277.766 |  | 2929570.929 | 4110846.0313 | 2080627.2944 | 6262444.0713 | 1834597.2372 | 3702358.8236 | 5181847.0758 | 3544277.766 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB426_00003 | Straight line depreciation | $'000 | -3226800.0866 | -3895541.2303 | -4571438.1511 | -5459637.4214 | -6236964.2617 | -4631476.4959 | -6052018.5055 | -7387190.3373 |  | -3226800.0866 | -3895541.2303 | -4571438.1511 | -5459637.4214 | -6236964.2617 | -4631476.4959 | -6052018.5055 | -7387190.3373 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB426_00004
ED_RAB426_00005 | Actual additions (recognised in RAB) | $'000 | 7861910.1691 | 7148193.8169 | 16507158.9672 | 18930035.642 | 17411312.5376 | 15332267.5151 | 30514206.0143 | 43840187.5655 |  | 7861910.1691 | 7148193.8169 | 16507158.9672 | 18930035.642 | 17411312.5376 | 15332267.5151 | 30514206.0143 | 43840187.5655 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB426_00006 | Disposals | $'000 | 0 | -29020.6212 | 0 | 0 | 0 | 0 | 0 | -114240.8853 |  | 0 | -29020.6212 | 0 | 0 | 0 | 0 | 0 | -114240.8853 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB426_00007 | Closing value | $'000 | 104373683.9821 | 111708161.9789 | 125724510.0894 | 145457352.3813 | 132812276.0981 | 147215425.9409 | 176859460.5255 | 216742494.6344 |  | 104373683.9821 | 111708161.9789 | 125724510.0894 | 145457352.3813 | 132812276.0981 | 147215425.9409 | 176859460.5255 | 216742494.6344 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For easements:
ED_RAB427_00001 | Opening value | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB427_00002 | Inflation addition | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB427_00003 | Actual additions (recognised in RAB) | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB427_00004 | Disposals | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB427_00005 | Closing value | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For meters:
ED_RAB428_00001 | Opening value | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 59635518.1199 | 49294726.9489 | 38612440.6801 | 26472692.8198 | 14291879.7665 | 15790380.771 | 9.0949e-09 | 9.0949e-09 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB428_00002 | Inflation addition | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1804651.1673 | 1941514.6128 | 719178.407 | 1318627.1959 | 180257.943 | 440182.6194 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB428_00003 | Straight line depreciation | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -12145442.3383 | -12623800.8816 | -12858926.2674 | -13499440.2492 | -13669703.4595 | -16230563.3903 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB428_00004
ED_RAB428_00005 | Actual additions (recognised in RAB) | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB428_00006 | Disposals | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB428_00007 | Closing value | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 49294726.9489 | 38612440.6801 | 26472692.8198 | 14291879.7665 | 15790380.771 | 9.0949e-09 | 9.0949e-09 | 9.0949e-09 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For “other” asset items with long lives:
ED_RAB429_00001 | Opening value | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 28907935.7459 | 23895303.406 | 18717133.503 | 12832468.4212 | 6927897.2499 | 388974.8672 | 1.2506e-09 | 1.3463e-09 |  | 553999 | 1517249 | 1957658 | 3075020 | 4328281 | 7454168.212 | 7194579.5256 | 8065995.9352
ED_RAB429_00002 | Inflation addition | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 874793.1037 | 941136.783 | 348617.1301 | 639196.0941 | 87378.8842 | 10843.3089 | 9.5743e-11 | 5.6429e-11 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB429_00003 | Straight line depreciation | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -5887425.4436 | -6119306.686 | -6233282.212 | -6543767.2654 | -6626301.2669 | -399818.1761 | 0 | 0 |  | -37750.0949 | -64451.5428 | -94900.1142 | -141121.3608 | -191079.1239 | -247498.043 | -312499.7551 | -387278.1397
ED_RAB429_00004
ED_RAB429_00005 | Actual additions (recognised in RAB) | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1001213 | 504860 | 1212262 | 1394382.6761 | 3316966.336 | -12090.6434 | 1183916.1648 | 1397402.8008
ED_RAB429_00006 | Disposals | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB429_00007 | Closing value | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 23895303.406 | 18717133.503 | 12832468.4212 | 6927897.2499 | 388974.8672 | 1.2506e-09 | 1.3463e-09 | 1.4027e-09 |  | 1517249 | 1957658 | 3075020 | 4328281.3152 | 7454168.212 | 7194579.5256 | 8065995.9352 | 9076120.5963
For “other” asset items with short lives:
ED_RAB4210_00001 | Opening value | $'000 | 75049735.0307 | 72783471.5741 | 68833750.3441 | 72698706.5405 | 77479205.2907 | 123595062.2177 | 120641338.2746 | 147401546.0132 |  | 75049735.0307 | 72783471.5741 | 68833750.3441 | 72698706.5405 | 77479205.2907 | 123595062.2177 | 120641338.2746 | 147401546.0132 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB4210_00002 | Inflation addition | $'000 | 2271106.1495 | 2866638.7336 | 1282067.2832 | 3621183.9954 | 977215.2019 | 3445413.9527 | 4246463.7246 | 2953938.7979 |  | 2271106.1495 | 2866638.7336 | 1282067.2832 | 3621183.9954 | 977215.2019 | 3445413.9527 | 4246463.7246 | 2953938.7979 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB4210_00003 | Straight line depreciation | $'000 | -18269049.9023 | -23483657.0608 | -25774279.8719 | -27971438.2373 | -29253149.6545 | -61772708.5572 | -35372119.7744 | -45435530.9903 |  | -18269049.9023 | -23483657.0608 | -25774279.8719 | -27971438.2373 | -29253149.6545 | -61772708.5572 | -35372119.7744 | -45435530.9903 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB4210_00004
ED_RAB4210_00005 | Actual additions (recognised in RAB) | $'000 | 13766680.2963 | 17041297.0972 | 28432168.7851 | 29433752.9922 | 57898850 | 55486253.0114 | 60868207.7583 | 60850667.3582 |  | 13766680.2963 | 17041297.0972 | 28432168.7851 | 29433752.9922 | 57898850 | 55486253.0114 | 60868207.7583 | 60850667.3582 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB4210_00006 | Disposals | $'000 | -35000 | -374000 | -75000 | -303000 | -814000 | -112682.35 | -2982343.97 | -811819.29 |  | -35000 | -374000 | -75000 | -303000 | -814000 | -112682.35 | -2982343.97 | -811819.29 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB4210_00007 | Closing value | $'000 | 72783471.5741 | 68833750.3441 | 72698706.5405 | 77479205.2907 | 123595062.2177 | 120641338.2746 | 147401546.0132 | 164958801.889 |  | 72783471.5741 | 68833750.3441 | 72698706.5405 | 77479205.2907 | 123595062.2177 | 120641338.2746 | 147401546.0132 | 164958801.889 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 4.3 Total disaggregated RAB asset values
ED_RAB430_00001 | Overhead distribution assets | $'000 | 557647263.6706 | 609064337.6385 | 667167026.1677 | 748372843.5587 | 848501818.7039 | 943832577.1711 | 1044849483.297 | 1155331442.3968 |  | 557647263.6706 | 609064337.6385 | 667167026.1677 | 748372843.5587 | 848501818.7039 | 943832577.1711 | 1044849483.297 | 1155331442.3968 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00002 | Underground distribution assets | $'000 | 355714917.1356 | 388513105.8786 | 425575948.9731 | 477375935.2477 | 541246723.14 | 602056799.7921 | 666493985.6851 | 736968788.4618 |  | 355714917.1356 | 388513105.8786 | 425575948.9731 | 477375935.2477 | 541246723.14 | 602056799.7921 | 666493985.6851 | 736968788.4618 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00003 | Distribution substations including transformers | $'000 | 174985033.5627 | 191119280.066 | 209351416.337 | 234833120.6461 | 266252753.1232 | 296166745.4561 | 327865003.2266 | 362533315.2235 |  | 174985033.5627 | 191119280.066 | 209351416.337 | 234833120.6461 | 266252753.1232 | 296166745.4561 | 327865003.2266 | 362533315.2235 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00004 | Overhead assets 33kV and above (wires and towers / poles etc) | $'000 | 52298160.0756 | 56171249.826 | 61721473.5477 | 70494696.4766 | 72337186.6378 | 72794204.1567 | 84244427.5181 | 102318238.0592 |  | 52298160.0756 | 56171249.826 | 61721473.5477 | 70494696.4766 | 72337186.6378 | 72794204.1567 | 84244427.5181 | 102318238.0592 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00005 | Underground assets 33kV and above (cables, ducts etc) | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00006 | Zone substations | $'000 | 100591343.4764 | 108040922.9805 | 118716336.0341 | 135590931.2354 | 139134814.2397 | 140013851.0195 | 162037443.2332 | 196800977.5799 |  | 100591343.4764 | 108040922.9805 | 118716336.0341 | 135590931.2354 | 139134814.2397 | 140013851.0195 | 162037443.2332 | 196800977.5799 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00007 | Easements | $'000
ED_RAB430_00008 | Meters | $'000 | 9.0949e-09 | 9.0949e-09 | 9.0949e-09 | 9.0949e-09 | 9.0949e-09 | 9.0949e-09 | 9.0949e-09 | 9.0949e-09 |  | 54465122.5344 | 43953583.8145 | 32542566.7499 | 20382286.2932 | 15041130.2688 | 7895190.3855 | 9.0949e-09 | 9.0949e-09 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00009 | Other assets with long lives (please specify) | $'000 | 1.3463e-09 | 1.3463e-09 | 1.3463e-09 | 1.3463e-09 | 1.3463e-09 | 1.3463e-09 | 1.3463e-09 | 1.3463e-09 |  | 26401619.5759 | 21306218.4545 | 15774800.9621 | 9880182.8355 | 3658436.0585 | 194487.4336 | 1.2984e-09 | 1.3745e-09 |  | 1035624 | 1737453.5 | 2516339 | 3701650.6576 | 5891224.606 | 7324373.8688 | 7630287.7304 | 8571058.2658
ED_RAB430_00010 | Other assets with short lives (please specify) | $'000 | 73916603.3024 | 70808610.9591 | 70766228.4423 | 75088955.9156 | 100537133.7542 | 122118200.2462 | 134021442.1439 | 156180173.9511 |  | 73916603.3024 | 70808610.9591 | 70766228.4423 | 75088955.9156 | 100537133.7542 | 122118200.2462 | 134021442.1439 | 156180173.9511 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00011
ED_RAB430_00012
ED_RAB430_00013 | value of capital contributions or contributed assets (included in the above) | $'000 | 24675869.354 | 20640908.28 | 19895559.99 | 25829743.13 | 32713460.59 | 29614305.87 | 24698322.76 | 22796053.15 |  | 24675869.354 | 20640908.28 | 19895559.99 | 25829743.13 | 32713460.59 | 29614305.87 | 24698322.76 | 22796053.15 |  | 927876 | 1139496 | 1013266 | 2276239 | 1088295 | 4042001 | 1340087 | 509939
Table 4.4 Asset lives
Table 4.4.1 Asset Lives – estimated service life of new assets
ED_RAB441_00001 | Overhead network assets less than 33kV (wires and poles) | years | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 47 |  | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 47 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00002 | Underground network assets less than 33kV (cables) | years | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 |  | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00003 | Distribution substations including transformers | years | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62 |  | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00004 | Overhead network assets 33kV and above (wires and towers / poles etc) | years | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 |  | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00005 | Underground network assets 33kV and above(cables, ducts etc) | years | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 |  | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00006 | Zone substations and transformers | years | 57 | 57 | 57 | 57 | 57 | 57 | 57 | 57 |  | 57 | 57 | 57 | 57 | 57 | 57 | 57 | 57 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00007 | Meters | years | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5 | 5 | 5 | 5 | 5 | 5 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00008 | “Other” assets with long lives | years | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5 | 5 | 5 | 5 | 5 | 5 | 0 | 0 |  | 30.1761 | 30.1747 | 30.1747 | 30.1754 | 30.1191 | 28.1264 | 27.9339 | 27.2477
ED_RAB441_00009 | “Other” assets with short lives | years | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 4.4.2 Asset Lives – estimated residual service life
ED_RAB442_00001 | Overhead network assets less than 33kV (wires and poles) | years | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 |  | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00002 | Underground network assets less than 33kV (cables) | years | 43 | 43 | 43 | 43 | 43 | 43 | 43 | 43 |  | 43 | 43 | 43 | 43 | 43 | 43 | 43 | 43 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00003 | Distribution substations including transformers | years | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 |  | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00004 | Overhead network assets 33kV and above (wires and towers / poles etc) | years | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 |  | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00005 | Underground network assets 33kV and above (cables, ducts etc) | years | 43 | 43 | 43 | 43 | 43 | 43 | 43 | 43 |  | 43 | 43 | 43 | 43 | 43 | 43 | 43 | 43 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00006 | Zone substations and transformers | years | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 |  | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00007 | Meters | years | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5 | 4 | 3 | 2 | 1 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00008 | “Other” assets with long lives | years | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5 | 4 | 3 | 2 | 1 | 0 | 0 | 0 |  | 29.8157 | 29.1472 | 28.8961 | 28.5757 | 28.168 | 27.3697 | 26.6586 | 25.9445
ED_RAB442_00009 | “Other” assets with short lives | years | 2.7642 | 2.7642 | 2.7642 | 2.7642 | 2.7642 | 2.7642 | 2.7642 | 2.7642 |  | 2.7642 | 2.7642 | 2.7642 | 2.7642 | 2.7642 | 2.7642 | 2.7642 | 2.7642 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 3.4 Operational data
5. Operational data worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Units
Table 5.1 Energy delivery
ED_OPD510_99999 | Total energy delivered | GWh | 7397.903 | 7499.952 | 7885.814 | 7750.028 | 7909.096 | 7629.531 | 7594.743 | 7501
Table 5.1.1 Energy grouping - delivery by chargeable quantity
ED_OPD511_00001 | Energy Delivery where time of use is not a determinant | GWh | 2555.803 | 2614.679 | 2736.743 | 2767.355 | 2779.54 | 2622.659 | 2555.539 | 2406
ED_OPD511_00002 | Energy Delivery at On-peak times | GWh | 2214.377 | 2221.226 | 2327.079 | 2234.578 | 2295.815 | 2254.94 | 2145.553 | 2205
ED_OPD511_00003 | Energy Delivery at Shoulder times | GWh | 138.319 | 189.874 | 236.05 | 252.057 | 278.288 | 390.705 | 405.053 | 412
ED_OPD511_00004 | Energy Delivery at Off-peak times | GWh | 2413.503 | 2396.974 | 2505.002 | 2413.31 | 2469.875 | 2292.965 | 2418.388 | 2407
ED_OPD511_00005 | Controlled load energy deliveries | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD511_00006 | Energy Delivery to unmetered supplies | GWh | 75.938 | 77.27 | 81.092 | 82.728 | 85.578 | 68.262 | 70.211 | 71
Table 5.1.2 Energy - received from TNSP and other DNSPs by time of receipt
ED_OPD512_00001 | Energy into DNSP network at On-peak times | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD512_00002 | Energy into DNSP network at Shoulder times | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD512_00003 | Energy into DNSP network at Off-peak times | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD512_00004 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 7752.097 | 7602.142 | 7837.422 | 7789.341 | 8027.936 | 7591.647 | 7587.867 | 7356.66
Table 5.1.3 Energy - received into DNSP system from embedded generation by time of receipt
ED_OPD513_00001 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD513_00002 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD513_00003 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD513_00004 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 437.204 | 695.192 | 596.576 | 553.064 | 518.136 | 573.217 | 572.912 | 563.239
ED_OPD513_00005 | Energy into DNSP network at On-peak times from residential embedded generation | GWh
ED_OPD513_00006 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh
ED_OPD513_00007 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh
ED_OPD513_00008 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 0.036 | 0.071 | 0.15 | 1.154 | 4.148 | 17.148 | 49.802 | 88.172
Table 5.1.4 Energy grouping - customer type or class
ED_OPD514_00001 | Residential customers energy deliveries | GWh | 3228.986 | 3230.566 | 3354.833 | 3377.737 | 3398.359 | 3259.401 | 3247.48 | 3129
ED_OPD514_00002 | Non-residential customers not on demand tariffs energy deliveries | GWh | 1855.918 | 1876.687 | 1939.293 | 1887.432 | 1880.312 | 1780.929 | 1772.361 | 1744
ED_OPD514_00003 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 1240.725 | 1333.102 | 1443.996 | 1445.838 | 1503.948 | 1535.736 | 1521.797 | 1593
ED_OPD514_00004 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 996.373 | 982.398 | 1066.751 | 956.293 | 1040.972 | 985.203 | 982.894 | 964
ED_OPD514_00005 | Other Customer Class Energy Deliveries | GWh | 75.902 | 77.199 | 80.941 | 81.574 | 85.577 | 68.262 | 70.211 | 71
5.2 Customer numbers
Table 5.2.1 Distribution customer numbers by customer type or class
ED_OPD521_00001 | Residential customer numbers | number | 529755.0294 | 541202.1268 | 551564.4975 | 561906.5266 | 569316.2483 | 579328.7663 | 592781.8276 | 605679.0421
ED_OPD521_00002 | Non-residential customers not on demand tariff customer numbers | number | 72350.5638 | 71829.0606 | 72180.3808 | 72620.0475 | 72099.5578 | 70876.1095 | 71329.9593 | 70937.1504
ED_OPD521_00003 | Low voltage demand tariff customer numbers | number | 1101.7694 | 1245.4297 | 1387.939 | 1575.8612 | 1707.1694 | 1807.6244 | 1929.4491 | 2010.6008
ED_OPD521_00004 | High voltage demand tariff customer numbers | number | 99.6374 | 97.8829 | 98.6827 | 99.0647 | 97.5245 | 95.4998 | 95.764 | 102.2068
ED_OPD521_00005 | Unmetered Customer Numbers | number | 2101 | 2211 | 2321 | 2412 | 2474 | 2533 | 2566 | 2570
ED_OPD521_00006 | Other Customer Numbers | number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total customer numbers | number | 605408 | 616585.5 | 627552.5 | 638613.5 | 645694.5 | 654641 | 668703 | 681299
Table 5.2.2 Distribution customer numbers by location on the network
ED_OPD522_00001 | Customers on CBD network | number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD522_00002 | Customers on Urban network | number | 265485.7081 | 245614.5673 | 237775.8314 | 233203.4411 | 292619.1437 | 296673.5646 | 243254.2184 | 296230.2813
ED_OPD522_00003 | Customers on Short rural network | number | 216013.072 | 250308.8434 | 265691.9365 | 280524.3318 | 231959.4026 | 235173.3447 | 300245.5625 | 266484.8687
ED_OPD522_00004 | Customers on Long rural network | number | 123909.22 | 120662.0893 | 124084.7331 | 124885.7282 | 121115.9537 | 122794.0907 | 125203.2192 | 118583.85
| Total customer numbers | number | 605408 | 616585.5 | 627552.501 | 638613.501 | 645694.5 | 654641 | 668703 | 681299
5.3 System demand
Table 5.3.1 Annual system maximum demand characteristics at the zone substation level – MW measure
ED_OPD531_00001 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 1598.644 | 1670.261 | 1781.2 | 1874.7311 | 1833.3341 | 1764.8361 | 1751.0685 | 1802.6214
ED_OPD531_00002 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW
ED_OPD531_00003 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW
ED_OPD531_00004 | Coincident Raw System Annual Maximum Demand | MW | 1380.608 | 1442.458 | 1538.266 | 1671.6206 | 1627.1642 | 1587.3882 | 1511.2534 | 1538.1614
ED_OPD531_00005 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW
ED_OPD531_00006 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW
Table 5.3.2 Annual system maximum demand characteristics at the transmission connection point – MW measure
ED_OPD532_00001 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 1616.768 | 1689.197 | 1801.394 | 1930.9923 | 1937.7043 | 1838.4724 | 1793.2555 | 1881.4149
ED_OPD532_00002 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW
ED_OPD532_00003 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW
ED_OPD532_00004 | Coincident Raw System Annual Maximum Demand | MW | 1454.964 | 1520.145 | 1621.113 | 1866.9326 | 1845.7449 | 1741.1448 | 1659.2377 | 1770.8112
ED_OPD532_00005 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW
ED_OPD532_00006 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW
Table 5.3.3 Annual system maximum demand characteristics at the zone substation level – MVA measure
ED_OPD533_00001 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 1732.919 | 1786.083 | 1885.601 | 1971.611 | 1955.754 | 1840.9685 | 1839.4752 | 1901.0391
ED_OPD533_00002 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA
ED_OPD533_00003 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA
ED_OPD533_00004 | Coincident Raw System Annual Maximum Demand | MVA | 1452.091 | 1496.639 | 1580.03 | 1726.3456 | 1663.7917 | 1637.3043 | 1544.6733 | 1561.1522
ED_OPD533_00005 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA
ED_OPD533_00006 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA
Table 5.3.4 Annual system maximum demand characteristics at the transmission connection point – MVA measure
ED_OPD534_00001 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 1673.673 | 1748.652 | 1864.797 | 2030.5659 | 2003.5888 | 1919.5118 | 1845.5884 | 1952.8526
ED_OPD534_00002 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA
ED_OPD534_00003 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA
ED_OPD534_00004 | Coincident Raw System Annual Maximum Demand | MVA | 1506.174 | 1573.649 | 1678.171 | 1968.3021 | 1931.1605 | 1826.2091 | 1725.1081 | 1815.1823
ED_OPD534_00005 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA
ED_OPD534_00006 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA
Table 5.3.5 Power factor conversion between MVA and MW
ED_OPD535_00001 | Average overall network power factor conversion between MVA and MW | Factor | 0.966 | 0.966 | 0.966 | 0.966 | 0.966 | 0.968 | 0.964 | 0.966
ED_OPD535_00002 | Average power factor conversion for low voltage distribution lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD535_00003 | Average power factor conversion for 11 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD535_00004 | Average power factor conversion for SWER lines | Factor | 0.988 | 0.988 | 0.988 | 0.988 | 0.988 | 0.988 | 0.988 | 0.988
ED_OPD535_00005 | Average power factor conversion for 22 kV lines | Factor | 0.909 | 0.922 | 0.931 | 0.929 | 0.931 | 0.966 | 0.95 | 0.95
ED_OPD535_00006 | Average power factor conversion for 33 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD535_00007 | Average power factor conversion for 66 kV lines | Factor | 0.923 | 0.935 | 0.945 | 0.943 | 0.944 | 0.98 | 0.964 | 0.964
ED_OPD535_00008 | Average power factor conversion for 132 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 5.3.6 Demand supplied (for customers charged on this basis) – MW measure
ED_OPD536_00001 | Summated Chargeable Contracted Maximum Demand | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD536_00002 | Summated Chargeable Measured Maximum Demand | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 5.3.7 Demand supplied (for customers charged on this basis) – MVA measure
ED_OPD537_00001 | Summated Chargeable Contracted Maximum Demand | MVA | 724.03 | 739.817 | 815.426 | 860.919 | 874.967 | 887.55 | 939.026 | 975.801
ED_OPD537_00002 | Summated Chargeable Measured Maximum Demand | MVA | 406.938 | 415.811 | 458.307 | 483.876 | 491.772 | 498.844 | 523.868 | 552.506

## 3.5 Physical Assets
6. Physical Assets worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 6.1 Network Capacities Variables
Circuit length
Table 6.1.1 Overhead network length of circuit at each voltage
ED_PHA611_00001 | Overhead low voltage distribution | km | 6708.328 | 6677.441 | 6682.893 | 6811.363 | 6796.214 | 6763.983 | 6740.048 | 6715.304
ED_PHA611_00002 | Overhead 11 kV | km | 9.561 | 9.542 | 9.561 | 7.016 | 7.016 | 5.754 | 5.566 | 2.673
ED_PHA611_00003 | Overhead SWER | km | 6381.959 | 6415.463 | 6414.694 | 6425.211 | 6425.645 | 6419.241 | 6429.524 | 6435.632
ED_PHA611_00004 | Overhead 22 kV | km | 22174.798 | 22240.832 | 22317.739 | 22405.419 | 22444.29 | 22451.528 | 22665.254 | 22667.917
ED_PHA611_00005 | Overhead 33 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA611_00006 | Overhead 66 kV | km | 2299.257 | 2312.588 | 2326.441 | 2382.011 | 2434.711 | 2437.365 | 2472.407 | 2409.2
ED_PHA611_00007 | Overhead 132 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA611_00008 | Overhead 6.6 kV | km | 68.408 | 68.626 | 68.793 | 67.995 | 67.925 | 66.984 | 66.937 | 66.958
| Total overhead circuit km | km | 37642.312 | 37724.492 | 37820.121 | 38099.015 | 38175.801 | 38144.855 | 38379.736 | 38297.655
Table 6.1.2 Underground network circuit length at each voltage
ED_PHA612_00001 | Underground low voltage distribution | km | 2632.25 | 2782.793 | 2923.37 | 3147.291 | 3266.957 | 3476.181 | 3635.585 | 3749.893
ED_PHA612_00002 | Underground 11 kV | km | 1.655 | 1.762 | 1.655 | 0.585 | 0.585 | 1.122 | 1.122 | 1.079
ED_PHA612_00003 | Underground 22 kV | km | 1205.702 | 1300.678 | 1339.158 | 1437.535 | 1497.631 | 1563.33 | 1656.298 | 1715.962
ED_PHA612_00004 | Underground 33 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA612_00005 | Underground 66 kV | km | 3.762 | 3.881 | 3.762 | 3.805 | 3.775 | 4.306 | 4.306 | 10.276
ED_PHA612_00006 | Underground 132 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA612_00007 | Underground 6.6 kV | km | 1.886 | 2.009 | 1.886 | 1.841 | 1.841 | 1.91 | 1.91 | 1.918
ED_PHA612_00008 | Underground SWER | km | 19.504 | 20.278 | 20.891 | 21.459 | 22.125 | 22.227 | 23.174 | 23.144
| Total underground circuit km | km | 3864.76 | 4111.401 | 4290.722 | 4612.516 | 4792.914 | 5069.076 | 5322.394 | 5502.272
Circuit Capacity MVA
Table 6.1.3 Estimated overhead network weighted average MVA capacity by voltage class
ED_PHA613_00001 | Overhead low voltage distribution | MVA | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056
ED_PHA613_00002 | Overhead 11 kV | MVA | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
ED_PHA613_00003 | Overhead SWER | MVA | 0.353 | 0.353 | 0.353 | 0.353 | 0.353 | 0.353 | 0.353 | 0.353
ED_PHA613_00004 | Overhead 22 kV | MVA | 3.306 | 3.306 | 3.306 | 3.306 | 3.306 | 3.306 | 3.306 | 3.306
ED_PHA613_00005 | Overhead 33 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA613_00006 | Overhead 66 kV | MVA | 33.325 | 33.325 | 33.325 | 33.325 | 33.325 | 33.325 | 33.325 | 33.325
ED_PHA613_00007 | Overhead 132 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA613_00008 | Overhead 6.6 kV | MVA | 2.205 | 2.205 | 2.205 | 2.205 | 2.205 | 2.205 | 2.205 | 2.205
Table 6.1.4 Estimated underground network weighted average MVA capacity by voltage class
ED_PHA614_00001 | Underground low voltage distribution | MVA | 0.287 | 0.287 | 0.287 | 0.287 | 0.287 | 0.287 | 0.287 | 0.287
ED_PHA614_00002 | Underground 11 kV | MVA | 8.322 | 8.322 | 8.322 | 8.322 | 8.322 | 8.322 | 8.322 | 8.322
ED_PHA614_00003 | Underground 22 kV | MVA | 11.839 | 11.839 | 11.839 | 11.839 | 11.839 | 11.839 | 11.839 | 11.839
ED_PHA614_00004 | Underground 33 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA614_00005 | Underground 66 kV | MVA | 53.544 | 53.544 | 53.544 | 53.544 | 53.544 | 53.544 | 53.544 | 53.544
ED_PHA614_00006 | Underground 132 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA614_00007 | Underground 6.6 kV | MVA | 4.683 | 4.683 | 4.683 | 4.683 | 4.683 | 4.683 | 4.683 | 4.683
ED_PHA614_00008 | Underground 12.7 kV (Assume SWER as per DPA0208) | MVA | 5.293 | 5.293 | 5.293 | 5.293 | 5.293 | 5.293 | 5.293 | 5.293
6.2 Transformer Capacities Variables
Table 6.2.1 Distribution transformer total installed capacity
ED_PHA621_00001 | Distribution transformer capacity owned by utility | MVA | 3924.481 | 4307.33 | 4336.708 | 4973.519 | 4715.444 | 5047.797 | 5031.805 | 5139.985
ED_PHA621_00002 | Distribution transformer capacity owned by High Voltage Customers | MVA | 292.255 | 286.539 | 300.539 | 293.155 | 324.78 | 323.779 | 327.818 | 327.796
ED_PHA621_00003 | Cold spare capacity included in DPA0501 | MVA | 59.307 | 59.307 | 59.307 | 50.575 | 66.6 | 53.46 | 53.884 | 72.014
Table 6.2.2 Zone substation transformer capacity
ED_PHA622_00001 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA622_00002 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA622_00003 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | MVA | 2688.25 | 2726.25 | 2804.25 | 2952.75 | 3117.75 | 3117.75 | 3203.75 | 3289.25
ED_PHA622_00004 | Total zone substation transformer capacity | MVA | 2700.75 | 2738.75 | 2816.75 | 2965.25 | 3130.25 | 3163.25 | 3249.25 | 3334.75
ED_PHA622_00005 | Cold spare capacity of zone substation transformers included in DPA0604 | MVA | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 45.5 | 45.5 | 45.5
6.3 Public lighting
ED_PHA630_00001 | Public lighting luminaires | Number | 106772 | 110300 | 116942 | 122328 | 126318 | 131332 | 134046 | 136437
ED_PHA630_00002 | Public lighting poles | Number | 52870.5 | 56013.5 | 61783.5 | 67256 | 69944.5 | 74271 | 76690.5 | 78782

## 3.6 Quality of services
7. Quality of services worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 7.1 Reliability
Table 7.1.1 Inclusive of MEDs
ED_QOS711_00001 | Whole of network unplanned SAIDI | minutes/customer | 220.484 | 245.426 | 300.809 | 365.887 | 178.788 | 171.961 | 240.787 | 196.9853
ED_QOS711_00002 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 218.085 | 238.643 | 300.085 | 357.934 | 178.788 | 171.433 | 239.652 | 195.7012
ED_QOS711_00003 | Whole of network unplanned SAIFI | interruptions/customer | 2.765 | 2.822 | 2.356 | 3.107 | 2.095 | 2.048 | 2.095 | 2.4075
ED_QOS711_00004 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 2.704 | 2.687 | 2.303 | 2.797 | 2.095 | 2.01 | 1.994 | 2.2737
Table 7.1.2 Exclusive of MEDs
ED_QOS712_00001 | Whole of network unplanned SAIDI | minutes/customer | 191.943 | 177.582 | 132.84 | 184.306 | 129.865 | 145.997 | 126.737 | 134.4073
ED_QOS712_00002 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 189.545 | 177.201 | 132.11 | 178.128 | 129.865 | 145.469 | 125.602 | 133.1232
ED_QOS712_00003 | Whole of network unplanned SAIFI | interruptions/customer | 2.553 | 2.347 | 2.008 | 2.441 | 1.91 | 1.979 | 1.751 | 2.0331
ED_QOS712_00004 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 2.491 | 2.327 | 1.956 | 2.184 | 1.91 | 1.941 | 1.655 | 1.8993
Table 7.2 Energy not supplied
ED_QOS720_00001 | Energy Not Supplied (planned) | GWh | 0.994 | 1.334 | 0.89 | 0.689 | 0.89 | 1.785 | 2.796 | 3.8682
ED_QOS720_00002 | Energy Not Supplied (unplanned) | GWh | 2.613 | 2.963 | 3.754 | 4.437 | 2.351 | 2.38 | 3.219 | 2.6761
| Energy Not Supplied - Total | GWh | 3.606 | 4.298 | 4.643 | 5.126 | 3.242 | 4.164 | 6.014 | 6.5443
Table 7.3 System losses
ED_QOS730_00001 | System losses | % | 9.664% | 9.611% | 6.501% | 7.114% | 7.498% | 6.752% | 7.501% | 6.332%
Table 7.4 Capacity utilisation
ED_QOS740_00001 | Overall utilisation | % | 64.16% | 65.22% | 66.94% | 69.06% | 65.77% | 55.1% | 56.7% | 58.4%

## 3.7 Operating environment
8. Operating environment factors worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 8.1 Density factors
ED_OEF810_00001 | Customer density | Customer / km | 17.271 | 17.381 | 17.525 | 17.5 | 17.54 | 17.603 | 17.719 | 17.951 |  | see d17/26677 - email dated July 2016
ED_OEF810_00002 | Energy density | MWh/customer | 12.22 | 12.164 | 12.566 | 12.136 | 12.249 | 11.655 | 11.357 | 11.01
ED_OEF810_00003 | Demand density | kVA / customer | 2.862 | 2.897 | 3.005 | 3.0873 | 3.0289 | 2.8122 | 2.7508 | 2.7903
Table 8.2 Terrain factors
ED_OEF820_00001 | Rural proportion | km | 0 | 0 | 0 | 94.54% | 93.05% | 93.88% | 94.55% | 93.37%
ED_OEF820_00002 | Urban and CBD vegetation maintenance spans | Number of spans | 0 | 0 | 0 | 6528 | 6812 | 7558 | 8969 | 16206
ED_OEF820_00003 | Rural vegetation maintenance spans | Number of spans | 0 | 0 | 0 | 45119 | 50203 | 53754 | 57450 | 66392
ED_OEF820_00004 | Total vegetation maintenance spans | Number of spans | 0 | 0 | 0 | 51647 | 57015 | 61312 | 66419 | 82598
ED_OEF820_00005 | Total number of spans | Number of spans | 0 | 0 | 0 | 314218 | 314756 | 315115 | 316470 | 317316
ED_OEF820_00006 | Average urban and CBD vegetation maintenance span cycle | Years | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 1
ED_OEF820_00007 | Average rural vegetation maintenance span cycle | Years | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
ED_OEF820_00008 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 0 | 0 | 0 | 4.9862 | 4.9862 | 4.9862 | 4.9862 | 4.9862
ED_OEF820_00009 | Average number of trees per rural vegetation maintenance span | Trees | 0 | 0 | 0 | 4.9862 | 4.9862 | 4.9862 | 4.9862 | 4.9862
ED_OEF820_00010 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 0 | 0 | 0 | 0.71385 | 0.82443 | 0.85697 | 0.84926 | 0.79477
ED_OEF820_00011 | Average number of defects per rural vegetation maintenance span | Defects | 0 | 0 | 0 | 0.29914 | 0.37275 | 0.46171 | 0.53487 | 0.33501
ED_OEF820_00012 | Tropical proportion | Number of spans | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OEF820_00013 | Standard vehicle access | km | 0 | 0 | 0 | 4262.9646 | 4262.9646 | 4262.9646 | 4262.9646 | 4262.9646
ED_OEF820_00014 | Bushfire risk | Number of spans | 0 | 0 | 0 | 42540 | 45355 | 49364 | 55362 | 58618
Table 8.3 Service area factors
ED_OEF830_00001 | Route Line length | km | 35053 | 35474 | 35808 | 36492 | 36814 | 37189 | 37740 | 37953 |  | see d17/26677 - email dated July 2016
| Table 8.4 Weather stations |  | 2006: Post code; 2007: Suburb; 2008: Materiality
| 86071 |  | 2006: 3000; 2007: Melbourne; 2008: No
| 86104 |  | 2006: 3179; 2007: Scoresby; 2008: Yes
| 82138 |  | 2006: 3676; 2007: Wangarrata Aero; 2008: Yes
| 85280 |  | 2006: 3844; 2007: Latrobe Valley Airport; 2008: Yes
| 82170 |  | 2006: 3671; 2007: Benalla; 2008: No
| 83024 |  | 2006: 3723; 2007: Mt Buller; 2008: No
| 83055 |  | 2006: 3741; 2007: Mt Hotham; 2008: No
| 82039 |  | 2006: 3685; 2007: Rutherglen; 2008: No
| 72160 |  | 2006: 2640; 2007: Albury; 2008: No
| 88162 |  | 2006: 3764; 2007: Kilmore Gap; 2008: No
| 85072 |  | 2006: 3852; 2007: East Sale; 2008: No
| 85096 |  | 2006: 3960; 2007: Wilsons Promontory; 2008: No
| 85151 |  | 2006: 3971; 2007: Yarram Airport; 2008: No
| 85279 |  | 2006: 3875; 2007: Bairnsdale; 2008: No
| 84084 |  | 2006: 3892; 2007: Mallacoota; 2008: No
| 83090 |  | 2006: 3898; 2007: Omeo; 2008: No
| 84145 |  | 2006: 3888; 2007: Orbost; 2008: No
| 86373 |  | 2006: 3923; 2007: Rhyll; 2008: No