## Instructions
Distribution Network Service Provider
Annual Reporting RIN Template
This template is to be used by AusNet (D) to fulfil its reporting obligations to the AER.
INSTRUCTIONS
Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
Identifying CONFIDENTIAL INFORMATION: Please use the macro at the top of each worksheet to identify confidential information.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selected cells as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return cells to NON-CONFIDENTIAL macro
UNITS OF MEASURE All amounts are to be unrounded and reported in nominal terms on a one for one basis: that is 1000 is to be entered as '1000'.
COLOUR CODING OF INPUT / NON-INPUT CELLS:
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
Leave coloured cells blank if no information exists. PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
WORKSHEET NAVIGATION Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin of excel (for Row groupings) or above the columns (for column groupings).
RETURNING COMPLETED RESPONSES Please return four (4) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selected cells CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. An actual and an estimate version with confidential information marked using the Mark selected cells CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 3. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
SUBMITTING AMENDED DATA TO THE AER If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data.
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
Contents
Instructions

## Contents
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2016
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
1.0 Business & other details
3.2.3 Provisions

## Business & other details
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2016
BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings.
SUBMISSION PARTICULARS INPUT SHEETS
ENTITY DETAILS
Short name | AusNet (D)
ACN / ABN | 91064651118
Business address | Address 1 |  | Level 31, 2 Southbank Boulevard
Address 2
| Suburb |  | Southbank
|  | State | Vic | p/code | 3006
Postal address | Address 1 |  | Locked Bag 14051
Address 2
| Suburb |  | Melbourne City Mail Centre
|  | State | Vic | p/code | 8001
Contact name/s
Contact phone/s | [5 empty] | Tom Hallam
Contact email address/s | [5 empty] | Tom Hallam
Current regulatory year | 2016 | CRY
Source | Reporting |  | Please select the correct submission type from the dropdown list.
Data quality (actual, estimate, public, consolidated) | Consolidated
Amended RIN submission - amendment reason | 20230607 - Table 3.5.1.1 - Amended - #15,358,573 20220526 - Amendment 3.5 all 33kV changed to zero - #13,897,40 20190702 - Change to 3.2.2 opex network services (scs) - (D19/95494 & D19/95493)
Submission Date | dd/mm/yyyy | dms_SubmissionDate | Please enter date this file submitted to AER (dd/mm/yyyy)
EBSS - First application of scheme in forthcoming period? | No
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2016
3.1 REVENUE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2016 | 2016
DREV0101 | Revenue from Fixed Customer Charges | 80154108.6849 | 0
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 197132286.5022 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | 178127388.9349 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 11365011.9506 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 44340009.2584 | 0
DREV0106 | Revenue from controlled load customer charges | 0 | 0
DREV0107 | Revenue from unmetered supplies | 6048074.5093 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | 39377122.4333 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | 34108955.9058 | 0
DREV0110 | Revenue from metering charges | 0 | 97402086.9963
DREV0111 | Revenue from connection charges | 0 | 3545679.3993
DREV0112 | Revenue from public lighting charges | 0 | 7071420.56
DREV0113 | Revenue from other Sources | -3422548.2834 | 4278000.7608
DREV01 | Total revenue by chargeable quantity | 587230409.896 | 112297187.7165
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2016 | 2016
DREV0201 | Revenue from residential Customers | 298900021.8907 | 83680668.7502
DREV0202 | Revenue from Non residential customers not on demand tariffs | 152396524.1089 | 10926885.8578
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 110976774.219 | 0
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 18909015.1681 | 0
DREV0205 | Revenue from unmetered supplies | 6048074.5093 | 0
DREV0206 | Revenue from Other Customers | 0 | 17689633.1085
DREV02 | Total revenue by customer class | 587230409.896 | 112297187.7165
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2016 | 2016
DREV0301 | EBSS | 5106884.9194 | 0
DREV0302 | STPIS | 19075227.8164 | 0
DREV0303 | F-Factor | 1827679.4093 | 0
DREV0304 | S-Factor True up | -3081600.2962 | 0
DREV0305 | Other |  | 0
DREV03 | Total revenue of incentive schemes | 22928191.8489 | 0
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents
Instructions
FOR AMENDED SUBMISSIONS ONLY
Return selection to NON-AMENDED
Mark selection as AMENDED

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2016
3.2 OPERATING EXPENDITURE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to AusNet (D)'s annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2016 | 2016
DOPEX0101 | Maintenance - Routine | 16877369.336
DOPEX0102 | Maintenance - Condition based | 45864091.8896
DOPEX0103 | Maintenance - Emergency | 19378828.2548
DOPEX0104 | Maintenance - SCADA/Network Control | 134375.405
DOPEX0105 | Maintenance - AMI |  | 6477139.726
DOPEX0106 | Maintenance - Public Lighting | 0 | 1946538.3028
DOPEX0107 | Maintenance - Alternative control -other | 0 | 2794532.3883
DOPEX0108 | Maintenance - Bushfire costs | 0
DOPEX0109 | Network Operating Costs | 58192023.7567 | 4777140.0108
DOPEX0110 | Billing & Revenue Collection | 580541.65
DOPEX0111 | Advertising, marketing & promotions | 706707.7403
DOPEX0112 | Customer Service | 6483149.4102
DOPEX0113 | Regulatory | 1395954.3603
DOPEX0114 | Regulatory Reset | 0
DOPEX0115 | IT | 27659881.1176 | 10056693.9124
DOPEX0116 | Licence fee | 0
DOPEX0117 | GSL payments | 17667650
DOPEX0118 | Non-network alternatives costs | 10006677.55
DOPEX0119 | AMI Cost | 5452098.4635 | 18095291.4854
DOPEX0120 | Other - Standard Control Services | 30112127.0636
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 240511475.9976 | 44147335.8257
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2016 | 2016
DOPEX0201 | Opex for network services | 223975927 | 0
DOPEX0202 | Opex for metering | 5452098.4635 | 34629125.1238
DOPEX0203 | Opex for connection services | 1781729.0447 | 4216572.1058
DOPEX0204 | Opex for public lighting | 0 | 1946538.3028
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP | 14439831.5
DOPEX0206 | Opex for transmission connection point planning | 75425.234
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 245781.8189
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents
Instructions
FOR AMENDED SUBMISSIONS ONLY
Return selection to NON-AMENDED
Mark selection as AMENDED

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2016
3.2 OPERATING EXPENDITURE
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to AusNet (D)'s annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE ($0's)
2016
DOPEX03A | Provision - employee entitlements
Provisions for employee entitlements are liabilities for wages and salaries, including non-monetary benefits and annual leave recognised in respect of employees’ services up to the reporting date and are measured at the amounts expected to be paid when the liabilities are settled.
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 35131068.055
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 32072194.0337
DOPEX0303A | Capex component | 12430378.2896
DOPEX0304A | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -29910357.6425
DOPEX0306A | Capex component | -11592504.7062
DOPEX0307A | Other component
Unused amounts reversed during the period
DOPEX0308A | Opex component | -2182399.4673
DOPEX0309A | Capex component | -845843.3161
DOPEX0310A | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | 0
DOPEX0312A | Capex component | 0
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 35102535.2463
DOPEX03B | Provision - uninsured losses
Provision for uninsured losses is for direct or indirect claims made against SP AusNet for personal, injury, property damage or financial loss, including public liability claims.
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 1183700.8193
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 678587.03
DOPEX0303B | Capex component | 0
DOPEX0304B | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | -331087.03
DOPEX0306B | Capex component | 0
DOPEX0307B | Other component
Unused amounts reversed during the period
DOPEX0308B | Opex component | 0
DOPEX0309B | Capex component | 0
DOPEX0310B | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 1531200.8193
DOPEX03C | Provision for Make good
This provision is used for environmental matters such as land remediation and asbestos removal and is based on advice from internal and external sources.
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 1677231.29
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 2359852.346
DOPEX0303C | Capex component | 0
DOPEX0304C | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | 0
DOPEX0306C | Capex component | 0
DOPEX0307C | Other component
Unused amounts reversed during the period
DOPEX0308C | Opex component | 0
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 0
DOPEX0312C | Capex component | 0
DOPEX0313C | Other component | 0
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 4037083.636
DOPEX03D | Provision - Miscellaneous
Provision represents sundry matters including the provision of cross-boundary network charges.
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 9287286.31
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 7156754.78
DOPEX0303D | Capex component | 0
DOPEX0304D | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -10781625.86
DOPEX0306D | Capex component | 0
DOPEX0307D | Other component
Unused amounts reversed during the period
DOPEX0308D | Opex component | 0
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 5662415.23
DOPEX03E | Provision - Superannuation
The provision represents the superannuation liability of the defined benefit superannuation fund.
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | -14518011.1617
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | 3568161.5454
DOPEX0303E | Capex component | 1382929.9536
DOPEX0304E | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | -2133856.0717
DOPEX0306E | Capex component | -827029.1131
DOPEX0307E | Other component
Unused amounts reversed during the period
DOPEX0308E | Opex component | 0
DOPEX0309E | Capex component | 0
DOPEX0310E | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component | 7031742.1961
DOPEX0312E | Capex component | 2725326.9745
DOPEX0313E | Other component | 0
DOPEX0314E | Closing balance (carrying amount at the end of the period) | -2770735.6769
DOPEX03F | Provisions - Other
This represents the provision to restore the sites to their original condition at the end of the lease.
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period) | -50341.3
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component | 234847.88
DOPEX0303F | Capex component | 0
DOPEX0304F | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component | -308890.12
DOPEX0306F | Capex component | 0
DOPEX0307F | Other component
Unused amounts reversed during the period
DOPEX0308F | Opex component | 0
DOPEX0309F | Capex component | 0
DOPEX0310F | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component | 0
DOPEX0312F | Capex component | 0
DOPEX0313F | Other component | 0
DOPEX0314F | Closing balance (carrying amount at the end of the period) | -124383.54
DOPEX03G | Provision name
Brief description of provision
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component
DOPEX0303G | Capex component
DOPEX0304G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component
DOPEX0306G | Capex component
DOPEX0307G | Other component
Unused amounts reversed during the period
DOPEX0308G | Opex component
DOPEX0309G | Capex component
DOPEX0310G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component
DOPEX0312G | Capex component
DOPEX0313G | Other component
DOPEX0314G | Closing balance (carrying amount at the end of the period)
DOPEX03H | Provision name
Brief description of provision
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component
DOPEX0303H | Capex component
DOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component
DOPEX0306H | Capex component
DOPEX0307H | Other component
Unused amounts reversed during the period
DOPEX0308H | Opex component
DOPEX0309H | Capex component
DOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component
DOPEX0312H | Capex component
DOPEX0313H | Other component
DOPEX0314H | Closing balance (carrying amount at the end of the period)
DOPEX03I | Provision name
Brief description of provision
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J | Provision name
Brief description of provision
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K | Provision name
Brief description of provision
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L | Provision name
Brief description of provision
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M | Provision name
Brief description of provision
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N | Provision name
Brief description of provision
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O | Provision name
Brief description of provision
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | Provision name
Brief description of provision
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | Provision name
Brief description of provision
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | Provision name
Brief description of provision
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents
Instructions
FOR AMENDED SUBMISSIONS ONLY
Return selection to NON-AMENDED
Mark selection as AMENDED

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2016
3.3 ASSETS
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2016 | 2016 | 2016
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 3440511510.8184 | 3442080338.2263 | 9558742.539
DRAB0102 | Inflation addition | 51737015.2003 | 51760606.5899 | 0
DRAB0103 | Straight line depreciation | -182299032.5761 | -182336523.5964 | -629615.5304
DRAB0105 | Actual additions (recognised in RAB) | 291506767.8107 | 299519012.6555 | 5283262.8327
DRAB0106 | Disposals | -3606491 | -3606491 | 0
DRAB0107 | Closing value | 3597849770.2534 | 3607416942.8753 | 14212389.8413
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2016 | 2016 | 2016
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 2032202535.259 | 2032202535.259 | 0
DRAB0202 | Inflation addition | 30559436.6204 | 30559436.6204 | 0
DRAB0203 | Straight line depreciation | -101563496.951 | -101563496.951 | 0
DRAB0205 | Actual additions (recognised in RAB) | 103010312.8742 | 103010312.8742 | 0
DRAB0206 | Disposals | 0 | 0 | 0
DRAB0207 | Closing value | 2064208787.8027 | 2064208787.8027 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 557948443.2162 | 557948443.2162 | 0
DRAB0302 | Inflation addition | 8390202.1536 | 8390202.1536 | 0
DRAB0303 | Straight line depreciation | -27884619.7799 | -27884619.7799 | 0
DRAB0305 | Actual additions (recognised in RAB) | 110316306.5376 | 110316306.5376 | 0
DRAB0306 | Disposals | 0 | 0 | 0
DRAB0307 | Closing value | 648770332.1275 | 648770332.1275 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 288261557.5711 | 288261557.5711 | 0
DRAB0402 | Inflation addition | 4334760.2642 | 4334760.2642 | 0
DRAB0403 | Straight line depreciation | -14406463.5859 | -14406463.5859 | 0
DRAB0405 | Actual additions (recognised in RAB) | 17900191.6225 | 17900191.6225 | 0
DRAB0406 | Disposals | 0 | 0 | 0
DRAB0407 | Closing value | 296090045.8718 | 296090045.8718 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 251271129.9468 | 251271129.9468 | 0
DRAB0502 | Inflation addition | 3778513.2323 | 3778513.2323 | 0
DRAB0503 | Straight line depreciation | -8160316.3909 | -8160316.3909 | 0
DRAB0505 | Actual additions (recognised in RAB) | 5036179.8446 | 5036179.8446 | 0
DRAB0506 | Disposals | 0 | 0 | 0
DRAB0507 | Closing value | 251925506.6328 | 251925506.6328 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 0 | 0 | 0
DRAB0602 | Inflation addition | 0 | 0 | 0
DRAB0603 | Straight line depreciation | 0 | 0 | 0
DRAB0605 | Actual additions (recognised in RAB) | 8382.1944 | 8382.1944 | 0
DRAB0606 | Disposals | 0 | 0 | 0
DRAB0607 | Closing value | 8382.1944 | 8382.1944 | 0
Zone substations and transformers
DRAB0701 | Opening value | 204741442.5596 | 204741442.5596 | 0
DRAB0702 | Inflation addition | 3078818.6851 | 3078818.6851 | 0
DRAB0703 | Straight line depreciation | -6649211.7497 | -6649211.7497 | 0
DRAB0705 | Actual additions (recognised in RAB) | 26175432.4497 | 26175432.4497 | 0
DRAB0706 | Disposals | 0 | 0 | 0
DRAB0707 | Closing value | 227346481.9447 | 227346481.9447 | 0
For easements:
DRAB0801 | Opening value
DRAB0802 | Inflation addition
DRAB0805 | Actual additions (recognised in RAB)
DRAB0806 | Disposals
DRAB0807 | Closing value | 0 | 0 | 0
For meters:
DRAB0901 | Opening value
DRAB0902 | Inflation addition
DRAB0903 | Straight line depreciation
DRAB0905 | Actual additions (recognised in RAB)
DRAB0906 | Disposals
DRAB0907 | Closing value | 0 | 0 | 0
For “other” asset items with long lives:
DRAB1001 | Opening value | 9693847.0835 | 11262674.4914 | 9558742.539
DRAB1002 | Inflation addition | 145772.1366 | 169363.5262 | 0
DRAB1003 | Straight line depreciation | -4684573.0241 | -4722064.0445 | -629615.5304
DRAB1005 | Actual additions (recognised in RAB) | 7904074.8278 | 15916319.6725 | 5283262.8327
DRAB1006 | Disposals | 0 | 0 | 0
DRAB1007 | Closing value | 13059121.0237 | 22626293.6456 | 14212389.8413
For “other” asset items with short lives:
DRAB1101 | Opening value | 96392555.1823 | 96392555.1823 | 0
DRAB1102 | Inflation addition | 1449512.108 | 1449512.108 | 0
DRAB1103 | Straight line depreciation | -18950351.0945 | -18950351.0945 | 0
DRAB1105 | Actual additions (recognised in RAB) | 21155887.46 | 21155887.46 | 0
DRAB1106 | Disposals | -3606491 | -3606491 | 0
DRAB1107 | Closing value | 96441112.6558 | 96441112.6558 | 0
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2016 | 2016 | 2016
DRAB1201 | Overhead distribution assets (wires and poles) | 2048205661.5308 | 2048205661.5308 | 0
DRAB1202 | Underground distribution assets (cables, ducts etc) | 603359387.6718 | 603359387.6718 | 0
DRAB1203 | Distribution substations including transformers | 292175801.7214 | 292175801.7214 | 0
DRAB1204 | Overhead assets 33kV and above (wires and towers / poles etc) | 251598318.2898 | 251598318.2898 | 0
DRAB1205 | Underground assets 33kV and above (cables, ducts etc) | 4191.0972 | 4191.0972 | 0
DRAB1206 | Zone substations | 216043962.2521 | 216043962.2521 | 0
DRAB1207 | Easements
DRAB1208 | Meters | 0 | 0 | 0
DRAB1209 | Other assets with long lives (please specify) | 11376484.0536 | 16944484.0685 | 11885566.1901
DRAB1210 | Other assets with short lives (please specify) | 96416833.9191 | 96416833.9191 | 0
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 20721716.74 | 20721716.74 | 912774.95
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2016 | 2016 | 2016
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 63.8 | 63.8 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | 50 | 50 | 0
DRAB1403 | Distribution substations including transformers | 52.2 | 52.2 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 71.7 | 71.7 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 50 | 50 | 0
DRAB1406 | Zone substations and transformers | 45.9 | 45.9 | 0
DRAB1407 | Meters | 0 | 0 | 0
DRAB1408 | “Other” assets with long lives | 10 | 20.5652 | 30.898
DRAB1409 | “Other” assets with short lives | 5 | 5 | 0
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 33.0188 | 33.0188 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | 23.5737 | 23.5737 | 0
DRAB1503 | Distribution substations including transformers | 27.4178 | 27.4178 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 41.0047 | 41.0047 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 31.4948 | 31.4948 | 0
DRAB1506 | Zone substations and transformers | 9.3397 | 9.3397 | 0
DRAB1507 | Meters | 0 | 0 | 0
DRAB1508 | “Other” assets with long lives | 7.1713 | 23.9004 | 27.5464
DRAB1509 | “Other” assets with short lives | 3.0757 | 3.0757 | 0
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents
Instructions
FOR AMENDED SUBMISSIONS ONLY
Return selection to NON-AMENDED
Mark selection as AMENDED

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2016
3.4 OPERATIONAL DATA
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
VOLUME (0's)
|  | Units | 2016
DOPED01 | Total energy delivered | GWh | 7559.8543
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 2265.2058
DOPED0202 | Energy Delivery at On-peak times | GWh | 2301.4561
DOPED0203 | Energy Delivery at Shoulder times | GWh | 448.3004
DOPED0204 | Energy Delivery at Off-peak times | GWh | 2486.9306
DOPED0205 | Controlled load energy deliveries | GWh | 0
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 57.9614
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 0
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 0
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 0
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 6962.0435
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 0
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 0
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 961.9833
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 0
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 183.7264
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 3139.6354
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 1621.8411
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 1725.2682
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 1015.148
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 57.9614
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME (0's)
2016
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 631775
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 68696
DOPCN0103 | Low voltage demand tariff customer numbers |  | 2333
DOPCN0104 | High voltage demand tariff customer numbers |  | 105
DOPCN0105 | Unmetered Customer Numbers |  | 9858
DOPCN0106 | Other Customer Numbers |  | 0
DOPCN01 | Total customer numbers |  | 712767
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | Customers on CBD network |  | 0
DOPCN0202 | Customers on Urban network |  | 299162
DOPCN0203 | Customers on Short rural network |  | 289776
DOPCN0204 | Customers on Long rural network |  | 123829
DOPCN02 | Total customer numbers |  | 712767
3.4.2.3 - Distribution customer numbers by TasNetworks (D) feeder categories (TasNetworks (D) only)
| Critical Infrastructure |  | 0
| High Density Commercial |  | 0
| Urban |  | 0
| High Density Rural |  | 0
| Low Density Rural |  | 0
| Total customer numbers |  | 0
3.4.2.4 - Unmetered Supply TasNetworks (D) only)
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN |  | 0
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN |  | 0
DOPCN0303 | Total unmetered connections |  | 0
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME (0's)
|  | Units | 2016
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 1861.595
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1976.3273
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1792.5316
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 1690.0833
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1837.1068
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1644.6401
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 1951.7955
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1979.8887
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1797.338
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 1871.3671
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1892.4157
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1694.1546
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 1891.1855
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2008.1342
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1821.2718
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 1714.0537
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 1862.9218
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1656.4747
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 1994.7609
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2023.4726
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1836.9033
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 1912.9188
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 1934.074
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1731.4485
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.97828
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.9
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor | 0
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor | 0.98443
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor | 0
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.85
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.99343
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0.96542
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor | 0
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.98435
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor | 0
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 0
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 0
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 1118.996
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 549.9197
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents
Instructions
FOR AMENDED SUBMISSIONS ONLY
Return selection to NON-AMENDED
Mark selection as AMENDED

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2016
3.5 PHYSICAL ASSETS
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's (0's)
2016
Circuit length (kilometers)
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 6660.96
DPA0102 | Overhead 2.2 kV | 0
DPA0103 | Overhead 6.6kv | 54.09
DPA0104 | Overhead 7.6 kV
DPA0105 | Overhead 11 kV | 5.79
DPA0106 | Overhead SWER | 6462.81
DPA0107 | Overhead 22 kV | 22628.22
DPA0108 | Overhead 33 kV | 0
DPA0109 | Overhead 44 kV | 0
DPA0110 | Overhead 66 kV | 2602.3147
DPA0111 | Overhead 110kV | 0
DPA0112 | Overhead 132 kV | 0
DPA0113 | Overhead 220kV | 0
DPA0114 | Other | 0
DPA01 | Total overhead circuit km | 38414.2547
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 4217.4969
DPA0202 | Underground 5 kV | 0
DPA0203 | Underground 6.6 Kv | 11.9337
DPA0204 | Underground 7.6 kV | 0
DPA0205 | Underground 11 kV | 1.9554
DPA0206 | Underground SWER | 25.3249
DPA0207 | Underground 22 kV | 1999.3883
DPA0208 | Underground 33 kV | 0
DPA0209 | Underground 66 kV | 10.8992
DPA0210 | Underground 110 kV | 0
DPA0211 | Underground 132 kV | 0
DPA0212 | Other | 0
DPA02 | Total underground circuit km | 6267.0513
VOLUME in MVA (0's)
| Circuit Capacity (MVA) | 2016
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.12599
DPA0302 | Overhead 6.6 kV | 2.4712
DPA0303 | Overhead 7.6 kV | 0
DPA0304 | Overhead 11 kV | 6.0016
DPA0305 | Overhead SWER | 0.39865
DPA0306 | Overhead 22 kV | 3.4673
DPA0307 | Overhead 33 kV | 0
DPA0308 | Overhead 44 kV | 0
DPA0309 | Overhead 66 kV | 39.8063
DPA0310 | Overhead 110 kV | 0
DPA0311 | Overhead 132 kV | 0
DPA0312 | Overhead 220 kV | 0
DPA0313 | Other | 0
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.19597
DPA0402 | Underground 5 kV | 0
DPA0403 | Underground 6.6 kV | 3.3795
DPA0404 | Underground 7.6 kV | 0
DPA0405 | Underground 11 kV | 6.5639
DPA0406 | Underground SWER | 1.6319
DPA0407 | Underground 12.7 kV | 0
DPA0408 | Underground 22 kV | 10.9891
DPA0409 | Underground 33 kV | 0
DPA0410 | Underground 66 kV | 55.291
DPA0411 | Underground 110 kV | 0
DPA0412 | Underground 132 kV | 0
DPA0413 | Other | 0
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA (0's)
2016
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 5473.19
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | 368.0233
DPA0503 | Cold spare capacity included in DPA0501 | 74.491
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 0
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 0
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 3398
DPA0604 | Total zone substation transformer capacity | 3488.5
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 90.5
3.5.2.3 - Distribution - other transformer capacity
| Distribution other - transformer capacity owned by utility | 8
3.5.3 - PUBLIC LIGHTING
VOLUME (0's)
2016
DPA0701 | Public lighting luminaires | 146753
DPA0702 | Public lighting poles | 84254
DPA0703 | Public lighting columns | 0
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents
Instructions
FOR AMENDED SUBMISSIONS ONLY
Return selection to NON-AMENDED
Mark selection as AMENDED

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2016
3.6 QUALITY OF SERVICE DATA
3.6.1 - RELIABILITY
(0's)
|  | Units | 2016
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 386.2907
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 383.7411
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 2.2672
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 2.1931
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 175.1269
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 171.3733
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 1.7998
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.689
3.6.2 - ENERGY NOT SUPPLIED
(0's)
|  | Units | 2016
DQS0201 | Energy Not Supplied (planned) | GWh | 2.6829
DQS0202 | Energy Not Supplied (unplanned) | GWh | 4.9422
DQS02 | Total |  | 7.6251
3.6.3 - SYSTEM LOSSES
(0's)
|  | Unit | 2016
DQS03 | System losses | % | 6.758%
3.6.4 - CAPACITY UTILISATION
(0's)
|  | Unit | 2016
DQS04 | Overall utilisation | % | 54.21%
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents
Instructions
FOR AMENDED SUBMISSIONS ONLY
Return selection to NON-AMENDED
Mark selection as AMENDED

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2016
3.7 OPERATING ENVIRONMENT FACTORS
3.7.1 - DENSITY FACTORS
(0's)
|  | Units | 2016
DOEF0101 | Customer density | Customer / km | 18.3646
DOEF0102 | Energy density | MWh/customer | 10.6063
DOEF0103 | Demand density | kVA / customer | 2.6533
3.7.2 - TERRAIN FACTORS
(0's)
2016
DOEF0201 | Rural proportion | % | 93.07%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 10709
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 58792
DOEF0204 | Total vegetation maintenance spans | Number of spans | 69501
DOEF0205 | Total number of spans | Number of spans | 316997
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 3.4446
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 3.2261
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 0.16024
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 0.070605
DOEF0212 | Tropical proportion | Spans | 0
DOEF0213 | Standard vehicle access | km | 4508.4553
DOEF0214 | Bushfire risk | Spans | 51234
3.7.3 - SERVICE AREA FACTORS
(0's)
2016
DOEF0301 | Route Line length | km | 38811.9591
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents
Instructions
FOR AMENDED SUBMISSIONS ONLY
Return selection to NON-AMENDED
Mark selection as AMENDED

## NSP amendments
AusNet (D) data amendments
Amended Table | Comments