## Instructions
Distribution Network Service Provider
Annual Reporting RIN Template
This template is to be used by AusNet (D) to fulfil its reporting obligations to the AER.
INSTRUCTIONS
Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
Identifying CONFIDENTIAL INFORMATION: Please use the macro at the top of each worksheet to identify confidential information.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selected cells as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return cells to NON-CONFIDENTIAL macro
UNITS OF MEASURE All amounts are to be unrounded and reported in nominal terms on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
COLOUR CODING OF INPUT / NON-INPUT CELLS:
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
WORKSHEET NAVIGATION Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin of excel (for Row groupings) or above the columns (for column groupings).
RETURNING COMPLETED RESPONSES Please return four (4) files - using the locked template - to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selected cells CONFIDENTIAL macro. 2. An actual and an estimate version with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 3. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public. If the confidential and public versions of the consolidated file are exactly the same, only the public version of the file needs to be submitted to the AER.
SUBMITTING AMENDED DATA TO THE AER If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
Contents
Instructions

## Contents
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2017
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
1.0 Business & other details
3.2.3 Provisions

## Business & other details
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2017
BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEETS
ENTITY DETAILS
Short name | AusNet (D) |  |  | Select business name from drop down list first
ACN / ABN | 91064651118
Business address | Address 1 |  | Level 32
|  | Address 2 | 2 Southbank Boulevard
| Suburb |  | SOUTHBANK
|  | State | Vic | p/code | 3006
Postal address | Address 1 |  | Locked Bag 14051
Address 2
| Suburb |  | MELBOURNE CITY MAIL CENTRE
|  | State | VIC | p/code | 8001
Contact name/s
Contact phone/s
Contact email address/s
REGULATORY CONTROL PERIODS
Commencing regulatory year | 2017 | CRY
Source | Reporting |  | Please select the correct submission type from the dropdown list.
Data quality (actual, estimate, public, consolidated) | Consolidated |  | Use Consolidated for Consolidated Confidential version Use Public for Consolidated Public version
Amended RIN submission - amendment reason | 20230607 - Table 3.5.1.1 - Amended - #15,358,573 20220526 - Amendment 3.5 all 33kV changed to zero - #13,897,403 20190702 - Change to 3.2.2 opex network services (scs) - (D19/95494 & D19/95493)
Submission Date | 2018-08-17 | dms_SubmissionDate | Please enter date this file submitted to AER (dd/mm/yyyy)
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2017
3.1 REVENUE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2017 | 2017
DREV0101 | Revenue from Fixed Customer Charges | 87573578.3775 | 0
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 211335396.1372 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | 201745379.1223 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 12428984.0253 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 48685627.5845 | 0
DREV0106 | Revenue from controlled load customer charges | 0 | 0
DREV0107 | Revenue from unmetered supplies | 6341247.7091 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | 42069296.7571 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | 35602759.0423 | 0
DREV0110 | Revenue from metering charges | 0 | 91685531.152
DREV0111 | Revenue from connection charges | 0 | 3657181.264
DREV0112 | Revenue from public lighting charges | 0 | 7008854.1
DREV0113 | Revenue from other Sources | -4283731.6566 | 4122026.09
DREV01 | Total revenue by chargeable quantity | 641498537.0988 | 106473592.606
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2017 | 2017
DREV0201 | Revenue from residential Customers | 335488474.4952 | 79444937.2727
DREV0202 | Revenue from Non residential customers not on demand tariffs | 160594829.7296 | 9920764.1073
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 119249839.2501 | 0
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 19824145.9148 | 0
DREV0205 | Revenue from unmetered supplies | 6341247.7091 | 0
DREV0206 | Revenue from Other Customers | 0 | 17107891.226
DREV02 | Total revenue by customer class | 641498537.0988 | 106473592.606
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2017 | 2017
DREV0301 | EBSS | 5225521.9324 | 0
DREV0302 | STPIS | 40187487.4275 | 0
DREV0303 | F-Factor | 3416406.1542 | 0
DREV0304 | S-Factor True up | -3153188.3308 | 0
DREV0305 | Other | 0 | 0
DREV03 | Total revenue of incentive schemes | 45676227.1833 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2017
3.2 OPERATING EXPENDITURE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to AusNet (D)'s annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2017 | 2017
DOPEX0101 | Maintenance - Routine | 11569604.3736 | 0
DOPEX0102 | Maintenance - Condition based | 47540327.5834 | 0
DOPEX0103 | Maintenance - Emergency | 16516475.2752 | 0
DOPEX0104 | Maintenance - SCADA/Network Control | 147040.6993 | 0
DOPEX0105 | Maintenance - AMI | 0 | 2051084.824
DOPEX0106 | Maintenance - Public Lighting | 0 | 2338331
DOPEX0107 | Maintenance - Alternative control -other | 0 | 2068259.46
DOPEX0108 | Maintenance - Bushfire costs | 0 | 0
DOPEX0109 | Network Operating Costs | 59013840.5263 | 3618934.821
DOPEX0110 | Billing & Revenue Collection | 261355 | 0
DOPEX0111 | Advertising, marketing & promotions | 684289.84 | 0
DOPEX0112 | Customer Service | 5404698.6808 | 0
DOPEX0113 | Regulatory | 1342751.5531 | 0
DOPEX0114 | Regulatory Reset | 0 | 0
DOPEX0115 | IT | 24149214.7112 | 16383915.8804
DOPEX0116 | Licence fee | 0 | 0
DOPEX0117 | GSL payments | 3476640 | 0
DOPEX0118 | Non-network alternatives costs | 9951882.26 | 0
DOPEX0119 | AMI Cost | 7074357.0496 | 4894907.9223
DOPEX0120 | Other - Standard Control Services | 29596629.1899 | 0
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 216729106.7424 | 31355433.9077
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2017 | 2017
DOPEX0201 | Opex for network services | 197873567.6603 | 0
DOPEX0202 | Opex for metering | 7074357.0496 | 23329908.6268
DOPEX0203 | Opex for connection services | 2463089.866 | 3267184.2171
DOPEX0204 | Opex for public lighting | 0 | 2338331
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP | 16377288.77 | 0
DOPEX0206 | Opex for transmission connection point planning | 54823.1665 | 0
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 227948.7088
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2017
3.2 OPERATING EXPENDITURE
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to AusNet (D)'s annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE ($0's)
2017
DOPEX03A | Provision - employee entitlements
Provisions for employee entitlements are liabilities for wages and salaries, including non-monetary benefits and annual leave recognised in respect of employees’ services up to the reporting date and are measured at the amounts expected to be paid when the liabilities are settled.
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 35102535.2463
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 13196853.7193
DOPEX0303A | Capex component | 6674491.9295
DOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -10361627.0209
DOPEX0306A | Capex component | -5240536.6763
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | -1360561.8681
DOPEX0309A | Capex component | -688123.0482
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | 0
DOPEX0312A | Capex component | 0
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 37323032.2817
DOPEX03B | Provision - uninsured losses
Provision for uninsured losses is for direct or indirect claims made against AusNet for personal, injury, property damage or financial loss, including public liability claims.
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 1531200.8193
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 0
DOPEX0303B | Capex component | 0
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | -305859.44
DOPEX0306B | Capex component | 0
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | -283640.56
DOPEX0309B | Capex component | 0
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 941700.8193
DOPEX03C | Provision for Make good
This provision is used for environmental matters such as land remediation and asbestos removal and is based on advice from internal and external sources.
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 4037083.636
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 3440012
DOPEX0303C | Capex component | 0
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | -205119.86
DOPEX0306C | Capex component | 0
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | -19880.14
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 0
DOPEX0312C | Capex component | 0
DOPEX0313C | Other component | 0
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 7252095.636
DOPEX03D | Provision - Miscellaneous
Provision represents sundry matters including the work out provision and provision of cross-boundary network charges.
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 5662415.23
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 3603857.89
DOPEX0303D | Capex component | 0
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -7365104.12
DOPEX0306D | Capex component | 0
DOPEX0307D | Other component | 0
Unused amounts reversed during the period
DOPEX0308D | Opex component | -705554.36
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 1195614.64
DOPEX03E | Provision - Superannuation
The provision represents the superannuation liability of the defined benefit superannuation fund.
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | -2770735.6769
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | 1620586.2284
DOPEX0303E | Capex component | 819633.9773
DOPEX0304E | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | -1623201.8854
DOPEX0306E | Capex component | -820956.8822
DOPEX0307E | Other component | 0
Unused amounts reversed during the period
DOPEX0308E | Opex component | 0
DOPEX0309E | Capex component | 0
DOPEX0310E | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component | -14965280.9803
DOPEX0312E | Capex component | -7568898.561
DOPEX0313E | Other component | 0
DOPEX0314E | Closing balance (carrying amount at the end of the period) | -25308853.7801
DOPEX03F | Provisions - Other
This represents the provision to restore the sites to their original condition at the end of the lease.
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period) | -124383.54
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component | 0
DOPEX0303F | Capex component | 0
DOPEX0304F | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component | 0
DOPEX0306F | Capex component | 0
DOPEX0307F | Other component | 0
Unused amounts reversed during the period
DOPEX0308F | Opex component | -212029.83
DOPEX0309F | Capex component | 0
DOPEX0310F | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component | 0
DOPEX0312F | Capex component | 0
DOPEX0313F | Other component | 0
DOPEX0314F | Closing balance (carrying amount at the end of the period) | -336413.37
DOPEX03G | <Provision name>
<Brief description of provision>
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component
DOPEX0303G | Capex component
DOPEX0304G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component
DOPEX0306G | Capex component
DOPEX0307G | Other component
Unused amounts reversed during the period
DOPEX0308G | Opex component
DOPEX0309G | Capex component
DOPEX0310G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component
DOPEX0312G | Capex component
DOPEX0313G | Other component
DOPEX0314G | Closing balance (carrying amount at the end of the period)
DOPEX03H | <Provision name>
<Brief description of provision>
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component
DOPEX0303H | Capex component
DOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component
DOPEX0306H | Capex component
DOPEX0307H | Other component
Unused amounts reversed during the period
DOPEX0308H | Opex component
DOPEX0309H | Capex component
DOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component
DOPEX0312H | Capex component
DOPEX0313H | Other component
DOPEX0314H | Closing balance (carrying amount at the end of the period)
DOPEX03I | <Provision name>
<Brief description of provision>
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J | <Provision name>
<Brief description of provision>
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K | <Provision name>
<Brief description of provision>
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L | <Provision name>
<Brief description of provision>
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M | <Provision name>
<Brief description of provision>
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N | <Provision name>
<Brief description of provision>
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O | <Provision name>
<Brief description of provision>
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | <Provision name>
<Brief description of provision>
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | <Provision name>
<Brief description of provision>
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | <Provision name>
<Brief description of provision>
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2017
3.3 ASSETS
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2017 | 2017 | 2017
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 3598091360.6507 | 3608589523.1581 | 13318266.9248
DRAB0102 | Inflation addition | 36817679.0392 | 36925102.0974 | 0
DRAB0103 | Straight line depreciation | -170305454.3806 | -170531879.8123 | -791300.8731
DRAB0105 | Actual additions (recognised in RAB) | 332989806.6017 | 332989806.6017 | 5648075.2865
DRAB0106 | Disposals | -377795.13 | -377795.13 | 0
DRAB0107 | Closing value | 3797215596.781 | 3807594756.9149 | 18175041.3382
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2017 | 2017 | 2017
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 2064349570.7027 | 2064349570.7027 | 0
DRAB0202 | Inflation addition | 21123577.0025 | 21123577.0025 | 0
DRAB0203 | Straight line depreciation | -72261198.9112 | -72261198.9112 | 0
DRAB0205 | Actual additions (recognised in RAB) | 114161030.6771 | 114161030.6771 | 0
DRAB0206 | Disposals | 0 | 0 | 0
DRAB0207 | Closing value | 2127372979.4712 | 2127372979.4712 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 648811853.5638 | 648811853.5638 | 0
DRAB0302 | Inflation addition | 6639005.0132 | 6639005.0132 | 0
DRAB0303 | Straight line depreciation | -22711232.1826 | -22711232.1826 | 0
DRAB0305 | Actual additions (recognised in RAB) | 94280715.848 | 94280715.848 | 0
DRAB0306 | Disposals | 0 | 0 | 0
DRAB0307 | Closing value | 727020342.2424 | 727020342.2424 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 296110130.4935 | 296110130.4935 | 0
DRAB0402 | Inflation addition | 3029964.126 | 3029964.126 | 0
DRAB0403 | Straight line depreciation | -10365140.3536 | -10365140.3536 | 0
DRAB0405 | Actual additions (recognised in RAB) | 25392586.2261 | 25392586.2261 | 0
DRAB0406 | Disposals | 0 | 0 | 0
DRAB0407 | Closing value | 314167540.492 | 314167540.492 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 251942951.9777 | 251942951.9777 | 0
DRAB0502 | Inflation addition | 2578020.904 | 2578020.904 | 0
DRAB0503 | Straight line depreciation | -8134092.995 | -8134092.995 | 0
DRAB0505 | Actual additions (recognised in RAB) | 3986541.3446 | 3986541.3446 | 0
DRAB0506 | Disposals | 0 | 0 | 0
DRAB0507 | Closing value | 250373421.2312 | 250373421.2312 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 8382.4876 | 8382.4876 | 0
DRAB0602 | Inflation addition | 85.7743 | 85.7743 | 0
DRAB0603 | Straight line depreciation | -270.6324 | -270.6324 | 0
DRAB0605 | Actual additions (recognised in RAB) | 23380.8211 | 23380.8211 | 0
DRAB0606 | Disposals | 0 | 0 | 0
DRAB0607 | Closing value | 31578.4506 | 31578.4506 | 0
Zone substations and transformers
DRAB0701 | Opening value | 227361468.7272 | 227361468.7272 | 0
DRAB0702 | Inflation addition | 2326489.4474 | 2326489.4474 | 0
DRAB0703 | Straight line depreciation | -7340468.6085 | -7340468.6085 | 0
DRAB0705 | Actual additions (recognised in RAB) | 27848601.8129 | 27848601.8129 | 0
DRAB0706 | Disposals | 0 | 0 | 0
DRAB0707 | Closing value | 250196091.3791 | 250196091.3791 | 0
For easements:
DRAB0801 | Opening value
DRAB0802 | Inflation addition
DRAB0805 | Actual additions (recognised in RAB)
DRAB0806 | Disposals
DRAB0807 | Closing value | 0 | 0 | 0
For meters:
DRAB0901 | Opening value | 0 | 0 | 0
DRAB0902 | Inflation addition | 0 | 0 | 0
DRAB0903 | Straight line depreciation
DRAB0905 | Actual additions (recognised in RAB) | 0 | 0 | 0
DRAB0906 | Disposals | 0 | 0 | 0
DRAB0907 | Closing value | 0 | 0 | 0
For “other” asset items with long lives:
DRAB1001 | Opening value | 13059758.0338 | 23557920.5412 | 13318266.9248
DRAB1002 | Inflation addition | 133634.7334 | 241057.7916 | 0
DRAB1003 | Straight line depreciation | -3560104.7712 | -3786530.2029 | -791300.8731
DRAB1005 | Actual additions (recognised in RAB) | 20279545.0579 | 20279545.0579 | 5648075.2865
DRAB1006 | Disposals | 0 | 0 | 0
DRAB1007 | Closing value | 29912833.0539 | 40291993.1877 | 18175041.3382
For “other” asset items with short lives:
DRAB1101 | Opening value | 96447244.6644 | 96447244.6644 | 0
DRAB1102 | Inflation addition | 986902.0384 | 986902.0384 | 0
DRAB1103 | Straight line depreciation | -45932945.9262 | -45932945.9262 | 0
DRAB1105 | Actual additions (recognised in RAB) | 47017404.814 | 47017404.814 | 0
DRAB1106 | Disposals | -377795.13 | -377795.13 | 0
DRAB1107 | Closing value | 98140810.4607 | 98140810.4607 | 0
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2017 | 2017 | 2017
DRAB1201 | Overhead network assets less than 33kV (wires and poles) | 2095861275.087 | 2095861275.087 | 0
DRAB1202 | Underground network assets less than 33kV (cables) | 687916097.9031 | 687916097.9031 | 0
DRAB1203 | Distribution substations including transformers | 305138835.4927 | 305138835.4927 | 0
DRAB1204 | Overhead network assets 33kV and above (wires and towers / poles etc) | 251158186.6044 | 251158186.6044 | 0
DRAB1205 | Underground network assets 33kV and above(cables, ducts etc) | 19980.4691 | 19980.4691 | 0
DRAB1206 | Zone substations and transformers | 238778780.0532 | 238778780.0532 | 0
DRAB1207 | Easements | 0 | 0 | 0
DRAB1208 | Meters | 0 | 0 | 0
DRAB1209 | "Other" assets with long lives | 21486295.5438 | 31924956.8645 | 15746654.1315
DRAB1210 | "Other" assets with short lives | 97294027.5626 | 97294027.5626 | 0
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 33484468.71 | 33484468.71 | 1321308.32
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2017 | 2017 | 2017
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 63.8 | 63.8 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | 50 | 50 | 0
DRAB1403 | Distribution substations including transformers | 52.2 | 52.2 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 71.7 | 71.7 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 50 | 50 | 0
DRAB1406 | Zone substations and transformers | 45.9 | 45.9 | 0
DRAB1407 | Meters | 0 | 0 | 0
DRAB1408 | "Other" assets with long lives | 10 | 17.8954 | 29.2325
DRAB1409 | "Other" assets with short lives | 5 | 5 | 0
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 29.7228 | 29.7228 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | 31.4409 | 31.4409 | 0
DRAB1503 | Distribution substations including transformers | 26.7939 | 26.7939 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 40.4293 | 40.4293 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 21.4194 | 21.4194 | 0
DRAB1506 | Zone substations and transformers | 8.3397 | 8.3397 | 0
DRAB1507 | Meters | 0 | 0 | 0
DRAB1508 | "Other" assets with long lives | 9.1102 | 18.604 | 27.2583
DRAB1509 | "Other" assets with short lives | 3.634 | 3.634 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2017
3.4 OPERATIONAL DATA
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
VOLUME (0's)
|  | Units | 2017
DOPED01 | Total energy delivered | GWh | 7672.8994
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 2318.8289
DOPED0202 | Energy Delivery at On-peak times | GWh | 2335.4588
DOPED0203 | Energy Delivery at Shoulder times | GWh | 445.4016
DOPED0204 | Energy Delivery at Off-peak times | GWh | 2516.9237
DOPED0205 | Controlled load energy deliveries | GWh | 0
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 56.6482
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 0
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 0
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 0
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 6743.7345
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 0
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 0
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 1078.6857
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 0
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 227.1628
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 3248.2545
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 1627.5237
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 1735.0836
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 1005.3369
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 56.6482
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME (0's)
2017
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 647295.5
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 65745
DOPCN0103 | Low voltage demand tariff customer numbers |  | 10793.5
DOPCN0104 | High voltage demand tariff customer numbers |  | 116
DOPCN0105 | Unmetered Customer Numbers |  | 10694
DOPCN0106 | Other Customer Numbers |  | 0
DOPCN01 | Total customer numbers |  | 734644
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | Customers on CBD network |  | 0
DOPCN0202 | Customers on Urban network |  | 304727.0539
DOPCN0203 | Customers on Short rural network |  | 305319.0247
DOPCN0204 | Customers on Long rural network |  | 124597.9214
DOPCN02 | Total customer numbers |  | 734644
3.4.2.3 - Distribution customer numbers by TasNetworks (D) feeder categories (TasNetworks (D) only)
Critical Infrastructure
High Density Commercial
Urban
High Density Rural
Low Density Rural
| Total customer numbers |  | 0
3.4.2.4 - Unmetered Supply TasNetworks (D) only)
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN
DOPCN0303 | Total unmetered connections
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME (0's)
|  | Units | 2017
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 1714.724
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1993.6706
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1814.2054
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 1444.3096
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1699.7131
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1521.6407
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 1942.0717
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2221.0297
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2035.1653
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 1669.9741
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1993.3485
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1784.513
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 1738.7765
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2020.9451
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1839.2919
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 1464.5805
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 1723.5271
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1542.9598
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 1946.4681
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2226.0575
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2039.7724
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 1712.5536
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2044.1731
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1830.0129
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.97995
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.9
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor | 0
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor | 0.98914
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor | 0
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.9
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.99299
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0.9672
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor | 0
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.98579
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor | 0
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 0
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 0
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 1131.4428
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 544.3726
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2017
3.5 PHYSICAL ASSETS
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's (0's)
| Circuit length | 2017
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 6643.3178
DPA0102 | Overhead 2.2 kV | 0
DPA0103 | Overhead 6.6kv | 52.6122
DPA0104 | Overhead 7.6 kV | 0
DPA0105 | Overhead 11 kV | 3.2317
DPA0106 | Overhead SWER | 6464.4497
DPA0107 | Overhead 22 kV | 22597.8726
DPA0108 | Overhead 33 kV | 0
DPA0109 | Overhead 44 kV | 0
DPA0110 | Overhead 66 kV | 2548.7294
DPA0111 | Overhead 110kV | 0
DPA0112 | Overhead 132 kV | 0
DPA0113 | Overhead 220kV | 0
DPA0114 | Other | 0
DPA01 | Total overhead circuit km | 40327.2135
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 4405.7116
DPA0202 | Underground 5 kV | 0
DPA0203 | Underground 6.6 Kv | 13.422
DPA0204 | Underground 7.6 kV | 0
DPA0205 | Underground 11 kV | 1.4135
DPA0206 | Underground SWER | 25.7442
DPA0207 | Underground 22 kV | 2117.4185
DPA0208 | Underground 33 kV | 0
DPA0209 | Underground 66 kV | 10.884
DPA0210 | Underground 110 kV | 0
DPA0211 | Underground 132 kV | 0
DPA0212 | Other | 0
DPA02 | Total underground circuit km | 6574.5938
VOLUME in MVA (0's)
| Circuit Capacity MVA | 2017
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.12229
DPA0302 | Overhead 6.6 kV | 2.5131
DPA0303 | Overhead 7.6 kV | 0
DPA0304 | Overhead 11 kV | 6.0016
DPA0305 | Overhead SWER | 0.39922
DPA0306 | Overhead 22 kV | 3.4542
DPA0307 | Overhead 33 kV | 0
DPA0308 | Overhead 44 kV | 0
DPA0309 | Overhead 66 kV | 40.4425
DPA0310 | Overhead 110 kV | 0
DPA0311 | Overhead 132 kV | 0
DPA0312 | Overhead 220 kV | 0
DPA0313 | Other | 0
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.18943
DPA0402 | Underground 5 kV
DPA0403 | Underground 6.6 kV | 3.4062
DPA0404 | Underground 7.6 kV | 0
DPA0405 | Underground 11 kV | 6.0016
DPA0406 | Underground SWER | 1.6311
DPA0407 | Underground 12.7 kV | 0
DPA0408 | Underground 22 kV | 11.0049
DPA0409 | Underground 33 kV | 0
DPA0410 | Underground 66 kV | 55.2585
DPA0411 | Underground 110 kV
DPA0412 | Underground 132 kV | 0
DPA0413 | Other | 0
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA (0's)
2017
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 5542.723
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | 361.8083
DPA0503 | Cold spare capacity included in DPA0501 | 67.412
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 0
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 0
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 3424.5
DPA0604 | Total zone substation transformer capacity | 3515
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 90.5
3.5.2.3 - Distribution - other transformer capacity
| Distribution other - transformer capacity owned by utility | 8
3.5.3 - PUBLIC LIGHTING
VOLUME (0's)
2017
DPA0701 | Public lighting luminaires | 151414
DPA0702 | Public lighting poles | 86563
DPA0703 | Public lighting columns | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2017
3.6 QUALITY OF SERVICE DATA
3.6.1 - RELIABILITY
(0's)
|  | Units | 2017
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 148.7324
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 148.3915
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 1.6136
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.6074
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 121.6215
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 121.2806
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 1.5062
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.5
3.6.2 - ENERGY NOT SUPPLIED
(0's)
|  | Units | 2017
DQS0201 | Energy Not Supplied (planned) | GWh | 3.0578
DQS0202 | Energy Not Supplied (unplanned) | GWh | 1.9812
DQS02 | Total |  | 5.039
3.6.3 - SYSTEM LOSSES
(0's)
|  | Unit | 2017
DQS03 | System losses | % | 4.68%
3.6.4 - CAPACITY UTILISATION
(0's)
|  | Unit | 2017
DQS04 | Overall utilisation | % | 49.47%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2017
3.7 OPERATING ENVIRONMENT FACTORS
3.7.1 - DENSITY FACTORS
(0's)
|  | Units | 2017
DOEF0101 | Customer density | Customer / km | 18.8716
DOEF0102 | Energy density | MWh/customer | 10.4444
DOEF0103 | Demand density | kVA / customer | 2.3668
3.7.2 - TERRAIN FACTORS
(0's)
|  | Units | 2017
DOEF0201 | Rural proportion | % | 93.49%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 10431
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 63340
DOEF0204 | Total vegetation maintenance spans | Number of spans | 73771
DOEF0205 | Total number of spans | Number of spans | 318385
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 6.9525
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 7.1814
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 0.14054
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 0.077944
DOEF0212 | Tropical proportion | Spans | 0
DOEF0213 | Standard vehicle access | km | 3698.3199
DOEF0214 | Bushfire risk | Spans | 53296
3.7.3 - SERVICE AREA FACTORS
(0's)
|  | Units | 2017
DOEF0301 | Route Line length | km | 38928.6116
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## NSP amendments
AusNet (D) data amendments
Amended Table | Comments