## Instructions
Distribution Network Service Provider
Annual Reporting RIN Template
This template is to be used by AusNet (D) to fulfil its reporting obligations to the AER.
INSTRUCTIONS
Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
Identifying CONFIDENTIAL INFORMATION: Please use the macro at the top of each worksheet to identify confidential information.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selected cells as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return cells to NON-CONFIDENTIAL macro
UNITS OF MEASURE All amounts are to be unrounded and reported in nominal terms on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
COLOUR CODING OF INPUT / NON-INPUT CELLS:
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
WORKSHEET NAVIGATION Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin of excel (for Row groupings) or above the columns (for column groupings).
RETURNING COMPLETED RESPONSES Please return four (4) files - using the locked template - to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selected cells CONFIDENTIAL macro. 2. An actual and an estimate version with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 3. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public. If the confidential and public versions of the consolidated file are exactly the same, only the public version of the file needs to be submitted to the AER.
SUBMITTING AMENDED DATA TO THE AER If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
Contents
Instructions

## Contents
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2019
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
1.0 Business & other details
3.2.3 Provisions

## Business & other details
ECONOMIC BENCHMARKING
AusNet Electricity Services Pty Ltd
2019
BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEETS
ENTITY DETAILS
Short name | AusNet (D) |  |  | Select business name from drop down list first
ACN / ABN | 91064651118
Business address | Address 1 |  | Level 32
|  | Address 2 | 2 Southbank Boulevard
| Suburb |  | SOUTHBANK
|  | State | Vic | p/code | 3006
Postal address | Address 1 |  | Locked Bag 14051
Address 2
| Suburb |  | MELBOURNE CITY MAIL CENTRE
|  | State | VIC | p/code | 8001
Contact name/s
Contact phone/s
Contact email address/s
REGULATORY CONTROL PERIODS
Commencing regulatory year | 2019 | CRY
Last completed regulatory year | 2018 | dms_FinalYear
Source | Reporting |  | Please select the correct submission type from the dropdown list.
Data quality (actual, estimate, public, consolidated) | Consolidated
Confidentiality Status (public, confidential) | Public
Amended RIN submission - amendment reason | 28/08/2025 - 3.2.2 - #30,597,619 20230607 - Table 3.5.1.1 - Amended - #15,358,573 20220526 - #13,897,403 - amended 3.5 20210506 - #12947734 - Change to 3.3 Assets (RAB) . See comments in the NSP amendments
Submission Date | 06/05/2021 | dms_SubmissionDate | Please enter date this file submitted to AER (dd/mm/yyyy)
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2019
3.1 REVENUE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2019 | 2019
DREV0101 | Revenue from Fixed Customer Charges | 97677528.794 | 0
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 222844490.699 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | 196495438.4732 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 12268731.1288 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 49299413.0665 | 0
DREV0106 | Revenue from controlled load customer charges | 0 | 0
DREV0107 | Revenue from unmetered supplies | 6160316.5999 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | 44781406.7064 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | 39488426.3952 | 0
DREV0110 | Revenue from metering charges | 0 | 51960979.574
DREV0111 | Revenue from connection charges | 0 | 4186816.716
DREV0112 | Revenue from public lighting charges | 0 | 7817150.46
DREV0113 | Revenue from other Sources | -4096299.2515 | 4965229.918
DREV01 | Total revenue by chargeable quantity | 664919452.6115 | 68930176.668
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2019 | 2019
DREV0201 | Revenue from residential Customers | 360431398.9305 | 44400861.652
DREV0202 | Revenue from Non residential customers not on demand tariffs | 91776220.0962 | 5399691.288
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 186560028.4259 | 0
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 19991488.559 | 0
DREV0205 | Revenue from unmetered supplies | 6160316.5999 | 0
DREV0206 | Revenue from Other Customers | 0 | 19129623.728
DREV02 | Total revenue by customer class | 664919452.6115 | 68930176.668
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2019 | 2019
DREV0301 | EBSS | 5626245.7168 | 0
DREV0302 | STPIS | 9317793.8936 | 0
DREV0303 | F-Factor | 1525096.2164 | 0
DREV0304 | S-Factor True up | -3394993.3748 | 0
DREV0305 | Other | 0 | 0
DREV03 | Total revenue of incentive schemes | 13074142.4519 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2019
3.2 OPERATING EXPENDITURE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to AusNet (D)'s annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2019 | 2019
DOPEX0101 | Maintenance - Routine | 14260919.598 | 0
DOPEX0102 | Maintenance - Condition based | 53285950.87 | 0
DOPEX0103 | Maintenance - Emergency | 18562343.9 | 0
DOPEX0104 | Maintenance - SCADA/Network Control | 29190.92 | 0
DOPEX0105 | Maintenance - AMI | 0 | 1303419.13
DOPEX0106 | Maintenance - Public Lighting | 0 | 2955471.78
DOPEX0107 | Maintenance - Alternative control -other | 0 | 1127733.57
DOPEX0108 | Maintenance - Bushfire costs | 0 | 0
DOPEX0109 | Network Operating Costs | 44584545.243 | 5207864.782
DOPEX0110 | Billing & Revenue Collection | 3141.6 | 0
DOPEX0111 | Advertising, marketing & promotions | 956017.89 | 0
DOPEX0112 | Customer Service | 3610318.85 | 0
DOPEX0113 | Regulatory | 1186333.6 | 0
DOPEX0114 | Regulatory Reset | 463291.88 | 0
DOPEX0115 | IT | 22960712.2853 | 12008250.0157
DOPEX0116 | Licence fee | 379913.27 | 0
DOPEX0117 | GSL payments | 11652390 | 0
DOPEX0118 | Non-network alternatives costs | 10266511.42 | 0
DOPEX0119 | AMI Cost | 5866681.1211 | 2954705.06
DOPEX0120 | Other - Standard Control Services | 23685018.5673 | 0
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 211753281.0147 | 25557444.3377
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2019 | 2019
DOPEX0201 | Opex for network services | 195196700.1764 | 0
DOPEX0202 | Opex for metering | 5866681.1211 | 16266374.2057
DOPEX0203 | Opex for connection services | 1425804.3432 | 2105794.14
DOPEX0204 | Opex for public lighting | 0 | 2955471.78
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP | 0 | 0
DOPEX0206 | Opex for transmission connection point planning | 54776.274 | 0
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 229096.171
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2019
3.2 OPERATING EXPENDITURE
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to AusNet (D)'s annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE ($0's)
2019
DOPEX03A | Provision - employee entitlements
Provisions for employee entitlements are liabilities for wages and salaries, including non-monetary benefits and annual leave recognised in respect of employees’ services up to the reporting date and are measured at the amounts expected to be paid when the liabilities are settled.
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 37200855.3096
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 16061363.5183
DOPEX0303A | Capex component | 8054748.135
DOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -22762080.7988
DOPEX0306A | Capex component | -11415147.142
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | -445655.6116
DOPEX0309A | Capex component | -223495.577
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | 0
DOPEX0312A | Capex component | 0
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 26470587.8336
DOPEX03B | Provision - uninsured losses
Provision for uninsured losses is for direct or indirect claims made against SP AusNet for personal, injury, property damage or financial loss, including public liability claims.
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 1424496.4093
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 861105.8
DOPEX0303B | Capex component | 0
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | -684730.81
DOPEX0306B | Capex component | 0
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | -1410663.92
DOPEX0309B | Capex component | 0
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 190207.4793
DOPEX03C | Provision for Make good
This provision is used for environmental matters such as land remediation and asbestos removal and is based on advice from internal and external sources.
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 11166722.6095
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 0
DOPEX0303C | Capex component | 0
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | 0
DOPEX0306C | Capex component | 0
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | -835441.52
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 3460636.63
DOPEX0312C | Capex component | 0
DOPEX0313C | Other component | 0
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 13791917.7195
DOPEX03D | Provision - Miscellaneous
Provision represents sundry matters including the provision for redundancies, workout and cross boundary accrual from RES.
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | -280463.87
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 480000
DOPEX0303D | Capex component | 0
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -824249.37
DOPEX0306D | Capex component | 0
DOPEX0307D | Other component | 0
Unused amounts reversed during the period
DOPEX0308D | Opex component | 1310911.48
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 686198.24
DOPEX03E | Provision - Superannuation
The provision represents the superannuation liability of the defined benefit superannuation fund.
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | -39437668.3987
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | -780132.4606
DOPEX0303E | Capex component | -391235.1822
DOPEX0304E | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | -1413397.1721
DOPEX0306E | Capex component | -708816.4229
DOPEX0307E | Other component | 0
Unused amounts reversed during the period
DOPEX0308E | Opex component | 0
DOPEX0309E | Capex component | 0
DOPEX0310E | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component | 11885098.5293
DOPEX0312E | Capex component | 5960357.9175
DOPEX0313E | Other component | 0
DOPEX0314E | Closing balance (carrying amount at the end of the period) | -24885793.1896
DOPEX03F | Provisions - Other
This represents the provision to restore the sites to their original condition at the end of the lease.
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period) | -336413.37
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component | 0
DOPEX0303F | Capex component | 0
DOPEX0304F | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component | 0
DOPEX0306F | Capex component | 0
DOPEX0307F | Other component | 0
Unused amounts reversed during the period
DOPEX0308F | Opex component | 0
DOPEX0309F | Capex component | 0
DOPEX0310F | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component | 0
DOPEX0312F | Capex component | 0
DOPEX0313F | Other component | 0
DOPEX0314F | Closing balance (carrying amount at the end of the period) | -336413.37
DOPEX03G | <Provision name>
<Brief description of provision>
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component
DOPEX0303G | Capex component
DOPEX0304G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component
DOPEX0306G | Capex component
DOPEX0307G | Other component
Unused amounts reversed during the period
DOPEX0308G | Opex component
DOPEX0309G | Capex component
DOPEX0310G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component
DOPEX0312G | Capex component
DOPEX0313G | Other component
DOPEX0314G | Closing balance (carrying amount at the end of the period)
DOPEX03H | <Provision name>
<Brief description of provision>
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component
DOPEX0303H | Capex component
DOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component
DOPEX0306H | Capex component
DOPEX0307H | Other component
Unused amounts reversed during the period
DOPEX0308H | Opex component
DOPEX0309H | Capex component
DOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component
DOPEX0312H | Capex component
DOPEX0313H | Other component
DOPEX0314H | Closing balance (carrying amount at the end of the period)
DOPEX03I | <Provision name>
<Brief description of provision>
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J | <Provision name>
<Brief description of provision>
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K | <Provision name>
<Brief description of provision>
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L | <Provision name>
<Brief description of provision>
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M | <Provision name>
<Brief description of provision>
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N | <Provision name>
<Brief description of provision>
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O | <Provision name>
<Brief description of provision>
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | <Provision name>
<Brief description of provision>
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | <Provision name>
<Brief description of provision>
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | <Provision name>
<Brief description of provision>
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2019
3.3 ASSETS
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2019 | 2019 | 2019
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 4055352631.803 | 4067620147.02 | 319732185.3649
DRAB0102 | Inflation addition | 84257552.4223 | 84512433.0456 | 6102971.3183
DRAB0103 | Straight line depreciation | -192754710.001 | -193032958.3752 | -49738500.3571
DRAB0105 | Actual additions (recognised in RAB) | 395126617.3428 | 395126617.3428 | 18667900.9992
DRAB0106 | Disposals | -13482524.6929 | -13482524.6929 | 0
DRAB0107 | Closing value | 4328499566.8741 | 4340743714.3402 | 294764557.3253
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2019 | 2019 | 2019
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 2210043217.797 | 2210043217.797 | 0
DRAB0202 | Inflation addition | 45917790.433 | 45917790.433 | 0
DRAB0203 | Straight line depreciation | -80991843.2221 | -80991843.2221 | 0
DRAB0205 | Actual additions (recognised in RAB) | 76099156.1212 | 76099156.1212 | 0
DRAB0206 | Disposals | 0 | 0 | 0
DRAB0207 | Closing value | 2251068321.1291 | 2251068321.1291 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 816000774.3631 | 816000774.3631 | 0
DRAB0302 | Inflation addition | 16953945.6281 | 16953945.6281 | 0
DRAB0303 | Straight line depreciation | -29904124.1611 | -29904124.1611 | 0
DRAB0305 | Actual additions (recognised in RAB) | 99568471.4777 | 99568471.4777 | 0
DRAB0306 | Disposals | 0 | 0 | 0
DRAB0307 | Closing value | 902619067.3078 | 902619067.3078 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 337433184.5738 | 337433184.5738 | 0
DRAB0402 | Inflation addition | 7010806.9062 | 7010806.9062 | 0
DRAB0403 | Straight line depreciation | -12365973.3723 | -12365973.3723 | 0
DRAB0405 | Actual additions (recognised in RAB) | 35709105.5139 | 35709105.5139 | 0
DRAB0406 | Disposals | 0 | 0 | 0
DRAB0407 | Closing value | 367787123.6216 | 367787123.6216 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 246760493.0823 | 246760493.0823 | 0
DRAB0502 | Inflation addition | 5126911.7804 | 5126911.7804 | 0
DRAB0503 | Straight line depreciation | -8703963.7567 | -8703963.7567 | 0
DRAB0505 | Actual additions (recognised in RAB) | 5195991.6317 | 5195991.6317 | 0
DRAB0506 | Disposals | 0 | 0 | 0
DRAB0507 | Closing value | 248379432.7376 | 248379432.7376 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 258926.7153 | 258926.7153 | 0
DRAB0602 | Inflation addition | 5379.6879 | 5379.6879 | 0
DRAB0603 | Straight line depreciation | -9133.102 | -9133.102 | 0
DRAB0605 | Actual additions (recognised in RAB) | 411907.727 | 411907.727 | 0
DRAB0606 | Disposals | 0 | 0 | 0
DRAB0607 | Closing value | 667081.0282 | 667081.0282 | 0
Zone substations and transformers
DRAB0701 | Opening value | 295178687.8894 | 295178687.8894 | 0
DRAB0702 | Inflation addition | 6132890.5343 | 6132890.5343 | 0
DRAB0703 | Straight line depreciation | -10411814.9914 | -10411814.9914 | 0
DRAB0705 | Actual additions (recognised in RAB) | 60595191.3853 | 60595191.3853 | 0
DRAB0706 | Disposals | 0 | 0 | 0
DRAB0707 | Closing value | 351494954.8176 | 351494954.8176 | 0
For easements:
DRAB0801 | Opening value
DRAB0802 | Inflation addition
DRAB0805 | Actual additions (recognised in RAB)
DRAB0806 | Disposals
DRAB0807 | Closing value | 0 | 0 | 0
For meters:
DRAB0901 | Opening value | 0 | 0 | 293738663.0145
DRAB0902 | Inflation addition | 0 | 0 | 6102971.3183
DRAB0903 | Straight line depreciation | 0 | 0 | -48519293.991
DRAB0905 | Actual additions (recognised in RAB) | 0 | 0 | 14824232
DRAB0906 | Disposals | 0 | 0 | 0
DRAB0907 | Closing value | 0 | 0 | 266146572.3418
For “other” asset items with long lives:
DRAB1001 | Opening value | 49996609.6655 | 62264124.8825 | 25993522.3504
DRAB1002 | Inflation addition | 1038773.2812 | 1293653.9045 | 0
DRAB1003 | Straight line depreciation | -5385715.2273 | -5663963.6015 | -1219206.3661
DRAB1005 | Actual additions (recognised in RAB) | 66651005.8972 | 66651005.8972 | 3843668.9992
DRAB1006 | Disposals | 0 | 0 | 0
DRAB1007 | Closing value | 112300673.6167 | 124544821.0828 | 28617984.9835
For “other” asset items with short lives:
DRAB1101 | Opening value | 99680737.7167 | 99680737.7167 | 0
DRAB1102 | Inflation addition | 2071054.1712 | 2071054.1712 | 0
DRAB1103 | Straight line depreciation | -44982142.1681 | -44982142.1681 | 0
DRAB1105 | Actual additions (recognised in RAB) | 50895787.5887 | 50895787.5887 | 0
DRAB1106 | Disposals | -13482524.6929 | -13482524.6929 | 0
DRAB1107 | Closing value | 94182912.6156 | 94182912.6156 | 0
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2019 | 2019 | 2019
DRAB1201 | Overhead network assets less than 33kV (wires and poles) | 2230555769.4631 | 2230555769.4631 | 0
DRAB1202 | Underground network assets less than 33kV (cables) | 859309920.8354 | 859309920.8354 | 0
DRAB1203 | Distribution substations including transformers | 352610154.0977 | 352610154.0977 | 0
DRAB1204 | Overhead network assets 33kV and above (wires and towers / poles etc) | 247569962.9099 | 247569962.9099 | 0
DRAB1205 | Underground network assets 33kV and above(cables, ducts etc) | 463003.8718 | 463003.8718 | 0
DRAB1206 | Zone substations and transformers | 323336821.3535 | 323336821.3535 | 0
DRAB1207 | Easements | 0 | 0 | 0
DRAB1208 | Meters | 0 | 0 | 277806170.1898
DRAB1209 | "Other" assets with long lives | 81148641.6411 | 93404472.9826 | 27305753.667
DRAB1210 | "Other" assets with short lives | 96931825.1661 | 96931825.1661 | 0
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 79589038.96 | 79589038.96 | 8373945.57
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2019 | 2019 | 2019
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 63.8 | 63.8 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | 50 | 50 | 0
DRAB1403 | Distribution substations including transformers | 52.2 | 52.2 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 71.7 | 71.7 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 50 | 50 | 0
DRAB1406 | Zone substations and transformers | 45.9 | 45.9 | 0
DRAB1407 | Meters | 0 | 0 | 14.157
DRAB1408 | "Other" assets with long lives | 10.049 | 13.333 | 27.4943
DRAB1409 | "Other" assets with short lives | 5 | 5 | 0
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 28.8753 | 28.8753 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | 29.1149 | 29.1149 | 0
DRAB1503 | Distribution substations including transformers | 26.0699 | 26.0699 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 39.5008 | 39.5008 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 21.2509 | 21.2509 | 0
DRAB1506 | Zone substations and transformers | 9.7355 | 9.7355 | 0
DRAB1507 | Meters | 0 | 0 | 8.812
DRAB1508 | "Other" assets with long lives | 9.39 | 12.8043 | 24.681
DRAB1509 | "Other" assets with short lives | 3.6868 | 3.6868 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2019
3.4 OPERATIONAL DATA
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
VOLUME (0's)
|  | Units | 2019
DOPED01 | Total energy delivered | GWh | 7658.2962
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 2315.7003
DOPED0202 | Energy Delivery at On-peak times | GWh | 2213.0353
DOPED0203 | Energy Delivery at Shoulder times | GWh | 442.8102
DOPED0204 | Energy Delivery at Off-peak times | GWh | 2410.0219
DOPED0205 | Controlled load energy deliveries | GWh | 0
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 276.7285
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 0
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 0
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 0
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 6833.0959
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 0
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 0
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 1012.6311
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 0
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 332.9477
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 3117.1559
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 905.7537
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 2359.7757
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 998.8824
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 276.7285
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME (0's)
2019
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 675823
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 65836.5
DOPCN0103 | Low voltage demand tariff customer numbers |  | 11752.5
DOPCN0104 | High voltage demand tariff customer numbers |  | 121
DOPCN0105 | Unmetered Customer Numbers |  | 8849
DOPCN0106 | Other Customer Numbers |  | 0
DOPCN01 | Total customer numbers |  | 762382
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | Customers on CBD network |  | 0
DOPCN0202 | Customers on Urban network |  | 325660.3387
DOPCN0203 | Customers on Short rural network |  | 313089.9703
DOPCN0204 | Customers on Long rural network |  | 123631.691
DOPCN02 | Total customer numbers |  | 762382
3.4.2.3 - Distribution customer numbers by TasNetworks (D) feeder categories (TasNetworks (D) only)
Critical Infrastructure
High Density Commercial
Urban
High Density Rural
Low Density Rural
| Total customer numbers |  | 0
3.4.2.4 - Unmetered Supply TasNetworks (D) only)
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN
DOPCN0303 | Total unmetered connections
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME (0's)
|  | Units | 2019
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 1943.9014
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2011.0099
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1822.8164
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 1657.3693
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1881.8314
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1684.6792
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 2026.9371
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2189.0595
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2002.5773
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 1754.0674
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1905.2821
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1705.673
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 1958.3383
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2026.0152
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1836.6199
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 1672.26
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 1898.1897
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1699.3237
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 2090.6942
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2257.9163
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2065.5682
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 1792.1314
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 1946.6274
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1742.6867
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.9695
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.9
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor | 0
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor | 0.98719
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor | 0
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.9
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.96314
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0.99263
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor | 0
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.99263
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor | 0
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 0
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 2777.9087
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 1203.4338
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 561.1183
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2019
3.5 PHYSICAL ASSETS
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's (0's)
| Circuit length | 2019
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 6615.11
DPA0102 | Overhead 2.2 kV | 0
DPA0103 | Overhead 6.6kv | 51.32
DPA0104 | Overhead 7.6 kV | 0
DPA0105 | Overhead 11 kV | 4.98
DPA0106 | Overhead SWER | 6445.51
DPA0107 | Overhead 22 kV | 22578.59
DPA0108 | Overhead 33 kV | 0
DPA0109 | Overhead 44 kV | 0
DPA0110 | Overhead 66 kV | 2471.1
DPA0111 | Overhead 110kV | 0
DPA0112 | Overhead 132 kV | 0
DPA0113 | Overhead 220kV | 0
DPA0114 | Other | 0
DPA01 | Total overhead circuit km | 38166.61
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 4846.68
DPA0202 | Underground 5 kV | 0
DPA0203 | Underground 6.6 Kv | 14.9
DPA0204 | Underground 7.6 kV | 0
DPA0205 | Underground 11 kV | 1.54
DPA0206 | Underground SWER | 55.17
DPA0207 | Underground 22 kV | 2375.34
DPA0208 | Underground 33 kV | 0
DPA0209 | Underground 66 kV | 11.6
DPA0210 | Underground 110 kV | 0
DPA0211 | Underground 132 kV | 0
DPA0212 | Other | 0
DPA02 | Total underground circuit km | 7305.23
VOLUME in MVA (0's)
| Circuit Capacity MVA | 2019
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.12
DPA0302 | Overhead 6.6 kV | 2.8
DPA0303 | Overhead 7.6 kV | 0
DPA0304 | Overhead 11 kV | 6
DPA0305 | Overhead SWER | 0.1089
DPA0306 | Overhead 22 kV | 4.54
DPA0307 | Overhead 33 kV | 0
DPA0308 | Overhead 44 kV | 0
DPA0309 | Overhead 66 kV | 39.85
DPA0310 | Overhead 110 kV | 0
DPA0311 | Overhead 132 kV | 0
DPA0312 | Overhead 220 kV | 0
DPA0313 | Other | 0
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.17
DPA0402 | Underground 5 kV | 0
DPA0403 | Underground 6.6 kV | 3.59
DPA0404 | Underground 7.6 kV | 0
DPA0405 | Underground 11 kV | 6.88
DPA0406 | Underground SWER | 0.13089
DPA0407 | Underground 12.7 kV | 0
DPA0408 | Underground 22 kV | 10.99
DPA0409 | Underground 33 kV | 0
DPA0410 | Underground 66 kV | 55.1662
DPA0411 | Underground 110 kV | 0
DPA0412 | Underground 132 kV | 0
DPA0413 | Other | 0
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA (0's)
2019
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 5984.08
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | 381.8594
DPA0503 | Cold spare capacity included in DPA0501 | 84.464
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 0
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 0
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 3294.5
DPA0604 | Total zone substation transformer capacity | 3385
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 90.5
3.5.2.3 - Distribution - other transformer capacity
| Distribution other - transformer capacity owned by utility | 8
3.5.3 - PUBLIC LIGHTING
VOLUME (0's)
2019
DPA0701 | Public lighting luminaires | 160221
DPA0702 | Public lighting poles | 93810
DPA0703 | Public lighting columns
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2019
3.6 QUALITY OF SERVICE DATA
3.6.1 - RELIABILITY
(0's)
|  | Units | 2019
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 339.1284
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 323.2005
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 2.1424
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 2.0229
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 195.209
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 179.281
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 1.8849
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.7654
3.6.2 - ENERGY NOT SUPPLIED
(0's)
|  | Units | 2019
DQS0201 | Energy Not Supplied (planned) | GWh | 2.8934
DQS0202 | Energy Not Supplied (unplanned) | GWh | 4.0423
DQS02 | Total |  | 6.9358
3.6.3 - SYSTEM LOSSES
(0's)
|  | Unit | 2019
DQS03 | System losses | % | 6.363%
3.6.4 - CAPACITY UTILISATION
(0's)
|  | Unit | 2019
DQS04 | Overall utilisation | % | 57.85%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2019
3.7 OPERATING ENVIRONMENT FACTORS
3.7.1 - DENSITY FACTORS
(0's)
|  | Units | 2019
DOEF0101 | Customer density | Customer / km | 19.3413
DOEF0102 | Energy density | MWh/customer | 10.0452
DOEF0103 | Demand density | kVA / customer | 2.5687
3.7.2 - TERRAIN FACTORS
(0's)
|  | Units | 2019
DOEF0201 | Rural proportion | % | 93.22%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 8709
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 59850
DOEF0204 | Total vegetation maintenance spans | Number of spans | 68559
DOEF0205 | Total number of spans | Number of spans | 303765
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 3.03
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 4.58
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 0.26226
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 0.14159
DOEF0212 | Tropical proportion | Spans | 0
DOEF0213 | Standard vehicle access | km | 651.81
DOEF0214 | Bushfire risk | Spans | 53393
3.7.3 - SERVICE AREA FACTORS
(0's)
|  | Units | 2019
DOEF0301 | Route Line length | km | 39417.3587
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## NSP amendments
AusNet (D) data amendments
Amended Table | Comments
3.3.1 - REGULATORY ASSET BASE VALUES | DRAB0105 - cell E16 there was an error in the calcuation of the meteering additios. Emailed Kaye Johnstone about the error, who advised AusNet Electricity Services to re-submit its CY19 EB RIN
3.3.2 - ASSET VALUE ROLL FORWARD | DRAB0905 - cell E77 there was an error in the calcuation of the meteering additios. Emailed Kaye Johnstone about the error, who advised AusNet Electricity Services to re-submit its CY19 EB RIN