## Instructions
Electricity Distribution Network Service Provider
Economic Benchmarking RIN
This template is to be used by AusNet Electricity Services Pty Ltd to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the NON-CONFIDENTIAL macro.
PROTECTED (SOCI) INFORMATION | Please use the macro at the top of each worksheet to identify information in the confidential workbook that is protected information under the SOCI Act. All information marked Protected (SOCI) is also deemed to be confidential information.
-Do this by selecting the cell or cells that contain protected information and then run the PROTECTED (SOCI) macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as protected.. -To reverse this, select the cell or cells and run the NON-PROTECTED macro.
RESPONSES | Please return two (2) files to the AER: CONSOLIDATED (2 files) 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form. The public version must include the confidential markings to identify where confidential information has been removed from the file. Use the drop down box on the Business and other details worksheet to identify the file Confidentiality Status as either 'Confidential', or ‘Public’. Use the drop down box on the Business and other details worksheet to identify the file Data Quality as 'Consolidated'. If there is no confidential information reported in the workbook, the Consolidated Confidential file does NOT have to be submitted.
ORDER OF MAGNITUDE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that require numbers (including 'numbers stored as text')
CONFIDENTIAL
NON-CONFIDENTIAL
Protected (SOCI)
NON-Protected

## CONTENTS
ECONOMIC BENCHMARKING
AusNet Electricity Services Pty Ltd
2023-24
CONTENTS
| TEMPLATE DATE | MAY 2024
| SUBMISSION | Business & other details
| ECONOMIC BENCHMARKING | 3.1 Revenue
3.2 Operating expenditure
3.2.3 Provisions
3.3 Assets (RAB)
3.4 Operational data
3.5 Physical assets
3.6 Quality of service
3.7 Operating environment

## Business & other details
ECONOMIC BENCHMARKING
AusNet Electricity Services Pty Ltd
2023-24
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
TEMPLATE DATE - MAY 2024
ENTITY DETAILS
Business Name
| Short name |  |  | AusNet (D)
| ACN/ABN |  |  | 91064651118
| Business Address | [6 empty] | Postal Address
| Address 1 |  |  | Level 32 |  |  | Address 1 | Locked Bag 14051
| Address 2 |  |  | 2 Southbank Boulevard |  |  | Address 2
| Suburb |  |  | SOUTHBANK |  |  | Suburb | MELBOURNE CITY MAIL CENTRE
| State |  |  | Vic | Post code |  | State | Vic | Post code
`
REGULATORY CONTROL PERIODS
|  |  | Commencing year | 2023-24
ANNUAL RINS
|  |  | Final year | 2023-24
SUBMISSION DETAILS
|  |  | RIN type | Economic Benchmarking
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | 28/08/2025 - correction to 3.2.2 - #30,597,577
|  |  | Submission Date | 2024-10-31
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2023-24
3.1 REVENUE
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0101 | Revenue from Fixed Customer Charges | 118214961.5301 | 0
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 222269464.7886 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | 209663872.2079 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 15381680.4346 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 79019349.3132 | 0
DREV0106 | Revenue from controlled load customer charges | 0 | 0
DREV0107 | Revenue from unmetered supplies | 9344865.5929 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | 58598832.2802 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | 58776739.7993 | 0
DREV0110 | Revenue from metering charges | 0 | 66599027.9974
DREV0111 | Revenue from connection charges | 0 | 6188476.668
DREV0112 | Revenue from public lighting charges | 0 | 11045367.77
DREV0113 | Revenue from other Sources | 0 | 7098046.446
DREV01 | Total revenue by chargeable quantity | 771269765.9468 | 90930918.8814
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0201 | Revenue from residential Customers | 419801536.3455 | 59555186.6282
DREV0202 | Revenue from Non residential customers not on demand tariffs | 85654290.0216 | 6771981.6592
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 232177413.0555 | 0
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 24291660.9312 | 0
DREV0205 | Revenue from unmetered supplies | 9344865.5929 | 0
DREV0206 | Revenue from Other Customers | 0 | 24603750.594
DREV02 | Total revenue by customer class | 771269765.9468 | 90930918.8814
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0301 | EBSS | 23679362.8477 | 0
DREV0302 | STPIS | 22335750.3658 | 0
DREV0303 | F-Factor | 1194533.4648 | 0
DREV0304 | S-Factor True up | 0 | 0
DREV0305 | Other | 15915758.8085 | 0
DREV03 | Total revenue of incentive schemes | 63125405.4868 | 0
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2023-24
3.2 OPERATING EXPENDITURE
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to AusNet (D)'s annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE $
|  | 2023-24 | 2023-24
DOPEX0101 | Maintenance - Routine | 16191771.23 | 0
DOPEX0102 | Maintenance - Condition based | 69533934.78 | 0
DOPEX0103 | Maintenance - Emergency | 32574632.7142 | 0
DOPEX0104 | Maintenance - SCADA/Network Control | 0 | 0
DOPEX0105 | Maintenance - AMI | 0 | 923795.74
DOPEX0106 | Maintenance - Public Lighting | 0 | 2758130.59
DOPEX0107 | Maintenance - Alternative control -other | 0 | 817952.48
DOPEX0108 | Maintenance - Bushfire costs | 0 | 0
DOPEX0109 | Network Operating Costs | 43077395.3256 | 8198122.8758
DOPEX0110 | Billing & Revenue Collection | 452913.916 | 0
DOPEX0111 | Advertising, marketing & promotions | 1435939.74 | 0
DOPEX0112 | Customer Service | 9166777.03 | 0
DOPEX0113 | Regulatory | 4543428.5675 | 0
DOPEX0114 | Regulatory Reset | 0 | 0
DOPEX0115 | IT | 25063997.3743 | 7224840.331
DOPEX0116 | License fee | 764383 | 0
DOPEX0117 | GSL payments | 27622235 | 0
DOPEX0118 | Non-network alternatives costs | 1491625.92 | 0
DOPEX0119 | Metering Cost | 1659868.786 | 1631792.77
DOPEX0120 | Other - Standard Control Services | 36466873.3991 | 0
DOPEX0121 | Recoverable works | 0 | 648610.34
DOPEX0122 | Software as a Service (SaaS) | 7796077.4783 | 0
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 277841854.261 | 22203245.1268
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE $
|  | 2023-24 | 2023-24
DOPEX0201 | Opex for network services | 272036934.7717 | 0
DOPEX0202 | Opex for metering | 1659868.786 | 9780428.841
DOPEX0203 | Opex for connection services | 3874152.7433 | 1626321.69
DOPEX0204 | Opex for public lighting | 0 | 2758130.59
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP | 0 | 0
DOPEX0206 | Opex for transmission connection point planning | 5580.52 | 0
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 346324.4944
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2023-24
3.2 OPERATING EXPENDITURE
TEMPLATE DATE - MAY 2024
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to AusNet (D)'s annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE $
2023-24
DOPEX03A | Provision - employee entitlements
Provisions for employee entitlements are liabilities for wages and salaries, including non-monetary benefits and annual leave recognised in respect of employees’ services up to the reporting date and are measured at the amounts expected to be paid when the liabilities are settled.
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 32105995.1642
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 19559886.3926
DOPEX0303A | Capex component | 14744824.3325
DOPEX0304A | Other component | 1212129.972
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -12970547.5166
DOPEX0306A | Capex component | -9777584.6337
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | -2153864.4196
DOPEX0309A | Capex component | -1623647.0839
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | -221510.3919
DOPEX0312A | Capex component | -166981.1241
DOPEX0313A | Other component
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 40708700.6915
DOPEX03B | Provision - uninsured losses
Provision for uninsured losses is for direct or indirect claims made against AusNet for personal, injury, property damage or financial loss, including public liability claims.
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 33210.64
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 62336.3
DOPEX0303B | Capex component | 0
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | 0
DOPEX0306B | Capex component | 0
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | 0
DOPEX0309B | Capex component | 0
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 95546.94
DOPEX03C | Provision for Make good
This provision is used for environmental matters such as land remediation and asbestos removal and is based on advice from internal and external sources.
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | -579211.41
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 0
DOPEX0303C | Capex component | 0
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | 579211.41
DOPEX0306C | Capex component | 0
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | 0
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 0
DOPEX0312C | Capex component | 0
DOPEX0313C | Other component | 0
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 0
DOPEX03D | Provision - Miscellaneous
Provision represents sundry matters including the provision for redundancies, workout and cross boundary accrual from RES.
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 1144887.052
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 1949440.07
DOPEX0303D | Capex component | 0
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -200759.5148
DOPEX0306D | Capex component | 0
DOPEX0307D | Other component | 0
Unused amounts reversed during the period
DOPEX0308D | Opex component | -839063.3885
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 2054504.2187
DOPEX03E | Provision - Superannuation
The provision represents the superannuation liability of the defined benefit superannuation fund.
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | -63078772.8624
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | -3741673.0097
DOPEX0303E | Capex component | -2820584.4416
DOPEX0304E | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | 0
DOPEX0306E | Capex component | 0
DOPEX0307E | Other component | 0
Unused amounts reversed during the period
DOPEX0308E | Opex component | 0
DOPEX0309E | Capex component | 0
DOPEX0310E | Other component | 1424522.4611
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component | 0
DOPEX0312E | Capex component | 0
DOPEX0313E | Other component | 4633224.9957
DOPEX0314E | Closing balance (carrying amount at the end of the period) | -63583282.8569
DOPEX03F | Provisions - Other
This represents the provision to restore the sites to their original condition at the end of the lease. This provision is also used for environmental matters such as land remediation and asbestos removal and is based on advice from internal and external sources.
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period) | 5929852.6065
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component | 0
DOPEX0303F | Capex component | 0
DOPEX0304F | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component | -1276887.17
DOPEX0306F | Capex component | 0
DOPEX0307F | Other component | 0
Unused amounts reversed during the period
DOPEX0308F | Opex component | -3372644.298
DOPEX0309F | Capex component | 0
DOPEX0310F | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component | 210270.62
DOPEX0312F | Capex component | 0
DOPEX0313F | Other component | 0
DOPEX0314F | Closing balance (carrying amount at the end of the period) | 1490591.7585
DOPEX03G | <Provision name>
<Brief description of provision>
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component
DOPEX0303G | Capex component
DOPEX0304G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component
DOPEX0306G | Capex component
DOPEX0307G | Other component
Unused amounts reversed during the period
DOPEX0308G | Opex component
DOPEX0309G | Capex component
DOPEX0310G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component
DOPEX0312G | Capex component
DOPEX0313G | Other component
DOPEX0314G | Closing balance (carrying amount at the end of the period)
DOPEX03H | <Provision name>
<Brief description of provision>
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component
DOPEX0303H | Capex component
DOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component
DOPEX0306H | Capex component
DOPEX0307H | Other component
Unused amounts reversed during the period
DOPEX0308H | Opex component
DOPEX0309H | Capex component
DOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component
DOPEX0312H | Capex component
DOPEX0313H | Other component
DOPEX0314H | Closing balance (carrying amount at the end of the period)
DOPEX03I | <Provision name>
<Brief description of provision>
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J | <Provision name>
<Brief description of provision>
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K | <Provision name>
<Brief description of provision>
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L | <Provision name>
<Brief description of provision>
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M | <Provision name>
<Brief description of provision>
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N | <Provision name>
<Brief description of provision>
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O | <Provision name>
<Brief description of provision>
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | <Provision name>
<Brief description of provision>
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | <Provision name>
<Brief description of provision>
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | <Provision name>
<Brief description of provision>
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2023-24
3.3 ASSETS
TEMPLATE DATE - MAY 2024
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 4948399328.4721 | 4962632202.497 | 223719410.7458
DRAB0102 | Inflation addition | 387549823.7468 | 388664517.0958 | 14568044.8243
DRAB0103 | Straight line depreciation | -279408756.1327 | -279408756.1327 | -38889801.3523
DRAB0105 | Actual additions (recognised in RAB) | 385927917.2769 | 385927917.2769 | 16523356.73
DRAB0106 | Disposals | -82035.11 | -82035.11 | -1898049.813
DRAB0107 | Closing value | 5442386278.2532 | 5457733845.627 | 214022961.1348
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 2381316214.3531 | 2381316214.3531 | 0
DRAB0202 | Inflation addition | 186500445.477 | 186500445.477 | 0
DRAB0203 | Straight line depreciation | -89941097.6202 | -89941097.6202 | 0
DRAB0205 | Actual additions (recognised in RAB) | 119189467.268 | 119189467.268 | 0
DRAB0206 | Disposals | 0 | 0 | 0
DRAB0207 | Closing value | 2597065029.4778 | 2597065029.4778 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 1061089112.8649 | 1061089112.8649 | 0
DRAB0302 | Inflation addition | 83102609.8287 | 83102609.8287 | 0
DRAB0303 | Straight line depreciation | -40076794.0472 | -40076794.0472 | 0
DRAB0305 | Actual additions (recognised in RAB) | 69418740.1032 | 69418740.1032 | 0
DRAB0306 | Disposals | 0 | 0 | 0
DRAB0307 | Closing value | 1173533668.7495 | 1173533668.7495 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 314495498.3936 | 314495498.3936 | 0
DRAB0402 | Inflation addition | 24630727.4092 | 24630727.4092 | 0
DRAB0403 | Straight line depreciation | -11878334.4067 | -11878334.4067 | 0
DRAB0405 | Actual additions (recognised in RAB) | 37994019.8984 | 37994019.8984 | 0
DRAB0406 | Disposals | 0 | 0 | 0
DRAB0407 | Closing value | 365241911.2946 | 365241911.2946 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 235630257.4198 | 235630257.4198 | 0
DRAB0502 | Inflation addition | 18454142.1722 | 18454142.1722 | 0
DRAB0503 | Straight line depreciation | -7198229.1306 | -7198229.1306 | 0
DRAB0505 | Actual additions (recognised in RAB) | 7435154.4566 | 7435154.4566 | 0
DRAB0506 | Disposals | 0 | 0 | 0
DRAB0507 | Closing value | 254321324.918 | 254321324.918 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 1882512.9227 | 1882512.9227 | 0
DRAB0602 | Inflation addition | 147435.0599 | 147435.0599 | 0
DRAB0603 | Straight line depreciation | -57508.5709 | -57508.5709 | 0
DRAB0605 | Actual additions (recognised in RAB) | 592345.6575 | 592345.6575 | 0
DRAB0606 | Disposals | 0 | 0 | 0
DRAB0607 | Closing value | 2564785.0693 | 2564785.0693 | 0
Zone substations and transformers
DRAB0701 | Opening value | 546889863.018 | 546889863.018 | 0
DRAB0702 | Inflation addition | 42831440.2199 | 42831440.2199 | 0
DRAB0703 | Straight line depreciation | -16706846.5074 | -16706846.5074 | 0
DRAB0705 | Actual additions (recognised in RAB) | 51605392.9966 | 51605392.9966 | 0
DRAB0706 | Disposals | 0 | 0 | 0
DRAB0707 | Closing value | 624619849.727 | 624619849.727 | 0
For easements:
DRAB0801 | Opening value | 0 | 0 | 0
DRAB0802 | Inflation addition | 0 | 0 | 0
DRAB0805 | Actual additions (recognised in RAB) | 0 | 0 | 0
DRAB0806 | Disposals | 0 | 0 | 0
DRAB0807 | Closing value | 0 | 0 | 0
For meters:
DRAB0901 | Opening value | 0 | 0 | 186010930.2305
DRAB0902 | Inflation addition | 0 | 0 | 14568044.8243
DRAB0903 | Straight line depreciation | 0 | 0 | -36740966.9446
DRAB0905 | Actual additions (recognised in RAB) | 0 | 0 | 10814375.3376
DRAB0906 | Disposals | 0 | 0 | -1898049.813
DRAB0907 | Closing value | 0 | 0 | 172754333.6349
For “other” asset items with long lives:
DRAB1001 | Opening value | 243242290.2146 | 257475164.2394 | 37708480.5153
DRAB1002 | Inflation addition | 19050303.0259 | 20164996.3749 | 0
DRAB1003 | Straight line depreciation | -56415253.9564 | -56415253.9564 | -2148834.4077
DRAB1005 | Actual additions (recognised in RAB) | 27761478.5587 | 27761478.5587 | 5708981.3923
DRAB1006 | Disposals | 0 | 0 | 0
DRAB1007 | Closing value | 233638817.8428 | 248986385.2166 | 41268627.4999
For “other” asset items with short lives:
DRAB1101 | Opening value | 163853579.2855 | 163853579.2855 | 0
DRAB1102 | Inflation addition | 12832720.5541 | 12832720.5541 | 0
DRAB1103 | Straight line depreciation | -57134691.8933 | -57134691.8933 | 0
DRAB1105 | Actual additions (recognised in RAB) | 71931318.3378 | 71931318.3378 | 0
DRAB1106 | Disposals | -82035.11 | -82035.11 | 0
DRAB1107 | Closing value | 191400891.1741 | 191400891.1741 | 0
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
DRAB1201 | Overhead network assets less than 33kV (wires and poles) | 2489190621.9155 | 2489190621.9155 | 0
DRAB1202 | Underground network assets less than 33kV (cables) | 1117311390.8072 | 1117311390.8072 | 0
DRAB1203 | Distribution substations including transformers | 339868704.8441 | 339868704.8441 | 0
DRAB1204 | Overhead network assets 33kV and above (wires and towers / poles etc) | 244975791.1689 | 244975791.1689 | 0
DRAB1205 | Underground network assets 33kV and above(cables, ducts etc) | 2223648.996 | 2223648.996 | 0
DRAB1206 | Zone substations and transformers | 585754856.3725 | 585754856.3725 | 0
DRAB1207 | Easements | 0 | 0 | 0
DRAB1208 | Meters | 0 | 0 | 179382631.9327
DRAB1209 | "Other" assets with long lives | 238440554.0287 | 253230774.728 | 39488554.0076
DRAB1210 | "Other" assets with short lives | 177627235.2298 | 177627235.2298 | 0
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 0 | 0 | 0
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2023-24 | 2023-24 | 2023-24
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 63.8 | 63.8 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | 50 | 50 | 0
DRAB1403 | Distribution substations including transformers | 52.2 | 52.2 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 71.7 | 71.7 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 50 | 50 | 0
DRAB1406 | Zone substations and transformers | 45.9 | 45.9 | 0
DRAB1407 | Meters | 0 | 0 | 13.3682
DRAB1408 | "Other" assets with long lives | 13.5814 | 15.439 | 23.9718
DRAB1409 | "Other" assets with short lives | 5 | 5 | 0
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 26.068 | 26.068 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | 27.5901 | 27.5901 | 0
DRAB1503 | Distribution substations including transformers | 23.978 | 23.978 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 36.1194 | 36.1194 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 20.5996 | 20.5996 | 0
DRAB1506 | Zone substations and transformers | 12.06 | 12.06 | 0
DRAB1507 | Meters | 0 | 0 | 5.3396
DRAB1508 | "Other" assets with long lives | 9.6547 | 10.5792 | 21.7187
DRAB1509 | "Other" assets with short lives | 3.617 | 3.617 | 0
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2023-24
3.4 OPERATIONAL DATA
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation.
3.4.1 - ENERGY DELIVERY
Standard control services
0's
|  | Units | 2023-24
DOPED01 | Total energy delivered | GWh | 7599.3339
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 2017.3219
DOPED0202 | Energy Delivery at On-peak times | GWh | 1988.0883
DOPED0203 | Energy Delivery at Shoulder times | GWh | 421.0419
DOPED0204 | Energy Delivery at Off-peak times | GWh | 2912.0612
DOPED0205 | Controlled load energy deliveries | GWh | 0
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 260.8205
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 0
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 0
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 0
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 5762.6195
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 0
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 0
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 1336.5
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 0
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 813.6441
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 3426.2445
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 697.254
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 2377.0105
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 838.0044
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 260.8205
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME 0's
2023-24
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 737264
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 67680.5
DOPCN0103 | Low voltage demand tariff customer numbers |  | 12679.5
DOPCN0104 | High voltage demand tariff customer numbers |  | 122
DOPCN0105 | Unmetered Customer Numbers |  | 5708.5
DOPCN0106 | Other Customer Numbers |  | 0
DOPCN01 | Total customer numbers |  | 823454.5
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | CBD |  | 0
DOPCN0202 | Urban |  | 374064
DOPCN0203 | Short rural |  | 311482
DOPCN0204 | Long rural |  | 137908
DOPCN0205
DOPCN02 | Total customer numbers |  | 823454
3.4.2.4 - Unmetered Supply
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN |  | 5708.5
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN
DOPCN0303 | Total unmetered connections |  | 5708.5
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME 0's
|  | Units | 2023-24
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 2098.0159
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2396.1271
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2236.1277
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 1844.0887
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2113.1911
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1953.1571
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 1921.021
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2227.8651
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2071.2157
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 1710.4436
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1960.0436
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1811.6076
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 2111.5502
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2411.0924
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2250.3161
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 1863.4284
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2135.3531
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1973.6408
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 1949.8275
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2261.3151
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2102.3895
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 1726.3893
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 1978.3163
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1828.4965
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.98523
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.9
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor | 0
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor | 0.99076
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor | 0
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.9
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.96726
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0.99169
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor | 0
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.99359
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor | 0
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 0
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 2126.0514
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 1401.1151
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 546.729
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2023-24
3.5 PHYSICAL ASSETS
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's 0's
| Circuit length | 2023-24
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 6571.5849
DPA0102 | Overhead 2.2 kV | 0
DPA0103 | Overhead 6.6kv | 48.9561
DPA0104 | Overhead 7.6 kV | 0
DPA0105 | Overhead 11 kV | 0.8006
DPA0106 | Overhead SWER | 6416.3881
DPA0107 | Overhead 22 kV | 22520.5386
DPA0108 | Overhead 33 kV | 0
DPA0109 | Overhead 44 kV | 0
DPA0110 | Overhead 66 kV | 2390.4483
DPA0111 | Overhead 110kV | 0
DPA0112 | Overhead 132 kV | 0
DPA0113 | Overhead 220kV | 0
DPA0114 | Other | 0
DPA01 | Total overhead circuit km | 37948.7165
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 5745.8173
DPA0202 | Underground 5 kV | 0
DPA0203 | Underground 6.6 Kv | 14.7579
DPA0204 | Underground 7.6 kV | 0
DPA0205 | Underground 11 kV | 0.3181
DPA0206 | Underground SWER | 59.5602
DPA0207 | Underground 22 kV | 2706.209
DPA0208 | Underground 33 kV | 0
DPA0209 | Underground 66 kV | 13.7765
DPA0210 | Underground 110 kV | 0
DPA0211 | Underground 132 kV | 0
DPA0212 | Other | 0
DPA02 | Total underground circuit km | 8540.4391
VOLUME in MVA 0's
| Circuit Capacity MVA | 2023-24
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.11285
DPA0302 | Overhead 6.6 kV | 2.8164
DPA0303 | Overhead 7.6 kV | 0
DPA0304 | Overhead 11 kV | 6.0016
DPA0305 | Overhead SWER | 0.10889
DPA0306 | Overhead 22 kV | 4.4291
DPA0307 | Overhead 33 kV | 0
DPA0308 | Overhead 44 kV | 0
DPA0309 | Overhead 66 kV | 42.0012
DPA0310 | Overhead 110 kV | 0
DPA0311 | Overhead 132 kV | 0
DPA0312 | Overhead 220 kV | 0
DPA0313 | Other | 0
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.22678
DPA0402 | Underground 5 kV | 0
DPA0403 | Underground 6.6 kV | 3.6646
DPA0404 | Underground 7.6 kV | 0
DPA0405 | Underground 11 kV | 6.0016
DPA0406 | Underground SWER | 0.14153
DPA0407 | Underground 12.7 kV | 0.14153
DPA0408 | Underground 22 kV | 11.2473
DPA0409 | Underground 33 kV | 0
DPA0410 | Underground 66 kV | 43.4389
DPA0411 | Underground 110 kV | 0
DPA0412 | Underground 132 kV | 0
DPA0413 | Other | 0
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA 0's
2023-24
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 6598.919
DPA0502 | Distribution transformer capacity owned by High Voltage Customers
DPA0503 | Cold spare capacity included in DPA0501 | 124.365
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 0
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 0
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 3345.5
DPA0604 | Total zone substation transformer capacity | 3436
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 90.5
3.5.2.3 - Distribution - other transformer capacity
| Distribution other - transformer capacity owned by utility | 9
3.5.3 - PUBLIC LIGHTING
VOLUME 0's
2023-24
DPA0701 | Public lighting luminaires | 177956
DPA0702 | Public lighting poles | 109980
DPA0703 | Public lighting columns | 0
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2023-24
3.6 QUALITY OF SERVICE DATA
TEMPLATE DATE - MAY 2024
3.6.1 - RELIABILITY
0's
|  | Units | 2023-24
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 859.949
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 834.0464
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 2.1372
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.7277
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 187.3849
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 161.4823
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 1.6656
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.256
3.6.2 - ENERGY NOT SUPPLIED
0's
|  | Units | 2023-24
DQS0201 | Energy Not Supplied (planned) | GWh | 1.9821
DQS0202 | Energy Not Supplied (unplanned) | GWh | 10.829
DQS02 | Total |  | 12.8111
3.6.3 - SYSTEM LOSSES
0's
|  | Unit | 2023-24
DQS03 | System losses | % | 3.961%
3.6.4 - CAPACITY UTILISATION
0's
|  | Unit | 2023-24
DQS04 | Overall utilisation | % | 61.45%
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
AusNet (D)
Benchmarking RIN response 2023-24
3.7 OPERATING ENVIRONMENT FACTORS
TEMPLATE DATE - MAY 2024
3.7.1 - DENSITY FACTORS
0's
|  | Units | 2023-24
DOEF0101 | Customer density | Customer / km | 21.6991
DOEF0102 | Energy density | MWh/customer | 9.2286
DOEF0103 | Demand density | kVA / customer | 2.5643
3.7.2 - TERRAIN FACTORS
0's
|  | Units | 2023-24
DOEF0201 | Rural proportion | % | 92.42%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 10363
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 64276
DOEF0204 | Total vegetation maintenance spans | Number of spans | 74639
DOEF0205 | Total number of spans | Number of spans | 322946
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 2.6
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 10.9
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 0.9
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 0.7
DOEF0212 | Tropical proportion | Spans | 0
DOEF0213 | Standard vehicle access | km | 584
DOEF0214 | Bushfire risk | Spans | 58276
3.7.3 - SERVICE AREA FACTORS
0's
|  | Units | 2023-24
DOEF0301 | Route Line length | km | 40164.8591
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## NSP Amendments
This sheet may be used to identify amendments made to data resubmitted to the AER. It may also be used to provide additional information not captured in this workbook.
NSP data amendments
Worksheet | Table | Comments
Contents
Instructions