## Cover
Economic benchmarking data template
TNSP – trading name: | SP AusNet
TNSP – Australian business number: |  | SPI PowerNet Pty Ltd (ACN 079 798 173)
Business address |  | Address | Level 32, 2 Southbank Boulevard
|  | Suburb | Southbank
|  | State | Victoria | Postcode | 3006
Postal address (if different to business address) |  | Address | Locked Bag 14051
|  | Suburb | Melbourne City Mail Centre
|  | State | Victoria | Postcode | 8001
Contact name/s | Tom Hallam
Contact phone/s | 03 9695 6617
Contact email address/s | Thomas.Hallam@sp-ausnet.com.au

## 1. Contents
Contents
3. Opex
5. Operational data
2. Revenue
4. Assets (RAB)
7. Quality of services
6. Physical assets
1. Contents
8. Operating environment

## 2. Revenue
2. Revenue worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 2.1 Revenue Grouping by chargeable quantity
TREV0101 | From Fixed Customer (Exit Point) Charges | $'000 | 47442.671 | 49244.387 | 58107.542 | 56649.698 | 55282.389 | 56273.615 | 60828.904 | 68032.061
TREV0102 | From Variable Customer (Exit Point) Charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TREV0103 | From Fixed Generator (Entry Point) Charges | $'000 | 5724.392 | 6029.383 | 7542.792 | 7754.788 | 6405.244 | 6306.152 | 6941.951 | 6700.518
TREV0104 | From Variable Generator (Entry Point) Charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TREV0105 | From Fixed Energy Usage Charges (Charge per day basis) | $'000 | 84000 | 94000 | 108000 | 109000 | 131000 | 119000 | 143000 | 168000
TREV0106 | From Variable Energy Usage charges (Charge per kWh basis) | $'000 | 47000 | 72000 | 60000 | 28000 | 79000 | 100000 | 102000 | 133000
TREV0107 | From Energy based Common Service and General Charges | $'000 | 146000 | 152000 | 157000 | 179000 | 194000 | 194000 | 202000 | 219000
TREV0108 | From Fixed Demand based Usage Charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TREV0109 | From Variable Demand based Usage Charges | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TREV0110 | Revenue from other Sources | $'000 | 78146.0896 | 79232.2365 | 79133.3217 | 76056.8921 | 93042.2554 | 93599.5515 | 99115.4237 | 101564.249
TREV01 | Total revenue by chargeable quantity | $'000 | 408313.1526 | 452506.0065 | 469783.6557 | 456461.3781 | 558729.8884 | 569179.3185 | 613886.2787 | 696296.828
Table 2.2 Revenue Grouping by type of connected equipment
TREV0201 | From Other connected transmission networks | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TREV0202 | From Distribution networks | $'000 | 284277.226 | 324088.263 | 338957.351 | 325006.031 | 399006.802 | 417103.382 | 451693.552 | 517890.182
TREV0203 | From Directly connected end–users | $'000 | 41165.445 | 43156.124 | 44150.191 | 47643.666 | 60275.587 | 51170.233 | 55135.352 | 70141.879
TREV0204 | From Generators | $'000 | 5724.392 | 6029.383 | 7542.792 | 7754.788 | 6405.244 | 6306.152 | 6941.951 | 6700.518
TREV0205 | Other revenue | $'000 | 78146.0906 | 79232.2365 | 79133.3217 | 76056.8921 | 93042.2554 | 93599.5515 | 99115.4237 | 101564.249
TREV02 | Total revenue by type of connected equipment | $'000 | 409313.1536 | 452506.0065 | 469783.6557 | 456461.3771 | 558729.8884 | 568179.3185 | 612886.2787 | 696296.828
Table 2.3 Revenue (penalties) allowed (deducted) through incentive schemes
TREV0301 | EBSS | $'000 | 2402.929 | 2470.483 | 2539.964 | 4124.406 | 4274.952 | 4430.993 | 4592.73 | 4760.37
TREV0302 | STPIS | $'000 | 609.75 | 272.7 | -496.3 | 195.438 | 2910.714 | 2408.852 | 2845.653 | 3658.763
TREV0303 | Other | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TREV03 | Total revenue of incentive schemes | $'000 | 3012.679 | 2743.183 | 2043.664 | 4319.844 | 7185.666 | 6839.845 | 7438.383 | 8419.133

## 3. Opex
3. Opex worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 3.1 Opex categories
Table 3.1.1 Current opex categories and cost allocations
TOPEX0101 | Maintenance - Secondary Systems | $'000 | 2600.8819 | 2603.1125 | 2651.1656 | 4710.429 | 3291.666 | 3576.617 | 3029.829 | 3087.832
TOPEX0102 | Maintenance - Substations | $'000 | 9031.1268 | 9038.8721 | 9205.7286 | 9891.901 | 13257.018 | 14073.228 | 12116.307 | 12109.238
TOPEX0103 | Maintenance - Lines | $'000 | 2424.2333 | 2426.3124 | 2471.1019 | 3532.822 | 3114.915 | 3344.377 | 3249.698 | 3252.647
TOPEX0104 | Maintenance - Communications | $'000 | 395.7526 | 396.092 | 403.4038 | 942.086 | 457.513 | 259.017 | 527.756 | 506.324
TOPEX0105 | Maintenance - Easements | $'000 | 3143.4645 | 3146.1603 | 3204.2381 | 4474.908 | 4986.337 | 2378.793 | 5146.994 | 4401.067
TOPEX0106 | Maintenance - Asset Management Support | $'000 | 4925.8557 | 4930.0802 | 4767.475 | 6201.756 | 8175.879 | 5334.125 | 4814.199 | 4222.038
TOPEX0107 | Operations | $'000 | 3589.9481 | 3593.0269 | 2496.3446 | 2848.319 | 3629.029 | 4811.879 | 5368.993 | 5271.404
TOPEX0108 | OHS | $'000 | 658.8978 | 659.4629 | 711.7064 | 712.22 | 679.3 | 887.313 | 682.357 | 810.237
TOPEX0109 | Taxes and Charges | $'000 | 4000.0355 | 4003.466 | 3789.0697 | 3295.28 | 5083.548 | 4712.661 | 5114.145 | 5221.496
TOPEX0110 | Insurance | $'000 | 2673.5127 | 2675.8056 | 2608.5752 | 2468.047 | 2627.24 | 2999.873 | 3764.487 | 3722.33
TOPEX0111 | Asset Works Program | $'000 | 6706.7907 | 6712.5426 | 5597.508 | 10792.308 | 11264.064 | 7208.606 | 3939.299 | 6831.15
TOPEX0112 | Asset Works Program - Asset Management Support | $'000 | 890.0115 | 890.7748 | 803.2642 | 975.948 | 785.415 | 1382.645 | 977.226 | 1131.132
TOPEX0113 | Finance | $'000 | 2977.2411 | 2979.7945 | 2512.8591 | 3018.811 | 3637.319 | 2835.127 | 3414.296 | 4838.706
TOPEX0114 | HR | $'000 | 816.2397 | 816.9397 | 728.2287 | 904.274 | 1145.514 | 1516.622 | 446.553 | 812.494
TOPEX0115 | IT | $'000 | 4299.534 | 4303.2214 | 3945.1127 | 1931.072 | 5666.472 | 6619.703 | 6044.474 | 5047.151
TOPEX0116 | Other | $'000 | 4272.4225 | 4276.0867 | 3315.4017 | 6636.44 | 4579.429 | 5105.33 | 3929.203 | 5503.714
TOPEX0117 | Management Fee | $'000 | 4925.6266 | 4929.8509 | 5409.3693 | 10670.023 | 1993.541 | 4594.945 | 5965.014 | 4881.019
TOPEX0118 | Self Insurance Costs | $'000 | 1678.6421 | 1680.0817 | 1711.0958 | 2153.8 | 2233.172 | 2280.257 | 2340.795 | 2413.44
TOPEX0119 | Inventory Adjustment | $'000 | -39.556 | -39.5899 | 0 | -287.77 | 1699 | -1433.233 | -302.134 | 54.998
TOPEX0120 | Availability Rebate | $'000 | 1793.9624 | 1795.5009 | 1937.7398 | 1717.817 | 1757.019 | 2609.734 | 2172.396 | 2011.395
TOPEX0121 | Easement Tax | $'000 | 79665.3763 | 79733.6988 | 78436.6295 | 78378.95 | 93271.16 | 93271.16 | 99342.245 | 99342.245
TOPEX01 | Total opex | $'000 | 141430.001 | 141551.293 | 136706.019 | 155969.441 | 173334.55 | 168368.779 | 172084.132 | 175472.057
3.1.2 Historical opex categories and cost allocations
TOPEX0101A | Maintenance - Secondary Systems | $'000 |  |  | 0 | 4710.429 | 3291.666 | 3576.617 | 3029.829 | 3087.832
TOPEX0102A | Maintenance - Substations | $'000 |  |  | 0 | 9891.901 | 13257.018 | 14073.228 | 12116.307 | 12109.238
TOPEX0103A | Maintenance - Lines | $'000 |  |  | 0 | 3532.822 | 3114.915 | 3344.377 | 3249.698 | 3252.647
TOPEX0104A | Maintenance - Communications | $'000 |  |  | 0 | 942.086 | 457.513 | 259.017 | 527.756 | 506.324
TOPEX0105A | Maintenance - Easements | $'000 |  |  | 0 | 4474.908 | 4986.337 | 2378.793 | 5146.994 | 4401.067
TOPEX0106A | Maintenance - Secondary Systems, Substations, Lines, Communications, Easements | $'000 |  |  | 19646.734 | 0 | 0 | 0 | 0 | 0
TOPEX0107A | Maintenance - Asset Management Support | $'000 |  |  | 4767.475 | 6201.756 | 8175.879 | 5334.125 | 4814.199 | 4222.038
TOPEX0108A | Operations | $'000 |  |  | 2496.345 | 2848.319 | 3629.029 | 4811.879 | 5368.993 | 5271.404
TOPEX0109A | OHS | $'000 |  |  | 711.706 | 712.22 | 679.3 | 887.313 | 682.357 | 810.237
TOPEX0110A | Taxes and Charges | $'000 |  |  | 3789.07 | 3295.28 | 5083.548 | 4712.661 | 5114.145 | 5221.496
TOPEX0111A | Insurance | $'000 |  |  | 2608.575 | 2468.047 | 2627.24 | 2999.873 | 3764.487 | 3722.33
TOPEX0112A | Asset Works Program | $'000 |  |  | 5597.508 | 10792.308 | 11264.064 | 7208.606 | 3939.299 | 6831.15
TOPEX0113A | Asset Works Program - Asset Management Support | $'000 |  |  | 803.264 | 975.948 | 785.415 | 1382.645 | 977.226 | 1131.132
TOPEX0114A | Finance | $'000 |  |  | 2512.859 | 3018.811 | 3637.319 | 2835.127 | 3414.296 | 4838.706
TOPEX0115A | HR | $'000 |  |  | 728.229 | 904.274 | 1145.514 | 1516.622 | 446.553 | 812.494
TOPEX0116A | IT | $'000 |  |  | 3945.113 | 1931.072 | 5666.472 | 6619.703 | 6044.474 | 5047.151
TOPEX0117A | Other | $'000 |  |  | 3315.402 | 6636.44 | 4579.429 | 5105.33 | 3929.203 | 5503.714
TOPEX0118A | Management Fee | $'000 |  |  | 5409.369 | 10670.023 | 1993.541 | 4594.945 | 5965.014 | 4881.019
TOPEX0119A | Self Insurance Costs | $'000 |  |  | 0 | 2153.8 | 2233.172 | 2280.257 | 2340.795 | 2413.44
TOPEX0120A | Inventory Adjustment | $'000 |  |  | 0 | -287.77 | 1699 | -1433.233 | -302.134 | 54.998
TOPEX0121A | Availability Rebate | $'000 |  |  | 1937.74 | 1717.817 | 1757.019 | 2609.734 | 2172.396 | 2011.395
TOPEX0122A | Easement Tax | $'000 |  |  | 78436.63 | 78378.95 | 93271.16 | 93271.16 | 99342.245 | 99342.245
TOPEX01A | Total opex | $'000 |  |  | 136706.018 | 155969.441 | 173334.549 | 168368.781 | 172084.132 | 175472.058
3.1.2 Historical opex categories and cost allocations
TOPEX0101B | Network maintenance | $'000 | 2006: 13619; 2007: 12954.469
TOPEX0102B | Materials | $'000 | 2006: 1108; 2007: 1364.438
TOPEX0103B | Employee expenses | $'000 | 2006: 11937; 2007: 10197.568
TOPEX0104B | Administrative | $'000 | 2006: 1318; 2007: 1269.743
TOPEX0105B | Other Operating Costs | $'000 | 2006: 3196; 2007: 2805.786
TOPEX0106B | Property Taxes | $'000 | 2006: 83072; 2007: 82722.555
TOPEX0107B | Availability Rebate | $'000 | 2006: 1752; 2007: 2856.33
TOPEX0108B | Program Support - Environmental | $'000 | 2006: 442; 2007: 2720.521
TOPEX0109B | Program Support - Procedures, Work meetings & Outages | $'000 | 2006: 206; 2007: 329.527
TOPEX0110B | Infrastructure - EMF | $'000 | 2006: 6; 2007: 0
TOPEX0111B | Infrastructure - Depot Support | $'000 | 2006: 9; 2007: 137.368
TOPEX0112B | Infrastructure - Line Easements | $'000 | 2006: -56; 2007: 2.151
TOPEX0113B | Corporate Support - Industry Relationships | $'000 | 2006: 219; 2007: 39.805
TOPEX0114B | Corporate Support - Management and Support | $'000 | 2006: 2162; 2007: 1017.32
TOPEX0115B | Corporate Support - Procurement | $'000 | 2006: 0; 2007: 479.821
TOPEX0116B | Corporate Support - Quality Improvement | $'000 | 2006: 71; 2007: 16.369
TOPEX0117B | Corporate Support - Regulatory Relationships | $'000 | 2006: 701; 2007: 1050.582
TOPEX0118B | Corporate Support - Public Affairs | $'000 | 2006: 109; 2007: 16.282
TOPEX0119B | Graduates and Apprentices Training | $'000 | 2006: 413; 2007: 962.842
TOPEX0120B | Company Sustaining - Regulatory Reporting | $'000 | 2006: 77; 2007: 94.966
TOPEX0121B | Claims and Settlements | $'000 | 2006: 0; 2007: 362
TOPEX0122B | Management Charges | $'000 | 2006: 2521; 2007: 6857
TOPEX0123B | Program Support | $'000 | 2006: 2161; 2007: 1807.158
TOPEX0124B | Infrastructure | $'000 | 2006: 1857; 2007: 2259.229
TOPEX0125B | Corporate Support | $'000 | 2006: 5593; 2007: 5216.531
TOPEX0126B | Company Sustaining | $'000 | 2006: 8300; 2007: 4010.932
TOPEX0127B | Financing - Program Fees | $'000 | 2006: 637; 2007: 0
TOPEX01B | Total opex | $'000 | 141430 | 141551.293 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.2 Provisions
For each provision report:
TOPEX02 | Provision - Employee Entitlements | $'000 | 9463 | 9808.535 | 11556.629 | 12438.701 | 13720.847 | 14234.344 | 15164.682 | 17147.742
Opex component
TOPEX0201A | The carrying amount at the beginning of the period | $'000 | 7153.072 | 6189.039 | 6415.027 | 7674.424 | 8225.13 | 9055.173 | 9391.169 | 9987.029
TOPEX0202A | Increases to the provision | $'000 | 1574.892 | 1144.267 | 2838.442 | 2740.091 | 3666.701 | 3869.265 | 3772.325 | 5017.98
TOPEX0203A | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | -2538.925 | -918.278 | -1579.044 | -2189.385 | -2836.658 | -1875.117 | -1883.796 | -3676.145
TOPEX0204A | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | -1658.152 | -1292.67 | -56.305
TOPEX0205A | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0206A | The carrying amount at the end of the period | $'000 | 6189.039 | 6415.027 | 7674.424 | 8225.13 | 9055.173 | 9391.169 | 9987.029 | 11272.559
Capex component
TOPEX0207A | The carrying amount at the beginning of the period | $'000 | 3783.928 | 3273.961 | 3393.507 | 3882.204 | 4213.571 | 4665.674 | 4843.174 | 5177.653
TOPEX0208A | Increases to the provision | $'000 | 833.108 | 605.31 | 1101.43 | 1648.75 | 1997.154 | 2044.062 | 2117.55 | 2722.76
TOPEX0209A | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | -1343.075 | -485.763 | -612.733 | -1317.383 | -1545.052 | -990.59 | -1057.446 | -1994.679
TOPEX0210A | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | -875.971 | -725.625 | -30.551
TOPEX0211A | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0212A | The carrying amount at the end of the period | $'000 | 3273.961 | 3393.507 | 3882.204 | 4213.571 | 4665.674 | 4843.174 | 5177.653 | 5875.183
TOPEX02 | Provision - Miscellaneous | $'000 | 0 | 0 | 100 | 0 | 0 | 0 | 24 | 0
Opex component
TOPEX0201B | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 24
TOPEX0202B | Increases to the provision | $'000 | 0 | 0 | 100 | 0 | 0 | 0 | 24 | 0
TOPEX0203B | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24
TOPEX0204B | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0
TOPEX0205B | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0206B | The carrying amount at the end of the period | $'000 | 0 | 0 | 100 | 0 | 0 | 0 | 24 | 0
Capex component
TOPEX0207B | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0208B | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0209B | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0210B | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0211B | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0212B | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX02 | Provision - Uninsured Losses | $'000 | 0 | 362 | 20 | 0 | 0 | 0 | 0 | 0
Opex component
TOPEX0201C | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 362 | 20 | 0 | 0 | 0 | 0
TOPEX0202C | Increases to the provision | $'000 | 0 | 362 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0203C | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0
TOPEX0204C | Unused amounts reversed during the period | $'000 | 0 | 0 | -242 | -20 | 0 | 0 | 0 | 0
TOPEX0205C | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0206C | The carrying amount at the end of the period | $'000 | 0 | 362 | 20 | 0 | 0 | 0 | 0 | 0
Capex component
TOPEX0207C | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0208C | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0209C | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0210C | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0211C | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0212C | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX02 | Provision - Environmental | $'000 | 0 | 2200 | 638 | 39.568 | 0 | 0 | 0 | 0
Opex component
TOPEX0201D | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 2200 | 638.442 | 39.568 | 0 | 0 | 0
TOPEX0202D | Increases to the provision | $'000 | 0 | 2200 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0203D | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | -1162 | -450.027 | 0 | 0 | 0 | 0
TOPEX0204D | Unused amounts reversed during the period | $'000 | 0 | 0 | -400 | -148.847 | -39.568 | 0 | 0 | 0
TOPEX0205D | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0206D | The carrying amount at the end of the period | $'000 | 0 | 2200 | 638 | 39.568 | 0 | 0 | 0 | 0
Capex component
TOPEX0207D | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0208D | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0209D | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0210D | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0211D | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0212D | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX02 | Provision - Asset Disposition | $'000 | 784.895 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Opex component
TOPEX0201E | The carrying amount at the beginning of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0202E | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0203E | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0204E | Unused amounts reversed during the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0205E | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0206E | The carrying amount at the end of the period | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capex component
TOPEX0207E | The carrying amount at the beginning of the period | $'000 | 1800.895 | 784.895 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0208E | Increases to the provision | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0209E | Amounts used (that is, incurred and charged against the provision) during the period | $'000 | -1016 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0210E | Unused amounts reversed during the period | $'000 | 0 | -784.895 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0211E | The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate. | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPEX0212E | The carrying amount at the end of the period | $'000 | 784.895 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 4. Assets (RAB)
4. Assets (RAB) worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 4.1 Regulatory Asset Base Values
For total asset base:
TRAB0101 | Opening value | $'000 | 1876932.238 | 1902983.228 | 1956232.103 | 2174199.409 | 2188157.558 | 2207940.789 | 2257868.064 | 2328015.869
TRAB0102 | Inflation addition | $'000 | 53853.448 | 63456.843 | 57869.245 | 80123.526 | 46135.852 | 58617.897 | 70071.768 | 51318.987
TRAB0103 | Straight line depreciation | $'000 | -86280.946 | -91719.03 | -103392.598 | -107125.821 | -112873.439 | -118888.912 | -123748.051 | -129632.009
TRAB0104 | Regulatory depreciation | $'000 | -32427.497 | -28262.187 | -45523.352 | -27002.295 | -66737.587 | -60271.015 | -53676.283 | -78313.022
TRAB0105 | Actual additions (recognised in RAB) | $'000 | 60055.487 | 81707.709 | 109142.722 | 41643.434 | 86552.109 | 110822.418 | 124792.089 | 166090.784
TRAB0106 | Disposals | $'000 | -1577 | -196.647 | -74 | -682.991 | -31.29 | -624.129 | -968 | -2110.272
TRAB0107 | Closing value for asset value | $'000 | 1902983.228 | 1956232.103 | 2058350.409 | 2188157.558 | 2207940.789 | 2257868.064 | 2328015.869 | 2413683.359
Table 4.2 Asset value Roll forward
For overhead transmission assets:
TRAB0201 | Opening value | $'000 | 947233.173 | 946708.616 | 946221.484 | 1001928.32 | 1008691.633 | 1012409.603 | 1010384.402 | 1044676.635
TRAB0202 | Inflation addition | $'000 | 26638.605 | 30948.288 | 28055.691 | 36930.68 | 21282.552 | 26887.109 | 31401.999 | 23057.676
TRAB0203 | Straight line depreciation | $'000 | -31740.31 | -32651.483 | -37104.581 | -35826.808 | -37267.501 | -38389.313 | -39621.941 | -41608.911
TRAB0204 | Regulatory depreciation | $'000 | -5101.705 | -1703.195 | -9048.89 | 1103.872 | -15984.949 | -11502.204 | -8219.941 | -18551.235
TRAB0205 | Actual additions (recognised in RAB) | $'000 | 4577.147 | 1216.063 | 6544.566 | 5659.441 | 19702.918 | 9477.004 | 42512.174 | 39393.687
TRAB0206 | Disposals | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TRAB0207 | Closing value for overhead transmission asset value | $'000 | 946708.616 | 946221.484 | 996021.32 | 1008691.633 | 1012409.603 | 1010384.402 | 1044676.635 | 1065519.087
For underground transmission assets:
TRAB0301 | Opening value | $'000 | 38995.232 | 38786.217 | 38716.528 | 38367.953 | 38409.988 | 37812.958 | 37387.341 | 37095.459
TRAB0302 | Inflation addition | $'000 | 1091.371 | 1266.311 | 1080.739 | 1406.284 | 794.892 | 994.906 | 1115.055 | 789.003
TRAB0303 | Straight line depreciation | $'000 | -1300.386 | -1336 | -1429.314 | -1364.25 | -1391.921 | -1420.523 | -1406.937 | -1423.802
TRAB0304 | Regulatory depreciation | $'000 | -209.015 | -69.69 | -348.574 | 42.034 | -597.029 | -425.617 | -291.882 | -634.799
TRAB0305 | Actual additions (recognised in RAB) | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TRAB0306 | Disposals | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TRAB0307 | Closing value for underground asset value | $'000 | 38786.217 | 38716.528 | 38367.953 | 38409.988 | 37812.958 | 37387.341 | 37095.459 | 36460.66
For transmission switchyards, substations
TRAB0401 | Opening value | $'000 | 611874.918 | 623385.927 | 662510.094 | 800385.128 | 814692.768 | 836476.709 | 883641.566 | 914773.503
TRAB0402 | Inflation addition | $'000 | 17556.142 | 20785.043 | 19598.369 | 29495.767 | 17177.257 | 22207.346 | 27423.359 | 20165.348
TRAB0403 | Straight line depreciation | $'000 | -33077.704 | -35308.93 | -39950.266 | -39580.179 | -41600.817 | -43524.779 | -46254.006 | -48859.072
TRAB0404 | Regulatory depreciation | $'000 | -15521.563 | -14523.887 | -20351.897 | -10084.412 | -24423.56 | -21317.432 | -18830.647 | -28693.724
TRAB0405 | Actual additions (recognised in RAB) | $'000 | 27818.571 | 53648.054 | 58782.604 | 24392.053 | 46207.501 | 68956.289 | 50930.584 | 92033.809
TRAB0406 | Disposals | $'000 | -786 | 0 | 0 | 0 | 0 | -474 | -968 | -2110.272
TRAB0407 | Closing value for transmission switchyards, substations etc | $'000 | 623385.927 | 662510.094 | 709528.128 | 814692.768 | 836476.709 | 883641.566 | 914773.503 | 976003.316
For easements:
TRAB0501 | Opening value | $'000 | 99987.783 | 102786.076 | 106130.377 | 108973.779 | 112989.678 | 115371.99 | 118434.963 | 122110.531
TRAB0502 | Inflation addition | $'000 | 2798.293 | 3344.301 | 3139.548 | 4015.898 | 2382.312 | 3062.973 | 3675.568 | 2691.815
TRAB0503 | Straight line depreciation | $'000 | 0 | 0 | -380.158 | 0 | 0 | 0 | 0 | 0
TRAB0504 | Regulatory depreciation | $'000 | 2798.293 | 3344.301 | 2759.39 | 4015.898 | 2382.312 | 3062.973 | 3675.568 | 2691.815
TRAB0505 | Actual additions (recognised in RAB) | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TRAB0506 | Disposals | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TRAB0507 | Closing value for “other” asset value | $'000 | 102786.076 | 106130.377 | 108973.779 | 112989.678 | 115371.99 | 118434.963 | 122110.531 | 124802.346
For “other” assets with long lives:
TRAB0601 | Opening value | $'000 | 155993.3 | 167219.89 | 177910.296 | 170378.307 | 161373.468 | 147249.355 | 152904.882 | 151736.838
TRAB0602 | Inflation addition | $'000 | 5050.435 | 6236.836 | 5262.941 | 6278.776 | 3402.453 | 3909.275 | 4745.324 | 3344.9
TRAB0603 | Straight line depreciation | $'000 | -15629.488 | -18043.757 | -19868.785 | -23524.382 | -24974.893 | -25816.438 | -27714.955 | -26760.613
TRAB0604 | Regulatory depreciation | $'000 | -10579.053 | -11806.921 | -14605.844 | -17245.606 | -21572.44 | -21907.164 | -22969.631 | -23415.713
TRAB0605 | Actual additions (recognised in RAB) | $'000 | 21805.643 | 22497.327 | 31349.488 | 8252.423 | 7448.327 | 27570.857 | 21801.587 | 24941.54
TRAB0606 | Disposals | $'000 | 0 | 0 | -19.98 | -11.655 | 0 | -8.167 | 0 | 0
TRAB0607 | Closing value for “other” asset (long life) value | $'000 | 167219.89 | 177910.296 | 151293.307 | 161373.468 | 147249.355 | 152904.882 | 151736.838 | 153262.665
For “other” assets with short lives:
TRAB0701 | Opening value | $'000 | 22847.832 | 24096.503 | 24743.325 | 54165.922 | 52000.024 | 58620.174 | 55114.909 | 57622.903
TRAB0702 | Inflation addition | $'000 | 718.602 | 876.064 | 731.957 | 1996.121 | 1096.386 | 1556.288 | 1710.463 | 1270.244
TRAB0703 | Straight line depreciation | $'000 | -4533.057 | -4378.859 | -4659.493 | -6830.201 | -7638.308 | -9737.859 | -8750.213 | -10979.611
TRAB0704 | Regulatory depreciation | $'000 | -3814.455 | -3502.795 | -3927.536 | -4834.08 | -6541.922 | -8181.571 | -7039.75 | -9709.367
TRAB0705 | Actual additions (recognised in RAB) | $'000 | 5854.125 | 4346.264 | 12466.064 | 3339.518 | 13193.362 | 4818.269 | 9547.744 | 9721.748
TRAB0706 | Disposals | $'000 | -791 | -196.647 | -54.02 | -671.336 | -31.29 | -141.962 | 0 | 0
TRAB0707 | Closing value for “other” asset (short life) value | $'000 | 24096.503 | 24743.325 | 54165.922 | 52000.024 | 58620.174 | 55114.909 | 57622.903 | 57635.285
Table 4.3 Total disaggregated RAB asset values
TRAB0801 | Overhead transmission assets (wires and towers/poles etc) | $'000 | 946970.895 | 946465.05 | 971121.402 | 1005309.976 | 1010550.618 | 1011397.002 | 1027530.518 | 1055097.861
TRAB0802 | Underground transmission assets (cables, ducts etc) | $'000 | 38890.724 | 38751.372 | 38542.24 | 38388.971 | 38111.473 | 37600.15 | 37241.4 | 36778.06
TRAB0803 | Substations, switchyards, Transformers etc with transmission function | $'000 | 617630.422 | 642948.01 | 686019.111 | 807538.948 | 825584.739 | 860059.138 | 899207.535 | 945388.41
TRAB0804 | Easements | $'000 | 101386.929 | 104458.226 | 107552.078 | 110981.728 | 114180.834 | 116903.477 | 120272.747 | 123456.439
TRAB0805 | Other assets with long lives (please specify) | $'000 | 161606.595 | 172565.093 | 164601.802 | 165875.888 | 154311.412 | 150077.119 | 152320.86 | 152499.752
TRAB0806 | Other assets with short lives (please specify) | $'000 | 23472.168 | 24419.914 | 39454.623 | 53082.973 | 55310.099 | 56867.541 | 56368.906 | 57629.094
Table 4.4 Asset lives
4.4.1 Asset Lives – estimated service life of new assets
TRAB0901 | Overhead transmission assets | number of years | 69 | 69 | 69 | 69 | 69 | 69 | 69 | 69
TRAB0902 | Underground transmission assets | number of years | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
TRAB0903 | Switchyard, substation and transformer assets | number of years | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48
TRAB0904 | “Other” assets with long lives | number of years | 14.336 | 14.336 | 14.336 | 14.336 | 14.336 | 14.336 | 14.336 | 14.336
TRAB0905 | “Other assets with short lives | number of years | 5.15 | 5.15 | 5.15 | 5.15 | 5.15 | 5.15 | 5.15 | 5.15
4.4.2 Asset Lives – estimated residual service life
TRAB1001 | Overhead transmission assets | number of years | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
TRAB1002 | Underground transmission assets | number of years | 46 | 45 | 44 | 43 | 42 | 41 | 40 | 39
TRAB1003 | Switchyard, substation and transformer assets | number of years | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21
TRAB1004 | Other assets with long lives | number of years | 8.63 | 8.63 | 8.63 | 8.63 | 8.63 | 8.63 | 8.63 | 8.63
TRAB1005 | Other assets with short lives | number of years | 3.644 | 3.644 | 3.644 | 3.644 | 3.644 | 3.644 | 3.644 | 3.644

## 5. Operational data
5. Operational data worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Units
Table 5.1 Energy delivery
Energy Grouping by Downstream Connection type
TOPED0101 | To Other connected transmission networks | GWh | 609.0267 | 635.0132 | -553.1972 | 2587.2557 | 4025.1376 | 4026.5608 | 3512.2752 | 5876.0563
TOPED0102 | To Distribution networks | GWh | 37300.9945 | 37778.1062 | 38081.369 | 38020.0037 | 38478.6046 | 37524.6606 | 37530.2292 | 34900.612
TOPED0103 | To Directly connected end–users (please specify voltages) | GWh | 7276.2785 | 7543.3177 | 7518.5462 | 6811.9197 | 6472.8941 | 6496.7495 | 6486.8569 | 8279.7602
TOPED01 | Total energy transported | GWh | 45186.2997 | 45956.4371 | 45046.718 | 47419.179 | 48976.6362 | 48047.971 | 47529.3613 | 49056.4285
Table 5.2 Connection point numbers
Number of entry points at each transmission voltage level
TOPCP0101 | 500kV |  | 7 | 7 | 7 | 7 | 7 | 7 | 7.5 | 8.5
TOPCP0102 | 220kV |  | 27 | 28 | 28 | 28.5 | 29.5 | 30 | 30 | 30
Number of exit points at each transmission voltage level
TOPCP0201 | 500kV |  | 2.5 | 3 | 3 | 3 | 3 | 3 | 3 | 3
TOPCP0202 | 330kV |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
TOPCP0203 | 275kV |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
TOPCP0204 | 220kV |  | 4 | 4 | 4 | 4 | 4 | 4 | 4.5 | 5
TOPCP0205 | 66kV |  | 230 | 230 | 230 | 230 | 231.5 | 233.5 | 236 | 238.5
TOPCP0206 | 22kV |  | 59 | 59 | 59 | 56 | 53 | 53.5 | 54 | 54
TOPCP0207 | 11KV | bar: 2006 to 2013
Table 5.3 System demand
Table 5.3.1 Annual system maximum demand characteristics – MW measure
TOPSD0101 | Transmission System coincident maximum demand | MW |  |  | 8721.38 | 9260.43 | 8974.76 | 8812.86 | 8071.43 | 8410.82
TOPSD0102 | Transmission System coincident weather adjusted maximum demand 10% POE | MW
TOPSD0103 | Transmission System coincident weather adjusted maximum demand 50% POE | MW
TOPSD0104 | Transmission System non-coincident summated maximum demand | MW | 7550.75 | 9063.95 | 9334.84 | 9731.65 | 9610.64 | 9307.9 | 8693.99 | 9342.12
TOPSD0105 | Transmission System non-coincident weather adjusted summated maximum demand 10% POE | MW
TOPSD0106 | Transmission System non-coincident weather adjusted summated maximum demand 50% POE | MW
Table 5.3.2 Annual system maximum demand characteristics – MVA measure
TOPSD0201 | Transmission System coincident maximum demand | MVA |  |  | 9162.7897 | 9735.6224 | 9198.4619 | 9133.7636 | 8318.3314 | 8687.2192
TOPSD0202 | Transmission System coincident weather adjusted maximum demand 10% POE | MVA
TOPSD0203 | Transmission System coincident weather adjusted maximum demand 50% POE | MVA
TOPSD0204 | Transmission System non-coincident summated maximum demand | MVA | 8046.7945 | 9518.2214 | 9821.7744 | 10238.8392 | 9875.3838 | 9612.8305 | 8932.6059 | 9569.9414
TOPSD0205 | Transmission System non-coincident weather adjusted summated maximum demand 10% POE | MVA
TOPSD0206 | Transmission System non-coincident weather adjusted summated maximum demand 50% POE | MVA
Table 5.3.3 Power factor
Power factor conversion between MVA and MW
TOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor |  |  | 0.95183 | 0.95119 | 0.97568 | 0.96487 | 0.97032 | 0.96818
TOPSD0302 | Average power factor conversion for 500 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPSD0303 | Average power factor conversion for 330 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPSD0304 | Average power factor conversion for 275 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPSD0305 | Average power factor conversion for 220 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPSD0306 | Average power factor conversion for 132 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPSD0307 | Average power factor conversion for 66 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPSD0308 | Average power factor conversion for 33 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOPSD0309 | [Add rows as required for other voltages here. For each additional row, specify the voltage level and add a variable code]

## 6. Physical assets
6. Physical assets worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 6.1 Transmission System Capacities Variables
Table 6.1.1 Overhead network length of circuit at each voltage
TPA0101 | 500 kV | km | 1519 | 1519 | 1519 | 1519 | 1519 | 1519 | 1519 | 1519
TPA0102 | 330 kV | km | 739 | 739 | 739 | 739 | 739 | 739 | 739 | 739
TPA0103 | 275 kV | km | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157
TPA0104 | 220 kV | km | 4006 | 4006 | 4006 | 4006 | 4006 | 4006 | 4006 | 4006
TPA0105 | 132 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA0106 | 66 kV | km | 141 | 141 | 141 | 141 | 141 | 141 | 141 | 141
TPA0107 | 33 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA01 | Total overhead circuit kilometres | km | 6562 | 6562 | 6562 | 6562 | 6562 | 6562 | 6562 | 6562
Table 6.1.2 Underground cable circuit length at each voltage
TPA0201 | 500 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA0202 | 330 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA0203 | 275 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA0204 | 220 kV | km | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11
TPA0205 | 132 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA0206 | 66 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA0207 | 33 kV | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA02 | Total underground circuit kilometres | km | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11
Table 6.1.3 Estimated overhead network weighted average MVA capacity by voltage class
TPA0301 | 500 kV | MVA | 2619 | 2619 | 2619 | 2619 | 2619 | 2619 | 2619 | 2619
TPA0302 | 330 kV | MVA | 802 | 802 | 802 | 802 | 802 | 802 | 802 | 802
TPA0303 | 275 kV | MVA | 524 | 524 | 524 | 524 | 524 | 524 | 524 | 524
TPA0304 | 220 kV | MVA | 363 | 363 | 363 | 363 | 363 | 363 | 363 | 363
TPA0305 | 132 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA0306 | 66 kV | MVA | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95
TPA0307 | 33 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 6.1.4 Estimated underground network weighted average MVA capacity by voltage class
TPA0401 | 500 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA0402 | 330 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA0403 | 275 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA0404 | 220 kV | MVA | 462 | 462 | 462 | 462 | 462 | 462 | 462 | 462
TPA0405 | 132 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA0406 | 66 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA0407 | 33 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 6.1.5 Installed transmission system transformer capacity
TPA0501 | Transmission substations (eg 500 kV to 330 kV) | MVA | 10066 | 10066 | 10066 | 10066 | 10066 | 10066 | 10066 | 10066
TPA0502 | Terminal points to DNSP systems | MVA | 12195.3 | 12184 | 13129.1 | 13504.1 | 14179.1 | 14149.1 | 14594.1 | 14655.8
TPA0503 | Transformer capacity for directly connected end–users owned by the TNSP | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TPA0504 | Transformer capacity for directly connected end–users owned by the end–user | MVA | 2300.5 | 2300.5 | 2300.5 | 2300.5 | 2300.5 | 2300.5 | 2300.5 | 2300.5
TPA0505 | Interconnector capacity | MVA | 740 | 740 | 740 | 740 | 740 | 740 | 740 | 740
TPA0506 | Special Purpose Transformers (220kV SVC & CSC transformer and 66kV SyncCond transformers) | MVA | 662 | 662 | 662 | 662 | 662 | 662 | 662 | 662
Table 6.1.6 Cold spare capacity
TPA06 | Cold spare capacity included in table 6.1.5 | MVA | 1509.9 | 1476.6 | 1516.5 | 1666.5 | 1816.5 | 1816.5 | 2041.5 | 2083.2

## 7. Quality of services
7. Quality of services worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 7.1 Service Component
Table 7.1.1 Service Parameter 1 – Average Circuit outage rate
TQS0101 | Lines outage rate - fault | per cent | 21.77% | 27.42% | 20% | 35.83% | 16.81% | 24.37% | 32.5% | 20.66%
TQS0102 | Number of Lines fault outages | number | 27 | 34 | 24 | 43 | 20 | 29 | 39 | 25
TQS0103 | Number of defined Lines | number | 124 | 124 | 120 | 120 | 119 | 119 | 120 | 121
TQS0104 | Transformers outage rate - fault | per cent | 21.01% | 15.83% | 12.61% | 27.05% | 7.258% | 11.9% | 21.26% | 31.25%
TQS0105 | Number of Transformer fault outages | number | 25 | 19 | 15 | 33 | 9 | 15 | 28 | 40
TQS0106 | Number of defined Transformers | number | 119 | 120 | 119 | 122 | 124 | 126 | 127 | 128
TQS0107 | Reactive plant outage rate - fault | per cent | 51.61% | 46.77% | 31.43% | 37.14% | 27.14% | 34.29% | 45.71% | 47.14%
TQS0108 | Number of Reactive plant fault outages | number | 32 | 29 | 22 | 26 | 19 | 24 | 32 | 33
TQS0109 | Number of defined Reactive plant | number | 62 | 62 | 70 | 70 | 70 | 70 | 70 | 70
TQS0110 | Lines outage rate – forced outage | per cent | 23.39% | 14.52% | 16.67% | 12.5% | 14.29% | 16.81% | 14.17% | 12.4%
TQS0111 | Number of Lines forced outages | number | 29 | 18 | 20 | 15 | 17 | 20 | 17 | 15
TQS0112 | Transformer outage rate – forced outage | per cent | 15.13% | 10% | 10.08% | 14.75% | 13.71% | 4.762% | 13.39% | 10.94%
TQS0113 | Number of Transformers forced outages | number | 18 | 12 | 12 | 18 | 17 | 6 | 17 | 14
TQS0114 | Reactive plant outage rate – forced outage | per cent | 12.9% | 14.52% | 7.143% | 10% | 14.29% | 22.86% | 22.86% | 35.71%
TQS0115 | Number of Reactive plant forced outages | number | 8 | 9 | 5 | 7 | 10 | 16 | 16 | 25
Table 7.1.2 Service Parameter 2 – Loss of supply event frequency – number in ranges specified
TQS0116 | Number of events greater than 0.05 system minutes per annum | number | 5 | 2 | 1 | 6 | 1 | 0 | 2 | 5
TQS0117 | Number of events greater than 0.30 system minutes per annum | number | 2 | 1 | 1 | 2 | 0 | 0 | 1 | 1
Table 7.1.3 Service Parameter 3 – Average outage duration
TQS0118 | Average outage duration | minutes | 61.9 | 27.6 | 71.5 | 103.1 | 92.5 | 4 | 230 | 19.9
Table 7.1.4 System Parameter 4 – Proper operation of equipment – number of failure events
TQS0119 | Failure of protection system | number | 25 | 20 | 25 | 28 | 12 | 16 | 32 | 37
TQS0120 | Material failure of Supervisory Control and Data Acquisition (SCADA) system | number | 2 | 2 | 0 | 1 | 0 | 0 | 1 | 6
TQS0121 | Incorrect operational isolation of primary or secondary equipment | number | 8 | 5 | 4 | 4 | 7 | 5 | 8 | 4
Table 7.2 - Market Impact Component
TQS02 | Market Impact Parameter | Number of dispatch intervals | 1212 | 2677 | 3303 | 1516 | 2199 | 3322 | 2608 | 1347
7.3 System losses
TQS03 | System losses | per cent | 2.56% | 2.56% | 2.56% | 2.56% | 2.37% | 2.44% | 2.57% | 2.43%

## 8. Operating environment
8. Operating environment factors worksheets
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
TEF01 | 8.1 Terrain factors
TEF0101 | Total number of vegetation maintenance spans | Number of spans |  |  |  | 1790 | 1790 | 1790 | 1969 | 2265
TEF0102 | Average vegetation maintenance span cycle | Years |  |  |  | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
TEF0103 | Average number of trees per vegetation maintenance span | Trees |  |  |  | 30 | 30 | 30 | 30 | 30
TEF0104 | Average number of defects per vegetation maintenance span | Defects |  |  |  | 0.33128 | 0.33128 | 0.33128 | 0.33824 | 0.33819
TEF0105 | Tropical proportion | Number of spans |  |  |  | 0 | 0 | 0 | 0 | 0
TEF0106 | Standard vehicle access | km |  |  |  | 4906 | 4906 | 4906 | 4906 | 4906
TEF0107 | Altitude | km |  |  |  | 212.45 | 212.45 | 212.45 | 212.45 | 212.45
TEF0108 | Bushfire risk | Number of spans |  |  |  | 14663 | 15133 | 15138 | 15168 | 15270
TEF02 | 8.2 Network characteristics |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
TEF0201 | Route line length | km | 5029 | 5029 | 5029 | 5029 | 5029 | 5029 | 5029 | 5029
TEF0202 | Variability of dispatch | per cent | 5.152 | 4.986 | 3.4277 | 3.9756 | 6.5521 | 8.0202 | 6.0372 | 8.5698
TEF0203 | Concentrated load distance | km | 244.6 | 244.6 | 244.6 | 244.6 | 244.6 | 244.6 | 244.6 | 244.6
TEF0204 | Total number of spans | number | 17499 | 17499 | 17499 | 17499 | 17499 | 17499 | 17499 | 17499
TEF03 | 8.3 Weather stations |  | 2006: Post code; 2007: Suburb; 2008: Materiality
TEF03001 | 77094 |  | 2006: 3585; 2007: Swan Hill; 2008: No
TEF03002 | 76031 |  | 2006: 3500; 2007: Mildura; 2008: No
TEF03003 | 79100 |  | 2006: 3400; 2007: Horsham; 2008: No
TEF03004 | 79105 |  | 2006: 3380; 2007: Stawell; 2008: No
TEF03005 | 90171 |  | 2006: 3305; 2007: Portland Airport; 2008: No
TEF03006 | 90186 |  | 2006: 3280; 2007: Warrnambool; 2008: No
TEF03007 | 90176 |  | 2006: 3272; 2007: Mortlake; 2008: No
TEF03008 | 90173 |  | 2006: 3300; 2007: Hamilton; 2008: No
TEF03009 | 89002 |  | 2006: 3350; 2007: Ballarat; 2008: No
TEF03010 | 86371 |  | 2006: 3199; 2007: Frankston; 2008: No
TEF03011 | 87031 |  | 2006: 3028; 2007: Laverton; 2008: No