## Instructions
Transmission Network Service Provider
Historical Reporting RIN Template
This template is to be used by AusNet (T) to fulfil its reporting obligations to the AER.
INSTRUCTIONS
Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
Identifying CONFIDENTIAL INFORMATION: Please use the macro at the top of each worksheet to identify confidential information.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
UNITS OF MEASURE All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
COLOUR CODING OF INPUT / NON-INPUT CELLS:
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
. PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
WORKSHEET NAVIGATION Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin of excel (for Row groupings) or above the columns (for column groupings).
RETURNING COMPLETED RESPONSES Please return four (4) files - using the locked template - to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selected cells CONFIDENTIAL macro. 2. An actual and an estimate version with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 3. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public. If the confidential and public versions of the consolidated file are exactly the same, only the public version of the file needs to be submitted to the AER.
SUBMITTING AMENDED DATA TO THE AER If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
Contents
Instructions

## Contents
REGULATORY REPORTING STATEMENT
Ausnet Services (Transmission) Ltd
Benchmarking RIN response 2019-20
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
1.0 Business & other details
3.2.3 Provisions

## Business & other details
REGULATORY REPORTING STATEMENT
Ausnet Services (Transmission) Ltd
Economic Benchmarking RIN response 2019-20
BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings.
SUBMISSION PARTICULARS INPUT SHEETS
ENTITY DETAILS
Short name | AusNet (T)
ACN / ABN | 48116124362
Business address | Address 1 |  | Level 32
|  | Address 2 | 2 Southbank Boulevard
| Suburb |  | SOUTHBANK
|  | State | Vic | p/code | 3006
Postal address | Address 1 |  | Locked Bag 14051
Address 2
| Suburb |  | MELBOURNE CITY MAIL CENTRE
|  | State | Vic | p/code | 8001
Contact name/s
Contact phone/s
Contact email address/s
REGULATORY CONTROL PERIODS
Forthcoming regulatory control period | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Current regulatory control period | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
Previous regulatory control period | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11
Current regulatory year | 2011-12: 2019-20; 2012-13: CRY
DELETE NR 'CRY' IF NOT AN ANNUAL RIN (EB, CA , ARR)
APPLY NR 'CRY' IF AN ANNUAL RIN (EB, CA , ARR)
Source | 2011-12: Reporting; 2013-14: Please select the correct submission type from the dropdown list.
Data quality (actual, estimate, public, consolidated) | 2011-12: Consolidated
Amended RIN submission - amendment reason
Submission Date | 2011-12: 2020-07-31; 2012-13: dms_SubmissionDate; 2013-14: Please enter date this file submitted to AER (dd/mm/yyyy)
Contents
Instructions

## 3.1 Revenue
ECONOMIC BENCHMARKING
Ausnet Services (Transmission) Ltd
Benchmarking RIN response 2019-20
3.1 REVENUE
3.1.1 REVENUE GROUPING BY CHARGEABLE QUANTITY
REVENUE ($0's)
2019-20
TREV0101 | From Fixed Customer (Exit Point) Charges | 72504012.1608
TREV0102 | From Variable Customer (Exit Point) Charges | 0
TREV0103 | From Fixed Generator (Entry Point) Charges | 4902710.5958
TREV0104 | From Variable Generator (Entry Point) Charges | 0
TREV0105 | From Fixed Energy Usage Charges (Charge per day basis) | 0
TREV0106 | From Variable Energy Usage charges (Charge per kWh basis) | 0
TREV0107 | From Energy based Common Service and General Charges | 0
TREV0108 | From Fixed Demand based Usage Charges | 0
TREV0109 | From Variable Demand based Usage Charges | 0
TREV0110 | Revenue from other Sources | 563394570.3972
TREV01 | Total revenue by chargeable quantity | 640801293.1538
3.1.2 REVENUE GROUPING BY TYPE OF CONNECTED EQUIPMENT
REVENUE ($0's)
2019-20
TREV0201 | From Other connected transmission networks | 0
TREV0202 | From Distribution networks | 72386310.4181
TREV0203 | From Directly connected end–users | 117701.7427
TREV0204 | From Generators | 4902710.5958
TREV0205 | Other revenue | 563394570.3972
TREV02 | Total revenue by type of connected equipment | 640801293.1538
`
3.1.3 REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
REVENUE ($0's)
2019-20
TREV0301 | EBSS | 154099.2753
TREV0302 | STPIS | 11745031
TREV0303 | Other | 0
TREV03 | Total revenue of incentive schemes | 11899130.2753
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
Ausnet Services (Transmission) Ltd
Benchmarking RIN response 2019-20
3.2 OPERATING EXPENDITURE
Instructions
In table 3.2.1, please list each opex category reported in response to AusNet (T)'s annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
EXPENDITURE ($0's)
2019-20
TOPEX0101 | Network Operations | 5870444.252
TOPEX0102 | Network Maintenance | 33159067.18
TOPEX0103 | Asset Works Program | 0
TOPEX0104 | Asset Works Program - Asset Management Support | 0
TOPEX0105 | Availability Rebate | 332521.13
TOPEX0106 | Easement Tax | 170585934.25
TOPEX0107 | Insurance | 4423093.61
TOPEX0108 | Taxes and Charges | 6979935.4462
TOPEX0109 | Self Insurance Costs | 0
TOPEX0110 | OHS | 712319.48
TOPEX0111 | Finance | 5039927.36
TOPEX0112 | HR | 2420815.03
TOPEX0113 | IT | 9498883.55
TOPEX0114 | Building Services | 775107.15
TOPEX0115 | Strategy and Business Development | 746890.96
TOPEX0116 | Other Corporate Services | 9664550.84
TOPEX0117
TOPEX0118
TOPEX0119
TOPEX0120
TOPEX0121
TOPEX0122
TOPEX0123
TOPEX0124
TOPEX0125
TOPEX0126
TOPEX0127
TOPEX0128
TOPEX0129
TOPEX0130
TOPEX0131
TOPEX0132
TOPEX0133
TOPEX0134
TOPEX0135
TOPEX0136
TOPEX0137
TOPEX0138
TOPEX0139
TOPEX0140
TOPEX0141
TOPEX01 | Total opex | 250209490.2382
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
Ausnet Services (Transmission) Ltd
Benchmarking RIN response 2019-20
3.2 OPERATING EXPENDITURE
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
3.2.3 - PROVISIONS
$0's
2019-20
TOPEX03A | Provision for Employee Entitlements
Provisions for employee entitlements are liabilities for wages and salaries, including non-monetary benefits and annual leave recognised in respect of employees’ services up to the reporting date and are measured at the amounts expected to be paid when the liabilities are settled.
TOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 30187834.1626
Additional provisions made in the period, including increases to existing provisions
TOPEX0302A | Opex component | 8945761.8023
TOPEX0303A | Capex component | 3256599.1962
TOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305A | Opex component | -14929136.1175
TOPEX0306A | Capex component | -4129549.8059
TOPEX0307A | Other component | 0
Unused amounts reversed during the period
TOPEX0308A | Opex component | 0
TOPEX0309A | Capex component | 0
TOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311A | Opex component | 0
TOPEX0312A | Capex component | 0
TOPEX0313A | Other component | 0
TOPEX0314A | Closing balance (carrying amount at the end of the period) | 23331509.2376
TOPEX03B | Provision for Superannuation
The provision represents the superannuation liability of the defined benefit superannuation fund.
TOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | -16715393.7006
Additional provisions made in the period, including increases to existing provisions
TOPEX0302B | Opex component | 643597.426
TOPEX0303B | Capex component | 236607.4555
TOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305B | Opex component | 0
TOPEX0306B | Capex component | 0
TOPEX0307B | Other component | 0
Unused amounts reversed during the period
TOPEX0308B | Opex component | 0
TOPEX0309B | Capex component | 0
TOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311B | Opex component | 0
TOPEX0312B | Capex component | 0
TOPEX0313B | Other component | 15835188.819
TOPEX0314B | Closing balance (carrying amount at the end of the period) | 0
TOPEX03C | Other provisions
The provision represents other miscellaneous provisions
TOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 290000
Additional provisions made in the period, including increases to existing provisions
TOPEX0302C | Opex component | 0
TOPEX0303C | Capex component | 2300000
TOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305C | Opex component | 0
TOPEX0306C | Capex component | 0
TOPEX0307C | Other component | 0
Unused amounts reversed during the period
TOPEX0308C | Opex component | 0
TOPEX0309C | Capex component | 0
TOPEX0310C | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311C | Opex component | 0
TOPEX0312C | Capex component | 0
TOPEX0313C | Other component | 0
TOPEX0314C | Closing balance (carrying amount at the end of the period) | 2590000
TOPEX03D | Provision for Make Good
The provision represents the cost of remediating a site at the end of the lease term.
TOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 1620435.1571
Additional provisions made in the period, including increases to existing provisions
TOPEX0302D | Opex component | 0
TOPEX0303D | Capex component | 0
TOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305D | Opex component | 0
TOPEX0306D | Capex component | 0
TOPEX0307D | Other component | 0
Unused amounts reversed during the period
TOPEX0308D | Opex component | 0
TOPEX0309D | Capex component | 0
TOPEX0310D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311D | Opex component | 490528.29
TOPEX0312D | Capex component | 0
TOPEX0313D | Other component | 0
TOPEX0314D | Closing balance (carrying amount at the end of the period) | 2110963.4471
TOPEX03E | Provision name
Brief description of provision
TOPEX0301E | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302E | Opex component
TOPEX0303E | Capex component
TOPEX0304E | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305E | Opex component
TOPEX0306E | Capex component
TOPEX0307E | Other component
Unused amounts reversed during the period
TOPEX0308E | Opex component
TOPEX0309E | Capex component
TOPEX0310E | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311E | Opex component
TOPEX0312E | Capex component
TOPEX0313E | Other component
TOPEX0314E | Closing balance (carrying amount at the end of the period)
TOPEX03F | Provision name
Brief description of provision
TOPEX0301F | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302F | Opex component
TOPEX0303F | Capex component
TOPEX0304F | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305F | Opex component
TOPEX0306F | Capex component
TOPEX0307F | Other component
Unused amounts reversed during the period
TOPEX0308F | Opex component
TOPEX0309F | Capex component
TOPEX0310F | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311F | Opex component
TOPEX0312F | Capex component
TOPEX0313F | Other component
TOPEX0314F | Closing balance (carrying amount at the end of the period)
TOPEX03G | Provision name
Brief description of provision
TOPEX0301G | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302G | Opex component
TOPEX0303G | Capex component
TOPEX0304G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305G | Opex component
TOPEX0306G | Capex component
TOPEX0307G | Other component
Unused amounts reversed during the period
TOPEX0308G | Opex component
TOPEX0309G | Capex component
TOPEX0310G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311G | Opex component
TOPEX0312G | Capex component
TOPEX0313G | Other component
TOPEX0314G | Closing balance (carrying amount at the end of the period)
TOPEX03H | Provision name
Brief description of provision
TOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302H | Opex component
TOPEX0303H | Capex component
TOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305H | Opex component
TOPEX0306H | Capex component
TOPEX0307H | Other component
Unused amounts reversed during the period
TOPEX0308H | Opex component
TOPEX0309H | Capex component
TOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311H | Opex component
TOPEX0312H | Capex component
TOPEX0313H | Other component
TOPEX0314H | Closing balance (carrying amount at the end of the period)
TOPEX03I | Provision name
Brief description of provision
TOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302I | Opex component
TOPEX0303I | Capex component
TOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305I | Opex component
TOPEX0306I | Capex component
TOPEX0307I | Other component
Unused amounts reversed during the period
TOPEX0308I | Opex component
TOPEX0309I | Capex component
TOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311I | Opex component
TOPEX0312I | Capex component
TOPEX0313I | Other component
TOPEX0314I | Closing balance (carrying amount at the end of the period)
TOPEX03J | Provision name
Brief description of provision
TOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302J | Opex component
TOPEX0303J | Capex component
TOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305J | Opex component
TOPEX0306J | Capex component
TOPEX0307J | Other component
Unused amounts reversed during the period
TOPEX0308J | Opex component
TOPEX0309J | Capex component
TOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311J | Opex component
TOPEX0312J | Capex component
TOPEX0313J | Other component
TOPEX0314J | Closing balance (carrying amount at the end of the period)
TOPEX03K | Provision name
Brief description of provision
TOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302K | Opex component
TOPEX0303K | Capex component
TOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305K | Opex component
TOPEX0306K | Capex component
TOPEX0307K | Other component
Unused amounts reversed during the period
TOPEX0308K | Opex component
TOPEX0309K | Capex component
TOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311K | Opex component
TOPEX0312K | Capex component
TOPEX0313K | Other component
TOPEX0314K | Closing balance (carrying amount at the end of the period)
TOPEX03L | Provision name
Brief description of provision
TOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302L | Opex component
TOPEX0303L | Capex component
TOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305L | Opex component
TOPEX0306L | Capex component
TOPEX0307L | Other component
Unused amounts reversed during the period
TOPEX0308L | Opex component
TOPEX0309L | Capex component
TOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311L | Opex component
TOPEX0312L | Capex component
TOPEX0313L | Other component
TOPEX0314L | Closing balance (carrying amount at the end of the period)
TOPEX03M | Provision name
Brief description of provision
TOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302M | Opex component
TOPEX0303M | Capex component
TOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305M | Opex component
TOPEX0306M | Capex component
TOPEX0307M | Other component
Unused amounts reversed during the period
TOPEX0308M | Opex component
TOPEX0309M | Capex component
TOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311M | Opex component
TOPEX0312M | Capex component
TOPEX0313M | Other component
TOPEX0314M | Closing balance (carrying amount at the end of the period)
TOPEX03N | Provision name
Brief description of provision
TOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302N | Opex component
TOPEX0303N | Capex component
TOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305N | Opex component
TOPEX0306N | Capex component
TOPEX0307N | Other component
Unused amounts reversed during the period
TOPEX0308N | Opex component
TOPEX0309N | Capex component
TOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311N | Opex component
TOPEX0312N | Capex component
TOPEX0313N | Other component
TOPEX0314N | Closing balance (carrying amount at the end of the period)
TOPEX03O | Provision name
Brief description of provision
TOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302O | Opex component
TOPEX0303O | Capex component
TOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305O | Opex component
TOPEX0306O | Capex component
TOPEX0307O | Other component
Unused amounts reversed during the period
TOPEX0308O | Opex component
TOPEX0309O | Capex component
TOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311O | Opex component
TOPEX0312O | Capex component
TOPEX0313O | Other component
TOPEX0314O | Closing balance (carrying amount at the end of the period)
TOPEX03P | Provision name
Brief description of provision
TOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302P | Opex component
TOPEX0303P | Capex component
TOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305P | Opex component
TOPEX0306P | Capex component
TOPEX0307P | Other component
Unused amounts reversed during the period
TOPEX0308P | Opex component
TOPEX0309P | Capex component
TOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311P | Opex component
TOPEX0312P | Capex component
TOPEX0313P | Other component
TOPEX0314P | Closing balance (carrying amount at the end of the period)
TOPEX03Q | Provision name
Brief description of provision
TOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302Q | Opex component
TOPEX0303Q | Capex component
TOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305Q | Opex component
TOPEX0306Q | Capex component
TOPEX0307Q | Other component
Unused amounts reversed during the period
TOPEX0308Q | Opex component
TOPEX0309Q | Capex component
TOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311Q | Opex component
TOPEX0312Q | Capex component
TOPEX0313Q | Other component
TOPEX0314Q | Closing balance (carrying amount at the end of the period)
TOPEX03R | Provision name
Brief description of provision
TOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302R | Opex component
TOPEX0303R | Capex component
TOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305R | Opex component
TOPEX0306R | Capex component
TOPEX0307R | Other component
Unused amounts reversed during the period
TOPEX0308R | Opex component
TOPEX0309R | Capex component
TOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311R | Opex component
TOPEX0312R | Capex component
TOPEX0313R | Other component
TOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
Ausnet Services (Transmission) Ltd
Benchmarking RIN response 2019-20
3.3 ASSETS
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
($0's)
2019-20
For total asset base:
TRAB0101 | Opening value | 2944244235.5469
TRAB0102 | Inflation addition | 49286907.9078
TRAB0103 | Straight line depreciation | -182669677.2441
TRAB0105 | Actual additions (recognised in RAB) | 230006499.9838
TRAB0106 | Disposals | -2601809.4371
TRAB0107 | Closing value | 3038266156.7574
3.3.2 - ASSET VALUE ROLL FORWARD
($0's)
2019-20
For overhead transmission assets:
TRAB0201 | Opening value | 1045972164.2382
TRAB0202 | Inflation addition | 17509666.1855
TRAB0203 | Straight line depreciation | -50252413.8503
TRAB0205 | Actual additions (recognised in RAB) | 21237541.5513
TRAB0206 | Disposals | 0
TRAB0207 | Closing value | 1034466958.1247
For underground transmission assets:
TRAB0301 | Opening value | 31515340.9112
TRAB0302 | Inflation addition | 527569.5835
TRAB0303 | Straight line depreciation | -1514114.819
TRAB0305 | Actual additions (recognised in RAB) | 0
TRAB0306 | Disposals | 0
TRAB0307 | Closing value | 30528795.6758
For transmission switchyards, substations
TRAB0401 | Opening value | 1379238711.0068
TRAB0402 | Inflation addition | 23088577.5411
TRAB0403 | Straight line depreciation | -64292706.4182
TRAB0405 | Actual additions (recognised in RAB) | 92036667.9999
TRAB0406 | Disposals | -2451112.61
TRAB0407 | Closing value | 1427620137.5196
For easements:
TRAB0501 | Opening value | 139925141.8783
TRAB0502 | Inflation addition | 2342359.2032
TRAB0503 | Straight line depreciation | 0
TRAB0505 | Actual additions (recognised in RAB) | 0
TRAB0506 | Disposals | 0
TRAB0507 | Closing value | 142267501.0816
For “other” assets with long lives:
TRAB0601 | Opening value | 296362139.0118
TRAB0602 | Inflation addition | 4961128.3183
TRAB0603 | Straight line depreciation | -40242495.1662
TRAB0605 | Actual additions (recognised in RAB) | 103304064.5892
TRAB0606 | Disposals | 0
TRAB0607 | Closing value | 364384836.7531
For “other” assets with short lives:
TRAB0701 | Opening value | 51230738.5005
TRAB0702 | Inflation addition | 857607.0762
TRAB0703 | Straight line depreciation | -26367946.9905
TRAB0705 | Actual additions (recognised in RAB) | 13428225.8435
TRAB0706 | Disposals | -150696.8271
TRAB0707 | Closing value | 38997927.6026
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
($0's)
2019-20
TRAB0801 | Overhead transmission assets (wires and towers/poles etc) | 1040219561.1814
TRAB0802 | Underground transmission assets (cables, ducts etc) | 31022068.2935
TRAB0803 | Substations, switchyards, Transformers etc with transmission function | 1403429424.2632
TRAB0804 | Easements | 141096321.48
TRAB0805 | "Other" assets with long lives | 330373487.8825
TRAB0806 | "Other" assets with short lives | 45114333.0515
3.3.4 - ASSET LIVES
Service Life (Years)
2019-20
Asset Lives – estimated service life of new assets
TRAB0901 | Overhead transmission assets | 68.6
TRAB0902 | Underground transmission assets | 60
TRAB0903 | Switchyard, substation and transformer assets | 40.6
TRAB0904 | “Other” assets with long lives | 17.87
TRAB0905 | “Other assets with short lives | 5.1542
Asset Lives – estimated residual service life
TRAB1001 | Overhead transmission assets | 19.9766
TRAB1002 | Underground transmission assets | 33.8732
TRAB1003 | Switchyard, substation and transformer assets | 18.5123
TRAB1004 | “Other” assets with long lives | 13.0563
TRAB1005 | “Other assets with short lives | 3.5192
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
Ausnet Services (Transmission) Ltd
Benchmarking RIN response 2019-20
3.4 OPERATIONAL DATA
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
VOLUMES (0's)
|  | Units | 2019-20
Energy Grouping by Downstream Connection type
TOPED0101 | To Other connected transmission networks | GWh
TOPED0102 | To Distribution networks | GWh
TOPED0103 | To Directly connected end–users (330 kV) | GWh
TOPED0104 | To Directly connected end–users (275 kV) | GWh
TOPED0105 | To Directly connected end–users (220 kV) | GWh
TOPED0106 | To Directly connected end–users (132 kV) | GWh
TOPED0107 | To Directly connected end–users (110 kV) | GWh
TOPED0108 | To Directly connected end–users (44 kV) | GWh
TOPED0109 | To Directly connected end–users (33 kV) | GWh
TOPED0110 | To Directly connected end–users (22 kV) | GWh
TOPED0111 | To Directly connected end–users (11 kV) | GWh
TOPED0112 | To Directly connected end–users (6.6 kV) | GWh
TOPED0113 | Pumping and Power Station Auxillaries | GWh
TOPED01 | Total energy transported |  | 0
3.4.2 - CONNECTION POINTS
VOLUMES (0's)
2019-20
Number of entry points at each transmission voltage level
TOPCP0101 | 500kV
TOPCP0102 | 330kV
TOPCP0103 | 275kV
TOPCP0104 | 220kV
TOPCP0105 | 132 kV
TOPCP0106 | 110kV
TOPCP0107 | 66 kV
TOPCP0108 | 33 kV
TOPCP0109 | 22 kV
TOPCP0110 | 11 kV
TOPCP0111 | 6.6 kV
Number of exit points at each transmission voltage level
TOPCP0201 | 500kV
TOPCP0202 | 330kV
TOPCP0203 | 275kV
TOPCP0204 | 220kV
TOPCP0205 | 132 kV
TOPCP0206 | 110kV
TOPCP0207 | 66 kV
TOPCP0208 | 44 kV
TOPCP0209 | 33kV
TOPCP0210 | 22kV
TOPCP0211 | 11kV
TOPCP0212 | 6.6kV
3.4.3 - SYSTEM DEMAND
VOLUMES (0's)
|  | Units | 2019-20
3.4.3.1 - Annual system maximum demand characteristics – MW measure
TOPSD0101 | Transmission System coincident maximum demand | MW
TOPSD0102 | Transmission System coincident weather adjusted maximum demand 10% POE | MW
TOPSD0103 | Transmission System coincident weather adjusted maximum demand 50% POE | MW
TOPSD0104 | Transmission System non-coincident summated maximum demand | MW
TOPSD0105 | Transmission System non-coincident weather adjusted summated maximum demand 10% POE | MW
TOPSD0106 | Transmission System non-coincident weather adjusted summated maximum demand 50% POE | MW
3.4.3.2 - Annual system maximum demand characteristics – MVA measure
TOPSD0201 | Transmission System coincident maximum demand | MVA
TOPSD0202 | Transmission System coincident weather adjusted maximum demand 10% POE | MVA
TOPSD0203 | Transmission System coincident weather adjusted maximum demand 50% POE | MVA
TOPSD0204 | Transmission System non-coincident summated maximum demand | MVA
TOPSD0205 | Transmission System non-coincident weather adjusted summated maximum demand 10% POE | MVA
TOPSD0206 | Transmission System non-coincident weather adjusted summated maximum demand 50% POE | MVA
3.4.3.3 - Power factor
Power factor conversion between MVA and MW
TOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor
TOPSD0302 | Average power factor conversion for 500 kV lines | Factor
TOPSD0303 | Average power factor conversion for 330 kV lines | Factor
TOPSD0304 | Average power factor conversion for 275 kV lines | Factor
TOPSD0305 | Average power factor conversion for 220 kV lines | Factor
TOPSD0306 | Average power factor conversion for 132 kV lines | Factor
TOPSD0307 | Average power factor conversion for 110 kV lines | Factor
TOPSD0308 | Average power factor conversion for 88 kV lines | Factor
TOPSD0309 | Average power factor conversion for 66 kV lines | Factor
TOPSD0310 | Average power factor conversion for 33 kV lines | Factor
TOPSD0311 | Average power factor conversion for 22 kV lines | Factor
TOPSD0311 | Average power factor conversion for 11 kV lines | Factor
TOPSD0312 | Average power factor conversion for 6.6 kV lines | Factor
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
Ausnet Services (Transmission) Ltd
Benchmarking RIN response 2019-20
3.5 PHYSICAL ASSETS
There is ONE table on this worksheet. It has been sub-grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - TRANSMISSION SYSTEM CAPACITIES
(0's)
|  | Unit | 2019-20
3.5.1.1 - Overhead network length of circuit at each voltage
TPA0101 | 500 kV | km | 1482.386
TPA0102 | 330 kV | km | 739.02
TPA0103 | 275 kV | km | 156.7338
TPA0104 | 220 kV | km | 4169.409
TPA0105 | 132 kV | km | 0
TPA0106 | 110 kV | km | 0
TPA0107 | 88 kV | km | 0
TPA0108 | 66 kV | km | 175.0224
TPA0109 | 33 kV | km | 0
TPA0109 | 22 kV | km | 0
TPA0109 | 11 kV | km | 0
TPA01 | Total overhead circuit kilometres |  | 6722.5712
3.5.1.2 - Underground cable circuit length at each voltage
TPA0201 | 500 kV | km | 0
TPA0202 | 330 kV | km | 0
TPA0203 | 275 kV | km | 0
TPA0204 | 220 kV | km | 8.54
TPA0205 | 132 kV | km | 0
TPA0206 | 110 kV | km | 0
TPA0207 | 88 kV | km | 0
TPA0208 | 66 kV | km | 0
TPA0209 | 33 kV | km | 0
TPA0210 | 22 kV | km | 0
TPA0211 | 11 kV | km | 0
TPA02 | Total underground circuit kilometres |  | 8.54
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
TPA0301 | 500 kV | MVA | 2574.345
TPA0302 | 330 kV | MVA | 802.004
TPA0303 | 275 kV | MVA | 523.9454
TPA0304 | 220 kV | MVA | 394.3525
TPA0305 | 132 kV | MVA | 0
TPA0306 | 110 kV | MVA | 0
TPA0307 | 88 kV | MVA | 0
TPA0308 | 66 kV | MVA | 94.63
TPA0309 | 33 kV | MVA | 0
TPA0310 | 22 kV | MVA | 0
TPA0311 | 11 kV | MVA | 0
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
TPA0401 | 500 kV | MVA | 0
TPA0402 | 330 kV | MVA | 0
TPA0403 | 275 kV | MVA | 0
TPA0404 | 220 kV | MVA | 449.64
TPA0405 | 132 kV | MVA | 0
TPA0406 | 110 kV | MVA | 0
TPA0407 | 88 kV | MVA | 0
TPA0408 | 66 kV | MVA | 0
TPA0409 | 33 kV | MVA | 0
TPA0410 | 22 kV | MVA | 0
TPA0411 | 11 kV | MVA | 0
3.5.1.5 - Installed transmission system transformer capacity
TPA0501 | Transmission substations (eg 500 kV to 330 kV) | MVA | 11656.6
TPA0502 | Terminal points to DNSP systems | MVA | 16138
TPA0503 | Transformer capacity for directly connected end–users owned by the TNSP | MVA | 0
TPA0504 | Transformer capacity for directly connected end–users owned by the end–user | MVA | 1675.5
TPA0505 | Interconnector capacity | MVA | 740
TPA0506 | Other | MVA | 300
3.5.1.6 - Cold spare capacity
TPA06 | Cold spare capacity included in Table 3.5.1.5 | MVA | 3355.6
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.6 Quality of services
REGULATORY REPORTING STATEMENT
Ausnet Services (Transmission) Ltd
Benchmarking RIN response 2019-20
3.6 QUALITY OF SERVICE DATA
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.6.1 - SERVICE COMPONENT
VOLUME
|  | Units | Calendar Year 2019
Service Parameter 1 – Average circuit outage rate
TQS0101 | Lines outage rate - fault | % | 13.01%
TQS0102 | Number of Lines fault outages | number | 16
TQS0103 | Number of defined Lines | number | 123
TQS0104 | Transformers outage rate - fault | % | 6.25%
TQS0105 | Number of Transformer fault outages | number | 8
TQS0106 | Number of defined Transformers | number | 128
TQS0107 | Reactive plant outage rate - fault | % | 29.58%
TQS0108 | Number of Reactive plant fault outages | number | 21
TQS0109 | Number of defined Reactive plant | number | 71
TQS0110 | Lines outage rate – forced outage | % | 4.878%
TQS0111 | Number of Lines forced outages | number | 6
TQS0112 | Transformer outage rate – forced outage | % | 11.72%
TQS0113 | Number of Transformers forced outages | number | 15
TQS0114 | Reactive plant outage rate – forced outage | % | 25.35%
TQS0115 | Number of Reactive plant forced outages | number | 18
Service Parameter 2 – Loss of supply event frequency – number in ranges specified
TQS0116 | Number of events greater than 0.05 system minutes per annum (X) | number | 1
TQS0117 | Number of events greater than 0.1 system minutes per annum (X) | number | 0
TQS0118 | Number of events greater than 0.2 system minutes per annum (X) | number | 0
TQS0119 | Number of events greater than 0.25 system minutes per annum (X) | number | 0
TQS0120 | Number of events greater than 0.30 system minutes per annum (X) | number | 0
TQS0121 | Number of events greater than 0.5 system minutes per annum (X) | number | 0
TQS0122 | Number of events greater than 0.75 system minutes per annum (X) | number | 0
TQS0123 | Number of events greater than 1.0 system minutes per annum (X) | number | 0
TQS0124 | Number of events greater than 0.05 system minutes per annum (Y) | number | 0
TQS0125 | Number of events greater than 0.1 system minutes per annum (Y) | number | 0
TQS0126 | Number of events greater than 0.2 system minutes per annum (Y) | number | 0
TQS0127 | Number of events greater than 0.25 system minutes per annum (Y) | number | 0
TQS0128 | Number of events greater than 0.30 system minutes per annum (Y) | number | 1
TQS0129 | Number of events greater than 0.5 system minutes per annum (Y) | number | 0
TQS0130 | Number of events greater than 0.75 system minutes per annum (Y) | number | 0
TQS0131 | Number of events greater than 1.0 system minutes per annum (Y) | number | 0
Service Parameter 3 – Average outage duration
TQS0118 | Average outage duration | minutes | 87
Service Parameter 4 – Proper operation of equipment – number of failure events
TQS0119 | Failure of protection system | number | 33
TQS0120 | Material failure of Supervisory Control and Data Acquisition (SCADA) system | number | 2
TQS0121 | Incorrect operational isolation of primary or secondary equipment | number | 1
3.6.2 - MARKET IMPACT COMPONENT
VOLUME
Calendar Year 2019
TQS02 | Market Impact Parameter | Number of dispatch intervals | 1510
3.6.3 - SYSTEM LOSSES
(per cent)
Calendar Year 2019
TQS03 | System losses | % | 1.79%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
Ausnet Services (Transmission) Ltd
Benchmarking RIN response 2019-20
3.7 OPERATING ENVIRONMENT FACTORS
TEF01 | 3.7.1 - TERRAIN FACTORS
(0's)
|  | Unit | 2019-20
TEF0101 | Total number of vegetation maintenance spans | Number of spans | 646
TEF0102 | Average vegetation maintenance span cycle | Years | 3
TEF0103 | Average number of trees per vegetation maintenance span | Trees | 11.86
TEF0104 | Average number of defects per vegetation maintenance span | Defects | 0.4644
TEF0105 | Tropical proportion | Number of spans | 0
TEF0106 | Standard vehicle access | km | 4803.8866
TEF0107 | Altitude | km | 212.5
TEF0108 | Bushfire risk | Number of spans | 553
TEF02 | 3.7.2 - NETWORK CHARACTERISTICS
(0's)
2019-20
TEF0201 | Route line length | km | 5024.7
TEF0202 | Variability of dispatch | % | 0
TEF0203 | Concentrated load distance | km | 0
TEF0204 | Total number of spans | number | 13094
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## NSP Amendments
AusNet (T) data amendments
Amended Table | Comments