## Instructions
Electricity Distribution Network Service Provider
Annual Reporting RIN
This template is to be used by Ausgrid to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Businesses must use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return four (4) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. An actual and an estimate version with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 3. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
NAVIGATION | Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin (for Row groupings) or above the columns (for column groupings).

## Contents
REGULATORY REPORTING STATEMENT
Ausgrid
Benchmarking RIN response 2019-20
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
Business & other details
3.2.3 Provisions

## Business & other details
ECONOMIC BENCHMARKING
Ausgrid
2019-20
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | Ausgrid
| ACN/ABN |  |  | 67505337385
| Business Address | [10 empty] | Postal Address
| Address 1 |  |  | 24-28 Campbell St. | [5 empty] | Address 1 |  | GPO Box 4009
| Address 2 | [8 empty] | Address 2
| Suburb |  |  | SYDNEY | [5 empty] | Suburb |  | SYDNEY
| State |  |  | NSW |  | Post code | 2000 |  |  | State |  | NSW |  | Post code | 2001
`
Contact Names
Name
Phone
Email
REGULATORY CONTROL PERIODS
|  |  |  | 2020-21 | 2021-22 |  |  |  | 2022-23 |  | 2023-24 |  | 2024-25
|  |  | Commencing year | 2019-20
ANNUAL RINS
|  |  | Final year | 2020-21
SUBMISSION DETAILS
|  |  | RIN type | Economic Benchmarking
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | 20211111 - #13263576 - 3.3 Assets (RAB) numbers amended 08/04/2020 - #16,550,303 - correction to 3.2, 3.3, for correction of errors and AASB16 Lease Expenditure
|  |  | Submission Date | 2021-11-11
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
Ausgrid
Benchmarking RIN response 2019-20
3.1 REVENUE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2019-20 | 2019-20
DREV0101 | Revenue from Fixed Customer Charges | 423243926.94 | 0
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 240884433.87 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | 143249118.12 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 170719313.93 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 58412312.7 | 0
DREV0106 | Revenue from controlled load customer charges | 0 | 0
DREV0107 | Revenue from unmetered supplies | 9906377.99 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | 0 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | 388990902.86 | 0
DREV0110 | Revenue from metering charges | 0 | 70618023.82
DREV0111 | Revenue from connection charges | 0 | 50773636.12
DREV0112 | Revenue from public lighting charges | 0 | 30958138.54
DREV0113 | Revenue from other Sources | 59111533.69 | 0
DREV01 | Total revenue by chargeable quantity | 1494517920.1 | 152349798.48
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2019-20 | 2019-20
DREV0201 | Revenue from residential Customers | 636464322.19 | 0
DREV0202 | Revenue from Non residential customers not on demand tariffs | 132809081.89 | 0
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 571483794.57 | 0
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 84742809.77 | 0
DREV0205 | Revenue from unmetered supplies | 9906377.99 | 0
DREV0206 | Revenue from Other Customers | 59111533.69 | 152349798.48
DREV02 | Total revenue by customer class | 1494517920.1 | 152349798.48
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2019-20 | 2019-20
DREV0301 | EBSS | 0 | 0
DREV0302 | STPIS | 13730767.57 | 0
DREV0303 | F-Factor | 0 | 0
DREV0304 | S-Factor True up | 0 | 0
DREV0305 | Other | 19199097.47
DREV03 | Total revenue of incentive schemes | 32929865.04 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
Ausgrid
Benchmarking RIN response 2019-20
3.2 OPERATING EXPENDITURE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to Ausgrid's annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2019-20 | 2019-20
DOPEX0101 | Contact Centre | 7434209 | 339183
DOPEX0102 | Customer Operations | 24822396 | 20486947
DOPEX0103 | Data Operations | 4242330 | 1743661
DOPEX0104 | Engineering, Planning & Project Management | 24727783 | 20388915
DOPEX0105 | Finance Function | 95553 | 269593
DOPEX0106 | Information Communication & Technology | 54188601 | 7170100
DOPEX0107 | Insurance | 5183495 | 444747
DOPEX0108 | Management | 37301106 | 3305094
DOPEX0109 | Metering | 0 | 30177781
DOPEX0110 | System Control | 9674998 | 1611
DOPEX0111 | Inspection | 83343247 | 1709873
DOPEX0112 | Corrective | 23654083 | 462015
DOPEX0113 | Breakdown | 19490707 | 9073118
DOPEX0114 | Nature induced & other | 27311591 | 80656
DOPEX0115 | Other indirect system maintenance | 1146769 | 23329
DOPEX0116 | Demand Management | 2013493 | 0
DOPEX0117 | Operational Technology | 6413883 | 829286
DOPEX0118 | Other | 22739248 | 6593348
DOPEX0119 | Property Management | 33548408.65 | 329607
DOPEX0120 | Training & Development | 10549977 | 1735694
DOPEX0121 | Emergency Recoverable Works | 5618915 | 0
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 403500792.65 | 105164558
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2019-20 | 2019-20
DOPEX0201 | Opex for network services | 403500792.65 | 11347917
DOPEX0202 | Opex for metering |  | 21290377
DOPEX0203 | Opex for connection services |  | 52975494
DOPEX0204 | Opex for public lighting |  | 19550770
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP
DOPEX0206 | Opex for transmission connection point planning
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 1539482
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
Ausgrid
Benchmarking RIN response 2019-20
3.2 OPERATING EXPENDITURE
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to Ausgrid's annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE ($0's)
2019-20
DOPEX03A | Provision name
Employee benefits
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 279509651
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 60063117
DOPEX0303A | Capex component | 41390201
DOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -72976567
DOPEX0306A | Capex component | -52987261
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | -682853
DOPEX0309A | Capex component | -495810
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | 2974393
DOPEX0312A | Capex component | 2159665
DOPEX0313A | Other component | 11081666
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 270036200
DOPEX03B | Provision name
Restructuring costs
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 97297756
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 1571666
DOPEX0303B | Capex component | 0
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | -89923016
DOPEX0306B | Capex component | 0
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | -4760772
DOPEX0309B | Capex component | 0
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 4185633
DOPEX03C | Provision name
Insurance (workers compensation and legal provisions)
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 23726043
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 5059418
DOPEX0303C | Capex component | 3673572
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | -3899131
DOPEX0306C | Capex component | -1914664
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | -307410
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 225687
DOPEX0312C | Capex component | 228863
DOPEX0313C | Other component | 56575
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 26848954
DOPEX03D | Provision name
Other
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 59553730
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 0
DOPEX0303D | Capex component | 0
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -236609
DOPEX0306D | Capex component | 0
DOPEX0307D | Other component | -4029595
Unused amounts reversed during the period
DOPEX0308D | Opex component | -632517
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | -12456829
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 517459
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 42715640
DOPEX03E | <Provision name>
<Brief description of provision>
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component
DOPEX0303E | Capex component
DOPEX0304E | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component
DOPEX0306E | Capex component
DOPEX0307E | Other component
Unused amounts reversed during the period
DOPEX0308E | Opex component
DOPEX0309E | Capex component
DOPEX0310E | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component
DOPEX0312E | Capex component
DOPEX0313E | Other component
DOPEX0314E | Closing balance (carrying amount at the end of the period)
DOPEX03F | <Provision name>
<Brief description of provision>
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component
DOPEX0303F | Capex component
DOPEX0304F | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component
DOPEX0306F | Capex component
DOPEX0307F | Other component
Unused amounts reversed during the period
DOPEX0308F | Opex component
DOPEX0309F | Capex component
DOPEX0310F | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component
DOPEX0312F | Capex component
DOPEX0313F | Other component
DOPEX0314F | Closing balance (carrying amount at the end of the period)
DOPEX03G | <Provision name>
<Brief description of provision>
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component
DOPEX0303G | Capex component
DOPEX0304G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component
DOPEX0306G | Capex component
DOPEX0307G | Other component
Unused amounts reversed during the period
DOPEX0308G | Opex component
DOPEX0309G | Capex component
DOPEX0310G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component
DOPEX0312G | Capex component
DOPEX0313G | Other component
DOPEX0314G | Closing balance (carrying amount at the end of the period)
DOPEX03H | <Provision name>
<Brief description of provision>
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component
DOPEX0303H | Capex component
DOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component
DOPEX0306H | Capex component
DOPEX0307H | Other component
Unused amounts reversed during the period
DOPEX0308H | Opex component
DOPEX0309H | Capex component
DOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component
DOPEX0312H | Capex component
DOPEX0313H | Other component
DOPEX0314H | Closing balance (carrying amount at the end of the period)
DOPEX03I | <Provision name>
<Brief description of provision>
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J | <Provision name>
<Brief description of provision>
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K | <Provision name>
<Brief description of provision>
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L | <Provision name>
<Brief description of provision>
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M | <Provision name>
<Brief description of provision>
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N | <Provision name>
<Brief description of provision>
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O | <Provision name>
<Brief description of provision>
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | <Provision name>
<Brief description of provision>
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | <Provision name>
<Brief description of provision>
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | <Provision name>
<Brief description of provision>
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
Ausgrid
Benchmarking RIN response 2019-20
3.3 ASSETS
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2019-20 | 2019-20 | 2019-20
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 15751564955.46 | 15751564955.46 | 240058775.55
DRAB0102 | Inflation addition | 289906103.47 | 289906103.47 | 4418259.67
DRAB0103 | Straight line depreciation | -480896455.47 | -480896455.47 | -32432321.45
DRAB0105 | Actual additions (recognised in RAB) | 568079804.62 | 568079804.62 | 35125.09
DRAB0106 | Disposals | -7631504.01 | -7631504.01 | -65006.31
DRAB0107 | Closing value | 16121022904.07 | 16121022904.07 | 212014832.55
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2019-20 | 2019-20 | 2019-20
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 1874399947.76 | 1874399947.76 | 0
DRAB0202 | Inflation addition | 24579456.84 | 24579456.84 | 0
DRAB0203 | Straight line depreciation | -32617856.26 | -32617856.26 | 0
DRAB0205 | Actual additions (recognised in RAB) | 46853546.44 | 46853546.44 | 0
DRAB0206 | Disposals | -820972.05 | -820972.05 | 0
DRAB0207 | Closing value | 1912394122.73 | 1912394122.73 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 3987589849.01 | 3987589849.01 | 0
DRAB0302 | Inflation addition | 83309925.62 | 83309925.62 | 0
DRAB0303 | Straight line depreciation | -108322270.78 | -108322270.78 | 0
DRAB0305 | Actual additions (recognised in RAB) | 152952908.36 | 152952908.36 | 0
DRAB0306 | Disposals | -2916025.45 | -2916025.45 | 0
DRAB0307 | Closing value | 4112614386.76 | 4112614386.76 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 2810547901.1 | 2810547901.1 | 0
DRAB0402 | Inflation addition | 57313664.35 | 57313664.35 | 0
DRAB0403 | Straight line depreciation | -91387332.35 | -91387332.35 | 0
DRAB0405 | Actual additions (recognised in RAB) | 57976441.96 | 57976441.96 | 0
DRAB0406 | Disposals | -115177.76 | -115177.76 | 0
DRAB0407 | Closing value | 2834335497.3 | 2834335497.3 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 903214854.01 | 903214854.01 | 0
DRAB0502 | Inflation addition | 15011174.21 | 15011174.21 | 0
DRAB0503 | Straight line depreciation | -25635466.64 | -25635466.64 | 0
DRAB0505 | Actual additions (recognised in RAB) | 28477076.11 | 28477076.11 | 0
DRAB0506 | Disposals | 0 | 0 | 0
DRAB0507 | Closing value | 921067637.69 | 921067637.69 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 1502945584.14 | 1502945584.14 | 0
DRAB0602 | Inflation addition | 29273987.14 | 29273987.14 | 0
DRAB0603 | Straight line depreciation | -49968160.25 | -49968160.25 | 0
DRAB0605 | Actual additions (recognised in RAB) | 42432191.4 | 42432191.4 | 0
DRAB0606 | Disposals | 0 | 0 | 0
DRAB0607 | Closing value | 1524683602.43 | 1524683602.43 | 0
Zone substations and transformers
DRAB0701 | Opening value | 3751316585 | 3751316585 | 0
DRAB0702 | Inflation addition | 63653865.11 | 63653865.11 | 0
DRAB0703 | Straight line depreciation | -96420940.68 | -96420940.68 | 0
DRAB0705 | Actual additions (recognised in RAB) | 77703815.15 | 77703815.15 | 0
DRAB0706 | Disposals | -156615.09 | -156615.09 | 0
DRAB0707 | Closing value | 3796096709.49 | 3796096709.49 | 0
For easements:
DRAB0801 | Opening value | 103308614.67 | 103308614.67 | 0
DRAB0802 | Inflation addition | 1845479.85 | 1845479.85 | 0
DRAB0805 | Actual additions (recognised in RAB) | 596.3 | 596.3 | 0
DRAB0806 | Disposals | -8263.86 | -8263.86 | 0
DRAB0807 | Closing value | 105146426.96 | 105146426.96 | 0
For meters:
DRAB0901 | Opening value | 0 | 0 | 191858661.39
DRAB0902 | Inflation addition | 0 | 0 | 3531141.01
DRAB0903 | Straight line depreciation | 0 | 0 | -20423381.5
DRAB0905 | Actual additions (recognised in RAB) | 0 | 0 | 0
DRAB0906 | Disposals | 0 | 0 | 0
DRAB0907 | Closing value | 0 | 0 | 174966420.9
For “other” asset items with long lives:
DRAB1001 | Opening value | 655166013.76 | 655166013.76 | 41605421.01
DRAB1002 | Inflation addition | 11917158.85 | 11917158.85 | 765743.94
DRAB1003 | Straight line depreciation | -32125738.78 | -32125738.78 | -9969370.35
DRAB1005 | Actual additions (recognised in RAB) | 100889449.15 | 100889449.15 | 35125.09
DRAB1006 | Disposals | -3614449.8 | -3614449.8 | -65006.31
DRAB1007 | Closing value | 732232433.18 | 732232433.18 | 32371913.38
For “other” asset items with short lives:
DRAB1101 | Opening value | 163075606.01 | 163075606.01 | 6594693.15
DRAB1102 | Inflation addition | 3001391.51 | 3001391.51 | 121374.72
DRAB1103 | Straight line depreciation | -44418689.73 | -44418689.73 | -2039569.6
DRAB1105 | Actual additions (recognised in RAB) | 60793779.75 | 60793779.75 | 0
DRAB1106 | Disposals | 0 | 0 | 0
DRAB1107 | Closing value | 182452087.54 | 182452087.54 | 4676498.27
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2019-20 | 2019-20 | 2019-20
DRAB1201 | Overhead network assets less than 33kV (wires and poles) | 1893397035.2472 | 1893397035.2472 | 0
DRAB1202 | Underground network assets less than 33kV (cables) | 4050102117.8807 | 4050102117.8807 | 0
DRAB1203 | Distribution substations including transformers | 2822441699.19 | 2822441699.19 | 0
DRAB1204 | Overhead network assets 33kV and above (wires and towers / poles etc) | 912141245.8546 | 912141245.8546 | 0
DRAB1205 | Underground network assets 33kV and above(cables, ducts etc) | 1513814593.2807 | 1513814593.2807 | 0
DRAB1206 | Zone substations and transformers | 3773706647.22 | 3773706647.22 | 0
DRAB1207 | Easements | 104227520.81 | 104227520.81 | 0
DRAB1208 | Meters | 0 | 0 | 183412541.1436
DRAB1209 | "Other" assets with long lives | 693699223.4706 | 693699223.4706 | 36988667.1925
DRAB1210 | "Other" assets with short lives | 172763846.7781 | 172763846.7781 | 5635595.7127
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above)
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2019-20 | 2019-20 | 2019-20
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 55.73 | 55.73 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | 56.51 | 56.51 | 0
DRAB1403 | Distribution substations including transformers | 46.74 | 46.74 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 47.54 | 47.54 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 46.12 | 46.12 | 0
DRAB1406 | Zone substations and transformers | 45.74 | 45.74 | 0
DRAB1407 | Meters | 0 | 0 | 19.61
DRAB1408 | "Other" assets with long lives | 31.57 | 31.57 | 17.32
DRAB1409 | "Other" assets with short lives | 4.93 | 4.93 | 5
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 41.45 | 41.45 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | 42.41 | 42.41 | 0
DRAB1503 | Distribution substations including transformers | 31.17 | 31.17 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 32.03 | 32.03 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 31.65 | 31.65 | 0
DRAB1506 | Zone substations and transformers | 31.18 | 31.18 | 0
DRAB1507 | Meters | 0 | 0 | 8.58
DRAB1508 | "Other" assets with long lives | 24.14 | 24.14 | 4.87
DRAB1509 | "Other" assets with short lives | 3.33 | 3.33 | 2.8
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
Ausgrid
Benchmarking RIN response 2019-20
3.4 OPERATIONAL DATA
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
VOLUME (0's)
|  | Units | 2019-20
DOPED01 | Total energy delivered | GWh | 24934
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 4848
DOPED0202 | Energy Delivery at On-peak times | GWh | 2696
DOPED0203 | Energy Delivery at Shoulder times | GWh | 7687
DOPED0204 | Energy Delivery at Off-peak times | GWh | 8540
DOPED0205 | Controlled load energy deliveries | GWh | 976
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 186
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 3584
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 8852
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 12789
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 0
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 36
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 103
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 175
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 0
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 41
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 313
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 1
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 0
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 8640
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 1506
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 8945
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 5657
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 186
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME (0's)
2019-20
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 1578910
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 141862
DOPCN0103 | Low voltage demand tariff customer numbers |  | 40686
DOPCN0104 | High voltage demand tariff customer numbers |  | 452
DOPCN0105 | Unmetered Customer Numbers |  | 169
DOPCN0106 | Other Customer Numbers |  | 0
DOPCN01 | Total customer numbers |  | 1762079
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | Customers on CBD network |  | 30207
DOPCN0202 | Customers on Urban network |  | 1461191
DOPCN0203 | Customers on Short rural network |  | 268263
DOPCN0204 | Customers on Long rural network |  | 2418
DOPCN02 | Total customer numbers |  | 1762079
3.4.2.3 - Distribution customer numbers by TasNetworks (D) feeder categories (TasNetworks (D) only)
Critical Infrastructure
High Density Commercial
Urban
High Density Rural
Low Density Rural
| Total customer numbers |  | 0
3.4.2.4 - Unmetered Supply TasNetworks (D) only)
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN
DOPCN0303 | Total unmetered connections
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME (0's)
|  | Units | 2019-20
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 5581
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 6052
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 5450
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 5078
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 5520
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 4928
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 6011
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 6460
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 5881
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 5451
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 5904
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 5324
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 5813
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 6304
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 5677
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 5303
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 5764
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 5146
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 6283
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 6752
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 6147
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 5685
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 6157
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 5553
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.95884
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.9754
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.9601
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.9
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0.9
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0.9494
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.9519
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0.9234
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 0
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 3760
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 0
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 3649
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
Ausgrid
Benchmarking RIN response 2019-20
3.5 PHYSICAL ASSETS
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's (0's)
| Circuit length | 2019-20
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 13082.36
DPA0102 | Overhead 2.2 kV | 0
DPA0103 | Overhead 6.6kv | 0
DPA0104 | Overhead 7.6 kV | 0
DPA0105 | Overhead 11 kV | 9767.35
DPA0106 | Overhead SWER | 118.5
DPA0107 | Overhead 22 kV | 125.57
DPA0108 | Overhead 33 kV | 1236.56
DPA0109 | Overhead 44 kV | 0
DPA0110 | Overhead 66 kV | 476.39
DPA0111 | Overhead 110kV | 0
DPA0112 | Overhead 132 kV | 1090.31
DPA0113 | Overhead 220kV | 0
DPA0114 | Other | 0
DPA01 | Total overhead circuit km | 25897.04
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 6662.09
DPA0202 | Underground 5 kV | 49.08
DPA0203 | Underground 6.6 Kv | 0
DPA0204 | Underground 7.6 kV | 0
DPA0205 | Underground 11 kV | 8521.79
DPA0206 | Underground SWER | 0
DPA0207 | Underground 22 kV | 0.01
DPA0208 | Underground 33 kV | 553.88
DPA0209 | Underground 66 kV | 9.62
DPA0210 | Underground 110 kV | 0
DPA0211 | Underground 132 kV | 601.01
DPA0212 | Other | 0
DPA02 | Total underground circuit km | 16397.48
VOLUME in MVA (0's)
| Circuit Capacity MVA | 2019-20
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.236
DPA0302 | Overhead 6.6 kV | 0
DPA0303 | Overhead 7.6 kV | 0
DPA0304 | Overhead 11 kV | 3.911
DPA0305 | Overhead SWER | 0.35
DPA0306 | Overhead 22 kV | 2.621
DPA0307 | Overhead 33 kV | 28.924
DPA0308 | Overhead 44 kV | 0
DPA0309 | Overhead 66 kV | 72.354
DPA0310 | Overhead 110 kV | 0
DPA0311 | Overhead 132 kV | 227.236
DPA0312 | Overhead 220 kV | 0
DPA0313 | Other | 0
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.236
DPA0402 | Underground 5 kV | 3.369
DPA0403 | Underground 6.6 kV | 0
DPA0404 | Underground 7.6 kV | 0
DPA0405 | Underground 11 kV | 6.607
DPA0406 | Underground SWER | 0
DPA0407 | Underground 12.7 kV | 0
DPA0408 | Underground 22 kV | 0
DPA0409 | Underground 33 kV | 24.46
DPA0410 | Underground 66 kV | 98.688
DPA0411 | Underground 110 kV | 0
DPA0412 | Underground 132 kV | 185.196
DPA0413 | Other | 0
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA (0's)
2019-20
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 16015
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | 1719
DPA0503 | Cold spare capacity included in DPA0501 | 590
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 7822
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 6475
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 8175
DPA0604 | Total zone substation transformer capacity | 24857
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 2385
3.5.2.3 - Distribution - other transformer capacity
| Distribution other - transformer capacity owned by utility | 0
3.5.3 - PUBLIC LIGHTING
VOLUME (0's)
2019-20
DPA0701 | Public lighting luminaires | 255025
DPA0702 | Public lighting poles | 22131
DPA0703 | Public lighting columns | 42227
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
Ausgrid
Benchmarking RIN response 2019-20
3.6 QUALITY OF SERVICE DATA
3.6.1 - RELIABILITY
(0's)
|  | Units | 2019-20
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 344.0799
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 343.1369
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 0.86597
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.86485
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 93.1173
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 92.174
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 0.68511
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.68398
3.6.2 - ENERGY NOT SUPPLIED
(0's)
|  | Units | 2019-20
DQS0201 | Energy Not Supplied (planned) | GWh | 0.47257
DQS0202 | Energy Not Supplied (unplanned) | GWh | 11.065
DQS02 | Total |  | 11.5376
3.6.3 - SYSTEM LOSSES
(0's)
|  | Unit | 2019-20
DQS03 | System losses | % | 3.712%
3.6.4 - CAPACITY UTILISATION
(0's)
|  | Unit | 2019-20
DQS04 | Overall utilisation | % | 45.61%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
Ausgrid
Benchmarking RIN response 2019-20
3.7 OPERATING ENVIRONMENT FACTORS
3.7.1 - DENSITY FACTORS
(0's)
|  | Units | 2019-20
DOEF0101 | Customer density | Customer / km | 44.59
DOEF0102 | Energy density | MWh/customer | 14.15
DOEF0103 | Demand density | kVA / customer | 3.3
3.7.2 - TERRAIN FACTORS
(0's)
|  | Units | 2019-20
DOEF0201 | Rural proportion | % | 44.39%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 875382
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 268537
DOEF0204 | Total vegetation maintenance spans | Number of spans | 1185913
DOEF0205 | Total number of spans | Number of spans | 1185913
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 0.59586
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 2.1259
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 0.11003
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 0.44338
DOEF0212 | Tropical proportion | Spans | 1227
DOEF0213 | Standard vehicle access | km | 7388.58
DOEF0214 | Bushfire risk | Spans | 274342
3.7.3 - SERVICE AREA FACTORS
(0's)
|  | Units | 2019-20
DOEF0301 | Route Line length | km | 39515.29
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY