## Contents
REGULATORY REPORTING STATEMENT
ElectraNet Pty Limited
Benchmarking RIN response 2013-14
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
1.0 Business & other details
3.7.4 Weather stations
3.2.3 Provisions

## 1.0 Business & other details
REGULATORY REPORTING STATEMENT
ElectraNet Pty Limited
Benchmarking RIN response 2013-14
1.0 BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings.
Table 1.2.1 - Submission particulars input sheet
Entity details
Trading name | ElectraNet Pty Limited
ACN / ABN | 94482416
Business address | Address 1 |  | 52-55 East Terrace, Rymill Park
Address 2
| Suburb |  | Adelaide
|  | State | SA | p/code | 5000
Postal address | Address 1 |  | PO Box 7096
|  | Address 2 | Hutt St Post Office
| Suburb |  | Adelaide
|  | State | SA | p/code | 5000
Contact name/s
Contact phone/s
Contact email address/s
Regulatory year | Financial / Other
2013-14
Sector | Electricity
Segment | Transmission
Source | Reporting
Regulatory Year | 2014
Reporting Period Type | Financial Year
RIN Type | EB
Security Classification | Public
Estimated or actual | Consolidated
RIN response - version no. | 1
RIN response - amendment reason | 20200814 - #11291369 - 3.1.3 new ebss figure 240522 - #11,137,611 - 3.4 Updated TOPDO0101
RIN template - version no. | 2
Contents

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
ElectraNet Pty Limited
Benchmarking RIN response 2013-14
3.1 REVENUE
Actual ($000s)
2013-14
Table 3.1.1 Revenue Grouping by chargeable quantity
ET_REV3110_00001 | TREV0101 | From Fixed Customer (Exit Point) Charges |  | 26168.841
ET_REV3110_00002 | TREV0102 | From Variable Customer (Exit Point) Charges |  | 0
ET_REV3110_00003 | TREV0103 | From Fixed Generator (Entry Point) Charges |  | 2678.105
ET_REV3110_00004 | TREV0104 | From Variable Generator (Entry Point) Charges |  | 0
ET_REV3110_00005 | TREV0105 | From Fixed Energy Usage Charges (Charge per day basis) |  | 88101.587
ET_REV3110_00006 | TREV0106 | From Variable Energy Usage charges (Charge per kWh basis) |  | 0
ET_REV3110_00007 | TREV0107 | From Energy based Common Service and General Charges |  | 79103.939
ET_REV3110_00008 | TREV0108 | From Fixed Demand based Usage Charges |  | 75196.2
ET_REV3110_00009 | TREV0109 | From Variable Demand based Usage Charges |  | 0
ET_REV3110_00010 | TREV0110 | Revenue from other Sources |  | 12477.63
| TREV01 | Total revenue by chargeable quantity | $'000
Table 3.1.2 Revenue Grouping by type of connected equipment
ET_REV3120_00001 | TREV0201 | From Other connected transmission networks |  | 0
ET_REV3120_00002 | TREV0202 | From Distribution networks |  | 245712.754
ET_REV3120_00003 | TREV0203 | From Directly connected end–users |  | 22857.812
ET_REV3120_00004 | TREV0204 | From Generators |  | 2678.105
ET_REV3120_00005 | TREV0205 | Other revenue |  | 12477.63
| TREV02 | Total revenue by type of connected equipment | $'000
`
Table 3.1.3 Revenue (penalties) allowed (deducted) through incentive schemes
ET_REV3130_00001 | TREV0301 | EBSS |  | -1303116.7068
ET_REV3130_00002 | TREV0302 | STPIS |  | -927.445
ET_REV3130_00003 | TREV0303 | Other |  | 0
| TREV03 | Total revenue of incentive schemes | $'000 | -1304044.1518
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL

## 3.2 Opex
REGULATORY REPORTING STATEMENT
ElectraNet Pty Limited
Benchmarking RIN response 2013-14
3.2 OPERATING EXPENDITURE
Instructions
ElectraNet Pty Limited must fill in opex in table 3.2.1 for opex categories reported in response to its annual reporting RIN.
Actual ($000s)
2013-14
TABLE 3.2.1 - OPEX CATEGORIES
Table 3.2.1.1 Current opex categories and cost allocations
TOPEX0101
TOPEX0102
TOPEX0103
TOPEX0104
TOPEX0105
TOPEX0106
TOPEX0107
TOPEX0108
TOPEX0109
TOPEX0110
TOPEX0111
TOPEX0112
TOPEX0113
TOPEX0114
TOPEX0115
TOPEX0116
TOPEX0117
TOPEX0118
TOPEX0119
TOPEX0120
TOPEX0121
TOPEX0122
TOPEX0123
TOPEX0124
TOPEX0125
TOPEX0126
TOPEX0127
TOPEX0128
TOPEX0129
TOPEX0130
TOPEX0131
TOPEX0132
TOPEX0133
TOPEX0134
TOPEX0135
TOPEX0136
TOPEX0137
TOPEX0138
TOPEX0139
TOPEX0140
TOPEX0141
ET_OPX3211_99999 | TOPEX01 | Total opex | ($'000) | 0
|  | Table 3.2.1.2A - Historical opex categories and cost allocations |  | 2013-14
| TOPEX0101A | Maintenance Communications |  | 2098.829
| TOPEX0102A | Maintenance Lines |  | 14015.801
| TOPEX0103A | Maintenance Secondary Systems |  | 1893.85
| TOPEX0104A | Maintenance Substations |  | 13466.136
| TOPEX0105A | Maintenance Easements |  | 1596.414
| TOPEX0106A | Field Support |  | 10061.036
| TOPEX0107A | Operations |  | 9142.449
| TOPEX0108A | Asset Manager Support |  | 8621.831
| TOPEX0109A | Insurance |  | 2755.896
| TOPEX0110A | Corporate Support |  | 3139.596
| TOPEX0111A | Network Support |  | 7368.108
TOPEX0112A
TOPEX0113A
TOPEX0114A
TOPEX0115A
TOPEX0116A
TOPEX0117A
TOPEX0118A
TOPEX0119A
TOPEX0120A
TOPEX0121A
TOPEX0122A
TOPEX0123A
TOPEX0124A
TOPEX0125A
TOPEX0126A
TOPEX0127A
TOPEX0128A
TOPEX0129A
TOPEX0130A
TOPEX0131A
TOPEX0132A
TOPEX0133A
TOPEX0134A
TOPEX0135A
TOPEX0136A
TOPEX0137A
TOPEX0138A
TOPEX0139A
TOPEX0140A
TOPEX0141A
TOPEX0142A
ET_OPX3211A_99999 | TOPEX01A | Total opex | ($'000) | 74159.946
|  | Table 3.2.1.2B - Historical opex categories and cost allocations |  | 2013-14
TOPEX0101B
TOPEX0102B
TOPEX0103B
TOPEX0104B
TOPEX0105B
TOPEX0106B
TOPEX0107B
TOPEX0108B
TOPEX0109B
TOPEX0110B
TOPEX0111B
TOPEX0112B
TOPEX0113B
TOPEX0114B
TOPEX0115B
TOPEX0116B
TOPEX0117B
TOPEX0118B
TOPEX0119B
TOPEX0120B
TOPEX0121B
TOPEX0122B
TOPEX0123B
TOPEX0124B
TOPEX0125B
TOPEX0126B
TOPEX0127B
TOPEX0128B
TOPEX0129B
TOPEX0130B
TOPEX0131B
TOPEX0132B
TOPEX0133B
TOPEX0134B
TOPEX0135B
TOPEX0136B
TOPEX0137B
TOPEX0138B
TOPEX0139B
TOPEX0140B
TOPEX0141B
TOPEX0142B
ET_OPX3211B_99999 | TOPEX01B | Total opex | ($'000) | 0
|  | Table 3.2.1.2C - Historical opex categories and cost allocations |  | 2013-14
TOPEX0101C
TOPEX0102C
TOPEX0103C
TOPEX0104C
TOPEX0105C
TOPEX0106C
TOPEX0107C
TOPEX0108C
TOPEX0109C
TOPEX0110C
TOPEX0111C
TOPEX0112C
TOPEX0113C
TOPEX0114C
TOPEX0115C
TOPEX0116C
TOPEX0117C
TOPEX0118C
TOPEX0119C
TOPEX0120C
TOPEX0121C
TOPEX0122C
TOPEX0123C
TOPEX0124C
TOPEX0125C
TOPEX0126C
TOPEX0127C
TOPEX0128C
TOPEX0129C
TOPEX0130C
TOPEX0131C
TOPEX0132C
TOPEX0133C
TOPEX0134C
TOPEX0135C
TOPEX0136C
TOPEX0137C
TOPEX0138C
TOPEX0139C
TOPEX0140C
TOPEX0141C
TOPEX0142C
ET_OPX3211C_99999 | TOPEX01C | Total opex | ($'000) | 0
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
ElectraNet Pty Limited
Benchmarking RIN response 2013-14
3.2 OPERATING EXPENDITURE
Instructions
ElectraNet Pty Limited must fill in opex in table 3.2.3 for opex categories reported in response to its annual reporting RIN.
TABLE 3.2.3 - PROVISIONS
For each provision report:
$000s
2013-14
TOPEX02A | Annual leave
This provision is the calculated cost of earned but untaken annual leave entitlement for each employee at the end of each financial year. These amounts are owed to employees as future leave to be taken, or to be paid to employees who leave ElectraNet's employment. Each annual provision balance is held at the current remuneration level for each employee.
TOPEX0201A | Opening balance (the carrying amount at the beginning of the period) | 3009
Additional provisions made in the period, including increases to existing provisions
TOPEX0202A | Opex component | 835.7852
TOPEX0203A | Capex component | 909.2148
TOPEX0204A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205A | Opex component | -1024.4954
TOPEX0206A | Capex component | -1114.5046
TOPEX0207A | Other component | 0
Unused amounts reversed during the period
TOPEX0208A | Opex component | 0
TOPEX0209A | Capex component | 0
TOPEX0210A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211A | Opex component | 0
TOPEX0212A | Capex component | 0
TOPEX0213A | Other component | 0
TOPEX0214A | Closing balance (carrying amount at the end of the period) | 2615
TOPEX02B | Long Service Leave
A) This provision contains the calculated cost of earned but untaken long service leave entitlement for each employee with 7 complete years of service at the end of each financial year. These amounts are owed to employees as future leave to be taken, or to be paid to employees who leave ElectraNet's employment. Each annual provision balance is held at the current remuneration level for each employee. B) This provision also contains an accrual for long service leave for employees who have not yet reached the 7 year entitlement threshold. This accrual is based on a number of factors - proportion of employees retained to full LSL entitlement, assumption on future pay increases and discounting forecast entitlements to current year values.
TOPEX0201B | Opening balance (the carrying amount at the beginning of the period) | 6858
Additional provisions made in the period, including increases to existing provisions
TOPEX0202B | Opex component | 382.117
TOPEX0203B | Capex component | 415.6887
TOPEX0204B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205B | Opex component | -210.2634
TOPEX0206B | Capex component | -228.7366
TOPEX0207B | Other component | 0
Unused amounts reversed during the period
TOPEX0208B | Opex component | 0
TOPEX0209B | Capex component | 0
TOPEX0210B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211B | Opex component | -40.6185
TOPEX0212B | Capex component | -44.1871
TOPEX0213B | Other component | 0
TOPEX0214B | Closing balance (carrying amount at the end of the period) | 7132
TOPEX02C | Superannuation
A liability in respect of defined benefit superannuation plans, measured as the present value of the defined benefit obligation at the reporting date less the fair value of the superannuation fund's assets at that date. The present value of the defined benefit obligation is based on expected future payments which arise from membership of the fund to the reporting date, calculated annually by independent actuaries. Consideration is given to expected future wage and salary levels, experience of employee departures and periods of service.
TOPEX0201C | Opening balance (the carrying amount at the beginning of the period) | 16616.3839
Additional provisions made in the period, including increases to existing provisions
TOPEX0202C | Opex component | 860.7809
TOPEX0203C | Capex component | 936.4066
TOPEX0204C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205C | Opex component | -659.5765
TOPEX0206C | Capex component | -717.5249
TOPEX0207C | Other component | 0
Unused amounts reversed during the period
TOPEX0208C | Opex component | 0
TOPEX0209C | Capex component | 0
TOPEX0210C | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211C | Opex component | -4691.6196
TOPEX0212C | Capex component | -5103.8113
TOPEX0213C | Other component | 0
TOPEX0214C | Closing balance (carrying amount at the end of the period) | 7241.0391
TOPEX02D | Self Insurance
This provision is maintained only for regulatory financial reporting. It represents the aggregate balance of the annual regulatory allowance for self insurance less any costs arising each year from qualifying self insured events. The costs are recognised each year in ElectraNet's statutory accounts.
TOPEX0201D | Opening balance (the carrying amount at the beginning of the period) | 3658.1264
Additional provisions made in the period, including increases to existing provisions
TOPEX0202D | Opex component | 1177
TOPEX0203D | Capex component | 0
TOPEX0204D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205D | Opex component | 0
TOPEX0206D | Capex component | 0
TOPEX0207D | Other component | 0
Unused amounts reversed during the period
TOPEX0208D | Opex component | 0
TOPEX0209D | Capex component | 0
TOPEX0210D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211D | Opex component | 0
TOPEX0212D | Capex component | 0
TOPEX0213D | Other component | 0
TOPEX0214D | Closing balance (carrying amount at the end of the period) | 4835.1264
TOPEX02E | Dividends
This provision is dividends provided for but unpaid at the end of each financial year.
TOPEX0201E | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
TOPEX0202E | Opex component | 0
TOPEX0203E | Capex component | 0
TOPEX0204E | Other component | 3211.6538
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205E | Opex component | 0
TOPEX0206E | Capex component | 0
TOPEX0207E | Other component | 0
Unused amounts reversed during the period
TOPEX0208E | Opex component | 0
TOPEX0209E | Capex component | 0
TOPEX0210E | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211E | Opex component | 0
TOPEX0212E | Capex component | 0
TOPEX0213E | Other component | 0
TOPEX0214E | Closing balance (carrying amount at the end of the period) | 3211.6538
TOPEX02F | Provision name
Brief description of provision
TOPEX0201F | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0202F | Opex component
TOPEX0203F | Capex component
TOPEX0204F | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205F | Opex component
TOPEX0206F | Capex component
TOPEX0207F | Other component
Unused amounts reversed during the period
TOPEX0208F | Opex component
TOPEX0209F | Capex component
TOPEX0210F | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211F | Opex component
TOPEX0212F | Capex component
TOPEX0213F | Other component
TOPEX0214F | Closing balance (carrying amount at the end of the period)
TOPEX02G | Provision name
Brief description of provision
TOPEX0201G | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0202G | Opex component
TOPEX0203G | Capex component
TOPEX0204G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205G | Opex component
TOPEX0206G | Capex component
TOPEX0207G | Other component
Unused amounts reversed during the period
TOPEX0208G | Opex component
TOPEX0209G | Capex component
TOPEX0210G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211G | Opex component
TOPEX0212G | Capex component
TOPEX0213G | Other component
TOPEX0214G | Closing balance (carrying amount at the end of the period)
TOPEX02H | Provision name
Brief description of provision
TOPEX0201H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0202H | Opex component
TOPEX0203H | Capex component
TOPEX0204H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205H | Opex component
TOPEX0206H | Capex component
TOPEX0207H | Other component
Unused amounts reversed during the period
TOPEX0208H | Opex component
TOPEX0209H | Capex component
TOPEX0210H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211H | Opex component
TOPEX0212H | Capex component
TOPEX0213H | Other component
TOPEX0214H | Closing balance (carrying amount at the end of the period)
TOPEX02I | Provision name
Brief description of provision
TOPEX0201I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0202I | Opex component
TOPEX0203I | Capex component
TOPEX0204I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205I | Opex component
TOPEX0206I | Capex component
TOPEX0207I | Other component
Unused amounts reversed during the period
TOPEX0208I | Opex component
TOPEX0209I | Capex component
TOPEX0210I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211I | Opex component
TOPEX0212I | Capex component
TOPEX0213I | Other component
TOPEX0214I | Closing balance (carrying amount at the end of the period)
TOPEX02J | Provision name
Brief description of provision
TOPEX0201J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0202J | Opex component
TOPEX0203J | Capex component
TOPEX0204J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205J | Opex component
TOPEX0206J | Capex component
TOPEX0207J | Other component
Unused amounts reversed during the period
TOPEX0208J | Opex component
TOPEX0209J | Capex component
TOPEX0210J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211J | Opex component
TOPEX0212J | Capex component
TOPEX0213J | Other component
TOPEX0214J | Closing balance (carrying amount at the end of the period)
TOPEX02K | Provision name
Brief description of provision
TOPEX0201K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0202K | Opex component
TOPEX0203K | Capex component
TOPEX0204K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205K | Opex component
TOPEX0206K | Capex component
TOPEX0207K | Other component
Unused amounts reversed during the period
TOPEX0208K | Opex component
TOPEX0209K | Capex component
TOPEX0210K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211K | Opex component
TOPEX0212K | Capex component
TOPEX0213K | Other component
TOPEX0214K | Closing balance (carrying amount at the end of the period)
TOPEX02L | Provision name
Brief description of provision
TOPEX0201L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0202L | Opex component
TOPEX0203L | Capex component
TOPEX0204L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205L | Opex component
TOPEX0206L | Capex component
TOPEX0207L | Other component
Unused amounts reversed during the period
TOPEX0208L | Opex component
TOPEX0209L | Capex component
TOPEX0210L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211L | Opex component
TOPEX0212L | Capex component
TOPEX0213L | Other component
TOPEX0214L | Closing balance (carrying amount at the end of the period)
TOPEX02M | Provision name
Brief description of provision
TOPEX0201M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0202M | Opex component
TOPEX0203M | Capex component
TOPEX0204M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205M | Opex component
TOPEX0206M | Capex component
TOPEX0207M | Other component
Unused amounts reversed during the period
TOPEX0208M | Opex component
TOPEX0209M | Capex component
TOPEX0210M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211M | Opex component
TOPEX0212M | Capex component
TOPEX0213M | Other component
TOPEX0214M | Closing balance (carrying amount at the end of the period)
TOPEX02N | Provision name
Brief description of provision
TOPEX0201N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0202N | Opex component
TOPEX0203N | Capex component
TOPEX0204N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205N | Opex component
TOPEX0206N | Capex component
TOPEX0207N | Other component
Unused amounts reversed during the period
TOPEX0208N | Opex component
TOPEX0209N | Capex component
TOPEX0210N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211N | Opex component
TOPEX0212N | Capex component
TOPEX0213N | Other component
TOPEX0214N | Closing balance (carrying amount at the end of the period)
TOPEX02O | Provision name
Brief description of provision
TOPEX0201O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0202O | Opex component
TOPEX0203O | Capex component
TOPEX0204O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205O | Opex component
TOPEX0206O | Capex component
TOPEX0207O | Other component
Unused amounts reversed during the period
TOPEX0208O | Opex component
TOPEX0209O | Capex component
TOPEX0210O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211O | Opex component
TOPEX0212O | Capex component
TOPEX0213O | Other component
TOPEX0214O | Closing balance (carrying amount at the end of the period)
TOPEX02P | Provision name
Brief description of provision
TOPEX0201P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0202P | Opex component
TOPEX0203P | Capex component
TOPEX0204P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205P | Opex component
TOPEX0206P | Capex component
TOPEX0207P | Other component
Unused amounts reversed during the period
TOPEX0208P | Opex component
TOPEX0209P | Capex component
TOPEX0210P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211P | Opex component
TOPEX0212P | Capex component
TOPEX0213P | Other component
TOPEX0214P | Closing balance (carrying amount at the end of the period)
TOPEX02Q | Provision name
Brief description of provision
TOPEX0201Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0202Q | Opex component
TOPEX0203Q | Capex component
TOPEX0204Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205Q | Opex component
TOPEX0206Q | Capex component
TOPEX0207Q | Other component
Unused amounts reversed during the period
TOPEX0208Q | Opex component
TOPEX0209Q | Capex component
TOPEX0210Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211Q | Opex component
TOPEX0212Q | Capex component
TOPEX0213Q | Other component
TOPEX0214Q | Closing balance (carrying amount at the end of the period)
TOPEX02R | Provision name
Brief description of provision
TOPEX0201R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0202R | Opex component
TOPEX0203R | Capex component
TOPEX0204R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0205R | Opex component
TOPEX0206R | Capex component
TOPEX0207R | Other component
Unused amounts reversed during the period
TOPEX0208R | Opex component
TOPEX0209R | Capex component
TOPEX0210R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0211R | Opex component
TOPEX0212R | Capex component
TOPEX0213R | Other component
TOPEX0214R | Closing balance (carrying amount at the end of the period)
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
ElectraNet Pty Limited
Benchmarking RIN response 2013-14
3.3 ASSETS
Actual ($ 000s)
2013-14
TABLE 3.3.1 - REGULATORY ASSET BASE VALUES
For total asset base:
ET_RAB3310_00001 | TRAB0101 | Opening value |  | 1785902.9188
ET_RAB3310_00002 | TRAB0102 | Inflation addition |  | 52326.9555
ET_RAB3310_00003 | TRAB0103 | Straight line depreciation |  | -76094.4866
ET_RAB3310_00004 | TRAB0104 | Regulatory depreciation |  | -23767.5311
ET_RAB3310_00005 | TRAB0105 | Actual additions (recognised in RAB) |  | 232198.0008
ET_RAB3310_00006 | TRAB0106 | Disposals |  | -60.661
ET_RAB3310_00007 | TRAB0107 | Closing value for overhead distribution asset value | $'000 | 1994272.7276
TABLE 3.3.2 - ASSET VALUE ROLL FORWARD
For overhead transmission assets:
ET_RAB3321_00001 | TRAB0201 | Opening value |  | 476143.7035
ET_RAB3321_00002 | TRAB0202 | Inflation addition |  | 13951.0105
ET_RAB3321_00003 | TRAB0203 | Straight line depreciation |  | -23445.4532
ET_RAB3321_00004 | TRAB0204 | Regulatory depreciation |  | -9494.4427
ET_RAB3321_00005 | TRAB0205 | Actual additions (recognised in RAB) |  | 27239.5843
ET_RAB3321_00006 | TRAB0206 | Disposals |  | 0
ET_RAB3321_00007 | TRAB0207 | Closing value for overhead distribution asset value | $'000 | 493888.8452
For underground transmission assets:
ET_RAB3322_00001 | TRAB0301 | Opening value |  | 108436.602
ET_RAB3322_00002 | TRAB0302 | Inflation addition |  | 3177.1924
ET_RAB3322_00003 | TRAB0303 | Straight line depreciation |  | -3045.7625
ET_RAB3322_00004 | TRAB0304 | Regulatory depreciation |  | 131.43
ET_RAB3322_00005 | TRAB0305 | Actual additions (recognised in RAB) |  | 186.14
ET_RAB3322_00006 | TRAB0306 | Disposals |  | 0
ET_RAB3322_00007 | TRAB0307 | Closing value for overhead distribution asset value | $'000 | 108754.172
For transmission switchyards, substations
ET_RAB3323_00001 | TRAB0401 | Opening value |  | 780829.2589
ET_RAB3323_00002 | TRAB0402 | Inflation addition |  | 22830.3922
ET_RAB3323_00003 | TRAB0403 | Straight line depreciation |  | -22788.0072
ET_RAB3323_00004 | TRAB0404 | Regulatory depreciation |  | 42.3851
ET_RAB3323_00005 | TRAB0405 | Actual additions (recognised in RAB) |  | 129514.6968
ET_RAB3323_00006 | TRAB0406 | Disposals |  | 0
ET_RAB3323_00007 | TRAB0407 | Closing value for overhead distribution asset value | $'000 | 910386.3408
For easements:
ET_RAB3324_00001 | TRAB0501 | Opening value |  | 86957.7581
ET_RAB3324_00002 | TRAB0502 | Inflation addition |  | 2547.8623
ET_RAB3324_00003 | TRAB0503 | Straight line depreciation |  | 0
ET_RAB3324_00004 | TRAB0504 | Regulatory depreciation |  | 2547.8623
ET_RAB3324_00005 | TRAB0505 | Actual additions (recognised in RAB) |  | 0
ET_RAB3324_00006 | TRAB0506 | Disposals |  | 0
ET_RAB3324_00007 | TRAB0507 | Closing value for overhead distribution asset value | $'000 | 89505.6204
For “other” assets with long lives:
ET_RAB3325_00001 | TRAB0601 | Opening value |  | 307848.1945
ET_RAB3325_00002 | TRAB0602 | Inflation addition |  | 9067.8572
ET_RAB3325_00003 | TRAB0603 | Straight line depreciation |  | -17389.2215
ET_RAB3325_00004 | TRAB0604 | Regulatory depreciation |  | -8321.3644
ET_RAB3325_00005 | TRAB0605 | Actual additions (recognised in RAB) |  | 65964.4459
ET_RAB3325_00006 | TRAB0606 | Disposals |  | -60.661
ET_RAB3325_00007 | TRAB0607 | Closing value for overhead distribution asset value | $'000 | 365430.6151
For “other” assets with short lives:
ET_RAB3326_00001 | TRAB0701 | Opening value |  | 25687.4018
ET_RAB3326_00002 | TRAB0702 | Inflation addition |  | 752.6409
ET_RAB3326_00003 | TRAB0703 | Straight line depreciation |  | -9426.0423
ET_RAB3326_00004 | TRAB0704 | Regulatory depreciation |  | -8673.4014
ET_RAB3326_00005 | TRAB0705 | Actual additions (recognised in RAB) |  | 9293.1337
ET_RAB3326_00006 | TRAB0706 | Disposals |  | 0
ET_RAB3326_00007 | TRAB0707 | Closing value for overhead distribution asset value | $'000 | 26307.1341
TABLE 3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
ET_RAB3330_00001 | TRAB0801 | Overhead transmission assets (wires and towers/poles etc) |  | 485016.2744
ET_RAB3330_00002 | TRAB0802 | Underground transmission assets (cables, ducts etc) |  | 108595.387
ET_RAB3330_00003 | TRAB0803 | Substations, switchyards, Transformers etc with transmission function |  | 845607.7998
ET_RAB3330_00004 | TRAB0804 | Easements |  | 88231.6893
ET_RAB3330_00005 | TRAB0805 | Other assets with long lives (please specify) |  | 336639.4048
ET_RAB3330_00006 | TRAB0806 | Other assets with short lives (please specify) | $'000 | 25997.268
|  | TABLE 3.3.4 - ASSET LIVES |  | Service Life (Years)
|  | 4.4.1 Asset Lives – estimated service life of new assets |  | 2013-14
ET_RAB3341_00001 | TRAB0901 | Overhead transmission assets |  | 52.9111
ET_RAB3341_00002 | TRAB0902 | Underground transmission assets |  | 40
ET_RAB3341_00003 | TRAB0903 | Switchyard, substation and transformer assets |  | 47.8073
ET_RAB3341_00004 | TRAB0904 | “Other” assets with long lives |  | 21.0212
ET_RAB3341_00005 | TRAB0905 | “Other assets with short lives |  | 4.2561
4.4.2 Asset Lives – estimated residual service life
ET_RAB3342_00001 | TRAB1001 | Overhead transmission assets |  | 28.5228
ET_RAB3342_00002 | TRAB1002 | Underground transmission assets |  | 35.3058
ET_RAB3342_00003 | TRAB1003 | Switchyard, substation and transformer assets |  | 37.1022
ET_RAB3342_00004 | TRAB1004 | Other assets with long lives |  | 15.1335
ET_RAB3342_00005 | TRAB1005 | Other assets with short lives |  | 2.9642
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
ElectraNet Pty Limited
Benchmarking RIN response 2013-14
3.4 OPERATIONAL DATA
Actual
2013-14
Units
TABLE 3.4.1 - ENERGY DELIVERY
Energy Grouping by Downstream Connection type
ET_OPD3410_00001 | TOPED0101 | To Other connected transmission networks | GWh | 2307.121
ET_OPD3410_00002 | TOPED0102 | To Distribution networks | GWh | 10563
ET_OPD3410_00004 | TOPED0103 | To Directly connected end–users (330 kV) | GWh
ET_OPD3410_00005 | TOPED0104 | To Directly connected end–users (275 kV) | GWh | 1342
ET_OPD3410_00006 | TOPED0105 | To Directly connected end–users (220 kV) | GWh
ET_OPD3410_00007 | TOPED0106 | To Directly connected end–users (132 kV) | GWh | 433
ET_OPD3410_00008 | TOPED0107 | To Directly connected end–users (110 kV) | GWh
ET_OPD3410_00009 | TOPED0108 | To Directly connected end–users (44 kV) | GWh
ET_OPD3410_00010 | TOPED0109 | To Directly connected end–users (33 kV) | GWh | 3
ET_OPD3410_00011 | TOPED0110 | To Directly connected end–users (22 kV) | GWh
ET_OPD3410_00012 | TOPED0111 | To Directly connected end–users (11 kV) | GWh
ET_OPD3410_00013 | TOPED0112 | To Directly connected end–users (6.6 kV) | GWh
ET_OPD3410_00014 | TOPED0113 | Pumping and Power Station Auxillaries | GWh
| TOPED01 | Total energy transported | GWh | 13957
TABLE 3.4.2 - CONNECTION POINTS
Number of entry points at each transmission voltage level
ET_OPD3421_00001 | TOPCP0101 | 500kV | number
ET_OPD3421_00002 | TOPCP0102 | 330kV | number
ET_OPD3421_00003 | TOPCP0103 | 275kV | number | 7
ET_OPD3421_00004 | TOPCP0104 | 220kV | number
ET_OPD3421_00005 | TOPCP0105 | 132 kV | number | 12
ET_OPD3421_00006 | TOPCP0106 | 110kV | number
ET_OPD3421_00007 | TOPCP0107 | 66 kV | number | 3
ET_OPD3421_00008 | TOPCP0108 | 33 kV | number
ET_OPD3421_00009 | TOPCP0109 | 22 kV | number
ET_OPD3421_00010 | TOPCP0110 | 11 kV | number
ET_OPD3421_00010 | TOPCP0111 | 6.6 kV | number
Number of exit points at each transmission voltage level
ET_OPD3422_00001 | TOPCP0201 | 500kV | number
ET_OPD3422_00002 | TOPCP0202 | 330kV | number
ET_OPD3422_00003 | TOPCP0203 | 275kV | number | 13
ET_OPD3422_00004 | TOPCP0204 | 220kV | number
ET_OPD3422_00005 | TOPCP0205 | 132 kV | number | 61
ET_OPD3422_00006 | TOPCP0206 | 110kV | number
ET_OPD3422_00007 | TOPCP0207 | 66 kV | number | 3
ET_OPD3422_00008 | TOPCP0208 | 44 kV | number
ET_OPD3422_00009 | TOPCP0209 | 33kV | number
ET_OPD3422_00010 | TOPCP0210 | 22kV | number
ET_OPD3422_00011 | TOPCP0211 | 11kV | number
ET_OPD3422_00012 | TOPCP0212 | 6.6kV | number
TABLE 3.4.3 - SYSTEM DEMAND
Table 3.4.3.1 Annual system maximum demand characteristics – MW measure
ET_OPD3431_00001 | TOPSD0101 | Transmission System coincident maximum demand | MW | 3115.1382
ET_OPD3431_00002 | TOPSD0102 | Transmission System coincident weather adjusted maximum demand 10% POE | MW | 3152.432
ET_OPD3431_00003 | TOPSD0103 | Transmission System coincident weather adjusted maximum demand 50% POE | MW | 2819.68
ET_OPD3431_00004 | TOPSD0104 | Transmission System non-coincident summated maximum demand | MW | 4190.8913
ET_OPD3431_00005 | TOPSD0105 | Transmission System non-coincident weather adjusted summated maximum demand 10% POE | MW | 3308.348
ET_OPD3431_00006 | TOPSD0106 | Transmission System non-coincident weather adjusted summated maximum demand 50% POE | MW | 3004.1864
Table 3.4.3.2 Annual system maximum demand characteristics – MVA measure
ET_OPD3432_00001 | TOPSD0201 | Transmission System coincident maximum demand | MVA | 3211.0206
ET_OPD3432_00002 | TOPSD0202 | Transmission System coincident weather adjusted maximum demand 10% POE | MVA | 3191.119
ET_OPD3432_00003 | TOPSD0203 | Transmission System coincident weather adjusted maximum demand 50% POE | MVA | 2850.167
ET_OPD3432_00004 | TOPSD0204 | Transmission System non-coincident summated maximum demand | MVA | 3429.53
ET_OPD3432_00005 | TOPSD0205 | Transmission System non-coincident weather adjusted summated maximum demand 10% POE | MVA | 3371.71
ET_OPD3432_00006 | TOPSD0206 | Transmission System non-coincident weather adjusted summated maximum demand 50% POE | MVA | 3064.06
Table 3.4.3.3 Power factor
Power factor conversion between MVA and MW
ET_OPD3433_00001 | TOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.9753 leading
ET_OPD3433_00002 | TOPSD0302 | Average power factor conversion for 500 kV lines | Factor | NA
ET_OPD3433_00003 | TOPSD0303 | Average power factor conversion for 330 kV lines | Factor | NA
ET_OPD3433_00004 | TOPSD0304 | Average power factor conversion for 275 kV lines | Factor | 0.9940 leading
ET_OPD3433_00005 | TOPSD0305 | Average power factor conversion for 220 kV lines | Factor | NA
ET_OPD3433_00006 | TOPSD0306 | Average power factor conversion for 132 kV lines | Factor | 0.9603 leading
ET_OPD3433_00007 | TOPSD0307 | Average power factor conversion for 110 kV lines | Factor | NA
ET_OPD3433_00008 | TOPSD0308 | Average power factor conversion for 88 kV lines | Factor | NA
ET_OPD3433_00009 | TOPSD0309 | Average power factor conversion for 66 kV lines | Factor | 0.9834 leading
ET_OPD3433_00010 | TOPSD0310 | Average power factor conversion for 33 kV lines | Factor | NA
ET_OPD3433_00011 | TOPSD0311 | Average power factor conversion for 22 kV lines | Factor | NA
ET_OPD3433_00011 | TOPSD0311 | Average power factor conversion for 11 kV lines | Factor | NA
| TOPSD0312 | Average power factor conversion for 6.6 kV lines | Factor | NA
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
ElectraNet Pty Limited
Benchmarking RIN response 2013-14
3.5 PHYSICAL ASSETS
Actual
2013-14
Unit
TABLE 3.5.1 - TRANSMISSION SYSTEM CAPACITIES
Table 3.5.1.1 Overhead network length of circuit at each voltage
ET_PHA3511_00001 | TPA0101 | 500 kV | km | 0
ET_PHA3511_00002 | TPA0102 | 330 kV | km | 0
ET_PHA3511_00003 | TPA0103 | 275 kV | km | 2611.6369
ET_PHA3511_00004 | TPA0104 | 220 kV | km | 0
ET_PHA3511_00005 | TPA0105 | 132 kV | km | 2874.4166
ET_PHA3511_00006 | TPA0106 | 110 kV | km | 0
ET_PHA3511_00007 | TPA0107 | 88 kV | km | 0
ET_PHA3511_00008 | TPA0108 | 66 kV | km | 16.1606
ET_PHA3511_00009 | TPA0109 | 33 kV | km | 0
ET_PHA3511_00009 | TPA0109 | 22 kV | km | 0
ET_PHA3511_00009 | TPA0109 | 11 kV | km | 0
| TPA01 | Total overhead circuit kilometres | km | 5502.2141
Table 3.5.1.2 Underground cable circuit length at each voltage
ET_PHA3512_00001 | TPA0201 | 500 kV | km | 0
ET_PHA3512_00002 | TPA0202 | 330 kV | km | 0
ET_PHA3512_00003 | TPA0203 | 275 kV | km | 26.27
ET_PHA3512_00004 | TPA0204 | 220 kV | km | 0
ET_PHA3512_00005 | TPA0205 | 132 kV | km | 0
ET_PHA3512_00006 | TPA0206 | 110 kV | km | 0
ET_PHA3511_00007 | TPA0207 | 88 kV | km | 0
ET_PHA3512_00007 | TPA0208 | 66 kV | km | 0.919
ET_PHA3512_00008 | TPA0209 | 33 kV | km | 0
ET_PHA3512_00007 | TPA0210 | 22 kV | km | 0
ET_PHA3512_00008 | TPA0211 | 11 kV | km | 0
| TPA02 | Total underground circuit kilometres | km | 27.189
| TPA0301 | Table 3.5.1.3 Estimated overhead network weighted average MVA capacity by voltage class
ET_PHA3513_00001 | TPA0302 | 500 kV | MVA | 0
ET_PHA3513_00002 | TPA0303 | 330 kV | MVA | 0
ET_PHA3513_00003 | TPA0304 | 275 kV | MVA | 566.347
ET_PHA3513_00004 | TPA0305 | 220 kV | MVA | 0
ET_PHA3513_00005 | TPA0306 | 132 kV | MVA | 114.1478
ET_PHA3513_00006 | TPA0307 | 110 kV | MVA | 0
ET_PHA3513_00007 | TPA0308 | 88 kV | MVA | 0
ET_PHA3513_00008 | TPA0309 | 66 kV | MVA | 108.9729
ET_PHA3513_00009 | TPA0310 | 33 kV | MVA | 0
ET_PHA3513_00008 | TPA0311 | 22 kV | MVA | 0
ET_PHA3513_00009 | TPA0312 | 11 kV | MVA | 0
0
Table 3.5.1.4 Estimated underground network weighted average MVA capacity by voltage class
ET_PHA3514_00001 | TPA0401 | 500 kV | MVA | 0
ET_PHA3514_00002 | TPA0402 | 330 kV | MVA | 0
ET_PHA3514_00003 | TPA0403 | 275 kV | MVA | 597.032
ET_PHA3514_00004 | TPA0404 | 220 kV | MVA | 0
ET_PHA3514_00005 | TPA0405 | 132 kV | MVA | 0
ET_PHA3514_00006 | TPA0406 | 110 kV | MVA | 0
ET_PHA3514_00007 | TPA0407 | 88 kV | MVA | 0
ET_PHA3514_00006 | TPA0408 | 66 kV | MVA | 0
ET_PHA3514_00007 | TPA0409 | 33 kV | MVA | 0
ET_PHA3514_00008 | TPA0410 | 22 kV | MVA | 0
| TPA0411 | 11 kV |  | 0
Table 3.5.1.5 Installed transmission system transformer capacity
ET_PHA3515_00001 | TPA0501 | Transmission substations (eg 500 kV to 330 kV) | MVA | 3680
ET_PHA3515_00002 | TPA0502 | Terminal points to DNSP systems | MVA | 7393
ET_PHA3515_00003 | TPA0503 | Transformer capacity for directly connected end–users owned by the TNSP | MVA | 326
ET_PHA3515_00004 | TPA0504 | Transformer capacity for directly connected end–users owned by the end–user | MVA | 440
ET_PHA3515_00005 | TPA0505 | Interconnector capacity | MVA | 680
ET_PHA3515_00010 | TPA0506 | Other | MVA | 0
Table 3.5.1.6 Cold spare capacity
ET_PHA3516_00001 | TPA06 | Cold spare capacity included in Table 3.5.1.5 | MVA | 717.6
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.6 Quality of services
REGULATORY REPORTING STATEMENT
ElectraNet Pty Limited
Benchmarking RIN response 2013-14
3.6 QUALITY OF SERVICE DATA
Actual
2013-14
Unit
TABLE 3.6.1 - SERVICE COMPONENT
Table 3.6.1.1 Service Parameter 1 – Average Circuit outage rate
ET_QOS3611_00001 | TQS0101 | Lines outage rate - fault | % | 22.12
ET_QOS3611_00002 | TQS0102 | Number of Lines fault outages | number | 25
ET_QOS3611_00003 | TQS0103 | Number of defined Lines | number | 113
ET_QOS3611_00004 | TQS0104 | Transformers outage rate - fault | % | 35.56
ET_QOS3611_00005 | TQS0105 | Number of Transformer fault outages | number | 48
ET_QOS3611_00006 | TQS0106 | Number of defined Transformers | number | 135
ET_QOS3611_00007 | TQS0107 | Reactive plant outage rate - fault | % | 20.59
ET_QOS3611_00008 | TQS0108 | Number of Reactive plant fault outages | number | 7
ET_QOS3611_00009 | TQS0109 | Number of defined Reactive plant | number | 34
ET_QOS3611_00010 | TQS0110 | Lines outage rate – forced outage | % | 11.5
ET_QOS3611_00011 | TQS0111 | Number of Lines forced outages | number | 13
ET_QOS3611_00012 | TQS0112 | Transformer outage rate – forced outage | % | 16.3
ET_QOS3611_00013 | TQS0113 | Number of Transformers forced outages | number | 22
ET_QOS3611_00014 | TQS0114 | Reactive plant outage rate – forced outage | % | 11.76
ET_QOS3611_00015 | TQS0115 | Number of Reactive plant forced outages | number | 4
Table 3.6.1.2 Service Parameter 2 – Loss of supply event frequency – number in ranges specified
ET_QOS3612_00001 | TQS0116 | Number of events greater than 0.05 system minutes per annum (X) | number | 4
ET_QOS3612_00002 | TQS0117 | Number of events greater than 0.1 system minutes per annum (X) | number
ET_QOS3612_00003 | TQS0118 | Number of events greater than 0.2 system minutes per annum (X) | number
ET_QOS3612_00004 | TQS0119 | Number of events greater than 0.25 system minutes per annum (X) | number
ET_QOS3612_00005 | TQS0120 | Number of events greater than 0.30 system minutes per annum (X) | number
ET_QOS3612_00006 | TQS0121 | Number of events greater than 0.5 system minutes per annum (X) | number
ET_QOS3612_00007 | TQS0122 | Number of events greater than 0.75 system minutes per annum (X) | number
ET_QOS3612_00008 | TQS0123 | Number of events greater than 1.0 system minutes per annum (X) | number
ET_QOS3612_00009 | TQS0124 | Number of events greater than 0.05 system minutes per annum (Y) | number
ET_QOS3612_00010 | TQS0125 | Number of events greater than 0.1 system minutes per annum (Y) | number
ET_QOS3612_00011 | TQS0126 | Number of events greater than 0.2 system minutes per annum (Y) | number | 1
ET_QOS3612_00012 | TQS0127 | Number of events greater than 0.25 system minutes per annum (Y) | number
ET_QOS3612_00013 | TQS0128 | Number of events greater than 0.30 system minutes per annum (Y) | number
ET_QOS3612_00014 | TQS0129 | Number of events greater than 0.5 system minutes per annum (Y) | number
ET_QOS3612_00015 | TQS0130 | Number of events greater than 0.75 system minutes per annum (Y) | number
ET_QOS3612_00016 | TQS0131 | Number of events greater than 1.0 system minutes per annum (Y) | number
Table 3.6.1.3 Service Parameter 3 – Average outage duration
ET_QOS3613_00001 | TQS0118 | Average outage duration | minutes | 130.71
Table 3.6.1.4 System Parameter 4 – Proper operation of equipment – number of failure events
ET_QOS3614_00001 | TQS0119 | Failure of protection system | number | 25
ET_QOS3614_00002 | TQS0120 | Material failure of Supervisory Control and Data Acquisition (SCADA) system | number | 0
ET_QOS3614_00003 | TQS0121 | Incorrect operational isolation of primary or secondary equipment | number | 6
TABLE 3.6.2 - MARKET IMPACT COMPONENT
ET_QOS3620_00001 | TQS02 | Market Impact Parameter | Number of dispatch intervals | 96
TABLE 3.6.3 - SYSTEM LOSSES
ET_QOS3630_00001 | TQS03 | System losses | % | 2.54
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
ElectraNet Pty Limited
Benchmarking RIN response 2013-14
3.7 OPERATING ENVIRONMENT FACTORS
Actual
2013-14
Unit
| TEF01 | TABLE 3.7.1 - TERRAIN FACTORS
ET_OEF3710_00001 | TEF0101 | Total number of vegetation maintenance spans | Number of spans | 1168
ET_OEF3710_00002 | TEF0102 | Average vegetation maintenance span cycle | Years | 1.381
ET_OEF3710_00003 | TEF0103 | Average number of trees per vegetation maintenance span | Trees | 13.6
ET_OEF3710_00004 | TEF0104 | Average number of defects per vegetation maintenance span | Defects | 0.6
ET_OEF3710_00005 | TEF0105 | Tropical proportion | Number of spans | 0
ET_OEF3710_00006 | TEF0106 | Standard vehicle access | km | 4196
ET_OEF3710_00007 | TEF0107 | Altitude | km | 10.16
ET_OEF3710_00008 | TEF0108 | Bushfire risk | Number of spans | 788
| TEF02 | TABLE 3.7.2 - NETWORK CHARACTERISTICS
ET_OEF3720_00001 | TEF0201 | Route line length | km | 4544.0648
ET_OEF3720_00002 | TEF0202 | Variability of dispatch | % | 33.34%
ET_OEF3720_00003 | TEF0203 | Concentrated load distance | km | 0
ET_OEF3720_00004 | TEF0204 | Total number of spans | number | 13376
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.7.4 Weather Stations
REGULATORY REPORTING STATEMENT
ElectraNet Pty Limited
Benchmarking RIN response 2013-14
3.7 OPERATING ENVIRONMENT FACTORS
TABLE 3.7.4 - WEATHER STATIONS
| Weather Station ID | Post code | Suburb
ED_OEF374_00001 | ADELAIDE (BRIGHTON) | 5048 | BRIGHTON
ED_OEF374_00002 | ADELAIDE (CLARENCE GARDENS BOWLING CLUB) | 5039 | CLARENCE GARDENS
ED_OEF374_00003 | ADELAIDE (DRY CREEK SALTWORKS) | 5110 | DRY CREEK
ED_OEF374_00004 | ADELAIDE (GLEN OSMOND) | 5065 | LINDEN PARK
ED_OEF374_00005 | ADELAIDE (GORGE WEIR) | 5134 | MONTACUTE
ED_OEF374_00006 | ADELAIDE (HOPE VALLEY RESERVOIR) | 5090 | HOPE VALLEY
ED_OEF374_00007 | ADELAIDE (KENT TOWN ALERT) | 5067 | KENT TOWN
ED_OEF374_00008 | ADELAIDE (KENT TOWN) | 5067 | KENT TOWN
ED_OEF374_00009 | ADELAIDE (KESWICK) | 5035 | KESWICK
ED_OEF374_00010 | ADELAIDE (MAGILL) | 5072 | MAGILL
ED_OEF374_00011 | ADELAIDE (MORPHETT VALE) | 5162 | MORPHETT VALE
ED_OEF374_00012 | ADELAIDE (MORPHETTVILLE RACECOURSE) | 5043 | MORPHETTVILLE
ED_OEF374_00013 | ADELAIDE (POORAKA) | 5095 | POORAKA
ED_OEF374_00014 | ADELAIDE (SALISBURY BOWLING CLUB) | 5108 | SALISBURY
ED_OEF374_00015 | ADELAIDE (SEATON) | 5023 | SEATON
ED_OEF374_00016 | ADELAIDE (SOMERTON PARK) | 5044 | SOMERTON PARK
ED_OEF374_00017 | ADELAIDE (TEA TREE GULLY COUNCIL) | 5097 | ST AGNES
ED_OEF374_00018 | ADELAIDE (TORRENS ISLAND) | 5015 | TORRENS ISLAND
ED_OEF374_00019 | ADELAIDE AIRPORT | 5950 | ADELAIDE AIRPORT
ED_OEF374_00020 | ADELAIDE AIRPORT (ANEMOMETER NORTHEAST) | 5950 | ADELAIDE AIRPORT
ED_OEF374_00021 | ADELAIDE AIRPORT (ANEMOMETER NORTHWEST) | 5950 | ADELAIDE AIRPORT
ED_OEF374_00022 | ADELAIDE AIRPORT (ANEMOMETER SOUTHWEST) | 5950 | ADELAIDE AIRPORT
ED_OEF374_00023 | ADELAIDE AIRPORT ALERT | 5950 | ADELAIDE AIRPORT
ED_OEF374_00024 | AGERY | 5558 | AGERY
ED_OEF374_00025 | ALDGATE | 5154 | ALDGATE
ED_OEF374_00026 | ANDAMOOKA | 5722 | ANDAMOOKA
ED_OEF374_00027 | ANGASTON | 5353 | ANGASTON
ED_OEF374_00028 | APOINGA (WILIVERE) | 5381 | APOINGA
ED_OEF374_00029 | APPILA | 5481 | APPILA
ED_OEF374_00030 | ARDROSSAN | 5571 | ARDROSSAN
ED_OEF374_00031 | ARDROSSAN (MULARA) | 5571 | SANDILANDS
ED_OEF374_00032 | ARDROSSAN (VITANA) | 5571 | ARDROSSAN
ED_OEF374_00033 | ARDROSSAN (WINULTA) | 5571 | WINULTA
ED_OEF374_00034 | ARNO BAY | 5603 | ARNO BAY
ED_OEF374_00035 | ARTHURTON (LOWANDALE) | 5573 | MAITLAND
ED_OEF374_00036 | ASHTON | 5137 | ASHTON
ED_OEF374_00037 | ASHTON CO-OP | 5137 | ASHTON
ED_OEF374_00038 | ATHELSTONE (BLACK HILL) | 5076 | ATHELSTONE
ED_OEF374_00039 | AUBURN | 5451 | AUBURN
ED_OEF374_00040 | AUSTRALIA PLAINS | 5374 | AUSTRALIA PLAINS
ED_OEF374_00041 | AVENUE (DOWNER) | 5271 | AVENUE RANGE
ED_OEF374_00042 | BALAKLAVA | 5461 | BALAKLAVA
ED_OEF374_00043 | BALAKLAVA (DONALEEN) | 5460 | SALTER SPRINGS
ED_OEF374_00044 | BALAKLAVA (WANAPPE) | 5453 | STOW
ED_OEF374_00045 | BALHANNAH (KILLARA PARK) | 5242 | BALHANNAH
ED_OEF374_00046 | BALHANNAH CFS BASESTATION | 5242 | BALHANNAH
ED_OEF374_00047 | BARMERA | 5345 | BARMERA
ED_OEF374_00048 | BAROSSA VALLEY (DUCKPONDS CREEK) | 5353 | STOCKWELL
ED_OEF374_00049 | BEACHPORT | 5280 | BEACHPORT
ED_OEF374_00050 | BEAUMONT | 5066 | BEAUMONT
ED_OEF374_00051 | BELAIR | 5152 | BELAIR
ED_OEF374_00052 | BELAIR (ST JOHNS) | 5052 | BELAIR
ED_OEF374_00053 | BELAIR (STATE FLORA NURSERY) | 5152 | BELAIR
ED_OEF374_00054 | BELLEVUE HEIGHTS | 5050 | BELLEVUE HEIGHTS
ED_OEF374_00055 | BELTANA ROADHOUSE | 5731 | BELTANA STATION
ED_OEF374_00056 | BELTANA STATION | 5710 | BELTANA STATION
ED_OEF374_00057 | BERRI | 5343 | BERRI
ED_OEF374_00058 | BIRDWOOD | 5233 | FORRESTON
ED_OEF374_00059 | BIRDWOOD | 5233 | BIRDWOOD
ED_OEF374_00060 | BIRDWOOD (MCVITTIES HILL) | 5234 | BIRDWOOD
ED_OEF374_00061 | BISCUIT FLAT (WOOLMIT) | 5275 | REEDY CREEK
ED_OEF374_00062 | BLACK HILL | 5353 | BLACK HILL
ED_OEF374_00063 | BLACKWOOD (WITTUNGA) | 5050 | BLACKWOOD
ED_OEF374_00064 | BLANCHETOWN (WYN-MOOR) | 5357 | NOTTS WELL
ED_OEF374_00065 | BLANCHETOWN LOCK 1 | 5357 | BLANCHETOWN
ED_OEF374_00066 | BLINMAN | 5730 | BLINMAN
ED_OEF374_00067 | BLINMAN (ANGORICHINA) | 5730 | ANGORIGINA
ED_OEF374_00068 | BLINMAN (MOOLOOLOO) | 5710 | MOOLOOLOO
ED_OEF374_00069 | BLYTH | 5462 | BLYTH
ED_OEF374_00070 | BOLIVAR TREATMENT WORKS | 5110 | BOLIVAR
| BOOBOROWIE | 5417 | BOOBOROWIE
| BOOL LAGOON (LOCKSLEY FARM) | 5271 | BOOL LAGOON
| BOOLEROO CENTRE | 5482 | BOOLEROO CENTRE
| BOOLEROO CENTRE (WILLOWIE) | 5483 | WILLOWIE
| BOOLEROO WHIM (CALLUM BRAE) | 5483 | BOOLEROO CENTRE
| BORDERTOWN (BEEAMMA SECTION 95) | 5268 | WESTERN FLAT
| BORDERTOWN (INGLEWOOD) | 5268 | SENIOR
| BORDERTOWN (YACCA VALE) | 5268 | WESTERN FLAT
| BORDERTOWN INDUSTRIAL ESTATE | 5270 | BORDERTOWN
| BOWER | 5374 | BOWER
| BOWHILL | 5307 | BOWHILL
| BOWILLIA | 5520 | BOWILLIA
| BOWMANS (PIGELDEE) | 5550 | BOWMANS
| BRIDGEWATER | 5155 | BRIDGEWATER
| BRINKWORTH | 5464 | BRINKWORTH
| BRINKWORTH (ANAMA PARK) | 5464 | HART
| BRINKWORTH (BUNGAREE) | 5453 | BUNGAREE
| BROWNHILL CREEK (SCOTCH COLLEGE) | 5062 | MITCHAM
| BRUCE | 5485 | BRUCE
| BUCKLAND PARK (ADELAIDE-S1-RADAR) | 5501 | MIDDLE BEACH
| BUCKLEBOO (HI-VIEW) | 5641 | BUCKLEBOO
| BURNSIDE | 5066 | BURNSIDE
| BURRA (BILLABONG) | 5418 | BURRA
| BURRA (LEIGHTON) | 5417 | LEIGHTON
| BURRA (POONUNDA) | 5418 | MONGOLATA
| BURRA (WORLDS END) | 5374 | WORLDS END
| BURRA COMMUNITY SCHOOL | 5417 | BURRA
| BUTE | 5560 | BUTE
| BUTLER (MOODY VALE) | 5607 | MOODY
| BUTLER TANKS (NORTH PARNDA) | 5604 | BUTLER
| CALLINGTON | 5254 | CALLINGTON
| CALLINGTON HILL | 5254 | MONARTO
| CALTOWIE | 5490 | CALTOWIE
| CAMBRAI (KONGOLIA) | 5353 | CAMBRAI
| CAPE JAFFA (THE LIMESTONE) | 5275 | CAPE JAFFA
| CARRIETON | 5432 | CARRIETON
| CARRIETON (EURELIA) | 5432 | EURELIA
| CASTAMBUL (SIXTH CREEK) | 5134 | CASTAMBUL
| CHARLESTON | 5244 | CHARLESTON
| CHERRY GARDENS | 5157 | CHERRY GARDENS
| CLARE | 5453 | CLARE
| CLARE (CALCANNIA) | 5453 | BARINIA
| CLARE (HILL RIVER) | 5453 | HILL RIVER
| CLARE (NEAGLES ROCK) | 5453 | CLARE
| CLARE HIGH SCHOOL | 5453 | CLARE
| CLARE SES BASESTATION | 5453 | CLARE
| CLARENDON | 5157 | CLARENDON
| CLEVE | 5640 | CLEVE
| CLEVE (HEGGATON) | 5602 | MANGALO
| CLEVE (NINGANA) | 5642 | CAMPOONA
| CLEVE (PINEVIEW) | 5602 | COWELL
| CLEVE AERODROME | 5640 | CLEVE
| COFFIN BAY | 5607 | COFFIN BAY
| COMMODORE | 5710 | FLINDERS RANGES
| CONCORDIA (TURRETFIELD DAM) | 5352 | KINGSFORD
| COOKE PLAINS | 5261 | COOKE PLAINS
| COOKE PLAINS (KANBARA) | 5264 | ASHVILLE
| COOMANDOOK | 5301 | COOMANDOOK
| COONALPYN | 5265 | COONALPYN
| COONAWARRA | 5277 | COONAWARRA
| COULTA | 5607 | COULTA
| COULTA (COLES POINT) | 5607 | COULTA
| COWELL | 5602 | COWELL
| COWELL (WINTER SPRINGS) | 5602 | MILTALIE
| CRADOCK | 5434 | CRADOCK
| CRADOCK (SLATY CREEK) | 5432 | CRADOCK
| CRAFERS (MT LOFTY) | 5152 | CRAFERS
| CRAFERS WEST | 5152 | CRAFERS WEST
| CRAIGBURN FARM (STURT DAM) | 5051 | CRAIGBURN FARM
| CROMER ROAD | 5235 | MOUNT PLEASANT
| CRYSTAL BROOK | 5523 | CRYSTAL BROOK
| CRYSTAL BROOK SECTION 299 | 5523 | WANDEARAH EAST
| CUDLEE CREEK (MILLBROOK) | 5232 | MILLBROOK
| CUDLEE CREEK (O'DEAS ROAD) | 5232 | CUDLEE CREEK
| CUMMINS | 5631 | CUMMINS
| CUMMINS AERO | 5631 | CUMMINS
| CURRAMULKA | 5580 | CURRAMULKA
| CURRAMULKA NORTH | 5575 | CURRAMULKA
| DARKE PEAK | 5642 | DARKE PEAK
| DAWSON (ANDA-VALE) | 5431 | DAWSON
| DRY CREEK (WINGFIELD) | 5013 | DRY CREEK
| DUFFIELD RAMCO | 5322 | STOCKYARD PLAIN
| DUTTON | 5356 | DUTTON
| ECHUNGA | 5153 | ECHUNGA
| ECHUNGA GOLF COURSE | 5153 | ECHUNGA
| EDEN VALLEY (MT ADAM) | 5235 | FLAXMAN VALLEY
| EDEOWIE | 5730 | FLINDERS RANGES
| EDINBURGH RAAF | 5111 | EDINBURGH
| EDITHBURGH | 5583 | SULTANA POINT
| EUDUNDA | 5374 | EUDUNDA
| EUDUNDA (MOONDAH) | 5374 | HANSBOROUGH
| FARRELL FLAT | 5416 | FARRELL FLAT
| FELIXSTOW (PAYNEHAM) | 5070 | FELIXSTOW
| FINNISS | 5255 | FINNISS
| FRANCES | 5262 | FRANCES
| FREELING | 5372 | FREELING
| FURNER (KENNION SECTION 235) | 5280 | FURNER
| FURNER (WOOMERA HOMESTEAD) | 5280 | FURNER
| GAWLER | 5118 | GAWLER WEST
| GAWLER COUNCIL DEPOT | 5118 | WILLASTON
| GAWLER RIVER (HEASLIP ROAD) | 5117 | ANGLE VALE
| GEORGETOWN | 5472 | GEORGETOWN
| GERANIUM | 5301 | GERANIUM
| GLADSTONE | 5473 | GLADSTONE
| GLUEPOT RESERVE (GLUEPOT) | 5417 | GLUEPOT
| GOOLWA BARRAGE | 5214 | GOOLWA SOUTH
| GOOLWA COUNCIL DEPOT | 5214 | GOOLWA
| GOULD CREEK (HERMITAGE) | 5125 | GOULD CREEK
| GOULD CREEK (LITTLE PARA RESERVOIR) | 5114 | GOULD CREEK
| GREENACRES | 5086 | GREENACRES
| GREENOCK | 5360 | GREENOCK
| GREENOCK | 5360 | GREENOCK
| GREENWAYS (CORTINA) | 5272 | GREENWAYS
| GULNARE | 5470 | GULNARE
| GUMERACHA | 5233 | GUMERACHA
| HAHNDORF | 5245 | HAHNDORF
| HALBURY ROAD, SALISBURY (HALBURY ROAD) | 5108 | PARALOWIE
| HALLETT | 5419 | HALLETT
| HALLETT (ASHROSE) | 5419 | WILLALO
| HALLETT (LORRAINE) | 5419 | WILLALO
| HALLETT (OLD CANOWIE) | 5491 | BELALIE EAST
| HALLETT (ULOOLOO) | 5420 | ULOOLOO
| HAMILTON | 5373 | HAMILTON
| HAMLEY BRIDGE | 5401 | HAMLEY BRIDGE
| HAMLEY BRIDGE | 5400 | HAMLEY BRIDGE
| HAMLEY BRIDGE (LINWOOD) | 5372 | LINWOOD
| HAMMOND (COONATTO) | 5485 | HAMMOND
| HANSBOROUGH | 5373 | HANSBOROUGH
| HAPPY VALLEY RESERVOIR | 5159 | HAPPY VALLEY
| HARROGATE | 5244 | HARROGATE
| HARTLEY (PINE HILL) | 5255 | HARTLEY
| HAWKER | 5434 | HAWKER
| HAWKER (WARCOWIE) | 5434 | HAWKER
| HAWKER (WILSON) | 5433 | KANYAKA
| HEATHFIELD WORKS DEPOT | 5153 | HEATHFIELD
| HILLTOWN | 5453 | HILLTOWN
| HINDMARSH ISLAND (MUNDOO BARRAGE) | 5214 | HINDMARSH ISLAND
| HINDMARSH ISLAND AWS | 5214 | HINDMARSH ISLAND
| HINDMARSH VALLEY (FERNBROOK) | 5211 | HINDMARSH TIERS
| HINDMARSH VALLEY (SPRINGMOUNT) | 5211 | HINDMARSH VALLEY
| HOYLETON (ROCKLEIGH) | 5453 | HOYLETON
| HUDDLESTON (WILLOW PONDS) | 5473 | GEORGETOWN
| INGLEWOOD | 5133 | LOWER HERMITAGE
| INMAN VALLEY | 5211 | INMAN VALLEY
| IRON KNOB | 5601 | IRON KNOB
| IRON KNOB (GILLES DOWNS) | 5600 | GILLES DOWNS
| IRON KNOB (PANDURRA) | 5710 | PANDURRA
| IRONSTONE ROAD | 5231 | FORRESTON
| JAMESTOWN | 5491 | JAMESTOWN
| JAMESTOWN PIRSA | 5491 | JAMESTOWN
| KADINA AWS | 5554 | KADINA
| KALANGADOO | 5278 | KALANGADOO
| KALANGADOO (MIRNAT) | 5278 | TRIHI
| KANGARILLA (SADDLEBAGS) | 5157 | KANGARILLA
| KANMANTOO | 5252 | KANMANTOO
| KANMANTOO (MILLBRAE) | 5244 | HARROGATE
| KAPUNDA | 5373 | KAPUNDA
| KAPUNDA (BAGOT WELL) | 5373 | BAGOT WELL
| KAROONDA | 5307 | KAROONDA
| KEITH | 5267 | KEITH
| KEITH (MUNKORA) | 5267 | KEITH
| KERSBROOK | 5231 | KERSBROOK
| KERSBROOK (MABENJO) | 5114 | KERSBROOK
| KEYNETON | 5353 | KEYNETON
| KEYNETON (SEDAN HILL) | 5353 | KEYNETON
| KI KI (MOORILLA) | 5261 | KI KI
| KILBURN | 5084 | KILBURN
| KIMBA | 5641 | KIMBA
| KIMBA (CURTINYE) | 5641 | KELLY
| KIMBA (MELALEUCA) | 5641 | PINKAWILLINIE
| KINGSTON ON MURRAY | 5331 | KINGSTON ON MURRAY
| KINGSTON SE | 5275 | KINGSTON SE
| KINGSTON SE (KEILIRA STATION) | 5271 | KEILIRA
| KINGSTON SE (MOREVIEW) | 5271 | BLACKFORD
| KOOLUNGA | 5464 | KOOLUNGA
| KOONGAWA (RETAWON) | 5650 | KOONGAWA
| KOPPIO | 5605 | KOPPIO
| KUITPO FOREST RESERVE | 5157 | KUITPO
| KYANCUTTA | 5650 | KYANCUTTA
| KYANCUTTA (BILLABOWIE) | 5650 | WARRAMBOO
| KYANCUTTA (KYANBRAE) | 5650 | KYANCUTTA
| KYBUNGA (CLOVERLEA) | 5453 | SPRING GULLY
| LAKE GEORGE (MAHARISHI VEDIC COLLEGE) | 5280 | BEACHPORT
| LAKE LEAKE (KOOEEYONG) | 5280 | KOORINE
| LANGHORNE CREEK | 5255 | LANGHORNE CREEK
| LAURA | 5480 | LAURA
| LAURA (BEETALOO RESERVOIR) | 5480 | BEETALOO VALLEY
| LEAWOOD GARDENS (EAGLE ON THE HILL) | 5152 | LEAWOOD GARDENS
| LEIGH CREEK (MAYNARDS WELL) | 5710 | MANNERS WELL
| LEIGH CREEK (NORTH MOOLOOLOO) | 5710 | NORTH MOOLOOLOO
| LEIGH CREEK (PFITZNERS WELL) | 5710 | NORTH MOOLOOLOO
| LEIGH CREEK AIRPORT | 5710 | LEIGH CREEK
| LENSWOOD (STRINGYBARK) | 5134 | LENSWOOD
| LENSWOOD RESEARCH CENTRE | 5240 | LENSWOOD
| LOBETHAL | 5241 | LOBETHAL
| LOBETHAL | 5241 | LOBETHAL
| LOBETHAL (MAIDMENT ROAD) | 5244 | LOBETHAL
| LOCK | 5633 | LOCK
| LOCK (CALLAMONDAH) | 5607 | MURDINGA
| LOCK (TERRAH WINDS) | 5633 | LOCK
| LONG RIDGE (GREENHILL) | 5140 | GREENHILL
| LONGWOOD | 5153 | BRADBURY
| LONGWOOD | 5153 | MYLOR
| LOWALDIE (CARRAMAR STUD) | 5307 | KAROONDA
| LOXTON (PYAP) | 5333 | PYAP
| LOXTON RESEARCH CENTRE | 5333 | LOXTON
| LUCINDALE (GREENVALE) | 5271 | WOOLUMBOOL
| LUCINDALE POST OFFICE | 5272 | LUCINDALE
| LYNDHURST | 5731 | LYNDHURST
| LYNDOCH | 5351 | LYNDOCH
| LYNTON (METRO SOUTH SES BASESTATION | 5062 | LYNTON
| LYRUP | 5343 | LYRUP
| MACCLESFIELD | 5201 | MACCLESFIELD
| MAGPIE CORNER (MURRAY'S COTTAGES) | 5277 | MAAOUPE
| MAITLAND | 5573 | MAITLAND
| MAITLAND (CARINYA) | 5573 | MAITLAND
| MAITLAND (KILKERRAN) | 5573 | MAITLAND
| MALLALA | 5502 | MALLALA
| MALLALA (DOLAGHANS CROSSING) | 5502 | REDBANKS
| MAMBRAY CREEK (BERNIE'S BLOCK) | 5495 | MAMBRAY CREEK
| MANGALO | 5602 | MANGALO
| MANNANARIE | 5431 | MANNANARIE
| MANNUM COUNCIL DEPOT | 5238 | MANNUM
| MANOORA | 5413 | MANOORA
| MANOORA (COOINDA) | 5415 | MINTARO
| MANTUNG | 5308 | MANTUNG
| MARAMA | 5307 | MARAMA
| MARRABEL | 5413 | MARRABEL
| MCLAREN FLAT (BELTUNGA) | 5171 | MCLAREN FLAT
| MCLAREN VALE (PIRRAMIMMA WINERY) | 5171 | MCLAREN VALE
| MEADOWS | 5201 | MEADOWS
| MELROSE | 5483 | MELROSE
| MELROSE (PARA GUMS) | 5483 | MELROSE
| MELROSE PARK | 5039 | MELROSE PARK
| MENINGIE | 5264 | MENINGIE
| MENINGIE (EGRETTA) | 5264 | MENINGIE
| MENINGIE (GREEN PLAINS) | 5264 | MENINGIE
| MENINGIE (MILL PARK) | 5264 | MENINGIE
| MENINGIE (NARANGA) | 5261 | FIELD
| MENINGIE (WALTOWA) | 5264 | WALTOWA
| MICHAEL PERRY RESERVE, STONYFELL (S | 5066 | BURNSIDE
| MILANG | 5256 | MILANG
| MILANG (NAVARINO) | 5255 | ANGAS PLAINS
| MILANG (POINT STURT) | 5256 | POINT STURT
| MILLICENT | 5280 | MILLICENT
| MINLATON | 5575 | MINLATON
| MINLATON (EVERSLEY) | 5575 | MINLATON
| MINLATON AERO | 5575 | MINLATON
| MINNIPA | 5654 | MINNIPA
| MINNIPA (MOONLIGHT FLAT) | 5654 | MOUNT DAMPER
| MINNIPA (WISTILLERE) | 5654 | MINNIPA
| MINNIPA PIRSA | 5654 | MINNIPA
| MINTARO | 5415 | MINTARO
| MINTARO (MARTINDALE) | 5415 | MINTARO
| MITCHELL PARK (MARION) | 5043 | MITCHELL PARK
| MONARTO SOUTH (MONARTO SECTION 307) | 5254 | MONARTO SOUTH
| MONARTO ZOOLOGICAL PARK | 5254 | MONARTO
| MONTACUTE | 5134 | MONTACUTE
| MOONTA | 5558 | MOONTA
| MOONTA (WARBURTO POINT) | 5554 | WARBURTO
| MOOROOK | 5332 | MOOROOK SOUTH
| MORCHARD (THE ROCKS) | 5431 | PEKINA
| MORGAN (BRENDA PARK STATION) | 5320 | MORGAN
| MORPHETTVILLE | 5043 | MORPHETTVILLE
| MOUNT BARKER | 5251 | MOUNT BARKER
| MOUNT BOLD RESERVOIR | 5157 | DORSET VALE
| MOUNT BRYAN | 5418 | MOUNT BRYAN
| MOUNT COMPASS | 5210 | MOUNT COMPASS
| MOUNT CRAWFORD (MT CRAWFORD AWS) | 5351 | MOUNT CRAWFORD
| MOUNT CRAWFORD FOREST HEADQUARTERS | 5351 | MOUNT CRAWFORD
| MOUNT GAMBIER (BLUE LAKE HOLIDAY PARK) | 5290 | MOUNT GAMBIER
| MOUNT GAMBIER AERO | 5291 | WANDILO
| MOUNT GAMBIER COUNCIL DEPOT | 5290 | MOUNT GAMBIER
| MOUNT LOFTY | 5152 | CRAFERS
| MOUNT LOFTY (CLELAND CONSERVATION PARK) | 5152 | CLELAND
| MOUNT MARY | 5320 | MOUNT MARY
| MOUNT PENNY | 5275 | TINTINARA
| MOUNT PLEASANT | 5235 | MOUNT PLEASANT
| MOUNT REMARKABLE (ALLIGATOR GORGE) | 5485 | WILMINGTON
| MOUNT SCHANK (JETHIA) | 5291 | MOUNT SCHANK
| MOUNT TEMPLETON (GLENALBYN) | 5461 | MOUNT TEMPLETON
| MOUNT WILSON | 5171 | MCLAREN FLAT
| MOUNT WUDINNA | 5652 | WUDINNA
| MOUNT ZION | 5480 | BEETALOO VALLEY
| MT BOLD (SCOTT CREEK) | 5157 | DORSET VALE
| MT TORRENS | 5234 | MOUNT TORRENS
| MULGUNDAWA SALT | 5259 | MULGUNDAWA
| MUNDOORA | 5521 | MUNDOORA
| MUNDOORA (BARUNGA NORTH) | 5555 | MUNDOORA
| MURBKO | 5330 | MURBKO
| MURDINGA (MUNGALA) | 5642 | MURLONG
| MURRAY BRIDGE (LOOMOOLOO) | 5254 | MONARTO SOUTH
| MURRAY BRIDGE (PALLAMANA AERODROME) | 5254 | PALLAMANA
| MURRAY BRIDGE (TEPKO) | 5254 | TEPKO
| MURRAY BRIDGE COMPARISON | 5253 | MURRAY BRIDGE
| MURRAY TOWN (MURRATANA) | 5483 | BANGOR
| MYLOR (BIGGS FLAT) | 5153 | MYLOR
| MYPONGA | 5202 | MYPONGA
| MYPONGA (LOVELY VALLEY) | 5211 | HINDMARSH TIERS
| MYPONGA RESERVOIR | 5202 | MYPONGA
| NAIRNE | 5252 | NAIRNE
| NANGWARRY FORESTRY SA DEPOT | 5277 | NANGWARRY
| NANTAWARRA (PINE GULLY) | 5550 | NANTAWARRA
| NARACOORTE (BETTWS-Y-COED) | 5271 | STEWART RANGE
| NARACOORTE (VIEW BANK) | 5271 | LOCHABER
| NARACOORTE AERODROME | 5271 | NARACOORTE
| NARRUNG (YALKURI) | 5259 | NARRUNG
| NETHERTON (ROCKLEY GRAZIERS) | 5301 | NETHERTON
| NEW WELL (MARFIELD) | 5357 | NEW WELL
| NILDOTTIE | 5238 | NILDOTTIE
| NILDOTTIE (MOBRAE PARK) | 5238 | NILDOTTIE
| NOARLUNGA | 5168 | NOARLUNGA DOWNS
| NORMANVILLE | 5204 | YANKALILLA
| NORTH ADELAIDE | 5006 | NORTH ADELAIDE
| NORTH SHIELDS (PORT LINCOLN AERODROME) | 5607 | NORTH SHIELDS
| NORTH SHIELDS (PORT LINCOLN AWS) | 5607 | NORTH SHIELDS
| NURIOOTPA | 5355 | NURIOOTPA
| NURIOOTPA TOWN BRIDGE | 5355 | NURIOOTPA
| NURIOOTPA VITICULTURAL | 5355 | NURIOOTPA
| OAKDALE | 5607 | TOOLIGIE
| ORROROO | 5431 | ORROROO
| ORROROO (BLACK ROCK) | 5431 | BLACK ROCK
| ORROROO (KYLMORN) | 5431 | ERSKINE
| OUTER HARBOUR (BLACK POLE) | NIL | NIL
| OVERLAND CORNER | 5345 | OVERLAND CORNER
| OWEN | 5460 | OWEN
| PADTHAWAY (MARCOLLAT) | 5271 | MARCOLLAT
| PADTHAWAY (SEPPELTS ROAD) | 5271 | PADTHAWAY
| PADTHAWAY SOUTH | 5271 | PADTHAWAY
| PALMER | 5237 | PALMER
| PARACHILNA (MOTPENA) | 5710 | MOTPENA
| PARACHILNA (NILPENA) | 5710 | NILPENA
| PARACOMBE (KANGAROO CREEK DAM) | 5132 | PARACOMBE
| PARADISE, SA 5075 (ATHELSTONE) | 5075 | PARADISE
| PARAFIELD AIRPORT | 5106 | PARAFIELD
| PARINGA LOCK 5 | 5343 | PARINGA
| PARRAKIE | 5301 | PARRAKIE
| PASKEVILLE | 5552 | PASKEVILLE
| PEAKE | 5301 | PEAKE
| PELICAN POINT | 5291 | PELICAN POINT
| PENOLA POST OFFICE | 5277 | PENOLA
| PERPONDA | 5307 | PERPONDA
| PETERBOROUGH | 5422 | PETERBOROUGH
| PETERBOROUGH (AMELIA PARK) | 5440 | UCOLTA
| PETERSVILLE | 5571 | MAITLAND
| PICCADILLY (MOUNT LOFTY BOTANIC GARDENS) | 5152 | CRAFERS
| PICCADILLY (WOODHOUSE) | 5144 | PICCADILLY
| PINE POINT (AMELIA DOWNS) | 5571 | PINE POINT
| POINT PASS | 5374 | POINT PASS
| POLICEMAN POINT | 5264 | COORONG
| PORT AUGUSTA (CARRIEWERLOO STN) | 5710 | CARRIEWERLOO
| PORT AUGUSTA (STIRLING NORTH) | 5710 | STIRLING NORTH
| PORT AUGUSTA AERO | 5700 | PORT AUGUSTA WEST
| PORT AUGUSTA POWER STATION | 5710 | PORT PATERSON
| PORT AUGUSTA WEST | 5700 | PORT AUGUSTA WEST
| PORT BROUGHTON | 5522 | PORT BROUGHTON
| PORT BROUGHTON (WANDEARAH) | 5523 | WANDEARAH EAST
| PORT CLINTON (KADDYINNA) | 5570 | CLINTON
| PORT CLINTON (YARAROO) | 5570 | KAINTON
| PORT ELLIOT CARAVAN PARK | 5212 | PORT ELLIOT
| PORT GAWLER (BUCKLAND PARK) | 5501 | MIDDLE BEACH
| PORT GERMEIN | 5495 | PORT GERMEIN
| PORT GERMEIN (GOWAN BRAE) | 5540 | TELOWIE
| PORT LINCOLN (BIG SWAMP) | 5607 | PEARLAH
| PORT LINCOLN (WESTMERE) | 5606 | SLEAFORD
| PORT LINCOLN (WHITE FLAT) | 5607 | WHITES FLAT
| PORT LINCOLN (WOOLGA) | 5607 | GREEN PATCH
| PORT LINCOLN SOUTH | 5606 | PORT LINCOLN
| PORT NEILL | 5604 | PORT NEILL
| PORT PARHAM | 5501 | PARHAM
| PORT PIRIE AERODROME | 5540 | PIRIE EAST
| PORT VICTORIA | 5573 | PORT VICTORIA
| PORT VINCENT | 5581 | PORT VINCENT
| PORT WAKEFIELD | 5550 | PORT WAKEFIELD
| PORT WAKEFIELD (PAREORA) | 5550 | PORT WAKEFIELD
| PRICE | 5571 | PRICE
| PROSPECT HILL | 5201 | PROSPECT HILL
| PURNONG (CLAYPANS) | 5238 | CLAYPANS
| QUORN | 5433 | QUORN
| QUORN (DEPOT FLAT) | 5433 | YARRAH
| QUORN (OLIVE GROVE) | 5433 | QUORN
| RED CREEK (BURWOOD) | 5255 | RED CREEK
| REDHILL | 5521 | REDHILL
| REEVES PLAINS (PARANA PARK) | 5501 | REEVES PLAINS
| REGENCY PARK | 5010 | REGENCY PARK
| RENMARK AERO | 5341 | OLD CALPERUM
| RENMARK IRRIGATION | 5341 | RENMARK
| RHYNIE | 5412 | WOOLSHED FLAT
| RHYNIE (SALTERS SPRINGS) | 5460 | SALTER SPRINGS
| RIVERTON | 5412 | RIVERTON
| RIVERTON (LEEWARD) | 5412 | RIVERTON
| RIVERTON (MAROOMBA) | 5411 | RIVERTON
| ROBE (BISCUIT FLAT) | 5272 | CONMURRA
| ROBE AIRFIELD | 5275 | ROBE
| ROBE COMPARISON | 5276 | ROBE
| ROBERTSTOWN | 5381 | ROBERTSTOWN
| ROCKLEIGH (BLACK HEATH) | 5236 | ROCKLEIGH
| ROSEDALE (TURRETFIELD RESEARCH CENTRE) | 5352 | ROSEDALE
| ROSEWORTHY | 5118 | ROSEWORTHY
| ROSEWORTHY AWS | 5400 | WASLEYS
| ROSSLYN PARK (SEAVIEW) | 5072 | ROSSLYN PARK
| ROSTREVOR (STRADBROKE) | 5073 | ROSTREVOR
| ROWLAND FLAT (NEW JACOBS CREEK) | 5351 | ROWLAND FLAT
| ROXBY DOWNS (OLYMPIC DAM AERODROME) | 5725 | OLYMPIC DAM
| ROXBY DOWNS (PARAKYLIA STATION) | 5710 | PARAKYLIA
| ROXBY DOWNS STATION | 5710 | ROXBY DOWNS STATION
| RUDALL (SWAFFPRO) | 5642 | RUDALL
| SADDLEWORTH | 5413 | SADDLEWORTH
| SADDLEWORTH | 5413 | SADDLEWORTH
| SALT CREEK (PITLOCHRY HOMESTEAD) | 5275 | DEEPWATER
| SALT CREEK (PITLOCHRY OUTSTATION 1) | 5275 | TILLEY SWAMP
| SANDILANDS | 5571 | SANDILANDS
| SEDAN | 5354 | SEDAN
| SEDAN (SANDLETON) | 5356 | SANDLETON
| SEDAN (YOOKAMURRA SANCTUARY) | 5354 | FISHER
| SELLICKS BEACH | 5173 | ALDINGA BEACH
| SELLICKS HILL (MOUNT TERRIBLE RADAR | 5172 | SELLICKS HILL
| SEVENHILL | 5453 | SEVENHILL
| SHEA-OAK LOG (GREENOCK CREEK) | 5355 | SHEA-OAK LOG
| SHERLOCK (WARRANA) | 5301 | SHERLOCK
| SMITHFIELD | 5114 | SMITHFIELD
| SNOWTOWN (BANYULA) | 5555 | WOKURNA
| SNOWTOWN (CONDOWIE) | 5555 | CONDOWIE
| SNOWTOWN (RAYVILLE PARK) | 5555 | SNOWTOWN
| SPALDING | 5454 | SPALDING
| SPALDING (BUNDALEER RESERVOIR) | 5471 | SPALDING
| SPICER FLAT | 5575 | KOOLYWURTIE
| ST KITTS | 5373 | ST KITTS
| STANSBURY | 5582 | STANSBURY
| STEINGARTEN VINEYARD (STEINGARTEN) | 5351 | ROWLAND FLAT
| STOCKPORT (CLIFTON) | 5410 | STOCKPORT
| STOCKPORT (STOCKWELL ROAD BRIDGE) | 5355 | LIGHT PASS
| STRATHALBYN | 5255 | STRATHALBYN
| STRATHALBYN RACECOURSE | 5255 | STRATHALBYN
| STRUAN | 5271 | STRUAN
| SUTHERLANDS | 5374 | SUTHERLANDS
| SWAN REACH | 5354 | SWAN REACH
| SWAN REACH (PONDEROSA) | 5354 | FISHER
| TAILEM BEND | 5260 | TAILEM BEND
| TAILEM BEND (RIVER DOWNS (NATURI)) | 5261 | NATURI
| TAILEM BEND (WOODLANDS) | 5254 | CHAPMAN BORE
| TALDRA | 5333 | TALDRA
| TANTANOOLA | 5280 | TANTANOOLA
| TANUNDA | 5352 | TANUNDA
| TAPLAN | 5333 | TAPLAN
| TARCOWIE | 5431 | TARCOWIE
| TARCOWIE (OAKLANDS) | 5431 | TARCOWIE
| TARLEE | 5411 | TARLEE
| TARLEE (HAZELTON) | 5412 | GILES CORNER
| TARNMA | 5373 | HAMILTON
| TEROWIE | 5421 | TEROWIE
| TICKERA | 5555 | TICKERA
| TINTINARA | 5266 | TINTINARA
| TINTINARA (COLEBATCH DOWNS) | 5275 | COLEBATCH
| TINTINARA (RICHARDS) | 5275 | TINTINARA
| TRURO | 5356 | TRURO
| TUMBY BAY | 5605 | TUMBY BAY
| TUMBY BAY (WARRATTA VALE) | 5605 | LIPSON
| TUMBY BAY (YADNARIE) | 5605 | TUMBY BAY
| TWO WELLS | 5501 | TWO WELLS
| UNGARRA | 5604 | UNGARRA
| UNLEY (ROBERTS STREET) | 5061 | UNLEY
| UPPER HERMITAGE | 5131 | UPPER HERMITAGE
| URAIDLA | 5142 | URAIDLA
| URAIDLA (SUTTON CREEK) | 5144 | URAIDLA
| VERDUN | 5242 | VERDUN
| VICTOR HARBOR (BERRIMA) | 5211 | MOUNT JAGGED
| VICTOR HARBOR (ENCOUNTER BAY) | 5211 | VICTOR HARBOR
| VICTOR HARBOR (RIVINGTON GRANGE) | 5211 | BACK VALLEY
| WADDIKEE | 5641 | WADDIKEE
| WAIKERIE (EREMOPHILA PARK) | 5308 | WOOLPUNDA
| WAIKERIE COUNCIL WORKS DEPOT | 5308 | WAIKERIE
| WALLAROO | 5556 | WALLAROO
| WANILLA | 5607 | WANILLA
| WAROOKA | 5577 | WAROOKA
| WARRAMBOO | 5650 | WARRAMBOO
| WATERFALL GULLY (WATERFALL) | 5064 | WATERFALL GULLY
| WATERVALE | 5452 | WATERVALE
| WEETULTA | 5572 | WEETULTA
| WELLINGTON (BRINKLEY SOUTH) | 5259 | BRINKLEY
| WHARMINDA | 5603 | WHARMINDA
| WHYALLA (BROADVIEW STATION) | 5600 | MIDDLEBACK RANGE
| WHYALLA (MOOLA) | 5600 | MIDDLEBACK RANGE
| WHYALLA (MOUNT YOUNG) | 5600 | MIDDLEBACK RANGE
| WHYALLA (MULLAQUANA) | 5600 | MIDDLEBACK RANGE
| WHYALLA AERO | 5600 | MULLAQUANA
| WHYTE YARCOWIE | 5420 | WHYTE YARCOWIE
| WHYTE-YARCOWIE (GUM PARK) | 5420 | CANOWIE BELT
| WIGTON FLAT (DOWLINGVILLE) | 5571 | DOWLINGVILLE
| WILLALOOKA (NIOKA) | 5267 | WILLALOOKA
| WILLALOOKA (YARDOOKRA) | 5267 | WILLALOOKA
| WILLIAMSTOWN | 5351 | WILLIAMSTOWN
| WILLIAMSTOWN (GLEN GILLIAN) | 5351 | WILLIAMSTOWN
| WILLIAMSTOWN (SOUTH PARA RESERVOIR) | 5351 | WILLIAMSTOWN
| WILLOCHRA PLAIN (GUM GLEN) | 5433 | WILLOCHRA
| WILLUNGA | 5172 | WILLUNGA
| WILLUNGA HILL | 5172 | WILLUNGA SOUTH
| WILMINGTON | 5485 | WILMINGTON
| WILMINGTON (STONEHAVEN) | 5485 | WILMINGTON
| WILPENA (ORAPARINNA) | 5730 | FLINDERS RANGES
| WILPENA POUND | 5730 | FLINDERS RANGES
| WIRRABARA | 5481 | WIRRABARA
| WIRRABARA FOREST | 5481 | WIRRABARA
| WIRREGA (TAUNTON) | 5267 | WIRREGA
| WOLSELEY | 5269 | WOLSELEY
| WOLSELEY (HONITON) | 5269 | POOGINAGORIC
| WOODSIDE | 5244 | WOODSIDE
| WOODSIDE (INVERBRACKIE) | 5244 | WOODSIDE
| WOODSIDE (WICKS ESTATE) | 5244 | WOODSIDE
| WOOLGANGI | 5417 | WARNES
| WOOMERA (ARCOONA) | 5720 | ARCOONA
| WOOMERA (OAKDEN HILLS) | 5720 | OAKDEN HILLS
| WOOMERA (PERNATTY STATION) | 5720 | PERNATTY
| WOOMERA (SOUTH GAP STATION) | 5720 | SOUTH GAP
| WOOMERA AERODROME | 5710 | WOOMERA
| WORLDS END (NARKUNDA) | 5381 | HALLELUJAH HILLS
| WRATTONBULLY (JOEVILLE) | 5271 | WRATTONBULLY
| WUDINNA | 5652 | WUDINNA
| WUDINNA (LOOKOUT) | 5653 | WUDINNA
| WUDINNA AERO | 5653 | WUDINNA
| YACKA | 5470 | YACKA
| YALLUNDA FLAT (MEETIGILLY) | 5605 | YALLUNDA FLAT
| YANINEE | 5653 | YANINEE
| YANKALILLA | 5203 | YANKALILLA
| YEELANA (BROOKER) | 5607 | BROOKER
| YEELANNA | 5632 | YEELANNA
| YONGALA | 5431 | YONGALA
| YORKETOWN | 5576 | YORKETOWN
| YUDNAPINNA | 5710 | YUDNAPINNA
| YUNDI (MUNDAWORA) | 5172 | YUNDI
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents