## Contents
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2013-14
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
1.0 Business & other details
3.7.4 Weather stations
3.2.3 Provisions

## 1.0 Business & other details
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2013-14
1.2 BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings.
TABLE 1.2.1 - SUBMISSION PARTICULARS INPUT SHEET
Entity details
Trading name | Endeavour Energy
ACN / ABN | 59253130878
Business address | Address 1 |  | 51 Huntingwood Drive
Address 2
| Suburb |  | Huntingwood
|  | State | NSW | p/code | 1730
Postal address | Address 1
Address 2
Suburb
|  | State |  | p/code
Contact name/s
Contact phone/s
Contact email address/s
Regulatory year | Financial / Other
2013-14
Sector | Electricity
Segment | Distribution
Source | Regulatory proposal
Regulatory Year | 2013-14
Reporting Period Type | Financial Year
RIN Type | EB
Security Classification | Public
Estimated or actual | Consolidated Public
RIN response - version no. | 1
RIN response - amendment reason | 20211110 - #13031491 - 3.5 physical assets revised 20220222 - Amendments to 3.5 from 2019 - #13,581,931 25022022 - Amendments to section 3.5 #13,571,283
RIN template - version no. | 2
Contents

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2013-14
3.1 REVENUE
|  |  |  | Standard control services | Alternative control services
Actual ($000s)
|  |  |  | 2013-14 | 2013-14
TABLE 3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
ED_REV311_00001 | DREV0101 | Revenue from Fixed Customer Charges |  | 168485.2349 | 0
ED_REV311_00002 | DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant |  | 561283.6321 | 0
ED_REV311_00003 | DREV0103 | Revenue from On–Peak Energy Delivery charges |  | 43242.9519 | 0
ED_REV311_00004 | DREV0104 | Revenue from Shoulder period Energy Delivery Charges |  | 18364.7729 | 0
ED_REV311_00005 | DREV0105 | Revenue from Off–Peak Energy Delivery charges |  | 3221.4293 | 0
ED_REV311_00006 | DREV0106 | Revenue from controlled load customer charges |  | 5938.0953 | 0
ED_REV311_00007 | DREV0107 | Revenue from unmetered supplies |  | 11529.3471 | 0
ED_REV311_00008 | DREV0108 | Revenue from Contracted Maximum Demand charges |  | 0 | 0
ED_REV311_00009 | DREV0109 | Revenue from Measured Maximum Demand charges |  | 184385.9062 | 0
ED_REV311_00010 | DREV0110 | Revenue from metering charges |  | 0 | 0
ED_REV311_00011 | DREV0111 | Revenue from connection charges |  | 0 | 0
ED_REV311_00012 | DREV0112 | Revenue from public lighting charges |  | 0 | 20496.223
ED_REV311_00013 | DREV0113 | Revenue from other Sources |  | 13447.1706 | 0
| DREV01 | Total revenue by chargeable quantity | $'000 | 1009898.5404 | 20496.223
TABLE 3.1.2 REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
ED_REV312_00001 | DREV0201 | Revenue from residential Customers |  | 533450.1168 | 0
ED_REV312_00002 | DREV0202 | Revenue from Non residential customers not on demand tariffs |  | 184674.4241 | 0
ED_REV312_00003 | DREV0203 | Revenue from Non-residential low voltage demand tariff customers |  | 187163.6138 | 0
ED_REV312_00004 | DREV0204 | Revenue from Non-residential high voltage demand tariff customers |  | 79633.868 | 0
ED_REV312_00005 | DREV0205 | Revenue from unmetered supplies |  | 11529.3471 | 0
ED_REV312_00006 | DREV0206 | Revenue from Other Customers |  | 13447.1706 | 20496.223
| DREV02 | Total revenue by customer class | $'000 | 1009898.5404 | 20496.223
TABLE 3.1.3 REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
ED_REV313_00001 | DREV0301 | EBSS |  | 0 | 0
ED_REV313_00002 | DREV0302 | STPIS |  | 0 | 0
ED_REV313_00003 | DREV0303 | F-Factor |  | 0 | 0
ED_REV313_00004 | DREV0304 | S-Factor True up |  | 0 | 0
ED_REV313_00005 | DREV0305 | Other |  | 7221.917 | 0
| DREV03 | Total revenue of incentive schemes | $'000 | 7221.917 | 0
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL

## 3.2 Opex
|  | REGULATORY REPORTING STATEMENT |  |  | Worksheet navigation
Endeavour Energy
Benchmarking RIN response 2013-14
3.2 OPERATING EXPENDITURE
Instructions
Endeavour Energy must fill in opex in table 3.2.1 for opex categories reported in response to its annual reporting RIN.
|  |  |  | Standard control services | Alternative control services
Actual ($000s)
|  |  |  | 2013-14 | 2013-14
TABLE 3.2.1 - OPEX CATEGORIES
Table 3.2.1.1 Current opex categories and cost allocations
| DOPEX0101 | Network Operating costs |  | 39298.1534 | 0
| DOPEX0102 | Inspection |  | 26660.23 | 0
| DOPEX0103 | Pole replacement |  | 0 | 0
| DOPEX0104 | Maintenance and repair |  | 51060.6842 | 0
| DOPEX0105 | Vegetation Management |  | 71140.3441 | 0
| DOPEX0106 | Emergency Response |  | 40713.8296 | 0
| DOPEX0107 | Other NM operating costs |  | 25237.8989 | 0
| DOPEX0108 | Non-network alternatives (demand management) |  | 0 | 0
| DOPEX0109 | Meter reading |  | 20337.7657 | 0
| DOPEX0110 | Customer service |  | 8605.9643 | 0
| DOPEX0111 | Advertising, marketing and promotions |  | 0 | 0
| DOPEX0112 | Other operating expenditures |  | 24368.2452 | 11775.9573
DOPEX0113
DOPEX0114
DOPEX0115
DOPEX0116
DOPEX0117
DOPEX0118
DOPEX0119
DOPEX0120
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
ED_OPX3211_99999 | DOPEX01 | Total opex | ($'000) | 307423.1154 | 11775.9573
|  | Table 3.2.1.2A - Historical opex categories and cost allocations |  | 2013-14 | 2013-14
| DOPEX0101A | Network Operating costs |  | 39298.1534 | 0
| DOPEX0102A | Inspection |  | 26660.23 | 0
| DOPEX0103A | Pole replacement |  | 0 | 0
| DOPEX0104A | Maintenance and repair |  | 51060.6842 | 0
| DOPEX0105A | Vegetation Management |  | 71140.3441 | 0
| DOPEX0106A | Emergency Response |  | 40713.8296 | 0
| DOPEX0107A | Other network maintenance costs |  | 25237.8989 | 0
| DOPEX0108A | Non-network alternatives (demand management) |  | 0 | 0
| DOPEX0109A | Meter reading |  | 20337.7657 | 0
| DOPEX0110A | Customer service |  | 8605.9643 | 0
| DOPEX0111A | Advertising, marketing and promotions |  | 0 | 0
| DOPEX0112A | Other operating expenditures |  | 24368.2452 | 11775.9573
DOPEX0113A
DOPEX0114A
DOPEX0115A
DOPEX0116A
DOPEX0117A
DOPEX0118A
DOPEX0119A
DOPEX0120A
DOPEX0121A
DOPEX0122A
DOPEX0123A
DOPEX0124A
DOPEX0125A
DOPEX0126A
DOPEX0127A
DOPEX0128A
DOPEX0129A
DOPEX0130A
DOPEX0131A
DOPEX0132A
DOPEX0133A
DOPEX0134A
DOPEX0135A
DOPEX0136A
DOPEX0137A
DOPEX0138A
DOPEX0139A
DOPEX0140A
DOPEX0141A
DOPEX0142A
ED_OPX3212A_99999 | DOPEX01A | Total opex | ($'000) | 307423.1154 | 11775.9573
|  | Table 3.2.1.2B - Historical opex categories and cost allocations |  | 2013-14 | 2013-14
| DOPEX0101B | Operating costs |  | 0 | 0
| DOPEX0102B | Inspection |  | 0 | 0
| DOPEX0103B | Pole replacement |  | 0 | 0
| DOPEX0104B | Maintenance and repair |  | 0 | 0
| DOPEX0105B | Vegetation Management |  | 0 | 0
| DOPEX0106B | Emergency Response |  | 0 | 0
| DOPEX0107B | Other distribution maintenance costs (specify any component that exceeds 5% of total maintenance costs) |  | 0 | 0
| DOPEX0108B | Meter reading costs (exclude meter services Type 1 to 4) |  | 0 | 0
| DOPEX0109B | Customer service |  | 0 | 0
| DOPEX0110B | Advertising, marketing and promotions |  | 0 | 0
| DOPEX0111B | Other expenses (specify any component that exceeds 5% of total operating costs) |  | 0 | 0
| DOPEX0112B | Cost associated with public lighting maintenance |  | 0 | 0
| DOPEX0113B | Energy Saving Fund (Should be excluded - part of gross margin not opex) |  | 0 | 0
DOPEX0114B
DOPEX0115B
DOPEX0116B
DOPEX0117B
DOPEX0118B
DOPEX0119B
DOPEX0120B
DOPEX0121B
DOPEX0122B
DOPEX0123B
DOPEX0124B
DOPEX0125B
DOPEX0126B
DOPEX0127B
DOPEX0128B
DOPEX0129B
DOPEX0130B
DOPEX0131B
DOPEX0132B
DOPEX0133B
DOPEX0134B
DOPEX0135B
DOPEX0136B
DOPEX0137B
DOPEX0138B
DOPEX0139B
DOPEX0140B
DOPEX0141B
DOPEX0142B
ED_OPX3212B_99999 | DOPEX01B | Total opex | ($'000) | 0 | 0
|  | Table 3.2.1.2C - Historical opex categories and cost allocations |  | 2013-14 | 2013-14
DOPEX0101C
DOPEX0102C
DOPEX0103C
DOPEX0104C
DOPEX0105C
DOPEX0106C
DOPEX0107C
DOPEX0108C
DOPEX0109C
DOPEX0110C
DOPEX0111C
DOPEX0112C
DOPEX0113C
DOPEX0114C
DOPEX0115C
DOPEX0116C
DOPEX0117C
DOPEX0118C
DOPEX0119C
DOPEX0120C
DOPEX0121C
DOPEX0122C
DOPEX0123C
DOPEX0124C
DOPEX0125C
DOPEX0126C
DOPEX0127C
DOPEX0128C
DOPEX0129C
DOPEX0130C
DOPEX0131C
DOPEX0132C
DOPEX0133C
DOPEX0134C
DOPEX0135C
DOPEX0136C
DOPEX0137C
DOPEX0138C
DOPEX0139C
DOPEX0140C
DOPEX0141C
DOPEX0142C
ED_OPX3212C_99999 | DOPEX01C | Total opex | ($'000) | 0 | 0
TABLE 3.2.2 - OPEX CONSISTENCY
|  | Table 3.2.2.1 Opex consistency - current cost allocation approach |  | 2013-14 | 2013-14
ED_OPX3221_00001 | DOPEX0201 | Opex for network services |  | 258321.993 | 0
ED_OPX3221_00002 | DOPEX0202 | Opex for metering |  | 18654.8649 | 0
ED_OPX3221_00003 | DOPEX0203 | Opex for connection services |  | 0 | 0
ED_OPX3221_00004 | DOPEX0204 | Opex for public lighting |  | 0 | 11775.9573
ED_OPX3221_00005 | DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP |  | 0 | 0
ED_OPX3221_00006 | DOPEX0206 | Opex for transmission connection point planning |  | 0 | 0
|  | Total opex | ($'000) | 276976.8579 | 11775.9573
|  | Table 3.2.2.2 Opex consistency - historical cost allocation approaches |  | 2013-14 | 2013-14
ED_OPX3222_00001 | DOPEX0201A | Opex for network services |  | 258321.993 | 0
ED_OPX3222_00002 | DOPEX0202A | Opex for metering |  | 18654.8649 | 0
ED_OPX3222_00003 | DOPEX0203A | Opex for connection services |  | 0 | 0
ED_OPX3222_00004 | DOPEX0204A | Opex for public lighting |  | 0 | 11775.9573
ED_OPX3222_00005 | DOPEX0205A | Opex for amounts payable for easement levy or similar direct charges on DNSP |  | 0 | 0
ED_OPX3222_00006 | DOPEX0206A | Opex for transmission connection point planning |  | 0 | 0
|  | Total opex | ($'000) | 276976.8579 | 11775.9573
|  | TABLE 3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS |  | End user costs (not standard control services)
ED_OPX324_00001 | DOPEX0401 | Opex for high voltage customers | ($'000) | 82.5396
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Table 3.2.2 - Opex consistency
Table 3.2.4 - Opex high voltage customers

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2013-14
3.2 OPERATING EXPENDITURE
Instructions
Endeavour Energy must fill in opex in table 3.2.3 for opex categories reported in response to its annual reporting RIN.
TABLE 3.2.3 - PROVISIONS
For each provision report:
$000's
2013-14
DOPEX03A | Employee Entitlements
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. The Employee Benefits provision relates to amounts accruing to employees up to reporting date in respect of employee benefits including annual leave, maturing allowance, pre 93 sick leave and long service leave. Amounts provided for in relation to maturing allowance, pre 93 sick leave and long service leave have been based on an actuarial assessment and associated formulae provided for intervening periods beetween assessments. All other employee benefit amounts have been calculated at nominal amounts based on expected settlement rates.
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 217491.6016
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 99841.252
DOPEX0303A | Capex component | 87127.3847
DOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -95351.8176
DOPEX0306A | Capex component | -83209.6386
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | -7438.1714
DOPEX0309A | Capex component | -6490.9885
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | 2093.6127
DOPEX0312A | Capex component | 1827.0103
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 215890.2452
DOPEX03B | Self Insurance (WC)
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. The Self Insurance provision relates to workers compensation and has been based on actuarial assessment outcomes.
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 5489.9851
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 284.1091
DOPEX0303B | Capex component | 247.9304
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | -210.4408
DOPEX0306B | Capex component | -183.6431
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | -68.9165
DOPEX0309B | Capex component | -60.1406
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 5498.8835
DOPEX03C | Defined Benefits Superannuation
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. The Defined Benefits Superannuation liability provision has been based on an EISS actuarial assessment.
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 89079.6548
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 10623.9851
DOPEX0303C | Capex component | 9271.1181
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | -6021.7584
DOPEX0306C | Capex component | -5254.9427
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | 0
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component | -22569.5698
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 0
DOPEX0312C | Capex component | 0
DOPEX0313C | Other component | 7965.632
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 83094.1191
DOPEX03D | Other
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. Other Provisions have not been detailed due to commercial and legal sensitivity.
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 5478.1223
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 3388.0043
DOPEX0303D | Capex component | 3415.2097
DOPEX0304D | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -2452.7367
DOPEX0306D | Capex component | -2958.059
DOPEX0307D | Other component
Unused amounts reversed during the period
DOPEX0308D | Opex component | 0
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 6870.5406
DOPEX03E | Dividend
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. The Provision for Dividend represents amounts payable to NSW Treasury, based on the Government's dividend cap policy for the energy sector of State Owned Corporations and negotiations between NSW Treasury on behalf of the shareholders and Endeavour Energy prior to 30 June 2014, and is in compliance with TPP14-04 Financial Distribution Policy for Government Businesses.
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | 217201.724
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component
DOPEX0303E | Capex component
DOPEX0304E | Other component | 182927.8883
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component
DOPEX0306E | Capex component
DOPEX0307E | Other component | -217201.724
Unused amounts reversed during the period
DOPEX0308E | Opex component
DOPEX0309E | Capex component
DOPEX0310E | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component
DOPEX0312E | Capex component
DOPEX0313E | Other component
DOPEX0314E | Closing balance (carrying amount at the end of the period) | 182927.8883
DOPEX03F | Provision name
Brief description of provision
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component
DOPEX0303F | Capex component
DOPEX0304F | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component
DOPEX0306F | Capex component
DOPEX0307F | Other component
Unused amounts reversed during the period
DOPEX0308F | Opex component
DOPEX0309F | Capex component
DOPEX0310F | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component
DOPEX0312F | Capex component
DOPEX0313F | Other component
DOPEX0314F | Closing balance (carrying amount at the end of the period)
DOPEX03G | Provision name
Brief description of provision
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component
DOPEX0303G | Capex component
DOPEX0304G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component
DOPEX0306G | Capex component
DOPEX0307G | Other component
Unused amounts reversed during the period
DOPEX0308G | Opex component
DOPEX0309G | Capex component
DOPEX0310G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component
DOPEX0312G | Capex component
DOPEX0313G | Other component
DOPEX0314G | Closing balance (carrying amount at the end of the period)
DOPEX03H | Provision name
Brief description of provision
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component
DOPEX0303H | Capex component
DOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component
DOPEX0306H | Capex component
DOPEX0307H | Other component
Unused amounts reversed during the period
DOPEX0308H | Opex component
DOPEX0309H | Capex component
DOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component
DOPEX0312H | Capex component
DOPEX0313H | Other component
DOPEX0314H | Closing balance (carrying amount at the end of the period)
DOPEX03I | Provision name
Brief description of provision
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J | Provision name
Brief description of provision
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K | Provision name
Brief description of provision
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L | Provision name
Brief description of provision
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M | Provision name
Brief description of provision
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N | Provision name
Brief description of provision
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O | Provision name
Brief description of provision
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | Provision name
Brief description of provision
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | Provision name
Brief description of provision
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | Provision name
Brief description of provision
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2013-14
3.3 ASSETS
|  |  | Network services | Standard control services | Alternative control services
Actual ($000's)
|  |  | 2013-14 | 2013-14 | 2013-14
TABLE 3.3.1 - REGULATORY ASSET BASE VALUES
For total asset base:
ED_RAB331_00001 | DRAB0101 | Opening value | 5295965.5158 | 5343899.8941
ED_RAB331_00002 | DRAB0102 | Inflation addition | 129751.1551 | 130925.5474
ED_RAB331_00003 | DRAB0103 | Straight line depreciation | -228112.1305 | -231148.0266
ED_RAB331_00004 | DRAB0104 | Regulatory depreciation | -98360.9754 | -100222.4792 | 0
ED_RAB331_00005 | DRAB0105 | Actual additions (recognised in RAB) | 455307.6387 | 457318.8227
ED_RAB331_00006 | DRAB0106 | Disposals | -3182.8025 | -3182.8025
ED_RAB331_00007 | DRAB0107 | Closing value for overhead distribution asset value | 5649729.3767 | 5697813.4352 | 0
TABLE 3.3.2 - ASSET VALUE ROLL FORWARD
For overhead network assets less than 33kV:
ED_RAB3321_00001 | DRAB0201 | Opening value | 846288.4566 | 846288.4566
ED_RAB3321_00002 | DRAB0202 | Inflation addition | 20734.0672 | 20734.0672
ED_RAB3321_00003 | DRAB0203 | Straight line depreciation | -24542.3057 | -24542.3057
ED_RAB3321_00004 | DRAB0204 | Regulatory depreciation | -3808.2385 | -3808.2385 | 0
ED_RAB3321_00005 | DRAB0205 | Actual additions (recognised in RAB) | 136628.6661 | 136628.6661
ED_RAB3321_00006 | DRAB0206 | Disposals | 0 | 0
ED_RAB3321_00007 | DRAB0207 | Closing value for overhead distribution asset value | 979108.8842 | 979108.8842 | 0
For underground network assets less than 33kV:
ED_RAB3322_00001 | DRAB0301 | Opening value | 1005330.0322 | 1005330.0322
ED_RAB3322_00002 | DRAB0302 | Inflation addition | 24630.5858 | 24630.5858
ED_RAB3322_00003 | DRAB0303 | Straight line depreciation | -51510.3667 | -51510.3667
ED_RAB3322_00004 | DRAB0304 | Regulatory depreciation | -26879.7809 | -26879.7809 | 0
ED_RAB3322_00005 | DRAB0305 | Actual additions (recognised in RAB) | 54606.819 | 54606.819
ED_RAB3322_00006 | DRAB0306 | Disposals | 0 | 0
ED_RAB3322_00007 | DRAB0307 | Closing value for underground asset value | 1033057.0703 | 1033057.0703 | 0
For distribution substations and transformers:
ED_RAB3323_00001 | DRAB0401 | Opening value | 475161.8439 | 475161.8439
ED_RAB3323_00002 | DRAB0402 | Inflation addition | 11641.4652 | 11641.4652
ED_RAB3323_00003 | DRAB0403 | Straight line depreciation | -24514.1411 | -24514.1411
ED_RAB3323_00004 | DRAB0404 | Regulatory depreciation | -12872.6759 | -12872.6759 | 0
ED_RAB3323_00005 | DRAB0405 | Actual additions (recognised in RAB) | 13761.7743 | 13761.7743
ED_RAB3323_00006 | DRAB0406 | Disposals | -422.7355 | -422.7355
ED_RAB3323_00007 | DRAB0407 | Closing value for distribution substations and transformers asset value | 475628.2069 | 475628.2069 | 0
For overhead network assets 33kV and above:
ED_RAB3324_00001 | DRAB0501 | Opening value | 207638.2847 | 207638.2847
ED_RAB3324_00002 | DRAB0502 | Inflation addition | 5087.138 | 5087.138
ED_RAB3324_00003 | DRAB0503 | Straight line depreciation | -9471.9667 | -9471.9667
ED_RAB3324_00004 | DRAB0504 | Regulatory depreciation | -4384.8287 | -4384.8287 | 0
ED_RAB3324_00005 | DRAB0505 | Actual additions (recognised in RAB) | 35447.214 | 35447.214
ED_RAB3324_00006 | DRAB0506 | Disposals | 0 | 0
ED_RAB3324_00007 | DRAB0507 | Closing value for overhead asset 33kV and above value | 238700.6699 | 238700.6699 | 0
For underground network assets 33kV and above:
ED_RAB3325_00001 | DRAB0601 | Opening value | 28266.5715 | 28266.5715
ED_RAB3325_00002 | DRAB0602 | Inflation addition | 692.531 | 692.531
ED_RAB3325_00003 | DRAB0603 | Straight line depreciation | -4366.5275 | -4366.5275
ED_RAB3325_00004 | DRAB0604 | Regulatory depreciation | -3673.9965 | -3673.9965 | 0
ED_RAB3325_00005 | DRAB0605 | Actual additions (recognised in RAB) | 0 | 0
ED_RAB3325_00006 | DRAB0606 | Disposals | 0 | 0
ED_RAB3325_00007 | DRAB0607 | Closing value for underground asset 33kV and above value | 24592.575 | 24592.575 | 0
Zone substations and transformers
ED_RAB3326_00001 | DRAB0701 | Opening value | 2422795.9529 | 2422795.9529
ED_RAB3326_00002 | DRAB0702 | Inflation addition | 59358.5008 | 59358.5008
ED_RAB3326_00003 | DRAB0703 | Straight line depreciation | -60989.8045 | -60989.8045
ED_RAB3326_00004 | DRAB0704 | Regulatory depreciation | -1631.3037 | -1631.3037 | 0
ED_RAB3326_00005 | DRAB0705 | Actual additions (recognised in RAB) | 174489.1265 | 174489.1265
ED_RAB3326_00006 | DRAB0706 | Disposals | -937.4139 | -937.4139
ED_RAB3326_00007 | DRAB0707 | Closing value for zone substations and transformers | 2594716.3618 | 2594716.3618 | 0
For easements:
ED_RAB3327_00001 | DRAB0801 | Opening value | 5250.3161 | 5250.3161
ED_RAB3327_00002 | DRAB0802 | Inflation addition | 128.6327 | 128.6327
ED_RAB3327_00003 | DRAB0805 | Actual additions (recognised in RAB) | 0 | 0
ED_RAB3327_00004 | DRAB0806 | Disposals | 0 | 0
ED_RAB3327_00005 | DRAB0807 | Closing value for easements asset value | 5378.9489 | 5378.9489 | 0
For meters:
ED_RAB3328_00001 | DRAB0901 | Opening value | 16799.2071 | 64733.5854
ED_RAB3328_00002 | DRAB0902 | Inflation addition | 411.5806 | 1585.9728
ED_RAB3328_00003 | DRAB0903 | Straight line depreciation | -1063.968 | -4099.8641
ED_RAB3328_00004 | DRAB0904 | Regulatory depreciation | -652.3875 | -2513.8913 | 0
ED_RAB3328_00005 | DRAB0905 | Actual additions (recognised in RAB) | 704.8448 | 2716.0288
ED_RAB3328_00006 | DRAB0906 | Disposals | 0 | 0
ED_RAB3328_00007 | DRAB0907 | Closing value for meters asset value | 16851.6644 | 64935.7229 | 0
For “other” asset items with long lives:
ED_RAB3329_00001 | DRAB1001 | Opening value | 242042.191 | 242042.191
ED_RAB3329_00002 | DRAB1002 | Inflation addition | 5930.0337 | 5930.0337
ED_RAB3329_00003 | DRAB1003 | Straight line depreciation | -5810.1412 | -5810.1412
ED_RAB3329_00004 | DRAB1004 | Regulatory depreciation | 119.8924 | 119.8924 | 0
ED_RAB3329_00005 | DRAB1005 | Actual additions (recognised in RAB) | 17724.4782 | 17724.4782
ED_RAB3329_00006 | DRAB1006 | Disposals | 0 | 0
ED_RAB3329_00007 | DRAB1007 | Closing value for “other” asset (long life) value | 259886.5616 | 259886.5616 | 0
For “other” asset items with short lives:
ED_RAB33210_00001 | DRAB1101 | Opening value | 46392.6598 | 46392.6598
ED_RAB33210_00002 | DRAB1102 | Inflation addition | 1136.6202 | 1136.6202
ED_RAB33210_00003 | DRAB1103 | Straight line depreciation | -45842.909 | -45842.909
ED_RAB33210_00004 | DRAB1104 | Regulatory depreciation | -44706.2889 | -44706.2889 | 0
ED_RAB33210_00005 | DRAB1105 | Actual additions (recognised in RAB) | 21944.7159 | 21944.7159
ED_RAB33210_00006 | DRAB1106 | Disposals | -1822.6531 | -1822.6531
ED_RAB33210_00007 | DRAB1107 | Closing value for “other” asset (short life) value | 21808.4338 | 21808.4338 | 0
TABLE 3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
ED_RAB333_00001 | DRAB1201 | Overhead distribution assets (wires and poles) | 896084.9712 | 896084.9712
ED_RAB333_00002 | DRAB1202 | Underground distribution assets (cables, ducts etc) | 1001664.4494 | 1001664.4494
ED_RAB333_00003 | DRAB1203 | Distribution substations including transformers | 467324.4787 | 467324.4787
ED_RAB333_00004 | DRAB1204 | Overhead assets 33kV and above (wires and towers / poles etc) | 219119.1605 | 219119.1605
ED_RAB333_00005 | DRAB1205 | Underground assets 33kV and above (cables, ducts etc) | 26012.2819 | 26012.2819
ED_RAB333_00006 | DRAB1206 | Zone substations | 2464728.5341 | 2464728.5341
ED_RAB333_00007 | DRAB1207 | Easements | 5223.3615 | 5223.3615
ED_RAB333_00008 | DRAB1208 | Meters | 16539.4936 | 63732.8129
ED_RAB333_00009 | DRAB1209 | Other assets with long lives (please specify) | 246554.5734 | 246554.5734
ED_RAB333_00010 | DRAB1210 | Other assets with short lives (please specify) | 33730.4973 | 33730.4973
Capital Contributions
ED_RAB333_00011 | DRAB13 | Value of Capital Contributions or Contributed Assets | 84128.2701 | 84128.2701
|  |  | Network services | Standard control services | Alternative control services
|  | TABLE 3.3.4 - ASSET LIVES | Service Life (Years)
|  | Table 3.3.4.1 Asset Lives – estimated service life of new assets | 2013-14 | 2013-14 | 2013-14
ED_RAB3341_00001 | DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 49.6412 | 49.6412
ED_RAB3341_00002 | DRAB1402 | Underground network assets less than 33kV (cables) | 60 | 60
ED_RAB3341_00003 | DRAB1403 | Distribution substations including transformers | 41.5652 | 41.5652
ED_RAB3341_00004 | DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 56.4607 | 56.4607
ED_RAB3341_00005 | DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 45 | 45
ED_RAB3341_00006 | DRAB1406 | Zone substations and transformers | 45.3559 | 45.3559
ED_RAB3341_00007 | DRAB1407 | Meters | 25 | 25
ED_RAB3341_00008 | DRAB1408 | “Other” assets with long lives | 48.8077 | 48.8077
ED_RAB3341_00009 | DRAB1409 | “Other” assets with short lives | 7.4467 | 7.4467
Table 3.3.4.2 Asset Lives – estimated residual service life
ED_RAB3342_00001 | DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 41.0254 | 41.0254
ED_RAB3342_00002 | DRAB1502 | Underground network assets less than 33kV (cables) | 51.4003 | 51.4003
ED_RAB3342_00003 | DRAB1503 | Distribution substations including transformers | 34.5221 | 34.5221
ED_RAB3342_00004 | DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 46.1038 | 46.1038
ED_RAB3342_00005 | DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 34.292 | 34.292
ED_RAB3342_00006 | DRAB1506 | Zone substations and transformers | 39.4194 | 39.4194
ED_RAB3342_00007 | DRAB1507 | Meters | 15.6178 | 15.6178
ED_RAB3342_00008 | DRAB1508 | “Other” assets with long lives | 38.7953 | 38.7953
ED_RAB3342_00009 | DRAB1509 | “Other” assets with short lives | 3.7866 | 3.7866
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2013-14
3.4 OPERATIONAL DATA
Standard control services
Actual
2013-14
Unit
TABLE 3.4.1 - ENERGY DELIVERY
ED_OPD3410_00001 | DOPED01 | Total energy delivered | GWh | 15636.9511
Table 3.4.1.1 Energy grouping - delivery by chargeable quantity
ED_OPD3411_00001 | DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 5945.4238
ED_OPD3411_00002 | DOPED0202 | Energy Delivery at On-peak times | GWh | 2007.6863
ED_OPD3411_00003 | DOPED0203 | Energy Delivery at Shoulder times | GWh | 2278.3926
ED_OPD3411_00004 | DOPED0204 | Energy Delivery at Off-peak times | GWh | 4402.9274
ED_OPD3411_00005 | DOPED0205 | Controlled load energy deliveries | GWh | 858.7657
ED_OPD3411_00005 | DOPED0206 | Energy Delivery to unmetered supplies | GWh | 143.7552
Table 3.4.1.2 Energy - received from TNSP and other DNSPs by time of receipt
ED_OPD3412_00001 | DOPED0301 | Energy into DNSP network at On-peak times | GWh | 2690.3904
ED_OPD3412_00002 | DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 2884.2716
ED_OPD3412_00003 | DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 5807.2912
ED_OPD3412_00004 | DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 0
Table 3.4.1.3 Energy - received into DNSP system from embedded generation by time of receipt
ED_OPD3413_00001 | DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 1074.0538
ED_OPD3413_00002 | DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 1222.6459
ED_OPD3413_00003 | DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 2487.5479
ED_OPD3413_00004 | DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 0
ED_OPD3413_00005 | DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 0
ED_OPD3413_00006 | DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
ED_OPD3413_00007 | DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
ED_OPD3413_00008 | DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 114.9322
Table 3.4.1.4 Energy grouping - customer type or class
ED_OPD3414_00001 | DOPED0501 | Residential customers energy deliveries | GWh | 5146.9657
ED_OPD3414_00002 | DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 2169.2831
ED_OPD3414_00003 | DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 3455.8607
ED_OPD3414_00004 | DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 4864.8416
ED_OPD3414_00005 | DOPED0505 | Other Customer Class Energy Deliveries | GWh | 0
TABLE 3.4.2 - CUSTOMER NUMBERS
Table 3.4.2.1 Distribution customer numbers by customer type or class
ED_OPD3421_00001 | DOPCN0101 | Residential customer numbers | number | 830657.5
ED_OPD3421_00002 | DOPCN0102 | Non residential customers not on demand tariff customer numbers | number | 79876
ED_OPD3421_00003 | DOPCN0103 | Low voltage demand tariff customer numbers | number | 4206.5
ED_OPD3421_00004 | DOPCN0104 | High voltage demand tariff customer numbers | number | 347
ED_OPD3421_00005 | DOPCN0105 | Unmetered Customer Numbers | number | 6065.5
ED_OPD3421_00006 | DOPCN0106 | Other Customer Numbers | number | 18876
ED_OPD3421_99999 | DOPCN01 | Total customer numbers | number | 940028.5
Table 3.4.2.2 Distribution customer numbers by location on the network
ED_OPD3422_00001 | DOPCN0201 | Customers on CBD network | number | 0
ED_OPD3422_00002 | DOPCN0202 | Customers on Urban network | number | 777351.7
ED_OPD3422_00003 | DOPCN0203 | Customers on Short rural network | number | 162361.3
ED_OPD3422_00004 | DOPCN0204 | Customers on Long rural network | number | 315.4
ED_OPD3422_99999 | DOPCN02 | Total customer numbers | number | 940028.4
Table 3.4.2.3 Distribution customer numbers by Aurora Feeder categories (Aurora only)
ED_OPD3423_00001 |  | Critical Infrastructure | number
ED_OPD3423_00002 |  | High Density Commercial | number
ED_OPD3423_00003 |  | Urban | number
ED_OPD3423_00004 |  | High Density Rural | number
ED_OPD3423_00005 |  | Low Density Rural | number
ED_OPD3423_99999 |  | Total customer numbers | number | 0
Table 3.4.2.4 Unmetered Supply
ED_OPD3424_00001 | DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN | number | 6065.5
ED_OPD3424_00002 | DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN | number | 1248.5
ED_OPD3424_99999 | DOPCN0303 | Total unmetered connections | number | 7314
TABLE 3.4.3 - SYSTEM DEMAND
Table 3.4.3.1 Annual system maximum demand characteristics at the zone substation level – MW measure
ED_OPD3431_00001 | DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 3814.966
ED_OPD3431_00002 | DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 4250.1929
ED_OPD3431_00003 | DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3916.6323
ED_OPD3431_00004 | DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 3086.6792
ED_OPD3431_00005 | DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3721.18
ED_OPD3431_00006 | DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3363.49
Table 3.4.3.2 Annual system maximum demand characteristics at the transmission connection point – MW measure
ED_OPD3432_00001 | DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 3361.1573
ED_OPD3432_00002 | DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3972.4013
ED_OPD3432_00003 | DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3618.1135
ED_OPD3432_00004 | DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 3253.3472
ED_OPD3432_00005 | DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3889.6
ED_OPD3432_00006 | DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3510.2
Table 3.4.3.3 Annual system maximum demand characteristics at the zone substation level – MVA measure
ED_OPD3433_00001 | DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 3882.498
ED_OPD3433_00002 | DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 4435.0751
ED_OPD3433_00003 | DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 4090.3697
ED_OPD3433_00004 | DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 3141.3192
ED_OPD3433_00005 | DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3787.0518
ED_OPD3433_00006 | DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3423.03
Table 3.4.3.4 Annual system maximum demand characteristics at the transmission connection point – MVA measure
ED_OPD3434_00001 | DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 3435.6025
ED_OPD3434_00002 | DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 4062.8419
ED_OPD3434_00003 | DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3698.25
ED_OPD3434_00004 | DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 3310.9375
ED_OPD3434_00005 | DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3958.4532
ED_OPD3434_00006 | DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3572.3371
Table 3.4.3.5 Power factor conversion between MVA and MW
ED_OPD3435_00001 | DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.98261
ED_OPD3435_00002 | DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.933
ED_OPD3435_00003 | DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor | 0
ED_OPD3435_00004 | DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor | 0
ED_OPD3435_00005 | DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor | 0
ED_OPD3435_00006 | DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.933
ED_OPD3435_00007 | DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.9
ED_OPD3435_00008 | DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0.957
ED_OPD3435_00009 | DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0.985
ED_OPD3435_00010 | DOPSD0310 | Average power factor conversion for 44 kV lines | Factor | 0
ED_OPD3435_00011 | DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.988
ED_OPD3435_00012 | DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0
ED_OPD3435_00013 | DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0.979
ED_OPD3435_00013 | DOPSD0314 | Average power factor conversion for 220 kV lines | Factor | 0
Table 3.4.3.6 Demand supplied (for customers charged on this basis) – MW measure
ED_OPD3436_00001 | DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 0
ED_OPD3436_00002 | DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 2807.8404
Table 3.4.3.7 Demand supplied (for customers charged on this basis) – MVA measure
ED_OPD3437_00001 | DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 0
ED_OPD3437_00002 | DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 17814.3399
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2013-14
3.5 PHYSICAL ASSETS
Actual
2013-14
Unit
TABLE 3.5.1 - NETWORK CAPACITIES
Circuit length
Table 3.5.1.1 Overhead network length of circuit at each voltage
ED_PHA3511_00001 | DPA0101 | Overhead low voltage distribution | km | 8696
ED_PHA3511_00002 | DPA0102 | Overhead 2.2 kV | km | 0
ED_PHA3511_00003 | DPA0103 | Overhead 6.6kv | km | 0
ED_PHA3511_00004 | DPA0104 | Overhead 7.6 kV | km | 0
ED_PHA3511_00005 | DPA0105 | Overhead 11 kV | km | 10969
ED_PHA3511_00006 | DPA0106 | Overhead SWER | km | 480
ED_PHA3511_00007 | DPA0107 | Overhead 22 kV | km | 225
ED_PHA3511_00008 | DPA0108 | Overhead 33 kV | km | 1403
ED_PHA3511_00009 | DPA0109 | Overhead 44 kV | km | 0
ED_PHA3511_00010 | DPA0110 | Overhead 66 kV | km | 511
ED_PHA3511_00011 | DPA0111 | Overhead 110kV | km | 0
ED_PHA3511_00012 | DPA0112 | Overhead 132 kV | km | 1104
ED_PHA3511_00013 | DPA0113 | Overhead 220kV | km | 0
ED_PHA3511_00014 | DPA0114 | Other | km | 0
| DPA01 | Total overhead circuit km | km | 23388
Table 3.5.1.2 Underground network circuit length at each voltage
ED_PHA3512_00001 | DPA0201 | Underground low voltage distribution | km | 7495
ED_PHA3512_00002 | DPA0202 | Underground 5 kV | km | 0
ED_PHA3512_00003 | DPA0203 | Underground 6.6 Kv | km | 0
ED_PHA3512_00004 | DPA0204 | Underground 7.6 kV | km | 0
ED_PHA3512_00005 | DPA0205 | Underground 11 kV | km | 3991
ED_PHA3512_00006 | DPA0206 | Underground SWER | km | 0
ED_PHA3512_00007 | DPA0207 | Underground 22 kV | km | 284
ED_PHA3512_00008 | DPA0208 | Underground 33 kV | km | 184
ED_PHA3512_00010 | DPA0209 | Underground 66 kV | km | 28
ED_PHA3512_00009 | DPA0210 | Underground 110 kV | km | 0
ED_PHA3512_00010 | DPA0211 | Underground 132 kV | km | 122
ED_PHA3512_00011 | DPA0212 | Other | km | 0
| DPA02 | Total underground circuit km | km | 12104
Circuit Capacity MVA
Table 3.5.1.3 Estimated overhead network weighted average MVA capacity by voltage class
ED_PHA3513_00001 | DPA0301 | Overhead low voltage distribution | MVA | 0.143
ED_PHA3513_00002 | DPA0302 | Overhead 6.6 kV | MVA | 0
ED_PHA3513_00003 | DPA0303 | Overhead 7.6 kV | MVA | 0
ED_PHA3513_00004 | DPA0304 | Overhead 11 kV | MVA | 3.421
ED_PHA3513_00005 | DPA0305 | Overhead SWER | MVA | 1.095
ED_PHA3513_00006 | DPA0306 | Overhead 22 kV | MVA | 5.672
ED_PHA3513_00007 | DPA0307 | Overhead 33 kV | MVA | 28.478
ED_PHA3513_00008 | DPA0308 | Overhead 44 kV | MVA | 0
ED_PHA3513_00009 | DPA0309 | Overhead 66 kV | MVA | 45.285
ED_PHA3513_00010 | DPA0310 | Overhead 110 kV | MVA | 0
ED_PHA3513_00011 | DPA0311 | Overhead 132 kV | MVA | 205.027
ED_PHA3513_00012 | DPA0312 | Overhead 220 kV | MVA | 0
ED_PHA3513_00013 | DPA0313 | Other | MVA | 0
Table 3.5.1.4 Estimated underground network weighted average MVA capacity by voltage class
ED_PHA3514_00001 | DPA0401 | Underground low voltage distribution | MVA | 0.174
ED_PHA3514_00002 | DPA0402 | Underground 5 kV | MVA | 0
ED_PHA3514_00003 | DPA0403 | Underground 6.6 kV | MVA | 0
ED_PHA3514_00004 | DPA0404 | Underground 7.6 kV | MVA | 0
ED_PHA3514_00005 | DPA0405 | Underground 11 kV | MVA | 4.017
ED_PHA3514_00006 | DPA0406 | Underground SWER | MVA | 0
ED_PHA3514_00007 | DPA0407 | Underground 12.7 kV | MVA | 0
ED_PHA3514_00008 | DPA0408 | Underground 22 kV | MVA | 8.257
ED_PHA3514_00009 | DPA0409 | Underground 33 kV | MVA | 44.523
ED_PHA3514_00010 | DPA0410 | Underground 66 kV | MVA | 79.8585
ED_PHA3514_00010 | DPA0411 | Underground 110 kV | MVA | 0
ED_PHA3514_00011 | DPA0412 | Underground 132 kV | MVA | 155.259
ED_PHA3514_00012 | DPA0413 | Other | MVA | 0
TABLE 3.5.2 - TRANSFORMER CAPACITIES
Table 3.5.2.1 Distribution transformer total installed capacity
ED_PHA3521_00001 | DPA0501 | Distribution transformer capacity owned by utility | MVA | 9439.903
ED_PHA3521_00002 | DPA0502 | Distribution transformer capacity owned by High Voltage Customers | MVA | 988.9
ED_PHA3521_00003 | DPA0503 | Cold spare capacity included in DPA0501 | MVA | 0
Table 3.5.2.2 Zone substation transformer capacity
ED_PHA3522_00001 | DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | MVA | 6809.628
ED_PHA3522_00002 | DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | MVA | 6640.624
ED_PHA3522_00003 | DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | MVA | 2199.791
ED_PHA3522_00004 | DPA0604 | Total zone substation transformer capacity | MVA | 15650.042
ED_PHA3522_00005 | DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | MVA | 0
Table 3.5.2.3 Distribution - other transformer capacity
ED_PHA3523_00001 |  | Distribution other - transformer capacity owned by utility | MVA | 0
TABLE 3.5.3 - PUBLIC LIGHTING
ED_PHA353_00001 | DPA0701 | Public lighting luminaires | Number | 198907
ED_PHA353_00002 | DPA0702 | Public lighting poles | Number | 7513
ED_PHA353_00003 | DPA0703 | Public lighting columns | Number | 97649
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2013-14
3.6 QUALITY OF SERVICE DATA
Actual
2013-14
Unit
TABLE 3.6.1 - RELIABILITY
Table 3.6.1.1 Inclusive of MEDs
ED_QOS3611_00001 | DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 104.1
ED_QOS3611_00002 | DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 104.1
ED_QOS3611_00003 | DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 1.09
ED_QOS3611_00004 | DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.09
Table 3.6.1.2 Exclusive of MEDs
ED_QOS3612_00001 | DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 82.6
ED_QOS3612_00002 | DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 82.6
ED_QOS3612_00003 | DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 0.98
ED_QOS3612_00004 | DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.98
TABLE 3.6.2 - ENERGY NOT SUPPLIED
ED_QOS362_00001 | DQS0201 | Energy Not Supplied (planned) | GWh | 1.303
ED_QOS362_00002 | DQS0202 | Energy Not Supplied (unplanned) | GWh | 1.42
| DQS02 | Total | GWh | 2.723
TABLE 3.6.3 - SYSTEM LOSSES
ED_QOS363_00001 | DQS03 | System losses | % | 3.957%
TABLE 3.6.4 - CAPACITY UTILISATION
ED_QOS364_00001 | DQS04 | Overall utilisation | % | 39.5%
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2013-14
3.7 OPERATING ENVIRONMENT FACTORS
Actual
2013-14
TABLE 3.7.1 - DENSITY FACTORS
ED_OEF371_00001 | DOEF0101 | Customer density | Customer / km | 33.4649
ED_OEF371_00002 | DOEF0102 | Energy density | MWh/customer | 16.6346
ED_OEF371_00003 | DOEF0103 | Demand density | kVA / customer | 4.3513
TABLE 3.7.2 - TERRAIN FACTORS
ED_OEF372_00001 | DOEF0201 | Rural proportion | % | 34.37%
ED_OEF372_00002 | DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 191655
ED_OEF372_00003 | DOEF0203 | Rural vegetation maintenance spans | Number of spans | 110318
ED_OEF372_00004 | DOEF0204 | Total vegetation maintenance spans | Number of spans | 301973
ED_OEF372_00005 | DOEF0205 | Total number of spans | Number of spans | 301973
ED_OEF372_00006 | DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1
ED_OEF372_00007 | DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1
ED_OEF372_00008 | DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 1.6511
ED_OEF372_00009 | DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 2.242
ED_OEF372_00010 | DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 3.1235
ED_OEF372_00011 | DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 1.9895
ED_OEF372_00012 | DOEF0212 | Tropical proportion | Spans | 0
ED_OEF372_00013 | DOEF0213 | Standard vehicle access | km | 17199.3811
ED_OEF372_00014 | DOEF0214 | Bushfire risk | Spans | 107620
TABLE 3.7.3 - SERVICE AREA FACTORS
ED_OEF373_00001 | DOEF0301 | Route Line length | km | 28090
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL

## 3.7.4 Weather stations
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2013-14
3.7 OPERATING ENVIRONMENT FACTORS
TABLE 3.7.4 - WEATHER STATIONS
| Weather Station ID | Post code | Suburb | Materiality
ED_OEF374_00001 | 68241 | 2527 | Albion Park Rail | Yes
ED_OEF374_00002 | 67108 | 2555 | Badgerys Creek | Yes
ED_OEF374_00003 | 68228 | 2518 | Bellambi | Yes
ED_OEF374_00004 | 68102 | 2576 | Bowral | Yes
ED_OEF374_00005 | 68192 | 2570 | Cobbitty | Yes
ED_OEF374_00006 | 68257 | 2567 | Mount Annan | Yes
ED_OEF374_00007 | 67117 | 2173 | Holsworthy | Yes
ED_OEF374_00008 | 67119 | 2175 | Horsley Park | Yes
ED_OEF374_00009 | 68151 | 2540 | Beecroft Peninsula | Yes
ED_OEF374_00010 | 63039 | 2780 | Katoomba | Yes
ED_OEF374_00011 | 68242 | 2533 | Bombo | Yes
ED_OEF374_00012 | 63226 | 2790 | Bowenfels | Yes
ED_OEF374_00013 | 67020 | 2168 | Miller | Yes
ED_OEF374_00014 | 68239 | 2577 | Moss Vale | Yes
ED_OEF374_00015 | 63292 | 2785 | Blackheath | Yes
ED_OEF374_00016 | 68072 | 2540 | Yerriyong | Yes
ED_OEF374_00017 | 62100 | 2849 | Nullo Mountain | Yes
ED_OEF374_00018 | 66124 | 2151 | North Parramatta | Yes
ED_OEF374_00019 | 67113 | 2749 | Castlereagh | Yes
ED_OEF374_00020 | 68253 | 2505 | Port Kembla | Yes
ED_OEF374_00021 | 67019 | 2148 | Prospect | Yes
ED_OEF374_00022 | 67105 | 2755 | Richmond | Yes
ED_OEF374_00023 | 63077 | 2777 | Valley Heights | Yes
ED_OEF374_00024 | 69138 | 2539 | Ulladulla | Yes
ED_OEF374_00025
ED_OEF374_00026
ED_OEF374_00027
ED_OEF374_00028
ED_OEF374_00029
ED_OEF374_00030
ED_OEF374_00031
ED_OEF374_00032
ED_OEF374_00033
ED_OEF374_00034
ED_OEF374_00035
ED_OEF374_00036
ED_OEF374_00037
ED_OEF374_00038
ED_OEF374_00039
ED_OEF374_00040
ED_OEF374_00041
ED_OEF374_00042
ED_OEF374_00043
ED_OEF374_00044
ED_OEF374_00045
ED_OEF374_00046
ED_OEF374_00047
ED_OEF374_00048
ED_OEF374_00049
ED_OEF374_00050
ED_OEF374_00051
ED_OEF374_00052
ED_OEF374_00053
ED_OEF374_00054
ED_OEF374_00055
ED_OEF374_00056
ED_OEF374_00057
ED_OEF374_00058
ED_OEF374_00059
ED_OEF374_00060
ED_OEF374_00061
ED_OEF374_00062
ED_OEF374_00063
ED_OEF374_00064
ED_OEF374_00065
ED_OEF374_00066
ED_OEF374_00067
ED_OEF374_00068
ED_OEF374_00069
ED_OEF374_00070
ED_OEF374_00071
ED_OEF374_00072
ED_OEF374_00073
ED_OEF374_00074
ED_OEF374_00075
ED_OEF374_00076
ED_OEF374_00077
ED_OEF374_00078
ED_OEF374_00079
ED_OEF374_00080
ED_OEF374_00081
ED_OEF374_00082
ED_OEF374_00083
ED_OEF374_00084
ED_OEF374_00085
ED_OEF374_00086
ED_OEF374_00087
ED_OEF374_00088
ED_OEF374_00089
ED_OEF374_00090
ED_OEF374_00091
ED_OEF374_00092
ED_OEF374_00093
ED_OEF374_00094
ED_OEF374_00095
ED_OEF374_00096
ED_OEF374_00097
ED_OEF374_00098
ED_OEF374_00099
ED_OEF374_00100
ED_OEF374_00101
ED_OEF374_00102
ED_OEF374_00103
ED_OEF374_00104
ED_OEF374_00105
ED_OEF374_00106
ED_OEF374_00107
ED_OEF374_00108
ED_OEF374_00109
ED_OEF374_00110
ED_OEF374_00111
ED_OEF374_00112
ED_OEF374_00113
ED_OEF374_00114
ED_OEF374_00115
ED_OEF374_00116
ED_OEF374_00117
ED_OEF374_00118
ED_OEF374_00119
ED_OEF374_00120
ED_OEF374_00121
ED_OEF374_00122
ED_OEF374_00123
ED_OEF374_00124
ED_OEF374_00125
ED_OEF374_00126
ED_OEF374_00127
ED_OEF374_00128
ED_OEF374_00129
ED_OEF374_00130
ED_OEF374_00131
ED_OEF374_00132
ED_OEF374_00133
ED_OEF374_00134
ED_OEF374_00135
ED_OEF374_00136
ED_OEF374_00137
ED_OEF374_00138
ED_OEF374_00139
ED_OEF374_00140
ED_OEF374_00141
ED_OEF374_00142
ED_OEF374_00143
ED_OEF374_00144
ED_OEF374_00145
ED_OEF374_00146
ED_OEF374_00147
ED_OEF374_00148
ED_OEF374_00149
ED_OEF374_00150
ED_OEF374_00151
ED_OEF374_00152
ED_OEF374_00153
ED_OEF374_00154
ED_OEF374_00155
ED_OEF374_00156
ED_OEF374_00157
ED_OEF374_00158
ED_OEF374_00159
ED_OEF374_00160
ED_OEF374_00161
ED_OEF374_00162
ED_OEF374_00163
ED_OEF374_00164
ED_OEF374_00165
ED_OEF374_00166
ED_OEF374_00167
ED_OEF374_00168
ED_OEF374_00169
ED_OEF374_00170
ED_OEF374_00171
ED_OEF374_00172
ED_OEF374_00173
ED_OEF374_00174
ED_OEF374_00175
ED_OEF374_00176
ED_OEF374_00177
ED_OEF374_00178
ED_OEF374_00179
ED_OEF374_00180
ED_OEF374_00181
ED_OEF374_00182
ED_OEF374_00183
ED_OEF374_00184
ED_OEF374_00185
ED_OEF374_00186
ED_OEF374_00187
ED_OEF374_00188
ED_OEF374_00189
ED_OEF374_00190
ED_OEF374_00191
ED_OEF374_00192
ED_OEF374_00193
ED_OEF374_00194
ED_OEF374_00195
ED_OEF374_00196
ED_OEF374_00197
ED_OEF374_00198
ED_OEF374_00199
ED_OEF374_00200
ED_OEF374_00201
ED_OEF374_00202
ED_OEF374_00203
ED_OEF374_00204
ED_OEF374_00205
ED_OEF374_00206
ED_OEF374_00207
ED_OEF374_00208
ED_OEF374_00209
ED_OEF374_00210
ED_OEF374_00211
ED_OEF374_00212
ED_OEF374_00213
ED_OEF374_00214
ED_OEF374_00215
ED_OEF374_00216
ED_OEF374_00217
ED_OEF374_00218
ED_OEF374_00219
ED_OEF374_00220
ED_OEF374_00221
ED_OEF374_00222
ED_OEF374_00223
ED_OEF374_00224
ED_OEF374_00225
ED_OEF374_00226
ED_OEF374_00227
ED_OEF374_00228
ED_OEF374_00229
ED_OEF374_00230
ED_OEF374_00231
ED_OEF374_00232
ED_OEF374_00233
ED_OEF374_00234
ED_OEF374_00235
ED_OEF374_00236
ED_OEF374_00237
ED_OEF374_00238
ED_OEF374_00239
ED_OEF374_00240
ED_OEF374_00241
ED_OEF374_00242
ED_OEF374_00243
ED_OEF374_00244
ED_OEF374_00245
ED_OEF374_00246
ED_OEF374_00247
ED_OEF374_00248
ED_OEF374_00249
ED_OEF374_00250
ED_OEF374_00251
ED_OEF374_00252
ED_OEF374_00253
ED_OEF374_00254
ED_OEF374_00255
ED_OEF374_00256
ED_OEF374_00257
ED_OEF374_00258
ED_OEF374_00259
ED_OEF374_00260
ED_OEF374_00261
ED_OEF374_00262
ED_OEF374_00263
ED_OEF374_00264
ED_OEF374_00265
ED_OEF374_00266
ED_OEF374_00267
ED_OEF374_00268
ED_OEF374_00269
ED_OEF374_00270
ED_OEF374_00271
ED_OEF374_00272
ED_OEF374_00273
ED_OEF374_00274
ED_OEF374_00275
ED_OEF374_00276
ED_OEF374_00277
ED_OEF374_00278
ED_OEF374_00279
ED_OEF374_00280
ED_OEF374_00281
ED_OEF374_00282
ED_OEF374_00283
ED_OEF374_00284
ED_OEF374_00285
ED_OEF374_00286
ED_OEF374_00287
ED_OEF374_00288
ED_OEF374_00289
ED_OEF374_00290
ED_OEF374_00291
ED_OEF374_00292
ED_OEF374_00293
ED_OEF374_00294
ED_OEF374_00295
ED_OEF374_00296
ED_OEF374_00297
ED_OEF374_00298
ED_OEF374_00299
ED_OEF374_00300
ED_OEF374_00301
ED_OEF374_00302
ED_OEF374_00303
ED_OEF374_00304
ED_OEF374_00305
ED_OEF374_00306
ED_OEF374_00307
ED_OEF374_00308
ED_OEF374_00309
ED_OEF374_00310
ED_OEF374_00311
ED_OEF374_00312
ED_OEF374_00313
ED_OEF374_00314
ED_OEF374_00315
ED_OEF374_00316
ED_OEF374_00317
ED_OEF374_00318
ED_OEF374_00319
ED_OEF374_00320
ED_OEF374_00321
ED_OEF374_00322
ED_OEF374_00323
ED_OEF374_00324
ED_OEF374_00325
ED_OEF374_00326
ED_OEF374_00327
ED_OEF374_00328
ED_OEF374_00329
ED_OEF374_00330
ED_OEF374_00331
ED_OEF374_00332
ED_OEF374_00333
ED_OEF374_00334
ED_OEF374_00335
ED_OEF374_00336
ED_OEF374_00337
ED_OEF374_00338
ED_OEF374_00339
ED_OEF374_00340
ED_OEF374_00341
ED_OEF374_00342
ED_OEF374_00343
ED_OEF374_00344
ED_OEF374_00345
ED_OEF374_00346
ED_OEF374_00347
ED_OEF374_00348
ED_OEF374_00349
ED_OEF374_00350
ED_OEF374_00351
ED_OEF374_00352
ED_OEF374_00353
ED_OEF374_00354
ED_OEF374_00355
ED_OEF374_00356
ED_OEF374_00357
ED_OEF374_00358
ED_OEF374_00359
ED_OEF374_00360
ED_OEF374_00361
ED_OEF374_00362
ED_OEF374_00363
ED_OEF374_00364
ED_OEF374_00365
ED_OEF374_00366
ED_OEF374_00367
ED_OEF374_00368
ED_OEF374_00369
ED_OEF374_00370
ED_OEF374_00371
ED_OEF374_00372
ED_OEF374_00373
ED_OEF374_00374
ED_OEF374_00375
ED_OEF374_00376
ED_OEF374_00377
ED_OEF374_00378
ED_OEF374_00379
ED_OEF374_00380
ED_OEF374_00381
ED_OEF374_00382
ED_OEF374_00383
ED_OEF374_00384
ED_OEF374_00385
ED_OEF374_00386
ED_OEF374_00387
ED_OEF374_00388
ED_OEF374_00389
ED_OEF374_00390
ED_OEF374_00391
ED_OEF374_00392
ED_OEF374_00393
ED_OEF374_00394
ED_OEF374_00395
ED_OEF374_00396
ED_OEF374_00397
ED_OEF374_00398
ED_OEF374_00399
ED_OEF374_00400
ED_OEF374_00401
ED_OEF374_00402
ED_OEF374_00403
ED_OEF374_00404
ED_OEF374_00405
ED_OEF374_00406
ED_OEF374_00407
ED_OEF374_00408
ED_OEF374_00409
ED_OEF374_00410
ED_OEF374_00411
ED_OEF374_00412
ED_OEF374_00413
ED_OEF374_00414
ED_OEF374_00415
ED_OEF374_00416
ED_OEF374_00417
ED_OEF374_00418
ED_OEF374_00419
ED_OEF374_00420
ED_OEF374_00421
ED_OEF374_00422
ED_OEF374_00423
ED_OEF374_00424
ED_OEF374_00425
ED_OEF374_00426
ED_OEF374_00427
ED_OEF374_00428
ED_OEF374_00429
ED_OEF374_00430
ED_OEF374_00431
ED_OEF374_00432
ED_OEF374_00433
ED_OEF374_00434
ED_OEF374_00435
ED_OEF374_00436
ED_OEF374_00437
ED_OEF374_00438
ED_OEF374_00439
ED_OEF374_00440
ED_OEF374_00441
ED_OEF374_00442
ED_OEF374_00443
ED_OEF374_00444
ED_OEF374_00445
ED_OEF374_00446
ED_OEF374_00447
ED_OEF374_00448
ED_OEF374_00449
ED_OEF374_00450
ED_OEF374_00451
ED_OEF374_00452
ED_OEF374_00453
ED_OEF374_00454
ED_OEF374_00455
ED_OEF374_00456
ED_OEF374_00457
ED_OEF374_00458
ED_OEF374_00459
ED_OEF374_00460
ED_OEF374_00461
ED_OEF374_00462
ED_OEF374_00463
ED_OEF374_00464
ED_OEF374_00465
ED_OEF374_00466
ED_OEF374_00467
ED_OEF374_00468
ED_OEF374_00469
ED_OEF374_00470
ED_OEF374_00471
ED_OEF374_00472
ED_OEF374_00473
ED_OEF374_00474
ED_OEF374_00475
ED_OEF374_00476
ED_OEF374_00477
ED_OEF374_00478
ED_OEF374_00479
ED_OEF374_00480
ED_OEF374_00481
ED_OEF374_00482
ED_OEF374_00483
ED_OEF374_00484
ED_OEF374_00485
ED_OEF374_00486
ED_OEF374_00487
ED_OEF374_00488
ED_OEF374_00489
ED_OEF374_00490
ED_OEF374_00491
ED_OEF374_00492
ED_OEF374_00493
ED_OEF374_00494
ED_OEF374_00495
ED_OEF374_00496
ED_OEF374_00497
ED_OEF374_00498
ED_OEF374_00499
ED_OEF374_00500
ED_OEF374_00501
ED_OEF374_00502
ED_OEF374_00503
ED_OEF374_00504
ED_OEF374_00505
ED_OEF374_00506
ED_OEF374_00507
ED_OEF374_00508
ED_OEF374_00509
ED_OEF374_00510
ED_OEF374_00511
ED_OEF374_00512
ED_OEF374_00513
ED_OEF374_00514
ED_OEF374_00515
ED_OEF374_00516
ED_OEF374_00517
ED_OEF374_00518
ED_OEF374_00519
ED_OEF374_00520
ED_OEF374_00521
ED_OEF374_00522
ED_OEF374_00523
ED_OEF374_00524
ED_OEF374_00525
ED_OEF374_00526
ED_OEF374_00527
ED_OEF374_00528
ED_OEF374_00529
ED_OEF374_00530
ED_OEF374_00531
ED_OEF374_00532
ED_OEF374_00533
ED_OEF374_00534
ED_OEF374_00535
ED_OEF374_00536
ED_OEF374_00537
ED_OEF374_00538
ED_OEF374_00539
ED_OEF374_00540
ED_OEF374_00541
ED_OEF374_00542
ED_OEF374_00543
ED_OEF374_00544
ED_OEF374_00545
ED_OEF374_00546
ED_OEF374_00547
ED_OEF374_00548
ED_OEF374_00549
ED_OEF374_00550
ED_OEF374_00551
ED_OEF374_00552
ED_OEF374_00553
ED_OEF374_00554
ED_OEF374_00555
ED_OEF374_00556
ED_OEF374_00557
ED_OEF374_00558
ED_OEF374_00559
ED_OEF374_00560
ED_OEF374_00561
ED_OEF374_00562
ED_OEF374_00563
ED_OEF374_00564
ED_OEF374_00565
ED_OEF374_00566
ED_OEF374_00567
ED_OEF374_00568
ED_OEF374_00569
ED_OEF374_00570
ED_OEF374_00571
ED_OEF374_00572
ED_OEF374_00573
ED_OEF374_00574
ED_OEF374_00575
ED_OEF374_00576
ED_OEF374_00577
ED_OEF374_00578
ED_OEF374_00579
ED_OEF374_00580
ED_OEF374_00581
ED_OEF374_00582
ED_OEF374_00583
ED_OEF374_00584
ED_OEF374_00585
ED_OEF374_00586
ED_OEF374_00587
ED_OEF374_00588
ED_OEF374_00589
ED_OEF374_00590
ED_OEF374_00591
ED_OEF374_00592
ED_OEF374_00593
ED_OEF374_00594
ED_OEF374_00595
ED_OEF374_00596
ED_OEF374_00597
ED_OEF374_00598
ED_OEF374_00599
ED_OEF374_00600
ED_OEF374_00601
ED_OEF374_00602
ED_OEF374_00603
ED_OEF374_00604
ED_OEF374_00605
ED_OEF374_00606
ED_OEF374_00607
ED_OEF374_00608
ED_OEF374_00609
ED_OEF374_00610
ED_OEF374_00611
ED_OEF374_00612
ED_OEF374_00613
ED_OEF374_00614
ED_OEF374_00615
ED_OEF374_00616
ED_OEF374_00617
ED_OEF374_00618
ED_OEF374_00619
ED_OEF374_00620
ED_OEF374_00621
ED_OEF374_00622
ED_OEF374_00623
ED_OEF374_00624
ED_OEF374_00625
ED_OEF374_00626
ED_OEF374_00627
ED_OEF374_00628
ED_OEF374_00629
ED_OEF374_00630
ED_OEF374_00631
ED_OEF374_00632
ED_OEF374_00633
ED_OEF374_00634
ED_OEF374_00635
ED_OEF374_00636
ED_OEF374_00637
ED_OEF374_00638
ED_OEF374_00639
ED_OEF374_00640
ED_OEF374_00641
ED_OEF374_00642
ED_OEF374_00643
ED_OEF374_00644
ED_OEF374_00645
ED_OEF374_00646
ED_OEF374_00647
ED_OEF374_00648
ED_OEF374_00649
ED_OEF374_00650
ED_OEF374_00651
ED_OEF374_00652
ED_OEF374_00653
ED_OEF374_00654
ED_OEF374_00655
ED_OEF374_00656
ED_OEF374_00657
ED_OEF374_00658
ED_OEF374_00659
ED_OEF374_00660
ED_OEF374_00661
ED_OEF374_00662
ED_OEF374_00663
ED_OEF374_00664
ED_OEF374_00665
ED_OEF374_00666
ED_OEF374_00667
ED_OEF374_00668
ED_OEF374_00669
ED_OEF374_00670
ED_OEF374_00671
ED_OEF374_00672
ED_OEF374_00673
ED_OEF374_00674
ED_OEF374_00675
ED_OEF374_00676
ED_OEF374_00677
ED_OEF374_00678
ED_OEF374_00679
ED_OEF374_00680
ED_OEF374_00681
ED_OEF374_00682
ED_OEF374_00683
ED_OEF374_00684
ED_OEF374_00685
ED_OEF374_00686
ED_OEF374_00687
ED_OEF374_00688
ED_OEF374_00689
ED_OEF374_00690
ED_OEF374_00691
ED_OEF374_00692
ED_OEF374_00693
ED_OEF374_00694
ED_OEF374_00695
ED_OEF374_00696
ED_OEF374_00697
ED_OEF374_00698
ED_OEF374_00699
ED_OEF374_00700
ED_OEF374_00701
ED_OEF374_00702
ED_OEF374_00703
ED_OEF374_00704
ED_OEF374_00705
ED_OEF374_00706
ED_OEF374_00707
ED_OEF374_00708
ED_OEF374_00709
ED_OEF374_00710
ED_OEF374_00711
ED_OEF374_00712
ED_OEF374_00713
ED_OEF374_00714
ED_OEF374_00715
ED_OEF374_00716
ED_OEF374_00717
ED_OEF374_00718
ED_OEF374_00719
ED_OEF374_00720
ED_OEF374_00721
ED_OEF374_00722
ED_OEF374_00723
ED_OEF374_00724
ED_OEF374_00725
ED_OEF374_00726
ED_OEF374_00727
ED_OEF374_00728
ED_OEF374_00729
ED_OEF374_00730
ED_OEF374_00731
ED_OEF374_00732
ED_OEF374_00733
ED_OEF374_00734
ED_OEF374_00735
ED_OEF374_00736
ED_OEF374_00737
ED_OEF374_00738
ED_OEF374_00739
ED_OEF374_00740
ED_OEF374_00741
ED_OEF374_00742
ED_OEF374_00743
ED_OEF374_00744
ED_OEF374_00745
ED_OEF374_00746
ED_OEF374_00747
ED_OEF374_00748
ED_OEF374_00749
ED_OEF374_00750
ED_OEF374_00751
ED_OEF374_00752
ED_OEF374_00753
ED_OEF374_00754
ED_OEF374_00755
ED_OEF374_00756
ED_OEF374_00757
ED_OEF374_00758
ED_OEF374_00759
ED_OEF374_00760
ED_OEF374_00761
ED_OEF374_00762
ED_OEF374_00763
ED_OEF374_00764
ED_OEF374_00765
ED_OEF374_00766
ED_OEF374_00767
ED_OEF374_00768
ED_OEF374_00769
ED_OEF374_00770
ED_OEF374_00771
ED_OEF374_00772
ED_OEF374_00773
ED_OEF374_00774
ED_OEF374_00775
ED_OEF374_00776
ED_OEF374_00777
ED_OEF374_00778
ED_OEF374_00779
ED_OEF374_00780
ED_OEF374_00781
ED_OEF374_00782
ED_OEF374_00783
ED_OEF374_00784
ED_OEF374_00785
ED_OEF374_00786
ED_OEF374_00787
ED_OEF374_00788
ED_OEF374_00789
ED_OEF374_00790
ED_OEF374_00791
ED_OEF374_00792
ED_OEF374_00793
ED_OEF374_00794
ED_OEF374_00795
ED_OEF374_00796
ED_OEF374_00797
ED_OEF374_00798
ED_OEF374_00799
ED_OEF374_00800
ED_OEF374_00801
ED_OEF374_00802
ED_OEF374_00803
ED_OEF374_00804
ED_OEF374_00805
ED_OEF374_00806
ED_OEF374_00807
ED_OEF374_00808
ED_OEF374_00809
ED_OEF374_00810
ED_OEF374_00811
ED_OEF374_00812
ED_OEF374_00813
ED_OEF374_00814
ED_OEF374_00815
ED_OEF374_00816
ED_OEF374_00817
ED_OEF374_00818
ED_OEF374_00819
ED_OEF374_00820
ED_OEF374_00821
ED_OEF374_00822
ED_OEF374_00823
ED_OEF374_00824
ED_OEF374_00825
ED_OEF374_00826
ED_OEF374_00827
ED_OEF374_00828
ED_OEF374_00829
ED_OEF374_00830
ED_OEF374_00831
ED_OEF374_00832
ED_OEF374_00833
ED_OEF374_00834
ED_OEF374_00835
ED_OEF374_00836
ED_OEF374_00837
ED_OEF374_00838
ED_OEF374_00839
ED_OEF374_00840
ED_OEF374_00841
ED_OEF374_00842
ED_OEF374_00843
ED_OEF374_00844
ED_OEF374_00845
ED_OEF374_00846
ED_OEF374_00847
ED_OEF374_00848
ED_OEF374_00849
ED_OEF374_00850
ED_OEF374_00851
ED_OEF374_00852
ED_OEF374_00853
ED_OEF374_00854
ED_OEF374_00855
ED_OEF374_00856
ED_OEF374_00857
ED_OEF374_00858
ED_OEF374_00859
ED_OEF374_00860
ED_OEF374_00861
ED_OEF374_00862
ED_OEF374_00863
ED_OEF374_00864
ED_OEF374_00865
ED_OEF374_00866
ED_OEF374_00867
ED_OEF374_00868
ED_OEF374_00869
ED_OEF374_00870
ED_OEF374_00871
ED_OEF374_00872
ED_OEF374_00873
ED_OEF374_00874
ED_OEF374_00875
ED_OEF374_00876
ED_OEF374_00877
ED_OEF374_00878
ED_OEF374_00879
ED_OEF374_00880
ED_OEF374_00881
ED_OEF374_00882
ED_OEF374_00883
ED_OEF374_00884
ED_OEF374_00885
ED_OEF374_00886
ED_OEF374_00887
ED_OEF374_00888
ED_OEF374_00889
ED_OEF374_00890
ED_OEF374_00891
ED_OEF374_00892
ED_OEF374_00893
ED_OEF374_00894
ED_OEF374_00895
ED_OEF374_00896
ED_OEF374_00897
ED_OEF374_00898
ED_OEF374_00899
ED_OEF374_00900
ED_OEF374_00901
ED_OEF374_00902
ED_OEF374_00903
ED_OEF374_00904
ED_OEF374_00905
ED_OEF374_00906
ED_OEF374_00907
ED_OEF374_00908
ED_OEF374_00909
ED_OEF374_00910
ED_OEF374_00911
ED_OEF374_00912
ED_OEF374_00913
ED_OEF374_00914
ED_OEF374_00915
ED_OEF374_00916
ED_OEF374_00917
ED_OEF374_00918
ED_OEF374_00919
ED_OEF374_00920
ED_OEF374_00921
ED_OEF374_00922
ED_OEF374_00923
ED_OEF374_00924
ED_OEF374_00925
ED_OEF374_00926
ED_OEF374_00927
ED_OEF374_00928
ED_OEF374_00929
ED_OEF374_00930
ED_OEF374_00931
ED_OEF374_00932
ED_OEF374_00933
ED_OEF374_00934
ED_OEF374_00935
ED_OEF374_00936
ED_OEF374_00937
ED_OEF374_00938
ED_OEF374_00939
ED_OEF374_00940
ED_OEF374_00941
ED_OEF374_00942
ED_OEF374_00943
ED_OEF374_00944
ED_OEF374_00945
ED_OEF374_00946
ED_OEF374_00947
ED_OEF374_00948
ED_OEF374_00949
ED_OEF374_00950
ED_OEF374_00951
ED_OEF374_00952
ED_OEF374_00953
ED_OEF374_00954
ED_OEF374_00955
ED_OEF374_00956
ED_OEF374_00957
ED_OEF374_00958
ED_OEF374_00959
ED_OEF374_00960
ED_OEF374_00961
ED_OEF374_00962
ED_OEF374_00963
ED_OEF374_00964
ED_OEF374_00965
ED_OEF374_00966
ED_OEF374_00967
ED_OEF374_00968
ED_OEF374_00969
ED_OEF374_00970
ED_OEF374_00971
ED_OEF374_00972
ED_OEF374_00973
ED_OEF374_00974
ED_OEF374_00975
ED_OEF374_00976
ED_OEF374_00977
ED_OEF374_00978
ED_OEF374_00979
ED_OEF374_00980
ED_OEF374_00981
ED_OEF374_00982
ED_OEF374_00983
ED_OEF374_00984
ED_OEF374_00985
ED_OEF374_00986
ED_OEF374_00987
ED_OEF374_00988
ED_OEF374_00989
ED_OEF374_00990
ED_OEF374_00991
ED_OEF374_00992
ED_OEF374_00993
ED_OEF374_00994
ED_OEF374_00995
ED_OEF374_00996
ED_OEF374_00997
ED_OEF374_00998
ED_OEF374_00999
ED_OEF374_01000
ED_OEF374_01001
ED_OEF374_01002
ED_OEF374_01003
ED_OEF374_01004
ED_OEF374_01005
ED_OEF374_01006
ED_OEF374_01007
ED_OEF374_01008
ED_OEF374_01009
ED_OEF374_01010
ED_OEF374_01011
ED_OEF374_01012
ED_OEF374_01013
ED_OEF374_01014
ED_OEF374_01015
ED_OEF374_01016
ED_OEF374_01017
ED_OEF374_01018
ED_OEF374_01019
ED_OEF374_01020
ED_OEF374_01021
ED_OEF374_01022
ED_OEF374_01023
ED_OEF374_01024
ED_OEF374_01025
ED_OEF374_01026
ED_OEF374_01027
ED_OEF374_01028
ED_OEF374_01029
ED_OEF374_01030
ED_OEF374_01031
ED_OEF374_01032
ED_OEF374_01033
ED_OEF374_01034
ED_OEF374_01035
ED_OEF374_01036
ED_OEF374_01037
ED_OEF374_01038
ED_OEF374_01039
ED_OEF374_01040
ED_OEF374_01041
ED_OEF374_01042
ED_OEF374_01043
ED_OEF374_01044
ED_OEF374_01045
ED_OEF374_01046
ED_OEF374_01047
ED_OEF374_01048
ED_OEF374_01049
ED_OEF374_01050
ED_OEF374_01051
ED_OEF374_01052
ED_OEF374_01053
ED_OEF374_01054
ED_OEF374_01055
ED_OEF374_01056
ED_OEF374_01057
ED_OEF374_01058
ED_OEF374_01059
ED_OEF374_01060
ED_OEF374_01061
ED_OEF374_01062
ED_OEF374_01063
ED_OEF374_01064
ED_OEF374_01065
ED_OEF374_01066
ED_OEF374_01067
ED_OEF374_01068
ED_OEF374_01069
ED_OEF374_01070
ED_OEF374_01071
ED_OEF374_01072
ED_OEF374_01073
ED_OEF374_01074
ED_OEF374_01075
ED_OEF374_01076
ED_OEF374_01077
ED_OEF374_01078
ED_OEF374_01079
ED_OEF374_01080
ED_OEF374_01081
ED_OEF374_01082
ED_OEF374_01083
ED_OEF374_01084
ED_OEF374_01085
ED_OEF374_01086
ED_OEF374_01087
ED_OEF374_01088
ED_OEF374_01089
ED_OEF374_01090
ED_OEF374_01091
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL