## Instructions
Distribution Network Service Provider
Annual Reporting RIN Template
This template is to be used by Endeavour Energy to fulfil its reporting obligations to the AER.
INSTRUCTIONS
Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
Identifying CONFIDENTIAL INFORMATION: Please use the macro at the top of each worksheet to identify confidential information.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selected cells as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return cells to NON-CONFIDENTIAL macro
UNITS OF MEASURE All amounts are to be unrounded and reported in nominal terms on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
COLOUR CODING OF INPUT / NON-INPUT CELLS:
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
WORKSHEET NAVIGATION Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin of excel (for Row groupings) or above the columns (for column groupings).
RETURNING COMPLETED RESPONSES Please return four (4) files - using the locked template - to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selected cells CONFIDENTIAL macro. 2. An actual and an estimate version with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 3. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public. If the confidential and public versions of the consolidated file are exactly the same, only the public version of the file needs to be submitted to the AER.
SUBMITTING AMENDED DATA TO THE AER If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
Contents
Instructions

## Contents
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2016-17
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
1.0 Business & other details
3.2.3 Provisions

## Business & other details
ECONOMIC BENCHMARKING
Endeavour Energy
Benchmarking RIN response 2016-17
BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEETS
ENTITY DETAILS
Short name | Endeavour Energy |  |  | Select business name from drop down list first
ACN / ABN | 59253130878
Business address | Address 1 |  | 51 Huntingwood Drive
Address 2
| Suburb |  | HUNTINGWOOD
|  | State | NSW | p/code | 2148
Postal address | Address 1 |  | PO Box 811
Address 2
| Suburb |  | SEVEN HILLS
|  | State | NSW | p/code | 1730
Contact name/s
Contact phone/s
Contact email address/s
REGULATORY CONTROL PERIODS
Commencing regulatory year | 2016-17 | CRY
Source | Reporting |  | Please select the correct submission type from the dropdown list.
Data quality (actual, estimate, public, consolidated) | Public
Amended RIN submission - amendment reason | 20211105 - 3.5 amended (#13031491) 3.3 RAB updated - see D18/97260 20220222 3.5 from 2019 - #13,581,931 25022022 - 3.5 #13,571,283
Submission Date | 2021-11-05 | dms_SubmissionDate | Please enter date this file submitted to AER (dd/mm/yyyy)
EBSS - First application of scheme in forthcoming period? | No
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2016-17
3.1 REVENUE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2016-17 | 2016-17
DREV0101 | Revenue from Fixed Customer Charges | 171257125.1914 | 0
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 498971888.9929 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | 29566819.3583 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 15268425.1281 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 6003650.7607 | 0
DREV0106 | Revenue from controlled load customer charges | 5324427.4347 | 0
DREV0107 | Revenue from unmetered supplies | 8950223.7253 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | 0 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | 140391786.0215 | 0
DREV0110 | Revenue from metering charges | 0 | 17106601.0862
DREV0111 | Revenue from connection charges | 0 | 0
DREV0112 | Revenue from public lighting charges | 0 | 20653626.9685
DREV0113 | Revenue from other Sources | 0 | 32864430.2404
DREV01 | Total revenue by chargeable quantity | 875734346.6129 | 70624658.2951
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2016-17 | 2016-17
DREV0201 | Revenue from residential Customers | 495583568.0137 | 0
DREV0202 | Revenue from Non residential customers not on demand tariffs | 148336606.7046 | 0
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 159109380.1727 | 0
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 63754567.9966 | 0
DREV0205 | Revenue from unmetered supplies | 8950223.7253 | 0
DREV0206 | Revenue from Other Customers | 0 | 70624658.2951
DREV02 | Total revenue by customer class | 875734346.6129 | 70624658.2951
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2016-17 | 2016-17
DREV0301 | EBSS | 26564172.9768 | 0
DREV0302 | STPIS | 0 | 0
DREV0303 | F-Factor | 0 | 0
DREV0304 | S-Factor True up | 0 | 0
DREV0305 | Other | 0 | 0
DREV03 | Total revenue of incentive schemes | 26564172.9768 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2016-17
3.2 OPERATING EXPENDITURE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to Endeavour Energy's annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2016-17 | 2016-17
DOPEX0101 | Vegetation management | 35962984.19 | 0
DOPEX0102 | Maintenance | 65527278.2899 | 0
DOPEX0103 | Emergency response | 19987720.161 | 0
DOPEX0104 | Non-network | 71801648.1037 | 0
DOPEX0105 | network overheads | 66844195.5912 | 0
DOPEX0106 | corporate overheads | 116760924.3721 | 0
DOPEX0107 | Balancing Item | -71801648.1037 | 0
DOPEX0108 | Metering | 0 | 19479747.229
DOPEX0109 | Public Lighting | 0 | 16914373.6584
DOPEX0110 | Ancillary network services | 0 | 29909515.9436
DOPEX0111
DOPEX0112
DOPEX0113
DOPEX0114
DOPEX0115
DOPEX0116
DOPEX0117
DOPEX0118
DOPEX0119
DOPEX0120
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 305083102.6042 | 66303636.831
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2016-17 | 2016-17
DOPEX0201 | Opex for network services | 305083102.6042 | 0
DOPEX0202 | Opex for metering | 0 | 19479747.229
DOPEX0203 | Opex for connection services | 0 | 29909515.9436
DOPEX0204 | Opex for public lighting | 0 | 16914373.6584
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP | 0 | 0
DOPEX0206 | Opex for transmission connection point planning | 0 | 0
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 197
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2016-17
3.2 OPERATING EXPENDITURE
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to Endeavour Energy's annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE ($0's)
2016-17
DOPEX03A | Employee Entitlements
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. The Employee Benefits provision relates to amounts accruing to employees up to reporting date in respect of employee benefits including annual leave, maturing allowance, pre 93 sick leave and long service leave. Amounts provided for in relation to maturing allowance, pre 93 sick leave and long service leave have been based on an actuarial assessment and associated formulae provided for intervening periods between assessments. All other employee benefit amounts have been calculated at nominal amounts based on expected settlement rates.
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 153704841
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 52843990
DOPEX0303A | Capex component | 18584382
DOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -47812243.1128
DOPEX0306A | Capex component | -16998006.9405
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | -3998908.5447
DOPEX0309A | Capex component | -933725.7152
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | -14313320.7608
DOPEX0312A | Capex component | -5299392.666
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 135777615.4729
DOPEX03B | Self Insurance (WC)
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. The Self Insurance provision relates to workers compensation and has been based on actuarial assessment outcomes.
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 15555718
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 1159013
DOPEX0303B | Capex component | 429115
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | -585997.0235
DOPEX0306B | Capex component | -216960.7166
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | 0
DOPEX0309B | Capex component | 0
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 16340888.3793
DOPEX03C | Defined Benefits Superannuation
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. The Defined Benefits Superannuation liability provision has been based on an EISS actuarial assessment.
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 74515989
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 1096276
DOPEX0303C | Capex component | 405887
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | -239361.5481
DOPEX0306C | Capex component | -88621.701
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | 906609
DOPEX0309C | Capex component | 335665
DOPEX0310C | Other component | -23439079
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 0
DOPEX0312C | Capex component | 0
DOPEX0313C | Other component | -41266116
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 12227247.1933
DOPEX03D | Other
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. Other Provisions have not been detailed due to commercial and legal sensitivity.
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 6046737
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 8854023
DOPEX0303D | Capex component | 2800947
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -3701466.7891
DOPEX0306D | Capex component | -1265852.5489
DOPEX0307D | Other component | 0
Unused amounts reversed during the period
DOPEX0308D | Opex component | 0
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 12734387.8063
DOPEX03E | Dividend
Provisions are required to comply with Accounting Standards. A provision is recognised if, as a result of a past event, the Corporation has a present legal or constructive obligation that can be estimated reliably, and it is probable that an outflow of economic benefits will be required to settle the obligation. The Provision for Dividend represents amounts determined by the Directors and approved by the Shareholding Ministers, in accordance with the requirements of NSW Treasury Policy TPP 14-4 Financial Distribution Policy for Government Businesses. The NSW Treasury Policy is no longer relevant after ompletion on 13 June 2017 and no provision for distribution has been raised as at 30 June 2017.
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | 114356152
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | 0
DOPEX0303E | Capex component | 0
DOPEX0304E | Other component | 40037653
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | 0
DOPEX0306E | Capex component | 0
DOPEX0307E | Other component | -154393804.4494
Unused amounts reversed during the period
DOPEX0308E | Opex component | 0
DOPEX0309E | Capex component | 0
DOPEX0310E | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component | 0
DOPEX0312E | Capex component | 0
DOPEX0313E | Other component | 0
DOPEX0314E | Closing balance (carrying amount at the end of the period) | 0
DOPEX03F | Provision name
DOPEX03G | Provision name
DOPEX03H | Provision name
DOPEX03I | Provision name
Brief description of provision
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J | Provision name
DOPEX03K | Provision name
DOPEX03L | Provision name
DOPEX03M | Provision name
DOPEX03N | Provision name
DOPEX03O | Provision name
DOPEX03P | Provision name
DOPEX03Q | Provision name
DOPEX03R | Provision name
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
Australian Distribution Co.
Benchmarking RIN response 2016-17
3.3 ASSETS
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2016-17 | 2016-17 | 2016-17
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 5975304348.5631 | 5975304348.5631 | 28154632
DRAB0102 | Inflation addition | 76304095.4657 | 76304095.4657 | 359532.1004
DRAB0103 | Straight line depreciation | -236198012.16 | -236198012.16 | -876299.9474
DRAB0105 | Actual additions (recognised in RAB) | 204452474.4341 | 204452474.4341 | 4390974.0051
DRAB0106 | Disposals | -11307376.5475 | -11307376.5475 | -90825.7595
DRAB0107 | Closing value | 6008555529.7555 | 6008555529.7555 | 31938012.3986
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2016-17 | 2016-17 | 2016-17
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 829826274.5582 | 829826274.5582 | 0
DRAB0202 | Inflation addition | 10596806.3851 | 10596806.3851 | 0
DRAB0203 | Straight line depreciation | -32888330.1946 | -32888330.1946 | 0
DRAB0205 | Actual additions (recognised in RAB) | 70695817.6869 | 70695817.6869 | 0
DRAB0206 | Disposals | 0 | 0 | 0
DRAB0207 | Closing value | 878230568.4357 | 878230568.4357 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 1464057244.345 | 1464057244.345 | 0
DRAB0302 | Inflation addition | 18695878.4395 | 18695878.4395 | 0
DRAB0303 | Straight line depreciation | -58024672.8165 | -58024672.8165 | 0
DRAB0305 | Actual additions (recognised in RAB) | 14273811.5683 | 14273811.5683 | 0
DRAB0306 | Disposals | 0 | 0 | 0
DRAB0307 | Closing value | 1439002261.5363 | 1439002261.5363 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 532574915.2752 | 532574915.2752 | 0
DRAB0402 | Inflation addition | 6800933.4433 | 6800933.4433 | 0
DRAB0403 | Straight line depreciation | -21107429.5957 | -21107429.5957 | 0
DRAB0405 | Actual additions (recognised in RAB) | 19842927.8145 | 19842927.8145 | 0
DRAB0406 | Disposals | -326421.7229 | -326421.7229 | 0
DRAB0407 | Closing value | 537784925.2142 | 537784925.2142 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 304341760.8431 | 304341760.8431 | 0
DRAB0502 | Inflation addition | 3886416.7277 | 3886416.7277 | 0
DRAB0503 | Straight line depreciation | -12061912.9925 | -12061912.9925 | 0
DRAB0505 | Actual additions (recognised in RAB) | 18110226.7777 | 18110226.7777
DRAB0506 | Disposals | 0 | 0 | 0
DRAB0507 | Closing value | 314276491.3561 | 314276491.3561 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 110256841.4224 | 110256841.4224 | 0
DRAB0602 | Inflation addition | 1407969.8812 | 1407969.8812 | 0
DRAB0603 | Straight line depreciation | -4369786.2048 | -4369786.2048 | 0
DRAB0605 | Actual additions (recognised in RAB) | 15636043.8647 | 15636043.8647 | 0
DRAB0606 | Disposals | 0 | 0 | 0
DRAB0607 | Closing value | 122931068.9635 | 122931068.9635 | 0
Zone substations and transformers
DRAB0701 | Opening value | 2356130522.5077 | 2356130522.5077 | 0
DRAB0702 | Inflation addition | 30087573.4242 | 30087573.4242 | 0
DRAB0703 | Straight line depreciation | -93380025.412 | -93380025.412 | 0
DRAB0705 | Actual additions (recognised in RAB) | 40998159.8944 | 40998159.8944 | 0
DRAB0706 | Disposals | -1219173.0336 | -1219173.0336 | 0
DRAB0707 | Closing value | 2332617057.3807 | 2332617057.3807 | 0
For easements:
DRAB0801 | Opening value | 15642811.1971 | 15642811.1971 | 0
DRAB0802 | Inflation addition | 199757.2825 | 199757.2825 | 0
DRAB0805 | Actual additions (recognised in RAB) | 139862.918 | 139862.918 | 0
DRAB0806 | Disposals | 0 | 0 | 0
DRAB0807 | Closing value | 15982431.3976 | 15982431.3976 | 0
For meters:
DRAB0901 | Opening value | 23615450.9295 | 23615450.9295 | 27895073.5527
DRAB0902 | Inflation addition | 301567.17 | 301567.17 | 356217.5634
DRAB0903 | Straight line depreciation | -935946.1994 | -935946.1994 | -868221.3124
DRAB0905 | Actual additions (recognised in RAB) | 1799183.3283 | 1799183.3283 | 2955159.9156
DRAB0906 | Disposals | 0 | 0 | 0
DRAB0907 | Closing value | 24780255.2284 | 24780255.2284 | 30338229.7193
For “other” asset items with long lives:
DRAB1001 | Opening value | 219160976.1203 | 219160976.1203 | 330531.9111
DRAB1002 | Inflation addition | 2798665.82 | 2798665.82 | 4220.8626
DRAB1003 | Straight line depreciation | -8685960.8684 | -8685960.8684 | -10287.6535
DRAB1005 | Actual additions (recognised in RAB) | 3589859.4918 | 3589859.4918 | 80643.2297
DRAB1006 | Disposals | -8600772.9348 | -8600772.9348 | 0
DRAB1007 | Closing value | 208262767.6288 | 208262767.6288 | 405108.35
For “other” asset items with short lives:
DRAB1101 | Opening value | 119697551.3646 | 119697551.3646 | -70973.5313
DRAB1102 | Inflation addition | 1528526.8923 | 1528526.8923 | -906.3256
DRAB1103 | Straight line depreciation | -4743947.8761 | -4743947.8761 | 2209.0185
DRAB1105 | Actual additions (recognised in RAB) | 19366581.0895 | 19366581.0895 | 1355170.8241
DRAB1106 | Disposals | -1161008.8562 | -1161008.8562 | -90825.7595
DRAB1107 | Closing value | 134687702.6141 | 134687702.6141 | 1194674.2262
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2016-17 | 2016-17 | 2016-17
DRAB1201 | Overhead distribution assets (wires and poles) | 854028421.497 | 854028421.497 | 0
DRAB1202 | Underground distribution assets (cables, ducts etc) | 1451529752.9406 | 1451529752.9406 | 0
DRAB1203 | Distribution substations including transformers | 535179920.2447 | 535179920.2447 | 0
DRAB1204 | Overhead assets 33kV and above (wires and towers / poles etc) | 309309126.0996 | 309309126.0996 | 0
DRAB1205 | Underground assets 33kV and above (cables, ducts etc) | 116593955.193 | 116593955.193 | 0
DRAB1206 | Zone substations | 2344373789.9442 | 2344373789.9442 | 0
DRAB1207 | Easements | 15812621.2974 | 15812621.2974 | 0
DRAB1208 | Meters | 24197853.079 | 24197853.079 | 29116651.636
DRAB1209 | "Other" assets with long lives | 213711871.8746 | 213711871.8746 | 367820.1306
DRAB1210 | "Other" assets with short lives | 127192626.9893 | 127192626.9893 | 561850.3475
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 0 | 0 | 0
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2016-17 | 2016-17 | 2016-17
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 53.1639 | 53.1639 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | 60 | 60 | 0
DRAB1403 | Distribution substations including transformers | 41.646 | 41.646 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 56.2914 | 56.2914 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 45 | 45 | 0
DRAB1406 | Zone substations and transformers | 45.283 | 45.283 | 0
DRAB1407 | Meters | 25 | 25 | 25
DRAB1408 | "Other" assets with long lives | 46.2742 | 46.2742 | 46.2742
DRAB1409 | "Other" assets with short lives | 7.0062 | 7.0062 | 7.0062
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 40.5321 | 40.5321 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | 48.8415 | 48.8415 | 0
DRAB1503 | Distribution substations including transformers | 33.0282 | 33.0282 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 46.6691 | 46.6691 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 33.5278 | 33.5278 | 0
DRAB1506 | Zone substations and transformers | 38.776 | 38.776 | 0
DRAB1507 | Meters | 15.9726 | 15.9726 | 15.9726
DRAB1508 | "Other" assets with long lives | 35.6471 | 35.6471 | 35.6471
DRAB1509 | "Other" assets with short lives | 3.7218 | 3.7218 | 3.7218
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2016-17
3.4 OPERATIONAL DATA
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
VOLUME (0's)
|  | Units | 2016-17
DOPED01 | Total energy delivered | GWh | 16716.157
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 6666.3879
DOPED0202 | Energy Delivery at On-peak times | GWh | 2095.7078
DOPED0203 | Energy Delivery at Shoulder times | GWh | 2373.2383
DOPED0204 | Energy Delivery at Off-peak times | GWh | 4598.7418
DOPED0205 | Controlled load energy deliveries | GWh | 837.2493
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 144.8318
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 3361.7442
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 3719.7049
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 7924.6856
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 0
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 659.178
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 619.8285
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 892.6018
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 0
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 0
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 234.9204
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 5876.951
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 2034.4388
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 3808.5982
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 4996.1691
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 0
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME (0's)
2016-17
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 879356.5
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 78304.5
DOPCN0103 | Low voltage demand tariff customer numbers |  | 4891.5
DOPCN0104 | High voltage demand tariff customer numbers |  | 342
DOPCN0105 | Unmetered Customer Numbers |  | 6363
DOPCN0106 | Other Customer Numbers |  | 14972
DOPCN01 | Total customer numbers |  | 984229.5
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | Customers on CBD network |  | 0
DOPCN0202 | Customers on Urban network |  | 825424.927
DOPCN0203 | Customers on Short rural network |  | 158494.5023
DOPCN0204 | Customers on Long rural network |  | 310.0707
DOPCN02 | Total customer numbers |  | 984229.5
3.4.2.3 - Distribution customer numbers by TasNetworks (D) feeder categories (TasNetworks (D) only)
Critical Infrastructure
High Density Commercial
Urban
High Density Rural
Low Density Rural
| Total customer numbers |  | 0
3.4.2.4 - Unmetered Supply TasNetworks (D) only)
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN |  | 6363
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN |  | 1313
DOPCN0303 | Total unmetered connections |  | 7676
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME (0's)
|  | Units | 2016-17
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 4635.031
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 4388.9173
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 4112.7169
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 4049.4092
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3842
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3535.68
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 4344.0417
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 4081.158
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3798.554
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 4106.58
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3865.38
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3556.49
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 4739.1182
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 4550.0453
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 4266.4384
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 4054.4382
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3846.7714
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3540.071
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 4441.5942
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 4169.3539
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3883.8567
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 4111.68
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3870.1805
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3560.9068
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.999
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.938
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor | 0
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor | 0
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor | 0
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.938
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.9
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0.927
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0.983
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor | 0
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.983
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0.978
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor | 0
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 0
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 3061
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 0
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 18503
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2016-17
3.5 PHYSICAL ASSETS
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's (0's)
2016-17
Circuit length (kilometers)
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 8727.2526
DPA0102 | Overhead 2.2 kV | 0
DPA0103 | Overhead 6.6kv | 0
DPA0104 | Overhead 7.6 kV | 0
DPA0105 | Overhead 11 kV | 10712.157
DPA0106 | Overhead SWER | 483.2354
DPA0107 | Overhead 22 kV | 265.3893
DPA0108 | Overhead 33 kV | 1422.2593
DPA0109 | Overhead 44 kV | 0
DPA0110 | Overhead 66 kV | 509.2275
DPA0111 | Overhead 110kV | 0
DPA0112 | Overhead 132 kV | 1107.0332
DPA0113 | Overhead 220kV | 0
DPA0114 | Other | 0
DPA01 | Total overhead circuit km | 23226.5542
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 8540.7087
DPA0202 | Underground 5 kV | 0
DPA0203 | Underground 6.6 Kv | 0
DPA0204 | Underground 7.6 kV | 0
DPA0205 | Underground 11 kV | 4524.3232
DPA0206 | Underground SWER | 0
DPA0207 | Underground 22 kV | 326.2891
DPA0208 | Underground 33 kV | 198.4086
DPA0209 | Underground 66 kV | 34.2575
DPA0210 | Underground 110 kV | 0
DPA0211 | Underground 132 kV | 142.498
DPA0212 | Other | 0
DPA02 | Total underground circuit km | 13766.4851
VOLUME in MVA (0's)
| Circuit Capacity (MVA) | 2016-17
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.15847
DPA0302 | Overhead 6.6 kV | 0
DPA0303 | Overhead 7.6 kV | 0
DPA0304 | Overhead 11 kV | 3.4104
DPA0305 | Overhead SWER | 0.83949
DPA0306 | Overhead 22 kV | 5.3453
DPA0307 | Overhead 33 kV | 30.1391
DPA0308 | Overhead 44 kV | 0
DPA0309 | Overhead 66 kV | 42.0652
DPA0310 | Overhead 110 kV | 0
DPA0311 | Overhead 132 kV | 208.507
DPA0312 | Overhead 220 kV | 0
DPA0313 | Other | 0
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.17831
DPA0402 | Underground 5 kV | 0
DPA0403 | Underground 6.6 kV | 0
DPA0404 | Underground 7.6 kV | 0
DPA0405 | Underground 11 kV | 4.034
DPA0406 | Underground SWER | 0
DPA0407 | Underground 12.7 kV | 0
DPA0408 | Underground 22 kV | 8.3758
DPA0409 | Underground 33 kV | 44.3393
DPA0410 | Underground 66 kV | 79.6834
DPA0411 | Underground 110 kV | 0
DPA0412 | Underground 132 kV | 147.4267
DPA0413 | Other | 0
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA (0's)
2016-17
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 10168.802
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | 893.3
DPA0503 | Cold spare capacity included in DPA0501 | 0
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 6477.7505
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 6540.829
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 2365.1884
DPA0604 | Total zone substation transformer capacity | 15383.7679
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 0
3.5.2.3 - Distribution - other transformer capacity
| Distribution other - transformer capacity owned by utility | 0
3.5.3 - PUBLIC LIGHTING
VOLUME (0's)
2016-17
DPA0701 | Public lighting luminaires | 204651
DPA0702 | Public lighting poles | 246
DPA0703 | Public lighting columns | 100220
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2016-17
3.6 QUALITY OF SERVICE DATA
3.6.1 - RELIABILITY
(0's)
|  | Units | 2016-17
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 96.695
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 96.695
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 0.95459
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.95459
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 73.4343
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 73.4343
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 0.85216
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.85216
3.6.2 - ENERGY NOT SUPPLIED
(0's)
|  | Units | 2016-17
DQS0201 | Energy Not Supplied (planned) | GWh | 1.4288
DQS0202 | Energy Not Supplied (unplanned) | GWh | 0.96734
DQS02 | Total |  | 2.3962
3.6.3 - SYSTEM LOSSES
(0's)
|  | Unit | 2016-17
DQS03 | System losses | % | 4%
3.6.4 - CAPACITY UTILISATION
(0's)
|  | Unit | 2016-17
DQS04 | Overall utilisation | % | 48%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
Endeavour Energy
Benchmarking RIN response 2016-17
3.7 OPERATING ENVIRONMENT FACTORS
3.7.1 - DENSITY FACTORS
(0's)
|  | Units | 2016-17
DOEF0101 | Customer density | Customer / km | 36.281
DOEF0102 | Energy density | MWh/customer | 16.9838
DOEF0103 | Demand density | kVA / customer | 4.3344
3.7.2 - TERRAIN FACTORS
(0's)
2016-17
DOEF0201 | Rural proportion | % | 61%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 54153
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 83634
DOEF0204 | Total vegetation maintenance spans | Number of spans | 137787
DOEF0205 | Total number of spans | Number of spans | 301973
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 3
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 4
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 1
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 0
DOEF0212 | Tropical proportion | Spans | 0
DOEF0213 | Standard vehicle access | km | 17199
DOEF0214 | Bushfire risk | Spans | 88776
3.7.3 - SERVICE AREA FACTORS
(0's)
2016-17
DOEF0301 | Route Line length | km | 27128.4936
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## NSP amendments
Endeavour Energy data amendments
Amended Table | Comments
Opening the template | Upon opening the Economic Benchmarking template provided by the AER via email on 9 June 2017, a "run-time error '1004' is displayed stating an incorrect password has been provided. Endeavour Energy requests that this error within the template be noted.
Instructions | Endeavour Energy notes that the instruction sheet is incorrectly labelled Annual Reporting RIN and confirms that this submission of templates applies to the Economic Benchmarking RIN.
Business & other details | ABN number is incorrectly entered in the template and is unable to be changed due to the locked cell format . The correct ABN number for Endeavour Energy is 11 247 365 823.