## Contents
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2014-15
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
1.0 Business & other details
3.2.3 Provisions

## Business & other details
HIDE THIS COLUMN | REGULATORY REPORTING STATEMENT | [5 empty] | Data in these columns used for data validation and database purposes.
| Energex | [5 empty] | Date last modified:
| Benchmarking RIN response 2014-15 | [5 empty] | 14 April 2015 | merged cell C46/47
| BUSINESS & OTHER DETAILS | [5 empty] | 17 April 2015 | adjusted dms_RYE to automate based on dms_Model (NB: EB & CA refer to CRCP_y5)
[7 empty] | 14 May 2015 | adapted this cover for use in CA & EB RINs
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings.
SUBMISSION PARTICULARS INPUT SHEETS
Entity details
| Trading name | Energex
| ACN / ABN | 40078849055
[7 empty] | dms_Model_List | dms_Worksheet_List |  | dms_RYE_List1 | dms_RYE_List2
| Business address | Address 1 |  | 26 Reddacliff Street |  |  | CA | REGULATORY REPORTING STATEMENT |  | dms_RYE | 2015
|  |  | Address 2 |  |  |  | CAM/Service change Backcast | REGULATORY REPORTING STATEMENT |  | dms_RYE | 2016
|  | Suburb |  | NEWSTEAD |  |  | CPI | CPI |  | dms_RYE | 2016
|  |  | State | Qld | p/code | 4006 | EB | REGULATORY REPORTING STATEMENT |  | dms_RYE | 2015
[7 empty] | PTRM | POST TAX REVENUE MODEL |  | FRCP | 2021
| Postal address | Address 1 |  | GPO Box 1461 |  |  | Reset | REGULATORY REPORTING STATEMENT |  | FRCP | 2016
|  |  | Address 2 |  |  |  | RFM | ROLL FORWARD MODEL |  | CRCP | 2016
|  | Suburb |  | BRISBANE |  |  | WACC | WEIGHTED AVERAGE COST OF CAPITAL |  | dms_RYE | 2016
|  |  | State | Qld | p/code | 4001
[7 empty] | dms_TradingName_List | dms_ABN_List | dms_State_List | dms_Sector_List | dms_Segment_List | dms_FormControl | dms_CRCPlength_List | dms_FRCPlength_List | dms_JurisdictionList
| Contact name/s | [5 empty] | ActewAGL Distribution | 76670568688 | ACT | Electricity | Distribution | Revenue cap | 5 | 6 | ACT
| Contact phone/s | [5 empty] | ActewAGL Distribution (Tx Assets) | 76670568688 | ACT | Electricity | Distribution | Revenue cap | 5 | 5 | ACT
| Contact email address/s | [5 empty] | AGN | 78551685 | SA | Gas | Distribution | Revenue cap | 5 | 5 | SA
[7 empty] | Ausgrid | 67505337385 | NSW | Electricity | Distribution | Revenue cap | 5 | 5 | NSW
KEEP VISIBLE FOR RESET, PTRM & RFMS | Regulatory control period details | [5 empty] | Ausgrid (Tx Assets) | 67505337385 | NSW | Electricity | Distribution | Revenue cap | 5 | 5 | NSW
[7 empty] | AusNet (D) | 91064651118 | Vic | Electricity | Distribution | Revenue cap | 5 | 5 | Vic
| Forthcoming regulatory control period | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | AusNet (T) | 78079798173 | Vic | Electricity | Transmission | Revenue cap | 5 | 5 | Vic
[7 empty] | Australian Distribution Co. | 11222333444 | - | Electricity | Distribution | Revenue cap | 5 | 5 | -
[7 empty] | Australian Transmission Co. | 11222333444 | - | Electricity | Transmission | Revenue cap | 5 | 5 | -
| Current regulatory control period | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | CitiPower | 76064651056 | Vic | Electricity | Distribution | Revenue cap | 5 | 5 | Vic
[7 empty] | Directlink | 16779340889 | NSW | Electricity | Transmission | Revenue cap | 10 | 5 | Qld
[7 empty] | ElectraNet | 41094482416 | SA | Electricity | Transmission | Revenue cap | 5 | 5 | SA
| Previous regulatory control period | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | Endeavour Energy | 59253130878 | NSW | Electricity | Distribution | Revenue cap | 5 | 5 | NSW
[7 empty] | Energex | 40078849055 | Qld | Electricity | Distribution | Revenue cap | 5 | 5 | Qld
[7 empty] | Ergon Energy | 50087646062 | Qld | Electricity | Distribution | Revenue cap | 5 | 5 | Qld
KEEP VISIBLE FOR CA & EB ONLY | [6 empty] | Essential Energy | 37428185226 | NSW | Electricity | Distribution | Revenue cap | 5 | 5 | NSW
| Current regulatory year | 2014-15 |  |  |  |  | Jemena Electricity | 82064651083 | Vic | Electricity | Distribution | Revenue cap | 5 | 5 | Vic
[7 empty] | Murraylink | 79181207909 | NSW | Electricity | Transmission | Revenue cap | 5 | 5 | SA
[7 empty] | Powercor Australia | 89064651109 | Vic | Electricity | Distribution | Revenue cap | 5 | 5 | Vic
[7 empty] | Powerlink | 82078849233 | Qld | Electricity | Transmission | Revenue cap | 5 | 5 | Qld
[7 empty] | Qld,SA &ACT Gas Reset | 22222222222 | - | Gas | Distribution | ? | 5 | 5 | -
| Sector | Electricity |  |  |  |  | SA Power Networks | 13332330749 | SA | Electricity | Distribution | Revenue cap | 5 | 5 | SA
| Segment | Distribution |  |  |  |  | TasNetworks (D) | 24167357299 | Tas | Electricity | Distribution | Revenue cap | 5 | 5 | Tas
| Source | Reporting |  |  |  |  | TasNetworks (T) | 24167357299 | Tas | Electricity | Transmission | Revenue cap | 5 | 5 | Tas
| Regulatory Year Ending | 2015 |  |  |  |  | TransGrid | 19622755774 | NSW | Electricity | Transmission | Revenue cap | 5 | 5 | NSW
| Reporting Period Type | Financial |  |  |  |  | United Energy | 70064651029 | Vic | Electricity | Distribution | Revenue cap | 5 | 5 | Vic
| Model or RIN Type | EB |  |  |  |  | Victorian DNSP Backcasting | 33333333666 | Vic | Electricity | Distribution | ? | 5 | 5 | Vic
| Security Classification | Public |  |  |  |  | Victorian DNSP Reset | 33333333333 | Vic | Electricity | Distribution | ? | 5 | 5 | Vic
| Data quality (actual, estimate, public, consolidated) | Consolidated
| EBSS - First application of scheme in forthcoming period? | No
| Amended RIN submission - amendment reason | 20220225 - Amendments to section 3.5 #13,571,283
HIDE THESE ROWS | Template - version no. | 1
| Dollar $ real (the last month before the FRCP_y1) | 2015-06-01 |  |  |  |  | dms_SourceList | dms_FormControl
| Form of control | Revenue cap |  |  |  |  | After appeal | Revenue cap
| Length of current reg control period | 5 |  |  |  |  | Draft decision | Revenue yield
| Length of forthcoming reg control period | 5 |  |  |  |  | Final decision | Weighted average price cap
| RIN response - version no. | 1 |  |  |  |  | Pass through decision
| Jurisdiction | Qld |  |  |  |  | PTRM annual update
PTRM interim update 1
PTRM interim update 2
PTRM interim update 3
PTRM interim update 4
Regulatory proposal
Reporting
Revised regulatory proposal
RFM annual update
WACC annual update
Notes
[7 empty] | RFM - Base year is usually CRCP_y1 | EG. Victorian 2016-20 - base year = 2011
RFM - Form of Control Field is not relevant
[7 empty] | PTRM - capture base year input by NSP | ='[Published version - PTRM - TNSP - version 3 - January 2015 - Appendix A.xlsm]PTRM input'!Q7

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2014-15
3.1 REVENUE
|  |  |  | Standard control services | Alternative control services
Actual ($0's)
|  |  |  | 2014-15 | 2014-15
TABLE 3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
ED_REV311_00001 | DREV0101 | Revenue from Fixed Customer Charges |  | 322330765.75 | 4209051.72
ED_REV311_00002 | DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant |  | 883917011.33 | 0
ED_REV311_00003 | DREV0103 | Revenue from On–Peak Energy Delivery charges |  | 37558390.66 | 0
ED_REV311_00004 | DREV0104 | Revenue from Shoulder period Energy Delivery Charges |  | 80171.57 | 0
ED_REV311_00005 | DREV0105 | Revenue from Off–Peak Energy Delivery charges |  | 21130701.86 | 0
ED_REV311_00006 | DREV0106 | Revenue from controlled load customer charges |  | 106051478.47 | 0
ED_REV311_00007 | DREV0107 | Revenue from unmetered supplies |  | 5930727.26 | 0
ED_REV311_00008 | DREV0108 | Revenue from Contracted Maximum Demand charges |  | 48126117.34 | 0
ED_REV311_00009 | DREV0109 | Revenue from Measured Maximum Demand charges |  | 466207466.97 | 0
ED_REV311_00010 | DREV0110 | Revenue from metering charges |  | 0 | 1013531.34
ED_REV311_00011 | DREV0111 | Revenue from connection charges |  | 0 | 0
ED_REV311_00012 | DREV0112 | Revenue from public lighting charges |  | 14841568.49 | 54635970.1347
ED_REV311_00013 | DREV0113 | Revenue from other Sources |  | 0 | 29932201.4
| DREV01 | Total revenue by chargeable quantity | $0's | 1906174399.7 | 89790754.5947
TABLE 3.1.2 REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
ED_REV312_00001 | DREV0201 | Revenue from residential Customers |  | 1033076784.52 | 0
ED_REV312_00002 | DREV0202 | Revenue from Non residential customers not on demand tariffs |  | 252517402.75 | 0
ED_REV312_00003 | DREV0203 | Revenue from Non-residential low voltage demand tariff customers |  | 411793230.35 | 0
ED_REV312_00004 | DREV0204 | Revenue from Non-residential high voltage demand tariff customers |  | 188014686.33 | 0
ED_REV312_00005 | DREV0205 | Revenue from unmetered supplies |  | 20772295.75 | 54635970.1347
ED_REV312_00006 | DREV0206 | Revenue from Other Customers |  | 0 | 35154784.46
| DREV02 | Total revenue by customer class | $0's | 1906174399.7 | 89790754.5947
TABLE 3.1.3 REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
ED_REV313_00001 | DREV0301 | EBSS |  | 0 | 0
ED_REV313_00002 | DREV0302 | STPIS |  | 34557260 | 0
ED_REV313_00003 | DREV0303 | F-Factor |  | 0 | 0
ED_REV313_00004 | DREV0304 | S-Factor True up |  | 0 | 0
ED_REV313_00005 | DREV0305 | Other |  | 0 | 0
| DREV03 | Total revenue of incentive schemes | $0's | 34557260 | 0
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL

## 3.2 Operating expenditure
|  | REGULATORY REPORTING STATEMENT |  |  | Worksheet navigation
Energex
Benchmarking RIN response 2014-15
3.2 OPERATING EXPENDITURE
Instructions
Energex must fill in opex in table 3.2.1 for opex categories reported in response to its annual reporting RIN.
|  |  |  | Standard control services | Alternative control services
Actual ($0's)
ED_OPX3211 |  |  |  | 2014-15 | 2014-15
TABLE 3.2.1 - OPEX CATEGORIES
Table 3.2.1.1 Current opex categories and cost allocations
ED_OPX3211_00001 | DOPEX0101 | Inspection |  | 22644565.08
ED_OPX3211_00002 | DOPEX0102 | Planned maintenance |  | 66953684.01
ED_OPX3211_00003 | DOPEX0103 | Corrective repair |  | 48835393.83
ED_OPX3211_00004 | DOPEX0104 | Vegetation |  | 67463602.19
ED_OPX3211_00005 | DOPEX0105 | Emergency response/storms |  | 9778617.01
ED_OPX3211_00006 | DOPEX0106 | Other network maintenance costs |  | 0 | 14306418.31
ED_OPX3211_00007 | DOPEX0107 | Network operating costs |  | 29055523.5
ED_OPX3211_00008 | DOPEX0108 | Meter reading and network billing |  | 13684158.94
ED_OPX3211_00009 | DOPEX0109 | Customer services (inc call centre) |  | 20060787.25
ED_OPX3211_00010 | DOPEX0110 | DSM initiatives |  | 17492189.45
ED_OPX3211_00011 | DOPEX0111 | Levies |  | 8819000
ED_OPX3211_00012 | DOPEX0112 | Debt raising costs |  | 4779777.7
ED_OPX3211_00013 | DOPEX0113 | Other operating costs (inc self insurance) |  | 289028559 | 33639827.77
ED_OPX3211_00014 | DOPEX0114
ED_OPX3211_00015 | DOPEX0115
ED_OPX3211_00016 | DOPEX0116
ED_OPX3211_00017 | DOPEX0117
ED_OPX3211_00018 | DOPEX0118
ED_OPX3211_00019 | DOPEX0119
ED_OPX3211_00020 | DOPEX0120
ED_OPX3211_00021 | DOPEX0121
ED_OPX3211_00022 | DOPEX0122
ED_OPX3211_00023 | DOPEX0123
ED_OPX3211_00024 | DOPEX0124
ED_OPX3211_00025 | DOPEX0125
ED_OPX3211_00026 | DOPEX0126
ED_OPX3211_00027 | DOPEX0127
ED_OPX3211_00028 | DOPEX0128
ED_OPX3211_00029 | DOPEX0129
ED_OPX3211_00030 | DOPEX0130
ED_OPX3211_00031 | DOPEX0131
ED_OPX3211_00032 | DOPEX0132
ED_OPX3211_00033 | DOPEX0133
ED_OPX3211_00034 | DOPEX0134
ED_OPX3211_00035 | DOPEX0135
ED_OPX3211_00036 | DOPEX0136
ED_OPX3211_00037 | DOPEX0137
ED_OPX3211_00038 | DOPEX0138
ED_OPX3211_00039 | DOPEX0139
ED_OPX3211_00040 | DOPEX0140
ED_OPX3211_00041 | DOPEX0141
ED_OPX3211_00042 | DOPEX0142
| DOPEX01 | Total opex | ($0's) | 598595857.96 | 47946246.08
ED_OPX3212A |  | Table 3.2.1.2A - Historical opex categories and cost allocations |  | 2014-15 | 2014-15
ED_OPX3212A_00001 | DOPEX0101A | Inspection |  | 22644565.08
ED_OPX3212A_00002 | DOPEX0102A | Planned maintenance |  | 66953684.01
ED_OPX3212A_00003 | DOPEX0103A | Corrective repair |  | 48835393.83
ED_OPX3212A_00004 | DOPEX0104A | Vegetation |  | 67463602.19
ED_OPX3212A_00005 | DOPEX0105A | Emergency response/storms |  | 9778617.01
ED_OPX3212A_00006 | DOPEX0106A | Other network maintenance costs |  | 0 | 14306418.31
ED_OPX3212A_00007 | DOPEX0107A | Network operating costs |  | 29055523.5
ED_OPX3212A_00008 | DOPEX0108A | Meter reading and network billing |  | 13684158.94
ED_OPX3212A_00009 | DOPEX0109A | Customer services (inc call centre) |  | 20060787.25
ED_OPX3212A_00010 | DOPEX0110A | DSM initiatives |  | 17492189.45
ED_OPX3212A_00011 | DOPEX0111A | Levies |  | 8819000
ED_OPX3212A_00012 | DOPEX0112A | Debt raising costs |  | 4779777.7
ED_OPX3212A_00013 | DOPEX0113A | Other operating costs (inc self insurance) |  | 289028559 | 33639827.77
ED_OPX3212A_00014 | DOPEX0114A
ED_OPX3212A_00015 | DOPEX0115A
ED_OPX3212A_00016 | DOPEX0116A
ED_OPX3212A_00017 | DOPEX0117A
ED_OPX3212A_00018 | DOPEX0118A
ED_OPX3212A_00019 | DOPEX0119A
ED_OPX3212A_00020 | DOPEX0120A
ED_OPX3212A_00021 | DOPEX0121A
ED_OPX3212A_00022 | DOPEX0122A
ED_OPX3212A_00023 | DOPEX0123A
ED_OPX3212A_00024 | DOPEX0124A
ED_OPX3212A_00025 | DOPEX0125A
ED_OPX3212A_00026 | DOPEX0126A
ED_OPX3212A_00027 | DOPEX0127A
ED_OPX3212A_00028 | DOPEX0128A
ED_OPX3212A_00029 | DOPEX0129A
ED_OPX3212A_00030 | DOPEX0130A
ED_OPX3212A_00031 | DOPEX0131A
ED_OPX3212A_00032 | DOPEX0132A
ED_OPX3212A_00033 | DOPEX0133A
ED_OPX3212A_00034 | DOPEX0134A
ED_OPX3212A_00035 | DOPEX0135A
ED_OPX3212A_00036 | DOPEX0136A
ED_OPX3212A_00037 | DOPEX0137A
ED_OPX3212A_00038 | DOPEX0138A
ED_OPX3212A_00039 | DOPEX0139A
ED_OPX3212A_00040 | DOPEX0140A
ED_OPX3212A_00041 | DOPEX0141A
ED_OPX3212A_00042 | DOPEX0142A
| DOPEX01A | Total opex | ($0's) | 598595857.96 | 47946246.08
ED_OPX3212B |  | Table 3.2.1.2B - Historical opex categories and cost allocations |  | 2014-15 | 2014-15
ED_OPX3212B_00001 | DOPEX0101B
ED_OPX3212B_00002 | DOPEX0102B
ED_OPX3212B_00003 | DOPEX0103B
ED_OPX3212B_00004 | DOPEX0104B
ED_OPX3212B_00005 | DOPEX0105B
ED_OPX3212B_00006 | DOPEX0106B
ED_OPX3212B_00007 | DOPEX0107B
ED_OPX3212B_00008 | DOPEX0108B
ED_OPX3212B_00009 | DOPEX0109B
ED_OPX3212B_00010 | DOPEX0110B
ED_OPX3212B_00011 | DOPEX0111B
ED_OPX3212B_00012 | DOPEX0112B
ED_OPX3212B_00013 | DOPEX0113B
ED_OPX3212B_00014 | DOPEX0114B
ED_OPX3212B_00015 | DOPEX0115B
ED_OPX3212B_00016 | DOPEX0116B
ED_OPX3212B_00017 | DOPEX0117B
ED_OPX3212B_00018 | DOPEX0118B
ED_OPX3212B_00019 | DOPEX0119B
ED_OPX3212B_00020 | DOPEX0120B
ED_OPX3212B_00021 | DOPEX0121B
ED_OPX3212B_00022 | DOPEX0122B
ED_OPX3212B_00023 | DOPEX0123B
ED_OPX3212B_00024 | DOPEX0124B
ED_OPX3212B_00025 | DOPEX0125B
ED_OPX3212B_00026 | DOPEX0126B
ED_OPX3212B_00027 | DOPEX0127B
ED_OPX3212B_00028 | DOPEX0128B
ED_OPX3212B_00029 | DOPEX0129B
ED_OPX3212B_00030 | DOPEX0130B
ED_OPX3212B_00031 | DOPEX0131B
ED_OPX3212B_00032 | DOPEX0132B
ED_OPX3212B_00033 | DOPEX0133B
ED_OPX3212B_00034 | DOPEX0134B
ED_OPX3212B_00035 | DOPEX0135B
ED_OPX3212B_00036 | DOPEX0136B
ED_OPX3212B_00037 | DOPEX0137B
ED_OPX3212B_00038 | DOPEX0138B
ED_OPX3212B_00039 | DOPEX0139B
ED_OPX3212B_00040 | DOPEX0140B
ED_OPX3212B_00041 | DOPEX0141B
ED_OPX3212B_00042 | DOPEX0142B
| DOPEX01B | Total opex | ($0's) | 0 | 0
ED_OPX3212C |  | Table 3.2.1.2C - Historical opex categories and cost allocations |  | 2014-15 | 2014-15
ED_OPX3212C_00001 | DOPEX0101C
ED_OPX3212C_00002 | DOPEX0102C
ED_OPX3212C_00003 | DOPEX0103C
ED_OPX3212C_00004 | DOPEX0104C
ED_OPX3212C_00005 | DOPEX0105C
ED_OPX3212C_00006 | DOPEX0106C
ED_OPX3212C_00007 | DOPEX0107C
ED_OPX3212C_00008 | DOPEX0108C
ED_OPX3212C_00009 | DOPEX0109C
ED_OPX3212C_00010 | DOPEX0110C
ED_OPX3212C_00011 | DOPEX0111C
ED_OPX3212C_00012 | DOPEX0112C
ED_OPX3212C_00013 | DOPEX0113C
ED_OPX3212C_00014 | DOPEX0114C
ED_OPX3212C_00015 | DOPEX0115C
ED_OPX3212C_00016 | DOPEX0116C
ED_OPX3212C_00017 | DOPEX0117C
ED_OPX3212C_00018 | DOPEX0118C
ED_OPX3212C_00019 | DOPEX0119C
ED_OPX3212C_00020 | DOPEX0120C
ED_OPX3212C_00021 | DOPEX0121C
ED_OPX3212C_00022 | DOPEX0122C
ED_OPX3212C_00023 | DOPEX0123C
ED_OPX3212C_00024 | DOPEX0124C
ED_OPX3212C_00025 | DOPEX0125C
ED_OPX3212C_00026 | DOPEX0126C
ED_OPX3212C_00027 | DOPEX0127C
ED_OPX3212C_00028 | DOPEX0128C
ED_OPX3212C_00029 | DOPEX0129C
ED_OPX3212C_00030 | DOPEX0130C
ED_OPX3212C_00031 | DOPEX0131C
ED_OPX3212C_00032 | DOPEX0132C
ED_OPX3212C_00033 | DOPEX0133C
ED_OPX3212C_00034 | DOPEX0134C
ED_OPX3212C_00035 | DOPEX0135C
ED_OPX3212C_00036 | DOPEX0136C
ED_OPX3212C_00037 | DOPEX0137C
ED_OPX3212C_00038 | DOPEX0138C
ED_OPX3212C_00039 | DOPEX0139C
ED_OPX3212C_00040 | DOPEX0140C
ED_OPX3212C_00041 | DOPEX0141C
ED_OPX3212C_00042 | DOPEX0142C
| DOPEX01C | Total opex | ($0's) | 0 | 0
TABLE 3.2.2 - OPEX CONSISTENCY
|  | Table 3.2.2.1 Opex consistency - current cost allocation approach |  | 2014-15 | 2014-15
ED_OPX3221_00001 | DOPEX0201 | Opex for network services |  | 585227546.13
ED_OPX3221_00002 | DOPEX0202 | Opex for metering |  | 13368311.83 | 743455.87
ED_OPX3221_00003 | DOPEX0203 | Opex for connection services
ED_OPX3221_00004 | DOPEX0204 | Opex for public lighting |  |  | 14306418.31
ED_OPX3221_00005 | DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP
ED_OPX3221_00006 | DOPEX0206 | Opex for transmission connection point planning
|  | Total opex | ($0's) | 598595857.96 | 15049874.18
|  | Table 3.2.2.2 Opex consistency - historical cost allocation approaches |  | 2014-15 | 2014-15
ED_OPX3222_00001 | DOPEX0201A | Opex for network services |  | 585227546.13
ED_OPX3222_00002 | DOPEX0202A | Opex for metering |  | 13368311.83 | 743455.87
ED_OPX3222_00003 | DOPEX0203A | Opex for connection services
ED_OPX3222_00004 | DOPEX0204A | Opex for public lighting |  |  | 14306418.31
ED_OPX3222_00005 | DOPEX0205A | Opex for amounts payable for easement levy or similar direct charges on DNSP
ED_OPX3222_00006 | DOPEX0206A | Opex for transmission connection point planning
|  | Total opex | ($0's) | 598595857.96 | 15049874.18
|  | TABLE 3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS |  | End user costs (not standard control services)
ED_OPX324_00001 | DOPEX0401 | Opex for high voltage customers | ($0's) | 1770.238
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Table 3.2.2 - Opex consistency
Table 3.2.4 - Opex high voltage customers

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2014-15
3.2 OPERATING EXPENDITURE
Instructions
Energex must fill in opex in table 3.2.3 for opex categories reported in response to its annual reporting RIN.
TABLE 3.2.3 - PROVISIONS
For each provision report:
$0's
2014-15
DOPEX03A | Provision for Dividends
Provision is made for the amount of dividend declared by the Board but not distributed at the end of the reporting period.
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 398133689.0572
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 0
DOPEX0303A | Capex component | 0
DOPEX0304A | Other component | 1268363154.5956
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | 0
DOPEX0306A | Capex component | 0
DOPEX0307A | Other component | -397752346.9256
Unused amounts reversed during the period
DOPEX0308A | Opex component | 0
DOPEX0309A | Capex component | 0
DOPEX0310A | Other component | -381342.1316
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | 0
DOPEX0312A | Capex component | 0
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 1268363154.5956
DOPEX03B | Provision for Site Restoration - Toowoomba
Provision is raised for the obligation to restore a site at Toowoomba. The amount has been determined by an independent assessment to rehabilitate the site.
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 671812.9283
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 0
DOPEX0303B | Capex component | 0
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | 0
DOPEX0306B | Capex component | 0
DOPEX0307B | Other component | -324175.4433
Unused amounts reversed during the period
DOPEX0308B | Opex component | 0
DOPEX0309B | Capex component | 0
DOPEX0310B | Other component | -245443.997
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 102193.488
DOPEX03C | Provision for Site Restoration - Other
Provision is raised for the obligation to restore sites in the future, on expiration of associated contracts or when the obligation arises in the course of business.
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 1470373.7335
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 1977039.9802
DOPEX0303C | Capex component | 4197350.9636
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | 0
DOPEX0306C | Capex component | 0
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | -450.9399
DOPEX0309C | Capex component | -1012.3671
DOPEX0310C | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 0
DOPEX0312C | Capex component | 0
DOPEX0313C | Other component | 0
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 7643301.3703
DOPEX03D | Provision for Public Liability Insurance
Provision is raised to cover the excess on any public liability insurance claim (also referred to as self insurance).
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 4343659.1406
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 1539439.1725
DOPEX0303D | Capex component | 3268303.4024
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -894843.6759
DOPEX0306D | Capex component | -1899796.1613
DOPEX0307D | Other component | 0
Unused amounts reversed during the period
DOPEX0308D | Opex component | -285004.4087
DOPEX0309D | Capex component | -605078.0668
DOPEX0310D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 5466679.4029
DOPEX03E | Provision for Employee Benefits
Provision is raised to cover payments to employees in future periods for long service leave, annual leave and vesting sick leave accrued.
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | 121388978.021
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | 11278982.5413
DOPEX0303E | Capex component | 15704280.7462
DOPEX0304E | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | -14228481.7547
DOPEX0306E | Capex component | -19811013.2053
DOPEX0307E | Other component | 0
Unused amounts reversed during the period
DOPEX0308E | Opex component | -48600.4885
DOPEX0309E | Capex component | -67650.8445
DOPEX0310E | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component | -1613393.6367
DOPEX0312E | Capex component | -2246407.1145
DOPEX0313E | Other component | 0
DOPEX0314E | Closing balance (carrying amount at the end of the period) | 110356694.2643
DOPEX03F | Provision for Redundancy
Provision is raised to cover payments to employees in future periods for redundancy payments.
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period) | 1863910.6475
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component | 14220292.2594
DOPEX0303F | Capex component | 0
DOPEX0304F | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component | -1862125.3485
DOPEX0306F | Capex component | 0
DOPEX0307F | Other component | 0
Unused amounts reversed during the period
DOPEX0308F | Opex component | -1785.299
DOPEX0309F | Capex component | 0
DOPEX0310F | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component | 0
DOPEX0312F | Capex component | 0
DOPEX0313F | Other component | 0
DOPEX0314F | Closing balance (carrying amount at the end of the period) | 14220292.2594
DOPEX03G | Provision for circuit breaker replacements
Provision is raised for the obligation to replace faulty circuit breaker.
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component | 789700.4181
DOPEX0303G | Capex component | 0
DOPEX0304G | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component | 0
DOPEX0306G | Capex component | 0
DOPEX0307G | Other component | 0
Unused amounts reversed during the period
DOPEX0308G | Opex component | 0
DOPEX0309G | Capex component | 0
DOPEX0310G | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component | 0
DOPEX0312G | Capex component | 0
DOPEX0313G | Other component | 0
DOPEX0314G | Closing balance (carrying amount at the end of the period) | 789700.4181
DOPEX03H | Provision for Environmental Offsets
Provision is raised for the obligation to counterbalance unavoidable, negative impacts on the natural environment, resulting from an activity or development.
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period) | 1588342.135
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component | 0
DOPEX0303H | Capex component | 644953.1257
DOPEX0304H | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component | -835.4912
DOPEX0306H | Capex component | -841087.0646
DOPEX0307H | Other component | 0
Unused amounts reversed during the period
DOPEX0308H | Opex component | -0.80102
DOPEX0309H | Capex component | -43595.0548
DOPEX0310H | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component | 0
DOPEX0312H | Capex component | 0
DOPEX0313H | Other component | 0
DOPEX0314H | Closing balance (carrying amount at the end of the period) | 1347776.8491
DOPEX03I | Provision for Other
Provision is raised for the estimated loss arising from Homesuite warranty claim and the obligation to install new balustrade panels.
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period) | 71173.1847
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component | 94097.0835
DOPEX0303I | Capex component | 199772.6338
DOPEX0304I | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component | -11605.307
DOPEX0306I | Capex component | -24786.6248
DOPEX0307I | Other component | 0
Unused amounts reversed during the period
DOPEX0308I | Opex component | -21.7831
DOPEX0309I | Capex component | -46.2466
DOPEX0310I | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component | 0
DOPEX0312I | Capex component | 0
DOPEX0313I | Other component | 0
DOPEX0314I | Closing balance (carrying amount at the end of the period) | 328582.9405
DOPEX03J | Provision name
Brief description of provision
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K | Provision name
Brief description of provision
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L | Provision name
Brief description of provision
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M | Provision name
Brief description of provision
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N | Provision name
Brief description of provision
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O | Provision name
Brief description of provision
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | Provision name
Brief description of provision
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | Provision name
Brief description of provision
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | Provision name
Brief description of provision
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2014-15
3.3 ASSETS
|  |  | Network services | Standard control services | Alternative control services
Actual ($0's)
|  |  | 2014-15 | 2014-15 | 2014-15
TABLE 3.3.1 - REGULATORY ASSET BASE VALUES
For total asset base:
ED_RAB331_00001 | DRAB0101 | Opening value | 8800381631.4253 | 11178335503.0852 | 114175658.3028
ED_RAB331_00002 | DRAB0102 | Inflation addition | 116893114.6489 | 148478839.6994 | 1516564.7213
ED_RAB331_00003 | DRAB0103 | Straight line depreciation | -311045112.8255 | -403733051.7328 | -12394816.0499
ED_RAB331_00004 | DRAB0104 | Regulatory depreciation | -194151998.1765 | -255254212.0334 | -10878251.3286
ED_RAB331_00005 | DRAB0105 | Actual additions (recognised in RAB) | 551693995.1782 | 732495272.8948 | 8908328.0223
ED_RAB331_00006 | DRAB0106 | Disposals | -24141392.4815 | -24362995.4355 | 0
ED_RAB331_00007 | DRAB0107 | Closing value for overhead distribution asset value | 9133782235.9455 | 11631213568.5112 | 112205734.9964
TABLE 3.3.2 - ASSET VALUE ROLL FORWARD
For overhead network assets less than 33kV:
ED_RAB3321_00001 | DRAB0201 | Opening value | 1393964632.6845 | 1984529268.7326
ED_RAB3321_00002 | DRAB0202 | Inflation addition | 18515659.2577 | 26359971.3114
ED_RAB3321_00003 | DRAB0203 | Straight line depreciation | -48770165.9846 | -71860609.4995
ED_RAB3321_00004 | DRAB0204 | Regulatory depreciation | -30254506.7269 | -45500638.188 | 0
ED_RAB3321_00005 | DRAB0205 | Actual additions (recognised in RAB) | 82801388.1511 | 144709646.6216
ED_RAB3321_00006 | DRAB0206 | Disposals | 0 | 0
ED_RAB3321_00007 | DRAB0207 | Closing value for overhead distribution asset value | 1446511514.1087 | 2083738277.1661 | 0
For underground network assets less than 33kV:
ED_RAB3322_00001 | DRAB0301 | Opening value | 1725657764.2041 | 2190503291.5419
ED_RAB3322_00002 | DRAB0302 | Inflation addition | 22921450.3784 | 29095869.1476
ED_RAB3322_00003 | DRAB0303 | Straight line depreciation | -38159150.4068 | -48463868.4009
ED_RAB3322_00004 | DRAB0304 | Regulatory depreciation | -15237700.0284 | -19367999.2533 | 0
ED_RAB3322_00005 | DRAB0305 | Actual additions (recognised in RAB) | 131201021.7879 | 173541039.2833
ED_RAB3322_00006 | DRAB0306 | Disposals | 0 | 0
ED_RAB3322_00007 | DRAB0307 | Closing value for underground asset value | 1841621085.9636 | 2344676331.5719 | 0
For distribution substations and transformers:
ED_RAB3323_00001 | DRAB0401 | Opening value | 1071641134.6439 | 1546009467.0306
ED_RAB3323_00002 | DRAB0402 | Inflation addition | 14234322.4716 | 20535230.1124
ED_RAB3323_00003 | DRAB0403 | Straight line depreciation | -38765865.1855 | -56878346.1856
ED_RAB3323_00004 | DRAB0404 | Regulatory depreciation | -24531542.7139 | -36343116.0733 | 0
ED_RAB3323_00005 | DRAB0405 | Actual additions (recognised in RAB) | 57647335.4664 | 74309459.2146
ED_RAB3323_00006 | DRAB0406 | Disposals | -4436120.4117 | -4436120.4117
ED_RAB3323_00007 | DRAB0407 | Closing value for distribution substations and transformers asset value | 1100320806.9847 | 1579539689.7602 | 0
For overhead network assets 33kV and above:
ED_RAB3324_00001 | DRAB0501 | Opening value | 353428021.079 | 467299926.7392
ED_RAB3324_00002 | DRAB0502 | Inflation addition | 4694489.8436 | 6207019.8998
ED_RAB3324_00003 | DRAB0503 | Straight line depreciation | -9918215.8179 | -13173526.1149
ED_RAB3324_00004 | DRAB0504 | Regulatory depreciation | -5223725.9743 | -6966506.2151 | 0
ED_RAB3324_00005 | DRAB0505 | Actual additions (recognised in RAB) | 65321784.5151 | 87206067.3615
ED_RAB3324_00006 | DRAB0506 | Disposals | 0 | 0
ED_RAB3324_00007 | DRAB0507 | Closing value for overhead asset 33kV and above value | 413526079.6198 | 547539487.8856 | 0
For underground network assets 33kV and above:
ED_RAB3325_00001 | DRAB0601 | Opening value | 605864434.2205 | 834265508.3369
ED_RAB3325_00002 | DRAB0602 | Inflation addition | 8047535.1794 | 11081325.5377
ED_RAB3325_00003 | DRAB0603 | Straight line depreciation | -19017921.7958 | -26410702.3427
ED_RAB3325_00004 | DRAB0604 | Regulatory depreciation | -10970386.6164 | -15329376.805 | 0
ED_RAB3325_00005 | DRAB0605 | Actual additions (recognised in RAB) | 39121487.6163 | 51912155.2013
ED_RAB3325_00006 | DRAB0606 | Disposals | 0 | 0
ED_RAB3325_00007 | DRAB0607 | Closing value for underground asset 33kV and above value | 634015535.2204 | 870848286.7332 | 0
Zone substations and transformers
ED_RAB3326_00001 | DRAB0701 | Opening value | 2756223770.8738 | 2818020062.2929
ED_RAB3326_00002 | DRAB0702 | Inflation addition | 36610182.9148 | 37431006.52
ED_RAB3326_00003 | DRAB0703 | Straight line depreciation | -70160827.4726 | -72268501.7155
ED_RAB3326_00004 | DRAB0704 | Regulatory depreciation | -33550644.5578 | -34837495.1955 | 0
ED_RAB3326_00005 | DRAB0705 | Actual additions (recognised in RAB) | 15001303.3744 | 19536684.8145
ED_RAB3326_00006 | DRAB0706 | Disposals | -15074936.6632 | -15074936.6632
ED_RAB3326_00007 | DRAB0707 | Closing value for zone substations and transformers | 2722599493.0273 | 2787644315.2488 | 0
For easements:
ED_RAB3327_00001 | DRAB0801 | Opening value | 136685485.3368 | 136685485.3368
ED_RAB3327_00002 | DRAB0802 | Inflation addition | 1815556.7312 | 1815556.7312
ED_RAB3327_00003 | DRAB0805 | Actual additions (recognised in RAB) | 15041489.1986 | 15041489.1986
ED_RAB3327_00004 | DRAB0806 | Disposals | 0 | 0
ED_RAB3327_00005 | DRAB0807 | Closing value for easements asset value | 153542531.2667 | 153542531.2667 | 0
For meters:
ED_RAB3328_00001 | DRAB0901 | Opening value | 0 | 444109481.6107
ED_RAB3328_00002 | DRAB0902 | Inflation addition | 0 | 5898987.4218
ED_RAB3328_00003 | DRAB0903 | Straight line depreciation | 0 | -28425039.8383
ED_RAB3328_00004 | DRAB0904 | Regulatory depreciation | 0 | -22526052.4166 | 0
ED_RAB3328_00005 | DRAB0905 | Actual additions (recognised in RAB) | 0 | 20680546.1311
ED_RAB3328_00006 | DRAB0906 | Disposals | 0 | -221602.954
ED_RAB3328_00007 | DRAB0907 | Closing value for meters asset value | 0 | 442042372.3712 | 0
For “other” asset items with long lives:
ED_RAB3329_00001 | DRAB1001 | Opening value | 567687509.832 | 567684132.9128 | 114175658.3028
ED_RAB3329_00002 | DRAB1002 | Inflation addition | 7540441.3071 | 7540396.4524 | 1516564.7213
ED_RAB3329_00003 | DRAB1003 | Straight line depreciation | -30691598.75 | -30691090.2231 | -12394816.0499
ED_RAB3329_00004 | DRAB1004 | Regulatory depreciation | -23151157.4429 | -23150693.7708 | -10878251.3286
ED_RAB3329_00005 | DRAB1005 | Actual additions (recognised in RAB) | 130191690.2359 | 130191690.2359 | 8908328.0223
ED_RAB3329_00006 | DRAB1006 | Disposals | 0 | 0 | 0
ED_RAB3329_00007 | DRAB1007 | Closing value for “other” asset (long life) value | 674728042.625 | 674725129.3779 | 112205734.9964
For “other” asset items with short lives:
ED_RAB33210_00001 | DRAB1101 | Opening value | 189228878.5501 | 189228878.5501
ED_RAB33210_00002 | DRAB1102 | Inflation addition | 2513476.5652 | 2513476.5652
ED_RAB33210_00003 | DRAB1103 | Straight line depreciation | -55561367.4123 | -55561367.4123
ED_RAB33210_00004 | DRAB1104 | Regulatory depreciation | -53047890.8471 | -53047890.8471 | 0
ED_RAB33210_00005 | DRAB1105 | Actual additions (recognised in RAB) | 15366494.8324 | 15366494.8324
ED_RAB33210_00006 | DRAB1106 | Disposals | -4630335.4066 | -4630335.4066
ED_RAB33210_00007 | DRAB1107 | Closing value for “other” asset (short life) value | 146917147.1289 | 146917147.1289 | 0
TABLE 3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
ED_RAB333_00001 | DRAB1201 | Overhead distribution assets (wires and poles) | 1420238073.3966 | 2034133772.9494
ED_RAB333_00002 | DRAB1202 | Underground distribution assets (cables, ducts etc) | 1783639425.0838 | 2267589811.5569
ED_RAB333_00003 | DRAB1203 | Distribution substations including transformers | 1085980970.8143 | 1562774578.3954
ED_RAB333_00004 | DRAB1204 | Overhead assets 33kV and above (wires and towers / poles etc) | 383477050.3494 | 507419707.3124
ED_RAB333_00005 | DRAB1205 | Underground assets 33kV and above (cables, ducts etc) | 619939984.7204 | 852556897.5351
ED_RAB333_00006 | DRAB1206 | Zone substations | 2739411631.9506 | 2802832188.7709
ED_RAB333_00007 | DRAB1207 | Easements | 145114008.3018 | 145114008.3018
ED_RAB333_00008 | DRAB1208 | Meters | 0 | 443075926.991
ED_RAB333_00009 | DRAB1209 | Other assets with long lives (please specify) | 621207776.2285 | 621204631.1454 | 113190696.6496
ED_RAB333_00010 | DRAB1210 | Other assets with short lives (please specify) | 168073012.8395 | 168073012.8395
Capital Contributions
ED_RAB333_00011 | DRAB13 | Value of Capital Contributions or Contributed Assets | 46697032.6249 | 60550700 | 7217491.6547
|  | TABLE 3.3.4 - ASSET LIVES | Service Life (Years)
|  | Table 3.3.4.1 Asset Lives – estimated service life of new assets | 2014-15 | 2014-15 | 2014-15
ED_RAB3341_00001 | DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 45 | 43.7764
ED_RAB3341_00002 | DRAB1402 | Underground network assets less than 33kV (cables) | 60 | 60
ED_RAB3341_00003 | DRAB1403 | Distribution substations including transformers | 39.0397 | 39.5121
ED_RAB3341_00004 | DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 50.5438 | 50.5438
ED_RAB3341_00005 | DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 45 | 45
ED_RAB3341_00006 | DRAB1406 | Zone substations and transformers | 50.2588 | 50.1291
ED_RAB3341_00007 | DRAB1407 | Meters | 0 | 24.948
ED_RAB3341_00008 | DRAB1408 | “Other” assets with long lives | 31.6824 | 31.6825 | 20
ED_RAB3341_00009 | DRAB1409 | “Other” assets with short lives | 3.514 | 3.514
Table 3.3.4.2 Asset Lives – estimated residual service life
ED_RAB3342_00001 | DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 31.9655 | 31.5779
ED_RAB3342_00002 | DRAB1502 | Underground network assets less than 33kV (cables) | 46.9459 | 46.9372
ED_RAB3342_00003 | DRAB1503 | Distribution substations including transformers | 29.3718 | 28.7013
ED_RAB3342_00004 | DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 37.6816 | 37.4891
ED_RAB3342_00005 | DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 33.1293 | 32.7881
ED_RAB3342_00006 | DRAB1506 | Zone substations and transformers | 38.0721 | 37.9374
ED_RAB3342_00007 | DRAB1507 | Meters | 0 | 15.2178
ED_RAB3342_00008 | DRAB1508 | “Other” assets with long lives | 23.4778 | 23.4779 | 11.4045
ED_RAB3342_00009 | DRAB1509 | “Other” assets with short lives | 2.2232 | 2.2232
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2014-15
3.4 OPERATIONAL DATA
Standard control services
Actual
2014-15
Unit
TABLE 3.4.1 - ENERGY DELIVERY
ED_OPD3410_00001 | DOPED01 | Total energy delivered | GWh | 21154.471
Table 3.4.1.1 Energy grouping - delivery by chargeable quantity
ED_OPD3411_00001 | DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 7889.8937
ED_OPD3411_00002 | DOPED0202 | Energy Delivery at On-peak times | GWh | 6617.9265
ED_OPD3411_00003 | DOPED0203 | Energy Delivery at Shoulder times | GWh
ED_OPD3411_00004 | DOPED0204 | Energy Delivery at Off-peak times | GWh | 5000.9241
ED_OPD3411_00005 | DOPED0205 | Controlled load energy deliveries | GWh | 1471.3457
ED_OPD3411_00005 | DOPED0206 | Energy Delivery to unmetered supplies | GWh | 174.381
Table 3.4.1.2 Energy - received from TNSP and other DNSPs by time of receipt
ED_OPD3412_00001 | DOPED0301 | Energy into DNSP network at On-peak times | GWh | 10335.3381
ED_OPD3412_00002 | DOPED0302 | Energy into DNSP network at Shoulder times | GWh
ED_OPD3412_00003 | DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 10854.1562
ED_OPD3412_00004 | DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 4.2289
Table 3.4.1.3 Energy - received into DNSP system from embedded generation by time of receipt
ED_OPD3413_00001 | DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 98.0709
ED_OPD3413_00002 | DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh
ED_OPD3413_00003 | DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 128.5657
ED_OPD3413_00004 | DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 0
ED_OPD3413_00005 | DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 754.263
ED_OPD3413_00006 | DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh
ED_OPD3413_00007 | DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
ED_OPD3413_00008 | DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 0
Table 3.4.1.4 Energy grouping - customer type or class
ED_OPD3414_00001 | DOPED0501 | Residential customers energy deliveries | GWh | 7559.3303
ED_OPD3414_00002 | DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 1930.1073
ED_OPD3414_00003 | DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 5683.285
ED_OPD3414_00004 | DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 5807.3674
ED_OPD3414_00005 | DOPED0505 | Other Customer Class Energy Deliveries | GWh | 174.381
TABLE 3.4.2 - CUSTOMER NUMBERS
Table 3.4.2.1 Distribution customer numbers by customer type or class
ED_OPD3421_00001 | DOPCN0101 | Residential customer numbers | number | 1270554
ED_OPD3421_00002 | DOPCN0102 | Non residential customers not on demand tariff customer numbers | number | 112037
ED_OPD3421_00003 | DOPCN0103 | Low voltage demand tariff customer numbers | number | 11243
ED_OPD3421_00004 | DOPCN0104 | High voltage demand tariff customer numbers | number | 577
ED_OPD3421_00005 | DOPCN0105 | Unmetered Customer Numbers | number | 2780
ED_OPD3421_00006 | DOPCN0106 | Other Customer Numbers | number
ED_OPD3421_99999 | DOPCN01 | Total customer numbers | number | 1397191
Table 3.4.2.2 Distribution customer numbers by location on the network
ED_OPD3422_00001 | DOPCN0201 | Customers on CBD network | number | 3908
ED_OPD3422_00002 | DOPCN0202 | Customers on Urban network | number | 1010366
ED_OPD3422_00003 | DOPCN0203 | Customers on Short rural network | number | 378795
ED_OPD3422_00004 | DOPCN0204 | Customers on Long rural network | number
ED_OPD3422_99999 | DOPCN02 | Total customer numbers | number | 1393069
Table 3.4.2.3 Distribution customer numbers by Aurora Feeder categories (Aurora only)
ED_OPD3423_00001 |  | Critical Infrastructure | number
ED_OPD3423_00002 |  | High Density Commercial | number
ED_OPD3423_00003 |  | Urban | number
ED_OPD3423_00004 |  | High Density Rural | number
ED_OPD3423_00005 |  | Low Density Rural | number
ED_OPD3423_99999 |  | Total customer numbers | number | 0
Table 3.4.2.4 Unmetered Supply (Aurora only)
ED_OPD3424_00001 | DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN | number
ED_OPD3424_00002 | DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN | number
ED_OPD3424_99999 | DOPCN0303 | Total unmetered connections | number
TABLE 3.4.3 - SYSTEM DEMAND
Table 3.4.3.1 Annual system maximum demand characteristics at the zone substation level – MW measure
ED_OPD3431_00001 | DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 4924.1031
ED_OPD3431_00002 | DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 5578.7782
ED_OPD3431_00003 | DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 5126.43
ED_OPD3431_00004 | DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 4484.45
ED_OPD3431_00005 | DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 5116.1
ED_OPD3431_00006 | DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 4696.9494
Table 3.4.3.2 Annual system maximum demand characteristics at the transmission connection point – MW measure
ED_OPD3432_00001 | DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 4744.361
ED_OPD3432_00002 | DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 4988.1707
ED_OPD3432_00003 | DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 4557.0263
ED_OPD3432_00004 | DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 4540.9415
ED_OPD3432_00005 | DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 4773.4331
ED_OPD3432_00006 | DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 4359.172
Table 3.4.3.3 Annual system maximum demand characteristics at the zone substation level – MVA measure
ED_OPD3433_00001 | DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 5073.8858
ED_OPD3433_00002 | DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 5744.488
ED_OPD3433_00003 | DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 5281.3329
ED_OPD3433_00004 | DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 4602.4195
ED_OPD3433_00005 | DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 5248.605
ED_OPD3433_00006 | DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 4820.112
Table 3.4.3.4 Annual system maximum demand characteristics at the transmission connection point – MVA measure
ED_OPD3434_00001 | DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 4858.0959
ED_OPD3434_00002 | DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 5106.5995
ED_OPD3434_00003 | DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 4664.8798
ED_OPD3434_00004 | DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 4621.1736
ED_OPD3434_00005 | DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 4858.8614
ED_OPD3434_00006 | DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 4437.1971
Table 3.4.3.5 Power factor conversion between MVA and MW
ED_OPD3435_00001 | DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.98988
ED_OPD3435_00002 | DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.94616
ED_OPD3435_00003 | DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor
ED_OPD3435_00004 | DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor
ED_OPD3435_00005 | DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor
ED_OPD3435_00006 | DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.96679
ED_OPD3435_00007 | DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.85929
ED_OPD3435_00008 | DOPSD0308 | Average power factor conversion for 22 kV lines | Factor
ED_OPD3435_00009 | DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0.9824
ED_OPD3435_00010 | DOPSD0310 | Average power factor conversion for 44 kV lines | Factor
ED_OPD3435_00011 | DOPSD0311 | Average power factor conversion for 66 kV lines | Factor
ED_OPD3435_00012 | DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0.97674
ED_OPD3435_00013 | DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0.95165
ED_OPD3435_00013 | DOPSD0314 | Average power factor conversion for 220 kV lines | Factor
Table 3.4.3.6 Demand supplied (for customers charged on this basis) – MW measure
ED_OPD3436_00001 | DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 729.6
ED_OPD3436_00002 | DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 451.1
Table 3.4.3.7 Demand supplied (for customers charged on this basis) – MVA measure
ED_OPD3437_00001 | DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA
ED_OPD3437_00002 | DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2014-15
3.5 PHYSICAL ASSETS
Actual
2014-15
Unit
TABLE 3.5.1 - NETWORK CAPACITIES
Circuit length
Table 3.5.1.1 Overhead network length of circuit at each voltage
ED_PHA3511_00001 | DPA0101 | Overhead low voltage distribution | km | 14226.28
ED_PHA3511_00002 | DPA0102 | Overhead 2.2 kV | km
ED_PHA3511_00003 | DPA0103 | Overhead 6.6kv | km
ED_PHA3511_00004 | DPA0104 | Overhead 7.6 kV | km
ED_PHA3511_00005 | DPA0105 | Overhead 11 kV | km | 17504.25
ED_PHA3511_00006 | DPA0106 | Overhead SWER | km | 40.21
ED_PHA3511_00007 | DPA0107 | Overhead 22 kV | km
ED_PHA3511_00008 | DPA0108 | Overhead 33 kV | km | 2218.35
ED_PHA3511_00009 | DPA0109 | Overhead 44 kV | km
ED_PHA3511_00010 | DPA0110 | Overhead 66 kV | km
ED_PHA3511_00011 | DPA0111 | Overhead 110kV | km | 801.76
ED_PHA3511_00012 | DPA0112 | Overhead 132 kV | km | 331.52
ED_PHA3511_00013 | DPA0113 | Overhead 220kV | km
ED_PHA3511_00014 | DPA0114 | Other | km
| DPA01 | Total overhead circuit km | km | 35122.37
Table 3.5.1.2 Underground network circuit length at each voltage
ED_PHA3512_00001 | DPA0201 | Underground low voltage distribution | km | 10846.86
ED_PHA3512_00002 | DPA0202 | Underground 5 kV | km
ED_PHA3512_00003 | DPA0203 | Underground 6.6 Kv | km
ED_PHA3512_00004 | DPA0204 | Underground 7.6 kV | km
ED_PHA3512_00005 | DPA0205 | Underground 11 kV | km | 5528.13
ED_PHA3512_00006 | DPA0206 | Underground SWER | km
ED_PHA3512_00007 | DPA0207 | Underground 22 kV | km
ED_PHA3512_00008 | DPA0208 | Underground 33 kV | km | 913.14
ED_PHA3512_00010 | DPA0209 | Underground 66 kV | km
ED_PHA3512_00009 | DPA0210 | Underground 110 kV | km | 154.21
ED_PHA3512_00010 | DPA0211 | Underground 132 kV | km | 0
ED_PHA3512_00011 | DPA0212 | Other | km
| DPA02 | Total underground circuit km | km | 17442.34
Circuit Capacity MVA
Table 3.5.1.3 Estimated overhead network weighted average MVA capacity by voltage class
ED_PHA3513_00001 | DPA0301 | Overhead low voltage distribution | MVA | 0.134
ED_PHA3513_00002 | DPA0302 | Overhead 6.6 kV | MVA
ED_PHA3513_00003 | DPA0303 | Overhead 7.6 kV | MVA
ED_PHA3513_00004 | DPA0304 | Overhead 11 kV | MVA | 0.96
ED_PHA3513_00005 | DPA0305 | Overhead SWER | MVA | 0.09
ED_PHA3513_00006 | DPA0306 | Overhead 22 kV | MVA
ED_PHA3513_00007 | DPA0307 | Overhead 33 kV | MVA | 24.81
ED_PHA3513_00008 | DPA0308 | Overhead 44 kV | MVA
ED_PHA3513_00009 | DPA0309 | Overhead 66 kV | MVA
ED_PHA3513_00010 | DPA0310 | Overhead 110 kV | MVA | 148.273
ED_PHA3513_00011 | DPA0311 | Overhead 132 kV | MVA | 161.587
ED_PHA3513_00012 | DPA0312 | Overhead 220 kV | MVA
ED_PHA3513_00013 | DPA0313 | Other | MVA
Table 3.5.1.4 Estimated underground network weighted average MVA capacity by voltage class
ED_PHA3514_00001 | DPA0401 | Underground low voltage distribution | MVA | 0.146
ED_PHA3514_00002 | DPA0402 | Underground 5 kV | MVA
ED_PHA3514_00003 | DPA0403 | Underground 6.6 kV | MVA
ED_PHA3514_00004 | DPA0404 | Underground 7.6 kV | MVA
ED_PHA3514_00005 | DPA0405 | Underground 11 kV | MVA | 2.97
ED_PHA3514_00006 | DPA0406 | Underground SWER | MVA
ED_PHA3514_00007 | DPA0407 | Underground 12.7 kV | MVA
ED_PHA3514_00008 | DPA0408 | Underground 22 kV | MVA
ED_PHA3514_00009 | DPA0409 | Underground 33 kV | MVA | 33.78
ED_PHA3514_00010 | DPA0410 | Underground 66 kV | MVA
ED_PHA3514_00010 | DPA0411 | Underground 110 kV | MVA | 169.087
ED_PHA3514_00011 | DPA0412 | Underground 132 kV | MVA
ED_PHA3514_00012 | DPA0413 | Other | MVA
TABLE 3.5.2 - TRANSFORMER CAPACITIES
Table 3.5.2.1 Distribution transformer total installed capacity
ED_PHA3521_00001 | DPA0501 | Distribution transformer capacity owned by utility | MVA | 14222.976
ED_PHA3521_00002 | DPA0502 | Distribution transformer capacity owned by High Voltage Customers | MVA | 2137
ED_PHA3521_00003 | DPA0503 | Cold spare capacity included in DPA0501 | MVA | 53.196
Table 3.5.2.2 Zone substation transformer capacity
ED_PHA3522_00001 | DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | MVA | 8051.5
ED_PHA3522_00002 | DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | MVA | 8228.7
ED_PHA3522_00003 | DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | MVA | 3893.2
ED_PHA3522_00004 | DPA0604 | Total zone substation transformer capacity | MVA | 20980.4
ED_PHA3522_00005 | DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | MVA | 807
Table 3.5.2.3 Distribution - other transformer capacity
ED_PHA3523_00001 |  | Distribution other - transformer capacity owned by utility | MVA
TABLE 3.5.3 - PUBLIC LIGHTING
ED_PHA353_00001 | DPA0701 | Public lighting luminaires | Number | 309279
ED_PHA353_00002 | DPA0702 | Public lighting poles | Number | 154068
ED_PHA353_00003 | DPA0703 | Public lighting columns | Number
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2014-15
3.6 QUALITY OF SERVICE DATA
Actual
2014-15
Unit
TABLE 3.6.1 - RELIABILITY
Table 3.6.1.1 Inclusive of MEDs
ED_QOS3611_00001 | DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 168.086
ED_QOS3611_00002 | DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 168.086
ED_QOS3611_00003 | DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 1.05
ED_QOS3611_00004 | DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.05
Table 3.6.1.2 Exclusive of MEDs
ED_QOS3612_00001 | DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 84.462
ED_QOS3612_00002 | DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 84.462
ED_QOS3612_00003 | DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 0.914
ED_QOS3612_00004 | DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.914
TABLE 3.6.2 - ENERGY NOT SUPPLIED
ED_QOS362_00001 | DQS0201 | Energy Not Supplied (planned) | GWh | 1.1141
ED_QOS362_00002 | DQS0202 | Energy Not Supplied (unplanned) | GWh | 4.972
| DQS02 | Total | GWh | 6.0861
TABLE 3.6.3 - SYSTEM LOSSES
ED_QOS363_00001 | DQS03 | System losses | % | 4.6%
TABLE 3.6.4 - CAPACITY UTILISATION
ED_QOS364_00001 | DQS04 | Overall utilisation | % | 22.61%
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2014-15
3.7 OPERATING ENVIRONMENT FACTORS
Actual
2014-15
TABLE 3.7.1 - DENSITY FACTORS
ED_OEF371_00001 | DOEF0101 | Customer density | Customer / km | 32.4286
ED_OEF371_00002 | DOEF0102 | Energy density | MWh/customer | 15.1408
ED_OEF371_00003 | DOEF0103 | Demand density | kVA / customer | 3.63
TABLE 3.7.2 - TERRAIN FACTORS
ED_OEF372_00001 | DOEF0201 | Rural proportion | % | 36.61%
ED_OEF372_00002 | DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 125402
ED_OEF372_00003 | DOEF0203 | Rural vegetation maintenance spans | Number of spans | 79171
ED_OEF372_00004 | DOEF0204 | Total vegetation maintenance spans | Number of spans | 204574
ED_OEF372_00005 | DOEF0205 | Total number of spans | Number of spans | 415104
ED_OEF372_00006 | DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1.39
ED_OEF372_00007 | DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1.97
ED_OEF372_00008 | DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 2.84
ED_OEF372_00009 | DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 4.85
ED_OEF372_00010 | DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 0
ED_OEF372_00011 | DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 0
ED_OEF372_00012 | DOEF0212 | Tropical proportion | Spans | 156262
ED_OEF372_00013 | DOEF0213 | Standard vehicle access | km | 6341.47
ED_OEF372_00014 | DOEF0214 | Bushfire risk | Spans | 35774
TABLE 3.7.3 - SERVICE AREA FACTORS
ED_OEF373_00001 | DOEF0301 | Route Line length | km | 43085.164
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL