## Instructions
Electricity Distribution Network Service Provider
Annual Reporting RIN
This template is to be used by Energex to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Businesses must use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return four (4) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. An actual and an estimate version with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 3. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
NAVIGATION | Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin (for Row groupings) or above the columns (for column groupings).

## Contents
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2019-20
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
Business & other details
3.2.3 Provisions

## Business & other details
ECONOMIC BENCHMARKING
Energex
2019-20
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | Energex
| ACN/ABN |  |  | 40078849055
| Business Address | [10 empty] | Postal Address
| Address 1 |  |  | 26 Reddacliff Street | [5 empty] | Address 1 |  | GPO Box 1461
| Address 2 | [8 empty] | Address 2
| Suburb |  |  | Newstead | [5 empty] | Suburb |  | Brisbane
| State |  |  | QLD |  | Post code | 4006 |  |  | State |  | QLD |  | Post code | 4001
`
Contact Names
Name
Phone
Email
REGULATORY CONTROL PERIODS
|  |  | Forthcoming period | 2020-21 | 2021-22 |  |  |  | 2022-23 |  | 2023-24 |  | 2024-25
|  |  |  | 2025-26 | 2026-27 |  |  |  | 2027-28 |  | 2028-29 |  | 2029-30
|  |  |  | 2030-31 | 2031-32 |  |  |  | 2032-33 |  | 2033-34 |  | 2034-35
|  | RESETS | Current period | 2015-16 | 2016-17 |  |  |  | 2017-18 |  | 2018-19 |  | 2019-20
|  |  |  | 2020-21 | 2021-22 |  |  |  | 2022-23 |  | 2023-24 |  | 2024-25
|  |  |  | 2025-26 | 2026-27 |  |  |  | 2027-28 |  | 2028-29 |  | 2029-30
|  |  | Previous period | 2010-11 | 2011-12 |  |  |  | 2012-13 |  | 2013-14 |  | 2014-15
|  |  |  | 2015-16 | 2016-17 |  |  |  | 2017-18 |  | 2018-19 |  | 2019-20
|  |  |  | 2020-21 | 2021-22 |  |  |  | 2022-23 |  | 2023-24 |  | 2024-25
|  |  | Commencing year | 2019-20
ANNUAL RINS
|  |  | Final year | 2019-20
SUBMISSION DETAILS
|  |  | RIN type | Economic Benchmarking
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | .
|  |  | Submission Date | 02/11/20
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2019-20
3.1 REVENUE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2019-20 | 2019-20
DREV0101 | Revenue from Fixed Customer Charges | 281925102.79 | 1473913.63
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 611174432.66
DREV0103 | Revenue from On–Peak Energy Delivery charges | 27388033.94
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 180920.01
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 19979219.77
DREV0106 | Revenue from controlled load customer charges | 67041831.43
DREV0107 | Revenue from unmetered supplies | 4796943.85
DREV0108 | Revenue from Contracted Maximum Demand charges | 7259506.09
DREV0109 | Revenue from Measured Maximum Demand charges | 332995420.38
DREV0110 | Revenue from metering charges | 0 | 63196256.7
DREV0111 | Revenue from connection charges | 0 | 67762901.08
DREV0112 | Revenue from public lighting charges | 10142151.8 | 49142287.36
DREV0113 | Revenue from other Sources | 0 | 28112776.19
DREV01 | Total revenue by chargeable quantity | 1362883562.72 | 209688134.96
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2019-20 | 2019-20
DREV0201 | Revenue from residential Customers | 747219602.54
DREV0202 | Revenue from Non residential customers not on demand tariffs | 150822928.15
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 301659799.92
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 148242136.49
DREV0205 | Revenue from unmetered supplies | 14939095.62 | 49142287.36
DREV0206 | Revenue from Other Customers | 0 | 160545847.6
DREV02 | Total revenue by customer class | 1362883562.72 | 209688134.96
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2019-20 | 2019-20
DREV0301 | EBSS | 0
DREV0302 | STPIS | 27004863.73
DREV0303 | F-Factor | 0
DREV0304 | S-Factor True up | 0
DREV0305 | Other | 0
DREV03 | Total revenue of incentive schemes | 27004863.73 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2019-20
3.2 OPERATING EXPENDITURE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to Energex's annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2019-20 | 2019-20
DOPEX0101 | Inspection | 26912473
DOPEX0102 | Planned maintenance | 77235198
DOPEX0103 | Corrective repair | 69027076
DOPEX0104 | Vegetation | 51032338
DOPEX0105 | Emergency response/storms | 5076963
DOPEX0106 | Other network maintenance costs | 0 | 20857230
DOPEX0107 | Network operating costs | 47607103
DOPEX0108 | Network billing and other energy market services (including meter reading) | 4180903 | 19170489
DOPEX0109 | Customer services (inc call centre) | 15984008 | 5779355
DOPEX0110 | DSM initiatives | 7299858
DOPEX0111 | Levies | 11490902
DOPEX0112 | Debt raising costs | 0 | 0
DOPEX0113 | Other operating costs (inc self insurance) | 23205418 | 60810623
DOPEX0114
DOPEX0115
DOPEX0116
DOPEX0117
DOPEX0118
DOPEX0119
DOPEX0120
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 339052240 | 106617697
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2019-20 | 2019-20
DOPEX0201 | Opex for network services | 338318700
DOPEX0202 | Opex for metering | 641140 | 19086189
DOPEX0203 | Opex for connection services | 92398 | 41863281
DOPEX0204 | Opex for public lighting |  | 26404933
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP
DOPEX0206 | Opex for transmission connection point planning
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 2217103
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2019-20
3.2 OPERATING EXPENDITURE
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to Energex's annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE ($0's)
2019-20
DOPEX03A | Provision for Site Restoration
Provision is raised for the obligation to restore sites in the future, on expiration of associated contracts or when the obligation arises in the course of business.
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 1683122
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 151756
DOPEX0303A | Capex component | 186834
DOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | (21,713)
DOPEX0306A | Capex component | (26,732)
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | (52,434)
DOPEX0309A | Capex component | (64,554)
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | 0
DOPEX0312A | Capex component | 0
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 1856280
DOPEX03B | Provision for Public Liability Insurance
Provision is raised to cover the excess on any public liability insurance claim (also referred to as self insurance).
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 7962168
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 0
DOPEX0303B | Capex component | 0
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | (166,259)
DOPEX0306B | Capex component | (204,689)
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | (3,254,399)
DOPEX0309B | Capex component | (4,006,643)
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 330178
DOPEX03C | Provision for Employee Benefits
Provision is raised to cover payments to employees in future periods for long service leave, annual leave and vesting sick leave accrued.
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 15655437
DOPEX0303C | Capex component | 15833218
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | (14,344,554)
DOPEX0306C | Capex component | (14,507,449)
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | 0
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component | (3,440,480)
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 399644
DOPEX0312C | Capex component | 404183
DOPEX0313C | Other component | 0
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 0
DOPEX03D | Provision for Redundancy
Provision is raised to cover payments to employees in future periods for redundancy payments.
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 1779360
DOPEX0303D | Capex component | 0
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | (1,198,845)
DOPEX0306D | Capex component | 0
DOPEX0307D | Other component | 0
Unused amounts reversed during the period
DOPEX0308D | Opex component | 0
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | (580,515)
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 0
DOPEX03E | Provision for Environmental Offsets
Provision is raised for the obligation to counterbalance unavoidable, negative impacts on the natural environment, resulting from an activity or development.
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | 410411
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | 0
DOPEX0303E | Capex component | 21758
DOPEX0304E | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | 0
DOPEX0306E | Capex component | (123,788)
DOPEX0307E | Other component | 0
Unused amounts reversed during the period
DOPEX0308E | Opex component | 0
DOPEX0309E | Capex component | (300)
DOPEX0310E | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component | 0
DOPEX0312E | Capex component | 0
DOPEX0313E | Other component | 0
DOPEX0314E | Closing balance (carrying amount at the end of the period) | 308080
DOPEX03F | Provision for refund of upfront charges for Customer Requested (ACS) work
Provision for refunds to customers where estimated upfront charges for customer requested works were greater than actual costs incurred.
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period) | 1250148
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component | 0
DOPEX0303F | Capex component | 0
DOPEX0304F | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component | 0
DOPEX0306F | Capex component | 0
DOPEX0307F | Other component | 0
Unused amounts reversed during the period
DOPEX0308F | Opex component | 0
DOPEX0309F | Capex component | 0
DOPEX0310F | Other component | (1,250,148)
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component | 0
DOPEX0312F | Capex component | 0
DOPEX0313F | Other component | 0
DOPEX0314F | Closing balance (carrying amount at the end of the period) | 0
DOPEX03G | Provision for overpaid network charges to be refunded
Provision raised for refund of overpaid network charges.
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period) | 5771208
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component | 0
DOPEX0303G | Capex component | 0
DOPEX0304G | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component | 0
DOPEX0306G | Capex component | 0
DOPEX0307G | Other component | 0
Unused amounts reversed during the period
DOPEX0308G | Opex component | 0
DOPEX0309G | Capex component | 0
DOPEX0310G | Other component | (4,225)
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component | 0
DOPEX0312G | Capex component | 0
DOPEX0313G | Other component | 0
DOPEX0314G | Closing balance (carrying amount at the end of the period) | 5766984
DOPEX03H | <Provision name>
<Brief description of provision>
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component
DOPEX0303H | Capex component
DOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component
DOPEX0306H | Capex component
DOPEX0307H | Other component
Unused amounts reversed during the period
DOPEX0308H | Opex component
DOPEX0309H | Capex component
DOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component
DOPEX0312H | Capex component
DOPEX0313H | Other component
DOPEX0314H | Closing balance (carrying amount at the end of the period)
DOPEX03I | <Provision name>
<Brief description of provision>
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J | <Provision name>
<Brief description of provision>
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K | <Provision name>
<Brief description of provision>
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L | <Provision name>
<Brief description of provision>
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M | <Provision name>
<Brief description of provision>
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N | <Provision name>
<Brief description of provision>
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O | <Provision name>
<Brief description of provision>
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | <Provision name>
<Brief description of provision>
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | <Provision name>
<Brief description of provision>
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | <Provision name>
<Brief description of provision>
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2019-20
3.3 ASSETS
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2019-20 | 2019-20 | 2019-20
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 10237689418 | 12482459314 | 479279266
DRAB0102 | Inflation addition | 188423732 | 229738515 | 8821091
DRAB0103 | Straight line depreciation | -355585635 | -427713069 | -44697202
DRAB0105 | Actual additions (recognised in RAB) | 414026288 | 488778022 | 6934516
DRAB0106 | Disposals | -11388894 | -11388894 | 0
DRAB0107 | Closing value | 10473164909 | 12761873888 | 450337671
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2019-20 | 2019-20 | 2019-20
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 2027132541 | 2702811935
DRAB0202 | Inflation addition | 37309188 | 49745005
DRAB0203 | Straight line depreciation | -66218416 | -88453543
DRAB0205 | Actual additions (recognised in RAB) | 99813528 | 121073339
DRAB0206 | Disposals | 0 | 0
DRAB0207 | Closing value | 2098036841 | 2785176736 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 1872364307 | 2417123076
DRAB0302 | Inflation addition | 34460693 | 44486928
DRAB0303 | Straight line depreciation | -45861845 | -59205211
DRAB0305 | Actual additions (recognised in RAB) | 11278902 | 15658760
DRAB0306 | Disposals | 0 | 0
DRAB0307 | Closing value | 1872242057 | 2418063553 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 1274902422 | 1841684298
DRAB0402 | Inflation addition | 23464462 | 33896030
DRAB0403 | Straight line depreciation | -49862117 | -70176602
DRAB0405 | Actual additions (recognised in RAB) | 69506109 | 118479298
DRAB0406 | Disposals | 0 | 0
DRAB0407 | Closing value | 1318010876 | 1923883024 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 490805711 | 621508961
DRAB0502 | Inflation addition | 9033234 | 11438815
DRAB0503 | Straight line depreciation | -13781933 | -17452110
DRAB0505 | Actual additions (recognised in RAB) | 37951179 | 37935613
DRAB0506 | Disposals | 0 | 0
DRAB0507 | Closing value | 524008191 | 653431279 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 633770344 | 853981904
DRAB0602 | Inflation addition | 11664485 | 15717458
DRAB0603 | Straight line depreciation | -23757807 | -32012759
DRAB0605 | Actual additions (recognised in RAB) | 12768042 | 12763161
DRAB0606 | Disposals | 0 | 0
DRAB0607 | Closing value | 634445064 | 850449764 | 0
Zone substations and transformers
DRAB0701 | Opening value | 2923061078 | 2990767416
DRAB0702 | Inflation addition | 53798670 | 55044799
DRAB0703 | Straight line depreciation | -81414837 | -83356499
DRAB0705 | Actual additions (recognised in RAB) | 58251324 | 58247835
DRAB0706 | Disposals | 0 | 0
DRAB0707 | Closing value | 2953696235 | 3020703551 | 0
For easements:
DRAB0801 | Opening value | 178388164 | 178381294
DRAB0802 | Inflation addition | 3283218 | 3283091
DRAB0805 | Actual additions (recognised in RAB) | 348010 | 347864
DRAB0806 | Disposals
DRAB0807 | Closing value | 182019392 | 182012249 | 0
For meters:
DRAB0901 | Opening value | 35637378 | 73895869 | 322090364
DRAB0902 | Inflation addition | 655903 | 1360047 | 5928044
DRAB0903 | Straight line depreciation | -2189486 | -4540007 | -28969038
DRAB0905 | Actual additions (recognised in RAB) | 1633852 | 1633094 | 1158
DRAB0906 | Disposals | 0 | 0 | 0
DRAB0907 | Closing value | 35737647 | 72349003 | 299050528
For “other” asset items with long lives:
DRAB1001 | Opening value | 689770916 | 690453767 | 150769398
DRAB1002 | Inflation addition | 12695170 | 12707738 | 2774897
DRAB1003 | Straight line depreciation | -36886974 | -36906169 | -13767937
DRAB1005 | Actual additions (recognised in RAB) | 79676857 | 79858533 | 5246784
DRAB1006 | Disposals | -5724882 | -5724882 | 0
DRAB1007 | Closing value | 739531087 | 740388987 | 145023142
For “other” asset items with short lives:
DRAB1101 | Opening value | 111856557 | 111850795 | 6419505
DRAB1102 | Inflation addition | 2058710 | 2058604 | 118150
DRAB1103 | Straight line depreciation | -35612219 | -35610168 | -1960227
DRAB1105 | Actual additions (recognised in RAB) | 42798484 | 42780525 | 1686574
DRAB1106 | Disposals | -5664012 | -5664012 | 0
DRAB1107 | Closing value | 115437520 | 115415744 | 6264002
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2019-20 | 2019-20 | 2019-20
DRAB1201 | Overhead network assets less than 33kV (wires and poles) | 2062584691 | 2743994335
DRAB1202 | Underground network assets less than 33kV (cables) | 1872303182 | 2417593314
DRAB1203 | Distribution substations including transformers | 1296456649 | 1882783661
DRAB1204 | Overhead network assets 33kV and above (wires and towers / poles etc) | 507406951 | 637470120
DRAB1205 | Underground network assets 33kV and above(cables, ducts etc) | 634107704 | 852215834
DRAB1206 | Zone substations and transformers | 2938378657 | 3005735483
DRAB1207 | Easements | 180203778 | 180196771
DRAB1208 | Meters | 35687512 | 73122436 | 310570446
DRAB1209 | "Other" assets with long lives | 714651001 | 715421377 | 147896269
DRAB1210 | "Other" assets with short lives | 113647039 | 113633269 | 6341753
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 0 | 0 | 0
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2019-20 | 2019-20 | 2019-20
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 45 | 44
DRAB1402 | Underground network assets less than 33kV (cables) | 60 | 60
DRAB1403 | Distribution substations including transformers | 39 | 39
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 51 | 51
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 45 | 45
DRAB1406 | Zone substations and transformers | 51 | 51
DRAB1407 | Meters | 15 | 15 | 15
DRAB1408 | "Other" assets with long lives | 35 | 35 | 22
DRAB1409 | "Other" assets with short lives | 8 | 8 | 9
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 33 | 31
DRAB1502 | Underground network assets less than 33kV (cables) | 43 | 43
DRAB1503 | Distribution substations including transformers | 27 | 27
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 37 | 36
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 29 | 29
DRAB1506 | Zone substations and transformers | 35 | 35
DRAB1507 | Meters | 13 | 11 | 10
DRAB1508 | "Other" assets with long lives | 27 | 27 | 13
DRAB1509 | "Other" assets with short lives | 6 | 6 | 6
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2019-20
3.4 OPERATIONAL DATA
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
VOLUME (0's)
|  | Units | 2019-20
DOPED01 | Total energy delivered | GWh | 21141
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 8001
DOPED0202 | Energy Delivery at On-peak times | GWh | 6500
DOPED0203 | Energy Delivery at Shoulder times | GWh | 0
DOPED0204 | Energy Delivery at Off-peak times | GWh | 5163
DOPED0205 | Controlled load energy deliveries | GWh | 1294
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 184
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 9392.5
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 0
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 10974.9
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 3.5
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 107.3
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 132.4
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 0
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 1521.6
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 0
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 8040
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 1746
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 5625
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 5545
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 184
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME (0's)
2019-20
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 1384298
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 114375
DOPCN0103 | Low voltage demand tariff customer numbers |  | 14144
DOPCN0104 | High voltage demand tariff customer numbers |  | 693
DOPCN0105 | Unmetered Customer Numbers |  | 2688
DOPCN0106 | Other Customer Numbers |  | 0
DOPCN01 | Total customer numbers |  | 1516198
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | Customers on CBD network |  | 3972
DOPCN0202 | Customers on Urban network |  | 1050368
DOPCN0203 | Customers on Short rural network |  | 459169
DOPCN0204 | Customers on Long rural network |  | 0
DOPCN02 | Total customer numbers |  | 1513509
3.4.2.3 - Distribution customer numbers by TasNetworks (D) feeder categories (TasNetworks (D) only)
Critical Infrastructure
High Density Commercial
Urban
High Density Rural
Low Density Rural
| Total customer numbers |  | 0
3.4.2.4 - Unmetered Supply TasNetworks (D) only)
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN
DOPCN0303 | Total unmetered connections
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME (0's)
|  | Units | 2019-20
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 5505
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 6006
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 5373
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 4982
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 5451
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 4856
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 5336
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 5797
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 5182
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 5018
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 5446
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 4858
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 5587
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 6095
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 5455
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 5044
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 5518
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 4917
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 5437
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 5906
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 5279
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 5122
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 5559
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 4959
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.989
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.9627
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.98308
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.9964
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0.9826
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0.9646
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0.97
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 0
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 67
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 411
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 2675
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2019-20
3.5 PHYSICAL ASSETS
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's (0's)
| Circuit length | 2019-20
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 14169
DPA0102 | Overhead 2.2 kV
DPA0103 | Overhead 6.6kv
DPA0104 | Overhead 7.6 kV
DPA0105 | Overhead 11 kV | 17516
DPA0106 | Overhead SWER | 40
DPA0107 | Overhead 22 kV
DPA0108 | Overhead 33 kV | 2194
DPA0109 | Overhead 44 kV
DPA0110 | Overhead 66 kV
DPA0111 | Overhead 110kV | 822
DPA0112 | Overhead 132 kV | 332
DPA0113 | Overhead 220kV
DPA0114 | Other
DPA01 | Total overhead circuit km | 35073
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 12754
DPA0202 | Underground 5 kV
DPA0203 | Underground 6.6 Kv
DPA0204 | Underground 7.6 kV
DPA0205 | Underground 11 kV | 6364
DPA0206 | Underground SWER
DPA0207 | Underground 22 kV
DPA0208 | Underground 33 kV | 834
DPA0209 | Underground 66 kV
DPA0210 | Underground 110 kV | 165
DPA0211 | Underground 132 kV
DPA0212 | Other
DPA02 | Total underground circuit km | 20117
VOLUME in MVA (0's)
| Circuit Capacity MVA | 2019-20
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.13499
DPA0302 | Overhead 6.6 kV
DPA0303 | Overhead 7.6 kV
DPA0304 | Overhead 11 kV | 0.97
DPA0305 | Overhead SWER | 0.09
DPA0306 | Overhead 22 kV
DPA0307 | Overhead 33 kV | 24.57
DPA0308 | Overhead 44 kV
DPA0309 | Overhead 66 kV
DPA0310 | Overhead 110 kV | 150.23
DPA0311 | Overhead 132 kV | 179.09
DPA0312 | Overhead 220 kV
DPA0313 | Other
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.14976
DPA0402 | Underground 5 kV
DPA0403 | Underground 6.6 kV
DPA0404 | Underground 7.6 kV
DPA0405 | Underground 11 kV | 2.845
DPA0406 | Underground SWER
DPA0407 | Underground 12.7 kV
DPA0408 | Underground 22 kV
DPA0409 | Underground 33 kV | 34.61
DPA0410 | Underground 66 kV
DPA0411 | Underground 110 kV | 167.67
DPA0412 | Underground 132 kV | 0
DPA0413 | Other
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA (0's)
2019-20
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 15831
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | 2399.5
DPA0503 | Cold spare capacity included in DPA0501 | 142
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 8254
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 8507
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 3929
DPA0604 | Total zone substation transformer capacity | 21227
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 536.7
3.5.2.3 - Distribution - other transformer capacity
Distribution other - transformer capacity owned by utility
3.5.3 - PUBLIC LIGHTING
VOLUME (0's)
2019-20
DPA0701 | Public lighting luminaires | 337782
DPA0702 | Public lighting poles | 177236
DPA0703 | Public lighting columns | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2019-20
3.6 QUALITY OF SERVICE DATA
3.6.1 - RELIABILITY
(0's)
|  | Units | 2019-20
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 89.2749
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 89.1478
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 0.8339
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.833
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 73.3685
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 73.244
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 0.7646
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.7637
3.6.2 - ENERGY NOT SUPPLIED
(0's)
|  | Units | 2019-20
DQS0201 | Energy Not Supplied (planned) | GWh | 1.55
DQS0202 | Energy Not Supplied (unplanned) | GWh | 2.9
DQS02 | Total |  | 4.45
3.6.3 - SYSTEM LOSSES
(0's)
|  | Unit | 2019-20
DQS03 | System losses | % | 4.479%
3.6.4 - CAPACITY UTILISATION
(0's)
|  | Unit | 2019-20
DQS04 | Overall utilisation | % | 27%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2019-20
3.7 OPERATING ENVIRONMENT FACTORS
3.7.1 - DENSITY FACTORS
(0's)
|  | Units | 2019-20
DOEF0101 | Customer density | Customer / km | 33.0824
DOEF0102 | Energy density | MWh/customer | 13.9434
DOEF0103 | Demand density | kVA / customer | 3.6849
3.7.2 - TERRAIN FACTORS
(0's)
|  | Units | 2019-20
DOEF0201 | Rural proportion | % | 37.3%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 87234
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 42030
DOEF0204 | Total vegetation maintenance spans | Number of spans | 129264
DOEF0205 | Total number of spans | Number of spans | 284058
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1.42
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1.86
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 1.84
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 3.55
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 1.84
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 3.55
DOEF0212 | Tropical proportion | Spans | 95454
DOEF0213 | Standard vehicle access | km | 5184
DOEF0214 | Bushfire risk | Spans | 11502
3.7.3 - SERVICE AREA FACTORS
(0's)
|  | Units | 2019-20
DOEF0301 | Route Line length | km | 45831
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY