## Instructions
Electricity Distribution Network Service Provider
Economic Benchmarking RIN
This template is to be used by Energex to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the NON-CONFIDENTIAL macro.
PROTECTED (SOCI) INFORMATION | Please use the macro at the top of each worksheet to identify information in the confidential workbook that is protected information under the SOCI Act. All information marked Protected (SOCI) is also deemed to be confidential information.
-Do this by selecting the cell or cells that contain protected information and then run the PROTECTED (SOCI) macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as protected.. -To reverse this, select the cell or cells and run the NON-PROTECTED macro.
RESPONSES | Please return two (2) files to the AER: CONSOLIDATED (2 files) 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form. The public version must include the confidential markings to identify where confidential information has been removed from the file. Use the drop down box on the Business and other details worksheet to identify the file Confidentiality Status as either 'Confidential', or ‘Public’. Use the drop down box on the Business and other details worksheet to identify the file Data Quality as 'Consolidated'. If there is no confidential information reported in the workbook, the Consolidated Confidential file does NOT have to be submitted.
ORDER OF MAGNITUDE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that require numbers (including 'numbers stored as text')
CONFIDENTIAL
NON-CONFIDENTIAL
Protected (SOCI)
NON-Protected

## CONTENTS
ECONOMIC BENCHMARKING
Energex
2023-24
CONTENTS
| TEMPLATE DATE | MAY 2024
| SUBMISSION | Business & other details
| ECONOMIC BENCHMARKING | 3.1 Revenue
3.2 Operating expenditure
3.2.3 Provisions
3.3 Assets (RAB)
3.4 Operational data
3.5 Physical assets
3.6 Quality of service
3.7 Operating environment

## Business & other details
ECONOMIC BENCHMARKING
Energex
2023-24
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
TEMPLATE DATE - MAY 2024
ENTITY DETAILS
Business Name
| Short name |  |  | Energex
| ACN/ABN |  |  | 40078849055
| Business Address | [9 empty] | Postal Address
| Address 1 |  |  | 26 Reddacliff Street |  |  |  |  | Address 1 |  | 26 Reddacliff Street
| Address 2 | [7 empty] | Address 2
| Suburb |  |  | NEWSTEAD |  |  |  |  | Suburb |  | NEWSTEAD
| State |  |  | Qld |  | Post code |  |  | State |  | QLD |  | Post code
`
REGULATORY CONTROL PERIODS
|  |  |  | 2020-21 | 2021-22 |  |  | 2022-23 |  | 2023-24 |  | 2024-25
|  |  | Commencing year | 2023-24
ANNUAL RINS
|  |  | Final year | 2023-24
SUBMISSION DETAILS
|  |  | RIN type | Economic Benchmarking
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | .
|  |  | Submission Date | 2024-10-31
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2023-24
3.1 REVENUE
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0101 | Revenue from Fixed Customer Charges | 332192280.9 | 1504382.15
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 485130078.47
DREV0103 | Revenue from On–Peak Energy Delivery charges | 19671505.24
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 1649651.73
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 11815287.83
DREV0106 | Revenue from controlled load customer charges | 31915059.7
DREV0107 | Revenue from unmetered supplies | 3342235.63
DREV0108 | Revenue from Contracted Maximum Demand charges | 5462602.22
DREV0109 | Revenue from Measured Maximum Demand charges | 415464143.38
DREV0110 | Revenue from metering charges |  | 67836614.81
DREV0111 | Revenue from connection charges |  | 104311512.93
DREV0112 | Revenue from public lighting charges | 8444735.19 | 54737795.52
DREV0113 | Revenue from other Sources |  | 31277569.33
DREV01 | Total revenue by chargeable quantity | 1315087580.29 | 259667874.74
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0201 | Revenue from residential Customers | 723951305.94
DREV0202 | Revenue from Non residential customers not on demand tariffs | 95144731.42
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 336194677.55
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 148009894.56
DREV0205 | Revenue from unmetered supplies | 11786970.82
DREV0206 | Revenue from Other Customers |  | 259667874.74
DREV02 | Total revenue by customer class | 1315087580.29 | 259667874.74
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0301 | EBSS | 35929289.9
DREV0302 | STPIS | 4022457.15
DREV0303 | F-Factor
DREV0304 | S-Factor True up
DREV0305 | Other | 22096867.7
DREV03 | Total revenue of incentive schemes | 62048614.75 | 0
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2023-24
3.2 OPERATING EXPENDITURE
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to Energex's annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE $
|  | 2023-24 | 2023-24
DOPEX0101
DOPEX0102 | Preventative maintenance | 146096674
DOPEX0103 | Corrective repair | 106464844
DOPEX0104 | Vegetation | 57186983
DOPEX0105 | Emergency response/storms | 21854193
DOPEX0106 | Other network maintenance costs | 0 | 20542155
DOPEX0107 | Network operating costs | 59926745
DOPEX0108 | Network billing and other energy market services (including meter reading) | 4321033 | 20881462
DOPEX0109 | Customer services (inc call centre) | 24897343 | 9434521
DOPEX0110 | DSM initiatives | 5246455
DOPEX0111 | Levies | 14577305
DOPEX0112 | Debt raising costs | 7720666 | 258194
DOPEX0113 | Other operating costs (inc self insurance) | 38534919 | 95075636
DOPEX0114 | Corporate allocations | 57303697 | 11462206
DOPEX0115
DOPEX0116
DOPEX0117
DOPEX0118
DOPEX0119
DOPEX0120
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 544130857 | 157654174
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE $
|  | 2023-24 | 2023-24
DOPEX0201 | Opex for network services | 543394339
DOPEX0202 | Opex for metering | 712897 | 24773375
DOPEX0203 | Opex for connection services | 23622 | 70829922
DOPEX0204 | Opex for public lighting |  | 24498339
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP
DOPEX0206 | Opex for transmission connection point planning
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 474973.6281
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2023-24
3.2 OPERATING EXPENDITURE
TEMPLATE DATE - MAY 2024
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to Energex's annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE $
2023-24
DOPEX03A | Provision for Site Restoration
Provision is raised for the obligation to restore sites in the future, on expiration of associated contracts or when the obligation arises in the course of business.
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 1428930
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 223390
DOPEX0303A | Capex component | 199970
DOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -57928
DOPEX0306A | Capex component | -51855
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | -3591
DOPEX0309A | Capex component | -3215
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | 0
DOPEX0312A | Capex component | 0
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 1735701
DOPEX03B | Provision for Public Liability Insurance
Provision is raised to cover the excess on any public liability insurance claim (also referred to as self insurance).
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 0
DOPEX0303B | Capex component | 0
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | 0
DOPEX0306B | Capex component | 0
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | 0
DOPEX0309B | Capex component | 0
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 0
DOPEX03C | Provision for Employee Benefits
Provision is raised to cover payments to employees in future periods for long service leave, annual leave and vesting sick leave accrued.
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 39532792
DOPEX0303C | Capex component | 28251921
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | -20758121
DOPEX0306C | Capex component | -14834692
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | 0
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component | -31970008
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component
DOPEX0312C | Capex component
DOPEX0313C | Other component | -221892
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 0
DOPEX03D | Provision for Redundancy
Provision is raised to cover payments to employees in future periods for redundancy payments.
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 267833
DOPEX0303D | Capex component | 0
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -424974
DOPEX0306D | Capex component | 0
DOPEX0307D | Other component | 0
Unused amounts reversed during the period
DOPEX0308D | Opex component | 0
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | 157140
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 0
DOPEX03E | Provision for Environmental Offsets
Provision is raised for the obligation to counterbalance unavoidable, negative impacts on the natural environment, resulting from an activity or development.
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | 469203
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | 0
DOPEX0303E | Capex component | 0
DOPEX0304E | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | 0
DOPEX0306E | Capex component | -124970
DOPEX0307E | Other component | 0
Unused amounts reversed during the period
DOPEX0308E | Opex component | 0
DOPEX0309E | Capex component | -265934
DOPEX0310E | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component | 0
DOPEX0312E | Capex component | 0
DOPEX0313E | Other component | 0
DOPEX0314E | Closing balance (carrying amount at the end of the period) | 78298
DOPEX03F
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component | 0
DOPEX0303F | Capex component | 0
DOPEX0304F | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component | 0
DOPEX0306F | Capex component | 0
DOPEX0307F | Other component | 0
Unused amounts reversed during the period
DOPEX0308F | Opex component | 0
DOPEX0309F | Capex component | 0
DOPEX0310F | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component | 0
DOPEX0312F | Capex component | 0
DOPEX0313F | Other component | 0
DOPEX0314F | Closing balance (carrying amount at the end of the period) | 0
DOPEX03G | <Provision name>
<Brief description of provision>
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component
DOPEX0303G | Capex component
DOPEX0304G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component
DOPEX0306G | Capex component
DOPEX0307G | Other component
Unused amounts reversed during the period
DOPEX0308G | Opex component
DOPEX0309G | Capex component
DOPEX0310G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component
DOPEX0312G | Capex component
DOPEX0313G | Other component
DOPEX0314G | Closing balance (carrying amount at the end of the period)
DOPEX03H | <Provision name>
<Brief description of provision>
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component
DOPEX0303H | Capex component
DOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component
DOPEX0306H | Capex component
DOPEX0307H | Other component
Unused amounts reversed during the period
DOPEX0308H | Opex component
DOPEX0309H | Capex component
DOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component
DOPEX0312H | Capex component
DOPEX0313H | Other component
DOPEX0314H | Closing balance (carrying amount at the end of the period)
DOPEX03I | <Provision name>
<Brief description of provision>
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J | <Provision name>
<Brief description of provision>
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K | <Provision name>
<Brief description of provision>
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L | <Provision name>
<Brief description of provision>
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M | <Provision name>
<Brief description of provision>
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N | <Provision name>
<Brief description of provision>
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O | <Provision name>
<Brief description of provision>
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | <Provision name>
<Brief description of provision>
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | <Provision name>
<Brief description of provision>
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | <Provision name>
<Brief description of provision>
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2023-24
3.3 ASSETS
TEMPLATE DATE - MAY 2024
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 11957699101.13 | 14474288093.87 | 424015223.69
DRAB0102 | Inflation addition | 483178597.75 | 586160106.35 | 17181045
DRAB0103 | Straight line depreciation | -427572503.48 | -527521048.11 | -46366132.15
DRAB0105 | Actual additions (recognised in RAB) | 503149157.24 | 590306210.56 | 25209894.24
DRAB0106 | Disposals | -1781892.75 | -1781892.75 | 0
DRAB0107 | Closing value | 12514672459.89 | 15121451469.92 | 420040030.78
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 2525030613.97 | 3313290390.28 | 0
DRAB0202 | Inflation addition | 103050955.59 | 135231024.52 | 0
DRAB0203 | Straight line depreciation | -83933119.53 | -117242230.47 | 0
DRAB0205 | Actual additions (recognised in RAB) | 139921533.35 | 184518133.38 | 0
DRAB0206 | Disposals | 0 | 0 | 0
DRAB0207 | Closing value | 2684069983.38 | 3515797317.71 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 1996651935.19 | 2604632438.47 | 0
DRAB0302 | Inflation addition | 82172013.5 | 107346028.12 | 0
DRAB0303 | Straight line depreciation | -51802488.47 | -68681174.29 | 0
DRAB0305 | Actual additions (recognised in RAB) | 30480071.41 | 47385341.08 | 0
DRAB0306 | Disposals | 0 | 0 | 0
DRAB0307 | Closing value | 2057501531.63 | 2690682633.38 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 1473981088.62 | 2148587041.67 | 0
DRAB0402 | Inflation addition | 58661145.38 | 86118523.8 | 0
DRAB0403 | Straight line depreciation | -61596847.94 | -90237938.18 | 0
DRAB0405 | Actual additions (recognised in RAB) | 90713777.18 | 115775312.59 | 0
DRAB0406 | Disposals | 0 | 0 | 0
DRAB0407 | Closing value | 1561759163.24 | 2260242939.88 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 580049224.97 | 714273184.09 | 0
DRAB0502 | Inflation addition | 22669485.27 | 28085920.55 | 0
DRAB0503 | Straight line depreciation | -17821087.16 | -21899179.81 | 0
DRAB0505 | Actual additions (recognised in RAB) | 24299161.39 | 24284967.31 | 0
DRAB0506 | Disposals | 0 | 0 | 0
DRAB0507 | Closing value | 609196784.47 | 744744892.14 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 649965453.43 | 867493487.1 | 0
DRAB0602 | Inflation addition | 26250379.27 | 35062481.27 | 0
DRAB0603 | Straight line depreciation | -26063348.37 | -34942529.08 | 0
DRAB0605 | Actual additions (recognised in RAB) | 1490776.81 | 1457029.71 | 0
DRAB0606 | Disposals | 0 | 0 | 0
DRAB0607 | Closing value | 651643261.14 | 869070469 | 0
Zone substations and transformers
DRAB0701 | Opening value | 3165168067.96 | 3234087949.74 | 0
DRAB0702 | Inflation addition | 128732328.56 | 131649793.52 | 0
DRAB0703 | Straight line depreciation | -95280388.64 | -97458284.65 | 0
DRAB0705 | Actual additions (recognised in RAB) | 50728940.01 | 50867888.02 | 0
DRAB0706 | Disposals | 0 | 0 | 0
DRAB0707 | Closing value | 3249348947.89 | 3319147346.63 | 0
For easements:
DRAB0801 | Opening value | 199892022.99 | 199891218.03 | 0
DRAB0802 | Inflation addition | 8129319.22 | 8129286.6 | 0
DRAB0805 | Actual additions (recognised in RAB) | 1120762.61 | 1119317.99 | 0
DRAB0806 | Disposals | 0 | 0 | 0
DRAB0807 | Closing value | 209142104.82 | 209139822.62 | 0
For meters:
DRAB0901 | Opening value | 43208608 | 67165685.32 | 242637450.86
DRAB0902 | Inflation addition | 2062864.2 | 3041777.21 | 9831639.83
DRAB0903 | Straight line depreciation | -4910688.97 | -10895177.45 | -33718961.86
DRAB0905 | Actual additions (recognised in RAB) | 9961218.64 | 9978497.71 | 0
DRAB0906 | Disposals | 0 | 0 | 0
DRAB0907 | Closing value | 50322001.87 | 69290782.79 | 218750128.83
For “other” asset items with long lives:
DRAB1001 | Opening value | 929842842.33 | 930950398.18 | 181377772.83
DRAB1002 | Inflation addition | 35987525.5 | 36032403.53 | 7349405.17
DRAB1003 | Straight line depreciation | -24698378.52 | -24698378.52 | -12647170.29
DRAB1005 | Actual additions (recognised in RAB) | 61750285.42 | 62326880.97 | 25209894.24
DRAB1006 | Disposals | 0 | 0 | 0
DRAB1007 | Closing value | 1002882274.73 | 1004611304.16 | 201289901.95
For “other” asset items with short lives:
DRAB1101 | Opening value | 393909243.67 | 393916300.98 | 0
DRAB1102 | Inflation addition | 15462581.26 | 15462867.22 | 0
DRAB1103 | Straight line depreciation | -61466155.88 | -61466155.67 | 0
DRAB1105 | Actual additions (recognised in RAB) | 92682630.42 | 92592841.8 | 0
DRAB1106 | Disposals | -1781892.75 | -1781892.75 | 0
DRAB1107 | Closing value | 438806406.72 | 438723961.58 | 0
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
DRAB1201 | Overhead network assets less than 33kV (wires and poles) | 2604550298.68 | 3414543854 | 0
DRAB1202 | Underground network assets less than 33kV (cables) | 2027076733.41 | 2647657535.93 | 0
DRAB1203 | Distribution substations including transformers | 1517870125.92 | 2204414990.77 | 0
DRAB1204 | Overhead network assets 33kV and above (wires and towers / poles etc) | 594623004.72 | 729509038.12 | 0
DRAB1205 | Underground network assets 33kV and above(cables, ducts etc) | 650804357.29 | 868281978.05 | 0
DRAB1206 | Zone substations and transformers | 3207258507.93 | 3276617648.19 | 0
DRAB1207 | Easements | 204517063.91 | 204515520.33 | 0
DRAB1208 | Meters | 46765304.94 | 68228234.06 | 230693789.84
DRAB1209 | "Other" assets with long lives | 966362558.53 | 967780851.18 | 191333837.39
DRAB1210 | "Other" assets with short lives | 416357825.19 | 416320131.28 | 0
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 0 | 0 | 0
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2023-24 | 2023-24 | 2023-24
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 43.61 | 43.44 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | 60 | 60 | 0
DRAB1403 | Distribution substations including transformers | 38.76 | 39.31 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 50.54 | 50.54 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 45 | 45 | 0
DRAB1406 | Zone substations and transformers | 50.93 | 54.43 | 0
DRAB1407 | Meters | 15 | 15 | 0
DRAB1408 | "Other" assets with long lives | 33.95 | 33.95 | 20
DRAB1409 | "Other" assets with short lives | 6.14 | 6.14 | 0
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 31.44 | 29.99 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | 39.29 | 39.77 | 0
DRAB1503 | Distribution substations including transformers | 25.22 | 25.46 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 34.55 | 33.52 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 25.36 | 24.94 | 0
DRAB1506 | Zone substations and transformers | 32.93 | 32.91 | 0
DRAB1507 | Meters | 11.35 | 8.86 | 0
DRAB1508 | "Other" assets with long lives | 26.19 | 26.19 | 8.52
DRAB1509 | "Other" assets with short lives | 4.82 | 4.82 | 0
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2023-24
3.4 OPERATIONAL DATA
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
0's
|  | Units | 2023-24
DOPED01 | Total energy delivered | GWh | 22364.26
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 17677.3
DOPED0202 | Energy Delivery at On-peak times | GWh | 1751.26
DOPED0203 | Energy Delivery at Shoulder times | GWh | 49.96
DOPED0204 | Energy Delivery at Off-peak times | GWh | 1472.9
DOPED0205 | Controlled load energy deliveries | GWh | 1176
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 236.85
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 8821.8874
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 0
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 11224.075
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | -1.5143
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 128.3062
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 163.7798
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 0
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 2873.8939
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 0
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 8709.41
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 1102.62
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 6701.66
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 5613.72
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 236.85
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME 0's
2023-24
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 1455890
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 85038
DOPCN0103 | Low voltage demand tariff customer numbers |  | 45429
DOPCN0104 | High voltage demand tariff customer numbers |  | 784
DOPCN0105 | Unmetered Customer Numbers |  | 31229
DOPCN0106 | Other Customer Numbers |  | 0
DOPCN01 | Total customer numbers |  | 1618370
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | CBD |  | 4057
DOPCN0202 | Urban |  | 1038141
DOPCN0203 | Short rural |  | 544943
DOPCN0204 | Long rural |  | 0
DOPCN02 | Total customer numbers |  | 1587141
3.4.2.4 - Unmetered Supply
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN |  | 31229
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN
DOPCN0303 | Total unmetered connections |  | 31229
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME 0's
|  | Units | 2023-24
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 6101
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 6299
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 5824
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 5557
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 5739
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 5301
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 6008
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 5962
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 5537
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 5651
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 5604
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 5205
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 6146
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 6345
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 5868
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 5592
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 5775
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 5335
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 6097
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 6052
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 5621
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 5742
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 5697
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 5292
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.98415
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.9513
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.9862
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.9995
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0.9856
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0.9728
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0.9935
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 4096
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 534
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 3769
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2023-24
3.5 PHYSICAL ASSETS
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's 0's
| Circuit length | 2023-24
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 14147
DPA0102 | Overhead 2.2 kV
DPA0103 | Overhead 6.6kv
DPA0104 | Overhead 7.6 kV
DPA0105 | Overhead 11 kV | 17515
DPA0106 | Overhead SWER | 41
DPA0107 | Overhead 22 kV
DPA0108 | Overhead 33 kV | 2189
DPA0109 | Overhead 44 kV
DPA0110 | Overhead 66 kV
DPA0111 | Overhead 110kV | 822
DPA0112 | Overhead 132 kV | 366
DPA0113 | Overhead 220kV
DPA0114 | Other
DPA01 | Total overhead circuit km | 35080
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 13870
DPA0202 | Underground 5 kV
DPA0203 | Underground 6.6 Kv
DPA0204 | Underground 7.6 kV
DPA0205 | Underground 11 kV | 6859
DPA0206 | Underground SWER
DPA0207 | Underground 22 kV
DPA0208 | Underground 33 kV | 824
DPA0209 | Underground 66 kV
DPA0210 | Underground 110 kV | 165
DPA0211 | Underground 132 kV
DPA0212 | Other
DPA02 | Total underground circuit km | 21718
VOLUME in MVA 0's
| Circuit Capacity MVA | 2023-24
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.135
DPA0302 | Overhead 6.6 kV
DPA0303 | Overhead 7.6 kV
DPA0304 | Overhead 11 kV | 0.962
DPA0305 | Overhead SWER | 0.09
DPA0306 | Overhead 22 kV
DPA0307 | Overhead 33 kV | 25.059
DPA0308 | Overhead 44 kV
DPA0309 | Overhead 66 kV
DPA0310 | Overhead 110 kV | 150.733
DPA0311 | Overhead 132 kV | 183.2
DPA0312 | Overhead 220 kV
DPA0313 | Other
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.151
DPA0402 | Underground 5 kV
DPA0403 | Underground 6.6 kV
DPA0404 | Underground 7.6 kV
DPA0405 | Underground 11 kV | 2.769
DPA0406 | Underground SWER
DPA0407 | Underground 12.7 kV
DPA0408 | Underground 22 kV
DPA0409 | Underground 33 kV | 35.086
DPA0410 | Underground 66 kV
DPA0411 | Underground 110 kV | 166.937
DPA0412 | Underground 132 kV | 0
DPA0413 | Other
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA 0's
2023-24
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 16879
DPA0502 | Distribution transformer capacity owned by High Voltage Customers
DPA0503 | Cold spare capacity included in DPA0501 | 164
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 8324
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 8636
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 3910
DPA0604 | Total zone substation transformer capacity | 21360
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 490
3.5.2.3 - Distribution - other transformer capacity
Distribution other - transformer capacity owned by utility
3.5.3 - PUBLIC LIGHTING
VOLUME 0's
2023-24
DPA0701 | Public lighting luminaires | 351756
DPA0702 | Public lighting poles | 188951
DPA0703 | Public lighting columns | 0
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2023-24
3.6 QUALITY OF SERVICE DATA
TEMPLATE DATE - MAY 2024
3.6.1 - RELIABILITY
0's
|  | Units | 2023-24
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 475.1626
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 473.4702
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 1.1171
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.1044
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 89.8803
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 88.2355
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 0.7964
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.78386
3.6.2 - ENERGY NOT SUPPLIED
0's
|  | Units | 2023-24
DQS0201 | Energy Not Supplied (planned) | GWh | 2.68
DQS0202 | Energy Not Supplied (unplanned) | GWh | 17.15
DQS02 | Total |  | 19.83
3.6.3 - SYSTEM LOSSES
0's
|  | Unit | 2023-24
DQS03 | System losses | % | 3.646%
3.6.4 - CAPACITY UTILISATION
0's
|  | Unit | 2023-24
DQS04 | Overall utilisation | % | 29.45%
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
Energex
Benchmarking RIN response 2023-24
3.7 OPERATING ENVIRONMENT FACTORS
TEMPLATE DATE - MAY 2024
3.7.1 - DENSITY FACTORS
0's
|  | Units | 2023-24
DOEF0101 | Customer density | Customer / km | 34.0918
DOEF0102 | Energy density | MWh/customer | 13.819
DOEF0103 | Demand density | kVA / customer | 3.7976
3.7.2 - TERRAIN FACTORS
0's
|  | Units | 2023-24
DOEF0201 | Rural proportion | % | 37%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 83700
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 27849
DOEF0204 | Total vegetation maintenance spans | Number of spans | 111549
DOEF0205 | Total number of spans | Number of spans | 277929
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1.4
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1.7
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 1.9
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 2.7
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 1.9
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 2.7
DOEF0212 | Tropical proportion | Spans | 82254
DOEF0213 | Standard vehicle access | km | 5208
DOEF0214 | Bushfire risk | Spans | 9943
3.7.3 - SERVICE AREA FACTORS
0's
|  | Units | 2023-24
DOEF0301 | Route Line length | km | 47471
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## NSP Amendments
This sheet may be used to identify amendments made to data resubmitted to the AER. It may also be used to provide additional information not captured in this workbook.
NSP data amendments
Worksheet | Table | Comments
Contents
Instructions