## Instructions
Distribution Network Service Provider
Annual Reporting RIN Template
This template is to be used by Ergon Energy to fulfil its reporting obligations to the AER.
INSTRUCTIONS
Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
Identifying CONFIDENTIAL INFORMATION: Please use the macro at the top of each worksheet to identify confidential information.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selected cells as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return cells to NON-CONFIDENTIAL macro
UNITS OF MEASURE All amounts are to be unrounded and reported in nominal terms on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
COLOUR CODING OF INPUT / NON-INPUT CELLS:
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
WORKSHEET NAVIGATION Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin of excel (for Row groupings) or above the columns (for column groupings).
RETURNING COMPLETED RESPONSES Please return four (4) files - using the locked template - to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selected cells CONFIDENTIAL macro. 2. An actual and an estimate version with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 3. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public. If the confidential and public versions of the consolidated file are exactly the same, only the public version of the file needs to be submitted to the AER.
SUBMITTING AMENDED DATA TO THE AER If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
Contents
Instructions

## Contents
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2017-18
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
1.0 Business & other details
3.2.3 Provisions

## Business & other details
ECONOMIC BENCHMARKING
Ergon Energy
2017-18
BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEETS
ENTITY DETAILS
Short name | Ergon Energy |  |  | Select business name from drop down list first
ACN / ABN | 50087646062
Business address | Address 1 |  | 420 Flinders Street
Address 2
| Suburb |  | TOWNSVILLE
|  | State | Qld | p/code | 4810
Postal address | Address 1 |  | PO Box 1090
Address 2
| Suburb |  | TOWNSVILLE
|  | State | QLD | p/code | 4810
Contact name/s
Contact phone/s
Contact email address/s
REGULATORY CONTROL PERIODS
Forthcoming regulatory control period | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30
Current regulatory control period | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20
| 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30
Previous regulatory control period | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15
Commencing regulatory year | 2017-18 | CRY
Last completed regulatory year | 2017-18 | dms_FinalYear
IF THIS IS AN ABC RIN - make sure the the named range CRY is applied and the named range dms_dollar_nom_UOM is applied
IF THIS IS A RESET RIN - make sure the named ranges CRY and dms_dollar_nom_UOM are NOT present in the workbook
FOR ABC RINS THAT SPAN MULTIPLE YEARS - make sure MultiYear Flag is set and final year entered as required
Source | Reporting |  | Please select the correct submission type from the dropdown list.
Data quality (actual, estimate, public, consolidated) | Consolidated |  | Use Consolidated for Consolidated Confidential version Use Public for Consolidated Public version
Amended RIN submission - amendment reason | 20201125 - #11808900 - 3.3 Assets (RAB) amended & 3.4 Operational data amended
Submission Date | 2020-11-25 | dms_SubmissionDate | Please enter date this file submitted to AER (dd/mm/yyyy)
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2017-18
3.1 REVENUE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2017-18 | 2017-18
DREV0101 | Revenue from Fixed Customer Charges | 583219807.7022 | 0
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 453015614.9856 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | 178832.2685 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 0 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 3335275.9833 | 0
DREV0106 | Revenue from controlled load customer charges | 51135713.1045 | 0
DREV0107 | Revenue from unmetered supplies | 6697565.7819 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | 209449922.8645 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | 41311800.9421 | 0
DREV0110 | Revenue from metering charges | 0 | 50813387.09
DREV0111 | Revenue from connection charges | 8148117.58 | 38502469.89
DREV0112 | Revenue from public lighting charges | 15182954.2674 | 40634173.4
DREV0113 | Revenue from other Sources | 0 | 18267043.04
DREV01 | Total revenue by chargeable quantity | 1371675605.48 | 148217073.42
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2017-18 | 2017-18
DREV0201 | Revenue from residential Customers | 579970264.5418 | 0
DREV0202 | Revenue from Non residential customers not on demand tariffs | 213523832.7144 | 0
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 407476607.5033 | 0
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 140676263.0912 | 0
DREV0205 | Revenue from unmetered supplies | 6697565.7819 | 0
DREV0206 | Revenue from Other Customers | 23331071.8474 | 148217073.42
DREV02 | Total revenue by customer class | 1371675605.48 | 148217073.42
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2017-18 | 2017-18
DREV0301 | EBSS | 69553636 | 0
DREV0302 | STPIS | 26232572 | 0
DREV0303 | F-Factor | 0 | 0
DREV0304 | S-Factor True up | 0 | 0
DREV0305 | Other | 0 | 0
DREV03 | Total revenue of incentive schemes | 95786208 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2017-18
3.2 OPERATING EXPENDITURE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to Ergon Energy's annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2017-18 | 2017-18
DOPEX0101 | preventative maintenance | 96278535.91 | 10425306.93
DOPEX0102 | corrective maintenance | 98665495.82 | 6796580.61
DOPEX0103 | forced maintenance | 86591221.42 | 11622.5
DOPEX0104 | other network maintenance | 0 | 0
DOPEX0105 | network operating costs | 41790300.78 | 0
DOPEX0106 | meter reading | 0 | 13908305.51
DOPEX0107 | customer service (incl call centre) | 10632344.96 | 44582375.46
DOPEX0108 | other operating costs | 9190930.64 | 2222461.47
DOPEX0109 | training | 20495203.59 | 0
DOPEX0110 | feed-in tariff | 0 | 0
DOPEX0111 | debt raising costs | 0 | 0
DOPEX0112 | over absorbed overheads | 0 | 0
DOPEX0113 | non network alternatives | 5857318.24 | 0
DOPEX0114 | not proceeding cust. initiated capital works | 1087956.07 | 0
DOPEX0115 | corporate restructuring | 14352226.78 | 0
DOPEX0116 | AEMC levy | 0 | 0
DOPEX0117
DOPEX0118
DOPEX0119
DOPEX0120
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 384941534.21 | 77946652.48
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2017-18 | 2017-18
DOPEX0201 | Opex for network services | 382621151.9345 | 14917900.01
DOPEX0202 | Opex for metering | 2286392 | 37217193.39
DOPEX0203 | Opex for connection services | 0 | 12284299.88
DOPEX0204 | Opex for public lighting | 0 | 13527259.2
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP | 0 | 0
DOPEX0206 | Opex for transmission connection point planning | 33990.2755 | 0
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 151.773
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2017-18
3.2 OPERATING EXPENDITURE
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to Ergon Energy's annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE ($0's)
2017-18
DOPEX03A | Provision name
Provision for Restructuring
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 2997936.8011
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 4567117.0316
DOPEX0303A | Capex component | 0
DOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -2976251.7202
DOPEX0306A | Capex component | 0
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | 0
DOPEX0309A | Capex component | 0
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | 0
DOPEX0312A | Capex component | 0
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 4588802.1125
DOPEX03B | Provision name
Provision for Employee Benefits on-costs
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 6833236.3144
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 302354.7787
DOPEX0303B | Capex component | 419427.9349
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | -202224.6646
DOPEX0306B | Capex component | -280526.9816
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | 0
DOPEX0309B | Capex component | 0
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 7072267.3817
DOPEX03C | Provision name
Provision for Rehabilitation
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 1045482
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 3485780
DOPEX0303C | Capex component | 0
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | 0
DOPEX0306C | Capex component | 0
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | 0
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 0
DOPEX0312C | Capex component | 0
DOPEX0313C | Other component | 0
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 4531262
DOPEX03D | Provision name
Provision for Annual Leave
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 30779723.1623
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 12208130.1733
DOPEX0303D | Capex component | 16935170.1316
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -12082074.6897
DOPEX0306D | Capex component | -16760309.387
DOPEX0307D | Other component | 0
Unused amounts reversed during the period
DOPEX0308D | Opex component | 0
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 31080639.3905
DOPEX03E | Provision name
Provision for Long Service Leave
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | 84907771.2542
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | 4121938.5447
DOPEX0303E | Capex component | 5717972.0418
DOPEX0304E | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | -3295200.6825
DOPEX0306E | Capex component | -4571117.4902
DOPEX0307E | Other component | 0
Unused amounts reversed during the period
DOPEX0308E | Opex component | 0
DOPEX0309E | Capex component | 0
DOPEX0310E | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component | 794380
DOPEX0312E | Capex component | 1101970
DOPEX0313E | Other component | 0
DOPEX0314E | Closing balance (carrying amount at the end of the period) | 88777713.6679
DOPEX03F | Provision name
Provision for Vested Sick Leave
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period) | 1590855.4
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component | 0
DOPEX0303F | Capex component | 0
DOPEX0304F | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component | -222856
DOPEX0306F | Capex component | 0
DOPEX0307F | Other component | 0
Unused amounts reversed during the period
DOPEX0308F | Opex component | 0
DOPEX0309F | Capex component | 0
DOPEX0310F | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component | 173586
DOPEX0312F | Capex component | 0
DOPEX0313F | Other component | 0
DOPEX0314F | Closing balance (carrying amount at the end of the period) | 1541585.4
DOPEX03G | Provision name
Provision for Super on Employee Entitlements
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period) | 11132369
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component | -33731.3423
DOPEX0303G | Capex component | -46792.2726
DOPEX0304G | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component | 199977.8485
DOPEX0306G | Capex component | 277410.188
DOPEX0307G | Other component | 0
Unused amounts reversed during the period
DOPEX0308G | Opex component | 0
DOPEX0309G | Capex component | 0
DOPEX0310G | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component | 0
DOPEX0312G | Capex component | 0
DOPEX0313G | Other component | 0
DOPEX0314G | Closing balance (carrying amount at the end of the period) | 11529233.4216
DOPEX03H | <Provision name>
<Brief description of provision>
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component
DOPEX0303H | Capex component
DOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component
DOPEX0306H | Capex component
DOPEX0307H | Other component
Unused amounts reversed during the period
DOPEX0308H | Opex component
DOPEX0309H | Capex component
DOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component
DOPEX0312H | Capex component
DOPEX0313H | Other component
DOPEX0314H | Closing balance (carrying amount at the end of the period)
DOPEX03I | <Provision name>
<Brief description of provision>
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J | <Provision name>
<Brief description of provision>
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K | <Provision name>
<Brief description of provision>
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L | <Provision name>
<Brief description of provision>
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M | <Provision name>
<Brief description of provision>
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N | <Provision name>
<Brief description of provision>
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O | <Provision name>
<Brief description of provision>
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | <Provision name>
<Brief description of provision>
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | <Provision name>
<Brief description of provision>
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | <Provision name>
<Brief description of provision>
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2017-18
3.3 ASSETS
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2017-18 | 2017-18 | 2017-18
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 8563738848.947 | 10446763926.167 | 177363272
DRAB0102 | Inflation addition | 164826480.2904 | 200473889.3996 | 3369902
DRAB0103 | Straight line depreciation | -326535303.2068 | -393646082.2409 | -14343938
DRAB0105 | Actual additions (recognised in RAB) | 436913733.9355 | 502832524.2436 | 9932607
DRAB0106 | Disposals | -3933993.3136 | -3933993.3136 | -
DRAB0107 | Closing value | 8835009766.6525 | 10752490264.2558 | 176321844
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2017-18 | 2017-18 | 2017-18
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 3077188959.0373 | 3615517571.1859 | 1
DRAB0202 | Inflation addition | 59850577.9877 | 70127760.5832 | -
DRAB0203 | Straight line depreciation | -92564002.7345 | -110289516.5161 | -1
DRAB0205 | Actual additions (recognised in RAB) | 225281806.6309 | 245752277.4997 | -
DRAB0206 | Disposals | 0 | 0 | -
DRAB0207 | Closing value | 3269757340.9214 | 3821108092.7527 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 550117842.0375 | 933678442.0614 | 1
DRAB0302 | Inflation addition | 10891146.7927 | 18213667.3386 | -
DRAB0303 | Straight line depreciation | -12465184.2382 | -21362882.7228 | -1
DRAB0305 | Actual additions (recognised in RAB) | 7459995.58 | 19742278.1012 | -
DRAB0306 | Disposals | 0 | 0 | -
DRAB0307 | Closing value | 556003800.172 | 950271504.7785 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 986663979.729 | 1643564455.3588 | 1
DRAB0402 | Inflation addition | 18933279.1518 | 31474106.4139 | -
DRAB0403 | Straight line depreciation | -40418508.064 | -69740521.6806 | -1
DRAB0405 | Actual additions (recognised in RAB) | 55092741.156 | 78292608.1407 | -
DRAB0406 | Disposals | 0 | 0 | -
DRAB0407 | Closing value | 1020271491.9729 | 1683590648.2328 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 1065647718.2293 | 1148017960.0872 | 1
DRAB0502 | Inflation addition | 20384490.6933 | 21957013.4924 | -
DRAB0503 | Straight line depreciation | -36115330.1715 | -38517126.3287 | -1
DRAB0505 | Actual additions (recognised in RAB) | 19250199.1953 | 21979595.3112 | -
DRAB0506 | Disposals | 0 | 0 | -
DRAB0507 | Closing value | 1069167077.9464 | 1153437442.5622 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 56589913.0731 | 56589913.0731 | 1
DRAB0602 | Inflation addition | 778572.4286 | 778572.4286 | -
DRAB0603 | Straight line depreciation | -1683917.8989 | -1683917.8989 | -1
DRAB0605 | Actual additions (recognised in RAB) | 433609.3134 | 433609.3134 | -
DRAB0606 | Disposals | 0 | 0 | -
DRAB0607 | Closing value | 56118176.9162 | 56118176.9162 | 0
Zone substations and transformers
DRAB0701 | Opening value | 1735360803.2515 | 1893012135.2043 | 1
DRAB0702 | Inflation addition | 33893786.6848 | 36903493.9312 | -
DRAB0703 | Straight line depreciation | -61714047.4868 | -68099518.9949 | -1
DRAB0705 | Actual additions (recognised in RAB) | 62576700.8124 | 67353144.0151 | -
DRAB0706 | Disposals | 0 | 0 | -
DRAB0707 | Closing value | 1770117243.2618 | 1929169254.1557 | 0
For easements:
DRAB0801 | Opening value | 93323984.5674 | 93323984.5674 | -
DRAB0802 | Inflation addition | 1840953.5459 | 1840953.5459 | -
DRAB0805 | Actual additions (recognised in RAB) | 351680.682 | 351680.682 | -
DRAB0806 | Disposals | 0 | 0 | -
DRAB0807 | Closing value | 95516618.7953 | 95516618.7953 | 0
For meters:
DRAB0901 | Opening value | 0 | 64213815.607 | 78137855
DRAB0902 | Inflation addition | 0 | 924648.6603 | 1484619
DRAB0903 | Straight line depreciation | 0 | -2378285.4859 | -6259003
DRAB0905 | Actual additions (recognised in RAB) | 0 | 2460330.6149 | 3267834
DRAB0906 | Disposals | 0 | 0 | -
DRAB0907 | Closing value | 0 | 65220509.3961 | 76631306
For “other” asset items with long lives:
DRAB1001 | Opening value | 661092891.0603 | 661092891.0603 | 99225417
DRAB1002 | Inflation addition | 12950045.7923 | 12950045.7923 | 1885283
DRAB1003 | Straight line depreciation | -46939347.1965 | -46939347.1965 | -8084934
DRAB1005 | Actual additions (recognised in RAB) | 49375970.3311 | 49375970.3311 | 6664772
DRAB1006 | Disposals | -2117416.6023 | -2117416.6023 | -
DRAB1007 | Closing value | 674362143.3849 | 674362143.3849 | 99690538
For “other” asset items with short lives:
DRAB1101 | Opening value | 337752757.9615 | 337752757.9615 | 1
DRAB1102 | Inflation addition | 5303627.2133 | 5303627.2133 | -
DRAB1103 | Straight line depreciation | -34634965.4164 | -34634965.4164 | -1
DRAB1105 | Actual additions (recognised in RAB) | 17091030.2343 | 17091030.2343 | -
DRAB1106 | Disposals | -1816576.7113 | -1816576.7113 | -
DRAB1107 | Closing value | 323695873.2814 | 323695873.2814 | -
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2017-18 | 2017-18 | 2017-18
DRAB1201 | Overhead network assets less than 33kV (wires and poles) | 3173473149.9794 | 3718312831.9693 | 1
DRAB1202 | Underground network assets less than 33kV (cables) | 553060821.1048 | 941974973.4199 | 1
DRAB1203 | Distribution substations including transformers | 1003467735.8509 | 1663577551.7958 | 1
DRAB1204 | Overhead network assets 33kV and above (wires and towers / poles etc) | 1067407398.0879 | 1150727701.3247 | 1
DRAB1205 | Underground network assets 33kV and above(cables, ducts etc) | 56354044.9946 | 56354044.9946 | 1
DRAB1206 | Zone substations and transformers | 1752739023.2567 | 1911090694.68 | 1
DRAB1207 | Easements | 94420301.6814 | 94420301.6814 | -
DRAB1208 | Meters | 0 | 64717162.5015 | 77384581
DRAB1209 | "Other" assets with long lives | 667727517.2226 | 667727517.2226 | 99457977
DRAB1210 | "Other" assets with short lives | 330724315.6215 | 330724315.6215 | 1
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 0 | 0 | 0
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2017-18 | 2017-18 | 2017-18
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 48.9 | 48.9 | 49.4
DRAB1402 | Underground network assets less than 33kV (cables) | 55.5 | 55.5 | 60
DRAB1403 | Distribution substations including transformers | 45 | 45 | 45
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 51.5 | 51.5 | 53.5
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 45 | 45 | 0
DRAB1406 | Zone substations and transformers | 38.4 | 38.4 | 35.1
DRAB1407 | Meters | 15 | 15 | 15
DRAB1408 | "Other" assets with long lives | 20.4 | 24.5 | 20
DRAB1409 | "Other" assets with short lives | 3.8 | 5 | 0
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 28.1 | 28.1 | 46.7
DRAB1502 | Underground network assets less than 33kV (cables) | 46 | 46 | 58.7
DRAB1503 | Distribution substations including transformers | 30 | 30 | 43.7
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 26.4 | 26.4 | 50.9
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 35.3 | 35.3 | 39.5
DRAB1506 | Zone substations and transformers | 26.2 | 26.2 | 38.4
DRAB1507 | Meters | 9.6 | 9.6 | 13.3
DRAB1508 | "Other" assets with long lives | 11 | 14.1 | 12.4
DRAB1509 | "Other" assets with short lives | 1.4 | 2.2 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2017-18
3.4 OPERATIONAL DATA
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
VOLUME (0's)
|  | Units | 2017-18
DOPED01 | Total energy delivered | GWh | 13243.176
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 12151.9994
DOPED0202 | Energy Delivery at On-peak times | GWh | 47.514
DOPED0203 | Energy Delivery at Shoulder times | GWh | 0
DOPED0204 | Energy Delivery at Off-peak times | GWh | 127.0827
DOPED0205 | Controlled load energy deliveries | GWh | 786.7618
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 129.8181
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 0
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 0
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 0
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 12168.0629
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 0
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 0
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 1465.7139
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 0
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 405.9666
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 3726.5349
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 1324.5675
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 3321.9641
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 4740.2914
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 129.8181
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME (0's)
2017-18
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 633660
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 100439
DOPCN0103 | Low voltage demand tariff customer numbers |  | 7998
DOPCN0104 | High voltage demand tariff customer numbers |  | 79
DOPCN0105 | Unmetered Customer Numbers |  | 9962
DOPCN0106 | Other Customer Numbers |  | 3
DOPCN01 | Total customer numbers |  | 752141
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | Customers on CBD network |  | 0
DOPCN0202 | Customers on Urban network |  | 245879
DOPCN0203 | Customers on Short rural network |  | 422729
DOPCN0204 | Customers on Long rural network |  | 83368
DOPCN02 | Total customer numbers |  | 751976
3.4.2.3 - Distribution customer numbers by TasNetworks (D) feeder categories (TasNetworks (D) only)
Critical Infrastructure
High Density Commercial
Urban
High Density Rural
Low Density Rural
| Total customer numbers |  | 0
3.4.2.4 - Unmetered Supply TasNetworks (D) only)
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN
DOPCN0303 | Total unmetered connections
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME (0's)
|  | Units | 2017-18
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 3295.358
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3384.3745
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3211.3371
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 2490.275
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2559.4823
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2407.673
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 3091.36
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3216.8779
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2983.3261
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 2597.25
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2698.3413
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2504.9995
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 3451.6147
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3544.4366
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3366.2051
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 2599.7447
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2671.912
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2515.9725
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 3175.1627
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3305.1736
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3064.8101
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 2674.3132
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2779.403
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2579.603
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.97104
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.957
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor | 0.836
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor | 0.805
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor | 0
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.91
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.75
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0.884
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0.905
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor | 0
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.883
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0.953
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0.828
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor | 0.888
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 718.64
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 0
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 1637.56
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 209.48
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2017-18
3.5 PHYSICAL ASSETS
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's (0's)
| Circuit length | 2017-18
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 16517.4057
DPA0102 | Overhead 2.2 kV | 0
DPA0103 | Overhead 6.6kv | 14.4264
DPA0104 | Overhead 7.6 kV | 0
DPA0105 | Overhead 11 kV | 34768.9274
DPA0106 | Overhead SWER | 62117.6796
DPA0107 | Overhead 22 kV | 14858.8481
DPA0108 | Overhead 33 kV | 4116.7495
DPA0109 | Overhead 44 kV | 0
DPA0110 | Overhead 66 kV | 7853.2907
DPA0111 | Overhead 110kV | 493.9377
DPA0112 | Overhead 132 kV | 2424.6672
DPA0113 | Overhead 220kV | 0
DPA0114 | Other | 0
DPA01 | Total overhead circuit km | 143165.9324
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 6253.8908
DPA0202 | Underground 5 kV | 0
DPA0203 | Underground 6.6 Kv | 0.23733
DPA0204 | Underground 7.6 kV | 0
DPA0205 | Underground 11 kV | 1770.9114
DPA0206 | Underground SWER | 13.4
DPA0207 | Underground 22 kV | 681.1416
DPA0208 | Underground 33 kV | 56.3
DPA0209 | Underground 66 kV | 19.1
DPA0210 | Underground 110 kV | 5.9
DPA0211 | Underground 132 kV | 9.16
DPA0212 | Other | 0
DPA02 | Total underground circuit km | 8810.0411
VOLUME in MVA (0's)
| Circuit Capacity MVA | 2017-18
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.105
DPA0302 | Overhead 6.6 kV | 0.93
DPA0303 | Overhead 7.6 kV | 0
DPA0304 | Overhead 11 kV | 1.95
DPA0305 | Overhead SWER | 0.574
DPA0306 | Overhead 22 kV | 3.331
DPA0307 | Overhead 33 kV | 9.779
DPA0308 | Overhead 44 kV | 0
DPA0309 | Overhead 66 kV | 36.065
DPA0310 | Overhead 110 kV | 74.523
DPA0311 | Overhead 132 kV | 105.221
DPA0312 | Overhead 220 kV | 0
DPA0313 | Other | 0
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.145
DPA0402 | Underground 5 kV | 0
DPA0403 | Underground 6.6 kV | 2.409
DPA0404 | Underground 7.6 kV | 0
DPA0405 | Underground 11 kV | 4.562
DPA0406 | Underground SWER | 1.832
DPA0407 | Underground 12.7 kV | 0
DPA0408 | Underground 22 kV | 8.774
DPA0409 | Underground 33 kV | 25.617
DPA0410 | Underground 66 kV | 58.542
DPA0411 | Underground 110 kV | 0
DPA0412 | Underground 132 kV | 107.329
DPA0413 | Other | 0
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA (0's)
2017-18
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 9511.82
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | 2011.5916
DPA0503 | Cold spare capacity included in DPA0501 | 266.91
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 3232.75
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 2028.06
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 3239.69
DPA0604 | Total zone substation transformer capacity | 9397.9
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 897.4
3.5.2.3 - Distribution - other transformer capacity
| Distribution other - transformer capacity owned by utility | 0
3.5.3 - PUBLIC LIGHTING
VOLUME (0's)
2017-18
DPA0701 | Public lighting luminaires | 144717
DPA0702 | Public lighting poles | 74011
DPA0703 | Public lighting columns | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2017-18
3.6 QUALITY OF SERVICE DATA
3.6.1 - RELIABILITY
(0's)
|  | Units | Calendar Year 2017
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 394.4301
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 384.5001
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 2.9358
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 2.6936
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 244.6254
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 234.914
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 2.407
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 2.1739
3.6.2 - ENERGY NOT SUPPLIED
(0's)
|  | Units | Calendar Year 2017
DQS0201 | Energy Not Supplied (planned) | GWh | 1.99
DQS0202 | Energy Not Supplied (unplanned) | GWh | 2.9
DQS02 | Total |  | 4.89
3.6.3 - SYSTEM LOSSES
(0's)
|  | Unit | Calendar Year 2017
DQS03 | System losses | % | 5.674%
3.6.4 - CAPACITY UTILISATION
(0's)
|  | Unit | Calendar Year 2017
DQS04 | Overall utilisation | % | 40.56%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
Ergon Energy
Benchmarking RIN response 2017-18
3.7 OPERATING ENVIRONMENT FACTORS
3.7.1 - DENSITY FACTORS
(0's)
|  | Units | 2017-18
DOEF0101 | Customer density | Customer / km | 5.4
DOEF0102 | Energy density | MWh/customer | 17.4
DOEF0103 | Demand density | kVA / customer | 4.5
3.7.2 - TERRAIN FACTORS
(0's)
|  | Units | 2017-18
DOEF0201 | Rural proportion | % | 98.19%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 88902.5497
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 102569.2049
DOEF0204 | Total vegetation maintenance spans | Number of spans | 191471.7545
DOEF0205 | Total number of spans | Number of spans | 925118
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1.4
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 3.5
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 3.4
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 2
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 0.4
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 0.3
DOEF0212 | Tropical proportion | Spans | 459528
DOEF0213 | Standard vehicle access | km | 37575.1249
DOEF0214 | Bushfire risk | Spans | 51306
3.7.3 - SERVICE AREA FACTORS
(0's)
|  | Units | 2017-18
DOEF0301 | Route Line length | km | 140358.67
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## NSP amendments
Ergon Energy data amendments
Amended Table | Comments