## Instructions
Distribution Network Service Provider
Annual Reporting RIN Template
This template is to be used by Essential Energy to fulfil its reporting obligations to the AER.
INSTRUCTIONS
Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
Identifying CONFIDENTIAL INFORMATION: Please use the macro at the top of each worksheet to identify confidential information.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selected cells as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return cells to NON-CONFIDENTIAL macro
UNITS OF MEASURE All amounts are to be unrounded and reported in nominal terms on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
COLOUR CODING OF INPUT / NON-INPUT CELLS:
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
WORKSHEET NAVIGATION Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin of excel (for Row groupings) or above the columns (for column groupings).
RETURNING COMPLETED RESPONSES Please return four (4) files - using the locked template - to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selected cells CONFIDENTIAL macro. 2. An actual and an estimate version with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 3. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public. If the confidential and public versions of the consolidated file are exactly the same, only the public version of the file needs to be submitted to the AER.
SUBMITTING AMENDED DATA TO THE AER If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
Contents
Instructions

## Contents
REGULATORY REPORTING STATEMENT
Essential Energy
Benchmarking RIN response 2017-18
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
1.0 Business & other details
3.2.3 Provisions

## Business & other details
ECONOMIC BENCHMARKING
Essential Energy
2017-18
BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEETS
ENTITY DETAILS
Short name | Essential Energy |  |  | Select business name from drop down list first
ACN / ABN | 37428185226
Business address | Address 1 |  | 8 Buller Street
Address 2
| Suburb |  | PORT MACQUARIE
|  | State | NSW | p/code | 2444
Postal address | Address 1 |  | PO Box 5730
Address 2
| Suburb |  | PORT MACQUARIE
|  | State | NSW | p/code | 2444
Contact name/s
Contact phone/s
Contact email address/s
REGULATORY CONTROL PERIODS
Forthcoming regulatory control period | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30
Current regulatory control period | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20
| 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25
| 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30
Previous regulatory control period | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15
Commencing regulatory year | 2017-18 | CRY
Last completed regulatory year | 2017-18 | dms_FinalYear
IF THIS IS AN ABC RIN - make sure the the named range CRY is applied and the named range dms_dollar_nom_UOM is applied
IF THIS IS A RESET RIN - make sure the named ranges CRY and dms_dollar_nom_UOM are NOT present in the workbook
FOR ABC RINS THAT SPAN MULTIPLE YEARS - make sure MultiYear Flag is set and final year entered as required
Source | Reporting |  | Please select the correct submission type from the dropdown list.
Data quality (actual, estimate, public, consolidated) | Consolidated |  | Use Consolidated for Consolidated Confidential version Use Public for Consolidated Public version
Amended RIN submission - amendment reason | 20200713 - #11,244,512 - Changes to Table 3.5.1.4 132kV underground capacity
Submission Date | 2020-07-13 | dms_SubmissionDate | Please enter date this file submitted to AER (dd/mm/yyyy)
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
Essential Energy
Benchmarking RIN response 2017-18
3.1 REVENUE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2017-18 | 2017-18
DREV0101 | Revenue from Fixed Customer Charges | 306174677.43
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 375000038.36
DREV0103 | Revenue from On–Peak Energy Delivery charges | 20526065.16
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 45836512.94
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 24578935.74
DREV0106 | Revenue from controlled load customer charges | 8298285.98
DREV0107 | Revenue from unmetered supplies | 6919062.78
DREV0108 | Revenue from Contracted Maximum Demand charges | 2263273
DREV0109 | Revenue from Measured Maximum Demand charges | 187576780.13
DREV0110 | Revenue from metering charges |  | 32461837
DREV0111 | Revenue from connection charges |  | 33449082
DREV0112 | Revenue from public lighting charges |  | -3261991
DREV0113 | Revenue from other Sources |  | 0
DREV01 | Total revenue by chargeable quantity | 977173631.52 | 62648928
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2017-18 | 2017-18
DREV0201 | Revenue from residential Customers | 512049132.85
DREV0202 | Revenue from Non residential customers not on demand tariffs | 209247897.02
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 185958897.92
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 62998620.65
DREV0205 | Revenue from unmetered supplies | 6919083.08
DREV0206 | Revenue from Other Customers |  | 62648928
DREV02 | Total revenue by customer class | 977173631.52 | 62648928
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2017-18 | 2017-18
DREV0301 | EBSS
DREV0302 | STPIS | 3089763
DREV0303 | F-Factor
DREV0304 | S-Factor True up
DREV0305 | Other | 647662
DREV03 | Total revenue of incentive schemes | 3737425 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
Essential Energy
Benchmarking RIN response 2017-18
3.2 OPERATING EXPENDITURE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to Essential Energy's annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2017-18 | 2017-18
DOPEX0101 | Routine (Preventative) Maintenance | 46039500
DOPEX0102 | Non-Routine (Corrective) Maintenance | 62425893
DOPEX0103 | Vegetation Management | 164471532
DOPEX0104 | Emergency Response | 56864275
DOPEX0105 | Other network costs | 15589515
DOPEX0106 | Public Lighting |  | 12536507
DOPEX0107 | Metering |  | 20959045
DOPEX0108 | Ancillary Network Services |  | 26892541
DOPEX0109
DOPEX0110
DOPEX0111
DOPEX0112
DOPEX0113
DOPEX0114
DOPEX0115
DOPEX0116
DOPEX0117
DOPEX0118
DOPEX0119
DOPEX0120
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 345390715 | 60388093
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2017-18 | 2017-18
DOPEX0201 | Opex for network services | 345390714
DOPEX0202 | Opex for metering |  | 20959045
DOPEX0203 | Opex for connection services |  | 26892541
DOPEX0204 | Opex for public lighting |  | 12536507
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP
DOPEX0206 | Opex for transmission connection point planning
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 1480153.67
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
Essential Energy
Benchmarking RIN response 2017-18
3.2 OPERATING EXPENDITURE
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to Essential Energy's annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE ($0's)
2017-18
DOPEX03A | Provision for Dividend
Self explanatory
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | -27900000
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component
DOPEX0303A | Capex component
DOPEX0304A | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component
DOPEX0306A | Capex component
DOPEX0307A | Other component | 27900000
Unused amounts reversed during the period
DOPEX0308A | Opex component
DOPEX0309A | Capex component
DOPEX0310A | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component
DOPEX0312A | Capex component
DOPEX0313A | Other component
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 0
DOPEX03B | Provision for Employee Entitlements
Provision for employee entiltements to leave.
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | -170405180
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | -25608367
DOPEX0303B | Capex component | -7494775
DOPEX0304B | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | 25979533
DOPEX0306B | Capex component | 7603403
DOPEX0307B | Other component
Unused amounts reversed during the period
DOPEX0308B | Opex component | 3911223
DOPEX0309B | Capex component | 1144694
DOPEX0310B | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 8436575
DOPEX0312B | Capex component | 2469124
DOPEX0313B | Other component
DOPEX0314B | Closing balance (carrying amount at the end of the period) | -153963770
DOPEX03C | Provision for Environmental Remediation
Provision for remediation of environmental issues (EG: contaminated sites, removal of PCB contaminated transformers)
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | -6950522
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | -228876
DOPEX0303C | Capex component
DOPEX0304C | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | 1405193
DOPEX0306C | Capex component
DOPEX0307C | Other component
Unused amounts reversed during the period
DOPEX0308C | Opex component | 613661
DOPEX0309C | Capex component
DOPEX0310C | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component
DOPEX0312C | Capex component
DOPEX0313C | Other component | -91991
DOPEX0314C | Closing balance (carrying amount at the end of the period) | -5252535
DOPEX03D | Provision for Business Restructuring
Provision for changes in the business structure (EG: Redundancies)
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 0
DOPEX0303D | Capex component
DOPEX0304D | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | 0
DOPEX0306D | Capex component
DOPEX0307D | Other component
Unused amounts reversed during the period
DOPEX0308D | Opex component | 0
DOPEX0309D | Capex component
DOPEX0310D | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component
DOPEX0313D | Other component
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 0
DOPEX03E | Provision for Workers' Compensation
Provision for Worker's compensation retro paid loss scheme
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | -7216864
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | -306231
DOPEX0303E | Capex component | -89624
DOPEX0304E | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | 1239912
DOPEX0306E | Capex component | 362884
DOPEX0307E | Other component
Unused amounts reversed during the period
DOPEX0308E | Opex component | 2833279
DOPEX0309E | Capex component | 829213
DOPEX0310E | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component
DOPEX0312E | Capex component
DOPEX0313E | Other component | -40107
DOPEX0314E | Closing balance (carrying amount at the end of the period) | -2387538
DOPEX03F | Provision for Defined Benefit Superannuation Obligations
Self explanatory
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period) | -64740740
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component | 0
DOPEX0303F | Capex component | 0
DOPEX0304F | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component | 0
DOPEX0306F | Capex component | 0
DOPEX0307F | Other component
Unused amounts reversed during the period
DOPEX0308F | Opex component | 1825408
DOPEX0309F | Capex component | 534240
DOPEX0310F | Other component | -4192532
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component | -1204840
DOPEX0312F | Capex component | -352619
DOPEX0313F | Other component | 44056952
DOPEX0314F | Closing balance (carrying amount at the end of the period) | -24074131
DOPEX03G | Provisions - Other (Insurance, Heritage Site Remediation)
Various minor provisions not falling under above categories. For example for 2018 this comprised a provision for insurance claims, a provision for restoration of heritage listed properties, a provision for legal fees and fines, and a provision for lease ma
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period) | -2557624
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component | -2364149
DOPEX0303G | Capex component | -358082
DOPEX0304G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component | 1436455
DOPEX0306G | Capex component
DOPEX0307G | Other component
Unused amounts reversed during the period
DOPEX0308G | Opex component | 799250
DOPEX0309G | Capex component
DOPEX0310G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component
DOPEX0312G | Capex component
DOPEX0313G | Other component | -9042
DOPEX0314G | Closing balance (carrying amount at the end of the period) | -3053192
DOPEX03H
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component
DOPEX0303H | Capex component
DOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component
DOPEX0306H | Capex component
DOPEX0307H | Other component
Unused amounts reversed during the period
DOPEX0308H | Opex component
DOPEX0309H | Capex component
DOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component
DOPEX0312H | Capex component
DOPEX0313H | Other component
DOPEX0314H | Closing balance (carrying amount at the end of the period)
DOPEX03I
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
Essential Energy
Benchmarking RIN response 2017-18
3.3 ASSETS
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2017-18 | 2017-18 | 2017-18
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 7577104015.1589 | 7577104015.1589 | 95468096
DRAB0102 | Inflation addition | 147651041.1024 | 147651041.1024 | 1860337
DRAB0103 | Straight line depreciation | -314573317.2018 | -314573317.2018 | -6651424
DRAB0105 | Actual additions (recognised in RAB) | 392078504.9303 | 392078504.9303 | 0
DRAB0106 | Disposals | -3836432.4782 | -3836432.4782 | 0
DRAB0107 | Closing value | 7798423811.5115 | 7798423811.5115 | 90677009
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2017-18 | 2017-18 | 2017-18
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 3472762257.0948 | 3472762257.0948 | 0
DRAB0202 | Inflation addition | 68105714.0032 | 68105714.0032 | 0
DRAB0203 | Straight line depreciation | -92495936.6704 | -92495936.6704 | 0
DRAB0205 | Actual additions (recognised in RAB) | 211413751.4831 | 211413751.4831 | 0
DRAB0206 | Disposals | 0 | 0 | 0
DRAB0207 | Closing value | 3659785785.9107 | 3659785785.9107 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 584746809.2404 | 584746809.2404 | 0
DRAB0302 | Inflation addition | 10960831.3059 | 10960831.3059 | 0
DRAB0303 | Straight line depreciation | -14886157.104 | -14886157.104 | 0
DRAB0305 | Actual additions (recognised in RAB) | 7636116.2593 | 7636116.2593 | 0
DRAB0306 | Disposals | 0 | 0 | 0
DRAB0307 | Closing value | 588457599.7017 | 588457599.7017 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 677242631.8717 | 677242631.8717 | 0
DRAB0402 | Inflation addition | 10967515.8408 | 10967515.8408 | 0
DRAB0403 | Straight line depreciation | -24458069.8953 | -24458069.8953 | 0
DRAB0405 | Actual additions (recognised in RAB) | 27791006.1872 | 27791006.1872 | 0
DRAB0406 | Disposals | -32904.3812 | -32904.3812 | 0
DRAB0407 | Closing value | 691510179.6232 | 691510179.6232 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 961550511.2816 | 961550511.2816 | 0
DRAB0502 | Inflation addition | 18763002.8143 | 18763002.8143 | 0
DRAB0503 | Straight line depreciation | -28033324.4469 | -28033324.4469 | 0
DRAB0505 | Actual additions (recognised in RAB) | 17154257.5101 | 17154257.5101 | 0
DRAB0506 | Disposals | 0 | 0 | 0
DRAB0507 | Closing value | 969434447.159 | 969434447.159 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 24235623.7933 | 24235623.7933 | 0
DRAB0602 | Inflation addition | 446493.1696 | 446493.1696 | 0
DRAB0603 | Straight line depreciation | -667094.0685 | -667094.0685 | 0
DRAB0605 | Actual additions (recognised in RAB) | 1976659.8049 | 1976659.8049 | 0
DRAB0606 | Disposals | 0 | 0 | 0
DRAB0607 | Closing value | 25991682.6992 | 25991682.6992 | 0
Zone substations and transformers
DRAB0701 | Opening value | 1272728438.7238 | 1272728438.7238 | 0
DRAB0702 | Inflation addition | 27030544.9113 | 27030544.9113 | 0
DRAB0703 | Straight line depreciation | -60279371.0393 | -60279371.0393 | 0
DRAB0705 | Actual additions (recognised in RAB) | 44914948.677 | 44914948.677 | 0
DRAB0706 | Disposals | -74969.6912 | -74969.6912 | 0
DRAB0707 | Closing value | 1284319591.5816 | 1284319591.5816 | 0
For easements:
DRAB0801 | Opening value | 105096835.345 | 105096835.345 | 0
DRAB0802 | Inflation addition | 2047966.7594 | 2047966.7594 | 0
DRAB0805 | Actual additions (recognised in RAB) | 65921 | 65921 | 0
DRAB0806 | Disposals | 0 | 0 | 0
DRAB0807 | Closing value | 107210723.1043 | 107210723.1043 | 0
For meters:
DRAB0901 | Opening value | 34192769.9991 | 34192769.9991 | 95280153
DRAB0902 | Inflation addition | 666296.5268 | 666296.5268 | 1856674
DRAB0903 | Straight line depreciation | -1828483.3144 | -1828483.3144 | -6638503
DRAB0905 | Actual additions (recognised in RAB) | 3139585.5377 | 3139585.5377 | 0
DRAB0906 | Disposals | 0 | 0 | 0
DRAB0907 | Closing value | 36170168.7492 | 36170168.7492 | 90498324
For “other” asset items with long lives:
DRAB1001 | Opening value | 308954657.6949 | 308954657.6949 | 187943
DRAB1002 | Inflation addition | 6020436.9335 | 6020436.9335 | 3662
DRAB1003 | Straight line depreciation | -21480472.2722 | -21480472.2722 | -12921
DRAB1005 | Actual additions (recognised in RAB) | 11354027.7687 | 11354027.7687 | 0
DRAB1006 | Disposals | -438271.5019 | -438271.5019 | 0
DRAB1007 | Closing value | 304410378.623 | 304410378.623 | 178684
For “other” asset items with short lives:
DRAB1101 | Opening value | 135593480.1145 | 135593480.1145 | 0
DRAB1102 | Inflation addition | 2642238.8376 | 2642238.8376 | 0
DRAB1103 | Straight line depreciation | -70444408.3908 | -70444408.3908 | 0
DRAB1105 | Actual additions (recognised in RAB) | 66632230.6033 | 66632230.6033 | 0
DRAB1106 | Disposals | -3290286.904 | -3290286.904 | 0
DRAB1107 | Closing value | 131133254.2606 | 131133254.2606 | 0
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2017-18 | 2017-18 | 2017-18
DRAB1201 | Overhead network assets less than 33kV (wires and poles) | 3566274021.5028 | 3566274021.5028 | 0
DRAB1202 | Underground network assets less than 33kV (cables) | 586602204.471 | 586602204.471 | 0
DRAB1203 | Distribution substations including transformers | 684376405.7474 | 684376405.7474 | 0
DRAB1204 | Overhead network assets 33kV and above (wires and towers / poles etc) | 965492479.2203 | 965492479.2203 | 0
DRAB1205 | Underground network assets 33kV and above(cables, ducts etc) | 25113653.2462 | 25113653.2462 | 0
DRAB1206 | Zone substations and transformers | 1278524015.1527 | 1278524015.1527 | 0
DRAB1207 | Easements | 106153779.2741 | 106153779.2741 | 0
DRAB1208 | Meters | 35181469.3742 | 35181469.3742 | 92889238
DRAB1209 | "Other" assets with long lives | 306682518.1589 | 306682518.1589 | 183314
DRAB1210 | "Other" assets with short lives | 133363367.1876 | 133363367.1876 | 0
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 69522028 | 69522028 | 0
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2017-18 | 2017-18 | 2017-18
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 53 | 53 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | 54 | 54 | 0
DRAB1403 | Distribution substations including transformers | 45 | 45 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 55 | 55 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 54 | 54 | 0
DRAB1406 | Zone substations and transformers | 46 | 46 | 0
DRAB1407 | Meters | 26 | 26 | 15
DRAB1408 | "Other" assets with long lives | 30 | 30 | 15
DRAB1409 | "Other" assets with short lives | 6 | 6 | 0
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 9.478 | 9.478 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | 34.739 | 34.739 | 0
DRAB1503 | Distribution substations including transformers | 21.066 | 21.066 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 15.249 | 15.249 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 38.681 | 38.681 | 0
DRAB1506 | Zone substations and transformers | 20.548 | 20.548 | 0
DRAB1507 | Meters | 19.937 | 19.937 | 13.739
DRAB1508 | "Other" assets with long lives | 23.387 | 23.387 | 13.923
DRAB1509 | "Other" assets with short lives | 3.586 | 3.586 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
Essential Energy
Benchmarking RIN response 2017-18
3.4 OPERATIONAL DATA
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
VOLUME (0's)
|  | Units | 2017-18
DOPED01 | Total energy delivered | GWh | 12533
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 4355
DOPED0202 | Energy Delivery at On-peak times | GWh | 750.21
DOPED0203 | Energy Delivery at Shoulder times | GWh | 2719.593
DOPED0204 | Energy Delivery at Off-peak times | GWh | 3612
DOPED0205 | Controlled load energy deliveries | GWh | 1004.212
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 91.729
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 1204
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 3804
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 5790
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 0
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 159
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 863
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 1028
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 0
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 0
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 415
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 4557
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 1797
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 2588
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 3590.671
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 0
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME (0's)
2017-18
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 748446
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 93375
DOPCN0103 | Low voltage demand tariff customer numbers |  | 4441
DOPCN0104 | High voltage demand tariff customer numbers |  | 216
DOPCN0105 | Unmetered Customer Numbers |  | 9160
DOPCN0106 | Other Customer Numbers |  | 50332
DOPCN01 | Total customer numbers |  | 905970
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | Customers on CBD network
DOPCN0202 | Customers on Urban network |  | 228606
DOPCN0203 | Customers on Short rural network |  | 537371
DOPCN0204 | Customers on Long rural network |  | 139993
DOPCN02 | Total customer numbers |  | 905970
3.4.2.3 - Distribution customer numbers by TasNetworks (D) feeder categories (TasNetworks (D) only)
Critical Infrastructure
High Density Commercial
Urban
High Density Rural
Low Density Rural
| Total customer numbers |  | 0
3.4.2.4 - Unmetered Supply TasNetworks (D) only)
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN
DOPCN0303 | Total unmetered connections
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME (0's)
|  | Units | 2017-18
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 2457
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2764
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2530
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 1877
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2110
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1929
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 2965
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3302
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 3017
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 2259
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2572
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2350
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 2487
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2799
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2562
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 1897
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2133
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1950
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 2974
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3314
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 3028
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 2266
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2579
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2356
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.989
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.85
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor | 0
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor | 0.955
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor | 0
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.92
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 1
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0.94
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0.96
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor | 0
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.98
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 1
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0.98
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor | 0.965
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 0
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 496.26
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 663.51
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 35097.49
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
Essential Energy
Benchmarking RIN response 2017-18
3.5 PHYSICAL ASSETS
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's (0's)
| Circuit length | 2017-18
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 25526.31
DPA0102 | Overhead 2.2 kV | 0
DPA0103 | Overhead 6.6kv | 18.79
DPA0104 | Overhead 7.6 kV | 0
DPA0105 | Overhead 11 kV | 70431.21
DPA0106 | Overhead SWER | 29677.63
DPA0107 | Overhead 22 kV | 42455.79
DPA0108 | Overhead 33 kV | 5388.87
DPA0109 | Overhead 44 kV | 0
DPA0110 | Overhead 66 kV | 7605.28
DPA0111 | Overhead 110kV | 21.02
DPA0112 | Overhead 132 kV | 2118.98
DPA0113 | Overhead 220kV | 2.97
DPA0114 | Other | 0
DPA01 | Total overhead circuit km | 183246.85
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 6251.59
DPA0202 | Underground 5 kV | 0
DPA0203 | Underground 6.6 Kv | 0.02
DPA0204 | Underground 7.6 kV | 0
DPA0205 | Underground 11 kV | 2227.33
DPA0206 | Underground SWER | 40.54
DPA0207 | Underground 22 kV | 339.66
DPA0208 | Underground 33 kV | 50.74
DPA0209 | Underground 66 kV | 37
DPA0210 | Underground 110 kV | 0
DPA0211 | Underground 132 kV | 9.87
DPA0212 | Other | 0
DPA02 | Total underground circuit km | 8956.75
VOLUME in MVA (0's)
| Circuit Capacity MVA | 2017-18
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.088884
DPA0302 | Overhead 6.6 kV | 0.62961
DPA0303 | Overhead 7.6 kV | 0
DPA0304 | Overhead 11 kV | 2.0844
DPA0305 | Overhead SWER | 0.30193
DPA0306 | Overhead 22 kV | 2.6622
DPA0307 | Overhead 33 kV | 7.3063
DPA0308 | Overhead 44 kV | 0
DPA0309 | Overhead 66 kV | 24.5391
DPA0310 | Overhead 110 kV | 106
DPA0311 | Overhead 132 kV | 127.5317
DPA0312 | Overhead 220 kV | 213
DPA0313 | Other | 0
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.18127
DPA0402 | Underground 5 kV | 0
DPA0403 | Underground 6.6 kV | 1.5524
DPA0404 | Underground 7.6 kV | 0
DPA0405 | Underground 11 kV | 5.3871
DPA0406 | Underground SWER | 0.90821
DPA0407 | Underground 12.7 kV | 0
DPA0408 | Underground 22 kV | 7.97
DPA0409 | Underground 33 kV | 20.1954
DPA0410 | Underground 66 kV | 77.3393
DPA0411 | Underground 110 kV | 0
DPA0412 | Underground 132 kV | 164.5196
DPA0413 | Other | 0
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA (0's)
2017-18
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 10073.7445
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | 788.523
DPA0503 | Cold spare capacity included in DPA0501 | 135.185
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 2158.5
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 2158.7
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 6574
DPA0604 | Total zone substation transformer capacity | 11416.4
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 4435.5
3.5.2.3 - Distribution - other transformer capacity
Distribution other - transformer capacity owned by utility
3.5.3 - PUBLIC LIGHTING
VOLUME (0's)
2017-18
DPA0701 | Public lighting luminaires | 160543
DPA0702 | Public lighting poles | 66952
DPA0703 | Public lighting columns | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
Essential Energy
Benchmarking RIN response 2017-18
3.6 QUALITY OF SERVICE DATA
3.6.1 - RELIABILITY
(0's)
|  | Units | 2017-18
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 243.217
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 232.2525
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 2.0345
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.8555
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 223.0722
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 212.1077
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 1.9593
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.7803
3.6.2 - ENERGY NOT SUPPLIED
(0's)
|  | Units | 2017-18
DQS0201 | Energy Not Supplied (planned) | GWh | 4.65
DQS0202 | Energy Not Supplied (unplanned) | GWh | 5.08
DQS02 | Total |  | 9.73
3.6.3 - SYSTEM LOSSES
(0's)
|  | Unit | 2017-18
DQS03 | System losses | % | 6%
3.6.4 - CAPACITY UTILISATION
(0's)
|  | Unit | 2017-18
DQS04 | Overall utilisation | % | 28%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
Essential Energy
Benchmarking RIN response 2017-18
3.7 OPERATING ENVIRONMENT FACTORS
3.7.1 - DENSITY FACTORS
(0's)
|  | Units | 2017-18
DOEF0101 | Customer density | Customer / km | 4.98
DOEF0102 | Energy density | MWh/customer | 13.83
DOEF0103 | Demand density | kVA / customer | 2.75
3.7.2 - TERRAIN FACTORS
(0's)
|  | Units | 2017-18
DOEF0201 | Rural proportion | % | 90.7%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 169160
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 296652
DOEF0204 | Total vegetation maintenance spans | Number of spans | 465812
DOEF0205 | Total number of spans | Number of spans | 1318783
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1.9
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 2.8
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 3
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 3
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 1.2
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 1.4
DOEF0212 | Tropical proportion | Spans | 191300
DOEF0213 | Standard vehicle access | km | 111156.3
DOEF0214 | Bushfire risk | Spans | 981311
3.7.3 - SERVICE AREA FACTORS
(0's)
|  | Units | 2017-18
DOEF0301 | Route Line length | km | 181777.85
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## NSP amendments
Essential Energy data amendments
Amended Table | Comments
3.3.1, 3.3.2 & 3.3.3 | The changes are the result of minor changes to the WACC and CPI rates that the AER applied in their draft decision RFM, compared to what we had used in our RFM over the last few years, a change to the building tax life that the AER applied in their draft decision (reduced from 100 years to 40 years), and minor FY18 capex additions and disposals (prior to original RIN submission to the AER) discovered.
3.6.1 | Updated with correct MED days.
3.5.1.4 | Changes to Table 3.5.1.4 132kV underground capacity