## Instructions
Electricity Distribution Network Service Provider
Economic Benchmarking RIN
This template is to be used by ActewAGL Distribution to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the NON-CONFIDENTIAL macro.
PROTECTED (SOCI) INFORMATION | Please use the macro at the top of each worksheet to identify information in the confidential workbook that is protected information under the SOCI Act. All information marked Protected (SOCI) is also deemed to be confidential information.
-Do this by selecting the cell or cells that contain protected information and then run the PROTECTED (SOCI) macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as protected.. -To reverse this, select the cell or cells and run the NON-PROTECTED macro.
RESPONSES | Please return two (2) files to the AER: CONSOLIDATED (2 files) 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form. The public version must include the confidential markings to identify where confidential information has been removed from the file. Use the drop down box on the Business and other details worksheet to identify the file Confidentiality Status as either 'Confidential', or ‘Public’. Use the drop down box on the Business and other details worksheet to identify the file Data Quality as 'Consolidated'. If there is no confidential information reported in the workbook, the Consolidated Confidential file does NOT have to be submitted.
ORDER OF MAGNITUDE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that require numbers (including 'numbers stored as text')
CONFIDENTIAL
NON-CONFIDENTIAL
Protected (SOCI)
NON-Protected

## CONTENTS
ECONOMIC BENCHMARKING
ActewAGL Distribution
2023-24
CONTENTS
| TEMPLATE DATE | MAY 2024
| SUBMISSION | Business & other details
| ECONOMIC BENCHMARKING | 3.1 Revenue
3.2 Operating expenditure
3.2.3 Provisions
3.3 Assets (RAB)
3.4 Operational data
3.5 Physical assets
3.6 Quality of service
3.7 Operating environment

## Business & other details
ECONOMIC BENCHMARKING
Evoenergy
2023-24
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
TEMPLATE DATE - MAY 2024
ENTITY DETAILS
Business Name
| Short name |  |  | Evoenergy
| ACN/ABN |  |  | 76670568688
| Business Address | [9 empty] | Postal Address
| Address 1 |  |  | 40 Bunda Street |  |  |  |  | Address 1 |  | GPO BOX 366
| Address 2 | [7 empty] | Address 2
| Suburb |  |  | CANBERRA |  |  |  |  | Suburb |  | CANBERRA
| State |  |  | ACT |  | Post code |  |  | State |  | ACT |  | Post code
`
REGULATORY CONTROL PERIODS
|  |  |  | 2020-21 | 2021-22 |  |  | 2022-23 |  | 2023-24 |  | 2024-25
|  |  | Commencing year | 2023-24
ANNUAL RINS
|  |  | Final year | 2023-24
SUBMISSION DETAILS
|  |  | RIN type | Economic Benchmarking
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | 03/04/2025 - 18,251,301 and #18,251,299 - correction to 3.4.3.7 and 3.3.4 07/05/2025 - #18,405,530 - correction to 3.4.3.4 from benchmarking review
|  |  | Submission Date | 2024-10-29
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
Evoenergy
Benchmarking RIN response 2023-24
3.1 REVENUE
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0101 | Revenue from Fixed Customer Charges | 24519137 | 0
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 45512569 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | 19788475 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 5999822 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 7169384 | 0
DREV0106 | Revenue from controlled load customer charges | 205884 | 0
DREV0107 | Revenue from unmetered supplies | 1465662 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | 0 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | 37923500 | 0
DREV0110 | Revenue from metering charges | 0 | 9707221
DREV0111 | Revenue from connection charges | 0 | 4560916
DREV0112 | Revenue from public lighting charges | 0 | 0
DREV0113 | Revenue from other Sources | 80184966 | 7714600
DREV01 | Total revenue by chargeable quantity | 222769399 | 21982737
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0201 | Revenue from residential Customers | 65628333 | 0
DREV0202 | Revenue from Non residential customers not on demand tariffs | 17245929 | 0
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 49664735 | 0
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 8573141 | 0
DREV0205 | Revenue from unmetered supplies | 1472294 | 0
DREV0206 | Revenue from Other Customers | 80184966 | 21982737
DREV02 | Total revenue by customer class | 222769398 | 21982737
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0301 | EBSS
DREV0302 | STPIS | -4756482
DREV0303 | F-Factor
DREV0304 | S-Factor True up
DREV0305 | Other
DREV03 | Total revenue of incentive schemes | -4756482 | 0
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
Evoenergy
Benchmarking RIN response 2023-24
3.2 OPERATING EXPENDITURE
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to ActewAGL Distribution's annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE $
|  | 2023-24 | 2023-24
DOPEX0101 | SCS - Vegetation management | 3625681
DOPEX0102 | SCS - Maintenance | 8810116
DOPEX0103 | SCS - Emergency response | 236843
DOPEX0104 | SCS - Non-network | 4835537
DOPEX0105 | SCS - Network overheads | 26155682
DOPEX0106 | SCS - Corporate overheads | 9341962
DOPEX0107 | SCS - Debt raising costs | 0
DOPEX0108 | ACS - Metering Maintenance |  | 218422
DOPEX0109 | ACS - Metering |  | 1291268
DOPEX0110 | ACS - Fee and quoted |  | 3017027
DOPEX0111 | ACS - Network overheads |  | 1395160
DOPEX0112 | ACS - Corporate overheads |  | 1086064
DOPEX0113
DOPEX0114
DOPEX0115
DOPEX0116
DOPEX0117
DOPEX0118
DOPEX0119
DOPEX0120
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 53005821 | 7007941
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE $
|  | 2023-24 | 2023-24
DOPEX0201 | Opex for network services | 53005820
DOPEX0202 | Opex for metering |  | 3990913
DOPEX0203 | Opex for connection services |  | 3017027
DOPEX0204 | Opex for public lighting
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP
DOPEX0206 | Opex for transmission connection point planning
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 331812
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
Evoenergy
Benchmarking RIN response 2023-24
3.2 OPERATING EXPENDITURE
TEMPLATE DATE - MAY 2024
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to ActewAGL Distribution's annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE $
2023-24
DOPEX03A | Employee entitlements provision
Provision required to account for employee entitlements such as recreation leave, long service leave and sick leave.
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 17823537
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 2781153
DOPEX0303A | Capex component | 2935071
DOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -2836379
DOPEX0306A | Capex component | -2993353
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | -48589
DOPEX0309A | Capex component | -51278
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | -103815
DOPEX0312A | Capex component | -109561
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 17610161
DOPEX03B | Public Liability Provision
Provides cover for damage to the property of another person as a result of negligence
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 431486
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 0
DOPEX0303B | Capex component | 0
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | -80346
DOPEX0306B | Capex component | 0
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | -45716
DOPEX0309B | Capex component | 0
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 305424
DOPEX03C | Other Provisions
Is an estimation of the amount of Guarantee Service Level Payments that will need to bepaid during a given period
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 26050
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 249603
DOPEX0303C | Capex component | 0
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | 0
DOPEX0306C | Capex component | 0
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | -26050
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 0
DOPEX0312C | Capex component | 0
DOPEX0313C | Other component | 0
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 249603
DOPEX03D | Redundancy Provision
The redundancy provision is based on planned management efficiencies
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 2102372
DOPEX0303D | Capex component | 0
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -1615609
DOPEX0306D | Capex component | 0
DOPEX0307D | Other component | 0
Unused amounts reversed during the period
DOPEX0308D | Opex component | 0
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 486763
DOPEX03E | <Provision name>
<Brief description of provision>
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component
DOPEX0303E | Capex component
DOPEX0304E | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component
DOPEX0306E | Capex component
DOPEX0307E | Other component
Unused amounts reversed during the period
DOPEX0308E | Opex component
DOPEX0309E | Capex component
DOPEX0310E | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component
DOPEX0312E | Capex component
DOPEX0313E | Other component
DOPEX0314E | Closing balance (carrying amount at the end of the period)
DOPEX03F | <Provision name>
<Brief description of provision>
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component
DOPEX0303F | Capex component
DOPEX0304F | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component
DOPEX0306F | Capex component
DOPEX0307F | Other component
Unused amounts reversed during the period
DOPEX0308F | Opex component
DOPEX0309F | Capex component
DOPEX0310F | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component
DOPEX0312F | Capex component
DOPEX0313F | Other component
DOPEX0314F | Closing balance (carrying amount at the end of the period)
DOPEX03G | <Provision name>
<Brief description of provision>
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component
DOPEX0303G | Capex component
DOPEX0304G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component
DOPEX0306G | Capex component
DOPEX0307G | Other component
Unused amounts reversed during the period
DOPEX0308G | Opex component
DOPEX0309G | Capex component
DOPEX0310G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component
DOPEX0312G | Capex component
DOPEX0313G | Other component
DOPEX0314G | Closing balance (carrying amount at the end of the period)
DOPEX03H | <Provision name>
<Brief description of provision>
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component
DOPEX0303H | Capex component
DOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component
DOPEX0306H | Capex component
DOPEX0307H | Other component
Unused amounts reversed during the period
DOPEX0308H | Opex component
DOPEX0309H | Capex component
DOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component
DOPEX0312H | Capex component
DOPEX0313H | Other component
DOPEX0314H | Closing balance (carrying amount at the end of the period)
DOPEX03I | <Provision name>
<Brief description of provision>
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J | <Provision name>
<Brief description of provision>
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K | <Provision name>
<Brief description of provision>
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L | <Provision name>
<Brief description of provision>
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M | <Provision name>
<Brief description of provision>
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N | <Provision name>
<Brief description of provision>
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O | <Provision name>
<Brief description of provision>
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | <Provision name>
<Brief description of provision>
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | <Provision name>
<Brief description of provision>
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | <Provision name>
<Brief description of provision>
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
Evoenergy
Benchmarking RIN response 2023-24
3.3 ASSETS
TEMPLATE DATE - MAY 2024
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 1104623515.88 | 1104623515.88 | 34719124.88
DRAB0102 | Inflation addition | 44759210.73 | 44759210.73 | 1406814.69
DRAB0103 | Straight line depreciation | -86681022.31 | -86681022.31 | -4268888.76
DRAB0105 | Actual additions (recognised in RAB) | 68259535.36 | 68259535.36 | 0
DRAB0106 | Disposals | -523595.11 | -523595.11 | 0
DRAB0107 | Closing value | 1130437644.55 | 1130437644.55 | 31857050.81
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 223395132.6 | 223395132.6
DRAB0202 | Inflation addition | 9051943.45 | 9051943.45
DRAB0203 | Straight line depreciation | -14582452.43 | -14582452.43
DRAB0205 | Actual additions (recognised in RAB) | 12364376.42 | 12364376.42
DRAB0206 | Disposals | 0 | 0
DRAB0207 | Closing value | 230229000.04 | 230229000.04 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 400390283.9 | 400390283.9
DRAB0302 | Inflation addition | 16223765.33 | 16223765.33
DRAB0303 | Straight line depreciation | -20149866.37 | -20149866.37
DRAB0305 | Actual additions (recognised in RAB) | 24622789.09 | 24622789.09
DRAB0306 | Disposals | 0 | 0
DRAB0307 | Closing value | 421086971.95 | 421086971.95 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 166624055.33 | 166624055.33
DRAB0402 | Inflation addition | 6751586.34 | 6751586.34
DRAB0403 | Straight line depreciation | -15876635.56 | -15876635.56
DRAB0405 | Actual additions (recognised in RAB) | -12331816.86 | -12331816.86
DRAB0406 | Disposals | 0 | 0
DRAB0407 | Closing value | 145167189.25 | 145167189.25 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 56323258.44 | 56323258.44
DRAB0502 | Inflation addition | 2282211.54 | 2282211.54
DRAB0503 | Straight line depreciation | -3965025.86 | -3965025.86
DRAB0505 | Actual additions (recognised in RAB) | 1073156.04 | 1073156.04
DRAB0506 | Disposals | 0 | 0
DRAB0507 | Closing value | 55713600.16 | 55713600.16 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 948630.42 | 948630.42
DRAB0602 | Inflation addition | 38438.39 | 38438.39
DRAB0603 | Straight line depreciation | -88952.48 | -88952.48
DRAB0605 | Actual additions (recognised in RAB) | 0 | 0
DRAB0606 | Disposals | 0 | 0
DRAB0607 | Closing value | 898116.33 | 898116.33 | 0
Zone substations and transformers
DRAB0701 | Opening value | 91141997.75 | 91141997.75
DRAB0702 | Inflation addition | 3693062.6 | 3693062.6
DRAB0703 | Straight line depreciation | -4547600.91 | -4547600.91
DRAB0705 | Actual additions (recognised in RAB) | 14498320.26 | 14498320.26
DRAB0706 | Disposals | 0 | 0
DRAB0707 | Closing value | 104785779.7 | 104785779.7 | 0
For easements:
DRAB0801 | Opening value
DRAB0802 | Inflation addition
DRAB0805 | Actual additions (recognised in RAB)
DRAB0806 | Disposals
DRAB0807 | Closing value | 0 | 0 | 0
For meters:
DRAB0901 | Opening value |  |  | 34719124.88
DRAB0902 | Inflation addition |  |  | 1406814.69
DRAB0903 | Straight line depreciation |  |  | -4268888.76
DRAB0905 | Actual additions (recognised in RAB)
DRAB0906 | Disposals
DRAB0907 | Closing value | 0 | 0 | 31857050.81
For “other” asset items with long lives:
DRAB1001 | Opening value | 159733185.53 | 159733185.53
DRAB1002 | Inflation addition | 6472370.13 | 6472370.13
DRAB1003 | Straight line depreciation | -23377618.55 | -23377618.55
DRAB1005 | Actual additions (recognised in RAB) | 20230644.48 | 20230644.48
DRAB1006 | Disposals | 0 | 0
DRAB1007 | Closing value | 163058581.59 | 163058581.59 | 0
For “other” asset items with short lives:
DRAB1101 | Opening value | 6066971.91 | 6066971.91
DRAB1102 | Inflation addition | 245832.96 | 245832.96
DRAB1103 | Straight line depreciation | -4092870.14 | -4092870.14
DRAB1105 | Actual additions (recognised in RAB) | 7802065.94 | 7802065.94
DRAB1106 | Disposals | -523595.11 | -523595.11
DRAB1107 | Closing value | 9498405.56 | 9498405.56 | 0
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
DRAB1201 | Overhead network assets less than 33kV (wires and poles) | 226812066.32 | 226812066.32
DRAB1202 | Underground network assets less than 33kV (cables) | 410738627.92 | 410738627.92
DRAB1203 | Distribution substations including transformers | 155895622.28 | 155895622.28
DRAB1204 | Overhead network assets 33kV and above (wires and towers / poles etc) | 56018429.3 | 56018429.3
DRAB1205 | Underground network assets 33kV and above(cables, ducts etc) | 923373.37 | 923373.37
DRAB1206 | Zone substations and transformers | 97963888.73 | 97963888.73
DRAB1207 | Easements
DRAB1208 | Meters |  |  | 33288088.84
DRAB1209 | "Other" assets with long lives | 161395883.57 | 161395883.57
DRAB1210 | "Other" assets with short lives | 7775973.55 | 7775973.55
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above)
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2023-24 | 2023-24 | 2023-24
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 45 | 45
DRAB1402 | Underground network assets less than 33kV (cables) | 45 | 45
DRAB1403 | Distribution substations including transformers | 45 | 45
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 45 | 45
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 45 | 45
DRAB1406 | Zone substations and transformers | 50 | 50
DRAB1407 | Meters | 0 | 0 | 20
DRAB1408 | "Other" assets with long lives | 33.24 | 33.24
DRAB1409 | "Other" assets with short lives | 5.46 | 5.46
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 9.73 | 9.73
DRAB1502 | Underground network assets less than 33kV (cables) | 11.6 | 11.6
DRAB1503 | Distribution substations including transformers | 14 | 14
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 9.8 | 9.8
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 37.2 | 37.2
DRAB1506 | Zone substations and transformers | 14.6 | 14.6
DRAB1507 | Meters
DRAB1508 | "Other" assets with long lives | 21.55 | 21.55
DRAB1509 | "Other" assets with short lives | 3.95 | 3.95
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
Evoenergy
Benchmarking RIN response 2023-24
3.4 OPERATIONAL DATA
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
0's
|  | Units | 2023-24
DOPED01 | Total energy delivered | GWh | 2977
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 1405
DOPED0202 | Energy Delivery at On-peak times | GWh | 509
DOPED0203 | Energy Delivery at Shoulder times | GWh | 272
DOPED0204 | Energy Delivery at Off-peak times | GWh | 701
DOPED0205 | Controlled load energy deliveries | GWh | 62
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 28
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 514
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 732
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 1385
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 0
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 12
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 53
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 41
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 13
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 0
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 0
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 320
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 1223
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 213
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 1099
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 413
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 28
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME 0's
2023-24
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 204629
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 11561
DOPCN0103 | Low voltage demand tariff customer numbers |  | 6732
DOPCN0104 | High voltage demand tariff customer numbers |  | 39
DOPCN0105 | Unmetered Customer Numbers |  | 27
DOPCN0106 | Other Customer Numbers |  | 2487
DOPCN01 | Total customer numbers |  | 225475
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | CBD |  | 0
DOPCN0202 | Urban |  | 145636
DOPCN0203 | Short rural |  | 79839
DOPCN0204 | Long rural |  | 0
DOPCN02 | Total customer numbers |  | 225475
3.4.2.4 - Unmetered Supply
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN |  | 27
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN
DOPCN0303 | Total unmetered connections |  | 27
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME 0's
|  | Units | 2023-24
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 741.4515
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 740.7858
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 705.518
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 710.1958
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 702.0447
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 683.3614
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 1013.6477
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 987.352
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 949.2041
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 716.0644
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 708.7264
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 690.1559
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 742.4895
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 741.8636
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 706.4774
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 710.363
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 702.3629
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 683.6661
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 1183.438
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 1092.2034
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1047.423
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 729.606
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 725.9653
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 706.1393
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.9891
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.99911
DOPSD0307 | Average power factor conversion for SWER lines | Factor
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0.99949
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.9979
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0.9891
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 847521
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
Evoenergy
Benchmarking RIN response 2023-24
3.5 PHYSICAL ASSETS
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's 0's
| Circuit length | 2023-24
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 1210.93
DPA0102 | Overhead 2.2 kV | 0
DPA0103 | Overhead 6.6kv | 0
DPA0104 | Overhead 7.6 kV | 0
DPA0105 | Overhead 11 kV | 956.824
DPA0106 | Overhead SWER | 0
DPA0107 | Overhead 22 kV | 34.43
DPA0108 | Overhead 33 kV | 0
DPA0109 | Overhead 44 kV | 0
DPA0110 | Overhead 66 kV | 7.45
DPA0111 | Overhead 110kV | 0
DPA0112 | Overhead 132 kV | 201.79
DPA0113 | Overhead 220kV | 0
DPA0114 | Other | 0
DPA01 | Total overhead circuit km | 2411.424
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 1663.53
DPA0202 | Underground 5 kV | 0
DPA0203 | Underground 6.6 Kv | 0
DPA0204 | Underground 7.6 kV | 0
DPA0205 | Underground 11 kV | 1723.55
DPA0206 | Underground SWER | 0
DPA0207 | Underground 22 kV | 2.49
DPA0208 | Underground 33 kV | 0
DPA0209 | Underground 66 kV | 0
DPA0210 | Underground 110 kV | 0
DPA0211 | Underground 132 kV | 15.07
DPA0212 | Other | 0
DPA02 | Total underground circuit km | 3404.64
VOLUME in MVA 0's
| Circuit Capacity MVA | 2023-24
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.26
DPA0302 | Overhead 6.6 kV | n/a
DPA0303 | Overhead 7.6 kV | n/a
DPA0304 | Overhead 11 kV | 6.3
DPA0305 | Overhead SWER | n/a
DPA0306 | Overhead 22 kV | 13.69
DPA0307 | Overhead 33 kV | n/a
DPA0308 | Overhead 44 kV | n/a
DPA0309 | Overhead 66 kV | 65.39
DPA0310 | Overhead 110 kV | n/a
DPA0311 | Overhead 132 kV | 383.27
DPA0312 | Overhead 220 kV | n/a
DPA0313 | Other | n/a
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.25
DPA0402 | Underground 5 kV
DPA0403 | Underground 6.6 kV
DPA0404 | Underground 7.6 kV
DPA0405 | Underground 11 kV | 6.98
DPA0406 | Underground SWER
DPA0407 | Underground 12.7 kV
DPA0408 | Underground 22 kV | 9.07
DPA0409 | Underground 33 kV
DPA0410 | Underground 66 kV
DPA0411 | Underground 110 kV
DPA0412 | Underground 132 kV | 293.61
DPA0413 | Other
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA 0's
2023-24
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 2482.33
DPA0502 | Distribution transformer capacity owned by High Voltage Customers
DPA0503 | Cold spare capacity included in DPA0501 | 96.95
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 0
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 0
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 1658
DPA0604 | Total zone substation transformer capacity | 1658
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 0
3.5.2.3 - Distribution - other transformer capacity
Distribution other - transformer capacity owned by utility
3.5.3 - PUBLIC LIGHTING
VOLUME 0's
2023-24
DPA0701 | Public lighting luminaires
DPA0702 | Public lighting poles
DPA0703 | Public lighting columns
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
Evoenergy
Benchmarking RIN response 2023-24
3.6 QUALITY OF SERVICE DATA
TEMPLATE DATE - MAY 2024
3.6.1 - RELIABILITY
0's
|  | Units | 2023-24
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 68.1293
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 68.0932
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 0.65417
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.65394
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 45.2548
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 45.2186
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 0.58962
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.58939
3.6.2 - ENERGY NOT SUPPLIED
0's
|  | Units | 2023-24
DQS0201 | Energy Not Supplied (planned) | GWh | 0.24687
DQS0202 | Energy Not Supplied (unplanned) | GWh | 0.25748
DQS02 | Total |  | 0.50434
3.6.3 - SYSTEM LOSSES
0's
|  | Unit | 2023-24
DQS03 | System losses | % | 3.06%
3.6.4 - CAPACITY UTILISATION
0's
|  | Unit | 2023-24
DQS04 | Overall utilisation | % | 48.93%
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
Evoenergy
Benchmarking RIN response 2023-24
3.7 OPERATING ENVIRONMENT FACTORS
TEMPLATE DATE - MAY 2024
3.7.1 - DENSITY FACTORS
0's
|  | Units | 2023-24
DOEF0101 | Customer density | Customer / km | 52.1209
DOEF0102 | Energy density | MWh/customer | 13.2077
DOEF0103 | Demand density | kVA / customer | 3.293
3.7.2 - TERRAIN FACTORS
0's
|  | Units | 2023-24
DOEF0201 | Rural proportion | % | 45.20274248%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 19908
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 5283
DOEF0204 | Total vegetation maintenance spans | Number of spans | 25191
DOEF0205 | Total number of spans | Number of spans | 97900
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 1
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 7.11
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 7.16
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 2.06
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 2.23
DOEF0212 | Tropical proportion | Spans | 0
DOEF0213 | Standard vehicle access | km | 262.833
DOEF0214 | Bushfire risk | Spans | 5283
3.7.3 - SERVICE AREA FACTORS
0's
|  | Units | 2023-24
DOEF0301 | Route Line length | km | 4326..69
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## NSP Amendments
This sheet may be used to identify amendments made to data resubmitted to the AER. It may also be used to provide additional information not captured in this workbook.
NSP data amendments
Worksheet | Table | Comments
Contents
Instructions