## Business & other details
ECONOMIC BENCHMARKING
Jemena Electricity
2006
BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings.
SUBMISSION PARTICULARS INPUT SHEETS
ENTITY DETAILS
Short name | Jemena Electricity
ACN / ABN | 82064651083
Business address | Address 1 |  | 321 Ferntree Gully Road
Address 2
| Suburb |  | MT WAVERLEY
|  | State | VIC | p/code | 3149
Postal address | Address 1 |  | 321 Ferntree Gully Road
Address 2
| Suburb |  | MT WAVERLEY
|  | State | VIC | p/code | 3149
Contact name/s
Contact phone/s
Contact email address/s
Current regulatory year | 2006
Source | Reporting
Data quality (actual, estimate, public, consolidated) | Consolidated
Amended RIN submission - amendment reason | 20200923 - #11574130 - 3.4 operational data - amended customer numbers
EBSS - First application of scheme in forthcoming period? | No

## 1. Contents
Contents
1. Contents
3.7 Operating environment
3.6 Quality of services
3.5 Physical assets
3.2 Opex
3.1 Revenue
3.3 Assets (RAB)
3.4 Operational data

## 3.1 Revenue
3.1 Revenue worksheet
| Scope of services |  | Standard control services | [8 empty] | Alternative control services
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 3.1.1 Revenue grouping by chargeable quantity
ED_REV210_00001 | Revenue from Fixed Customer Charges | $000's | 7985031 | 7712272 | 7460288 | 7422321 | 7733754 | 8624933 | 9403431 | 10891480 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00002 | Revenue from Energy Delivery charges where time of use is not a determinant | $000's | 65059232 | 70420205 | 70894963 | 80957991 | 82165534 | 88274304 | 91168066 | 100062145 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00003 | Revenue from On–Peak Energy Delivery charges | $000's | 33459644 | 34715583 | 35825553 | 33118871 | 35145721 | 37931215 | 39191569 | 44355252 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00004 | Revenue from Shoulder period Energy Delivery Charges | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20978 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00005 | Revenue from Off–Peak Energy Delivery charges | $000's | 4545443 | 4670132 | 4916895 | 4625698 | 4912204 | 5588009 | 6111452 | 7141883 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00006 | Revenue from controlled load customer charges | $000's | 866643 | 848953 | 822701 | 686724 | 555993 | 717701 | 732413 | 771919 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00007 | Revenue from unmetered supplies | $000's | 2764862 | 1804285 | 1653891 | 1708587 | 1733271 | 1990812 | 2101350 | 2328121 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00008 | Revenue from Contracted Maximum Demand charges | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00009 | Revenue from Measured Maximum Demand charges | $000's | 31926243 | 35036472 | 36679426 | 39466092 | 41174315 | 45099950 | 50988620 | 60707637 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00010 | Revenue from metering charges | $000's | 5654635 | 7072894 | 8841232 | 10895116 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV210_00011 | Revenue from connection charges | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 377827 | 729595 | 879536 | 846835 | 789556 | 2633408 | 2843928 | 2842374
ED_REV210_00012 | Revenue from public lighting charges | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2301011 | 2326478 | 2484925 | 2763479 | 3054068 | 3656115 | 3660351 | 3915349
ED_REV210_00013 | Revenue from other Sources | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3315183 | 4178058 | 4769746.8 | 4954348 | 5456935 | 4981714 | 5299873 | 5842572
| Total revenue by chargeable quantity | $000's | 152261733 | 162280796 | 167094949 | 178881400 | 173420792 | 188226924 | 199696901 | 226279415 |  | 5994021 | 7234131 | 8134207.8 | 8564662 | 9300559 | 11271237 | 11804152 | 12600295
Table 3.1.2 Revenue grouping by Customer type or class
ED_REV220_00001 | Revenue from residential Customers | $000's | 63724708 | 66860865 | 68080853 | 72847806 | 76755050 | 82707893 | 86393638 | 96183047 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV220_00002 | Revenue from non-residential customers not on demand tariffs | $000's | 34427589 | 36948842 | 36836750 | 39272119 | 38323108 | 40618963 | 39756792 | 43587605 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV220_00003 | Revenue from non-residential low voltage demand tariff customers | $000's | 31450171 | 34434325 | 36296925 | 39140846 | 41276870 | 46842253 | 54268648 | 64709132 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV220_00004 | Revenue from non-residential high voltage demand tariff customers | $000's | 14239768 | 15159583 | 15385298 | 15016926 | 15332494 | 16067002 | 17176473 | 19471509 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV220_00005 | Revenue from unmetered supplies | $000's | 2764862 | 1804285 | 1653891 | 1708587 | 1733271 | 1990812 | 2101350 | 2328121 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV220_00006 | Revenue from Other Customers | $000's | 5654635 | 7072894 | 8841232 | 10895116 | 0 | 0 | 0 | 0 |  | 5994021 | 7234131 | 8134207.8 | 8564662 | 9300559 | 11271237 | 11804152 | 12600295
| Total revenue by customer class | $000's | 152261733 | 162280794 | 167094949 | 178881400 | 173420793 | 188226923 | 199696901 | 226279414 |  | 5994021 | 7234131 | 8134207.8 | 8564662 | 9300559 | 11271237 | 11804152 | 12600295
Table 3.1.3 Revenue (penalties) allowed (deducted) through incentive schemes
ED_REV230_00001 | EBSS | $000's | 1995695 | 2132635 | 2168438 | 2304836 | 2310005 | 8828508 | 9366490 | 10214323 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV230_00002 | STPIS | $000's | 960290 | -432874 | 0 | -221832 | 4835448 | -271858 | -288424 | 8191892 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV230_00003 | F-Factor | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV230_00004 | S-Factor True up | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_REV230_00005 | Other | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total revenue of incentive schemes | $000's | 2955985 | 1699761 | 2168438 | 2083004 | 7145453 | 8556650 | 9078066 | 18406215 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 3.2 Operating expenditure
3.2 Opex worksheet
| Scope of services |  | Standard control services | [8 empty] | Alternative control services
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
| Table 3.2.1 Opex categories | 1
Table 3.2.1.1 Current opex categories and cost allocations
| Routine | $'000 | 2924366.2997 | 2594984.0993 | 2460697.1054 | 2178412.6646 | 2608108.1152 | 3431826.4309 | 1504573.7428 | 4804904.0102 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Condition based | $'000 | 3641219.0692 | 3231095.088 | 3063890.1921 | 2712409.0904 | 3247436.2068 | 4838462.4244 | 3923747.1484 | 3366990.0274 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vegetation Control | $'000 | 1098800 | 1027600 | 1060220.995 | 931395.0453 | 1139502.6877 | 2427373.4265 | 4974900.5175 | 4531845.3521 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Emergency - Fault | $'000 | 5339779.9229 | 4738340.7458 | 4493137.8812 | 3977697.3943 | 4762304.6921 | 4558870.8999 | 5990123.3106 | 7238251.0157 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Inspection | $'000 | 1336834.7082 | 1186262.0669 | 1124874.5744 | 995832.0403 | 1192261.5342 | 1152134.2902 | 1338917.2436 | 1962054.6099 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SCADA/Network Control | $'000 | 471626 | 351611 | 392262.1644 | 298781.6373 | 59832.282 | 1924.2224 | 134972 | 47825 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other - Standard Control Services (a) | $'000 | 61711.79 | 72982.03 | 0 | 0 | 0 | 1370771.8282 | 1031000 | 3454914.9826 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Metering | $'000 | 480000 | 397000 | 522383.0409 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 8437.514 | 10167.8247 | 16811.909 | 20060.926 | 20130.0211 |  | see d15/86984 - email dated 23/6/2014
| Public Lighting | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1272579.5211 | 1130939.3537 | 1280554.1035 | 1420954.7298 | 1667973.4876 | 1510990.5835 | 1987677.7848 | 1892950.9657
| Alternative control -other | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 358528.84 | 302388.3309 | 308836.0565 | 242603.0906 | 303455.3559 | 269166.7332 | 515860.3938 | 481412.6507
| Negotiated services | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Network Operating Costs | $'000 | 7386000 | 7481000 | 6812484.9076 | 5052986.8636 | 6437663.1955 | 5864873.3058 | 15648112.9857 | 11047620.3306 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Billing & Revenue Collection | $'000 | 4196000 | 4362000 | 1754143.9839 | 1512606.8872 | 909413.7985 | 740395.412 | 811380.1374 | 828373.6365 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Advertising/Marketing | $'000 | 810000 | 718000 | 550714.0723 | 490714.9307 | 548011.5772 | 717537.7763 | 534979.8366 | 754064.8759 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Customer Service | $'000 | 4624000 | 4054000 | 2435773.8025 | 2155025.7166 | 2793626.4008 | 3905599.7124 | 2109659.0946 | 3293224.5651 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Regulatory | $'000 | 2475888 | 3338078 | 1232967.9639 | 1577323.07 | 719108.1521 | 2786919.4215 | 2185021.3061 | 2241431.5192 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Regulatory Reset | $'000 | 0 | 0 | 0 | 2529473.93 | 4831451.3 | 319758.185 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| IT | $'000 | 3315921.9252 | 7017391.3823 | 9704675.8427 | 8455304.716 | 8290385.3481 | 7006392.9443 | 7271241.9667 | 4892252.5739 |  | 549608.0748 | 1163119.9571 | 1608532.5067 | 1401451.4972 | 476295.9798 | 1406800.0642 | 1343735.0912 | 366150.3407
| Licence fee | $'000 | 668112 | 7922 | 387998 | -59837 | -111662.92 | 13956.63 | 15179.99 | 22300.53 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GSL payments | $'000 | 247451.52 | 205692.99 | 12859 | 13877 | 70800 | 28200 | 8810 | 66930 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Non-network alternatives costs | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Debt raising costs | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other | $'000 | 9755626.5548 | 12599915.6277 | 9941855.3959 | 17622514.284 | 23743538.5831 | 23455867.0046 | 26159611.0085 | 24067232.9075 |  | 3115124.6094 | 1757991.9648 | 2712973.935 | 2837673.8362 | 4336606.3797 | 3772101.4977 | 3273607.605 | 3712754.655
| Metering | $'000 | 3939627 | 5515524 | 6271401.5186 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Public Lighting | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 557635.7805 | 495570.0125 | 560921.6965 | 622652.7982 | 730894.7553 | 552167.6165 | 980925.3132 | 876744.9896
| Alternative control -other | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Negotiated services | $'000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.2.1.2A Historical opex categories and cost allocations
| Subtransmission | $'000 | 2314062.7993 | 3441257.7009 | 2123290.8102 | 1878459.8449 | 3435499.9193 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| CBD | $'000 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Urban | $'000 | 9375944.1004 | 13943026.8916 | 8602988.6274 | 7611001.0956 | 8641783.1383 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Rural – short | $'000 | 1609204.5903 | 2393058.5162 | 1476541.3105 | 1306285.2944 | 139333.2029 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Rural – long | $'000 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Non-standard metering | $'000 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Standard metering | $'000 | 574586.5 | 646290.98 | 522383.0409 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Public Lighting | $'000 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1593361.576 | 2613181.792 | 1841475.8 | 2043607.528 | 2263083.248
| SCADA/Network control | $'000 | 474177.79 | 635400 | 392262.1644 | 298781.6373 | 56445.549 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Other | $'000 | 182512.71 | 149637.19 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Network operating costs | $'000 | 7773415.2832 | 11008764.1738 | 6812484.9076 | 5052986.8636 | 6108133.4008 |  |  |  |  | 4207550.934 | 6397771.794 | 4103505.258 | 4071793.894 | 4444670.87
| Premium Feed In tariff |  | 0 | 0 | 0 | 11696 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Electricity purchasing | $'000 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Meter data services | $'000 | 0 | 7651114.6684 | 5447339.3576 | 0 | 0 |  |  |  |  | 3568708.226 | 90726.6383 | 64594.3511 | 0 | 0
| Billing & Revenue Collection | $'000 | 3507200.1726 | 7236393.3787 | 1754143.9839 | 1512606.8872 | 856257.21 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Advertising/Marketing | $'000 | 867693.1024 | 1098290.7601 | 550714.0723 | 490714.9307 | 515979.4859 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Customer Service | $'000 | 4059725.7758 | 7125016.8348 | 2435773.8025 | 2155025.7166 | 2630355.5682 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Regulatory | $'000 | 2910369.2405 | 5606516.9714 | 1620965.9639 | 4046960 | 5120984.9443 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Goodwill Amortisation | $'000 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
| Other | $'000 | 19107057.1161 | 28557562.7194 | 20483452.3996 | 26080000 | 30622000 |  |  |  |  | 1176376.28 | 981566.5569 | 630541.429 | 615972.5 | 600938.62
| Unregulated (included in Table AA of RAS) | $'000 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | -2345910.9 | -2406900 | -168298.54 | -206037.97 | -201680.21
Table 3.2.1.2B Historical opex categories and cost allocations
ED_OPX312_B9999 | Total opex | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.2.1.2C Historical opex categories and cost allocations
ED_OPX312_C9999 | Total opex | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.2.2 Opex consistency
Table 3.2.2.1 Opex consistency - current cost allocation approach
ED_OPX321_00001 | Opex for network services | $000's | 46756092.2871 | 51252352.2222 | 43220358.6484 | 48349725.7499 | 58605575.1104 | 59886898.4081 | 70098067.7661 | 69150303.9267
ED_OPX321_00002 | Opex for metering | $000's | 4419627 | 5912524 | 6793784.5595 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPX321_00003 | Opex for connection services | $000's | 1392067.6933 | 1521137.8858 | 1986276.914 | 1863995.3888 | 2396176.8262 | 2484335.3287 | 3284547.1378 | 3199912.01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPX321_00004 | Opex for public lighting | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1830215.3016 | 1626509.3662 | 1841475.8 | 2043607.528 | 2398868.2429 | 0 | 0 | 0
ED_OPX321_00005 | Opex for amounts payable for easement levy or similar direct charges on DNSP | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPX321_00006 | Opex for transmission connection point planning | $000's | 205177.8096 | 213384.9219 | 221920.3188 | 230797.1316 | 240029.0168 | 249630.1775 | 259615.3846 | 270000 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.2.2.2 Opex consistency - historical cost allocation approaches
ED_OPX322_00001 | Opex for network services | $000's | 46756092.2871 | 51252352.2222 | 43220358.6484 | 48349725.7499 | 58605575.1104 | 59886898.4081 | 70098067.7661 | 69150303.9267
ED_OPX322_00002 | Opex for metering | $000's | 4419627 | 5912524 | 6793784.5595 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPX322_00003 | Opex for connection services | $000's | 1392067.6933 | 1521137.8858 | 1986276.914 | 1863995.3888 | 2396176.8262 | 2484335.3287 | 3284547.1378 | 3199912.01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPX322_00004 | Opex for public lighting | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1830215.3016 | 1626509.3662 | 1841475.8 | 2043607.528 | 2398868.2429 | 0 | 0 | 0
ED_OPX322_00005 | Opex for amounts payable for easement levy or similar direct charges on DNSP | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPX322_00006 | Opex for transmission connection point planning | $000's | 205177.8096 | 213384.9219 | 221920.3188 | 230797.1316 | 240029.0168 | 249630.1775 | 259615.3846 | 270000 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Table 3.2.4 Opex for high voltage customers |  | Standard control services 2006: End user costs (not standard control services)
|  |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
ED_OPX340_00001 | Opex for high voltage customers | $000's | 76621.0302 | 79638.8144 | 81122.1321 | 85162.894 | 86237.0206 | 88641.0182 | 91761.1002 | 93600

## 3.3 Assets (RAB)
3.3 Assets (RAB) worksheet
| Scope of services |  | Network services | [8 empty] | Standard control services | [8 empty] | Alternative control services
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here] | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 3.3.1 Regulatory Asset Base Values
For total asset base:
ED_RAB410_00001 | Opening value | $000's | 460096299.8433 | 495664268.7009 | 537963717.7826 | 549503933.0871 | 608125807.6863 | 626852638.8919 | 722141084.0179 | 809008679.2188 |  | 598739250.816 | 636139187.9568 | 681450795.2337 | 691341744.5647 | 752442023.8869 | 764196384.2883 | 862505308.7094 | 954586821.1938 |  | 529618.3971 | 1033719.0157 | 1318867.3862 | 2182963.3047 | 2721136.8059 | 6169968.5625 | 6477971.7686 | 6585620.2945
ED_RAB410_00002 | Inflation addition | $000's | 13923134.2456 | 19522157.4455 | 10019876.5676 | 27371255.179 | 7670055.2321 | 18507997.8135 | 26728858.6613 | 16957586.5019 |  | 18118656.8335 | 25054881.2346 | 12692404.0217 | 34436316.4064 | 9490259.7607 | 22493884.7023 | 31862810.1854 | 19985946.4216 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB410_00003 | Straight line depreciation | $000's | -29220598.4184 | -31713910.5599 | -32953009.6651 | -34153517.4607 | -35426078.083 | -37018887.0657 | -44475252.4292 | -52565461.2132 |  | -37950586.9263 | -40938690.9677 | -42457046.2968 | -45764389.1832 | -46824167.7322 | -48962429.3092 | -56962602.7022 | -65593567.2383 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB410_00004 |  | $000's
ED_RAB410_00005 | Actual additions (recognised in RAB) | $000's | 50952907.1704 | 54594790.8061 | 34722806.732 | 65418407.571 | 83539316.7416 | 114252519.0695 | 104682679.593 | 112219405.4805 |  | 57319341.3737 | 61299005.62 | 39905049.9361 | 72442622.7889 | 91897163.1704 | 125230653.7192 | 117249995.6252 | 122164858.9831 |  | 541000 | 342475 | 953232.31 | 666614 | 418210.04 | 694958.7659 | 525105.6972 | 843024.742
ED_RAB410_00006 | Disposals | $000's | -87474.14 | -103588.61 | -249458.33 | -14270.69 | -96989.5522 | -453184.6913 | -68690.624 | -283010.2647 |  | -87474.14 | -103588.61 | -249458.33 | -14270.69 | -96989.5522 | -453184.6913 | -68690.624 | -283010.2647 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB410_00007 | Closing value | $000's | 495664268.7009 | 537963717.7826 | 549503933.0871 | 608125807.6863 | 626852638.8919 | 722141084.0179 | 809008679.2188 | 885337199.7234 |  | 636139187.9568 | 681450795.2337 | 691341744.5647 | 752442023.8869 | 764196384.2883 | 862505308.7094 | 954586821.1938 | 1030861049.0955 |  | 1033719.0157 | 1318867.3862 | 2182963.3047 | 2721136.8059 | 6169968.5625 | 6477971.7686 | 6585620.2945 | 6976984.6041
Table 3.3.2 Asset value roll forward
For overhead network assets less than 33 kV:
ED_RAB421_00001 | Opening value | $000's | 309872090.805 | 323729226.4028 | 338032745.7461 | 342928174.0124 | 364639159.1242 | 376549834.2086 | 427090736.0949 | 464678480.2901 |  | 381830481.4863 | 400062149.0811 | 419618296.342 | 426703909.3616 | 454568722.8375 | 466588935.8101 | 525051536.4477 | 572668783.6933 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB421_00002 | Inflation addition | $000's | 9377147.177 | 12750350.0386 | 6296049.8565 | 17081542.0851 | 4599052.4574 | 10961656.8671 | 15624637.0942 | 9648092.3432 |  | 11554705.0794 | 15756786.9131 | 7815626.5857 | 21254482.2444 | 5733299.207 | 13582764.7437 | 19208423.4553 | 11890288.7513 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB421_00003 | Straight line depreciation | $000's | -14886371.5393 | -15724275.7872 | -16289855.9796 | -17426263.6421 | -17680670.7951 | -18605340.8755 | -20556623.3286 | -21805306.968 |  | -18343279.6341 | -19431942.0402 | -20221477.6522 | -21683417.6517 | -22041187.1329 | -23054176.1298 | -25271647.8038 | -26872814.5354 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB421_00004 |  | $000's
ED_RAB421_00005 | Actual additions (recognised in RAB) | $000's | 19366359.9601 | 17277445.092 | 15004684.3666 | 22055706.6688 | 41562316.8105 | 58184585.8947 | 42519730.4296 | 56298392.8553 |  | 25020242.1496 | 23231302.3879 | 19606914.0635 | 28293748.8832 | 48984725.895 | 67934012.0237 | 53680471.5942 | 65130718.8685 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB421_00006 | Disposals | $000's | 0 | 0 | -115449.9774 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | -115449.9774 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB421_00007 | Closing value | $000's | 323729226.4028 | 338032745.7461 | 342928174.0124 | 364639159.1242 | 376549834.2086 | 427090736.0949 | 464678480.2901 | 508819658.5207 |  | 400062149.0811 | 419618296.342 | 426703909.3616 | 454568722.8375 | 466588935.8101 | 525051536.4477 | 572668783.6933 | 622816976.7777 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For underground network assets less than 33 kV:
ED_RAB422_00001 | Opening value | $000's | 22298679.6724 | 23295851.851 | 24325146.2131 | 24677425.7181 | 26239768.1063 | 27096871.2023 | 30733840.826 | 33438689.35 |  | 27476871.4204 | 28788838.9311 | 30196117.2124 | 30706004.4198 | 32711181.9374 | 33576167.4802 | 37783189.8069 | 41209770.5631 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB422_00002 | Inflation addition | $000's | 674788.1056 | 917526.8753 | 453069.5184 | 1229203.4248 | 330952.0302 | 788810.8752 | 1124363.2063 | 694285.5681 |  | 831487.1682 | 1133872.8284 | 562419.6526 | 1529492.0234 | 412573.4659 | 977428.2005 | 1382255.7576 | 855636.0768 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB422_00003 | Straight line depreciation | $000's | -1071236.9403 | -1131533.298 | -1172232.967 | -1254009.904 | -1272317.2759 | -1338857.3824 | -1479273.4562 | -1569129.8754 |  | -1319999.2153 | -1398340.3599 | -1455156.0662 | -1560358.6085 | -1586104.0283 | -1658999.645 | -1818570.9391 | -1933792.3647 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB422_00004 |  | $000's
ED_RAB422_00005 | Actual additions (recognised in RAB) | $000's | 1393621.0133 | 1243300.7847 | 1079750.8398 | 1587148.8674 | 2990862.4123 | 4187016.131 | 3059758.7738 | 4051283.951 |  | 1800479.5578 | 1671745.8128 | 1410931.507 | 2036044.1027 | 3524985.7731 | 4888593.7712 | 3862895.9376 | 4686866.2264 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB422_00006 | Disposals | $000's | 0 | 0 | -8307.8862 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | -8307.8862 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB422_00007 | Closing value | $000's | 23295851.851 | 24325146.2131 | 24677425.7181 | 26239768.1063 | 27096871.2023 | 30733840.826 | 33438689.35 | 36615128.9937 |  | 28788838.9311 | 30196117.2124 | 30706004.4198 | 32711181.9374 | 33576167.4802 | 37783189.8069 | 41209770.5631 | 44818480.5015 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For distribution substations and transformers:
ED_RAB423_00001 | Opening value | $000's | 16754129.5178 | 17503355.5741 | 18276716.6568 | 18541402.1243 | 19715269.237 | 20359254.2841 | 23091894.1096 | 25124184.0551 |  | 20644767.73 | 21630515.4926 | 22687875.0736 | 23070979.2051 | 24577570.8209 | 25227478.3503 | 28388427.6972 | 30962991.6909 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB423_00002 | Inflation addition | $000's | 507002.5439 | 689384.4986 | 340414.1188 | 923562.9053 | 248661.0534 | 592673.6364 | 844791.1294 | 521651.9768 |  | 624738.5008 | 851936.191 | 422574.4233 | 1149184.9667 | 309987.3797 | 734391.4037 | 1038558.8891 | 642882.8012 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB423_00003 | Straight line depreciation | $000's | -804874.67 | -850178.3831 | -880758.1096 | -942201.2719 | -955956.5293 | -1005951.4877 | -1111453.209 | -1178966.8962 |  | -991782.3899 | -1050644.067 | -1093332.5901 | -1172376.5983 | -1191720.4386 | -1246490.6142 | -1366384.6245 | -1452956.3281 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB423_00004 |  | $000's
ED_RAB423_00005 | Actual additions (recognised in RAB) | $000's | 1047098.1824 | 934154.9672 | 811271.5947 | 1192505.4792 | 2247186.6927 | 3145917.6768 | 2298952.0251 | 3043935.2027 |  | 1352791.6517 | 1256067.4569 | 1060104.4347 | 1529783.2474 | 2648500.6762 | 3673048.5574 | 2902389.729 | 3521480.4169 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB423_00006 | Disposals | $000's | 0 | 0 | -6242.1365 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | -6242.1365 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB423_00007 | Closing value | $000's | 17503355.5741 | 18276716.6568 | 18541402.1243 | 19715269.237 | 20359254.2841 | 23091894.1096 | 25124184.0551 | 27510804.3384 |  | 21630515.4926 | 22687875.0736 | 23070979.2051 | 24577570.8209 | 25227478.3503 | 28388427.6972 | 30962991.6909 | 33674398.5808 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For overhead network assets 33 kV and above:
ED_RAB424_00001 | Opening value | $000's | 39124403.6271 | 45097030.4254 | 53222888.0162 | 57791287.4369 | 68363857.5271 | 66659610.1392 | 77672933.4683 | 86592878.799 |  | 39124403.6271 | 45097030.4254 | 53222888.0162 | 57791287.4369 | 68363857.5271 | 66659610.1392 | 77672933.4683 | 86592878.799 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB424_00002 | Inflation addition | $000's | 1183957.1937 | 1776184.7764 | 991306.1994 | 2878632.8547 | 862246.8517 | 2029044.3491 | 2949678.8635 | 1858112.9918 |  | 1183957.1937 | 1776184.7764 | 991306.1994 | 2878632.8547 | 862246.8517 | 2029044.3491 | 2949678.8635 | 1858112.9918 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB424_00003 | Straight line depreciation | $000's | -1773380.6042 | -1932810.4177 | -2053458.326 | -2226083.3997 | -2309220.6168 | -2592007.8025 | -2951209.1394 | -3213839.6705 |  | -1773380.6042 | -1932810.4177 | -2053458.326 | -2226083.3997 | -2309220.6168 | -2592007.8025 | -2951209.1394 | -3213839.6705 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB424_00004 |  | $000's
ED_RAB424_00005 | Actual additions (recognised in RAB) | $000's | 6562050.2088 | 8282483.2321 | 5630551.5472 | 9920020.6352 | 5869685.8674 | 11576286.7825 | 8921475.6066 | 12634500.5533 |  | 6562050.2088 | 8282483.2321 | 5630551.5472 | 9920020.6352 | 5869685.8674 | 11576286.7825 | 8921475.6066 | 12634500.5533 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB424_00006 | Disposals | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB424_00007 | Closing value | $000's | 45097030.4254 | 53222888.0162 | 57791287.4369 | 68363857.5271 | 66659610.1392 | 77672933.4683 | 86592878.799 | 97871652.6736 |  | 45097030.4254 | 53222888.0162 | 57791287.4369 | 68363857.5271 | 66659610.1392 | 77672933.4683 | 86592878.799 | 97871652.6736 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For underground network assets 33 kV and above:
ED_RAB425_00001 | Opening value | $000's | 1500737.2857 | 1729835.8252 | 2041528.1792 | 2216763.2426 | 2622306.8079 | 2556935.138 | 2979385.1546 | 3321537.1954 |  | 1500737.2857 | 1729835.8252 | 2041528.1792 | 2216763.2426 | 2622306.8079 | 2556935.138 | 2979385.1546 | 3321537.1954 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB425_00002 | Inflation addition | $000's | 45414.3333 | 68131.0505 | 38024.6096 | 110418.85 | 33074.1399 | 77830.2601 | 113144.039 | 71273.6602 |  | 45414.3333 | 68131.0505 | 38024.6096 | 110418.85 | 33074.1399 | 77830.2601 | 113144.039 | 71273.6602 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB425_00003 | Straight line depreciation | $000's | -68023.4878 | -74138.9105 | -78766.7335 | -85388.3011 | -88577.2858 | -99424.4613 | -113202.7375 | -123276.7423 |  | -68023.4878 | -74138.9105 | -78766.7335 | -85388.3011 | -88577.2858 | -99424.4613 | -113202.7375 | -123276.7423 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB425_00004 |  | $000's
ED_RAB425_00005 | Actual additions (recognised in RAB) | $000's | 251707.6941 | 317700.214 | 215977.1872 | 380513.0165 | 225149.9223 | 444044.2178 | 342210.7392 | 484635.2739 |  | 251707.6941 | 317700.214 | 215977.1872 | 380513.0165 | 225149.9223 | 444044.2178 | 342210.7392 | 484635.2739 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB425_00006 | Disposals | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB425_00007 | Closing value | $000's | 1729835.8252 | 2041528.1792 | 2216763.2426 | 2622306.8079 | 2556935.138 | 2979385.1546 | 3321537.1954 | 3754169.3871 |  | 1729835.8252 | 2041528.1792 | 2216763.2426 | 2622306.8079 | 2556935.138 | 2979385.1546 | 3321537.1954 | 3754169.3871 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Zone substations and transformers
ED_RAB426_00001 | Opening value | $000's | 36753536.2464 | 42364232.7726 | 49997678.2391 | 54289241.0012 | 64221132.6597 | 62620159.5499 | 72966095.6063 | 81345508.5464 |  | 36753536.2464 | 42364232.7726 | 49997678.2391 | 54289241.0012 | 64221132.6597 | 62620159.5499 | 72966095.6063 | 81345508.5464 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB426_00002 | Inflation addition | $000's | 1112211.5508 | 1668551.224 | 931234.8548 | 2704192.9629 | 809996.2678 | 1906087.9685 | 2770933.7134 | 1745514.7392 |  | 1112211.5508 | 1668551.224 | 931234.8548 | 2704192.9629 | 809996.2678 | 1906087.9685 | 2770933.7134 | 1745514.7392 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB426_00003 | Straight line depreciation | $000's | -1665916.9795 | -1815685.6375 | -1929022.503 | -2091186.8126 | -2169286.0663 | -2434936.8652 | -2772371.2573 | -3019086.858 |  | -1665916.9795 | -1815685.6375 | -1929022.503 | -2091186.8126 | -2169286.0663 | -2434936.8652 | -2772371.2573 | -3019086.858 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB426_00004
ED_RAB426_00005 | Actual additions (recognised in RAB) | $000's | 6164401.9548 | 7780579.88 | 5289350.4103 | 9318885.5083 | 5513993.6276 | 10874784.953 | 8380850.4841 | 11868872.9026 |  | 6164401.9548 | 7780579.88 | 5289350.4103 | 9318885.5083 | 5513993.6276 | 10874784.953 | 8380850.4841 | 11868872.9026 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB426_00006 | Disposals | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB426_00007 | Closing value | $000's | 42364232.7726 | 49997678.2391 | 54289241.0012 | 64221132.6597 | 62620159.5499 | 72966095.6063 | 81345508.5464 | 91940809.3302 |  | 42364232.7726 | 49997678.2391 | 54289241.0012 | 64221132.6597 | 62620159.5499 | 72966095.6063 | 81345508.5464 | 91940809.3302 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For easements:
ED_RAB427_00001 | Opening value | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB427_00002 | Inflation addition | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB427_00003 | Actual additions (recognised in RAB) | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB427_00004 | Disposals | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB427_00005 | Closing value | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For meters:
ED_RAB428_00001 | Opening value | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 40099536.1872 | 38004163.217 | 36039923.5063 | 33152186.9156 | 29345515.3475 | 23334493.0177 | 18375772.4343 | 13223233.5671 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB428_00002 | Inflation addition | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1213466.0194 | 1496826.1881 | 671263.829 | 1651338.4403 | 370123.617 | 682567.5079 | 687317.3565 | 288056.8047 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB428_00003 | Straight line depreciation | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -3308838.9896 | -3461065.8988 | -3559000.4196 | -5458010.0084 | -5230344.9581 | -5641288.0913 | -5839856.2237 | -5956887.4106 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB428_00004 |  | $000's
ED_RAB428_00005 | Actual additions (recognised in RAB) | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB428_00006 | Disposals | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB428_00007 | Closing value | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 38004163.217 | 36039923.5063 | 33152186.9156 | 29345515.3475 | 23334493.0177 | 18375772.4343 | 13223233.5671 | 7554402.9612 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
For “other” asset items with long lives:
ED_RAB429_00001 | Opening value | $000's | 1467407.9914 | 1514256.6898 | 1565175.5148 | 1808875.0695 | 1979676.0325 | 2021783.6444 | 2327532.8773 | 3055943.7505 |  | 18983602.1353 | 18031943.0519 | 17144649.4476 | 16160608.4997 | 15687097.7571 | 14644414.0774 | 14009302.2133 | 13810659.9064 |  | 529618.3971 | 1033719.0157 | 1318867.3862 | 2182963.3047 | 2721136.8059 | 6169968.5625 | 6477971.7686 | 6585620.2945
ED_RAB429_00002 | Inflation addition | $000's | 44405.7439 | 59640.2835 | 29152.2736 | 90101.5955 | 24968.8869 | 62097.5165 | 89170.9645 | 65365.5983 |  | 574469.3906 | 710203.3645 | 319328.7309 | 804973.5634 | 197855.287 | 413973.9283 | 500358.4599 | 280890.9722 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB429_00003 | Straight line depreciation | $000's | -199230.7287 | -192721.8969 | -189562.0599 | -168841.8027 | -160241.0587 | -204235.4027 | -234711.2024 | -284188.6017 |  | -1727802.1573 | -1781497.4072 | -1707479.0198 | -1528025.4762 | -1417918.7505 | -1496972.9115 | -1572951.878 | -1649247.7277 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB429_00004 |  | $000's
ED_RAB429_00005 | Actual additions (recognised in RAB) | $000's | 207738.5192 | 191182.5372 | 412391.7336 | 250530.5986 | 389903.9573 | 479307.7283 | 878713.6313 | 913957.2765 |  | 207738.5192 | 191182.5372 | 412391.7336 | 250530.5986 | 389903.9573 | 479307.7283 | 878713.6313 | 913957.2765 |  | 541000 | 342475 | 953232.31 | 666614 | 418210.04 | 694958.7659 | 525105.6972 | 843024.742
ED_RAB429_00006 | Disposals | $000's | -6064.8359 | -7182.0988 | -8282.3925 | -989.4283 | -6724.567 | -31420.6092 | -4762.5202 | -19621.9226 |  | -6064.8359 | -7182.0988 | -8282.3925 | -989.4283 | -6724.567 | -31420.6092 | -4762.5202 | -19621.9226 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB429_00007 | Closing value | $000's | 1514256.6898 | 1565175.5148 | 1808875.0695 | 1979676.0325 | 2021783.6444 | 2327532.8773 | 3055943.7505 | 3731456.101 |  | 18031943.0519 | 17144649.4476 | 16160608.4997 | 15687097.7571 | 14644414.0774 | 14009302.2133 | 13810659.9064 | 13336638.5047 |  | 1033719.0157 | 1318867.3862 | 2182963.3047 | 2721136.8059 | 6169968.5625 | 6477971.7686 | 6585620.2945 | 6976984.6041
For “other” asset items with short lives:
ED_RAB4210_00001 | Opening value | $000's | 32325314.6974 | 40430479.1598 | 50501839.2173 | 47250764.4822 | 60344638.1917 | 68988190.7254 | 85278665.8808 | 111451457.2323 |  | 32325314.6974 | 40430479.1598 | 50501839.2173 | 47250764.4822 | 60344638.1917 | 68988190.7254 | 85278665.8808 | 111451457.2323 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB4210_00002 | Inflation addition | $000's | 978207.5974 | 1592388.6986 | 940625.1364 | 2353600.5007 | 761103.5448 | 2089796.3405 | 3212139.6509 | 2353289.6243 |  | 978207.5974 | 1592388.6986 | 940625.1364 | 2353600.5007 | 761103.5448 | 2089796.3405 | 3212139.6509 | 2353289.6243 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB4210_00003 | Straight line depreciation | $000's | -8751563.4686 | -9992566.2289 | -10359352.9865 | -9959542.3266 | -10789808.455 | -10738132.7884 | -15256408.0987 | -21371665.601 |  | -8751563.4686 | -9992566.2289 | -10359352.9865 | -9959542.3266 | -10789808.455 | -10738132.7884 | -15256408.0987 | -21371665.601 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB4210_00004 |  | $000's
ED_RAB4210_00005 | Actual additions (recognised in RAB) | $000's | 15959929.6377 | 18567944.099 | 6278829.0525 | 20713096.797 | 24740217.4513 | 25360575.6854 | 38280987.9031 | 22923827.4652 |  | 15959929.6377 | 18567944.099 | 6278829.0525 | 20713096.797 | 24740217.4513 | 25360575.6854 | 38280987.9031 | 22923827.4652 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB4210_00006 | Disposals | $000's | -81409.3041 | -96406.5112 | -111175.9375 | -13281.2617 | -90264.9852 | -421764.082 | -63928.1038 | -263388.3421 |  | -81409.3041 | -96406.5112 | -111175.9375 | -13281.2617 | -90264.9852 | -421764.082 | -63928.1038 | -263388.3421 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB4210_00007 | Closing value | $000's | 40430479.1598 | 50501839.2173 | 47250764.4822 | 60344638.1917 | 68988190.7254 | 85278665.8808 | 111451457.2323 | 115093520.3787 |  | 40430479.1598 | 50501839.2173 | 47250764.4822 | 60344638.1917 | 68988190.7254 | 85278665.8808 | 111451457.2323 | 115093520.3787 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.3.3 Total disaggregated RAB asset values
ED_RAB430_00001 | Overhead distribution assets | $000's | 316800658.6039 | 330880986.0745 | 340480459.8793 | 353783666.5683 | 370594496.6664 | 401820285.1518 | 445884608.1925 | 486749069.4054 |  | 390946315.2837 | 409840222.7116 | 423161102.8518 | 440636316.0995 | 460578829.3238 | 495820236.1289 | 548860160.0705 | 597742880.2355 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00002 | Underground distribution assets | $000's | 22797265.7617 | 23810499.032 | 24501285.9656 | 25458596.9122 | 26668319.6543 | 28915356.0142 | 32086265.088 | 35026909.1718 |  | 28132855.1757 | 29492478.0718 | 30451060.8161 | 31708593.1786 | 33143674.7088 | 35679678.6436 | 39496480.185 | 43014125.5323 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00003 | Distribution substations including transformers | $000's | 17128742.546 | 17890036.1155 | 18409059.3906 | 19128335.6806 | 20037261.7605 | 21725574.1969 | 24108039.0824 | 26317494.1968 |  | 21137641.6113 | 22159195.2831 | 22879427.1394 | 23824275.013 | 24902524.5856 | 26807953.0237 | 29675709.694 | 32318695.1358 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00004 | Overhead assets 33 kV and above (wires and towers / poles etc) | $000's | 42110717.0263 | 49159959.2208 | 55507087.7265 | 63077572.482 | 67511733.8331 | 72166271.8038 | 82132906.1337 | 92232265.7363 |  | 42110717.0263 | 49159959.2208 | 55507087.7265 | 63077572.482 | 67511733.8331 | 72166271.8038 | 82132906.1337 | 92232265.7363 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00005 | Underground assets 33 kV and above (cables, ducts etc) | $000's | 1615286.5555 | 1885682.0022 | 2129145.7109 | 2419535.0253 | 2589620.973 | 2768160.1463 | 3150461.175 | 3537853.2912 |  | 1615286.5555 | 1885682.0022 | 2129145.7109 | 2419535.0253 | 2589620.973 | 2768160.1463 | 3150461.175 | 3537853.2912 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00006 | Zone substations | $000's | 39558884.5095 | 46180955.5058 | 52143459.6201 | 59255186.8304 | 63420646.1048 | 67793127.5781 | 77155802.0763 | 86643158.9383 |  | 39558884.5095 | 46180955.5058 | 52143459.6201 | 59255186.8304 | 63420646.1048 | 67793127.5781 | 77155802.0763 | 86643158.9383 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00007 | Easements | $000's
ED_RAB430_00008 | Meters | $000's | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 39051849.7021 | 37022043.3617 | 34596055.211 | 31248851.1316 | 26340004.1826 | 20855132.726 | 15799503.0007 | 10388818.2642 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00009 | Other assets with long lives (please specify) | $000's | 1490832.3406 | 1539716.1023 | 1687025.2921 | 1894275.551 | 2000729.8384 | 2174658.2608 | 2691738.3139 | 3393699.9258 |  | 18507772.5936 | 17588296.2497 | 16652628.9737 | 15923853.1284 | 15165755.9173 | 14326858.1454 | 13909981.0598 | 13573649.2055 |  | 781668.7064 | 1176293.2009 | 1750915.3454 | 2452050.0553 | 4445552.6842 | 6323970.1656 | 6531796.0315 | 6781302.4493
ED_RAB430_00010 | Other assets with short lives (please specify) | $000's | 36377896.9286 | 45466159.1886 | 48876301.8498 | 53797701.337 | 64666414.4585 | 77133428.3031 | 98365061.5566 | 113272488.8055 |  | 36377896.9286 | 45466159.1886 | 48876301.8498 | 53797701.337 | 64666414.4585 | 77133428.3031 | 98365061.5566 | 113272488.8055 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB430_00011
ED_RAB430_00012
ED_RAB430_00013 | Value of Capital Contributions or Contributed Assets (included in the above) | $000's | 3712032.3966 | 5172299.03 | 6272439.0895 | 5523913.2042 | 801451.5863 | 8691847.6153 | 5796951.7492 | 4218464.6976 |  | 6720883.605 | 9000299.015 | 10914212.69 | 9612141.58 | 7263296.6463 | 14061300.3549 | 12096259.6663 | 6351353.7215 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.3.4 Asset lives
Table 3.3.4.1 Asset Lives – estimated service life of new assets
ED_RAB441_00001 | Overhead network assets less than 33 kV (wires and poles) | years | 61.76 | 61.1 | 61.8 | 61.94 | 61.62 | 62.2 | 60.69 | 64.13 |  | 61.75 | 61.09 | 61.78 | 61.83 | 61.44 | 61.97 | 60.61 | 62.49 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00002 | Underground network assets less than 33 kV (cables) | years | 49.15 | 48.73 | 47.85 | 48.83 | 47.93 | 47.25 | 46.61 | 46.67 |  | 49.2 | 48.94 | 48.28 | 48.97 | 48.34 | 47.75 | 47.48 | 48.48 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00003 | Distribution substations including transformers | years | 47.9 | 47.6 | 48.63 | 48.54 | 48.12 | 47.46 | 44.71 | 45.58 |  | 47.9 | 47.6 | 48.63 | 48.54 | 48.12 | 47.46 | 44.71 | 45.58 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00004 | Overhead network assets 33 kV and above (wires and towers / poles etc) | years | 63.88 | 63.3 | 63.83 | 64.83 | 63.62 | 67.76 | 58.72 | 62.47 |  | 63.88 | 63.3 | 63.83 | 64.83 | 63.62 | 67.76 | 58.72 | 62.47 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00005 | Underground network assets 33 kV and above(cables, ducts etc) | years | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 |  | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00006 | Zone substations and transformers | years | 45.66 | 47.73 | 47 | 46.04 | 48.01 | 42.81 | 51.54 | 39.27 |  | 45.66 | 47.73 | 47 | 46.04 | 48.01 | 42.81 | 51.54 | 39.27 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00007 | Meters | years | [9 empty] | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB441_00008 | “Other” assets with long lives | years | 24.9243 | 24.9243 | 24.9243 | 24.9243 | 24.9243 | 53.9406 | 53.9406 | 53.9406 |  | 24.9243 | 24.9243 | 24.9243 | 24.9243 | 24.9243 | 53.9406 | 53.9406 | 53.9406 |  | 32.68 | 32.79 | 31.79 | 32.34 | 32.12 | 31.73 | 31.74 | 31.74
ED_RAB441_00009 | “Other” assets with short lives | years | 7.4049 | 7.0742 | 7.4459 | 7.1906 | 7.059 | 10.4851 | 10.6295 | 11.7239 |  | 7.4049 | 7.0742 | 7.4459 | 7.1906 | 7.059 | 10.4851 | 10.6295 | 11.7239 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.3.4.2 Asset Lives – estimated residual service life
ED_RAB442_00001 | Overhead network assets less than 33 kV (wires and poles) | years | 29.81 | 29.95 | 30.16 | 30.36 | 33.33 | 30.35 | 31.54 | 32.61 |  | 29.81 | 29.94 | 30.16 | 30.35 | 33.23 | 30.25 | 31.46 | 30.61 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00002 | Underground network assets less than 33 kV (cables) | years | 34.37 | 34.39 | 34.36 | 34.41 | 34.38 | 34.22 | 34.16 | 34.5 |  | 34.44 | 34.49 | 34.49 | 34.54 | 34.53 | 34.36 | 34.47 | 34.63 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00003 | Distribution substations including transformers | years | 27.01 | 27.01 | 26.99 | 26.99 | 26.99 | 27.79 | 25.48 | 27.55 |  | 27.01 | 27.01 | 26.99 | 26.99 | 26.99 | 27.79 | 25.48 | 27.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00004 | Overhead network assets 33 kV and above (wires and towers / poles etc) | years | 39.8 | 39.61 | 39.46 | 40.01 | 39.85 | 39.44 | 39.13 | 39.55 |  | 39.8 | 39.61 | 39.46 | 40.01 | 39.85 | 39.44 | 39.13 | 39.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00005 | Underground network assets 33 kV and above (cables, ducts etc) | years | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00006 | Zone substations and transformers | years | 18.16 | 18.18 | 18.18 | 18.15 | 18.26 | 18.9 | 17.34 | 18.33 |  | 18.16 | 18.18 | 18.18 | 18.15 | 18.26 | 18.9 | 17.34 | 18.33 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00007 | Meters | years | [9 empty] | 8.4614 | 7.4614 | 6.4614 | 5.4614 | 4.4614 | 3.4614 | 2.4614 | 1.4614 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_RAB442_00008 | “Other” assets with long lives | years | 25.677 | 30.826 | 26.4343 | 62.2368 | 39.6479 | 38.5354 | 43.3293 | 37.836 |  | 25.677 | 30.826 | 26.4343 | 62.2368 | 39.6479 | 38.5354 | 43.3293 | 37.836 |  | 17.45 | 17.6 | 17.62 | 17.7 | 17.76 | 17.3 | 17.89 | 18.01
ED_RAB442_00009 | “Other” assets with short lives | years | 4.4373 | 5.063 | 5.4365 | 9.3688 | 7.717 | 7.0773 | 7.2352 | 6.5098 |  | 4.4373 | 5.063 | 5.4365 | 9.3688 | 7.717 | 7.0773 | 7.2352 | 6.5098 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 3.4 Operational data
3.4 Operational data worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Units
Table 3.4.1 Energy delivery
ED_OPD510_99999 | Total energy delivered | GWh | 4278 | 4379 | 4490 | 4376 | 4450 | 4415 | 4365 | 4254
Table 3.4.1.1 Energy grouping - delivery by chargeable quantity
ED_OPD511_00001 | Energy Delivery where time of use is not a determinant | GWh | 1228 | 1290 | 1305 | 1443 | 1451 | 1420 | 1374 | 1316
ED_OPD511_00002 | Energy Delivery at On-peak times | GWh | 1667 | 1708 | 1752 | 1618 | 1680 | 1657 | 1654 | 1616
ED_OPD511_00003 | Energy Delivery at Shoulder times | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2561
ED_OPD511_00004 | Energy Delivery at Off-peak times | GWh | 1219 | 1242 | 1301 | 1196 | 1215 | 1225 | 1229 | 1220
ED_OPD511_00005 | Controlled load energy deliveries | GWh | 83.09 | 79.27 | 77.39 | 63.23 | 49.51 | 56.6 | 51.76 | 47.65
ED_OPD511_00006 | Energy Delivery to unmetered supplies | GWh | 81.78 | 59.45 | 54.29 | 54.74 | 54.8 | 56.07 | 55.61 | 53.81
Table 3.4.1.2 Energy - received from TNSP and other DNSPs by time of receipt
ED_OPD512_00001 | Energy into DNSP network at On-peak times | GWh | 2735 | 2786 | 2808 | 2789 | 2827 | 2725 | 2715 | 2633
ED_OPD512_00002 | Energy into DNSP network at Shoulder times | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD512_00003 | Energy into DNSP network at Off-peak times | GWh | 2191 | 2196 | 2240 | 2199 | 2181 | 2150 | 2157 | 2115
ED_OPD512_00004 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.4.1.3 Energy - received into DNSP system from embedded generation by time of receipt
ED_OPD513_00001 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD513_00002 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD513_00003 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD513_00004 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 26.4409 | 50.7475 | 54.1331 | 54.243 | 53.8516 | 53.2552 | 48.1881 | 48.4792
ED_OPD513_00005 | Energy into DNSP network at On-peak times from residential embedded generation | GWh
ED_OPD513_00006 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh
ED_OPD513_00007 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh
ED_OPD513_00008 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh
Table 3.4.1.4 Energy grouping - customer type or class
ED_OPD514_00001 | Residential customers energy deliveries | GWh | 1203 | 1225 | 1253 | 1300 | 1342 | 1329 | 1299 | 1257
ED_OPD514_00002 | Non-residential customers not on demand tariffs energy deliveries | GWh | 651 | 684.7 | 696 | 708.7 | 686.9 | 645.9 | 585.9 | 560.9
ED_OPD514_00003 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 1126 | 1157 | 1210 | 1173 | 1241 | 1286 | 1366 | 1371
ED_OPD514_00004 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 1216 | 1253 | 1276 | 1139 | 1126 | 1098 | 1058 | 1011
ED_OPD514_00005 | Other Customer Class Energy Deliveries | GWh | 81.78 | 59.45 | 54.29 | 54.74 | 54.8 | 56.07 | 55.61 | 53.81
Table 3.4.2 Customer numbers
Table 3.4.2.1 Distribution customer numbers by customer type or class
ED_OPD521_00001 | Residential customer numbers | number | 257926.5851 | 270636.6446 | 272464.2676 | 273636.668 | 275568.3378 | 275404.0744 | 280822.8402 | 287585.6145
ED_OPD521_00002 | Non-residential customers not on demand tariff customer numbers | number | 32791.6059 | 25529.5366 | 25981.2326 | 26290.705 | 26089.5645 | 25809.5006 | 25805.9167 | 25701.7023
ED_OPD521_00003 | Low voltage demand tariff customer numbers | number | 1074.6213 | 1265.9671 | 1336.2814 | 1445.7284 | 1523.0349 | 1656.9044 | 1870.8097 | 1951.6625
ED_OPD521_00004 | High voltage demand tariff customer numbers | number | 80.6877 | 81.3518 | 85.2184 | 82.8986 | 84.5628 | 85.5207 | 82.9334 | 82.5206
ED_OPD521_00005 | Unmetered Customer Numbers | number | 1302 | 1605 | 2760.5 | 3787 | 6332.5 | 4235 | 4256.5 | 4269.5
ED_OPD521_00006 | Other Customer Numbers | number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total customer numbers | number | 293175.5 | 299118.5 | 302627.5 | 305243 | 309598 | 307191 | 312839 | 319591
Table 3.4.2.2 Distribution customer numbers by location on the network
ED_OPD522_00001 | Customers on CBD network | number | 2011: 0; 2012: 0; 2013: 0
ED_OPD522_00002 | Customers on Urban network | number | 267419.5 | 273652.985 | 283788 | 286381 | 291220 | 288624.5 | 292897 | 306793.5
ED_OPD522_00003 | Customers on Short rural network | number | 25756 | 25465.515 | 18839.5 | 18862 | 18378 | 18566 | 19941.5 | 12797
ED_OPD522_00004 | Customers on Long rural network | number | 2011: 0; 2012: 0; 2013: 0
| Total customer numbers | number | 293175.5 | 299118.5 | 302627.5 | 305243 | 309598 | 307190.5 | 312838.5 | 319590.5
Table 3.4.2.3 Distribution customer numbers by Aurora Feeder categories
ED_OPD523_00001 | Critical Infrastructure | number
ED_OPD523_00002 | High Density Commercial | number
ED_OPD523_00003 | Urban | number
ED_OPD523_00004 | High Density Rural | number
ED_OPD523_00005 | Low Density Rural | number
| Total customer numbers | number
Table 3.4.2.4 Unmetered Supply
ED_OPD524_00001 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN | number
ED_OPD524_00002 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN | number
| Total unmetered connections | number
Table 3.4.3 System demand
Table 3.4.3.1 Annual system maximum demand characteristics at the zone substation level – MW measure
ED_OPD531_00001 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 806.9 | 858.0427 | 938.2341 | 1025.6659 | 989.1304 | 983.7337 | 902.3222 | 986.2971
ED_OPD531_00002 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW
ED_OPD531_00003 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW
ED_OPD531_00004 | Coincident Raw System Annual Maximum Demand | MW | 730.6 | 776.9 | 869.6404 | 944.7511 | 891.0805 | 911.3123 | 780.1215 | 883.0368
ED_OPD531_00005 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW
ED_OPD531_00006 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW
Table 3.4.3.2 Annual system maximum demand characteristics at the transmission connection point – MW measure
ED_OPD532_00001 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 836.985 | 901.7254 | 958.3443 | 1019.6651 | 993.456 | 1017.0411 | 892.4493 | 977
ED_OPD532_00002 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW
ED_OPD532_00003 | Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW
ED_OPD532_00004 | Coincident Raw System Annual Maximum Demand | MW | 815.131 | 867.3987 | 949.9875 | 1010.9354 | 957.8089 | 1008.1538 | 847.9391 | 959.3393
ED_OPD532_00005 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW
ED_OPD532_00006 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW
Table 3.4.3.3 Annual system maximum demand characteristics at the zone substation level – MVA measure
ED_OPD533_00001 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 841.135 | 897.2998 | 974.6339 | 1055.3781 | 1015.1905 | 1010.0242 | 919.863 | 1001.0965
ED_OPD533_00002 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA
ED_OPD533_00003 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA
ED_OPD533_00004 | Coincident Raw System Annual Maximum Demand | MVA | 761.6 | 812.4 | 900.2521 | 972.1426 | 906.7811 | 938.9848 | 796.3321 | 902.2811
ED_OPD533_00005 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA
ED_OPD533_00006 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA
Table 3.4.3.4 Annual system maximum demand characteristics at the transmission connection point – MVA measure
ED_OPD534_00001 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 922.2886 | 999.1081 | 1055.5187 | 1100.0091 | 1083.5127 | 1105.2753 | 968.1744 | 1047.8488
ED_OPD534_00002 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA
ED_OPD534_00003 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA
ED_OPD534_00004 | Coincident Raw System Annual Maximum Demand | MVA | 894.6398 | 959.8936 | 1040.3404 | 1091.9671 | 1029.8647 | 1084.2825 | 901.5722 | 1020.7016
ED_OPD534_00005 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA
ED_OPD534_00006 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA
Table 3.4.3.5 Power factor conversion between MVA and MW
ED_OPD535_00001 | Average overall network power factor conversion between MVA and MW | Factor | 0.9299 | 0.8448 | 0.9364 | 0.9455 | 0.9489 | 0.9509 | 0.9543 | 0.952
ED_OPD535_00002 | Average power factor conversion for low voltage distribution lines | Factor | 0.8828 | 0.8828 | 0.8828 | 0.8828 | 0.8828 | 0.8828 | 0.8828 | 0.8828
ED_OPD535_00003 | Average power factor conversion for 11 kV lines | Factor | 0.9038 | 0.9038 | 0.9038 | 0.8896 | 0.8985 | 0.9045 | 0.9052 | 0.9213
ED_OPD535_00004 | Average power factor conversion for SWER lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD535_00005 | Average power factor conversion for 22 kV lines | Factor | 0.9322 | 0.9322 | 0.9322 | 0.9213 | 0.9652 | 0.9175 | 0.924 | 0.933
ED_OPD535_00006 | Average power factor conversion for 33 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD535_00007 | Average power factor conversion for 66 kV lines | Factor | 0.9336 | 0.8438 | 0.9397 | 0.9487 | 0.9516 | 0.9533 | 0.9564 | 0.9546
ED_OPD535_00008 | Average power factor conversion for 132 kV lines | Factor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD535_00009 | Average power factor conversion for 110 kV lines | Factor
ED_OPD535_00010 | Average power factor conversion for 44 kV lines | Factor
ED_OPD535_00011 | Average power factor conversion for 7.6 kV lines | Factor
ED_OPD535_00012 | Average power factor conversion for 6.6 kV lines | Factor | 0.875 | 0.875 | 0.875 | 0.8595 | 0.8697 | 0.8783 | 0.8827 | 0.8847
ED_OPD535_00013 | Average power factor conversion for 3.3 kV lines | Factor
Table 3.4.3.6 Demand supplied (for customers charged on this basis) – MW measure
ED_OPD536_00001 | Summated Chargeable Contracted Maximum Demand | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_OPD536_00002 | Summated Chargeable Measured Maximum Demand | MW | 650.4 | 691.3 | 724.1 | 753.2 | 771.1 | 757.3 | 796.9 | 806.4
Table 3.4.3.7 Demand supplied (for customers charged on this basis) – MVA measure
ED_OPD537_00001 | Summated Chargeable Contracted Maximum Demand | MVA
ED_OPD537_00002 | Summated Chargeable Measured Maximum Demand | MVA

## 3.5 Physical Assets
3.5 Physical Assets worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 3.5.1 Network Capacities Variables
Circuit length
Table 3.5.1.1 Overhead network length of circuit at each voltage
ED_PHA611_00001 | Overhead low voltage distribution | km | 2420.1431 | 2426.0752 | 2439.547 | 2440.695 | 2441.299 | 2452 | 2445 | 2445
ED_PHA611_00002 | Overhead 11 kV | km | 196.857 | 196.8748 | 201.4304 | 202.0568 | 203.42 | 204.5468 | 220.5 | 219.333
ED_PHA611_00003 | Overhead SWER | km | 11.9752 | 12.848 | 12.8474 | 13.0319 | 13.0503 | 13.0214 | 12.848 | 0
ED_PHA611_00004 | Overhead 22 kV | km | 1385.8004 | 1393.4912 | 1409.9821 | 1407.9553 | 1422.6529 | 1431.9163 | 1410.0422 | 1403.889
ED_PHA611_00005 | Overhead 33 kV | km
ED_PHA611_00006 | Overhead 66 kV | km | 285.8919 | 284.2106 | 285.1351 | 298.8332 | 298.9006 | 296.0324 | 297.379 | 300.959
ED_PHA611_00007 | Overhead 132 kV | km
ED_PHA611_00008 | Overhead 6.6 kV | km | 117.1746 | 112.026 | 103.47 | 100.8918 | 84.49 | 78.4426 | 86.66 | 86.384
ED_PHA611_00009 | Overhead 110 kV | km
ED_PHA611_00010 | Overhead 220 kV | km
ED_PHA611_00011 | Overhead 7.6 kV | km
ED_PHA611_00012 | Overhead 2.2 kV | km
ED_PHA611_00013 | Overhead 44 kV | km
ED_PHA611_00014 | Other | km
| Total overhead circuit km | km | 4417.8422 | 4425.5258 | 4452.4119 | 4463.4639 | 4463.8128 | 4475.9595 | 4472.4291 | 4455.565
Table 3.5.1.2 Underground network circuit length at each voltage
ED_PHA612_00001 | Underground low voltage distribution | km | 803.657 | 837.5408 | 873.1024 | 901.2897 | 924.851 | 962 | 998 | 1026
ED_PHA612_00002 | Underground 11 kV | km | 43.3431 | 44.5643 | 47.1389 | 50.6512 | 54.84 | 57.3172 | 55.69 | 57.293
ED_PHA612_00003 | Underground 22 kV | km | 418.1275 | 431.4421 | 464.5819 | 480.3516 | 498.0648 | 517.3251 | 542.2214 | 562.3118
ED_PHA612_00004 | Underground 33 kV | km
ED_PHA612_00005 | Underground 66 kV | km | 14.3742 | 12.8698 | 12.8652 | 12.8652 | 12.8698 | 13.0987 | 13.905 | 13.865
ED_PHA612_00006 | Underground 132 kV | km
ED_PHA612_00007 | Underground 6.6 kV | km | 20.9151 | 17.4397 | 17.5144 | 17.6351 | 16.06 | 15.42 | 19.72 | 19.81
ED_PHA612_00008 | Underground SWER | km | 0.47357 | 0.47357 | 0.47357 | 0.47357 | 0.47357 | 0.47357 | 0.47357 | 0
ED_PHA612_00009 | Underground 7.6 kV | km
ED_PHA612_00010 | Underground 5 kV | km
ED_PHA612_00011 | Other | km
| Total underground circuit km | km | 1300.8904 | 1344.3303 | 1415.6763 | 1463.2662 | 1507.1592 | 1565.6345 | 1630.01 | 1679.2798
Circuit Capacity MVA
Table 3.5.1.3 Estimated overhead network weighted average MVA capacity by voltage class
ED_PHA613_00001 | Overhead low voltage distribution | MVA | 0.13626 | 0.13635 | 0.1365 | 0.13666 | 0.13681 | 0.13704 | 0.13727 | 0.13752
ED_PHA613_00002 | Overhead 11 kV | MVA | 5.258 | 5.268 | 5.27 | 5.288 | 5.301 | 5.307 | 5.307 | 5.309
ED_PHA613_00003 | Overhead SWER | MVA | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0
ED_PHA613_00004 | Overhead 22 kV | MVA | 9.127 | 9.143 | 9.167 | 9.161 | 9.079 | 8.913 | 8.83 | 8.802
ED_PHA613_00005 | Overhead 33 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA613_00006 | Overhead 66 kV | MVA | 94.81 | 95.89 | 95.89 | 95.88 | 97.29 | 97.3 | 97.38 | 97.38
ED_PHA613_00007 | Overhead 132 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA613_00008 | Overhead 6.6 kV | MVA | 3.552 | 3.552 | 3.552 | 3.554 | 3.554 | 3.555 | 3.556 | 3.575
ED_PHA613_00009 | Overhead 110 kV | MVA
ED_PHA613_00010 | Overhead 220 kV | MVA
ED_PHA613_00011 | Overhead 7.6 kV | MVA
ED_PHA613_00012 | Overhead 44 kV | MVA
ED_PHA613_00013 | Other | MVA
Table 3.5.1.4 Estimated underground network weighted average MVA capacity by voltage class
ED_PHA614_00001 | Underground low voltage distribution | MVA | 0.27182 | 0.27242 | 0.2729 | 0.27337 | 0.27399 | 0.27473 | 0.27523 | 0.27572
ED_PHA614_00002 | Underground 11 kV | MVA | 5.68 | 5.817 | 5.915 | 6.103 | 6.216 | 6.306 | 6.296 | 6.389
ED_PHA614_00003 | Underground 22 kV | MVA | 13.24 | 13.35 | 13.42 | 13.47 | 13.53 | 13.61 | 13.68 | 13.69
ED_PHA614_00004 | Underground 33 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA614_00005 | Underground 66 kV | MVA | 89.4565 | 99.6271 | 99.6271 | 99.6271 | 100.1081 | 100.1301 | 100.1375 | 100.1375
ED_PHA614_00006 | Underground 132 kV | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA614_00007 | Underground SWER | MVA | 1.842 | 1.842 | 1.842 | 1.842 | 1.842 | 1.842 | 1.842 | 0
ED_PHA614_00008 | Underground 6.6 kV | MVA | 3.701 | 3.873 | 3.926 | 3.938 | 3.938 | 3.972 | 4.048 | 4.059
ED_PHA614_00009 | Underground 12.7 kV (Assume SWER as per DPA0208) | MVA
ED_PHA614_00010 | Underground 7.6 kV | MVA
ED_PHA614_00011 | Underground 5 kV | MVA
ED_PHA614_00012 | Other | MVA
Table 3.5.2 Transformer Capacities Variables
Table 3.5.2.1 Distribution transformer total installed capacity
ED_PHA621_00001 | Distribution transformer capacity owned by utility | MVA | 1825.61 | 1864.4365 | 2007.263 | 2122.286 | 2084.423 | 2376.16 | 2384.186 | 2463.049
ED_PHA621_00002 | Distribution transformer capacity owned by High Voltage Customers | MVA | 172.1326 | 180.4042 | 211.4876 | 205.0815 | 203.8194 | 191.0129 | 196.6026 | 195.0523
ED_PHA621_00003 | Cold spare capacity included in DPA0501 | MVA | 13.61 | 15.4365 | 17.263 | 22.286 | 27.423 | 29.16 | 22.186 | 27.049
Table 3.5.2.2 Zone substation transformer capacity
ED_PHA622_00001 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA622_00002 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ED_PHA622_00003 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | MVA | 1474 | 1458 | 1524 | 1557 | 1563 | 1593.3 | 1633.3 | 1633.3
ED_PHA622_00004 | Total zone substation transformer capacity | MVA | 1474 | 1458 | 1524 | 1557 | 1563 | 1593.3 | 1633.3 | 1633.3
ED_PHA622_00005 | Cold spare capacity of zone substation transformers included in DPA0604 | MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3.5.2.3 Distribution - other transformer capacity
ED_PHA623_00001 | Distribution other - transformer capacity owned by utility | MVA
Table 3.5.3 Public lighting
ED_PHA630_00001 | Public lighting luminaires | Number | 64012 | 64403 | 64763 | 64875 | 67367 | 67508 | 68939 | 69058
ED_PHA630_00002 | Public lighting poles | Number | 16968 | 17834 | 18335 | 18821 | 19665 | 19849 | 21180 | 21849
ED_PHA630_00003 | Public lighting columns | Number

## 3.6 Quality of services
3.6 Quality of services worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 3.6.1 Reliability
Table 3.6.1.1 Inclusive of MEDs
ED_QOS711_00001 | Whole of network unplanned SAIDI | minutes/customer | 91.0926 | 111.2987 | 118.3114 | 130.6368 | 62.3468 | 64.5597 | 50.2419 | 66.6624
ED_QOS711_00002 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 91.0926 | 77.9937 | 118.0347 | 90.3112 | 62.3468 | 64.5597 | 50.2419 | 66.6624
ED_QOS711_00003 | Whole of network unplanned SAIFI | interruptions/customer | 1.3716 | 1.8147 | 1.3195 | 2.0238 | 0.93638 | 0.97046 | 0.92304 | 1.1759
ED_QOS711_00004 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.3716 | 1.4914 | 1.2734 | 1.2967 | 0.93638 | 0.97046 | 0.92304 | 1.1759
Table 3.6.1.2 Exclusive of MEDs
ED_QOS712_00001 | Whole of network unplanned SAIDI | minutes/customer | 69.0214 | 101.1161 | 63.155 | 111.6052 | 62.3468 | 55.2387 | 50.2419 | 59.7917
ED_QOS712_00002 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 69.0214 | 67.8112 | 62.8783 | 71.2796 | 62.3468 | 55.2387 | 50.2419 | 59.7917
ED_QOS712_00003 | Whole of network unplanned SAIFI | interruptions/customer | 1.1894 | 1.6419 | 1.05 | 1.8996 | 0.93638 | 0.90285 | 0.92304 | 1.1121
ED_QOS712_00004 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.1894 | 1.3186 | 1.0038 | 1.1724 | 0.93638 | 0.90285 | 0.92304 | 1.1121
Table 3.6.2 Energy not supplied
ED_QOS720_00001 | Energy Not Supplied (planned) | GWh | 0.018698 | 0.020022 | 0.028602 | 0.018982 | 0.032773 | 0.039731 | 0.046781 | 0.060041 |  | kj: amended as original file provided MWh not GWh
ED_QOS720_00002 | Energy Not Supplied (unplanned) | GWh | 0.65262 | 0.57923 | 0.88707 | 0.62036 | 0.47359 | 0.44761 | 0.35124 | 0.55256
| Energy Not Supplied - Total | GWh | 0.67132 | 0.59925 | 0.91567 | 0.63934 | 0.50636 | 0.48734 | 0.39802 | 0.6126
Table 3.6.3 System losses
ED_QOS730_00001 | System losses | % | 4.174% | 3.701% | 3.815% | 3.773% | 3.753% | 3.779% | 3.828% | 3.962%
Table 3.6.4 Capacity utilisation
ED_QOS740_00001 | Overall utilisation | % | 57.06% | 61.54% | 63.95% | 67.78% | 64.95% | 63.39% | 56.32% | 61.29%

## 3.7 Operating environment
3.7 Operating environment factors worksheet
| Regulatory year |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | [Insert subsequent regulatory years here]
Variable_Code | Variable | Unit
Table 3.7.1 Density factors
ED_OEF810_00001 | Customer density | Customer / km | 91.6724 | 93.3683 | 93.8932 | 94.4702 | 95.8106 | 96.7122 | 97.9277 | 98.8502
ED_OEF810_00002 | Energy density | MWh/customer | 14.5919 | 14.6397 | 14.8367 | 14.3361 | 14.3735 | 14.0891 | 13.7675 | 13.3425
ED_OEF810_00003 | Demand density | kVA / customer | 2.869 | 2.9998 | 3.2206 | 3.4575 | 3.2791 | 3.2232 | 2.9013 | 3.1399
Table 3.7.2 Terrain factors
ED_OEF820_00001 | Rural proportion | km | 0 | 0 | 0 | 26.7326 | 27.3164 | 27.4575 | 26.7791 | 23.9861
ED_OEF820_00002 | Urban and CBD vegetation maintenance spans | Number of spans | 0 | 0 | 0 | 38595 | 42463 | 61809 | 54287 | 64721
ED_OEF820_00003 | Rural vegetation maintenance spans | Number of spans | 0 | 0 | 0 | 4821 | 3746 | 3506 | 4834 | 4175
ED_OEF820_00004 | Total vegetation maintenance spans | Number of spans | 0 | 0 | 0 | 43416 | 46209 | 65315 | 59121 | 68896
ED_OEF820_00005 | Total number of spans | Number of spans | 0 | 0 | 0 | 91290 | 92144 | 99064 | 99893 | 101112
ED_OEF820_00006 | Average urban and CBD vegetation maintenance span cycle | Years | 0 | 0 | 0 | 3 | 3 | 2 | 2 | 2
ED_OEF820_00007 | Average rural vegetation maintenance span cycle | Years | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
ED_OEF820_00008 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 0 | 0 | 0 | 1.42 | 1.42 | 1.42 | 1.42 | 1.42
ED_OEF820_00009 | Average number of trees per rural vegetation maintenance span | Trees | 0 | 0 | 0 | 5.3 | 5.3 | 5.3 | 5.3 | 5.3
ED_OEF820_00010 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 0 | 0 | 0 | 0.089312 | 0.092763 | 0.096814 | 0.21237 | 0.090017
ED_OEF820_00011 | Average number of defects per rural vegetation maintenance span | Defects | 0 | 0 | 0 | 0.22091 | 0.19968 | 0.38562 | 0.35457 | 0.29749
ED_OEF820_00012 | Tropical proportion | Number of spans | 2006: 0; 2007: 0; 2008: 0; 2013: 0
ED_OEF820_00013 | Standard vehicle access | km | 0 | 0 | 0 | 3115.55 | 3114.78 | 3123.11 | 3121.99 | 3109.98
ED_OEF820_00014 | Bushfire risk | Number of spans | 0 | 0 | 0 | 2501 | 2183 | 2480 | 3960 | 3846
Table 3.7.3 Service area factors
ED_OEF830_00001 | Route Line length | km | 4061.8365 | 4096.2417 | 4163.0765 | 4202.6756 | 4232.072 | 4279.6911 | 4319.8792 | 4340.3852 |  | see d15/86984 - email dated 23/6/2014
| Table 3.7.4 Weather stations |  | 2006: Post code; 2007: Suburb; 2008: Materiality
| 86351 |  | 2006: 3083; 2007: Bundoora; 2008: Yes
| 86038 |  | 2006: 3041; 2007: Essendon Fields; 2008: Yes
| 86039 |  | 2006: 3031; 2007: Flemington; 2008: Yes
| 86282 |  | 2006: 3045; 2007: Melbourne Airport; 2008: Yes
| 87061 |  | 2006: 3429; 2007: Sunbury; 2008: Yes
| 86068 |  | 2006: 3084; 2007: Viewbank; 2008: Yes
| 86279 |  | 2006: 3078; 2007: Alphington; 2008: No
| 86286 |  | 2006: 3047; 2007: Broadmeadows; 2008: No
| 87072 |  | 2006: 3428; 2007: Bulla; 2008: No
| 86024 |  | 2006: 3058; 2007: Coburg; 2008: No
| 87136 |  | 2006: 3427; 2007: Diggers Rest; 2008: No
| 86037 |  | 2006: 3041; 2007: Essendon Fields; 2008: No
| 86178 |  | 2006: 3059; 2007: Greenvale; 2008: No
| 86108 |  | 2006: 3059; 2007: Greenvale; 2008: No
| 86305 |  | 2006: 3059; 2007: Greenvale; 2008: No
| 86330 |  | 2006: 3059; 2007: Greenvale; 2008: No
| 86260 |  | 2006: 3081; 2007: Heidelberg Heights; 2008: No
| 87027 |  | 2006: 3036; 2007: Keilor; 2008: No
| 87091 |  | 2006: 3038; 2007: Keilor Lodge; 2008: No
| 86384 |  | 2006: 3045; 2007: Melbourne Airport; 2008: No
| 86073 |  | 2006: 3064; 2007: Mickleham; 2008: No
| 87052 |  | 2006: 3063; 2007: Oaklands Junction; 2008: No
| 86046 |  | 2006: 3044; 2007: Pascoe Vale; 2008: No
| 86091 |  | 2006: 3044; 2007: Pascoe Vale; 2008: No
| 86053 |  | 2006: 3072; 2007: Preston; 2008: No
| 86333 |  | 2006: 3072; 2007: Preston; 2008: No
| 86332 |  | 2006: 3041; 2007: Strathmore; 2008: No
| 87062 |  | 2006: 3037; 2007: Sydenham; 2008: No
| 87099 |  | 2006: 3337; 2007: Toolern Vale; 2008: No
| 86162 |  | 2006: 3429; 2007: Wildwood; 2008: No
| 87145 |  | 2006: 3016; 2007: Williamstown; 2008: No
| 87022 |  | 2006: 3013; 2007: Yarraville; 2008: No