## BOP
2020 Powercor Economic Benchmarking RIN BOPs
BOP ID | Tab ID | Tab Name | Table and Rule Allocation | Estimated / Actual | Data Source | Why Estimated – Provide justification | Methodology | Assumptions | Additional Comments | Consistency Information
BMPAL3.1BOP1 | 3.1 | Revenue | TABLE 3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY Revenue from Fixed Customer Charges [Standard Control Services] Revenue from Energy Delivery charges where time of use is not a determinant [Standard Control Services] Revenue from On-Peak Energy Delivery charges [Standard Control Services] Revenue from Shoulder period Energy Delivery Charges [Standard Control Services] Revenue from Off-Peak Energy Delivery charges [Standard Control Services] Revenue from controlled load customer charges [Standard Control Services] Revenue from unmetered supplies [Standard Control Services] Revenue from Contracted Maximum Demand charges [Standard Control Services] Revenue from Measured Maximum Demand charges [Standard Control Services] Revenue from metering charges [Standard Control Services] Revenue from connection charges [Standard Control Services] Revenue from public lighting charges [Standard Control Services] Revenue from other Sources [Standard Control Services] Total revenue by chargeable quantity [Standard Control Services] TABLE 3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS Revenue from residential Customers [Standard Control Services] Revenue from Non residential customers not on demand tariffs [Standard Control Services] Revenue from Non-residential low voltage demand tariff customers [Standard Control Services] Revenue from Non-residential high voltage demand tariff customers [Standard Control Services] Revenue from unmetered supplies [Standard Control Services] Revenue from Other Customers [Standard Control Services] Total revenue by customer class [Standard Control Services] | Actual | Revenue data was sourced from the SAP HANA AHNP_O9500 billing table. | N/A | Billing data was obtained from the SAPHANA AHNP_O9500 billing table. As billing is based off actual NUOS the distribution revenue must then be recalculated using DUOS tariffs. Unmetered revenue is based on revenue collected for the network specific Unmetered tariff and the general purpose 'Unmetered' classification. Revenue from metering charges is specific to Prescribed Metering and not the meter-related ancillary services. All other ACS activities relevant to a meter are reported under 'revenue from other sources'. | N/A | N/A | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: The network must report revenues split in accordance with the categories in the Templates. The Templates require the network to report revenues by chargeable quantity (Table 3.1.1) and by customer class (Table 3.1.2). The total of revenues by chargeable quantity must equal the total of revenues by customer class because they are simply two different ways of disaggregating revenue information. The network must also separately provide revenues received or deducted as a result of incentive schemes (Table 3.1.3). The network must report revenues split in accordance with definitions of Standard Control Services and Alternative Control Services provided in chapter 9. These definitions specify the services to be reported against Standard Control Services and Alternative Control Services in periods where different service classifications applied. The network must enter '0' into cells that have no effect on the revenues of the network. For instance, if The network does not use a shoulder period for Energy Delivery charges then the amount of revenue reported for the variable would be '0'. Box 1 Revenue Financial Reporting Framework Revenues must be reported in accordance with the requirements of, and should reconcile to, the Direct Control Services revenues reported in the Regulatory Accounting Statements as per the Annual Reporting Requirements. For instance if revenues in the Regulatory Accounting Statements for Direct Control Services are inclusive of taxes or the penalties or rewards of incentive schemes then revenues must be reported inclusive of these amounts. As a consequence, total revenues for Direct Control Services will equal those reported in the Regulatory Accounting Statements (with the exception of total revenue in Table 3.1.3). Table 3.1.1 Revenue grouping by chargeable quantity Revenues reported must be allocated to the chargeable quantity that most closely reflects the basis upon which the revenue was charged by the network to customers (the chargeable quantities are the Variables DREV0101- DREV0112). Revenues that cannot be allocated to the specific chargeable quantities in variables DREV0101 to DREV0112 must be reported against 'Revenue from other Sources' (DREV0113). 'Revenue From Unmetered Supplies' is the same for table 3.1.1 as for table 3.1.2, so they must be equal. Table 3.1.2 Revenue grouping by customer type or class The network must allocate revenues to the customer type that most closely reflects the customers from which the network received its revenue. Revenues that the network cannot allocate to the customer types DREV0201"DREV0205 must be reported against 'Revenue from other Customers (DREV0206).
BMPAL3.1BOP2 | 3.1 | Revenue | TABLE 3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY Revenue from Fixed Customer Charges [Alternative Control Services] Revenue from Energy Delivery charges where time of use is not a determinant [Alternative Control Services] Revenue from On-Peak Energy Delivery charges [Alternative Control Services] Revenue from Shoulder period Energy Delivery Charges [Alternative Control Services] Revenue from Off-Peak Energy Delivery charges [Alternative Control Services] Revenue from controlled load customer charges [Alternative Control Services] Revenue from unmetered supplies [Alternative Control Services] Revenue from Contracted Maximum Demand charges [Alternative Control Services] Revenue from Measured Maximum Demand charges [Alternative Control Services] Revenue from metering charges [Alternative Control Services] Revenue from connection charges [Alternative Control Services] Revenue from public lighting charges [Alternative Control Services] Revenue from other Sources [Alternative Control Services] Total revenue by chargeable quantity [Alternative Control Services] | Actual | Alternative Control Services revenue is derived from the annual regulatory reports which are originally sourced from SAP. | N/A | When retailers/customers request work to be done for Alternative Control Services activities a charge is created in either CIS-OV or SAP. These charges are then allocated to a range of specific general ledger accounts dedicated to collecting Alternative Control Services revenue to facilitate reporting in the Statutory Accounts and Regulatory Accounts/Regulatory Information Notice. | Totals for ACS | N/A | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: The network must report revenues split in accordance with the categories in the Templates. The Templates require The network to report revenues by chargeable quantity (Table 3.1.1) and by customer class (Table 3.1.2). The total of revenues by chargeable quantity must equal the total of revenues by customer class because they are simply two different ways of disaggregating revenue information. The network must also separately provide revenues received or deducted as a result of incentive schemes (Table 3.1.3). The network must report revenues split in accordance with definitions of Standard Control Services and Alternative Control Services provided in chapter 9. These definitions specify the services to be reported against Standard Control Services and Alternative Control Services in periods where different service classifications applied. The network must enter '0' into cells that have no effect on the revenues of The network. For instance, if The network does not use a shoulder period for Energy Delivery charges then the amount of revenue reported for the variable would be '0'. Box 1 Revenue Financial Reporting Framework Revenues must be reported in accordance with the requirements of, and should reconcile to, the Direct Control Services revenues reported in the Regulatory Accounting Statements as per the Annual Reporting Requirements. For instance if revenues in the Regulatory Accounting Statements for Direct Control Services are inclusive of taxes or the penalties or rewards of incentive schemes then revenues must be reported inclusive of these amounts. As a consequence, total revenues for Direct Control Services will equal those reported in the Regulatory Accounting Statements (with the exception of total revenue in Table 3.1.3). Table 3.1.1 Revenue grouping by chargeable quantity Revenues reported must be allocated to the chargeable quantity that most closely reflects the basis upon which the revenue was charged by The network to customers (the chargeable quantities are the Variables DREV0101- DREV0112). Revenues that cannot be allocated to the specific chargeable quantities in variables DREV0101 to DREV0112 must be reported against 'Revenue from other Sources' (DREV0113). 'Revenue From Unmetered Supplies' is the same for table 3.1.1 as for table 3.1.2, so they must be equal.
BMPAL3.1BOP3 | 3.1 | Revenue | TABLE 3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS Revenue from residential Customers [Alternative Control Services] Revenue from Non residential customers not on demand tariffs [Alternative Control Services] Revenue from Non-residential low voltage demand tariff customers [Alternative Control Services] Revenue from Non-residential high voltage demand tariff customers [Alternative Control Services] Revenue from unmetered supplies [Alternative Control Services] Revenue from Other Customers [Alternative Control Services] Total revenue by customer class [Alternative Control Services] | Actual | Alternative Control Services revenue is derived from the annual regulatory reports which are originally sourced from SAP. | N/A | When retailers/customers request work to be done for Alternative Control Services activities a charge is created in either CIS-OV or SAP. These charges are then allocated to a range of specific general ledger accounts dedicated to collecting Alternative Control Services revenue to facilitate reporting in the Statutory Accounts and Regulatory Accounts/Regulatory Information Notice. | N/A | N/A | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: The network must report revenues split in accordance with the categories in the Templates. The Templates require The network to report revenues by chargeable quantity (Table 3.1.1) and by customer class (Table 3.1.2). The total of revenues by chargeable quantity must equal the total of revenues by customer class because they are simply two different ways of disaggregating revenue information. The network must also separately provide revenues received or deducted as a result of incentive schemes (Table 3.1.3). The network must report revenues split in accordance with definitions of Standard Control Services and Alternative Control Services provided in chapter 9. These definitions specify the services to be reported against Standard Control Services and Alternative Control Services in periods where different service classifications applied. The network must enter '0' into cells that have no effect on the revenues of The network. For instance, if The network does not use a shoulder period for Energy Delivery charges then the amount of revenue reported for the variable would be '0'. Box 1 Revenue Financial Reporting Framework Revenues must be reported in accordance with the requirements of, and should reconcile to, the Direct Control Services revenues reported in the Regulatory Accounting Statements as per the Annual Reporting Requirements. For instance if revenues in the Regulatory Accounting Statements for Direct Control Services are inclusive of taxes or the penalties or rewards of incentive schemes then revenues must be reported inclusive of these amounts. As a consequence, total revenues for Direct Control Services will equal those reported in the Regulatory Accounting Statements (with the exception of total revenue in Table 3.1.3). Table 3.1.2 Revenue grouping by customer type or class The network must allocate revenues to the customer type that most closely reflects the customers from which The network received its revenue. Revenues that The network cannot allocate to the customer types DREV0201"DREV0205 must be reported against 'Revenue from other Customers' (DREV0206).
BMPAL3.1BOP4 | 3.1 | Revenue | TABLE 3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES EBSS [Standard Control Services] EBSS [Alternative Control Services] | Actual | WACC for 2016-20 sourced from AER 2016-20 determination PTRM published on the AER website. Inflation sourced from the Australian Bureau of Statistics index 6401.0 Tables 1 and 2 All Groups CPI, Australia. EBSS data sourced from AER 2016-20 determination PTRM published on the AER website; Total 2016-20 S-factor close out revenue sourced from the 2016-20 AER 2016-20 determination PTRM published on the AER website. | N/A | These are set out in final determination for 2016-20 as inputs to the revenue requirement. The annual revenue requirement in the PTRM is smoothed, effectively smoothing the component building blocks. These are component building blocks, so have smoothed over the regulatory period. | N/A | N/A | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Powercor must report the penalties or rewards of incentive schemes in this table. The penalties or rewards from the schemes applied by previous jurisdictional regulators that are equivalent to the service target performance incentive scheme (STPIS) or efficiency benefit sharing scheme (EBSS) must be reported against the line items for those schemes. Revenues reported in table 3.1.3 must reflect the effect on revenues of incentive schemes in the year that the penalty or reward is applied (as opposed to when it was earned which depending on the scheme may be in earlier years). For instance, if Powercor is rewarded extra revenues for performance under the STPIS in 2009 and gains these revenues in 2011 these revenues must be reported in the 2011 year only.
BMPAL3.1BOP5 | 3.1 | Revenue | TABLE 3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES STPIS [Standard Control Services] STPIS [Alternative Control Services] | Actual | Based on annual revenue from pricing proposal and S Factor performance from AER STPIS model | N/A | Multiply the annual revenue by the applicable S-factor for the year. | N/A | N/A | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Powercor must report the penalties or rewards of incentive schemes in this table. The penalties or rewards from the schemes applied by previous jurisdictional regulators that are equivalent to the service target performance incentive scheme (STPIS) or efficiency benefit sharing scheme (EBSS) must be reported against the line items for those schemes. Revenues reported in table 3.1.3 must reflect the effect on revenues of incentive schemes in the year that the penalty or reward is applied (as opposed to when it was earned which depending on the scheme may be in earlier years). For instance, if Powercor is rewarded extra revenues for performance under the STPIS in 2009 and gains these revenues in 2011 these revenues must be reported in the 2011 year only.
BMPAL3.1BOP6 | 3.1 | Revenue | TABLE 3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES F-Factor [Standard Control Services] F-Factor [Alternative Control Services] | Actual | Annual pricing proposal approved by AER | N/A | F-factor revenue is stated in the AER approved annual pricing proposal models. The business is either rewarded or penalised for performing better or worse than their respective fire start targets. | N/A | N/A | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Powercor must report the penalties or rewards of incentive schemes in this table. The penalties or rewards from the schemes applied by previous jurisdictional regulators that are equivalent to the service target performance incentive scheme (STPIS) or efficiency benefit sharing scheme (EBSS) must be reported against the line items for those schemes. Revenues reported in table 3.1.3 must reflect the effect on revenues of incentive schemes in the year that the penalty or reward is applied (as opposed to when it was earned which depending on the scheme may be in earlier years). For instance, if Powercor is rewarded extra revenues for performance under the STPIS in 2009 and gains these revenues in 2011 these revenues must be reported in the 2011 year only.
BMPAL3.1BOP7 | 3.1 | Revenue | TABLE 3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES S-Factor True up [Standard Control Services] S-Factor True up [Alternative Control Services] | Actual | WACC for 2016-20 sourced from AER 2016-20 determination PTRM published on the AER website. Inflation sourced from the Australian Bureau of Statistics index 6401.0 Tables 1 and 2 All Groups CPI, Australia. Total 2016-20 S-factor close out revenue sourced from the 2016-20 AER 2016-20 determination PTRM published on the AER website. DMIA sourced from the 2016-20 AER 2016-20 determination PTRM published on the AER website. | N/A | These are set out in final determination for 2016-20 as inputs to the revenue requirement. The annual revenue requirement in the PTRM is smoothed, effectively smoothing the component building blocks. These are component building blocks, so have smoothed over the regulatory period. | N/A | N/A | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Powercor must report the penalties or rewards of incentive schemes in this table. The penalties or rewards from the schemes applied by previous jurisdictional regulators that are equivalent to the service target performance incentive scheme (STPIS) or efficiency benefit sharing scheme (EBSS) must be reported against the line items for those schemes. Revenues reported in table 3.1.3 must reflect the effect on revenues of incentive schemes in the year that the penalty or reward is applied (as opposed to when it was earned which depending on the scheme may be in earlier years). For instance, if Powercor is rewarded extra revenues for performance under the STPIS in 2009 and gains these revenues in 2011 these revenues must be reported in the 2011 year only.
BMPAL3.1BOP8 | 3.1 | Revenue | TABLE 3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES Other [Standard Control Services] Other [Alternative Control Services] | Actual | WACC for 2016-20 sourced from AER 2016-20 determination PTRM published on the AER website. Inflation sourced from the Australian Bureau of Statistics index 6401.0 Tables 1 and 2 All Groups CPI, Australia. Total Shared asset adjustment sourced from the 2016-20 AER 2016-20 determination PTRM published on the AER website. DMIA sourced from the 2016-20 AER 2016-20 determination PTRM published on the AER website. | N/A | These are set out in final determination for 2016-20 as inputs to the revenue requirement. The annual revenue requirement in the PTRM is smoothed, effectively smoothing the component building blocks. These are component building blocks, so have smoothed over the regulatory period. | N/A | N/A | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Powercor must report the penalties or rewards of incentive schemes in this table. The penalties or rewards from the schemes applied by previous jurisdictional regulators that are equivalent to the service target performance incentive scheme (STPIS) or efficiency benefit sharing scheme (EBSS) must be reported against the line items for those schemes. Revenues reported in table 3.1.3 must reflect the effect on revenues of incentive schemes in the year that the penalty or reward is applied (as opposed to when it was earned which depending on the scheme may be in earlier years). For instance, if CitiPower is rewarded extra revenues for performance under the STPIS in 2009 and gains these revenues in 2011 these revenues must be reported in the 2011 year only.
BMPAL3.2BOP1 | 3.2 | Operating Expenditure | TABLE 3.2.1 - CURRENT OPEX CATEGORIES AND COST ALLOCATIONS | Actual | The data for the current opex categories and cost allocations has been sourced from the SAP accounting system. SAP is the primary financial reporting system and is the source of providing the audited statutory accounts for Powercor. | N/A | The SAP financial system is used to extract the information required to state the DNSP opex information by category and regulatory segment. Using the audited statutory accounts for Powercor, the business uses cost elements within SAP in order to disaggregate the data for the purposes of apportioning opex costs between opex categories and regulatory segments in accordance with the cost allocation methodology. Information presented in this table utilises the cost allocation methodology applicable for the most recent, year and presents the data in alignment with the current opex categories. | N/A | Opex has been reported consistent with the cost allocation methodology, Regulatory Financial Statements and current opex categories for the most recent year. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Powercor must report Opex in accordance with the categories that they reported in in response to their Annual Reporting Requirements. Table 3.2.1 Opex categories and cost allocations Powercor is only required to complete this table if there has been a Material change (over the course of the back cast time series) in Powercor's: - Cost Allocation Approach, or - basis of preparation for its Regulatory Accounting Statements, or - Annual Reporting Requirements. Table 3.2.1 requires Powercor to report Opex categories in accordance with their most recent annual reporting RIN activities (e.g. vegetation management, emergency response, network planning and development, etc.). Powercor must add additional rows where necessary to report Opex activities. Box 2 Reporting framework - Table 3.2.1 Opex categories and allocations Opex must be prepared for all Regulatory Years in accordance with Powercor's Cost Allocation Approach and directions within the Annual Reporting Requirements for the most recent completed Regulatory Year. For the avoidance of doubt: - The accounting principles and policies specified in the Annual Reporting Requirements applying to the Regulatory Financial Statements for the most recent completed Regulatory Year must be applied for all Regulatory Years. - Powercor must report Opex line items in a manner that is consistent with the Regulatory Financial Statements. As a consequence, for years where the Cost Allocation Approach and Regulatory Accounting Statements are consistent with those that applied in the most recent completed Regulatory Year, total Opex should equal that reported in the Regulatory Accounting Statements.
BMPAL3.2BOP2 | 3.2 | Operating Expenditure | TABLE 3.2.2 - OPEX CONSISTENCY - CURRENT COST ALLOCATION APPROACH Opex for network services [Standard Control Services] Opex for network services [Alternative Control Services] | Estimated | The data for the current opex categories and cost allocations has been sourced from the SAP accounting system. SAP is the primary financial reporting system and is the source of providing the audited statutory accounts for Powercor. The data has been allocated between categories of distribution service in accordance with the cost allocation methodology that applied in the relevant regulatory year. | An estimate is required for opex for network services as this is a product of standard control total opex less the estimated amount calculated as opex for transmission connection point planning. As this estimated amount is deducted from the actual standard control opex, this therefore makes opex for network services an estimate. For the reasons why an estimate was required, relating to transmission connection point planning, please refer to: DOPEX0206A - Opex for transmission connection point planning | The SAP financial system is used to extract the information required to state the DNSP opex information by category and regulatory segment. Using the audited statutory accounts for Powercor, the business uses cost elements within SAP in order to disaggregate the data for the purposes of apportioning opex costs between opex categories and regulatory segments in accordance with the cost allocation methodology. Information presented in this table utilises the cost allocation methodology that applied in the relevant regulatory year. Opex for network services is the total of standard control total opex less the amount reported as opex for transmission connection point planning. The amount deducted for transmission connection point planning is an estimation. For the methodology and assumptions relating to transmission connection point planning please refer to: DOPEX0206 - Opex for transmission connection point planning. | N/A | Opex has been reported consistent with the cost allocation methodology, Regulatory Financial Statements and opex categories in place at the time for those regulatory years, with the exception of the 2011 and 2012 years. Powercor's approved CAM for 2011 and 2012 was inconsistent with the AER's final distribution determination 2011- 15 service classification. In December 2013 the AER approved an amended CAM which is consistent with the AER's final distribution determination 2011-15 service classification. For the purposes of this RIN, Powercor has deemed that the 2011 and 2012 Regulatory Accounting Statements restated to be consistent with the approved amended CAM are the relevant Regulatory Accounting Statements. On this basis, opex has been reported consistent with the cost allocation methodologies, Regulatory Financial Statements and opex categories that applied in the relevant year. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Powercor must report Opex in accordance with the categories that they reported in in response to their Annual Reporting Requirements. Table 3.2.2 Opex consistency - Cost Allocation Approaches Powercor must report Opex in accordance with our Variables and the Cost Allocation Approaches and reporting framework applied in the relevant Regulatory Years. Our Opex Variables are defined in chapter 9. Box 5 Reporting framework - Table 3.2.2 Opex consistency "Cost Allocation Approaches Powercor is required to report, for all Regulatory Years, Opex in accordance with the requirements of the Cost Allocation Approach and the Regulatory Accounting Statements that were in effect for the relevant Regulatory Year. For the avoidance of doubt this means that: - The accounting principles applied by the NSP in completing its Regulatory Financial Statements for each individual Regulatory Year must be applied when reporting Opex for that Regulatory Year. - Opex reported must be prepared in a consistent manner to that of Opex reported in the Annual Reporting Requirements.
BMPAL3.2BOP3 | 3.2 | Operating Expenditure | TABLE 3.2.2 - OPEX CONSISTENCY - CURRENT COST ALLOCATION APPROACH Opex for metering [Standard Control Services] Opex for metering [Alternative Control Services] Opex for connection services [Standard Control Services] Opex for connection services [Alternative Control Services] Opex for public lighting [Standard Control Services] Opex for public lighting [Alternative Control Services] Opex for amounts payable for easement levy or similar direct charges on DNSP [Standard Control Services] Opex for amounts payable for easement levy or similar direct charges on DNSP [Alternative Control Services] | Actual | The data for the current opex categories and cost allocations has been sourced from the SAP accounting system. SAP is the primary financial reporting system and is the source of providing the audited statutory accounts for Powercor. The data has been allocated between categories of distribution service in accordance with the cost allocation methodology that applied in the relevant regulatory year. | N/A | The SAP financial system is used to extract the information required to state the DNSP opex information by category and regulatory segment. Using the audited statutory accounts for Powercor, the business uses cost elements within SAP in order to disaggregate the data for the purposes of apportioning opex costs between opex categories and regulatory segments in accordance with the cost allocation methodology. Information presented in this table utilises the cost allocation methodology that applied in the relevant regulatory year. Information has been reported as applicable to the categories listed and is a subset of total opex. Opex for connection services has been derived by applying connections RAB as a percentage of total SCS RAB as per Table 3.3 over the current year's maintenance expenditure. | N/A | Powercor's approved CAM for 2011 and 2012 was inconsistent with the AER's final distribution determination 2011-15 service classification. In December 2013 the AER approved an amended CAM which is consistent with the AER's final distribution determination 2011-15 service classification. For the purposes of this RIN, Powercor has deemed that the 2011 and 2012 Regulatory Accounting Statements restated to be consistent with the approved amended CAM are the relevant Regulatory Accounting Statements. On this basis, opex has been reported consistent with the cost allocation methodology and Regulatory Financial Statements that applied in the relevant regulatory year. Information has been reported as applicable to the categories listed and is a subset of total opex. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Requirements of the notice: Powercor must report Opex in accordance with the categories that they reported in in response to their Annual Reporting Requirements. Table 3.2.2 Opex consistency - Cost Allocation Approaches Powercor must report Opex for the Opex variables in accordance with its current reporting arrangements (such as its Cost Allocation Approach). Our Opex Variables are defined in chapter 9. Powercor is required to complete this table only if there has been a Material change (over the course of the back cast time series) in Powercor's: - Cost Allocation Approach, or - Basis of preparation for its regulatory accounting statements, or - Annual Reporting Requirements. If any of the above has Materially changed, the blue cells become compulsory input cells. A Material change, in this context, is a change in Opex of greater than half a per cent of total Standard Control Services in the year that the change occurred. When completing templates for Regulatory Years subsequent to the 2013 Regulatory Year, if Powercor can provide Actual Information in Table 3.2.2 it must do so; otherwise Powercor must provide Estimated Information. Box 4 Reporting framework - Table 3.2.2 Opex consistency -Cost Allocation Approaches Opex must be prepared in accordance with Powercor's Cost Allocation Approach and directions within the Annual Reporting Requirements for the most recent completed Regulatory Year for all Regulatory Years. For the avoidance of doubt: - The accounting principles and policies specified in the Annual Reporting Requirements applying to the Regulatory Financial Statements for the most recent completed Regulatory Year must be applied for all Regulatory Years. - Powercor must prepare the Opex line items in a consistent manner to that of Opex reported in response to its most recent Annual Reporting Requirements.
BMPAL3.2BOP4 | 3.2 | Operating Expenditure | TABLE 3.2.2 - OPEX CONSISTENCY - CURRENT COST ALLOCATION APPROACH Opex for transmission connection point planning [Standard Control Services] Opex for transmission connection point planning [Alternative Control Services] | Estimated | DOPEX0206A - Opex for transmission connection point planning The costs are prepared in an internal spreadsheet which is a summation of the following categories: - The number of Terminal Stations, sourced from the annual Transmission Connection Planning Report (TCPR) - percentage of average FTE's time spent per Connection Point on demand forecasting and directing augmentations, sourced from management judgement - Regulatory Test Report Legal Costs sourced from the SAP system - External consultant costs for the TCPR (Transmission Connection Planning Report) development were sourced from a combination of SAP and using management judgement - Regulatory Test Report related work was sourced from a combination of SAP and management judgment. - Planning Permit, Tender documents, Use of System Agreement, Exit Services Agreement costs and share of funding from AEMO for Deer Park terminal station were sourced from actual invoices and the SAP system. | A. Internal FTE costs for forecasting and directing augmentations: Basis used was management judgment to determine that each terminal station required 15% of the annual time of one engineering FTE, and each engineering FTE was estimated to be on a salary of $127.3k per year. B. The annual Consultant fee is an estimate based on management judgment of an approximate hourly rate charged by external consultants by the number of hours to complete the required reports. C. Internal FTE costs for preparing internal reports. | The methodology used employed as much actual information as possible, and estimations where actual information was not available. 2017 is a summation of the categories listed in section C, and the methodology consists of - The total internal FTE costs were based on the proportion of an FTE spent on each terminal station per year. The number of terminal station connections was an actual figure. - Legal costs for general Use of System Agreement (UoSA) negotiations were actual costs from invoices from external legal providers - Consultant fees for, Transmission Connection Planning Report (TCPR) Development were sourced from actual cost invoices. - The total internal FTE costs for preparing internal regulatory test reports and attending joint planning sessions with other distribution businesses were based on the proportion of time spent on these activities. - External consultants costs for published Regulatory Test Reports were actual costs from invoices. |  | In relation to the opex related to transmission connection planning, there has been no material change in the current opex cost allocation process. | Powercor's approved CAM for 2011 and 2012 was inconsistent with the AER's final distribution determination 2011-15 service classification. In December 2013 the AER approved an amended CAM which is consistent with the AER's final distribution determination 2011-15 service classification. For the purposes of this RIN, Powercor has deemed that the 2011 and 2012 Regulatory Accounting Statements restated to be consistent with the approved amended CAM are the relevant Regulatory Accounting Statements. On this basis, opex has been reported consistent with the cost allocation methodology and Regulatory Financial Statements that applied in the relevant regulatory year. Information has been reported as applicable to the categories listed and is a subset of total opex.
BMPAL3.2BOP5 | 3.2 | Operating Expenditure | TABLE 3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS | Estimated | PAL must report the amount of Opex that it would have incurred had it been responsible for operating and maintaining the electricity distribution transformers that are owned by its high voltage customers. - CPI data - sourced from finance group. - Maintenance costs - sourced from Function Code 350 and Function Code 318 expenditure as reported from BI. Definition of function codes as per Function Code Definitions Manual Document No 10-40-M0001. - Distribution transformer capacity owned by utility - sourced from Network Planning - also reported as DPA0501. - Distribution transformer capacity owned by High Voltage Customers - sourced from Network Planning - also reported as DPA0502. | Where complete data could not be retrieved using the (Load Profile Report Launcher) as above, retrieval of data using SAP Hana was attempted. Where data was missing from a year which could not be retrieved by SAP Hana (a database query tool), an estimate has been provided. This data is estimated as: - HV customer capacity is not controlled by Powercor and inherently is estimated by applying the average % of total network MD using those years for which complete data is available. | (i) Establish distribution transformer capacity owned by utility sourced from Network Planning (DPA0501) annual planning reports. (MVA) (ii) Establish total Distribution Substation Maintenance Opex from expenditure reports for Function Codes 350 and 318. (EN Distribution substation maintenance) ($k). Cost reports reviewed and costs not applicable to distribution substation maintenance removed. (iii) Calculate a nominal unit rate for Network Distribution Substation maintenance by dividing total MVA by total Opex to arrive at ($/MVA) (iv) Calculate a real unit rate by applying CPI to the rate calculate previously for years prior (v) Average the real unit rates and set current year as the average, ($/MVA) (vi) Apply CPI to the average unit rate for years prior, ($/MVA) (vii) Establish Distribution transformer capacity owned by High Voltage Customers sourced from Network Planning (DPA0502) annual planning reports. (MVA) Calculate HV Customer Opex for each year by multiplying Average unit rate by the Sum of the HV Customer Capacity, ($/MVA). | N/A | The response to the requirement DOPEX0401 is shown as estimated as Powercor, by definition, cannot have actual data for costs it would have incurred if it had operating and maintenance responsibility for distribution transformers owned by HV customers. The estimation of DOPEX0401 has been carried out in accordance with the Requirements of the Notice instructions as above. 'PAL must report the amount of Opex that it would have incurred had it been responsible for operating and maintaining the electricity distribution transformers that are owned by its high voltage customers' As such for reporting purposes, CP/PAL has estimated the opex which would otherwise have been expensed, had the company been responsible for their maintenance. Change in trend due to the HVC Capacity (MVA)- DPA0502 data provided by the planning group was incorrect over past years the years. So that is the reason there is a change in trend. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Requirements of the notice: Powercor must report the amount of Opex that it would have incurred had it been responsible for operating and maintaining the electricity Distribution Transformers that are owned by its high voltage customers. Where Actual Information is unavailable, this must be estimated based on the Opex Powercor incurs for operating similar MVA capacity Distribution Transformers within its own network. Where the MVA capacity of high voltage customer-owned Distribution Transformers is not known, it must be approximated by the observed Maximum Demand for that customer. The data in this table will not reconcile to amounts reported in the Regulatory Accounting Statements as it does not relate to services provided by Powercor. When completing the templates for Regulatory Years subsequent to the 2013 Regulatory Year, if Powercor can provide Actual Information for the Variables in Table 3.2.4 it must do so; otherwise Powercor must provide Estimated Information.
BMPAL3.2.3BOP1 | 3.2.3 | Provisions | TABLE 3.2.3 - PROVISIONS | Actual | The data for provisions has been sourced from the SAP accounting system. SAP is the primary financial reporting system and is the source of providing the audited statutory accounts for Powercor. | N/A | The SAP financial system is used to extract the information required to state the DNSP provision information. Using the audited statutory accounts for Powercor, the business uses cost elements within SAP in order to disaggregate the data for the purposes of apportioning provisions to the applicable capex and opex regulatory segments. Data contained in these tables is consistent with the data reported within the Historical Annual RINs. As the provisions are attached to employees and not to capital and operating activities, employee entitlement provisions are allocated between capital and operating costs using labour reported in the annual Regulatory Accounting Statements (Labour Cost Matrix template) as the allocator. | N/A | Provisions have been reported consistent with that of the Regulatory Financial Statements for each regulatory year. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Requirements of the notice: Powercor must report, for all Regulatory Years, financial information on provisions for Standard Control Services in accordance with the requirements of the Cost Allocation Approach and the Regulatory Accounting Statements that were in effect for the relevant Regulatory Year. Powercor must report financial information for each of its individual provisions. A provision is an account which records a specific present liability of an entity to another entity. Examples of provision accounts include employee entitlements, doubtful debts and uninsured losses. Powercor must complete the table for each individual provision and must add rows as necessary to the template for this purpose. For each additional provision specify the name of the provision and add Variable codes for line items. A letter or letters must be added to the end of each Variable code link it to the provision. For example, the Variable codes for the first additional provision would be DOPEX0301A to DOPEX0312A, Variable codes for the second would be DOPEX0301B to DOPEX0312B and the Variable codes for the 28th provision would be DOPEX0301AA to DOPEX0312AA. Box 6 Reporting framework for provisions Provisions must be reported in accordance with the principles and policies within the Annual Reporting Requirements for each Regulatory Year. Financial information on provisions should reconcile to the reported amounts for provisions the Regulatory Accounting Statements for each Regulatory Year.
BMPAL3.3BOP1 | 3.3 | Assets (RAB) | TABLE 3.3.1 - REGULATORY ASSET BASE VALUES | Estimated | RIN data within tab | Source data is estimated | The data in this table is the sum of the RAB variables in Table 3.3.2. | N/A | N/A | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Requirements of the notice: 'Economic Benchmarking RIN for distribution network service providers - Instructions and Definitions' provides extensive information on how the RAB data should be populated. Response: According to AER's instructions on RAB Financial Reporting Framework the following instructions have been met.
BMPAL3.3BOP2 | 3.3 | Assets (RAB) | TABLE 3.3.2 - ASSET VALUE ROLL FORWARD [Standard Control Services] | Estimated | - Data in this sheet - CPI from ABS table 6401.0 - Forecast depreciation from 2016-21 RFM - Capex values from 2016-21 RFM - Allocation percentages to EB RIN categories as per prior year | The benchmarking RIN requires allocation into specific asset categories using specific AER methodology. This information is not available from existing business systems and data. | The RAB for Standard Control Services has been rolled forward using the AER roll forward model template and data from the sources listed. The allocation of regulatory asset categories to the required AER asset categories is based on the replacement cost methodology used in the prior year . This applies to the following regulatory asset categories: subtransmission, distribution system assets, VBRC, supervisory cables and old SWER ACRs. Other regulatory asset categories are allocated to the required AER asset categories either directly (eg. metering) or based on asset life. Disposals are taken as the cash proceeds from sale of assets as reported in the cash flow section of annual RIN. | N/A | This BOP covers data in the 'Standard Control Services' column. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Requirements of the notice: 'Economic Benchmarking RIN for distribution network service providers - Instructions and Definitions' provides extensive information on how the RAB data should be populated. Response: According to AER's instructions on RAB Financial Reporting Framework the following instructions have been met.
BMPAL3.3BOP3 | 3.3 | Assets (RAB) | TABLE 3.3.2 - ASSET VALUE ROLL FORWARD [Network Services] | Estimated | - RIN data within tab - Estimated gross Dedicated Assets/Gross Connection capex ratio | As per AER requirements | The Network Services RAB is equal to the Standard Control Service RAB for the following two categories (1) "other" asset items with long lives and (2) "other" asset items with short lives For all other categories the Network Services RAB has been estimated. An estimate of gross dedicated capex to gross new customer connection capex is used to estimate the proportion of net dedicated assets capex to net network capex. This ratio (averaged over the prior regulatory period) is used to estimate the connection services portion of the RAB which is deducted from SCS network RAB to derive the estimated Network Services RAB. | N/A | This BOP covers data in the 'Network Services' column. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Requirements of the notice: 'Economic Benchmarking RIN for distribution network service providers - Instructions and Definitions' provides extensive information on how the RAB data should be populated. Response: According to AER's instructions on RAB Financial Reporting Framework the following instructions have been met.
BMPAL3.3BOP4 | 3.3 | Assets (RAB) | TABLE 3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES | Estimated | N/A | N/A | Total disaggregated RAB asset values have been calculated as the average of the opening and closing RAB values for each category, consistent with the AER's standard approach, detailed in 'Economic benchmarking RIN for distribution network service providers - Instructions and Definitions'. According to 'Economic benchmarking RIN for distribution network service providers - Instructions and Definitions' the RAB reported in this tab must include capital contributions. The capex reported in this tab is net capex and only net capex is rolled into the RAB, therefore capital contributions are not reported here. | N/A | N/A | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Requirements of the notice: 'Economic Benchmarking RIN for distribution network service providers - Instructions and Definitions' provides extensive information on how the RAB data should be populated. Response: According to AER's instructions on RAB Financial Reporting Framework the following instructions have been met.
BMPAL3.3BOP5 | 3.3 | Assets (RAB) | TABLE 3.3.4 - ASSET LIVES (ESTIMATED SERVICE LIFE OF NEW ASSETS) | Estimated | - 2016-20 Final Determination PTRM (Standard Control Services) - 2016-20 Final Determination PTRM (Metering) - 2016-20 Final Determination Public Lighting model - RIN data within tab | As per AER requirements | The asset lives are taken from the 2016-20 Final Determination models and the weighted average calculated for each of the required AER asset categories. | N/A | N/A | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Requirements of the notice: 'Economic Benchmarking RIN for distribution network service providers - Instructions and Definitions' provides extensive information on how the RAB data should be populated. Response: According to AER's instructions on RAB Financial Reporting Framework the following instructions have been met.
BMPAL3.3BOP6 | 3.3 | Assets (RAB) | TABLE 3.3.4 - ASSET LIVES (ESTIMATED RESIDUAL SERVICE LIFE) | Estimated | RIN data within tab | As per AER requirements | Remaining lives for all asset categories are calculated as the ratio of opening RAB to straight line depreciation. | N/A |  | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Requirements of the notice: 'Economic Benchmarking RIN for distribution network service providers - Instructions and Definitions' provides extensive information on how the RAB data should be populated. Response: According to AER's instructions on RAB Financial Reporting Framework the following instructions have been met.
BMPAL3.3BOP7 | 3.3 | Assets (RAB) | TABLE 3.3.2 - ASSET VALUE ROLL FORWARD [Alternative Control Services] | Estimated | - Annual RIN data - CPI from ABS table 6401.0 - Forecast depreciation from 2016-21 RFM - Capex values from 2016-21 RFM | N/A | The Metering RAB has been rolled forward using the AER roll forward model template and the data sources listed. The Public Lighting RAB has been rolled forward using the Final Determination Public Lighting model and the data sources listed. Capex for 'Energy Efficient' public lighting capex was taken directly from the Annual RIN. Capex for 'Non-Energy Efficient' public lighting has been allocated to 'Poles and brackets' and 'Existing Lights' based on the weightings of these in 2014. The capital expenditure includes public lighting replacements which do not incur customer contributions. | N/A | This BOP covers data in the 'Alternative Control Services' column in Table 3.3.2. The business has used the AER's standard approach provided under Economic Benchmarking RIN for distribution network service providers - Instructions and Definitions. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Requirements of the notice: 'Economic Benchmarking RIN for distribution network service providers - Instructions and Definitions' provides extensive information on how the RAB data should be populated. Response: According to AER's instructions on RAB Financial Reporting Framework the following instructions have been met.
BMPAL3.4BOP1 | 3.4 | Operational Data | TABLE 3.4.1 - ENERGY DELIVERY Total energy delivered [Standard Control Services] Energy Delivery where time of use is not a determinant [Standard Control Services] Energy Delivery at On-peak times [Standard Control Services] Energy Delivery at Shoulder times [Standard Control Services] Energy Delivery at Off-peak times [Standard Control Services] Controlled load energy deliveries [Standard Control Services] Energy Delivery to unmetered supplies [Standard Control Services] Residential customers energy deliveries [Standard Control Services] Non residential customers not on demand tariffs energy deliveries [Standard Control Services] Non-residential low voltage demand tariff customers energy deliveries [Standard Control Services] Non-residential high voltage demand tariff customers energy deliveries [Standard Control Services] Other Customer Class Energy Deliveries [Standard Control Services] | Actual | Energy volume data was sourced from the SAP HANA AHNP_O9500 billing table. This table includes volumes as well as billed amounts. | N/A | Energy Volumes are based on billed volumes only relating to the year under review. Billing relating to other periods was excluded. Quantities were obtained by dividing revenue by the published NUOS price for each tariff. This approach accounts for pro-rating where customers may have only been billed for part of a month. Unmetered was addressed separately and a 60%/40% peak/off peak split was assumed. Volumes were back-solved using known billings and published tariffs to determine quantities. | N/A | 3.4 - The data for this table was obtained from billed energy volumes. Billed energy volumes are calculated at site (NMI) level and aggregated as a total. 3.4.1.1 - As per the definitions under 'Charges' in chapter 9 of the Economic benchmarking RIN for DNSP, data recorded in this table is by tariff and reported in the benchmarking RIN by the definitions provided. Energy volumes reported under single rate tariffs was used to populate DOPED0201 where 'Energy Delivery where time of use is not a determinant'. 3.4.1.4 - As per the definitions under 'Customer Types' in chapter 9 of the Economic benchmarking RIN for DNSP, data recorded in this table is aggregated based on the definitions provide | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Table 3.4 Energy Delivery Energy delivered is the amount of electricity transported out of Powercor's network in the relevant Regulatory Year (measured in GWh). It must be the energy metered or estimated at the customer charging location rather than the import location from the TNSP. Energy delivered must be actual energy delivered data, unless this is unavailable. Where Actual Information is not available for the most recent reporting period, Energy Delivery data for that period may be reported on an accrual basis. Peak, shoulder and off-peak periods relate to Powercor's own charging periods. Table 3.4.1.1 Energy grouping - delivery by chargeable quantity Powercor must report energy delivered in accordance with the category breakdowns as per the definitions provided in chapter 9. Powercor must only report 'Energy Delivery where time of use is not a determinant' (DOPED0201) for Energy Delivery that was not charged for peak, shoulder or off-peak periods. Table 3.4.1.4 Energy grouping - customer type or class Powercor must report energy delivered in accordance with the category breakdown as per the definitions provided in chapter 9. The category breakdown must be consistent with the customer types reported in table 3.4.2.1
BMPAL3.4BOP2 | 3.4 | Operational Data | TABLE 3.4.1 - ENERGY DELIVERY Energy into DNSP network at On-peak times [Standard Control Services] Energy into DNSP network at Shoulder times [Standard Control Services] Energy into DNSP network at Off-peak times [Standard Control Services] Energy received from TNSP and other DNSPs not included in the above categories [Standard Control Services] | Actual | The data has been sourced from the Itron Enterprise Edition (IEE) revenue metering system (in some cases via the SAP HANA reporting tools). The IEE system contains all metering data for all meters from 2006 onwards. It has replaced metering systems previously used as the source of data in reporting energy figures. There may be differences in metering figures for past years compared to previously reported, however this will not relate to the change in the system, it relates to the fact that metering data can be revised from time to time and the current figures reflect the latest revisions. The data that comes from IEE system contains interval data from 3rd party meters that are located at the points of connection between the Powercor network and the TNSP/DNSP. All of the data from all parties in IEE is provided in line with the metering rules, which does allow for occasional estimating and substituting of values however this would make up a less than 1% of all readings. | N/A | Data was extracted from the Powercor IEE revenue metering system into MS Excel. A macro was then run to convert the interval data into Peak and Off Peak using the rule that Peak is 7am - 11pm on weekdays, and all other times are Off Peak. Shoulder times have not been considered in this modelling as it would create an inconsistency with the energy figures provided in DOPED0401 - DOPED0404 where it is not possible to perform that split. | N/A | Powercor has reported energy input into its network as measured at supply points from the TNSP and other DNSPs. Energy received from TNSP and other DNSP has been measured/calculated in accordance with the definitions of chapter 9, which is the amount of electricity transported out of Powercor's network in the relevant Regulatory Year (measured in GWh). | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Powercor must report energy input into its network as measured at supply points from the TNSP and other DNSPs in accordance with the definitions provided in chapter 9. Powercor must only report energy against 'Energy received from TNSP and other DNSPs not included in the above categories' (DOPED0304) where it is not possible to allocate the energy received into on-peak, shoulder and off- peak times.
BMPAL3.4BOP3 | 3.4 | Operational Data | TABLE 3.4.1 - ENERGY DELIVERY Energy into DNSP network at On-peak times from non-residential embedded generation [Standard Control Services] Energy into DNSP network at Shoulder times from non-residential embedded generation [Standard Control Services] Energy into DNSP network at Off-peak times from non-residential embedded generation [Standard Control Services] Energy received from embedded generation not included in above categories from non-residential embedded generation [Standard Control Services] Energy into DNSP network at On-peak times from residential embedded generation [Standard Control Services] Energy into DNSP network at Shoulder times from residential embedded generation [Standard Control Services] Energy into DNSP network at Off-peak times from residential embedded generation [Standard Control Services] Energy received from embedded generation not included in above categories from residential embedded generation [Standard Control Services] | Actual | The data has been sourced from the Itron Enterprise Edition (IEE) revenue metering system (in some cases via the SAP HANA reporting tools). Data to break up customers into Residential and Non-Residential has come from CIS, where the flag Domestic has been used to assume a customer is Residential. All other customers have been treated as Non-Residential. | N/A | Generators from their interval data using Peak and Off Peak using the rule that Peak is 7am - 11pm on weekdays, and all other times are Off Peak. | N/A | Powercor has reported energy received from Non-residential and residential Embedded Generation by time of receipt. Energy received from embedded generators has been measured/calculated in accordance with the definitions of chapter 9, as meter data has been reported, for energy received. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Energy delivered must be reported in accordance with the category breakdown as per the definitions provided in chapter 9. Powercor is required to report energy received from Non-residential Embedded Generation by time of receipt. Powercor is required to report back cast energy received from Residential Embedded Generation only if it records data for these variables (DOPED0405"DOPED0408), however Powercor is required to provide this data for future Regulatory Years. 'Energy received from Embedded Generation not included in above categories' (DOPED0404 and DOPED0408) includes energy received from Embedded Generation on an accumulation basis and not measured by the time of receipt. Powercor must only report energy received in DOPED0404 where it is not possible to allocate the energy received into on-peak, shoulder and off-peak times (DOPED0401"DOPED0403 and DOPED0405"DOPED0407). When completing the templates for Regulatory Years subsequent to the 2013 Regulatory Year, if Powercor can provide Actual Information for the Residential Embedded Generation variables (DOPED0405"DOPED0408) it must do so; otherwise Powercor must provide Estimated Information.
BMPAL3.4BOP4 | 3.4 | Operational Data | TABLE 3.4.2 - CUSTOMER NUMBERS Residential customer numbers [Standard Control Services] Non residential customers not on demand tariff customer numbers [Standard Control Services] Low voltage demand tariff customer numbers [Standard Control Services] High voltage demand tariff customer numbers [Standard Control Services] Unmetered Customer Numbers [Standard Control Services] Other Customer Numbers [Standard Control Services] Total customer numbers [Standard Control Services] Customers on CBD network [Standard Control Services] Customers on Urban network [Standard Control Services] Customers on Short rural network [Standard Control Services] Customers on Long rural network [Standard Control Services] Total customer numbers [Standard Control Services] | Actual | Total customer numbers are obtained from the billing system, CIS Open Vision. | N/A | Customer Numbers by customer type or class: The number of active (customer is not end-dated) NMIs per tariff is obtained from Powercor's end of month reporting. For de-energised sites, a count is obtained of the last tariff that applied to all other sites, excluding abolished (extinct) sites. The active and de-energised numbers are added together to give Total Customer numbers, which are aggregated by grouping tariffs in accordance with the reporting categories. An average of these numbers at the start and end of the Regulatory Year is used. CISOV is the original source of all data. Customer Numbers by location on the network: Calculated by weighting the Customer Numbers by customer type or class by split based on location. The proportions were calculated using Table 3.6.8 network feeder reliability. | N/A | 3.4.2.1 - The customer numbers in this table is the count of energised and de-energised NMIs and categorised in accordance to the definitions stated under 'Customer Types' in chapter 9. 3.4.2.2 The numbers reported in this table is the count of energised and de-energised NMIs in accordance to the definitions stated in chapter 9. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Distribution Customers for a Regulatory Year are the average number of active National Meter Identifiers (NMIs) in Powercor's network in that year (except for Unmetered Customer Numbers). Each NMI is counted as a separate customer. The average is calculated as the average of the number of NMIs on the first day of the Regulatory Year and on the last day of the Regulatory Year. Both energised and de-energised NMIs must be counted. Extinct NMIs must not be counted. For unmetered customers, the Customer Numbers are the sum of connections (excluding public lighting connections) in Powercor's network that do not have a NMI and the energy usage for billing purposes is calculated using an assumed load profile (examples include bus shelters, security lighting and traffic signals where not metered). Public lighting connections must not be counted as unmetered customers. Table 3.4.2.1 Distribution Customer Numbers by customer type or class Powercor must report Customer Numbers in accordance with the categorisation as per the definitions provided in chapter 9. Powercor must report customers against 'Other Customer Numbers' (DOPCN0106) only when customers cannot be allocated to the other customer classes (DOPCN0101"DOPCN0105). Table 3.4.2.2 Distribution Customer Numbers by location on the network Powercor must report Customer Numbers in accordance with the category definitions provided in chapter 9. The locations are: CBD, urban, short rural and long rural.
BMPAL3.4BOP5 | 3.4 | Operational Data | TABLE 3.4.3 - SYSTEM DEMAND Non-coincident Summated Raw System Annual Maximum Demand [Standard Control Services] Coincident Raw System Annual Maximum Demand [Standard Control Services] Non-coincident Summated Raw System Annual Maximum Demand [Standard Control Services] Coincident Raw System Annual Maximum Demand [Standard Control Services] | Actual | All zone substation raw peak demand source data is collected from Ion power quality meters, located at each individual zone substation. If Ion meter data is unavailable, then TrendScada data is used. Historically, Powercor does not record coincident peak demand at the zone substation level. Where information has been previously reported to regulatory bodies, Powercor has used this data for the benchmarking RIN. DOPSD0101 & DOPSD0201: Non-coincident summated Raw System Annual Maximum Demand - The source data was obtained from Powercor Ion meters or TrendScada meter data (where Ion meter data is unavailable) and customer HV metering data, at the time of the zone substation annual peak demand. DOPSD0104 & DOPSD0204: Coincident summated Raw System Annual Maximum Demand - The source data was obtained from Powercor Ion meters or TrendScada meter data (where Ion meter data is unavailable) and customer HV metering data, at the time of the system annual peak demand. | N/A | Each year contains the summation of all Powercor Zone Substations and 66kV HV Customer Substation MW and MVA load at coincident and non-coincident peak demand. | N/A | The information provided in tables 3.4.3.1 and 3.4.3.3 is a summation of the maximum demand measured at the zone substation for the non-coincident level and a summation of the zone substation demand measured at the time of peak demand of the whole Powercor network (coincident). The measured maximum demand complies with the definition in chapter 10 of the National Electricity Rules, version 60. Note: The raw (or unadjusted) non coincident maximum demand at the zone substation level was annually reported from 2006 to 2012 in the Distribution System Planning Report (DSPR) and from 2012 onwards in the Distribution Annual Planning Report (DAPR). | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Tables 3.4.3.1 to 3.4.3.3 must be completed in accordance with the definitions in chapter 9. Table 3.4.3.1 Annual system Maximum Demand characteristics at the zone substation level - MW measure Coincident and non-coincident Maximum Demands must be reported raw (or unadjusted). Table 3.4.3.3 Annual system Maximum Demand characteristics at the zone substation level - MVA measure Coincident and non-coincident Maximum Demands must be reported raw (or unadjusted).
BMPAL3.4BOP6 | 3.4 | Operational Data | TABLE 3.4.3 - SYSTEM DEMAND Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE [Standard Control Services] Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE [Standard Control Services] Coincident Weather Adjusted System Annual Maximum Demand 10% POE [Standard Control Services] Coincident Weather Adjusted System Annual Maximum Demand 50% POE [Standard Control Services] Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE [Standard Control Services] Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE [Standard Control Services] Coincident Weather Adjusted System Annual Maximum Demand 10% POE [Standard Control Services] Coincident Weather Adjusted System Annual Maximum Demand 50% POE [Standard Control Services] | Actual | All zone substation raw peak demand source data is collected from Ion power quality meters, located at each individual zone substation. If Ion meter data is unavailable, then TrendScada data is used. Historically, Powercor does not record coincident peak demand at the zone substation level. Where information has been previously reported to regulatory bodies, Powercor has used this data for the benchmarking RIN. DOPSD0101 & DOPSD0201: Non-coincident summated Raw System Annual Maximum Demand - The source data was obtained from Powercor Ion meters or TrendScada meter data (where Ion meter data is unavailable) and customer HV metering data, at the time of the zone substation annual peak demand. DOPSD0104 & DOPSD0204: Coincident summated Raw System Annual Maximum Demand - The source data was obtained from Powercor Ion meters or TrendScada meter data (where Ion meter data is unavailable) and customer HV metering data, at the time of the system annual peak demand. For variables DOPSD0102, DOPSD0103, DOPSD0105, DOPSD0106, DOPSD0202, DOPSD0203, DOPSD0205, DOPSD0206: Both Powercor and Customer substations were combined at the Raw system level, for both coincident and non-coincident MW and MVA. Coincident and non-conicident weather corrected figures are obtained from the CP/PAL forecasting tool that was developed by ENEA. One of the outputs of this tool is to provide historic POE data based on weather. The tool is updated annually after summer so that all of the POEs reflect the summer just been. | To provide a coincident weather adjusted value, the ratio of the weather adjusted and raw non coincident peak demand was used. | Data is extracted from source systems that summate the actual coincident and non-coincident results. POE data is extracted from the CP/PAL forecast tool which provides a 'backcast' weather adjusted POE data for the previous year. | N/A |  | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Tables 3.4.3.1 to 3.4.3.3 must be completed in accordance with the definitions in chapter 9. Powercor must provide inputs for these cells if it has calculated historical Weather Adjusted Maximum Demand. Where Powercor does not calculate Weather Adjusted Maximum Demands it may estimate the historical Weather Adjusted data or shade the cells black. For subsequent Regulatory Years Powercor will be required to provide Weather Adjusted Maximum Demand on an ongoing basis in accordance with best regulatory practice weather adjustment methodologies. Table 3.4.3.1 Annual system Maximum Demand characteristics at the zone substation level - MW measure Coincident and non-coincident Maximum Demands must be reported Weather Adjusted at the 10% and 50% Probability of Exceedance (POE) levels. Table 3.4.3.3 Annual system Maximum Demand characteristics at the zone substation level - MVA measure Coincident and non-coincident Maximum Demands must be reported Weather Adjusted at the 10% and 50% POE levels.
BMPAL3.4BOP7 | 3.4 | Operational Data | TABLE 3.4.3 - SYSTEM DEMAND Non-coincident Summated Raw System Annual Maximum Demand [Standard Control Services] Coincident Raw System Annual Maximum Demand [Standard Control Services] Non-coincident Summated Raw System Annual Maximum Demand [Standard Control Services] Coincident Raw System Annual Maximum Demand [Standard Control Services] | Actual | All Terminal station raw peak demand source data is collected from the IEE wholesale meter data for each individual Terminal Station. | N/A | DOPSD0107 & DOPSD0207: Non-coincident summated raw system annual peak demand. The source data was obtained from the summation of the actual raw terminal station maximum demands for each year sourced from IEE database. DOPSD0110 & DOPSD0210: Coincident summated raw system annual peak demand The source data was obtained from the summation of the actual raw terminal station maximum demands at the date and time of system peak for each year and sourced from IEE database. The source of the data is the IEE wholesale metering database accessed through a tool called SAP BW on HANA Production. This data is contained in a load estimate spreadsheet for each terminal station which contains historical actual data. | N/A | The information provided in the variable codes stated above in Tables 3.4.3.2 and 3.4.3.4 is a summation of the maximum demand measured at the transmission connection point for the non-coincident level and a summation of the transmission connection point demand measured at the time of peak demand of the whole Powercor network (coincident). The measured maximum demand complies with the definition in chapter 10 of the National Electricity Rules, version 60. Note that the summated maximum demand at a transmission level usually occurs in summer. Seasonal summer is used for the purposes of the RIN, hence summer 2017 is considered between the months November 2016 to March 2017. The information provided is consistent with the requirements of the Notice. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Tables 3.4.3.2 to 3.4.3.4 must be completed in accordance with the definitions in chapter 9. Powercor must provide inputs for these cells if it has calculated historical Weather Adjusted Maximum Demand. Where Powercor does not calculate Weather Adjusted Maximum Demands it may estimate the historical Weather Adjusted data or shade the cells black. For subsequent Regulatory Years Powercor will be required to provide Weather Adjusted Maximum Demand on an ongoing basis in accordance with best regulatory practice weather adjustment methodologies. Table 3.4.3.2 Annual system Maximum Demand characteristics at the transmission connection point level - MW measure Coincident and non-coincident Maximum Demands must be reported raw (or unadjusted) and Weather Adjusted at the 10% and 50% POE levels. Table 3.4.3.4 Annual system Maximum Demand characteristics at the transmission connection point - MVA measure Coincident and non-coincident Maximum Demands must be reported raw (or unadjusted) and Weather Adjusted at the 10% and 50% POE levels.
BMPAL3.4BOP8 | 3.4 | Operational Data | TABLE 3.4.3 - SYSTEM DEMAND Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE [Standard Control Services] Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE [Standard Control Services] Coincident Weather Adjusted System Annual Maximum Demand 10% POE [Standard Control Services] Coincident Weather Adjusted System Annual Maximum Demand 50% POE [Standard Control Services] Non-coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE [Standard Control Services] Non-coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE [Standard Control Services] Coincident Weather Adjusted System Annual Maximum Demand 10% POE [Standard Control Services] Coincident Weather Adjusted System Annual Maximum Demand 50% POE [Standard Control Services] | Actual | All Terminal station raw peak demand source data is collected from the IEE whole sale meter data for each individual Terminal station. For variables DOPSD0108, DOPSD0109, DOPSD0111, DOPSD0112, DOPSD0208, DOPSD0209, DOPSD0211, DOPSD0212: Both Powercor and Customer substations were combined at the Raw system level, for both coincident and non-coincident MW and MVA. Coincident and non-conicident weather corrected figures are obtained from the CP/PAL forecasting tool that was developed by ENEA. One of the outputs of this tool is to provide historic POE data based on weather. The tool is updated annually after summer so that all of the POEs reflect the summer just been. | Data is extracted from source systems that summate the actual coincident and non-coincident results. POE data is extracted from the CP/PAL forecast tool which provides a 'backcast' weather adjusted POE data for the previous year. | Data is extracted from source systems that summate the actual coincident and non-coincident results. POE data is extracted from the CP/PAL forecast tool which provides a 'backcast' weather adjusted POE data for the previous year. | N/A |  | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Tables 3.4.3.2 to 3.4.3.4 must be completed in accordance with the definitions in chapter 9. Powercor must provide inputs for these cells if it has calculated historical Weather Adjusted Maximum Demand. Where Powercor does not calculate Weather Adjusted Maximum Demands it may estimate the historical Weather Adjusted data or shade the cells black. For subsequent Regulatory Years Powercor will be required to provide Weather Adjusted Maximum Demand on an ongoing basis in accordance with best regulatory practice weather adjustment methodologies. Table 3.4.3.2 Annual system Maximum Demand characteristics at the transmission connection point level - MW measure Coincident and non-coincident Maximum Demands must be reported raw (or unadjusted) and Weather Adjusted at the 10% and 50% POE levels. Table 3.4.3.4 Annual system Maximum Demand characteristics at the transmission connection point - MVA measure Coincident and non-coincident Maximum Demands must be reported raw (or unadjusted) and Weather Adjusted at the 10% and 50% POE levels.
BMPAL3.4BOP9 | 3.4 | Operational Data | TABLE 3.4.3 - SYSTEM DEMAND Average overall network power factor conversion between MVA and MW [Standard Control Services] Average power factor conversion for low voltage distribution lines [Standard Control Services] Average power factor conversion for 3.3 kV lines [Standard Control Services] Average power factor conversion for 6.6 kV lines [Standard Control Services] Average power factor conversion for 7.6 kV lines [Standard Control Services] Average power factor conversion for 11 kV lines [Standard Control Services] Average power factor conversion for SWER lines [Standard Control Services] Average power factor conversion for 22 kV lines [Standard Control Services] Average power factor conversion for 33 kV lines [Standard Control Services] Average power factor conversion for 44 kV lines [Standard Control Services] Average power factor conversion for 66 kV lines [Standard Control Services] Average power factor conversion for 110 kV lines [Standard Control Services] Average power factor conversion for 132 kV lines [Standard Control Services] Average power factor conversion for 220 kV lines [Standard Control Services] | Estimated | DOPSD301: Data used to calculate the power factor was sourced from DOPSD0110 and DOPSD0210. DOPSD302, DOPSD0306, DOPSD0307, DOPSD0308, DOPSD0311: The data used to populate the above sections was sourced from Table 2, of section 4.3 of the 'Electricity Distribution Code' version 7, May 2012. The values used were for customer maximum demand over 2MVA, minimum lagging. DOPSD0303, DOPSD0304, DOPSD0305, DOPSD0309, DOPSD0310, DOPSD0312, DOPSD0313 and DOPSD0314: Powercor do not have these voltage lines and so are zero. | The values defined in Table 2, of section 4.3 of the 'Electricity Distribution Code' version 7, May 2012, are standard reference values which are readily available for industry to use for any calculations where the power factor is required. | DOPSD301: Overall network power factor is calculated by dividing the transmission connection point coincident Raw system annual maximum demand MW by the transmission connection point coincident Raw system annual maximum demand MVA. DOPSD302, DOPSD0306, DOPSD0307, DOPSD0308, DOPSD0311: Values taken from Table 2, of section 4.3 of the 'Electricity Distribution Code'. The values used were for customer maximum demand over 2MVA, minimum lagging. This is the best engineering estimates as the data is not readily stored or available at these voltage levels. | NA | Data used to calculate the average overall network power factor was sourced from the measured transmission connection point data in sections DOPSD0110 and DOPSD0210. As the data for the remaining voltage levels is not readily stored or available, as best engineering estimates, Powercor refers to the values defined in Table 2, of section 4.3 of the 'Electricity Distribution Code' version 7, May 2012. The values used were for customer maximum demand over 2MVA, minimum lagging. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Table 3.4.3.5 Power factor conversion between MVA and MW Table 3.4.3.5 must be completed in accordance with the definitions in chapter 9. Powercor must report the power factor to allow for conversion between MVA and MW measures for each voltage. If both MVA and MW throughput for a network are available then the power factor is the total MW divided by the total MVA. Powercor must provide a power factor for each voltage level and for the network as a whole. The average overall power factor conversion (DOPSD0301) is the total MW divided by the total MVA. If either the MW or MVA measure is unavailable the average power factor conversion can be calculated as an approximation based on best engineering estimates.
BMPAL3.4BOP10 | 3.4 | Operational Data | TABLE 3.4.3 - SYSTEM DEMAND Summated Chargeable Contracted Maximum Demand [Standard Control Services] Summated Chargeable Measured Maximum Demand [Standard Control Services] Summated Chargeable Contracted Maximum Demand [Standard Control Services] Summated Chargeable Measured Maximum Demand [Standard Control Services] | Actual | Similarly to the Energy Volumes data - summated demand was sourced from the SAP HANA AHNP_O9500 billing table. This table includes volumes as well as billed amounts. | N/A | Summated quantities are aggregated by month (in line with billing) and the maximum quantity recorded within a given year is populated in the benchmarking RIN. | N/A | Powercor's tariff structure charges demand on a unit of measure of kW. To comply with the definition of 'MW measure', the quantity is converted to MW. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Table 3.4.3.6 Demand supplied (for customers charged on this basis) - MW measure Powercor is only required to complete this table if it charges customers for Maximum Demand supplied. If Powercor does not charge customers on this basis then should enter '0'. Powercor must report Maximum Demand amounts for customers that are charged based upon their Maximum Demand as measured in MW. Where Powercor cannot distinguish between contracted and measured Maximum Demand, demand supplied must be allocated to contracted Maximum Demand. Table 3.4.3.7 Demand supplied (for customers charged on this basis) - MVA measure Powercor is only required to complete this table if it charges customers for demand supplied. If Powercor does not charge customers on this basis then Powercor must enter '0'. Powercor must report Maximum Demand amounts for customers that are charged based upon their Maximum Demand as measured in MVA. Where Powercor cannot distinguish between contracted and measured Maximum Demand, demand supplied must be allocated to contracted Maximum Demand.
BMPAL3.5BOP1 | 3.5 | Physical Assets | TABLE 3.5.1 - NETWORK CAPACITIES Overhead low voltage distribution [Volume in KM's (0's)] (DPA0101) Overhead 2.2 kV [Volume in KM's (0's)] (DPA0102) Overhead 6.6kv [Volume in KM's (0's)] (DPA0103) Overhead 7.6 kV [Volume in KM's (0's)] (DPA0104) Overhead 11 kV [Volume in KM's (0's)] (DPA0105) Overhead SWER [Volume in KM's (0's)] (DPA0106) Overhead 22 kV [Volume in KM's (0's)] (DPA0107) Overhead 33 kV [Volume in KM's (0's)] (DPA0108) Overhead 44 kV [Volume in KM's (0's)] (DPA0109) Overhead 66 kV [Volume in KM's (0's)] (DPA0110) Overhead 110kV [Volume in KM's (0's)] (DPA0111) Overhead 132 kV [Volume in KM's (0's)] (DPA0112) Overhead 220kV [Volume in KM's (0's)] (DPA0113) Other [Volume in KM's (0's)] (DPA0114) Total overhead circuit km [Volume in KM's (0's)] (DPA01) | Actual | GIS is the originating data source. The data from GIS is made available to Powercor through a BI (Business Intelligence) report called the 'Asset Installation Report'. | N/A | The data was obtained utilising a GIS (Geographical Information System) query that traces the In-Service network connectivity model in GIS, to determine the circuit line length, which includes all spurs. Each circuit element was evaluated in its own right, for example: - SWER lines, single-phase lines, and three-phase lines counted as one line - Double circuit lines counted as two lines Note: - Although this methodology does not use the suggested Route Length methodology it does deliver the network circuit length using the criteria specified in this Information Notice - An overhead 22kV Subtransmission component was included as an additional line item for completeness - Overhead elements associated with communication, protection & control and unmetered loads were excluded The data from GIS is made available through a BI (Business Intelligence) report called the 'Asset Installation Report'. | N/A | The data was obtained utilising a GIS (Geographical Information System) query that traces the in - service network connectivity model in GIS, to determine the circuit line length, which includes all spurs. Each circuit element was evaluated in its own right, for example: - SWER lines, single-phase lines, and three-phase lines counted as one line - Double circuit lines counted as two lines Note: - Although this methodology does not use the suggested Route Length methodology it does deliver the network circuit length using the criteria specified in this Information Notice - An overhead 22kV Subtransmission component was included as an additional line item for completeness - Overhead elements associated with communication, protection & control and unmetered loads were excluded. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: DNSP must report against the capacity variables for its whole network. In this context the network includes overhead power lines and towers, underground cables and pilot cables that transfer electricity from the regional bulk supply points supplying areas of consumption to individual zone substations, to distribution substations and to customers. Network also includes distribution feeders and the low voltage distribution system but excludes the final connection from the mains to the customer and also wires or cables for public lighting, communication, protection or control and for connection to unmetered loads. For 'Other overhead voltages' and 'Other underground voltages' DNSP must add additional rows for voltages other than: low voltage distribution, 11 kV, SWER (single wire earth return) (applicable to overhead only); 22 kV; 33 kV; 66 kV; 132 kV and other (DNSP must specify the voltage for each 'other' voltage level.) In relation to Table 3.5.1.1 'Overhead network length of circuit at each voltage' and Table 3.5.1.2 'Underground network circuit length at each voltage', circuit length is calculated from the Route length (measured in kilometres) of lines in service (the total length of feeders including all spurs), where each SWER line, single-phase line, and three-phase line counts as one line. A double circuit line counts as two lines. The length does not take into account vertical components such as sag.
BMPAL3.5BOP2 | 3.5 | Physical Assets | TABLE 3.5.1 - NETWORK CAPACITIES Underground low voltage distribution [Volume in KM's (0's)] (DPA0201) Underground 5 kV [Volume in KM's (0's)] (DPA0202) Underground 6.6 Kv [Volume in KM's (0's)] (DPA0203) Underground 7.6 kV [Volume in KM's (0's)] (DPA0204) Underground 11 kV [Volume in KM's (0's)] (DPA0205) Underground SWER [Volume in KM's (0's)] (DPA0206) Underground 22 kV [Volume in KM's (0's)] (DPA0207) Underground 33 kV [Volume in KM's (0's)] (DPA0208) Underground 66 kV [Volume in KM's (0's)] (DPA0209) Underground 110 kV [Volume in KM's (0's)] (DPA0210) Underground 132 kV [Volume in KM's (0's)] (DPA0211) Other [Volume in KM's (0's)] (DPA0212) Total underground circuit km [Volume in KM's (0's)] (DPA02) | Actual | GIS is the originating data source. The data from GIS is made available to Powercor through a BI (Business Intelligence) report called the 'Asset Installation Report'. | N/A | The data from GIS is made available to through a BI (Business Intelligence) report called the 'Asset Installation Report'. | N/A | For the year 2020, the data was obtained utilising a GIS (Geographical Information System) query that traces the in - service network connectivity model in GIS, to determine the circuit line length, which includes all spurs. Each circuit element was evaluated in its own right, for example: - SWER lines, single-phase lines, and three-phase lines counted as one line - Double circuit lines counted as two lines Note: - Although this methodology does not use the suggested Route Length methodology it does deliver the network circuit length using the criteria specified in this Information Notice An Underground 22kV Subtransmission component was included as an additional line item for completeness - Underground elements associated with communication, protection & control and unmetered loads were excluded. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: DNSP must report against the capacity variables for its whole network. In this context the network includes overhead power lines and towers, underground cables and pilot cables that transfer electricity from the regional bulk supply points supplying areas of consumption to individual zone substations, to distribution substations and to customers. Network also includes distribution feeders and the low voltage distribution system but excludes the final connection from the mains to the customer and also wires or cables for public lighting, communication, protection or control and for connection to unmetered loads. For 'Other overhead voltages' and 'Other underground voltages' DNSP must add additional rows for voltages other than: low voltage distribution, 11 kV, SWER (single wire earth return) (applicable to overhead only); 22 kV; 33 kV; 66 kV; 132 kV and other (DNSP must specify the voltage for each 'other' voltage level.) In relation to Table 3.5.1.1 'Overhead network length of circuit at each voltage' and Table 3.5.1.2 'Underground network circuit length at each voltage', circuit length is calculated from the Route length (measured in kilometres) of lines in service (the total length of feeders including all spurs), where each SWER line, single-phase line, and three-phase line counts as one line. A double circuit line counts as two lines. The length does not take into account vertical components such as sag
BMPAL3.5BOP3 | 3.5 | Physical Assets | TABLE 3.5.1 - NETWORK CAPACITIES Overhead low voltage distribution [Volume in MVA (0's)] (DPA0301) Overhead 6.6 kV [Volume in MVA (0's)] (DPA0302) Overhead 7.6 kV [Volume in MVA (0's)] (DPA0303) Overhead 11 kV [Volume in MVA (0's)] (DPA0304) Overhead SWER [Volume in MVA (0's)] (DPA0305) Overhead 22 kV [Volume in MVA (0's)] (DPA0306) Overhead 33 kV [Volume in MVA (0's)] (DPA0307) Overhead 44 kV [Volume in MVA (0's)] (DPA0308) Overhead 66 kV [Volume in MVA (0's)] (DPA0309) Overhead 110 kV [Volume in MVA (0's)] (DPA0310) Overhead 132 kV [Volume in MVA (0's)] (DPA0311) Overhead 220 kV [Volume in MVA (0's)] (DPA0312) Other [Volume in MVA (0's)] (DPA0313) Underground low voltage distribution [Volume in MVA (0's)] (DPA0401) Underground 5 kV [Volume in MVA (0's)] (DPA0402) Underground 6.6 kV [Volume in MVA (0's)] (DPA0403) Underground 7.6 kV [Volume in MVA (0's)] (DPA0404) Underground 11 kV [Volume in MVA (0's)] (DPA0405) Underground SWER [Volume in MVA (0's)] (DPA0406) Underground 12.7 kV [Volume in MVA (0's)] (DPA0407) Underground 22 kV [Volume in MVA (0's)] (DPA0408) Underground 33 kV [Volume in MVA (0's)] (DPA0409) Underground 66 kV [Volume in MVA (0's)] (DPA0410) Underground 110 kV [Volume in MVA (0's)] (DPA0411) Underground 132 kV [Volume in MVA (0's)] (DPA0412) Other [Volume in MVA (0's)] (DPA0413) | Estimated | The data source for the estimated overhead and underground network weighted average MVA capacity come from estimates provided by the AER for the 66kV voltage and the network planning guidelines for all other voltages. | For the 66kV the estimation was provided by the AER, therefore applying this estimate ensures method calculation is in line with AER policy. For all other voltages, the network planning guidelines were used, as they are inline with how the network is operated. | The weighted average MVA capacity are estimates relating to the typical augmentation capacity constructed while allowing for planning policy. For example the 22 kV rating of 8MVA is the planning rating for new construction rated at 12MVA but allowing for transfers to adjacent feeders of 1/3 of capacity. | N/A | Powercor has provided estimated overhead and underground weighted average capacity based on network planning guidelines for typical ratings per voltage class. For the SWER network the capacity was based on the summated average capacity of the SWER isolation transformers. The estimated data is in accordance with the definitions in chapter 9. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Powercor must report against the capacity variables for its whole network. In this context the network includes overhead power lines and towers, underground cables and pilot cables that transfer electricity from the regional bulk supply points supplying areas of consumption to individual zone substations, to distribution substations and to customers. Network also includes distribution feeders and the low voltage distribution system but excludes the final connection from the mains to the customer and also wires or cables for public lighting, communication, protection or control and for connection to unmetered loads. For 'Other overhead voltages' and 'Other underground voltages' Powercor must add additional rows for voltages other than: - low voltage distribution - 11 kV - SWER (single wire earth return) (applicable to overhead only) - 22 kV - 33 kV - 66 kV - 132 kV Powercor must specify the voltage for each 'other' voltage level. In relation to Table 3.5.1.3 'Estimated overhead network weighted average MVA capacity by voltage class' and Table 3.5.1.4 'Estimated underground network weighted average MVA capacity by voltage class', Powercor must provide estimated typical or weighted average capacities for each of the listed voltage classes under normal circumstances taking account of limits imposed by thermal or by voltage drop considerations as relevant. This information will be used to calculate an overall MVA x km 'carrying capacity' for each voltage class under normal circumstances. DNSPs are required to provide summer Maximum Demands for summer peaking assets and winter Maximum Demands for winter peaking assets. If Powercor's peak has changed from winter to summer (or vice versa) over the time period, winter ratings should be applied for those years where there was a winter peak and summer ratings for those years where there was a summer peak. Where circuits travel both overhead and underground and the capacity of the overhead and underground components is not available separately, Powercor may split the circuit capacity by the ratio of the network that is overhead and underground to form estimates of the overhead capacity and underground capacity components. From the 2015 Regulatory Year onwards Powercor is required to report actual overhead and underground capacity.
BMPAL3.5BOP4 | 3.5 | Physical Assets | TABLE 3.5.2 - TRANSFORMER CAPACITIES Distribution transformer capacity owned by utility [Volume in MVA's (0's)] (DPA0501) | Actual | The data was obtained utilising a GIS (Geographical Information System) query that determines the total In-Service distribution transformer metrics. The data from GIS is made available through a BI (Business Intelligence) report called the 'Asset Installation Report'. | N/A | GIS provides the data for a BI (Business Intelligence) report that provides the installed total distribution transformer MVA. | N/A | The data was obtained utilising a GIS (Geographical Information System) query that traces via the installed network connectivity model in GIS the distribution transformer connected. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: DNSP must report total installed Distribution Transformer capacity in this table. The total installed Distribution Transformer capacity is the transformer capacity involved in the final level of transformation, stepping down the voltage used in the distribution lines to the level used by the customer. It does not include intermediate transformation capacity (e.g. 132 kV or 66 kV to the 22 kV or 11 kV distribution level). The capacity measure is the normal nameplate continuous capacity / rating (including forced cooling and other factors used to improve capacity). This measure includes Cold Spare Capacity of Distribution Transformers and excludes the capacity of all zone substation transformers, voltage transformers (potential transformers) and current transformers. For Distribution transformer capacity owned by utility, report transformer capacity owned by DNSP; give nameplate continuous rating including forced cooling.
BMPAL3.5BOP5 | 3.5 | Physical Assets | TABLE 3.5.2 - TRANSFORMER CAPACITIES Distribution transformer capacity owned by High Voltage Customers [Volume in MVA's (0's)] (DPA0502) | Estimated | CIS O/V for HV Customer NMIs and SAP Hana for customer maximum demand data. | An estimate was required as there was no customer transformer MVA capacity data available. As Powercor do not own the customer's transformer, the MVA capacity information is not required and has not been documented. The summation of customer maximum demand is used as an estimate of transformer capacity as proposed by the AER. | Report obtained from CIS O/V to determine which customers are on a HV tariff. From that list a SAP Hana report is run to sum the HV customer MD's (Used HV customer NMI's). | N/A | Powercor has provided an estimated distribution transformer capacity owned by High Voltage Customers as a record of HV Customer installed capacity is not registered or maintained for accurate information to be recalled. The estimated data are is accordance with the definitions in chapter 9. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Distribution Transformer capacity owned by High Voltage Customers Report the transformation capacity from high voltage to customer utilisation voltage that is owned by customers connected at high voltage. If the transformer capacity owned by customers connected at high voltage is not available, report summation of individual Maximum Demands of high voltage customers whenever they occur (i.e. the summation of single annual Maximum Demand for each customer) as a proxy for delivery capacity within the high voltage customers. When completing the templates for Regulatory Years subsequent to the 2013 Regulatory Year, if Powercor can provide Actual Information for Distribution Transformer capacity owned by High Voltage Customers it must do so; otherwise Powercor must provide Estimated Information.
BMPAL3.5BOP6 | 3.5 | Physical Assets | TABLE 3.5.2 - TRANSFORMER CAPACITIES Cold spare capacity included in DPA0501 [Volume in MVA's (0's)] (DPA0503) | Actual | It is not current policy in Powercor to operate the electricity distribution network with 'cold spare' distribution transformer capacity (in the form of actual transformers). However, it is policy to operate the electricity distribution network with a strategic level of spare distribution transformers held in store. A SAP inventory query was used to determine the year ending stock position for this metric. | N/A | A SAP inventory query was developed to determine the year ending stock position for this metric. | N/A | Electronic stores inventory records in SAP where accessed, queried and evaluated to determine the number and ratings of distribution transformers held in stock at the year ending for the reporting period as detailed in this Information Notice. The queries and evaluations excluded the number and capacity of all zone substation transformers, voltage transformers (potential transformers) and current transformers. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: DNSP must report total installed Distribution Transformer capacity in this table. The total installed Distribution Transformer capacity is the transformer capacity involved in the final level of transformation, stepping down the voltage used in the distribution lines to the level used by the customer. It does not include intermediate transformation capacity (e.g. 132 kV or 66 kV to the 22 kV or 11 kV distribution level). The capacity measure is the normal nameplate continuous capacity/rating (including forced cooling and other factors used to improve capacity). This measure includes Cold Spare Capacity of Distribution Transformers and excludes the capacity of all zone substation transformers, voltage transformers (potential transformers) and current transformers. For Cold Spare Capacity included in DPA0501, report the total capacity of spare transformers owned by DNSP but not currently in use.
BMPAL3.5BOP7 | 3.5 | Physical Assets | TABLE 3.5.2 - TRANSFORMER CAPACITIES Total installed capacity for first step transformation where there are two steps to reach distribution voltage [Volume in MVA's (0's)] (DPA0601) Total installed capacity for second step transformation where there are two steps to reach distribution voltage [Volume in MVA's (0's)] (DPA0602) Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage [Volume in MVA's (0's)] (DPA0603) Total zone substation transformer capacity [Volume in MVA's (0's)] (DPA0604) Cold spare capacity of zone substation transformers included in DPA0604 [Volume in MVA's (0's)] (DPA0605) | Actual | The data was obtained utilising: - GIS (Geographical Information System) query that determines the total In-Service Zone Substation Transformer metrics. The data from GIS is made available through a BI (Business Intelligence) report called the 'Asset Installation Report' - SAP - The Condition Based Reliability Maintenance (CBRM) System The 'Asset Installation Report' was used to determine this metric which was compared to the data in SAP and the CBRM database to provide the final data. | N/A | GIS provides the data for a BI (Business Intelligence) report that provides the installed Total Zone Substation Transformer MVA. | N/A | For Powercor this metric comprises the sum of two variables; the 'Total zone substation transformer capacity where there is only a single step of transformation to reach the distribution voltage (DPA 0603) and the cold spare capacity of zone substation transformers (DPA0605) as specified in this Information Notice, hence DAP0601, 1st step of transformation = 0 as Powercor do not have these DPA0602, 2nd step of transformation = 0 as Powercor do not have these DPA0603, Single step of transformation to reach the distribution voltage = the reported value DPA0604 is the sum of DPA0601-0603 & DPA0605 DPA0605, Cold spare capacity = the reported value | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Report transformer capacity used for intermediate level transformation capacity in either one or two steps. For example, high voltages such as 132 kV, 66 kV or 33kV at the zone substation level to the distribution level of 22 kV, 11 kV or 6kV. These measures must be the summation of normal assigned continuous capacity / rating (with forced cooling or other capacity improving factors included) and include both energised transformers and Cold Spare Capacity. Assigned rating must be, if available, the rating determined from results of temperature rise calculations from testing. Otherwise report the nameplate rating. For those zone substations where the thermal capacity of exit feeders is a constraint, thermal capacity of exit feeders should be reported instead of transformer capacity. For 'Total zone substation transformer capacity' (DPA0604) report the overall total zone substation capacity regardless of whether one or two steps are used to reach the distribution voltage (for example DPA0604 will be the sum of DPA0601, DPA0602, DPA0603 and DPA0605.
BMPAL3.5BOP8 | 3.5 | Physical Assets | TABLE 3.5.3 - PUBLIC LIGHTING | Actual | Based on the extract of billable lights extracted from GIS on the last day of the reportable year and provided in the Category Analysis RIN - 3.5. Physical Assets (DPA0701) Public Lighting Luminaires. | N/A | Source data was extracted from the GIS system into MS Excel listing all billable lights on the last day of the reportable year. All lights were multiplied by a 'k' factor (cost sharing) to ensure that luminaires were only counted once. | N/A | With regard to the Final RIN for Economic Benchmarking - Definitions and Instructions provided, 3.5.3 Public Lighting we have reported the number of public lighting luminaires and public lighting poles. We have provided numbers of assets owned by Powercor and assets operated and maintained by Powercor. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Report the number of public lighting luminaires and public lighting poles. For both Variables report numbers that include both assets owned by Powercor and assets operated and maintained by Powercor but not owned by Powercor. Count only poles that are used exclusively for public lighting.
BMPAL3.5BOP9 | 3.5 | Physical Assets | TABLE 3.5.3 - PUBLIC LIGHTING | Actual | Source data was obtained from GIS. | N/A | Source data was extracted from GIS system into Excel listing all public lighting poles on the last day of the reportable year. | N/A | With regard to the Final RIN for Economic Benchmarking - Definitions and Instructions provided, 3.5.2 Public Lighting we have reported the number of public lighting poles. We have provided numbers of assets owned by Powercor and assets operated and maintained by Powercor. Only poles used exclusively to public lighting were counted. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Report the number of public lighting luminaires and public lighting poles. For both Variables report numbers that include both assets owned by Powercor and assets operated and maintained by Powercor but not owned by Powercor. Count only poles that are used exclusively for public lighting.
BMPAL3.6BOP1 | 3.6 | Quality of Service | TABLE 3.6.1 - RELIABILITY | Actual | The source is the Annual Regulatory Performance Report and the AER Annual RINs. The originating sources are Outage Management System & Business Intelligence and AER outage exclusions as per the AER STPIS Scheme dated November 2009. | N/A | The current STPIS scheme exclusion methodology and MED Threshold value were applied to the outage order history data to determine the, - 'Inclusive of MED's' data - 'Exclusive of MED's' data. | N/A | - The application of a single MED Threshold value as specified in this Information Notice together with the application of the current STPIS exclusion criteria to the historical data has been consistently applied, thereby standardising all the reporting for all the years with 2013. - As a result of the above the metrics reported for 2006 to 2020 inclusive in the Benchmarking RIN may be different to those reported for those years in the Annual performance Reports and AER Annual RINs since: - the actual MED Thresholds applicable for years 2010 to 2012 and 2014 to 2020 inclusive used to determine these metrics in the annual reports are different to the single MED value as applied in this Information Notice. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Reliability information in tables 7.1.1 and 7.1.2 is only to be reported for unplanned interruptions. Unplanned interruptions are as defined in the STPIS. Whole of network SAIDI and SAIFI is the system wide SAIDI and SAIFI. We do not require SAIDI and SAIFI for individual feeder categories within DNSP's network. Table 7.1.1 Inclusive of MEDs Report SAIDI and SAIFI in accordance with the definitions provided in chapter 9. Table 7.1.2 Exclusive of MEDs Report SAIDI and SAIFI in accordance with the definitions provided in chapter 9. The MED threshold must be calculated for the 2014 Regulatory Year in accordance with the requirements in the STPIS. The MED threshold calculated for 2014 must then be applied as the MED threshold for Regulatory Years prior to 2014 for the purpose of calculating SAIDI and SAIFI exclusive of MEDs as per the STPIS.
BMPAL3.6BOP2 | 3.6 | Quality of Service | TABLE 3.6.2 - ENERGY NOT SUPPLIED | Estimated | - Outage Management System, Business Objects & Business Intelligence - Electricity distribution network service providers AER Service Target Performance Incentive Scheme (STPIS), November 2009, particularly section 3.3 Exclusions. The annual customer aggregated consumption data were obtained from the feeder electrical energy meters. | Energy not supplied is an estimate of the energy that was not supplied as a result of customer interruptions. The energy not supplied was determined using the third method utilising customer consumption aggregated at the feeder level in place of the billing data. | i. The planned energy component is the sum across all the feeders in the STPIS scheme ii. The unplanned energy component is the sum across all the feeders in the STPIS scheme iii. The total energy component is the sum of item i and item ii above For Methodology for Powercor is as follows: - The network maximum demand and the network energy consumed to derive a load factor - This load factor together with each feeder's specific customer numbers and maximum demand is used to estimate each feeder's energy consumption - This estimate of each feeders consumption is used together with the planned & unplanned supply duration parameters exclusive of excluded outages as specified in this Information Notice to estimate the energy lost Calculations involved 1. Network Maximum Demand = (A) MW 2. Network Energy Delivered = (B) GWh 3. C = A*365*24 MWh 4. D = B*1000 MWh 5. Load Factor (LF) = C/D Energy Not Supplied at Feeder Level = {LF-(Feeder Maximum Demand*0.8)} X {(Feeder Minutes off Supply/60) / (Feeder Customer Numbers)} | N/A | The raw energy not supplied was determined using the fourth method (average feeder demand derived from feeder Maximum Demand and estimated load factor, divided by the number of customers on the feeder). utilising customer consumption estimated from the network maximum demand and the network energy consumed to derive a load factor. This load factor together with each feeder's specific customer numbers and maximum demand was used to estimate each feeder's energy consumption. This estimated consumption was applied to the planned and unplanned supply duration parameters exclusive of the excluded outages as specified in this Information Notice. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Energy not supplied is an estimate of the energy that was not supplied as a result of customer interruptions. DNSP must estimate the raw (not normalized) energy not supplied due to unplanned customer interruptions based on average customer demand (multiplied by the number of customers interrupted and the duration of the interruption). Average customer demand must be determined from (in order of preference): 1. average consumption of the customers interrupted based on their billing history; 2. feeder demand at the time of the interruption divided by the number of customers on the feeder; 3. average consumption of customers on the feeder based on their billing history; 4. average feeder demand derived from feeder Maximum Demand and estimated load factor, divided by the number of customers on the feeder. Energy not supplied should be reported exclusive of the effect of Excluded Outages as defined in chapter 9. When completing the templates for Regulatory Years subsequent to the 2013 Regulatory Year, if DNSP can provide Actual Information for energy not supplied it must do so; otherwise DNSP must provide Estimated Information.
BMPAL3.6BOP3 | 3.6 | Quality of Service | TABLE 3.6.3 - SYSTEM LOSSES | Actual | The source data to calculate annual year losses comprises of purchases data from the IEE database and sales data from CIS. | N/A | The data used was the purchases and sales for the regulatory year in question and then using formula, %Loss = (purchases - sales)/purchases * 100 | N/A | The data is based on annual regulatory year losses from 2009 to 2016. Prior to 2009 financial year losses have been used as submitted to the AER as part of the annual Distribution Loss Factor submissions. Powercor have used the financial year losses for 2006 - 2009 due to having not archived the source data therefore unable to spilt/ disclose the data by regulatory year. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Table 3.6.3 must be completed in accordance with the definitions in chapter 9. Table 3.6.3 System losses System losses is the proportion of energy that is lost in distribution of electricity from the transmission network to Powercor customers. Powercor must report distribution losses calculated as per Equation 2. Equation 2 Calculation of system losses system losses = (electricity imported- electricity delivered)/ electricity imported x 100 Where: Electricity imported is the total electricity inflow into Powercor's distribution network (including from Embedded Generation) minus the total electricity outflow into the networks of the adjacent connected distribution network service providers or the transmission network(s). Electricity delivered is the amount of electricity transported out of Powercor's network to its customers as metered (or otherwise calculated) at the customer's connection. This is a system wide figure not a feeder level figure.
BMPAL3.6BOP4 | 3.6 | Quality of Service | TABLE 3.6.4 - CAPACITY UTILISATION | Actual | DQS04: Overall Utilisation Refer to the Non-coincident Summated Raw System Annual Peak Demand (DOPSD0201) and Total zone substation transformer capacity (DPA0604). The source of Non-coincident Summated Raw System Annual Peak Demand (DOPSD0201) is obtained from TrendScada meter data for Powercor zone substations. For a few Zone Substations MDS was used. Total zone substation transformer capacity (DPA0604) is a summation of DPA0601-0603. There is no installed capacity for DPA0601 & DPA0602. For DPA0603 the data sources are the Annual Regulatory Performance Reports [National Reporting tab] and the AER Annual RINs [General Information tab]. The originating sources are: - Plant & Stations Condition Based Reliability System - Planners Planning Distribution Reports | N/A | The Non-coincident Summated Raw System Annual Peak Demand of Powercor Zone substations is divided by the summation of Powercor Zone Substation transformer thermal nameplate ratings. | N/A | The decrease in utilisation is attributable to the change in methodology used to calculate this figure in 2017 compared with 2016. In 2016, the Non-coincident Summated Raw System Annual Peak Demand of both Powercor zone substations AND customer zone substation values were divided by the summation of Powercor Zone Substation transformer thermal nameplate ratings giving a higher utilisation value. The capacity utilisation is calculated automatically in the table, where the measured non-coincident summated raw zone substation maximum demand (DOPSD0201 is divided by the summation of Powercor Zone Substation transformer thermal nameplate ratings (DPA0604). The thermal nameplate ratings of the zone substations are reported annually from 2006 to 2012 in the Distribution System Planning Report (DSPR) and from 2013 - 2016 Distribution Annual Planning Report (DAPR) and are in accordance of the definitions in chapter 9. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Table 7.4 must be completed in accordance with the definitions in chapter 9. Table 7.4 Capacity utilisation Capacity utilisation is a measure of the capacity of zone substation transformers that is utilized each year. Powercor must report the sum of non-coincident Maximum Demand at the zone substation level divided by summation of zone substation thermal capacity. For the purpose of this measure, thermal capacity is the rated continuous load capacity of the zone substation (with forced cooling or other capacity improving factors included if relevant). This must be the lowest of either the transformer capacity or feeder exit capacity of the zone substation. Feeder exit capacity should similarly be the continuous rating.
BMPAL3.7BOP1 | 3.7 | Operating Environment | TABLE 3.7.1 - DENSITY FACTORS | Estimated | The ratios are derived from variables found in the Benchmarking RIN. Refer to the relevant Basis of Preparation for the original source of these fields. | These variables are ratios and are therefore dependent upon whether the variable used in the ratio is an actual figure or an estimate. As at least one variable is an estimate, these ratios have been considered as an estimate as well. | Customer density (DOEF0101) - calculated by: 3.4.2.1 Total customer numbers (DOPCNO1) divided by 3.7.3 Route Line Length (DOEF0301) Energy Density (DOEF0102) - calculated by: 3.4.1 Total energy delivered (DOPED01) divided by 3.4.2.2 Total customer numbers by location (DOPCNO2) multiplied by 1000 Demand Density (DOEF0103) - calculated by: 3.4.3.3 Non-coincident Summated Raw System Annual MD (DOPSD0201) divided by 3.4.2.2 Total customer numbers by location (DOPCNO2) multiplied by 1000 | N/A | The customer, energy and demand density were calculated using the variables as stipulated in the requirements of the notice. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below; - 'Customer density' (DOEF0101) is the total number of customers divided by the route Line Length of the network - 'Energy Density' (DOEF0102) is the total MWh divided by the total number of customers of the network - 'Demand Density' (DOEF0103) is the kVA non-coincident Maximum Demand (at zone substation level) divided by the total number of customers of the network.
BMPAL3.7BOP2 | 3.7 | Operating Environment | TABLE 3.7.2 - TERRAIN FACTORS Rural Proportion [(0's)] | Estimated | GIS was the originating data source With respect to historical Overhead Conductors and Underground Cables circuit lengths: The circuit length and route line length of the overhead conductors was obtained from GIS The circuit length of the underground cables was obtained from GIS. | No estimation or derivation was necessary for the overhead conductors. An estimation was necessary for the underground cables as no data from GIS was available. | Overhead Conductors The data was obtained utilising a GIS query that summates the total of the overhead span lengths to determine the route line length. Underground cables The data could not be obtained utilising a GIS (Geographical Information System) query that summates the total of the underground network section lengths, to determine the total underground route line length Assumptions made to estimate the underground route line length were as follows: - For Powercor Urban the ratio of underground route length to circuit length is 0.90 - For Powercor Rural Short the ratio of underground route length to circuit length is 1.00 underground cables as no data from GIS was available. | N/A | With respect to Overhead Conductors - Source data was obtained utilising a GIS (Geographical Information System) query that summates the total of the network span lengths to determine the total overhead conductor route line length - Each portion of the network is defined by categories as either being in the Transmission, Urban, Rural Short or Rural Long category - The rural component was then obtained by summing the Transmission, Rural Short and Rural Long overhead route line lengths Note: - The route length includes all spans of high and low voltage greater than 10 metres - Multiple circuit lines within spans have been counted as one line - Overhead elements associated with communication, protection & control and unmetered loads were excluded - Overhead elements in the DNSP's area that are owned by another DNSP were excluded With respect to Underground Cables - The data could not be obtained utilising a GIS (Geographical Information System) query that summates the total of the underground cable network section lengths to determine the total underground route line length, hence an estimate for this metric is included. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Complete Table 3.7.2 in accordance with the definitions provided in chapter 9. If DNSP has Actual Information, DNSP must report all years of available data. If DNSP does not have Actual Information on these variables, then it must estimate data for the most recent Regulatory Year.
BMPAL3.7BOP3 | 3.7 | Operating Environment | TABLE 3.7.2 - TERRAIN FACTORS Urban and CBD Vegetation Maintenance Spans [(0's)] Rural Vegetation Maintenance Spans [(0's)] Total Vegetation Maintenance Spans [(0's)] Total Number of Spans [(0's)] | Actual | The data base of reference for vegetation is SAP, which is linked to our GIS data system where pole information and span link equipment numbers are sourced. The reporting is extracted from our BI (Business Intelligence) system based on criteria's relevant to our requirements. Urban and Rural Feeder information provided by Electricity Networks (PAL Feeder Category List 2020). Due to the timing of sign-off of spans within the SAP system, spans cut is reported manually by contractors on a daily basis and is recorded into the Daily crews and spans spreadsheet on a weekly basis. This is used as a the basis for weekly reporting into the Vegetation Program of Work - weekly status report. The totals as reported on a daily basis and reported for the 2020 year end actuals have been used in this instance as per the Vegetation Program of Work - weekly status report 8 January 2021. | N/A | SAP - BI Span report is produced weekly, listing vegetation management spans for all Maintenance Plant (ie PAL/UE/CP) contained in SAP. This report provides the last cutting task completion date. Spans with a cut task completion date of 2020 were considered for this report and updated to align with the year end program reporting as per the note below. Urban/Rural information provided by Electricity Networks applied to each span. In addition, the total maintenance spans has been aligned with the year end reporting of total spans cut as determined by the daily reports submitted by contractors. | N/A | Powercor records vegetation against a span, so the count is as required by definition. The spans counted to report 'vegetation management spans' are those that are recorded as having had cutting task completed in the relevant year and/or reported as being completed through the contractor daily reporting and so meets definition 'A span in Powercor's network that is subject to active vegetation management practices in the relevant year. Active vegetation management practices do not include Inspection of vegetation Maintenance Spans'. Total number of spans is the count of spans contained in the data file from SAP. Feeder categorisation for each year has been linked from relevant annual RIN data for the year therefore categorisation to Rural and CBD/Urban is compliant. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Complete Table 3.7.2 in accordance with the definitions provided in chapter 9. If Powercor records poles rather than spans, the number of spans is the number of poles less one. AER require five years of back cast data for the terrain factors and the following variables have the most recent Regulatory Year shaded yellow and the remaining four years shaded orange: - number of vegetation Maintenance Spans (DOEF0202, DOEF0203 and DOEF0204) If Powercor has Actual Information, Powercor must report all years of available data. If Powercor does not have Actual Information on these variables, then it must estimate data for the most recent Regulatory Year.
BMPAL3.7BOP4 | 3.7 | Operating Environment | TABLE 3.7.2 - TERRAIN FACTORS Average Urban and CBD Vegetation Maintenance Span Cycle [(0's)] Average Rural Vegetation Maintenance Span Cycle [(0's)] | Actual | The data base of reference for vegetation is SAP, which is linked to our GIS data system where pole information and span link equipment numbers are sourced. The reporting is extracted from our BI (Business Intelligence) system based on criteria's relevant to our requirements. Urban and Rural Feeder information provided by Electricity Networks (PAL Feeder Category List 2020). Manual recording of UE additional maintenance spans reported ,off system, across multiple systems.. | N/A | Average frequency of cutting cycle (years) is based on the difference between two cutting cycles which lie in different years. The data was extracted from BI and SAP directly. | N/A | Powercor records vegetation against a span, so the count is as required by definition. Feeder categorisation for each year has been linked from relevant annual RIN data for the year therefore categorisation to Rural and CBD/Urban is compliant. Powercor does not have specific cycles for areas but rather the interval for pruning action is based on the particular circumstances of each span and the code allocated indicates the number of years before intervention is expected to be required. This can be more than once per year or periods greater than 5 years. To meet the AER definition we have interpreted area to be the span and have calculated the simple average for all spans in the Feeder classification areas therefore meeting the definition. Average frequency of cutting cycle (years) is based on the difference between two cutting cycles which lie in different year. The data was extracted from BI and SAP directly for the purpose of RIN data reporting. Note : ÃÂ¯ÃÂ»ÃÂ¿Any span with a cutting cycle greater than 10 years was converted to 10 years as a max. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Complete Table 3.7.2 in accordance with the definitions provided in chapter 9. If Powercor records poles rather than spans, the number of spans is the number of poles less one. If Powercor has Actual Information, Powercor must report all years of available data. If Powercor does not have Actual Information on these variables, then it must estimate data for the most recent Regulatory Year. If there is no available data for the 'average vegetation Maintenance Span Cycle' Variables (DOEF0206 and DOEF0207), Powercor is nevertheless required to estimate five years of back cast data. The average vegetation Maintenance Span Cycle can be calculated based on a simple average of all the Maintenance Span Cycles.
BMPAL3.7BOP5 | 3.7 | Operating Environment | TABLE 3.7.2 - TERRAIN FACTORS Average Number of Trees per Urban and CBD Vegetation Maintenance Span [(0's)] Average Number of Trees per Rural Vegetation Maintenance Span [(0's)] | Actual | The data base of reference for vegetation is SAP, which is linked to our GIS data system where pole information and span link equipment numbers are sourced. The reporting is extracted from our BI (Business Intelligence) system based on criteria's relevant to our requirements. Urban and Rural Feeder information provided by Electricity Networks (PAL Feeder Category List 2020). | N/A | Data for the average number of trees within Powercor's Vegetation Maintenance Spans is based on cutting within the relevant year. This includes only trees that require active vegetation management to meet its vegetation management obligations. This excludes trees that only require Inspections and no other vegetation management activities required to comply with Powercor's vegetation obligations, The average number of trees = Total Ave Trees Per Urban/Rural Veg Maint Span, as extracted via BI report, divided by the total number of Urban spans cut for the relevant year. | N/A | Powercor records vegetation against a span, so the count is as required by definition. Feeder categorisation for each year has been linked from relevant annual RIN data for the year therefore categorisation to Rural and CBD/Urban is compliant. To meet the AER definition we have interpreted area to be the span and have calculated the simple average for all spans in the Feeder classification areas therefore meeting the definition. The average number of trees = Total Ave Trees Per Urban/Rural Veg Maint Span, as extracted via BI report, divided by the total number of Urban spans cut for the relevant year. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Complete Table 3.7.2 in accordance with the definitions provided in chapter 9. If Powercor records poles rather than spans, the number of spans is the number of poles less one. We require five years of back cast data for the terrain factors and the following variables have the most recent Regulatory Year shaded yellow and the remaining four years shaded orange: - Average Number Of Trees Per Maintenance Span (DOEF0208 and DOEF0209) If Powercor has Actual Information, Powercor must report all years of available data. If Powercor does not have Actual Information on these variables, then it must estimate data for the most recent Regulatory Year. Average number of trees per vegetation maintenance span Powercor must report the average number of trees per vegetation maintenance span. If Powercor does not have Actual Information for the Average number of trees per vegetation Maintenance Span it must, estimate this variable using one or a combination of the following data sources: - Encroachment Defects (e.g. ground or aerial Inspections, LiDAR) and/or records of vegetation works scoping, or GIS vegetation density data - Field surveys using a sample of Maintenance Spans within each vegetation management zone to assess the number of mature trees within the maintenance corridor. Sampling must provide a reasonable estimate and consider the nature of Maintenance Spans in urban versus rural environments in determining reasonable sample sizes. - Vegetation data such as: - the Normalised Difference Vegetation Index (NDVI) grids and maps available from the Bureau of Meteorology (BOM) - data from the National Vegetation Information System (VIS data) overlaid on network GIS data to assess the density of vegetation in the direct vicinity of the Maintenance Spans; or - similar data from other sources such as Geoscience Australia or commercial suppliers of satellite imagery overlaid on network GIS data records. - Any other data source based on expert advice. Powercor must outline its estimation approach for the Average Number of Trees per Vegetation Maintenance Span in its Basis of Preparation. When completing the templates for Regulatory Years subsequent to the 2013 Regulatory Year, if Powercor can provide Actual Information for the average number of trees per vegetation management span it must do so; otherwise Powercor must provide Estimated Information.
BMPAL3.7BOP6 | 3.7 | Operating Environment | TABLE 3.7.2 - TERRAIN FACTORS Average Number of Defects per Urban and CBD Vegetation Maintenance Span [(0's)] Average Number of Defects per Rural Vegetation Maintenance Span [(0's)] | Actual | The data base of reference for vegetation is SAP, which is linked to our GIS data system where pole information and span link equipment numbers are sourced. The reporting is extracted from our BI (Business Intelligence) system based on criteria's relevant to our requirements. Urban and Rural Feeder information provided by Electricity Networks (PAL Feeder Category List 2020). | N/A | Powercor records Defects on vegetation Maintenance Spans as one, regardless of the number of Defects on the span. Therefore average number of defects = total cut spans (including duplicate spans) divided by total spans cut (excluding duplicate spans). | N/A | Powercor records vegetation against a span, so the count is as required by definition. Feeder categorisation for each year has been linked from relevant annual RIN data for the year therefore categorisation to Rural and CBD/Urban is compliant. Powercor records Defects on vegetation Maintenance Spans as one, regardless of the number of Defects on the span. Therefore average number of defects = total cut spans (including duplicate spans) divided by total spans cut (excluding duplicate spans). Therefore total spans cut is divided by total spans cut excluding duplicates. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Complete Table 3.7.2 in accordance with the definitions provided in chapter 9. If Powercor records poles rather than spans, the number of spans is the number of poles less one. We require five years of back cast data for the terrain factors and the following variables have the most recent Regulatory Year shaded yellow and the remaining four years shaded orange: - average number of Defects per vegetation Maintenance Span (DOEF0210 and DOEF0211) If Powercor has Actual Information, Powercor must report all years of available data. If Powercor does not have Actual Information on these variables, then it must estimate data for the most recent Regulatory Year. Average number of Defects per vegetation maintenance span Powercor must report the average number of vegetation related Defects that are recorded per Maintenance Span in the relevant year. In its basis of preparation, Powercor must specify whether it records the total number of Defects for each vegetation Maintenance Span, or whether it records Defects on a vegetation Maintenance Span as one, regardless of the number of Defects on the span. When completing the templates for Regulatory Years subsequent to the 2013 Regulatory Year, if Powercor can provide Actual Information for the average number of Defects per vegetation maintenance span it must do so; otherwise Powercor must provide Estimated Information.
BMPAL3.7BOP7 | 3.7 | Operating Environment | TABLE 3.7.2 - TERRAIN FACTORS Tropical Proportion [(0's)] | Actual | Reference to Hot Humid Summer and Warm Humid Summer regions as defined by the Australian Bureau of Meteorology Australian Climatic Zones map (based on temperature and humidity) was used to identify that there is no 'Tropical Proportion' of the Powercor electricity distribution area as mapped in Powercor's Geographical Information System (GIS). | N/A | Modelling methodology: The Australian Bureau of Meteorology Australian Climatic Zones map (based on temperature and humidity) was used to verify that there is no part of the Powercor electricity distribution area as mapped in the Powercor GIS that falls into a geographical region defined as Hot Humid Summer and Warm Humid Summer regions as defined by the Australian Bureau of Meteorology, The assumptions made were, That the Hot Humid Summer and Warm Humid Summer regions defined have not changed since 2006, and therefore can be applied across all years from 2006. | N/A | There is no part of the Powercor electricity distribution area that falls into a geographical region defined as Hot Humid Summer and Warm Humid Summer regions as defined by the Australian Bureau of Meteorology. Note: - The AER has verified & approved that no part of the Powercor distribution network falls into a geographical region defined as Tropical. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Complete Table 3.7.2 in accordance with the definitions provided in chapter 9. If DNSP has Actual Information, DNSP must report all years of available data. If DNSP does not have Actual Information on these variables, then it must estimate data for the most recent Regulatory Year. The tropical proportion is the approximate total number of urban and Rural Maintenance Spans in the Hot Humid Summer and Warm Humid Summer regions as defined by the Australian Bureau of Meteorology Australian Climatic Zones map (based on temperature and humidity). When completing the templates for Regulatory Years subsequent to the 2013 Regulatory Year, if DNSP can provide Actual Information for the number of spans in tropical areas it must do so; otherwise DNSP must provide Estimated Information.
BMPAL3.7BOP8 | 3.7 | Operating Environment | TABLE 3.7.2 - TERRAIN FACTORS Standard Vehicle Access [(0's)] | Estimated | GIS was the originating data source. As no specific data exists in relation to the accessibility of poles and spans, the actual percentage of the Powercor distribution network that is inaccessible by a standard vehicle is unknown., The estimated route length is based on the assumption listed. | As no specific data exists in relation to the accessibility of poles, this estimate utilises data which is currently available within Powercor GIS to produce the estimated route length of line which does not have standard vehicle access and is considered to be a suitable approach. | Powercor's Geographical Information System (GIS) does not specifically contain detail about standard vehicle accessibility to our assets. The exact percentage of these poles that do not have standard vehicle access is unknown. Some will have access via 2WD vehicle all year round while others may only have access via 2WD vehicle for a very short period over summer (e.g. Otway Ranges). Some poles could be located close to roads and would have access from a 2WD vehicle. Our systems do not record this information. Against each pole we record attributes which include Pole Classification, Pole Site Access and Pole Sites Characteristics. Utilising this information allows us to provide an estimate of the number of Poles where it could reasonably be assumed that we do not have vehicle access 24hr/365 day a year via a two wheel drive (2WD) vehicle. To calculate the number of poles which may not have standard vehicle access we apply the following assumptions to the GIS pole data: - All LV poles have Standard Vehicle Access. - Poles in Non-Fire Area have Standard Vehicle Access. - Poles where Site Access = Paddock or Unknown could have restricted standard vehicle access - Poles where Site Characteristics = Grass, Soil, Water, rock or Unknown could have restricted standard vehicle access. - It is assumed that 40% of the Poles identified do not have 2WD access all year round. This percentage estimate is based on local network knowledge of the Powercor network. Non Standard Vehicle Poles = Poles With Possible Site Access Issues X 40%, We then convert this into an overall % of poles which do not have standard vehicle access. By multiplying this % poles by the overhead Route length we obtain the length of line with Non Standard vehicle Access. Non Standard Vehicle Access (km) = (Non Standard Vehicle Poles X Overhead Line Route length) / Total Number of Powercor Poles | N/A | The data required to meet the requirements of this Information Notice has been estimated based on the revised set of assumption developed by Powercor for the 2014 Benchmarking RIN. It has not been retrospectively applied to earlier years (prior to 2014) covered by this Information Notice. The estimate is derived from information within Powercor's Graphical Information System (GIS), and provides an estimate of the route length of the Powercor distribution network that is inaccessible by a standard vehicle, as defined in section 9 of AERs Instruction and Definitions document 'Economic Benchmarking RIN For Distribution Network Service Providers' dated November 2013. A Standard vehicle for the purpose of this metric is defined by Powercor as a 2 wheel drive vehicle which can access the line 365 days a year, 24 hrs a day via normal access means. This methodology meets the requirements of this Information Notice to the best of our abilities. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Complete Table 3.7.2 in accordance with the definitions provided in chapter 9. If DNSP has Actual Information, DNSP must report all years of available data. If DNSP does not have Actual Information on these variables, then it must estimate data for the most recent Regulatory Year.
BMPAL3.7BOP9 | 3.7 | Operating Environment | TABLE 3.7.2 - TERRAIN FACTORS Bushfire risk [(0's)] | Actual | Powercor has a significant number of spans that are in areas designated as high bushfire risk areas. To determine this number a special GIS query (span data) needed to be developed and tested as no current business standard report was available for this metric. | N/A | The principal assumptions are that this data request - Is limited to the Overhead distribution network - Encompasses the High Voltage and Low Voltage conductors - Utilises the specially developed query to provide the required segmentation, that is, designation of each span as being in either a high or low bushfire risk area. To determine Bushfire Risk, the GIS query is filtered to provide a count of the number of spans in 'Fire' and 'Non-Fire' area. Those in the 'Fire Area' are reported as part of this metric. | N/A | Data was obtained utilising a GIS (Geographical Information System) query that traces the in-service network connectivity model in GIS, to determine the circuit line length, which includes all spurs. Each circuit element was evaluated in its own right, for example: - SWER lines, single-phase lines, and three-phase lines counted as one line - Double circuit lines counted as two lines Note: Although this methodology does not use the suggested Route Length methodology it does deliver the network circuit length using the criteria specified in this Information Notice - An overhead 22kV Subtransmission component was included as an additional line item for completeness - Overhead elements associated with communication, protection & control and unmetered loads were excluded - Overhead elements in the DNSP's area that are owned by another DNSP were excluded Each individual span in this query is coded as being in either a high or low bushfire fire area. Areas of high and low fire risk areas are reviewed and defined annually by the relevant authorities. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: Complete Table 3.7.2 in accordance with the definitions provided in chapter 9. If DNSP has Actual Information, DNSP must report all years of available data. If DNSP does not have Actual Information on these variables, then it must estimate data for the most recent Regulatory Year. The bushfire risk variable is the number of Maintenance Spans in high bushfire risk areas as classified by a person or organisation with appropriate expertise on fire risk. This includes but is not limited to: - DNSP's jurisdictional fire authority - local councils - insurance companies - DNSP's consultants - Local fire experts When completing the templates for Regulatory Years subsequent to the 2013 Regulatory Year, if DNSP can provide Actual Information for the asset value roll forward variables it must do so; otherwise DNSP must provide Estimated Information.
BMPAL3.7BOP10 | 3.7 | Operating Environment | TABLE 3.7.3 - SERVICE AREA FACTORS | Estimated | With respect to Overhead Conductors, GIS was the originating data source. - The overhead conductor Circuit Lengths and Route Lengths were both obtained from GIS, With respect to Underground Cables, - Only the underground cable circuit length was obtained from GIS. | No estimation or derivation was necessary for the overhead conductors. An estimation was necessary for the underground cables as no data from GIS was available. | Overhead Conductors The Overhead Route Line Length data was obtained utilising a query that summates the total of the overhead span lengths in GIS, to determine the Route Line Length - Spans less than or equal to 10 metres in length were excluded - Multiple circuit lines within spans were counted as one line Underground Cables The data could not be obtained utilising a GIS (Geographical Information System) query that summates the total of the underground network section lengths, to determine the total underground route line length. Assumptions made to estimate the underground route line length were as follows: - For Powercor Urban the ratio of underground route length to circuit length is 0.90 - For Powercor Rural Short the ratio of underground route length to circuit length is 1.00. | N/A | With respect to Overhead Conductors: The data was obtained utilising a GIS (Geographical Information System) query that summates the total of the overhead network span lengths, to determine the total Overhead Route Line Length. - Spans less than or equal to 10 metres in length were excluded - Multiple circuit lines within spans were counted as one line Note: - The Overhead Route Line Length includes all spans of high and low voltage greater than 10 metres in length - Overhead elements associated with communication, protection & control and unmetered loads were excluded - Overhead elements in the DNSP's area that are owned by another DNSP were excluded. With respect to Underground Cables: The data could not be obtained utilising a GIS (Geographical Information System) query that summates the total of the underground network section lengths to determine the total Underground Route Line Length, hence an estimate for this metric was used. | This RIN tab has been completed in accordance with the requirements of the Notice as prescribed below: DNSP must input the route Line Length of lines for DNSP's network. This is based on the distance between line segments and does not include vertical components such as line sag. The route Line Length does not necessarily equate to the circuit length as the circuit length may include multiple circuits.