## Instructions
Electricity Distribution Network Service Provider
Economic Benchmarking RIN
This template is to be used by SA Power Networks to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Businesses must use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return four (4) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. An actual and an estimate version with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 3. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that are to contain numeric data.
NAVIGATION | Many tables in the worksheets have been "grouped" to allow for easy navigation. To ungroup or group data use the outline symbols in the left margin (for Row groupings) or above the columns (for column groupings).

## CONTENTS
ECONOMIC BENCHMARKING
SA Power Networks
2020-21
CONTENTS
| TEMPLATE DATED | 2021-06-01
| SUBMISSION | Business & other details
| ECONOMIC BENCHMARKING | 3.1 Revenue
3.2 Operating expenditure
3.2.3 Provisions
3.3 Assets (RAB)
3.4 Operational data
3.5 Physical assets
3.6 Quality of service
3.7 Operating environment

## Business & other details
ECONOMIC BENCHMARKING
SA Power Networks
2020-21
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | SA Power Networks
| ACN/ABN |  |  | 13332330749
| Business Address | [9 empty] | Postal Address
| Address 1 |  |  | 1 Anzac Highway |  |  |  |  | Address 1 |  | GPO Box 77
| Address 2 | [7 empty] | Address 2
| Suburb |  |  | KESWICK |  |  |  |  | Suburb |  | ADELAIDE
| State |  |  | SA |  | Post code |  |  | State |  | SA |  | Post code
`
Contact Names
Name
Phone
Email
REGULATORY CONTROL PERIODS
|  |  |  | 2020-21 | 2021-22 |  |  | 2022-23 |  | 2023-24 |  | 2024-25
|  |  | Commencing year | 2020-21
ANNUAL RINS
|  |  | Final year | 2020-21
SUBMISSION DETAILS
|  |  | RIN type | Economic Benchmarking
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | 5/07/2022 revisions to 3.1, 3.4, 3.6, 3.7 - #14,031,719 04/05/2023 - #15,209,516 - Correction to 3.5, DPA0307 and DPA0404
|  |  | Submission Date | 2021-11-01
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2020-21
3.1 REVENUE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2020-21 | 2020-21
DREV0101 | Revenue from Fixed Customer Charges | 160000276.2462 | 0
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 371051519.7678 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | 90726338.4527 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 4215760.9208 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 52366349.0307 | 0
DREV0106 | Revenue from controlled load customer charges | 24065053.2715 | 0
DREV0107 | Revenue from unmetered supplies | 8074246.0381 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | 8100017.2605 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | 106500331.0735 | 0
DREV0110 | Revenue from metering charges | 0 | 19444998.723
DREV0111 | Revenue from connection charges | 0 | 59680095.88
DREV0112 | Revenue from public lighting charges | 0 | 10484121.75
DREV0113 | Revenue from other Sources | 4023257.58 | 61148615.46
DREV01 | Total revenue by chargeable quantity | 829123149.6417 | 150757831.813
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2020-21 | 2020-21
DREV0201 | Revenue from residential Customers | 442550000.0349 | 17391110.378
DREV0202 | Revenue from Non residential customers not on demand tariffs | 100119018.351 | 2053888.345
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 227615937.3142 | 0
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 46740690.3235 | 0
DREV0205 | Revenue from unmetered supplies | 8074246.0381 | 0
DREV0206 | Revenue from Other Customers | 4023257.58 | 131312833.09
DREV02 | Total revenue by customer class | 829123149.6417 | 150757831.813
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE ($0's)
|  | 2020-21 | 2020-21
DREV0301 | EBSS | 0
DREV0302 | STPIS | 32748439.781
DREV0303 | F-Factor | 0
DREV0304 | S-Factor True up | 0
DREV0305 | Other | 0
DREV03 | Total revenue of incentive schemes | 32748439.781 | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2020-21
3.2 OPERATING EXPENDITURE
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to SA Power Networks's annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2020-21 | 2020-21
DOPEX0101 | Distribution licence fee | 2747040.1 | 0
DOPEX0102 | Network operating costs | 26199708.3 | 0
DOPEX0103 | Inspections | 13017941.19 | 0
DOPEX0104 | Maintenance & repair | 18596962.89 | 1422727.4
DOPEX0105 | Substation property maintenance | 6539812.5 | 0
DOPEX0106 | Vegetation management | 35812240.09 | 0
DOPEX0107 | Emergency response | 34979166.13 | 0
DOPEX0108 | Guaranteed service level payments | 573014.3 | 0
DOPEX0109 | Network insurance | 4846429.09 | 0
DOPEX0110 | Call centre | 2733591.87 | 0
DOPEX0111 | Customer billing (previously full retail contestability) | 20409526.07 | 1429406.24
DOPEX0112 | Meter reading | 0 | 3249872.4
DOPEX0113 | Other customer services | 11672487.95 | 1017966.6
DOPEX0114 | Corporate costs and other operating | 71173105.47 | 7590188.24
DOPEX0115 | Public lighting maintenance | 0 | 7071482.8
DOPEX0116 | Fee-based and quoted services | 0 | 47149985.07
DOPEX0117 | Cost of deriving contributed assets | 0 | 52625420.35
DOPEX0118
DOPEX0119
DOPEX0120
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 249301025.95 | 121557049.1
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE ($0's)
|  | 2020-21 | 2020-21
DOPEX0201 | Opex for network services | 245707576.54 | 52919584.12
DOPEX0202 | Opex for metering | 0 | 7946220.39
DOPEX0203 | Opex for connection services | 3593449.4 | 52625420.35
DOPEX0204 | Opex for public lighting | 0 | 8065824.23
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP | 0 | 0
DOPEX0206 | Opex for transmission connection point planning | 0 | 0
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 817040.8
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2020-21
3.2 OPERATING EXPENDITURE
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to SA Power Networks's annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE ($0's)
2020-21
DOPEX03A | Annual Leave
Provision for employee annual leave entitlements
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 18731352.17
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 6088560.22
DOPEX0303A | Capex component | 8124985.46
DOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -5723139.25
DOPEX0306A | Capex component | -6752538.56
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | 0
DOPEX0309A | Capex component | 0
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | 352225.05
DOPEX0312A | Capex component | 0
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 20821445.08
DOPEX03B | Long Service Leave
Provision for employee long service leave entitlements
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 49531491.53
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 2661900.17
DOPEX0303B | Capex component | 3214688.33
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | -1134143.55
DOPEX0306B | Capex component | -1830421.4
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | -251585.16
DOPEX0309B | Capex component | -406039.3
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 2493006.64
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 54278897.27
DOPEX03C | Workers Compensation
Provision for potential workers compensation claims
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 4982085.84
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 1057557.92
DOPEX0303C | Capex component | 0
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | -448841.92
DOPEX0306C | Capex component | 0
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | -98717.85
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 0
DOPEX0312C | Capex component | 0
DOPEX0313C | Other component | 0
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 5492083.99
DOPEX03D | Self Insurance
Provision for potential claims under SAPNs self insurance policies, including public liability
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 12779489.81
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 9762122.86
DOPEX0303D | Capex component | 0
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -1034027.85
DOPEX0306D | Capex component | 0
DOPEX0307D | Other component | 0
Unused amounts reversed during the period
DOPEX0308D | Opex component | -4378472.27
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 17129112.55
DOPEX03E | Income Protection Scheme
Provision for potential employee claims under income protection scheme
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | 125954.86
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | 166408.54
DOPEX0303E | Capex component | 0
DOPEX0304E | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | -80573.36
DOPEX0306E | Capex component | 0
DOPEX0307E | Other component | 0
Unused amounts reversed during the period
DOPEX0308E | Opex component | -88203.41
DOPEX0309E | Capex component | 0
DOPEX0310E | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component | 0
DOPEX0312E | Capex component | 0
DOPEX0313E | Other component | 0
DOPEX0314E | Closing balance (carrying amount at the end of the period) | 123586.62
DOPEX03F | Environmental
Provision for potential environmental claims, e.g. demolition and site restoration
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period) | 715000
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component | 313828.7
DOPEX0303F | Capex component | 0
DOPEX0304F | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component | -154943.33
DOPEX0306F | Capex component | 0
DOPEX0307F | Other component | 0
Unused amounts reversed during the period
DOPEX0308F | Opex component | -213885.37
DOPEX0309F | Capex component | 0
DOPEX0310F | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component | 0
DOPEX0312F | Capex component | 0
DOPEX0313F | Other component | 0
DOPEX0314F | Closing balance (carrying amount at the end of the period) | 660000
DOPEX03G | Employee Bonuses
Provision for bonuses paid to employees for the achievement of key business performance measures
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period) | 5014377.73
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component | 3197451.44
DOPEX0303G | Capex component | 0
DOPEX0304G | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component | -2698402.55
DOPEX0306G | Capex component | 0
DOPEX0307G | Other component | 0
Unused amounts reversed during the period
DOPEX0308G | Opex component | 0
DOPEX0309G | Capex component | 0
DOPEX0310G | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component | 0
DOPEX0312G | Capex component | 0
DOPEX0313G | Other component | 0
DOPEX0314G | Closing balance (carrying amount at the end of the period) | 5513426.62
DOPEX03H | Restructuring
Provision for restructuring costs
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period) | 1354293.57
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component | 0
DOPEX0303H | Capex component | 0
DOPEX0304H | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component | 0.41
DOPEX0306H | Capex component | 0
DOPEX0307H | Other component | 0
Unused amounts reversed during the period
DOPEX0308H | Opex component | -1354293.98
DOPEX0309H | Capex component | 0
DOPEX0310H | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component | 0
DOPEX0312H | Capex component | 0
DOPEX0313H | Other component | 0
DOPEX0314H | Closing balance (carrying amount at the end of the period) | 0
DOPEX03I | Superannuation
Provision for employee superannuation entitlements
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period) | 329418.08
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component | 42594.03
DOPEX0303I | Capex component | 0
DOPEX0304I | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component | -372012.1
DOPEX0306I | Capex component | 0
DOPEX0307I | Other component | 0
Unused amounts reversed during the period
DOPEX0308I | Opex component | 0
DOPEX0309I | Capex component | 0
DOPEX0310I | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component | 0
DOPEX0312I | Capex component | 0
DOPEX0313I | Other component | 0
DOPEX0314I | Closing balance (carrying amount at the end of the period) | 0
DOPEX03J | Taxation Claims
Provision for tax-related claims
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component | 414738.29
DOPEX0303J | Capex component | 0
DOPEX0304J | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component | 0
DOPEX0306J | Capex component | 0
DOPEX0307J | Other component | 0
Unused amounts reversed during the period
DOPEX0308J | Opex component | 0
DOPEX0309J | Capex component | 0
DOPEX0310J | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component | 0
DOPEX0312J | Capex component | 0
DOPEX0313J | Other component | 0
DOPEX0314J | Closing balance (carrying amount at the end of the period) | 414738.29
DOPEX03K | GSL Payments
Provision for guaranteed service level payment entitlements
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component | 160000
DOPEX0303K | Capex component | 0
DOPEX0304K | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component | 0
DOPEX0306K | Capex component | 0
DOPEX0307K | Other component | 0
Unused amounts reversed during the period
DOPEX0308K | Opex component | 0
DOPEX0309K | Capex component | 0
DOPEX0310K | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component | 0
DOPEX0312K | Capex component | 0
DOPEX0313K | Other component | 0
DOPEX0314K | Closing balance (carrying amount at the end of the period) | 160000
DOPEX03L
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2020-21
3.3 ASSETS
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2020-21 | 2020-21 | 2020-21
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 4075830829.31 | 4285777341.12 | 33984940.46
DRAB0102 | Inflation addition | 35268495.13 | 37529974.33 | 702510.79
DRAB0103 | Straight line depreciation | -306272495.85 | -322318879.72 | -9761518.77
DRAB0105 | Actual additions (recognised in RAB) | 305621677.62 | 319218000.1 | 50890030.4
DRAB0106 | Disposals | -2948933.27 | -2948933.27 | 0
DRAB0107 | Closing value | 4107499572.94 | 4317257502.56 | 75815962.88
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2020-21 | 2020-21 | 2020-21
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 489681853.47 | 573692472.21 | 0
DRAB0202 | Inflation addition | 4214129.55 | 5038409.61 | 0
DRAB0203 | Straight line depreciation | -39866538.75 | -46706107.27 | 0
DRAB0205 | Actual additions (recognised in RAB) | 70941621.27 | 77962283.19 | 0
DRAB0206 | Disposals | 0 | 0 | 0
DRAB0207 | Closing value | 524971065.54 | 609987057.74 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 938573268.21 | 1064509161.28 | 0
DRAB0302 | Inflation addition | 8077222.62 | 9514421.75 | 0
DRAB0303 | Straight line depreciation | -68616425.14 | -77823240.49 | 0
DRAB0305 | Actual additions (recognised in RAB) | 66445019.9 | 73020680.46 | 0
DRAB0306 | Disposals | 0 | 0 | 0
DRAB0307 | Closing value | 944479085.59 | 1069221023 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 1208727943.2 | 1208727943.2 | 0
DRAB0402 | Inflation addition | 10445888.79 | 10445888.79 | 0
DRAB0403 | Straight line depreciation | -70114476.09 | -70114476.09 | 0
DRAB0405 | Actual additions (recognised in RAB) | 45858998.89 | 45858998.89 | 0
DRAB0406 | Disposals | 0 | 0 | 0
DRAB0407 | Closing value | 1194918354.79 | 1194918354.79 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 182248772.22 | 182248772.22 | 0
DRAB0502 | Inflation addition | 1726384.64 | 1726384.64 | 0
DRAB0503 | Straight line depreciation | -4307257.95 | -4307257.95 | 0
DRAB0505 | Actual additions (recognised in RAB) | 1169692.57 | 1169692.57 | 0
DRAB0506 | Disposals | 0 | 0 | 0
DRAB0507 | Closing value | 180837591.48 | 180837591.48 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 23634650.08 | 23634650.08 | 0
DRAB0602 | Inflation addition | 223883.52 | 223883.52 | 0
DRAB0603 | Straight line depreciation | -558580.08 | -558580.08 | 0
DRAB0605 | Actual additions (recognised in RAB) | 74106.26 | 74106.26 | 0
DRAB0606 | Disposals | 0 | 0 | 0
DRAB0607 | Closing value | 23374059.78 | 23374059.78 | 0
Zone substations and transformers
DRAB0701 | Opening value | 489674405.86 | 489674405.86 | 0
DRAB0702 | Inflation addition | 4239264.31 | 4239264.31 | 0
DRAB0703 | Straight line depreciation | -21350731.2 | -21350731.2 | 0
DRAB0705 | Actual additions (recognised in RAB) | 1156523.71 | 1156523.71 | 0
DRAB0706 | Disposals | 0 | 0 | 0
DRAB0707 | Closing value | 473719462.68 | 473719462.68 | 0
For easements:
DRAB0801 | Opening value | 7750465.31 | 7750465.31 | 0
DRAB0802 | Inflation addition | 65889.41 | 65889.41 | 0
DRAB0805 | Actual additions (recognised in RAB) | 501849 | 501849 | 0
DRAB0806 | Disposals | 0 | 0 | 0
DRAB0807 | Closing value | 8318203.72 | 8318203.72 | 0
For meters:
DRAB0901 | Opening value | 0 | 0 | 35262212.05
DRAB0902 | Inflation addition | 0 | 0 | 303461.38
DRAB0903 | Straight line depreciation | 0 | 0 | -7182241.96
DRAB0905 | Actual additions (recognised in RAB) | 0 | 0 | -0.01
DRAB0906 | Disposals | 0 | 0 | 0
DRAB0907 | Closing value | 0 | 0 | 28383431.46
For “other” asset items with long lives:
DRAB1001 | Opening value | 516108015.55 | 516108015.55 | 90186.59
DRAB1002 | Inflation addition | 4424604.89 | 4424604.89 | 410817.56
DRAB1003 | Straight line depreciation | -31731044.52 | -31731044.52 | -2857802.03
DRAB1005 | Actual additions (recognised in RAB) | 34232184.43 | 34232184.43 | 50890030.41
DRAB1006 | Disposals | -1327434.79 | -1327434.79 | 0
DRAB1007 | Closing value | 521706325.56 | 521706325.56 | 48533232.53
For “other” asset items with short lives:
DRAB1101 | Opening value | 219431455.41 | 219431455.41 | -1367458.18
DRAB1102 | Inflation addition | 1851227.42 | 1851227.42 | -11768.14
DRAB1103 | Straight line depreciation | -69727442.11 | -69727442.11 | 278525.22
DRAB1105 | Actual additions (recognised in RAB) | 85241681.59 | 85241681.59 | 0
DRAB1106 | Disposals | -1621498.48 | -1621498.48 | 0
DRAB1107 | Closing value | 235175423.83 | 235175423.83 | -1100701.1
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE ($0's)
|  | 2020-21 | 2020-21 | 2020-21
DRAB1201 | Overhead network assets less than 33kV (wires and poles) | 507326459.5 | 591839764.97 | 0
DRAB1202 | Underground network assets less than 33kV (cables) | 941526176.9 | 1066865092.14 | 0
DRAB1203 | Distribution substations including transformers | 1201823148.99 | 1201823148.99 | 0
DRAB1204 | Overhead network assets 33kV and above (wires and towers / poles etc) | 181543181.85 | 181543181.85 | 0
DRAB1205 | Underground network assets 33kV and above(cables, ducts etc) | 23504354.93 | 23504354.93 | 0
DRAB1206 | Zone substations and transformers | 481696934.27 | 481696934.27 | 0
DRAB1207 | Easements | 8034334.51 | 8034334.51 | 0
DRAB1208 | Meters | 0 | 0 | 31822821.75
DRAB1209 | "Other" assets with long lives | 518907170.56 | 518907170.56 | 24311709.55
DRAB1210 | "Other" assets with short lives | 227303439.62 | 227303439.62 | -1234079.64
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 0 | -77200440.93 | -4371498.38
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2020-21 | 2020-21 | 2020-21
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 54.86 | 54.86 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | 54.93 | 54.93 | 0
DRAB1403 | Distribution substations including transformers | 44.98 | 44.98 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 54.99 | 54.99 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 55 | 55 | 0
DRAB1406 | Zone substations and transformers | 45 | 45 | 0
DRAB1407 | Meters | 0 | 0 | 15
DRAB1408 | "Other" assets with long lives | 18.29 | 18.29 | 27.98
DRAB1409 | "Other" assets with short lives | 5 | 5 | 3
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 11.5 | 11.5 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | 14.42 | 14.42 | 0
DRAB1503 | Distribution substations including transformers | 16.74 | 16.74 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 41.34 | 41.34 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 41.35 | 41.35 | 0
DRAB1506 | Zone substations and transformers | 22.11 | 22.11 | 0
DRAB1507 | Meters | 0 | 0 | 3.97
DRAB1508 | "Other" assets with long lives | 8.62 | 8.62 | 14.46
DRAB1509 | "Other" assets with short lives | 3.25 | 3.25 | 3.97
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2020-21
3.4 OPERATIONAL DATA
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
VOLUME (0's)
|  | Units | 2020-21
DOPED01 | Total energy delivered | GWh | 9666.1841
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 5422.6778
DOPED0202 | Energy Delivery at On-peak times | GWh | 1779.9733
DOPED0203 | Energy Delivery at Shoulder times | GWh | 49.3533
DOPED0204 | Energy Delivery at Off-peak times | GWh | 1807.2326
DOPED0205 | Controlled load energy deliveries | GWh | 488.2081
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 118.7389
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 3653.05
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 0
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 5112.1
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 0
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 197
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 205
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 0
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 839
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 352
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 0
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 3688.8637
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 907.2627
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 3060.1092
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 1891.2095
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 118.7389
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME (0's)
2020-21
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 807990
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 91000
DOPCN0103 | Low voltage demand tariff customer numbers |  | 15062
DOPCN0104 | High voltage demand tariff customer numbers |  | 231
DOPCN0105 | Unmetered Customer Numbers |  | 6558
DOPCN0106 | Other Customer Numbers |  | 0
DOPCN01 | Total customer numbers |  | 920841
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | Customers on CBD network |  | 6839
DOPCN0202 | Customers on Urban network |  | 633785.5
DOPCN0203 | Customers on Short rural network |  | 135932
DOPCN0204 | Customers on Long rural network |  | 137727
DOPCN02 | Total customer numbers |  | 914283.5
3.4.2.3 - Distribution customer numbers by TasNetworks (D) feeder categories (TasNetworks (D) only)
Critical Infrastructure
High Density Commercial
Urban
High Density Rural
Low Density Rural
| Total customer numbers |  | 0
3.4.2.4 - Unmetered Supply TasNetworks (D) only)
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN
DOPCN0303 | Total unmetered connections
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME (0's)
|  | Units | 2020-21
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 2684
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3215
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2875
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 2499
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3008
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2685
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 2673
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3223
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2884
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 2524
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3058
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2733
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 2748
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3292
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2944
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 2555
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3075
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2745
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 2724
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3279
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2935
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 2556
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3096
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2768
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.981
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.97
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor | 0.95
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor | 0.984
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.977
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.962
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0.971
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor | 0
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.984
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor | 0
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 0
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 0.282
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 313.138
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 1434.046
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2020-21
3.5 PHYSICAL ASSETS
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's (0's)
| Circuit length | 2020-21
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 18556
DPA0102 | Overhead 2.2 kV | 0
DPA0103 | Overhead 6.6kv | 0
DPA0104 | Overhead 7.6 kV | 195
DPA0105 | Overhead 11 kV | 17690
DPA0106 | Overhead SWER | 29114
DPA0107 | Overhead 22 kV | 0
DPA0108 | Overhead 33 kV | 3989
DPA0109 | Overhead 44 kV | 0
DPA0110 | Overhead 66 kV | 1440
DPA0111 | Overhead 110kV | 0
DPA0112 | Overhead 132 kV | 0
DPA0113 | Overhead 220kV | 0
DPA0114 | Other | 0
DPA01 | Total overhead circuit km | 70984
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 14126
DPA0202 | Underground 5 kV | 0
DPA0203 | Underground 6.6 Kv | 0
DPA0204 | Underground 7.6 kV | 36
DPA0205 | Underground 11 kV | 4211
DPA0206 | Underground SWER | 63
DPA0207 | Underground 22 kV | 0
DPA0208 | Underground 33 kV | 134
DPA0209 | Underground 66 kV | 54
DPA0210 | Underground 110 kV | 0
DPA0211 | Underground 132 kV | 0
DPA0212 | Other | 0
DPA02 | Total underground circuit km | 18624
VOLUME in MVA (0's)
| Circuit Capacity MVA | 2020-21
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.17
DPA0302 | Overhead 6.6 kV | 0
DPA0303 | Overhead 7.6 kV | 1.82
DPA0304 | Overhead 11 kV | 4.04
DPA0305 | Overhead SWER | 0.2
DPA0306 | Overhead 22 kV | 0
DPA0307 | Overhead 33 kV | 10.43
DPA0308 | Overhead 44 kV | 0
DPA0309 | Overhead 66 kV | 59
DPA0310 | Overhead 110 kV | 0
DPA0311 | Overhead 132 kV | 0
DPA0312 | Overhead 220 kV | 0
DPA0313 | Other | 0
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.14
DPA0402 | Underground 5 kV | 0
DPA0403 | Underground 6.6 kV | 0
DPA0404 | Underground 7.6 kV | 2.76
DPA0405 | Underground 11 kV | 5.46
DPA0406 | Underground SWER | 0.2
DPA0407 | Underground 12.7 kV | 0
DPA0408 | Underground 22 kV | 0
DPA0409 | Underground 33 kV | 16
DPA0410 | Underground 66 kV | 126
DPA0411 | Underground 110 kV | 0
DPA0412 | Underground 132 kV | 0
DPA0413 | Other | 0
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA (0's)
2020-21
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 9476.9967
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | 578.77
DPA0503 | Cold spare capacity included in DPA0501 | 103.8
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 298
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 112.565
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 4845.825
DPA0604 | Total zone substation transformer capacity | 5829.89
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 573.5
3.5.2.3 - Distribution - other transformer capacity
| Distribution other - transformer capacity owned by utility | 0
3.5.3 - PUBLIC LIGHTING
VOLUME (0's)
2020-21
DPA0701 | Public lighting luminaires | 237055
DPA0702 | Public lighting poles | 110348
DPA0703 | Public lighting columns | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2020-21
3.6 QUALITY OF SERVICE DATA
3.6.1 - RELIABILITY
(0's)
|  | Units | 2020-21
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 156.73
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 156.48
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 1.061
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.06
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 126.7
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 126.44
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 0.961
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.96
3.6.2 - ENERGY NOT SUPPLIED
(0's)
|  | Units | 2020-21
DQS0201 | Energy Not Supplied (planned) | GWh | 1.219
DQS0202 | Energy Not Supplied (unplanned) | GWh | 2.897
DQS02 | Total |  | 4.116
3.6.3 - SYSTEM LOSSES
(0's)
|  | Unit | 2020-21
DQS03 | System losses | % | 6.68%
3.6.4 - CAPACITY UTILISATION
(0's)
|  | Unit | 2020-21
DQS04 | Overall utilisation | % | 47.14%
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2020-21
3.7 OPERATING ENVIRONMENT FACTORS
3.7.1 - DENSITY FACTORS
(0's)
|  | Units | 2020-21
DOEF0101 | Customer density | Customer / km | 11.1747
DOEF0102 | Energy density | MWh/customer | 10.5724
DOEF0103 | Demand density | kVA / customer | 2.9842
3.7.2 - TERRAIN FACTORS
(0's)
|  | Units | 2020-21
DOEF0201 | Rural proportion | % | 80.00%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 16569
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 60200
DOEF0204 | Total vegetation maintenance spans | Number of spans | 76769
DOEF0205 | Total number of spans | Number of spans | 612809
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 2.787
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1.377
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 3.497
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 8.773
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 1.891
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 1.168
DOEF0212 | Tropical proportion | Spans | 0
DOEF0213 | Standard vehicle access | km | 5768
DOEF0214 | Bushfire risk | Spans | 373314
3.7.3 - SERVICE AREA FACTORS
(0's)
|  | Units | 2020-21
DOEF0301 | Route Line length | km | 82404
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY