## Instructions
Electricity Distribution Network Service Provider
Economic Benchmarking RIN
This template is to be used by SA Power Networks to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the NON-CONFIDENTIAL macro.
PROTECTED (SOCI) INFORMATION | Please use the macro at the top of each worksheet to identify information in the confidential workbook that is protected information under the SOCI Act. All information marked Protected (SOCI) is also deemed to be confidential information.
-Do this by selecting the cell or cells that contain protected information and then run the PROTECTED (SOCI) macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as protected.. -To reverse this, select the cell or cells and run the NON-PROTECTED macro.
RESPONSES | Please return two (2) files to the AER: CONSOLIDATED (2 files) 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form. The public version must include the confidential markings to identify where confidential information has been removed from the file. Use the drop down box on the Business and other details worksheet to identify the file Confidentiality Status as either 'Confidential', or ‘Public’. Use the drop down box on the Business and other details worksheet to identify the file Data Quality as 'Consolidated'. If there is no confidential information reported in the workbook, the Consolidated Confidential file does NOT have to be submitted.
ORDER OF MAGNITUDE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that require numbers (including 'numbers stored as text')
CONFIDENTIAL
NON-CONFIDENTIAL
Protected (SOCI)
NON-Protected

## CONTENTS
ECONOMIC BENCHMARKING
SA Power Networks
2023-24
CONTENTS
| TEMPLATE DATE | MAY 2024
| SUBMISSION | Business & other details
| ECONOMIC BENCHMARKING | 3.1 Revenue
3.2 Operating expenditure
3.2.3 Provisions
3.3 Assets (RAB)
3.4 Operational data
3.5 Physical assets
3.6 Quality of service
3.7 Operating environment

## Business & other details
ECONOMIC BENCHMARKING
SA Power Networks
2023-24
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
TEMPLATE DATE - MAY 2024
ENTITY DETAILS
Business Name
| Short name |  |  | SA Power Networks
| ACN/ABN |  |  | 13332330749
| Business Address | [6 empty] | Postal Address
| Address 1 |  |  | 1 Anzac Highway |  |  | Address 1 | GPO Box 77
| Address 2 | [5 empty] | Address 2
| Suburb |  |  | KESWICK |  |  | Suburb | ADELAIDE
| State |  |  | SA | Post code |  | State | SA | Post code
`
REGULATORY CONTROL PERIODS
|  |  | Commencing year | 2023-24
ANNUAL RINS
|  |  | Final year | 2023-24
SUBMISSION DETAILS
|  |  | RIN type | Economic Benchmarking
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | 10/06/2025 - #18,562,085 - revision to 3.1, 3.4, 3.5, 3.6 and 3.7 from Pricing review
|  |  | Submission Date | 2024-10-31
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2023-24
3.1 REVENUE
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0101 | Revenue from Fixed Customer Charges | 190673187.4666 | 0
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 174114669.4226 | 0
DREV0103 | Revenue from On–Peak Energy Delivery charges | 184207055.5299 | 0
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 45485524.48 | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 72879239.2607 | 0
DREV0106 | Revenue from controlled load customer charges | 17346767.8946 | 0
DREV0107 | Revenue from unmetered supplies | 6240767.8775 | 0
DREV0108 | Revenue from Contracted Maximum Demand charges | 9756052.7532 | 0
DREV0109 | Revenue from Measured Maximum Demand charges | 97936811.3971 | 0
DREV0110 | Revenue from metering charges | 0 | 16376352
DREV0111 | Revenue from connection charges | 0 | 88827071.82
DREV0112 | Revenue from public lighting charges | 0 | 17606563.8
DREV0113 | Revenue from other Sources | 3673708.39 | 57501548.04
DREV01 | Total revenue by chargeable quantity | 802313784.4722 | 180311535.66
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0201 | Revenue from residential Customers | 419979605.6151 | 14498920
DREV0202 | Revenue from Non residential customers not on demand tariffs | 107084535.1402 | 1820510
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 218097087.9285 | 56198
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 47238079.5209 | 723
DREV0205 | Revenue from unmetered supplies | 6240767.8775 | 0
DREV0206 | Revenue from Other Customers | 3673708.39 | 163935183.66
DREV02 | Total revenue by customer class | 802313784.4722 | 180311534.66
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0301 | EBSS | 2394933.41 | 0
DREV0302 | STPIS | 15740899.25 | 0
DREV0303 | F-Factor | 0 | 0
DREV0304 | S-Factor True up | 0 | 0
DREV0305 | Other | 0 | 0
DREV03 | Total revenue of incentive schemes | 18135832.66 | 0
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2023-24
3.2 OPERATING EXPENDITURE
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to SA Power Networks's annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE $
|  | 2023-24 | 2023-24
DOPEX0101 | Distribution Licence Fee | 3157478.46 | 0
DOPEX0102 | Network Operating Costs | 35147159.31 | 0
DOPEX0103 | Inspections | 16366482.29 | 0
DOPEX0104 | Maintenance and Repair | 26280581.11 | 2110385.46
DOPEX0105 | Substation Property Maintenance | 8394661.94 | 0
DOPEX0106 | Vegetation Management | 50632970.51 | 0
DOPEX0107 | Emergency Response | 49991760.61 | 0
DOPEX0108 | Guaranteed Service Level Payments | 4927190.97 | 0
DOPEX0109 | Network Insurance | 6381230.19 | 0
DOPEX0110 | Call Centre | 3085295.13 | 0
DOPEX0111 | Customer Billing (previously Full Retail Contestability) | 10823277.85 | 828317.92
DOPEX0112 | Meter Reading | 0 | 3572702.98
DOPEX0113 | Other Customer Services | 18719184.05 | 1417945.34
DOPEX0114 | Corporate Costs and Other Operating | 112929729.43 | 10341644.81
DOPEX0115 | Public Lighting Maintenance | 0 | 9805131.89
DOPEX0116 | Fee-based and Quoted Services | 0 | 41077152.17
DOPEX0117 | Cost of Deriving Contributed Assets | 0 | 77492818.79
DOPEX0118
DOPEX0119
DOPEX0120
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 346837001.85 | 146646099.36
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE $
|  | 2023-24 | 2023-24
DOPEX0201 | Opex for network services | 342877830.51 | 48455348.17
DOPEX0202 | Opex for metering | 0 | 8622798.22
DOPEX0203 | Opex for connection services | 3959171.34 | 77492818.79
DOPEX0204 | Opex for public lighting | 0 | 12075134.19
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP | 0 | 0
DOPEX0206 | Opex for transmission connection point planning | 0 | 0
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 883747.65
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2023-24
3.2 OPERATING EXPENDITURE
TEMPLATE DATE - MAY 2024
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to SA Power Networks's annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE $
2023-24
DOPEX03A | Annual Leave
Provision for employee annual leave entitlements
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 25499351.08
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | 10666865.5
DOPEX0303A | Capex component | 12220879.64
DOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | -11000367.82
DOPEX0306A | Capex component | -10778291.66
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | 0
DOPEX0309A | Capex component | 0
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | 997522.35
DOPEX0312A | Capex component | 0
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | 27605959.09
DOPEX03B | Long Service Leave
Provision for employee long service leave entitlements
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 52878564.45
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | 7726005.38
DOPEX0303B | Capex component | 166534.68
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | -3603941.99
DOPEX0306B | Capex component | -2638686.81
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | -488316.29
DOPEX0309B | Capex component | -357529
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 1688314.91
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | 55370945.33
DOPEX03C | Workers Compensation
Provision for potential workers compensation claims
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 8376761.62
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | 995443.79
DOPEX0303C | Capex component | 0
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | -1420472.18
DOPEX0306C | Capex component | 0
DOPEX0307C | Other component | 0
Unused amounts reversed during the period
DOPEX0308C | Opex component | -57976.57
DOPEX0309C | Capex component | 0
DOPEX0310C | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component | 0
DOPEX0312C | Capex component | 0
DOPEX0313C | Other component | 0
DOPEX0314C | Closing balance (carrying amount at the end of the period) | 7893756.67
DOPEX03D | Self Insurance
Provision for potential claims under SAPNs self insurance policies, including public liability
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 19585176.22
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 1211289.97
DOPEX0303D | Capex component | 0
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | -1198697.88
DOPEX0306D | Capex component | 0
DOPEX0307D | Other component | 0
Unused amounts reversed during the period
DOPEX0308D | Opex component | -397298.45
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | 19200469.86
DOPEX03E | Income Protection Scheme
Provision for potential employee claims under income protection scheme
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | 16880.24
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | 328864.85
DOPEX0303E | Capex component | 0
DOPEX0304E | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | -367292.98
DOPEX0306E | Capex component | 0
DOPEX0307E | Other component | 0
Unused amounts reversed during the period
DOPEX0308E | Opex component | -56305.34
DOPEX0309E | Capex component | 0
DOPEX0310E | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component | 0
DOPEX0312E | Capex component | 0
DOPEX0313E | Other component | 0
DOPEX0314E | Closing balance (carrying amount at the end of the period) | -77853.22
DOPEX03F | Environmental
Provision for potential environmental claims, e.g. demolition and site restoration
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period) | 662000
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component | 0
DOPEX0303F | Capex component | 0
DOPEX0304F | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component | 0
DOPEX0306F | Capex component | 0
DOPEX0307F | Other component | 0
Unused amounts reversed during the period
DOPEX0308F | Opex component | -32000
DOPEX0309F | Capex component | 0
DOPEX0310F | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component | 0
DOPEX0312F | Capex component | 0
DOPEX0313F | Other component | 0
DOPEX0314F | Closing balance (carrying amount at the end of the period) | 630000
DOPEX03G | Employee Bonuses
Provision for bonuses paid to employees for the achievement of key business performance measures
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period) | 5646203
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component | 5987820
DOPEX0303G | Capex component | 0
DOPEX0304G | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component | -4990288
DOPEX0306G | Capex component | 0
DOPEX0307G | Other component | 0
Unused amounts reversed during the period
DOPEX0308G | Opex component | 0
DOPEX0309G | Capex component | 0
DOPEX0310G | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component | 0
DOPEX0312G | Capex component | 0
DOPEX0313G | Other component | 0
DOPEX0314G | Closing balance (carrying amount at the end of the period) | 6643734
DOPEX03H | Restructuring
Provision for restructuring costs
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component | 0
DOPEX0303H | Capex component | 0
DOPEX0304H | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component | 0
DOPEX0306H | Capex component | 0
DOPEX0307H | Other component | 0
Unused amounts reversed during the period
DOPEX0308H | Opex component | 0
DOPEX0309H | Capex component | 0
DOPEX0310H | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component | 0
DOPEX0312H | Capex component | 0
DOPEX0313H | Other component | 0
DOPEX0314H | Closing balance (carrying amount at the end of the period) | 0
DOPEX03I | Superannuation
Provision for employee superannuation entitlements
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component | 0
DOPEX0303I | Capex component | 0
DOPEX0304I | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component | 0
DOPEX0306I | Capex component | 0
DOPEX0307I | Other component | 0
Unused amounts reversed during the period
DOPEX0308I | Opex component | 0
DOPEX0309I | Capex component | 0
DOPEX0310I | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component | 0
DOPEX0312I | Capex component | 0
DOPEX0313I | Other component | 0
DOPEX0314I | Closing balance (carrying amount at the end of the period) | 0
DOPEX03J | Tax Claims
Provision for taxation claims
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period) | 17500
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component | 0
DOPEX0303J | Capex component | 0
DOPEX0304J | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component | 0
DOPEX0306J | Capex component | 0
DOPEX0307J | Other component | 0
Unused amounts reversed during the period
DOPEX0308J | Opex component | -17500
DOPEX0309J | Capex component | 0
DOPEX0310J | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component | 0
DOPEX0312J | Capex component | 0
DOPEX0313J | Other component | 0
DOPEX0314J | Closing balance (carrying amount at the end of the period) | 0
DOPEX03K | GSL Payments
Provision for guaranteed service level payment entitlements
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component | 0
DOPEX0303K | Capex component | 0
DOPEX0304K | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component | 0
DOPEX0306K | Capex component | 0
DOPEX0307K | Other component | 0
Unused amounts reversed during the period
DOPEX0308K | Opex component | 0
DOPEX0309K | Capex component | 0
DOPEX0310K | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component | 0
DOPEX0312K | Capex component | 0
DOPEX0313K | Other component | 0
DOPEX0314K | Closing balance (carrying amount at the end of the period) | 0
DOPEX03L | Legal Claims
Provision for Legal Claims
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period) | 16222550
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component | 0
DOPEX0303L | Capex component | 0
DOPEX0304L | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component | 0
DOPEX0306L | Capex component | 0
DOPEX0307L | Other component | -3920507
Unused amounts reversed during the period
DOPEX0308L | Opex component | 0
DOPEX0309L | Capex component | 0
DOPEX0310L | Other component | -2299500
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component | 0
DOPEX0312L | Capex component | 0
DOPEX0313L | Other component | 0
DOPEX0314L | Closing balance (carrying amount at the end of the period) | 10002543
DOPEX03M | EA Increase
Provision for employee EA increase
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component | 0
DOPEX0303M | Capex component | 0
DOPEX0304M | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component | 0
DOPEX0306M | Capex component | 0
DOPEX0307M | Other component | 0
Unused amounts reversed during the period
DOPEX0308M | Opex component | 0
DOPEX0309M | Capex component | 0
DOPEX0310M | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component | 0
DOPEX0312M | Capex component | 0
DOPEX0313M | Other component | 0
DOPEX0314M | Closing balance (carrying amount at the end of the period) | 0
DOPEX03N | Availability Allowance
Provision for Availability Allowance
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period) | 1400000
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component | 0
DOPEX0303N | Capex component | 0
DOPEX0304N | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component | 0
DOPEX0306N | Capex component | 0
DOPEX0307N | Other component | 0
Unused amounts reversed during the period
DOPEX0308N | Opex component | -1400000
DOPEX0309N | Capex component | 0
DOPEX0310N | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component | 0
DOPEX0312N | Capex component | 0
DOPEX0313N | Other component | 0
DOPEX0314N | Closing balance (carrying amount at the end of the period) | 0
DOPEX03O | <Provision name>
<Brief description of provision>
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | <Provision name>
<Brief description of provision>
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | <Provision name>
<Brief description of provision>
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | <Provision name>
<Brief description of provision>
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2023-24
3.3 ASSETS
TEMPLATE DATE - MAY 2024
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 4629690167 | 4873392656 | 68734005
DRAB0102 | Inflation addition | 188519235 | 200547463 | 2767943
DRAB0103 | Straight line depreciation | -364368013 | -383733479 | -11840958
DRAB0105 | Actual additions (recognised in RAB) | 380462858 | 399353816 | 6234559
DRAB0106 | Disposals | -6299498 | -6299498 | 0
DRAB0107 | Closing value | 4828004749 | 5083260958 | 65895549
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 614407724 | 711701569
DRAB0202 | Inflation addition | 24895726 | 29367327
DRAB0203 | Straight line depreciation | -64817668 | -75081796
DRAB0205 | Actual additions (recognised in RAB) | 74609233 | 83085071
DRAB0206 | Disposals | 0 | 0
DRAB0207 | Closing value | 649095015 | 749072171 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 1074510234 | 1220918879
DRAB0302 | Inflation addition | 43539023 | 51095651
DRAB0303 | Straight line depreciation | -66795783 | -75897120
DRAB0305 | Actual additions (recognised in RAB) | 91679906 | 102095025
DRAB0306 | Disposals | 0 | 0
DRAB0307 | Closing value | 1142933380 | 1298212435 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 1299475749 | 1299475749
DRAB0402 | Inflation addition | 52857770 | 52857770
DRAB0403 | Straight line depreciation | -85021073 | -85021073
DRAB0405 | Actual additions (recognised in RAB) | 61501119 | 61501119
DRAB0406 | Disposals | 0 | 0
DRAB0407 | Closing value | 1328813565 | 1328813565 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 196348408 | 196348408
DRAB0502 | Inflation addition | 8699554 | 8699554
DRAB0503 | Straight line depreciation | -5151727 | -5151727
DRAB0505 | Actual additions (recognised in RAB) | 0 | 0
DRAB0506 | Disposals | 0 | 0
DRAB0507 | Closing value | 199896235 | 199896235 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 25696528 | 25696528
DRAB0602 | Inflation addition | 1138481 | 1138481
DRAB0603 | Straight line depreciation | -674523 | -674523
DRAB0605 | Actual additions (recognised in RAB) | 0 | 0
DRAB0606 | Disposals | 0 | 0
DRAB0607 | Closing value | 26160486 | 26160486 | 0
Zone substations and transformers
DRAB0701 | Opening value | 487918577 | 487918577
DRAB0702 | Inflation addition | 19898726 | 19898726
DRAB0703 | Straight line depreciation | -22066169 | -22066169
DRAB0705 | Actual additions (recognised in RAB) | 2201982 | 2201982
DRAB0706 | Disposals | 0 | 0
DRAB0707 | Closing value | 487953116 | 487953116 | 0
For easements:
DRAB0801 | Opening value | 10147065 | 10147065
DRAB0802 | Inflation addition | 407396 | 407396
DRAB0805 | Actual additions (recognised in RAB) | 685820 | 685820
DRAB0806 | Disposals | 0 | 0
DRAB0807 | Closing value | 11240281 | 11240281 | 0
For meters:
DRAB0901 | Opening value |  |  | 16368210
DRAB0902 | Inflation addition |  |  | 663238
DRAB0903 | Straight line depreciation |  |  | -8084658
DRAB0905 | Actual additions (recognised in RAB) |  |  | 0
DRAB0906 | Disposals |  |  | 0
DRAB0907 | Closing value | 0 | 0 | 8946790
For “other” asset items with long lives:
DRAB1001 | Opening value | 631772874 | 631772874 | 53000549
DRAB1002 | Inflation addition | 25522216 | 25522216 | 2130425
DRAB1003 | Straight line depreciation | -38458693 | -38458693 | -4069821
DRAB1005 | Actual additions (recognised in RAB) | 62875987 | 62875987 | 6234559
DRAB1006 | Disposals | -2042444 | -2042444 | 0
DRAB1007 | Closing value | 679669940 | 679669940 | 57295712
For “other” asset items with short lives:
DRAB1101 | Opening value | 289413007 | 289413007 | -634754
DRAB1102 | Inflation addition | 11560342 | 11560342 | -25720
DRAB1103 | Straight line depreciation | -81382377 | -81382377 | 313521
DRAB1105 | Actual additions (recognised in RAB) | 86908811 | 86908811 | 0
DRAB1106 | Disposals | -4257054 | -4257054 | 0
DRAB1107 | Closing value | 302242729 | 302242729 | -346953
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
DRAB1201 | Overhead network assets less than 33kV (wires and poles) | 631751370 | 730386870 | 0
DRAB1202 | Underground network assets less than 33kV (cables) | 1108721807 | 1259565657 | 0
DRAB1203 | Distribution substations including transformers | 1314144657 | 1314144657 | 0
DRAB1204 | Overhead network assets 33kV and above (wires and towers / poles etc) | 198122322 | 198122322 | 0
DRAB1205 | Underground network assets 33kV and above(cables, ducts etc) | 25928507 | 25928507 | 0
DRAB1206 | Zone substations and transformers | 487935846 | 487935846 | 0
DRAB1207 | Easements | 10693673 | 10693673 | 0
DRAB1208 | Meters | 0 | 0 | 12657500
DRAB1209 | "Other" assets with long lives | 655721407 | 655721407 | 55148131
DRAB1210 | "Other" assets with short lives | 295827868 | 295827868 | -490854
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 0 | -109878322.019 | -2457049.595
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2023-24 | 2023-24 | 2023-24
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 54.48 | 54.48 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | 54.63 | 54.63 | 0
DRAB1403 | Distribution substations including transformers | 44.96 | 44.96 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 54.98 | 54.98 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 54.97 | 54.97 | 0
DRAB1406 | Zone substations and transformers | 45 | 45 | 0
DRAB1407 | Meters | 0 | 0 | 15
DRAB1408 | "Other" assets with long lives | 18.15 | 18.15 | 27.99
DRAB1409 | "Other" assets with short lives | 5 | 5 | 3
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 10.74 | 10.66 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | 17.33 | 17.23 | 0
DRAB1503 | Distribution substations including transformers | 15.1 | 15.1 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 36.68 | 36.68 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 36.66 | 36.66 | 0
DRAB1506 | Zone substations and transformers | 20.86 | 20.86 | 0
DRAB1507 | Meters | 0 | 0 | 1.08
DRAB1508 | "Other" assets with long lives | 9.57 | 9.57 | 13.81
DRAB1509 | "Other" assets with short lives | 3.89 | 3.89 | 1.08
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2023-24
3.4 OPERATIONAL DATA
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation.
3.4.1 - ENERGY DELIVERY
Standard control services
0's
|  | Units | 2023-24
DOPED01 | Total energy delivered | GWh | 9729.652
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 3261.5063
DOPED0202 | Energy Delivery at On-peak times | GWh | 2843.0758
DOPED0203 | Energy Delivery at Shoulder times | GWh | 609.4834
DOPED0204 | Energy Delivery at Off-peak times | GWh | 2469.1087
DOPED0205 | Controlled load energy deliveries | GWh | 450.1697
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 96.3081
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 3050.56
DOPED0302 | Energy into DNSP network at Shoulder times | GWh | 0
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 4844.87
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh | 0
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 386.64
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh | 0
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 372.44
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh | 0
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 1134.15
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh | 0
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 495.06
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh | 0
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 3597.1066
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 987.1941
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 3123.8083
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 1925.2348
DOPED0505 | Other Customer Class Energy Deliveries | GWh | 96.3081
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME 0's
2023-24
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 829669
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 96250
DOPCN0103 | Low voltage demand tariff customer numbers |  | 10852
DOPCN0104 | High voltage demand tariff customer numbers |  | 246
DOPCN0105 | Unmetered Customer Numbers |  | 8692
DOPCN0106 | Other Customer Numbers |  | 0
DOPCN01 | Total customer numbers |  | 945709
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | CBD |  | 6921.5
DOPCN0202 | Urban |  | 648612
DOPCN0203 | Short rural |  | 142136.5
DOPCN0204 | Long rural |  | 139347
DOPCN0205
DOPCN02 | Total customer numbers |  | 937017
3.4.2.4 - Unmetered Supply
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN |  | 8692
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN
DOPCN0303 | Total unmetered connections |  | 8692
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME 0's
|  | Units | 2023-24
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 2746.618
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 3121.683
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2815.253
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 2414.173
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2765.096
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2490.697
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 2725.379
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2972.411
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2709.299
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 2429.343
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 2690.743
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 2448.389
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 2783.622
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3163.494
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2853.502
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 2444.249
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2799.853
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2522.434
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 2759.96
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 3008.733
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2742.9
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 2475.674
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 2742.952
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 2495.799
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.987
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.986
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor | 0.949
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor | 0.989
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.987
DOPSD0307 | Average power factor conversion for SWER lines | Factor | 0.962
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor | 0.975
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor | 0
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.991
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor | 0
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor | 0
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor | 0
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW | 0
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 1.031
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA | 411.69
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 1485.58
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2023-24
3.5 PHYSICAL ASSETS
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's 0's
| Circuit length | 2023-24
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 18355
DPA0102 | Overhead 2.2 kV | 0
DPA0103 | Overhead 6.6kv | 0
DPA0104 | Overhead 7.6 kV | 195
DPA0105 | Overhead 11 kV | 17681
DPA0106 | Overhead SWER | 29104
DPA0107 | Overhead 22 kV | 0
DPA0108 | Overhead 33 kV | 3993
DPA0109 | Overhead 44 kV | 0
DPA0110 | Overhead 66 kV | 1454
DPA0111 | Overhead 110kV | 0
DPA0112 | Overhead 132 kV | 0
DPA0113 | Overhead 220kV | 0
DPA0114 | Other | 0
DPA01 | Total overhead circuit km | 70782
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 15104
DPA0202 | Underground 5 kV | 0
DPA0203 | Underground 6.6 Kv | 0
DPA0204 | Underground 7.6 kV | 38
DPA0205 | Underground 11 kV | 4393
DPA0206 | Underground SWER | 67
DPA0207 | Underground 22 kV | 0
DPA0208 | Underground 33 kV | 138
DPA0209 | Underground 66 kV | 54
DPA0210 | Underground 110 kV | 0
DPA0211 | Underground 132 kV | 0
DPA0212 | Other | 0.09
DPA02 | Total underground circuit km | 19794.09
VOLUME in MVA 0's
| Circuit Capacity MVA | 2023-24
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.17
DPA0302 | Overhead 6.6 kV | 0
DPA0303 | Overhead 7.6 kV | 1.81
DPA0304 | Overhead 11 kV | 4.02
DPA0305 | Overhead SWER | 0.2
DPA0306 | Overhead 22 kV | 0
DPA0307 | Overhead 33 kV | 10.21
DPA0308 | Overhead 44 kV | 0
DPA0309 | Overhead 66 kV | 59.85
DPA0310 | Overhead 110 kV | 0
DPA0311 | Overhead 132 kV | 0
DPA0312 | Overhead 220 kV | 0
DPA0313 | Other | 0
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.14
DPA0402 | Underground 5 kV | 0
DPA0403 | Underground 6.6 kV | 0
DPA0404 | Underground 7.6 kV | 2.82
DPA0405 | Underground 11 kV | 5.53
DPA0406 | Underground SWER | 0.2
DPA0407 | Underground 12.7 kV | 0
DPA0408 | Underground 22 kV | 0
DPA0409 | Underground 33 kV | 17.74
DPA0410 | Underground 66 kV | 126.4
DPA0411 | Underground 110 kV | 0
DPA0412 | Underground 132 kV | 0
DPA0413 | Other | 137.18
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA 0's
2023-24
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 9959.4
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | 640.94
DPA0503 | Cold spare capacity included in DPA0501 | 156.1
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage | 270.5
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage | 116.065
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 4989.575
DPA0604 | Total zone substation transformer capacity | 6002.34
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 626.2
3.5.2.3 - Distribution - other transformer capacity
| Distribution other - transformer capacity owned by utility | 0
3.5.3 - PUBLIC LIGHTING
VOLUME 0's
2023-24
DPA0701 | Public lighting luminaires | 243163
DPA0702 | Public lighting poles | 117848
DPA0703 | Public lighting columns | 0
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2023-24
3.6 QUALITY OF SERVICE DATA
TEMPLATE DATE - MAY 2024
3.6.1 - RELIABILITY
0's
|  | Units | 2023-24
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 231.025
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 217.822
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 1.267
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 1.172
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 148.74
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 142.119
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 1.06
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.997
3.6.2 - ENERGY NOT SUPPLIED
0's
|  | Units | 2023-24
DQS0201 | Energy Not Supplied (planned) | GWh | 1.179
DQS0202 | Energy Not Supplied (unplanned) | GWh | 3.995
DQS02 | Total |  | 5.174
3.6.3 - SYSTEM LOSSES
0's
|  | Unit | 2023-24
DQS03 | System losses | % | 5.388%
3.6.4 - CAPACITY UTILISATION
0's
|  | Unit | 2023-24
DQS04 | Overall utilisation | % | 46.3756%
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
SA Power Networks
Benchmarking RIN response 2023-24
3.7 OPERATING ENVIRONMENT FACTORS
TEMPLATE DATE - MAY 2024
3.7.1 - DENSITY FACTORS
0's
|  | Units | 2023-24
DOEF0101 | Customer density | Customer / km | 11.3484
DOEF0102 | Energy density | MWh/customer | 10.2882
DOEF0103 | Demand density | kVA / customer | 2.9434
3.7.2 - TERRAIN FACTORS
0's
|  | Units | 2023-24
DOEF0201 | Rural proportion | % | 80.017%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 23055
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 79967
DOEF0204 | Total vegetation maintenance spans | Number of spans | 103022
DOEF0205 | Total number of spans | Number of spans | 625983
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 2.793
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 1.386
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 3.474
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 8.738
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 1.894
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 1.173
DOEF0212 | Tropical proportion | Spans | 0
DOEF0213 | Standard vehicle access | km | 5833.4
DOEF0214 | Bushfire risk | Spans | 375158
3.7.3 - SERVICE AREA FACTORS
0's
|  | Units | 2023-24
DOEF0301 | Route Line length | km | 83334
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## NSP Amendments
This sheet may be used to identify amendments made to data resubmitted to the AER. It may also be used to provide additional information not captured in this workbook.
NSP data amendments
Worksheet | Table | Comments
Contents
Instructions