## Instructions
Gas Distribution Pipeline Service Provider
Annual Reporting Statement
This template is to be used by AusNet Gas Services to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the Mark selection as CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the Return selection to NON-CONFIDENTIAL macro.
RESPONSES | Please return two (2) files to the AER: 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form together with writtten consent to disclose the public version of the response. Use the drop down box on the Business and other details worksheet to identify the file as either confidential ('consolidated') or public.
AMENDMENTS | If an NSP wishes to correct data previously submitted to the AER it should resubmit that data using the original completed submission as the starting point. Please make any necessary changes to the data. Data that is not being amended should be left unchanged. NSPs must identify the reason for the amendments in the Amendment Reason box on the Business and other details worksheet. NSPs may provide further details regarding any amendments in the Amendments worksheet. .
NSP may use Amended Data macro to highlight cells that contain amended data. NB: if data is also CONFIDENTIAL, re-apply the Confidentiality macro after applying the Amended macro
Please resubmit two (2) files - a confidential version and a public version of the amended submission to the AER
UNITS OF MEASURE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'. Applicable units of measure may be identified in the table column headings or row descriptors.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT (such as NA) into cells that are to contain numeric data.

## CONTENTS
ANNUAL REPORTING
AusNet Gas Services
2024-25
CONTENTS
| TEMPLATE DATED | APRIL 2023
| SUBMISSION | Business & other details
| EXPENDITURE | E1. Expenditure Summary
E11. Labour
E21. ARS
| NETWORK | N1. Demand
N2. Network characteristcs
| SERVICE | S1.1. Customer numbers - by customer type
S1.2. Customer numbers - by tariff
S10. Supply quality
S11. Network reliability
S14. Network integrity
| FINANCIAL | F1. Income
F2. Capex
F3. Revenue
F4. Opex
F6. Related party transactions
F7. Provisions
F9. Pass throughs
F10. Assets
| ADMIN | Additional disclosures

## Business & other details
ANNUAL REPORTING
AusNet Gas Services
2024-25
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
ENTITY DETAILS
Business Name
| Short name |  |  | AusNet (Gas)
| ACN/ABN |  |  | 86015036
| Business Address | [8 empty] | Postal Address
| Address 1 |  |  | Level 31 |  |  |  |  | Address 1 | Locked Bag 14051
| Address 2 |  |  | 2 Southbank Boulevard |  |  |  |  | Address 2
| Suburb |  |  | Southbank |  |  |  |  | Suburb | MELBOURNE
| State |  |  | Vic |  | Post code | 3004 |  | State | Vic | Post code | 8001
`
Contact Names
Name
Phone
Email
REGULATORY CONTROL PERIODS
|  | ANNUAL RINS | For period | 2024-25 | 2023 is the six month transitional period from 1 January 2023 to 30 June 2023
SUBMISSION DETAILS
|  |  | RIN type | Annual Reporting
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | 11/02/2026 - #31,420,956 - Change in confidentiality markings in F2.7 13/01/2026 - #31,081,778 - update to F1 Income and F4 Opex publishing non-confidential information
|  |  | Submission Date | 2025-11-30
Contents
Instructions

## E1. Expenditure Summary
ANNUAL REPORTING
AusNet Gas Services
2024-25
E1. EXPENDITURE SUMMARY
E1.1 - CAPEX
E1.1.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2024-25
Connections | 39606678.37
Mains replacement | 35264898.84
Mains augmentation | 237050.68
Telemetry | -3194.14
Meter replacement | 12327248.27
ICT | 12936279.23
Capitalised network overheads | 6668085.0936
Capitalised corporate overheads | 504105.7557
Other capex | 8339305.29
Capital contributions included in the above | 10688537.1
Total (less capital contributions) | 105191920.2892
E1.1.2 - NON-REFERENCE SERVICES
Other Non-Reference Services | 434336.3772
Capital contributions included in the above | 217406.88
Total (less capital contributions) | 216929.4972
E1.2 - OPEX
E1.2.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2024-25
repairs and maintenance | 13124040.96
marketing and retail incentives | 0
debt raising | 0
equity raising | 0
unaccounted for gas | 1585116.67
jurisdictional charges | 8377986.75
GSL payments | 17520
other opex | 49003870.1588
Total | 72108534.5388
E1.2.2 - NON-REFERENCE SERVICES
Repairs and Maintenance | 2041312.07
Total | 2041312.07
E1.3 - CAPCONS
E1.3.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2024-25
Connections | 4109567.5894
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads | 618686.1358
Capitalised corporate overheads
Other capex | 5960283.3748
Total | 10688537.1
E1.3.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2024-25
Other Non-Reference Services | 217406.88
Total | 217406.88
E1.4 - CAPITALISED OVERHEADS
E1.4.1 - REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2024-25
Connections | 2566846.6976
Mains replacement | 2422200.0746
Mains augmentation | 29887.7562
Telemetry | 1703.953
Meter replacement | 804689.5151
ICT | 862048.1958
Other capex | 484814.6571
capital contributions included in the above | 618686.1358
Total (less capital contributions) | 6553504.7134
E1.4.2 - NON-REFERENCE SERVICES
EXPENDITURE
$0's, nominal
2024-25
Other Non-Reference Services | 24059.5208
Capital contributions included in the above | 12103.4504
Total (less capital contributions) | 11956.0703
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E11. Labour
ANNUAL REPORTING
AusNet Gas Services
2024-25
E11. LABOUR
Tables E11.1 and E11.2 omitted.
E11.3 - LABOUR / NON-LABOUR EXPENDITURE SPLIT
EXPENDITURE
$0's, nominal
2024-25
E11.3.1 - OPEX
In-house labour expenditure | 10815727.5
Labour expenditure outsourced to related parties | 0
Labour expenditure outsourced to unrelated parties | 0
Non-labour expenditure | 63334119.1088
Total | 74149846.6088
E11.3.2 - CAPEX
In-house labour expenditure | 2456893.8259
Labour expenditure outsourced to related parties | 0
Labour expenditure outsourced to unrelated parties | 0
Non-labour expenditure | 102949786.0441
Total | 105406679.87
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## E21. ARS
ANNUAL REPORTING
AusNet Gas Services
2024-25
E21. ANCILLARY REFERENCE SERVICES
E21.1 - VOLUMES
VOLUMES
0's, number of services provided
Description | 2024-25
ARS - Reconnections | 2401
ARS - Disconnections | 8967
ARS - Meter & Gas Installation test | 282
ARS - Special Meter Reads | 275100
ARS - Meter Fix or Meter reinstallation | 15267
ARS - Service Abolishment - Residential | 2893
ARS - Minor Meter Alter Position | 123
Total | 305033
E21.2 omitted
E21.3 - EXPENDITURE
EXPENDITURE
$0's, nominal
2024-25
ARS - Reconnections | 121966.74
ARS - Disconnections | 86578.2
ARS - Meter & Gas Installation test | 41672.29
ARS - Special Meter Reads | 1970003.49
ARS - Meter Fix or Meter reinstallation | 111858.13
ARS - Service Abolishment - Residential | 3074668.25
ARS - Minor Meter Alter Position | 88288.2
Total | 5495035.3
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N1. Demand
ANNUAL REPORTING
AusNet Gas Services
2024-25
N1. DEMAND
N1.1 - DEMAND - BY CUSTOMER TYPE
VOLUMES
GJ
2024-25
Residential | 26198506
Commercial | 5610864
Industrial | 28629430.45
Total | 60438800.45
N1.2 - DEMAND - BY TARIFF
VOLUMES
GJ
Tariff | 2024-25
Tariff V Central Domestic | 20090571
Tariff V Central Non-Domestic | 4108619
Tariff V Adjoining Central Domestic | 105238
Tariff V Adjoining Central Non-Domestic | 3873
Tariff V West Domestic | 5665073
Tariff V West Non-Domestic | 1418705
Tariff V Adjoining West Domestic | 337624
Tariff V Adjoining West Non-Domestic | 79667
Tariff D Central | 21753617.85
Tariff D Adjoining Central | 163344.51
Tariff D West | 5703837.15
Tariff D Adjoining West | 10031.55
Tariff M Central | 685887.21
Tariff M Adjoining Central | 0
Tariff M West | 312712.18
Tariff M Adjoining West | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## N2. Network characteristcs
ANNUAL REPORTING
AusNet Gas Services
2024-25
N2. NETWORK CHARACTERISTICS
N2.1 - NETWORK LENGTH - BY PRESSURE AND ASSET TYPE
VOLUMES
KM
2024-25
N2.1.1 - LOW PRESSURE
Cast Iron | 24.556
PVC | 68.8746
Polyamide | 0
High density polyethylene (80) | 1.5211
High density polyethylene (100) | 0.59702
High density polyethylene (250) | 0
High density polyethylene (575) | 0.99476
Medium density polyethylene | 0
Other polyethylene | 0
Unprotected steel | 15.1113
Protected steel | 0.87143
Other | 0
N2.1.2 - MEDIUM PRESSURE
Cast Iron | 0.42881
PVC | 0
Polyamide | 0
High density polyethylene (80) | 16.7276
High density polyethylene (100) | 8.9847
High density polyethylene (250) | 24.1433
High density polyethylene (575) | 171.3989
Medium density polyethylene | 0
Other polyethylene | 0
Unprotected steel | 193.4059
Protected steel | 193.9485
Other | 0
N2.1.3 - HIGH PRESSURE
Cast Iron | 0.21746
PVC | 0.25962
Polyamide | 0
High density polyethylene (80) | 3966.1591
High density polyethylene (100) | 3333.2572
High density polyethylene (250) | 0.09838
High density polyethylene (575) | 2750.1877
Medium density polyethylene | 0
Other polyethylene | 51.3097
Unprotected steel | 0.74134
Protected steel | 2298.4396
Other | 0
N2.1.4 - TRANSMISSION
Protected steel | 183.948
Other | 0
TOTAL | 13306.182
N2.2 - CITY GATES/REGULATORS
VOLUMES
0's, number of assets
2024-25
City Gate | 43
Field Regulator | 109
District Regulator | 19
Total | 171
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.1. Customer numbers
ANNUAL REPORTING
AusNet Gas Services
2024-25
S1. CUSTOMER NUMBERS
S1.1 - CUSTOMER NUMBERS - BY CUSTOMER TYPE
VOLUMES
0's, number of customers
2024-25
A. RESIDENTIAL
Customer numbers as at the begining of the period | 804135
Customer numbers as at the end of the period | 819171
Total customer connections | 17737
Total customer disconnections | 2701
B. COMMERCIAL
Customer numbers as at the begining of the period | 19389
Customer numbers as at the end of the period | 19423
Total customer connections | 157
Total customer disconnections | 123
C. INDUSTRIAL
Customer numbers as at the begining of the period | 334
Customer numbers as at the end of the period | 327
Total customer connections | 1
Total customer disconnections | 8
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S1.2. Customer numbers
ANNUAL REPORTING
AusNet Gas Services
2024-25
S1. CUSTOMER NUMBERS
S1.2 - CUSTOMER NUMBERS - BY TARIFF
S1.2.1 - CUSTOMER NUMBERS AS AT the begining of the period
VOLUMES
0's, number of customers
2024-25
Tariff V Central Domestic | 627314
Tariff V Central Non-Domestic | 12259
Tariff V Adjoining Central Domestic | 2486
Tariff V Adjoining Central Non-Domestic | 32
Tariff V West Domestic | 161217
Tariff V West Non-Domestic | 6767
Tariff V Adjoining West Domestic | 13118
Tariff V Adjoining West Non-Domestic | 331
Tariff D Central | 219
Tariff D Adjoining Central | 1
Tariff D West | 71
Tariff D Adjoining West | 2
Tariff M Central | 32
Tariff M Adjoining Central | 0
Tariff M West | 9
Tariff M Adjoining West | 0
Total | 823858
S1.2.2 - CUSTOMER NUMBERS AS AT the end of the period
VOLUMES
0's, number of customers
2024-25
Tariff V Central Domestic | 640987
Tariff V Central Non-Domestic | 12288
Tariff V Adjoining Central Domestic | 2523
Tariff V Adjoining Central Non-Domestic | 33
Tariff V West Domestic | 162318
Tariff V West Non-Domestic | 6765
Tariff V Adjoining West Domestic | 13343
Tariff V Adjoining West Non-Domestic | 337
Tariff D Central | 212
Tariff D Adjoining Central | 1
Tariff D West | 70
Tariff D Adjoining West | 2
Tariff M Central | 33
Tariff M Adjoining Central | 0
Tariff M West | 9
Tariff M Adjoining West | 0
Total | 838921
S1.2.3 - TOTAL CUSTOMER CONNECTIONS
VOLUMES
0's, number of customers
2024-25
Tariff V Central Domestic | 15867
Tariff V Central Non-Domestic | 113
Tariff V Adjoining Central Domestic | 47
Tariff V Adjoining Central Non-Domestic | 1
Tariff V West Domestic | 1564
Tariff V West Non-Domestic | 36
Tariff V Adjoining West Domestic | 259
Tariff V Adjoining West Non-Domestic | 7
Tariff D Central | 0
Tariff D Adjoining Central | 0
Tariff D West | 0
Tariff D Adjoining West | 0
Tariff M Central | 1
Tariff M Adjoining Central | 0
Tariff M West | 0
Tariff M Adjoining West | 0
Total | 17895
S1.2.4 - TOTAL CUSTOMER DISCONNECTIONS
VOLUMES
0's, number of customers
2024-25
Tariff V Central Domestic | 2194
Tariff V Central Non-Domestic | 84
Tariff V Adjoining Central Domestic | 10
Tariff V Adjoining Central Non-Domestic | 0
Tariff V West Domestic | 463
Tariff V West Non-Domestic | 38
Tariff V Adjoining West Domestic | 34
Tariff V Adjoining West Non-Domestic | 1
Tariff D Central | 7
Tariff D Adjoining Central | 0
Tariff D West | 1
Tariff D Adjoining West | 0
Tariff M Central | 0
Tariff M Adjoining Central | 0
Tariff M West | 0
Tariff M Adjoining West | 0
Total | 2832
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S10. Supply quality
ANNUAL REPORTING
AusNet Gas Services
2024-25
S10. SUPPLY QUALITY
S10.1 - PRESSURE FAULTS
VOLUMES
0's, number of events
2024-25
Poor Pressure events - mains | 6
Poor Pressure events - services | 6
Poor Pressure event - meters | 0
Pressure events impacting 5+ customers | 3
Pressure events with >12 hr resolution | 48
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S11. Network reliability
ANNUAL REPORTING
AusNet Gas Services
2024-25
S11. NETWORK RELIABILITY
S11.1 - NETWORK OUTAGES
S11.1.1 - PLANNED
VOLUMES
0's, number of events
2024-25
Count of outage events | 205
Outages affecting 5+ customers | 196
Outages with >12 hr supply interuption | 1
S11.1.2 - UNPLANNED
VOLUMES
0's, number of events
2024-25
Count of outage events | 580
Outages affecting 5+ customers | 3
Outages with >12 hr supply interuption | 48
S11.2 - LEAKS - BY ASSET TYPE AND CAUSE OF LEAK
S11.2.1 - LOW PRESSURE
VOLUMES
Number per KM
2024-25
Cast Iron
Broken pipe - cracked | 0.040723
Broken pipe - full break | 0.040723
Corrosion | 0.040723
Joint leak | 0.24434
3rd party damage | 1.8325
Identified water in main | 0
Other | 5.0904
PVC
Broken pipe - cracked | 0.014519
Broken pipe - full break | 0.014519
Corrosion | 0.029038
Joint leak | 0
3rd party damage | 0.3775
Identified water in main | 0
Other | 1.6407
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 2.0105
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.066176
Corrosion | 0.13235
Joint leak | 0
3rd party damage | 0.52941
Identified water in main | 0
Other | 2.1176
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
S11.2.2 - MEDIUM PRESSURE
VOLUMES
Number per KM
2024-25
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0.17934
High density polyethylene (100)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.1113
Joint leak | 0
3rd party damage | 0.1113
Identified water in main | 0
Other | 0.2226
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.082839
Joint leak | 0.041419
3rd party damage | 0.082839
Identified water in main | 0
Other | 1.2012
High density polyethylene (575)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0.04084
Joint leak | 0.0058343
3rd party damage | 0.11669
Identified water in main | 0
Other | 0.30339
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.0051705
Corrosion | 0.072387
Joint leak | 0.0051705
3rd party damage | 0.056875
Identified water in main | 0
Other | 0.79108
Protected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0.005156
Corrosion | 0.072184
Joint leak | 0
3rd party damage | 0.1289
Identified water in main | 0
Other | 0.42279
S11.2.3 - HIGH PRESSURE
VOLUMES
Number per KM
2024-25
Cast Iron
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
PVC
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 3.8518
Identified water in main | 0
Other | 7.7036
Polyamide
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (80)
Broken pipe - cracked | 0.00025213
Broken pipe - full break | 0
Corrosion | 0.003782
Joint leak | 0.00025213
3rd party damage | 0.058495
Identified water in main | 0
Other | 0.10817
High density polyethylene (100)
Broken pipe - cracked | 0.00030026
Broken pipe - full break | 0.00030026
Corrosion | 0.00030026
Joint leak | 0.00060052
3rd party damage | 0.056148
Identified water in main | 0
Other | 0.061853
High density polyethylene (250)
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
High density polyethylene (575)
Broken pipe - cracked | 0.00072722
Broken pipe - full break | 0
Corrosion | 0.01309
Joint leak | 0.0014544
3rd party damage | 0.099266
Identified water in main | 0
Other | 0.28471
Medium density polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Other polyethylene
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0.019489
3rd party damage | 0.077958
Identified water in main | 0
Other | 0.097447
Unprotected steel
Broken pipe - cracked | 0
Broken pipe - full break | 0
Corrosion | 0
Joint leak | 0
3rd party damage | 0
Identified water in main | 0
Other | 0
Protected steel
Broken pipe - cracked | 0.00087016
Broken pipe - full break | 0.00087016
Corrosion | 0.017403
Joint leak | 0.00087016
3rd party damage | 0.097457
Identified water in main | 0
Other | 0.39505
S11.3 - UNACCOUNTED FOR GAS - TRANSMISSION AND DISTRIBUTION
VOLUMES
TJ
Place of loss | 2024-25
Declared Transmission System | 1611.2291
Non Delcared Transmission System | 28.1194
Total | 1639.3485
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## S14. Network integrity
ANNUAL REPORTING
AusNet Gas Services
2024-25
S14. NETWORK INTEGRITY
S14.1 - LOSS OF CONTAINMENT
VOLUMES
0's
| Units | 2024-25
S14.1.1 - MAINS
Number of Leaks - publicly reported | number of leaks | 285
Number of Leaks - found through survey | number of leaks | 190
Repaired Leaks | number of leaks | 475
Length of network subject to survey | km | 800
S14.1.2 - SERVICES
Number of Leaks - publicly reported | number of leaks | 3873
Number of Leaks - found through survey | number of leaks | 19
Repaired Leaks | number of leaks | 3892
Number of services surveyed | number of services
S14.1.3 - METERS
Number of Leaks - publicly reported | number of leaks | 7529
Number of Leaks - found through survey | number of leaks | -
Repaired Leaks | number of leaks | 7529
Number of meters surveyed | number of meters
S14.2 - INSTANCES OF DAMAGE
VOLUMES
0's
| Units | 2024-25
Mains | number of instances | 33
Services | number of instances | 1180
Meters | number of instances | 9
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F1. Income
ANNUAL REPORTING
AusNet Gas Services
2024-25
F1. INCOME
F1.1 - AUDITED STATUTORY ACCOUNTS
$0's, nominal
2024-25
F1.1.1 - REVENUE
Distribution revenue
Capital contributions
Profit from sale of fixed assets
Other revenue
Total revenue
F1.1.2 - EXPENDITURE
Operating expenditure
Depreciation
Net finance expenses
Loss from sale of fixed assets
Impairment losses
Other expenses
Total expenditure
F1.1.3 - PROFIT
Profit before tax
Income tax expenses (/ benefit)
Profit after tax
F1.2 - ADJUSTMENTS
$0's, nominal
2024-25
F1.2.1 - REVENUE
Distribution revenue
Capital contributions
Profit from sale of fixed assets
Other Revenue
Total revenue
F1.2.2 - EXPENDITURE
Operating expenditure
Depreciation
Net finance expenses
Loss from sale of fixed assets
Impairment losses
Other expenses
Total expenditure
F1.2.3 - PROFIT
Profit before tax
Income tax expenses (/ benefit)
Profit after tax
F1.3 - DISTRIBUTION BUSINESS
$0's, nominal
2024-25
F1.3.1 - REVENUE
Distribution revenue | 258070250.2
Capital contributions | 0
Profit from sale of fixed assets | 39511.87
Other Revenue | 0
Total revenue | 258109762.07
F1.3.2 - EXPENDITURE
Operating expenditure | 74149846.6088
Depreciation | 110053965.5818
Net finance expenses | 0
Loss from sale of fixed assets | 3605542.91
Impairment losses | 0
Other expenses | 0
Total expenditure | 187809355.1006
F1.3.3 - PROFIT
Profit before tax | 70300406.9694
Income tax expenses (/ benefit) | 0
Profit after tax | 70300406.9694
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F2. Capex
ANNUAL REPORTING
AusNet Gas Services
2024-25
F2. CAPITAL EXPENDITURE
F2.4 - CAPEX BY ASSET CLASS
F2.4.2 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2024-25
Transmission Pipelines | 0
Distribution Pipelines | 50464687.3947
Service Pipes | 31547657.675
Cathodic Protection - post 1998 | 265081.6832
Supply Regulators / Valve Stations | 704297.636
Meters | 18906428.044
SCADA and remote control | 186065.1433
Other - IT | 13857974.3145
Other - non IT | 341818.642
Non-approved asset class - Non- Network Leasehold Land & Buildings - RY25 | -395723.06
Land | 0
Cathodic Protection | 0
Total | 115878287.4727
F2.4.3 - MOVEMENT IN PROVISIONS ALLOCATED TO AS-INCURRED CAPEX
EXPENDITURE
$0's, nominal
Asset Class | 2024-25
Transmission Pipelines | 0
Distribution Pipelines | 118814.3133
Service Pipes | 74275.9636
Cathodic Protection - post 1998 | 624.1096
Supply Regulators / Valve Stations | 1658.2019
Meters | 44513.3891
SCADA and remote control | 438.0727
Other - IT | 32627.2843
Other - non IT
Non-approved asset class - Non- Network Leasehold Land & Buildings - RY25
Land
Cathodic Protection
Total | 272951.3344
F2.5 - CAPITAL CONTRIBUTIONS BY ASSET CLASS
F2.5.1 - ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2024-25
Transmission Pipelines | 0
Distribution Pipelines | 7292849.746
Service Pipes | 2793362.85
Cathodic Protection - post 1998 | 0
Supply Regulators / Valve Stations | 0
Meters | 602324.504
SCADA and remote control | 0
Other - IT | 0
Other - non IT | 0
Non-approved asset class - Non- Network Leasehold Land & Buildings - RY25 | 0
Land | 0
Cathodic Protection | 0
Total | 10688537.1
F2.6 - DISPOSALS BY ASSET CLASS
F2.6.2 - ACTUAL
EXPENDITURE
$0's, nominal
Asset Class | 2024-25
Transmission Pipelines | 0
Distribution Pipelines | 0
Service Pipes | 0
Cathodic Protection - post 1998 | 0
Supply Regulators / Valve Stations | 0
Meters | 0
SCADA and remote control | 0
Other - IT | 0
Other - non IT | 39511.46
Non-approved asset class - Non- Network Leasehold Land & Buildings - RY25 | 0
Land | 0
Cathodic Protection | 0
Total | 39511.46
F2.7 - IMMEDIATE EXPENSING CAPITAL EXPENDITURE
ACTUAL - AS INCURRED
EXPENDITURE
$0's, nominal
Asset Class | 2024-25
Transmission Pipelines | 0
Distribution Pipelines | 2852706.9256
Service Pipes | 1783350.4215
Cathodic Protection - post 1998 | 14984.7427
Supply Regulators / Valve Stations | 39813.0821
Meters | 1068757.2044
SCADA and remote control | 10518.0345
Other - IT | 783374.3027
Other - non IT
Non-approved asset class - Non- Network Leasehold Land & Buildings - RY25
Land
Cathodic Protection
Total | 6553504.7134
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F3. Revenue
ANNUAL REPORTING
AusNet Gas Services
2024-25
F3. REVENUE
F3.1 - REFERENCE SERVICES
F3.1.1 - REVENUE - BY TARIFF
REVENUE
$0's, nominal
Tariff | 2024-25
Tariff V Central Domestic | 184183807.7454
Tariff V Central Non-Domestic | 5420578.1193
Tariff V Adjoining Central Domestic | 1207679.3007
Tariff V Adjoining Central Non-Domestic | 21368.3421
Tariff V West Domestic | 41079246.7265
Tariff V West Non-Domestic | 2025351.0374
Tariff V Adjoining West Domestic | 3627601.2944
Tariff V Adjoining West Non-Domestic | 378276.8784
Tariff D Central | 1496335.17
Tariff D Adjoining Central | 10036.85
Tariff D West | 502254.09
Tariff D Adjoining West | 1359.84
Tariff M Central | 218267.94
Tariff M Adjoining Central | 0
Tariff M West | 84260.97
Tariff M Adjoining West | 0
Total | 240256424.3042
F3.2 - ANCILLARY REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2024-25
Reconnections | 159784.17
Disconnections | 596923.46
Meter and Gas Installation test | 56333
Special Meter Reads | 1996075.48
Meter Fix or Meter reinstallation | 2238235.4
Service Abolishment - Residential | 661595.11
Minor Meter Alter Position | 133443.84
Total | 5842390.46
F3.3 - REBATEABLE SERVICES
REVENUE
$0's, nominal
Service Name | 2024-25
Total | 0
F3.4 - NON-REFERENCE SERVICES
REVENUE
$0's, nominal
Service Name | 2024-25
Non-Reference Services | 8085237.08
Total | 8085237.08
F3.5 - TOTAL REVENUE
2024-25
Total | 254184051.8442
F3.6 - REWARDS AND PENALTIES FROM INCENTIVE SCHEMES
Scheme | 2024-25
Efficiency carryover | 5572099.4942
Total | 5572099.4942
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F4. Opex
ANNUAL REPORTING
AusNet Gas Services
2024-25
F4. OPERATING EXPENDITURE
F4.1 - OPEX - BY PURPOSE
F4.1.1 - AUDITED STATUTORY ACCOUNTS
EXPENDITURE
$0's, nominal
Description | 2024-25
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total
F4.1.2 - ADJUSTMENTS
EXPENDITURE
$0's, nominal
Description | 2024-25
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total
F4.1.3 - DISTRIBUTION BUSINESS
EXPENDITURE
$0's, nominal
Description | 2024-25
repairs and maintenance | 15165353.03
marketing and retail incentives | 0
debt raising | 0
equity raising | 0
unaccounted for gas | 1585116.67
jurisdictional charges | 8377986.75
GSL payments | 17520
other opex | 49003870.1588
Total | 74149846.6088
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F6. Related party transactions
ANNUAL REPORTING
AusNet Gas Services
2024-25
F6. RELATED PARTY TRANSACTIONS
F6.1 - AusNet (Gas) PAYMENTS GREATER THAN $1,000,000 MADE TO RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
Name of related party | 2024-25
F6.1.1 - EXPENDITURE
F6.1.2 - CORRESPONDING EXPENSES INCURRED BY RELATED PARTY
F6.2 - AusNet (Gas) PAYMENTS GREATER THAN $1,000,000 RECEIVED FROM RELATED PARTY
| $0's, nominal | Nature of the relationship eg. percentage ownership by/of related party of/by Gas Distributor | Services Provided | Description of how this transaction amount was determined | Description of how this amount is reflected in the Regulatory Templates, including the asset class or cost category | Where the related party expenditure has been allocated to different asset classes or cost categories, the description of the basis of allocation and the quantum of the allocator
2024-25
F6.2.1 - REVENUE
F6.2.2 - CORRESPONDING EXPENSES INCURRED BY AusNet (Gas)
F6.3 - RELATED PARTY MARGIN EXPENDITURE - BY CATEGORY
F6.3.1 - CAPEX
EXPENDITURE
$0's, nominal
Capex category | 2024-25
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
Total | 0
F6.3.2 - OPEX
EXPENDITURE
$0's, nominal
Opex category | 2024-25
repairs and maintenance
marketing and retail incentives
debt raising
equity raising
unaccounted for gas
jurisdictional charges
GSL payments
other opex
Total
F6.4 - PER CENTAGE OF CAPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2024-25
Connections
Mains replacement
Mains augmentation
Telemetry
Meter replacement
ICT
Capitalised network overheads
Capitalised corporate overheads
Other capex
F6.5 - PER CENTAGE OF OPEX OUTSOURCED TO RELATED PARTY
PER CENTAGE %
Capex category | 2024-25
Total
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F7. Provisions
ANNUAL REPORTING
AusNet Gas Services
2024-25
F7. PROVISIONS
F7 - PROVISIONS
VALUES $0's, nominal
2024-25
Provision for Doubtful Debts
Provision for doubtful debt is an allowance that has been made for estimated unrecoverable amounts, determined by reference to past default experience of individual debtors.
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Employee Entitlements
Provisions for employee entitlements are liabilities for wages and salaries, including non-monetary benefits and annual leave are recognised in respect of employees’ services up to the reporting date and are measured at the amounts expected to be paid when the liabilities are settled.
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component | 581907.6707
Capex component | 362048.9993
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -65437.6705
Capex component | -40713.7495
Other component
Unused amounts reversed during the period
Opex component | -313716.7403
Capex component | -195187.0333
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component | 5243.19
Closing balance (carrying amount at the end of the period)
Environmental Provision
This provision is used for environmental matters such land remediation costs. The liability is determined based on the present value of the obligation as appropriate.
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component | 604037.33
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -934688.45
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component | 1545622.65
Closing balance (carrying amount at the end of the period)
Miscellaneous Provision
Provision represents sundry matters including the work out provision and carbon tax pass through
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component | 317597.9815
Capex component | 197601.8485
Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
Opex component | -45611.949
Capex component | -28378.661
Other component | 0
Unused amounts reversed during the period
Opex component | -36034.9304
Capex component | -22420.0696
Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component | 0
Capex component | 0
Other component | 0
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Provision name
Brief description of provision
Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
Opex component
Capex component
Other component
Amounts used (that is, incurred and charged against the provision) during the period
Opex component
Capex component
Other component
Unused amounts reversed during the period
Opex component
Capex component
Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
Opex component
Capex component
Other component
Closing balance (carrying amount at the end of the period)
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F9. Pass throughs
ANNUAL REPORTING
AusNet Gas Services
2024-25
F9. PASS THROUGHS
F9.1 - PASS THROUGH EVENT EXPENDITURE
EXPENDITURE
$0's, nominal
Description of passthrough event | 2024-25
Total | 0
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY

## F10. Assets
ANNUAL REPORTING
AusNet Gas Services
2024-25
F10. ASSETS
F10.1 - CAPITAL BASE VALUES
VALUES
$0's, nominal
2024-25
FOR TOTAL ASSET BASE
Opening value | 1995441653.3054
Inflation addition | 80855051.7012
Straight line depreciation | 110053965.5818
Actual additions (recognised in RAB) | 108355542.3246
Disposals | 39511.46
Closing value | 2074637793.2094
Contents
Instructions
Mark selection CONFIDENTIAL
Return selection to
NON-CONFIDENTIAL
Return selection to NON-AMENDED
Mark selection as AMENDED
FOR AMENDED SUBMISSIONS ONLY