## Instructions
Electricity Distribution Network Service Provider
Economic Benchmarking RIN
This template is to be used by CitiPower to fulfil its reporting obligations to the AER.
INSTRUCTIONS
GENERAL | Complete the Business & other details worksheet before entering data or values in any other worksheets. The Business & other details worksheet is linked to other worksheets within the workbook and automatically generates certain column headings and conditional formatting.
CONFIDENTIAL INFORMATION | Please use the macro at the top of each worksheet to identify confidential information in the confidential workbook.
-Do this by selecting the cell or cells that contain confidential information and then run the CONFIDENTIAL macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as confidential. -To reverse this, select the cell or cells and run the NON-CONFIDENTIAL macro.
PROTECTED (SOCI) INFORMATION | Please use the macro at the top of each worksheet to identify information in the confidential workbook that is protected information under the SOCI Act. All information marked Protected (SOCI) is also deemed to be confidential information.
-Do this by selecting the cell or cells that contain protected information and then run the PROTECTED (SOCI) macro. This will format the cells a specific colour that is identified by the AER's database which in turn marks that information as protected.. -To reverse this, select the cell or cells and run the NON-PROTECTED macro.
RESPONSES | Please return two (2) files to the AER: CONSOLIDATED (2 files) 1. A confidential version which must contain a complete set of all responses with confidential information marked using the Mark selection CONFIDENTIAL macro and which has been completed using the locked template file provided by the AER. 2. A public version with confidential information either removed completely or aggregated in some form. The public version must include the confidential markings to identify where confidential information has been removed from the file. Use the drop down box on the Business and other details worksheet to identify the file Confidentiality Status as either 'Confidential', or ‘Public’. Use the drop down box on the Business and other details worksheet to identify the file Data Quality as 'Consolidated'. If there is no confidential information reported in the workbook, the Consolidated Confidential file does NOT have to be submitted.
ORDER OF MAGNITUDE | All amounts are to be unrounded and reported on a one for one basis: that is 1000 is to be entered as '1000'.
INPUT / NON-INPUT CELLS
Yellow = Input cell (mandatory)
Darker yellow = input cell (mandatory)
Orange = input cell (if data available)
Grey = Not applicable/No inputs required
PLEASE DO NOT ENTER TEXT into cells that require numbers (including 'numbers stored as text')
CONFIDENTIAL
NON-CONFIDENTIAL
Protected (SOCI)
NON-Protected

## CONTENTS
ECONOMIC BENCHMARKING
CitiPower
2023-24
CONTENTS
| TEMPLATE DATE | 2024-05-01
| SUBMISSION | Business & other details
| ECONOMIC BENCHMARKING | 3.1 Revenue
3.2 Operating expenditure
3.2.3 Provisions
3.3 Assets (RAB)
3.4 Operational data
3.5 Physical assets
3.6 Quality of service
3.7 Operating environment

## Business & other details
ECONOMIC BENCHMARKING
CitiPower
2023-24
BUSINESS & OTHER DETAILS
INSTRUCTIONS
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings and conditional formatting to distinguish business specific input and non-input cells.
SUBMISSION PARTICULARS INPUT SHEET
TEMPLATE DATE - MAY 2024
ENTITY DETAILS
Business Name
| Short name |  |  | CitiPower
| ACN/ABN |  |  | 76064651056
| Business Address | [10 empty] | Postal Address
| Address 1 |  |  | 40 Market Street | [5 empty] | Address 1 |  | Locked Bag 14090
| Address 2 | [8 empty] | Address 2
| Suburb |  |  | MELBOURNE | [5 empty] | Suburb |  | MELBOURNE
| State |  |  | Vic |  | Post code | 2000 |  |  | State |  | Vic |  | Post code
`
REGULATORY CONTROL PERIODS
|  |  |  | #N/A | #N/A |  |  |  | #N/A |  | #N/A |  | #N/A
|  |  | Commencing year | 2023-24
ANNUAL RINS
|  |  | Final year | 2023-24
SUBMISSION DETAILS
|  |  | RIN type | Economic Benchmarking
|  |  | Source | Reporting
|  | THIS FILE | Data Quality | Consolidated
|  |  | Confidentiality Status | Public
|  |  | Amended RIN Amendment Reason | 18/02/2026 - #31,458,032 - correction to 3.2.3 provisions 05/05/25 - #18,394,486 - correction to 3.2.2 cell C69
|  |  | Submission Date | dd/mm/yy
Contents
Instructions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
CitiPower
Benchmarking RIN response 2023-24
3.1 REVENUE
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.1.1 - REVENUE GROUPING BY CHARGEABLE QUANTITY
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0101 | Revenue from Fixed Customer Charges | 39505449.22
DREV0102 | Revenue from Energy Delivery charges where time of use is not a determinant | 75904974.014
DREV0103 | Revenue from On–Peak Energy Delivery charges | 53558053.2
DREV0104 | Revenue from Shoulder period Energy Delivery Charges | 0
DREV0105 | Revenue from Off–Peak Energy Delivery charges | 40238814.43
DREV0106 | Revenue from controlled load customer charges | 859452.325
DREV0107 | Revenue from unmetered supplies | 2629996.45
DREV0108 | Revenue from Contracted Maximum Demand charges
DREV0109 | Revenue from Measured Maximum Demand charges | 114399042.4
DREV0110 | Revenue from metering charges |  | 22737152.43
DREV0111 | Revenue from connection charges |  | 12842125.06
DREV0112 | Revenue from public lighting charges |  | 4194044.09
DREV0113 | Revenue from other Sources |  | 4929916.5
DREV01 | Total revenue by chargeable quantity | 327095782.039 | 44703238.08
3.1.2 - REVENUE GROUPING BY CUSTOMER TYPE OR CLASS
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0201 | Revenue from residential Customers | 98171730.11
DREV0202 | Revenue from Non residential customers not on demand tariffs | 45577901.23
DREV0203 | Revenue from Non-residential low voltage demand tariff customers | 161722183.35
DREV0204 | Revenue from Non-residential high voltage demand tariff customers | 18993970.9
DREV0205 | Revenue from unmetered supplies | 2629996.45 | 4194044.09
DREV0206 | Revenue from Other Customers |  | 40509193.99
DREV02 | Total revenue by customer class | 327095782.04 | 44703238.08
3.1.3 - REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
|  | Standard control services | Alternative control services
REVENUE $
|  | 2023-24 | 2023-24
DREV0301 | EBSS | 166944
DREV0302 | STPIS | 7549522
DREV0303 | F-Factor | 9300
DREV0304 | S-Factor True up | 0
DREV0305 | Other | 16572847
DREV03 | Total revenue of incentive schemes | 24298613 | 0
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
CitiPower
Benchmarking RIN response 2023-24
3.2 OPERATING EXPENDITURE
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
Instructions
In table 3.2.1, please list each opex category reported in response to CitiPower's annual reporting RIN and report opex for each category.
3.2.1 - OPEX CATEGORIES
CURRENT OPEX CATEGORIES AND COST ALLOCATIONS
|  | Standard control services | Alternative control services
EXPENDITURE $
|  | 2023-24 | 2023-24
DOPEX0101 | Maintenance | 28628568 | 0
DOPEX0102 | Vegetation Management | 2732612 | 0
DOPEX0103 | Emergency | 7884248 | 0
DOPEX0104 | Overheads | 51570394 | 0
DOPEX0105 | Public Lighting | 0 | 3399650
DOPEX0106 | Connection Services | 0 | 11906819
DOPEX0107 | Metering Services | 0 | 3985862
DOPEX0108 | Ancillary Network Services | 0 | 3076952
DOPEX0109
DOPEX0110
DOPEX0111
DOPEX0112
DOPEX0113
DOPEX0114
DOPEX0115
DOPEX0116
DOPEX0117
DOPEX0118
DOPEX0119
DOPEX0120
DOPEX0121
DOPEX0122
DOPEX0123
DOPEX0124
DOPEX0125
DOPEX0126
DOPEX0127
DOPEX0128
DOPEX0129
DOPEX0130
DOPEX0131
DOPEX0132
DOPEX0133
DOPEX0134
DOPEX0135
DOPEX0136
DOPEX0137
DOPEX0138
DOPEX0139
DOPEX0140
DOPEX0141
DOPEX0142
DOPEX01 | Total opex | 90815822 | 22369283
3.2.2 - OPEX CONSISTENCY
CURRENT COST ALLOCATION APPROACH
|  | Standard control services | Alternative control services
EXPENDITURE $
|  | 2023-24 | 2023-24
DOPEX0201 | Opex for network services | 87295320 | 0
DOPEX0202 | Opex for metering | 0 | 3985862
DOPEX0203 | Opex for connection services | 3281701 | 11906819
DOPEX0204 | Opex for public lighting | 0 | 3399650
DOPEX0205 | Opex for amounts payable for easement levy or similar direct charges on DNSP | 0 | 0
DOPEX0206 | Opex for transmission connection point planning | 238801 | 0
3.2.4 - OPEX FOR HIGH VOLTAGE CUSTOMERS
End user costs (not standard control services)
DOPEX0401 | Opex for high voltage customers | 90990.33
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
CitiPower
Benchmarking RIN response 2023-24
3.2 OPERATING EXPENDITURE
TEMPLATE DATE - MAY 2024
The is ONE table on this worksheet. Each Provision has been grouped for ease of navigation. See the Instructions sheet on how to group and ungroup tables.
Instructions
In table 3.2.3, please list each opex category reported in response to CitiPower's annual reporting RIN and report opex for each category.
3.2.3 - PROVISIONS
VALUE $
2023-24
DOPEX03A | Provision for Uninsured Losses
Provision for claims relating to damages sustained from Network assets.
DOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | -226623.9
Additional provisions made in the period, including increases to existing provisions
DOPEX0302A | Opex component | -508088.64
DOPEX0303A | Capex component | 0
DOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305A | Opex component | 407000
DOPEX0306A | Capex component | 0
DOPEX0307A | Other component | 0
Unused amounts reversed during the period
DOPEX0308A | Opex component | 0
DOPEX0309A | Capex component | 0
DOPEX0310A | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311A | Opex component | 0
DOPEX0312A | Capex component | 0
DOPEX0313A | Other component | 0
DOPEX0314A | Closing balance (carrying amount at the end of the period) | -327712.54
DOPEX03B | Provision for Employee Entitlements
Provision made to meet the future annual leave and long service leave entitlements of employees.
DOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | -8679280.89
Additional provisions made in the period, including increases to existing provisions
DOPEX0302B | Opex component | -9813258.6583
DOPEX0303B | Capex component | -13329099.2417
DOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305B | Opex component | 9800134.4583
DOPEX0306B | Capex component | 13402294.6517
DOPEX0307B | Other component | 0
Unused amounts reversed during the period
DOPEX0308B | Opex component | 0
DOPEX0309B | Capex component | 0
DOPEX0310B | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311B | Opex component | 0
DOPEX0312B | Capex component | 0
DOPEX0313B | Other component | 0
DOPEX0314B | Closing balance (carrying amount at the end of the period) | -8619209.68
DOPEX03C | Provision for Doubtful Debts
Provision against doubtful tariff and non-tariff receivables.
DOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 373129.16
Additional provisions made in the period, including increases to existing provisions
DOPEX0302C | Opex component | -1126384.31
DOPEX0303C | Capex component | 0
DOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305C | Opex component | 86329.58
DOPEX0306C | Capex component
DOPEX0307C | Other component
Unused amounts reversed during the period
DOPEX0308C | Opex component
DOPEX0309C | Capex component
DOPEX0310C | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311C | Opex component
DOPEX0312C | Capex component
DOPEX0313C | Other component
DOPEX0314C | Closing balance (carrying amount at the end of the period) | -666925.57
DOPEX03D | Provision for Environment
The provision records the estimated costs of testing and remediation works at a depot.
DOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | -3567312.88
Additional provisions made in the period, including increases to existing provisions
DOPEX0302D | Opex component | 0
DOPEX0303D | Capex component | -208817.59
DOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305D | Opex component | 0
DOPEX0306D | Capex component | 206846.18
DOPEX0307D | Other component
Unused amounts reversed during the period
DOPEX0308D | Opex component | 0
DOPEX0309D | Capex component | 0
DOPEX0310D | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311D | Opex component | 0
DOPEX0312D | Capex component | 0
DOPEX0313D | Other component | 0
DOPEX0314D | Closing balance (carrying amount at the end of the period) | -3569284.29
DOPEX03E | Provision for Legal Claims
Provision records the estimated costs of legal claims
DOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | 0
Additional provisions made in the period, including increases to existing provisions
DOPEX0302E | Opex component | -825000
DOPEX0303E | Capex component | 0
DOPEX0304E | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305E | Opex component | 3576.87
DOPEX0306E | Capex component | 0
DOPEX0307E | Other component | 0
Unused amounts reversed during the period
DOPEX0308E | Opex component | 0
DOPEX0309E | Capex component | 0
DOPEX0310E | Other component | 0
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311E | Opex component | 0
DOPEX0312E | Capex component | 0
DOPEX0313E | Other component | 0
DOPEX0314E | Closing balance (carrying amount at the end of the period) | -821423.13
DOPEX03F | <Provision name>
<Brief description of provision>
DOPEX0301F | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302F | Opex component
DOPEX0303F | Capex component
DOPEX0304F | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305F | Opex component
DOPEX0306F | Capex component
DOPEX0307F | Other component
Unused amounts reversed during the period
DOPEX0308F | Opex component
DOPEX0309F | Capex component
DOPEX0310F | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311F | Opex component
DOPEX0312F | Capex component
DOPEX0313F | Other component
DOPEX0314F | Closing balance (carrying amount at the end of the period)
DOPEX03G | <Provision name>
<Brief description of provision>
DOPEX0301G | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302G | Opex component
DOPEX0303G | Capex component
DOPEX0304G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305G | Opex component
DOPEX0306G | Capex component
DOPEX0307G | Other component
Unused amounts reversed during the period
DOPEX0308G | Opex component
DOPEX0309G | Capex component
DOPEX0310G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311G | Opex component
DOPEX0312G | Capex component
DOPEX0313G | Other component
DOPEX0314G | Closing balance (carrying amount at the end of the period)
DOPEX03H | <Provision name>
<Brief description of provision>
DOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302H | Opex component
DOPEX0303H | Capex component
DOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305H | Opex component
DOPEX0306H | Capex component
DOPEX0307H | Other component
Unused amounts reversed during the period
DOPEX0308H | Opex component
DOPEX0309H | Capex component
DOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311H | Opex component
DOPEX0312H | Capex component
DOPEX0313H | Other component
DOPEX0314H | Closing balance (carrying amount at the end of the period)
DOPEX03I | <Provision name>
<Brief description of provision>
DOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302I | Opex component
DOPEX0303I | Capex component
DOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305I | Opex component
DOPEX0306I | Capex component
DOPEX0307I | Other component
Unused amounts reversed during the period
DOPEX0308I | Opex component
DOPEX0309I | Capex component
DOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311I | Opex component
DOPEX0312I | Capex component
DOPEX0313I | Other component
DOPEX0314I | Closing balance (carrying amount at the end of the period)
DOPEX03J | <Provision name>
<Brief description of provision>
DOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302J | Opex component
DOPEX0303J | Capex component
DOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305J | Opex component
DOPEX0306J | Capex component
DOPEX0307J | Other component
Unused amounts reversed during the period
DOPEX0308J | Opex component
DOPEX0309J | Capex component
DOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311J | Opex component
DOPEX0312J | Capex component
DOPEX0313J | Other component
DOPEX0314J | Closing balance (carrying amount at the end of the period)
DOPEX03K | <Provision name>
<Brief description of provision>
DOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302K | Opex component
DOPEX0303K | Capex component
DOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305K | Opex component
DOPEX0306K | Capex component
DOPEX0307K | Other component
Unused amounts reversed during the period
DOPEX0308K | Opex component
DOPEX0309K | Capex component
DOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311K | Opex component
DOPEX0312K | Capex component
DOPEX0313K | Other component
DOPEX0314K | Closing balance (carrying amount at the end of the period)
DOPEX03L | <Provision name>
<Brief description of provision>
DOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302L | Opex component
DOPEX0303L | Capex component
DOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305L | Opex component
DOPEX0306L | Capex component
DOPEX0307L | Other component
Unused amounts reversed during the period
DOPEX0308L | Opex component
DOPEX0309L | Capex component
DOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311L | Opex component
DOPEX0312L | Capex component
DOPEX0313L | Other component
DOPEX0314L | Closing balance (carrying amount at the end of the period)
DOPEX03M | <Provision name>
<Brief description of provision>
DOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302M | Opex component
DOPEX0303M | Capex component
DOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305M | Opex component
DOPEX0306M | Capex component
DOPEX0307M | Other component
Unused amounts reversed during the period
DOPEX0308M | Opex component
DOPEX0309M | Capex component
DOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311M | Opex component
DOPEX0312M | Capex component
DOPEX0313M | Other component
DOPEX0314M | Closing balance (carrying amount at the end of the period)
DOPEX03N | <Provision name>
<Brief description of provision>
DOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302N | Opex component
DOPEX0303N | Capex component
DOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305N | Opex component
DOPEX0306N | Capex component
DOPEX0307N | Other component
Unused amounts reversed during the period
DOPEX0308N | Opex component
DOPEX0309N | Capex component
DOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311N | Opex component
DOPEX0312N | Capex component
DOPEX0313N | Other component
DOPEX0314N | Closing balance (carrying amount at the end of the period)
DOPEX03O | <Provision name>
<Brief description of provision>
DOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302O | Opex component
DOPEX0303O | Capex component
DOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305O | Opex component
DOPEX0306O | Capex component
DOPEX0307O | Other component
Unused amounts reversed during the period
DOPEX0308O | Opex component
DOPEX0309O | Capex component
DOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311O | Opex component
DOPEX0312O | Capex component
DOPEX0313O | Other component
DOPEX0314O | Closing balance (carrying amount at the end of the period)
DOPEX03P | <Provision name>
<Brief description of provision>
DOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302P | Opex component
DOPEX0303P | Capex component
DOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305P | Opex component
DOPEX0306P | Capex component
DOPEX0307P | Other component
Unused amounts reversed during the period
DOPEX0308P | Opex component
DOPEX0309P | Capex component
DOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311P | Opex component
DOPEX0312P | Capex component
DOPEX0313P | Other component
DOPEX0314P | Closing balance (carrying amount at the end of the period)
DOPEX03Q | <Provision name>
<Brief description of provision>
DOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302Q | Opex component
DOPEX0303Q | Capex component
DOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305Q | Opex component
DOPEX0306Q | Capex component
DOPEX0307Q | Other component
Unused amounts reversed during the period
DOPEX0308Q | Opex component
DOPEX0309Q | Capex component
DOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311Q | Opex component
DOPEX0312Q | Capex component
DOPEX0313Q | Other component
DOPEX0314Q | Closing balance (carrying amount at the end of the period)
DOPEX03R | <Provision name>
<Brief description of provision>
DOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
DOPEX0302R | Opex component
DOPEX0303R | Capex component
DOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
DOPEX0305R | Opex component
DOPEX0306R | Capex component
DOPEX0307R | Other component
Unused amounts reversed during the period
DOPEX0308R | Opex component
DOPEX0309R | Capex component
DOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
DOPEX0311R | Opex component
DOPEX0312R | Capex component
DOPEX0313R | Other component
DOPEX0314R | Closing balance (carrying amount at the end of the period)
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
CitiPower
Benchmarking RIN response 2023-24
3.3 ASSETS
TEMPLATE DATE - MAY 2024
There are FOUR tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.3.1 - REGULATORY ASSET BASE VALUES
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
FOR TOTAL ASSET BASE
DRAB0101 | Opening value | 1646174990 | 2017093387 | 77768958
DRAB0102 | Inflation addition | 128927117 | 157975162 | 4927707
DRAB0103 | Straight line depreciation | -112276017 | -133701708 | -12960874
DRAB0105 | Actual additions (recognised in RAB) | 107520520 | 125471292 | 5531943
DRAB0106 | Disposals | -23769521 | -29511395 | 0
DRAB0107 | Closing value | 1746577089 | 2137326738 | 75267734
3.3.2 - ASSET VALUE ROLL FORWARD
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
For overhead network assets less than 33kV:
DRAB0201 | Opening value | 165079066 | 205048999 | 0
DRAB0202 | Inflation addition | 12927976 | 16058175 | 0
DRAB0203 | Straight line depreciation | -9535610 | -11844429 | 0
DRAB0205 | Actual additions (recognised in RAB) | 7989080 | 9923443 | 0
DRAB0206 | Disposals | -2555449 | -3174190 | 0
DRAB0207 | Closing value | 173905063 | 216011998 | 0
For underground network assets less than 33kV:
DRAB0301 | Opening value | 834477333 | 1036525986 | 0
DRAB0302 | Inflation addition | 65351126 | 81174333 | 0
DRAB0303 | Straight line depreciation | -48202660 | -59873777 | 0
DRAB0305 | Actual additions (recognised in RAB) | 40384926 | 50163166 | 0
DRAB0306 | Disposals | -12917837 | -16045581 | 0
DRAB0307 | Closing value | 879092888 | 1091944127 | 0
For distribution substations and transformers:
DRAB0401 | Opening value | 29748245 | 36951068 | 0
DRAB0402 | Inflation addition | 2329699 | 2893780 | 0
DRAB0403 | Straight line depreciation | -1718374 | -2134438 | 0
DRAB0405 | Actual additions (recognised in RAB) | 1439680 | 1788264 | 0
DRAB0406 | Disposals | -460507 | -572008 | 0
DRAB0407 | Closing value | 31338743 | 38926666 | 0
For overhead network assets 33kV and above:
DRAB0501 | Opening value | 13388027 | 16629616 | 0
DRAB0502 | Inflation addition | 1048468 | 1302329 | 0
DRAB0503 | Straight line depreciation | -773345 | -960591 | 0
DRAB0505 | Actual additions (recognised in RAB) | 647920 | 804798 | 0
DRAB0506 | Disposals | -207249 | -257429 | 0
DRAB0507 | Closing value | 14103821 | 17518723 | 0
For underground network assets 33kV and above:
DRAB0601 | Opening value | 164049463 | 203770103 | 0
DRAB0602 | Inflation addition | 12847344 | 15958020 | 0
DRAB0603 | Straight line depreciation | -9476136 | -11770555 | 0
DRAB0605 | Actual additions (recognised in RAB) | 7939251 | 9861551 | 0
DRAB0606 | Disposals | -2539511 | -3154392 | 0
DRAB0607 | Closing value | 172820411 | 214664727 | 0
Zone substations and transformers
DRAB0701 | Opening value | 325180943 | 403915702 | 0
DRAB0702 | Inflation addition | 25466169 | 31632191 | 0
DRAB0703 | Straight line depreciation | -18783718 | -23331744 | 0
DRAB0705 | Actual additions (recognised in RAB) | 15737286 | 19547692 | 0
DRAB0706 | Disposals | -5033851 | -6252677 | 0
DRAB0707 | Closing value | 342566829 | 425511164 | 0
For easements:
DRAB0801 | Opening value | 0 | 0 | 0
DRAB0802 | Inflation addition | 0 | 0 | 0
DRAB0805 | Actual additions (recognised in RAB) | 0 | 0 | 0
DRAB0806 | Disposals | 0 | 0 | 0
DRAB0807 | Closing value | 0 | 0 | 0
For meters:
DRAB0901 | Opening value | 0 | 0 | 62919053
DRAB0902 | Inflation addition | 0 | 0 | 4927707
DRAB0903 | Straight line depreciation | 0 | 0 | -12041051
DRAB0905 | Actual additions (recognised in RAB) | 0 | 0 | 3628674
DRAB0906 | Disposals | 0 | 0 | 0
DRAB0907 | Closing value | 0 | 0 | 59434383
For “other” asset items with long lives:
DRAB1001 | Opening value | 66487566 | 66487566 | 14849905
DRAB1002 | Inflation addition | 5215516 | 5215516 | 0
DRAB1003 | Straight line depreciation | -8312807 | -8312807 | -919823
DRAB1005 | Actual additions (recognised in RAB) | 13085741 | 13085741 | 1903268
DRAB1006 | Disposals | -55118 | -55118 | 0
DRAB1007 | Closing value | 76420898 | 76420898 | 15833350
For “other” asset items with short lives:
DRAB1101 | Opening value | 47764347 | 47764347 | 0
DRAB1102 | Inflation addition | 3740819 | 3740819 | 0
DRAB1103 | Straight line depreciation | -15473368 | -15473368 | 0
DRAB1105 | Actual additions (recognised in RAB) | 20296637 | 20296637 | 0
DRAB1106 | Disposals | 0 | 0 | 0
DRAB1107 | Closing value | 56328435 | 56328435 | 0
3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
|  | Network services | Standard control services | Alternative control services
VALUE $
|  | 2023-24 | 2023-24 | 2023-24
DRAB1201 | Overhead network assets less than 33kV (wires and poles) | 169492065 | 210530499 | 0
DRAB1202 | Underground network assets less than 33kV (cables) | 856785110 | 1064235056 | 0
DRAB1203 | Distribution substations including transformers | 30543494 | 37938868 | 0
DRAB1204 | Overhead network assets 33kV and above (wires and towers / poles etc) | 13745924 | 17074169 | 0
DRAB1205 | Underground network assets 33kV and above(cables, ducts etc) | 168434938 | 209217414 | 0
DRAB1206 | Zone substations and transformers | 333873886 | 414713432 | 0
DRAB1207 | Easements | 0 | 0 | 0
DRAB1208 | Meters | 0 | 0 | 61176718
DRAB1209 | "Other" assets with long lives | 71454232 | 71454232 | 15341627
DRAB1210 | "Other" assets with short lives | 52046391 | 52046391 | 0
DRAB13 | Value of Capital Contributions or Contributed Assets (included in the above) | 0 | 0 | 0
3.3.4 - ASSET LIVES
|  | Network services | Standard control services | Alternative control services
Service Life (Years)
|  | 2023-24 | 2023-24 | 2023-24
ESTIMATED SERVICE LIFE OF NEW ASSETS
DRAB1401 | Overhead network assets less than 33kV (wires and poles) | 49 | 49 | 0
DRAB1402 | Underground network assets less than 33kV (cables) | 49 | 49 | 0
DRAB1403 | Distribution substations including transformers | 49 | 49 | 0
DRAB1404 | Overhead network assets 33kV and above (wires and towers / poles etc) | 49 | 49 | 0
DRAB1405 | Underground network assets 33kV and above(cables, ducts etc) | 49 | 49 | 0
DRAB1406 | Zone substations and transformers | 49 | 49 | 0
DRAB1407 | Meters | 0 | 0 | 12.7
DRAB1408 | "Other" assets with long lives | 10.2 | 10.2 | 22.4
DRAB1409 | "Other" assets with short lives | 5.2 | 5.2 | 0
ESTIMATED RESIDUAL SERVICE LIFE
DRAB1501 | Overhead network assets less than 33kV (wires and poles) | 19 | 19 | 0
DRAB1502 | Underground network assets less than 33kV (cables) | 19 | 19 | 0
DRAB1503 | Distribution substations including transformers | 19 | 19 | 0
DRAB1504 | Overhead network assets 33kV and above (wires and towers / poles etc) | 19 | 19 | 0
DRAB1505 | Underground network assets 33kV and above (cables, ducts etc) | 19 | 19 | 0
DRAB1506 | Zone substations and transformers | 19 | 19 | 0
DRAB1507 | Meters | 0 | 0 | 5
DRAB1508 | "Other" assets with long lives | 9 | 9 | 16
DRAB1509 | "Other" assets with short lives | 3 | 3 | 0
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
CitiPower
Benchmarking RIN response 2023-24
3.4 OPERATIONAL DATA
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.4.1 - ENERGY DELIVERY
Standard control services
0's
|  | Units | 2023-24
DOPED01 | Total energy delivered | GWh | 5458.67
3.4.1.1 - Energy grouping - delivery by chargeable quantity
DOPED0201 | Energy Delivery where time of use is not a determinant | GWh | 1236.61
DOPED0202 | Energy Delivery at On-peak times | GWh | 1813.47
DOPED0203 | Energy Delivery at Shoulder times | GWh | 0
DOPED0204 | Energy Delivery at Off-peak times | GWh | 2327.53
DOPED0205 | Controlled load energy deliveries | GWh | 47.48
DOPED0206 | Energy Delivery to unmetered supplies | GWh | 33.58
3.4.1.2 - Energy - received from TNSP and other DNSPs by time of receipt
DOPED0301 | Energy into DNSP network at On-peak times | GWh | 3294
DOPED0302 | Energy into DNSP network at Shoulder times | GWh
DOPED0303 | Energy into DNSP network at Off-peak times | GWh | 2529
DOPED0304 | Energy received from TNSP and other DNSPs not included in the above categories | GWh
3.4.1.3 - Energy - received into DNSP system from embedded generation by time of receipt
DOPED0401 | Energy into DNSP network at On-peak times from non-residential embedded generation | GWh | 2.62
DOPED0402 | Energy into DNSP network at Shoulder times from non-residential embedded generation | GWh
DOPED0403 | Energy into DNSP network at Off-peak times from non-residential embedded generation | GWh | 0.79
DOPED0404 | Energy received from embedded generation not included in above categories from non-residential embedded generation | GWh
DOPED0405 | Energy into DNSP network at On-peak times from residential embedded generation | GWh | 51.21
DOPED0406 | Energy into DNSP network at Shoulder times from residential embedded generation | GWh
DOPED0407 | Energy into DNSP network at Off-peak times from residential embedded generation | GWh | 22.75
DOPED0408 | Energy received from embedded generation not included in above categories from residential embedded generation | GWh
3.4.1.4 - Energy grouping - customer type or class
DOPED0501 | Residential customers energy deliveries | GWh | 1217.76
DOPED0502 | Non residential customers not on demand tariffs energy deliveries | GWh | 673.14
DOPED0503 | Non-residential low voltage demand tariff customers energy deliveries | GWh | 2770.17
DOPED0504 | Non-residential high voltage demand tariff customers energy deliveries | GWh | 797.6
DOPED0505 | Other Customer Class Energy Deliveries | GWh
3.4.2 - CUSTOMER NUMBERS
Standard control services
VOLUME 0's
2023-24
3.4.2.1 - Distribution customer numbers by customer type or class
DOPCN0101 | Residential customer numbers |  | 289645
DOPCN0102 | Non residential customers not on demand tariff customer numbers |  | 46767
DOPCN0103 | Low voltage demand tariff customer numbers |  | 8939
DOPCN0104 | High voltage demand tariff customer numbers |  | 126
DOPCN0105 | Unmetered Customer Numbers |  | 5171
DOPCN0106 | Other Customer Numbers
DOPCN01 | Total customer numbers |  | 350648
3.4.2.2 - Distribution customer numbers by location on the network
DOPCN0201 | CBD |  | 63742
DOPCN0202 | Urban |  | 286906
DOPCN0203 | Short rural
DOPCN0204 | Long rural
DOPCN02 | Total customer numbers |  | 350648
3.4.2.4 - Unmetered Supply
DOPCN0301 | Number of unmetered connections reported in customer numbers in the economic benchmarking RIN |  | 5171
DOPCN0302 | Unmetered connections not reported in customer numbers in the economic benchmarking RIN
DOPCN0303 | Total unmetered connections |  | 5171
3.4.3 - SYSTEM DEMAND
Standard control services
VOLUME 0's
|  | Units | 2023-24
3.4.3.1 - Annual system maximum demand characteristics at the zone substation level – MW measure
DOPSD0101 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 1259
DOPSD0102 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1466
DOPSD0103 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1298
DOPSD0104 | Coincident Raw System Annual Maximum Demand | MW | 1216
DOPSD0105 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1417
DOPSD0106 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1254
3.4.3.2 - Annual system maximum demand characteristics at the transmission connection point – MW measure
DOPSD0107 | Non-coincident Summated Raw System Annual Maximum Demand | MW | 1354
DOPSD0108 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1624
DOPSD0109 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1427
DOPSD0110 | Coincident Raw System Annual Maximum Demand | MW | 1339
DOPSD0111 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MW | 1605
DOPSD0112 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MW | 1409
3.4.3.3 - Annual system maximum demand characteristics at the zone substation level – MVA measure
DOPSD0201 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 1279
DOPSD0202 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 1496
DOPSD0203 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1320
DOPSD0204 | Coincident Raw System Annual Maximum Demand | MVA | 1235
DOPSD0205 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 1439
DOPSD0206 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1273
3.4.3.4 - Annual system maximum demand characteristics at the transmission connection point – MVA measure
DOPSD0207 | Non–coincident Summated Raw System Annual Maximum Demand | MVA | 1400
DOPSD0208 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 1669
DOPSD0209 | Non–coincident Summated Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1458
DOPSD0210 | Coincident Raw System Annual Maximum Demand | MVA | 1382
DOPSD0211 | Coincident Weather Adjusted System Annual Maximum Demand 10% POE | MVA | 1650
DOPSD0212 | Coincident Weather Adjusted System Annual Maximum Demand 50% POE | MVA | 1445
3.4.3.5 - Power factor conversion between MVA and MW
DOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.968
DOPSD0302 | Average power factor conversion for low voltage distribution lines | Factor | 0.85
DOPSD0303 | Average power factor conversion for 3.3 kV lines | Factor
DOPSD0304 | Average power factor conversion for 6.6 kV lines | Factor | 0.9
DOPSD0305 | Average power factor conversion for 7.6 kV lines | Factor
DOPSD0306 | Average power factor conversion for 11 kV lines | Factor | 0.9
DOPSD0307 | Average power factor conversion for SWER lines | Factor
DOPSD0308 | Average power factor conversion for 22 kV lines | Factor | 0.9
DOPSD0309 | Average power factor conversion for 33 kV lines | Factor
DOPSD0310 | Average power factor conversion for 44 kV lines | Factor
DOPSD0311 | Average power factor conversion for 66 kV lines | Factor | 0.95
DOPSD0312 | Average power factor conversion for 110 kV lines | Factor
DOPSD0313 | Average power factor conversion for 132 kV lines | Factor
DOPSD0314 | Average power factor conversion for 220 kV lines | Factor
3.4.3.6 - Demand supplied (for customers charged on this basis) – MW measure
DOPSD0401 | Summated Chargeable Contracted Maximum Demand | MW
DOPSD0402 | Summated Chargeable Measured Maximum Demand | MW | 221
3.4.3.7 - Demand supplied (for customers charged on this basis) – MVA measure
DOPSD0403 | Summated Chargeable Contracted Maximum Demand | MVA
DOPSD0404 | Summated Chargeable Measured Maximum Demand | MVA | 957
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
CitiPower
Benchmarking RIN response 2023-24
3.5 PHYSICAL ASSETS
TEMPLATE DATE - MAY 2024
There are THREE tables on this worksheet. Each table has been grouped (and sub-grouped) for ease of navigation. See the Instructions sheet on how to group or ungroup tables.
3.5.1 - NETWORK CAPACITIES
VOLUME in KM's 0's
| Circuit length | 2023-24
3.5.1.1 - Overhead network length of circuit at each voltage
DPA0101 | Overhead low voltage distribution | 1630
DPA0102 | Overhead 2.2 kV | 0
DPA0103 | Overhead 6.6kv | 91
DPA0104 | Overhead 7.6 kV | 0
DPA0105 | Overhead 11 kV | 383
DPA0106 | Overhead SWER | 0
DPA0107 | Overhead 22 kV | 7
DPA0108 | Overhead 33 kV | 0
DPA0109 | Overhead 44 kV | 0
DPA0110 | Overhead 66 kV | 141
DPA0111 | Overhead 110kV | 0
DPA0112 | Overhead 132 kV | 0
DPA0113 | Overhead 220kV | 0
DPA0114 | Other | 7
DPA01 | Total overhead circuit km | 2259
3.5.1.2 - Underground network circuit length at each voltage
DPA0201 | Underground low voltage distribution | 681.28
DPA0202 | Underground 5 kV | 0
DPA0203 | Underground 6.6 Kv | 90.53
DPA0204 | Underground 7.6 kV | 0
DPA0205 | Underground 11 kV | 1375.08
DPA0206 | Underground SWER | 0
DPA0207 | Underground 22 kV | 55.28
DPA0208 | Underground 33 kV | 0
DPA0209 | Underground 66 kV | 80.88
DPA0210 | Underground 110 kV | 0
DPA0211 | Underground 132 kV | 0
DPA0212 | Other | 53.79
DPA02 | Total underground circuit km | 2336.84
VOLUME in MVA 0's
| Circuit Capacity MVA | 2023-24
3.5.1.3 - Estimated overhead network weighted average MVA capacity by voltage class
DPA0301 | Overhead low voltage distribution | 0.2
DPA0302 | Overhead 6.6 kV | 2.3
DPA0303 | Overhead 7.6 kV
DPA0304 | Overhead 11 kV | 4
DPA0305 | Overhead SWER
DPA0306 | Overhead 22 kV | 8
DPA0307 | Overhead 33 kV
DPA0308 | Overhead 44 kV
DPA0309 | Overhead 66 kV | 50
DPA0310 | Overhead 110 kV
DPA0311 | Overhead 132 kV
DPA0312 | Overhead 220 kV
DPA0313 | Other | 15
3.5.1.4 - Estimated underground network weighted average MVA capacity by voltage class
DPA0401 | Underground low voltage distribution | 0.2
DPA0402 | Underground 5 kV
DPA0403 | Underground 6.6 kV | 2.3
DPA0404 | Underground 7.6 kV
DPA0405 | Underground 11 kV | 4
DPA0406 | Underground SWER
DPA0407 | Underground 12.7 kV
DPA0408 | Underground 22 kV | 8
DPA0409 | Underground 33 kV
DPA0410 | Underground 66 kV | 60
DPA0411 | Underground 110 kV
DPA0412 | Underground 132 kV
DPA0413 | Other | 15
3.5.2 - TRANSFORMER CAPACITIES
VOLUME in MVA 0's
2023-24
3.5.2.1 - Distribution transformer total installed capacity
DPA0501 | Distribution transformer capacity owned by utility | 4910.83
DPA0502 | Distribution transformer capacity owned by High Voltage Customers | 199.44
DPA0503 | Cold spare capacity included in DPA0501 | 84.49
3.5.2.2 - Zone substation transformer capacity
DPA0601 | Total installed capacity for first step transformation where there are two steps to reach distribution voltage
DPA0602 | Total installed capacity for second step transformation where there are two steps to reach distribution voltage
DPA0603 | Total zone substation transformer capacity where there is only a single step transformation to reach distribution voltage | 2670
DPA0604 | Total zone substation transformer capacity | 2683
DPA0605 | Cold spare capacity of zone substation transformers included in DPA0604 | 13
3.5.2.3 - Distribution - other transformer capacity
Distribution other - transformer capacity owned by utility
3.5.3 - PUBLIC LIGHTING
VOLUME 0's
2023-24
DPA0701 | Public lighting luminaires | 52045
DPA0702 | Public lighting poles | 8807
DPA0703 | Public lighting columns | 0
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.6 Quality of service
REGULATORY REPORTING STATEMENT
CitiPower
Benchmarking RIN response 2023-24
3.6 QUALITY OF SERVICE DATA
TEMPLATE DATE - MAY 2024
3.6.1 - RELIABILITY
0's
|  | Units | 2023-24
INCLUSIVE OF MEDs
DQS0101 | Whole of network unplanned SAIDI | minutes/customer | 37.2497
DQS0102 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 37.2497
DQS0103 | Whole of network unplanned SAIFI | interruptions/customer | 0.29236
DQS0104 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.29236
EXCLUSIVE OF MEDs
DQS0105 | Whole of network unplanned SAIDI | minutes/customer | 20.8544
DQS0106 | Whole of network unplanned SAIDI excluding excluded outages | minutes/customer | 20.8544
DQS0107 | Whole of network unplanned SAIFI | interruptions/customer | 0.24791
DQS0108 | Whole of network unplanned SAIFI excluding excluded outages | interruptions/customer | 0.24791
3.6.2 - ENERGY NOT SUPPLIED
0's
|  | Units | 2023-24
DQS0201 | Energy Not Supplied (planned) | GWh | 0.33805
DQS0202 | Energy Not Supplied (unplanned) | GWh | 0.30963
DQS02 | Total |  | 0.64769
3.6.3 - SYSTEM LOSSES
0's
|  | Unit | 2023-24
DQS03 | System losses | % | 3.06%
3.6.4 - CAPACITY UTILISATION
0's
|  | Unit | 2023-24
DQS04 | Overall utilisation | % | 48.5%
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
CitiPower
Benchmarking RIN response 2023-24
3.7 OPERATING ENVIRONMENT FACTORS
TEMPLATE DATE - MAY 2024
3.7.1 - DENSITY FACTORS
0's
|  | Units | 2023-24
DOEF0101 | Customer density | Customer / km | 106.2277
DOEF0102 | Energy density | MWh/customer | 15.5674
DOEF0103 | Demand density | kVA / customer | 3.6475
3.7.2 - TERRAIN FACTORS
0's
|  | Units | 2023-24
DOEF0201 | Rural proportion | % | 0%
DOEF0202 | Urban and CBD vegetation maintenance spans | Number of spans | 5659
DOEF0203 | Rural vegetation maintenance spans | Number of spans | 0
DOEF0204 | Total vegetation maintenance spans | Number of spans | 5659
DOEF0205 | Total number of spans | Number of spans | 60856
DOEF0206 | Average urban and CBD vegetation maintenance span cycle | Years | 2.8
DOEF0207 | Average rural vegetation maintenance span cycle | Years | 0
DOEF0208 | Average number of trees per urban and CBD vegetation maintenance span | Trees | 21.64
DOEF0209 | Average number of trees per rural vegetation maintenance span | Trees | 0
DOEF0210 | Average number of defects per urban and CBD vegetation maintenance span | Defects | 1.06
DOEF0211 | Average number of defects per rural vegetation maintenance span | Defects | 0
DOEF0212 | Tropical proportion | Spans | 0
DOEF0213 | Standard vehicle access | km | 0
DOEF0214 | Bushfire risk | Spans | 0
3.7.3 - SERVICE AREA FACTORS
0's
|  | Units | 2023-24
DOEF0301 | Route Line length | km | 3300.91
Contents
Instructions
CONFIDENTIAL
NON-CONFIDENTIAL
NON-AMENDED
AMENDED
FOR AMENDED SUBMISSIONS ONLY
Protected (SOCI)
NON-Protected

## NSP Amendments
This sheet may be used to identify amendments made to data resubmitted to the AER. It may also be used to provide additional information not captured in this workbook.
NSP data amendments
Worksheet | Table | Comments
Contents
Instructions