## Business & other details
ECONOMIC BENCHMARKING
TransGrid
2013-14
BUSINESS & OTHER DETAILS
Instructions
Complete the following business details regulatory template before entering data or values in any other regulatory template. This regulatory template is linked to other cells within the spreadsheet and automatically generates column headings.
SUBMISSION PARTICULARS INPUT SHEETS
ENTITY DETAILS
Short name | TransGrid
ACN / ABN | 19622755774
UID | ETTNSW100
Business address | Address 1 |  | 180 Thomas Street
Address 2
| Suburb |  | HAYMARKET
|  | State | NSW | p/code | 2000
Postal address | Address 1 |  | PO Box A1000
Address 2
| Suburb |  | SYDNEY SOUTH
|  | State | NSW | p/code | 2000
Contact name/s
Contact phone/s
Contact email address/s
Current regulatory year | 2013-14
Source | Reporting
Data quality (actual, estimate, public, consolidated) | Consolidated
Amended RIN submission - amendment reason | 26/07/2024 - #17,021,387 - correction to 3.6.1 service component 20150630 - updates to 3.7 (d15/97859), 20150708 - updates to 3.6 (d15/101791) - (SH 7/9/2023 3.6 data is calendar year 2013 and has been removed as previously provided) 20150407 - update to 3.4.2 (d17/13071), 20150713 - update to 3.6 system losses (d15/108240), 20160411 - updates to 3.4.1 (d17/6117) 20210304 - #12040257 - 3.6 Quality of services - unnecessary x and y values removed for reingestion. |  |  |  |  | 20150630 | d15/97859 email dated 30 June 2015 amending 3.7
EBSS - First application of scheme in forthcoming period? | No |  |  |  |  | 20150708 | D15/101791 email data 8 July 2015 - amending 3.6

## Contents
REGULATORY REPORTING STATEMENT
TransGrid
Benchmarking RIN response 2013-14
CONTENTS
3. ECONOMIC BENCHMARKING
3.2 Operating expenditure
3.4 Operational data
3.1 Revenue
3.3 Assets (RAB)
3.6 Quality of service
3.5 Physical assets
3.7 Operating environment factors
1.0 Business & other details
3.7.4 Weather stations
3.2.3 Provisions

## 3.1 Revenue
REGULATORY REPORTING STATEMENT
TransGrid
Benchmarking RIN response 2013-14
3.1 REVENUE
Actual ($000s)
2013-14
TABLE 3.1.1 REVENUE GROUPING BY CHARGEABLE QUANTITY
TREV0101 | From Fixed Customer (Exit Point) Charges |  | 49634710.4545
TREV0102 | From Variable Customer (Exit Point) Charges |  | 0
TREV0103 | From Fixed Generator (Entry Point) Charges |  | 6563565.7909
TREV0104 | From Variable Generator (Entry Point) Charges |  | 0
TREV0105 | From Fixed Energy Usage Charges (Charge per day basis) |  | 11359961.3636
TREV0106 | From Variable Energy Usage charges (Charge per kWh basis) |  | 4451696.0496
TREV0107 | From Energy based Common Service and General Charges |  | 385528903.2178
TREV0108 | From Fixed Demand based Usage Charges |  | 4646941.0909
TREV0109 | From Variable Demand based Usage Charges |  | 220062169.4232
TREV0110 | Revenue from other Sources |  | 195817052.6094
TREV01 | Total revenue by chargeable quantity | $'000 | 878065000
| TABLE 3.1.2 REVENUE GROUPING BY TYPE OF CONNECTED EQUIPMENT |  | 0
TREV0201 | From Other connected transmission networks |  | 60296634.4664
TREV0202 | From Distribution networks |  | 651130156.0376
TREV0203 | From Directly connected end–users |  | 24554225.5621
TREV0204 | From Generators |  | 6563565.7909
TREV0205 | Other revenue |  | 135520418.143
TREV02 | Total revenue by type of connected equipment | $'000 | 878065000
`
TABLE 3.1.3 REVENUE (penalties) ALLOWED (deducted) THROUGH INCENTIVE SCHEMES
TREV0301 | EBSS |  | -3000000
TREV0302 | STPIS |  | 8730800
TREV0303 | Other |  | 0
TREV03 | Total revenue of incentive schemes | $'000 | 5730800
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL

## 3.2 Operating expenditure
REGULATORY REPORTING STATEMENT
TransGrid
Benchmarking RIN response 2013-14
3.2 OPERATING EXPENDITURE
Instructions
#REF!
Actual ($000's)
2013-14
TABLE 3.2.1 - OPEX CATEGORIES
Table 3.2.1.1 Current opex categories and cost allocations
TOPEX0101 | Maintenance - Lines and Cable |  | 11067000
TOPEX0102 | Maintenance - Substations |  | 29018000
TOPEX0103 | Maintenance - Communications |  | 7555000
TOPEX0104 | Maintenance - Secondary Systems |  | 4909000
TOPEX0105 | Maintenance - Land and Easements |  | 20934000
TOPEX0106 | Maintenance Support and Asset Management |  | 12711000
TOPEX0107 | Operations / Control Room |  | 7738000
TOPEX0108 | Grid Planning |  | 9613000
TOPEX0109 | Insurance |  | 5606000
TOPEX0110 | Rates & Taxes |  | 4956000
TOPEX0111 | Property Management |  | 5255000
TOPEX0112 | Environmental |  | 3842000
TOPEX0113 | Corporate Governance |  | 15353000
TOPEX0114 | Customer Relations |  | 5302000
TOPEX0115 | Regulatory |  | 4176000
TOPEX0116 | Finance |  | 6589000
TOPEX0117 | Information Technology |  | 14977000
TOPEX0118 | HR & Payroll |  | 5766000
TOPEX0119 | Self Insurance |  | 262000
TOPEX0120 | Network Support |  | 9000
TOPEX0121
TOPEX0122
TOPEX0123
TOPEX0124
TOPEX0125
TOPEX0126
TOPEX0127
TOPEX0128
TOPEX0129
TOPEX0130
TOPEX0131
TOPEX0132
TOPEX0133
TOPEX0134
TOPEX0135
TOPEX0136
TOPEX0137
TOPEX0138
TOPEX0139
TOPEX0140
TOPEX0141
TOPEX01 | Total opex | ($000's) | 175638000
| Table 3.2.1.2A - Historical opex categories and cost allocations |  | 2013-14
TOPEX0101A
TOPEX0102A
TOPEX0103A
TOPEX0104A
TOPEX0105A
TOPEX0106A
TOPEX0107A
TOPEX0108A
TOPEX0109A
TOPEX0110A
TOPEX0111A
TOPEX0112A
TOPEX0113A
TOPEX0114A
TOPEX0115A
TOPEX0116A
TOPEX0117A
TOPEX0118A
TOPEX0119A
TOPEX0120A
TOPEX0121A
TOPEX0122A
TOPEX0123A
TOPEX0124A
TOPEX0125A
TOPEX0126A
TOPEX0127A
TOPEX0128A
TOPEX0129A
TOPEX0130A
TOPEX0131A
TOPEX0132A
TOPEX0133A
TOPEX0134A
TOPEX0135A
TOPEX0136A
TOPEX0137A
TOPEX0138A
TOPEX0139A
TOPEX0140A
TOPEX0141A
TOPEX0142A
TOPEX01A | Total opex | ($000's) | 0
| Table 3.2.1.2B - Historical opex categories and cost allocations |  | 2013-14
TOPEX0101B
TOPEX0102B
TOPEX0103B
TOPEX0104B
TOPEX0105B
TOPEX0106B
TOPEX0107B
TOPEX0108B
TOPEX0109B
TOPEX0110B
TOPEX0111B
TOPEX0112B
TOPEX0113B
TOPEX0114B
TOPEX0115B
TOPEX0116B
TOPEX0117B
TOPEX0118B
TOPEX0119B
TOPEX0120B
TOPEX0121B
TOPEX0122B
TOPEX0123B
TOPEX0124B
TOPEX0125B
TOPEX0126B
TOPEX0127B
TOPEX0128B
TOPEX0129B
TOPEX0130B
TOPEX0131B
TOPEX0132B
TOPEX0133B
TOPEX0134B
TOPEX0135B
TOPEX0136B
TOPEX0137B
TOPEX0138B
TOPEX0139B
TOPEX0140B
TOPEX0141B
TOPEX0142B
TOPEX01B | Total opex | ($000's) | 0
| Table 3.2.1.2C - Historical opex categories and cost allocations |  | 2013-14
TOPEX0101C
TOPEX0102C
TOPEX0103C
TOPEX0104C
TOPEX0105C
TOPEX0106C
TOPEX0107C
TOPEX0108C
TOPEX0109C
TOPEX0110C
TOPEX0111C
TOPEX0112C
TOPEX0113C
TOPEX0114C
TOPEX0115C
TOPEX0116C
TOPEX0117C
TOPEX0118C
TOPEX0119C
TOPEX0120C
TOPEX0121C
TOPEX0122C
TOPEX0123C
TOPEX0124C
TOPEX0125C
TOPEX0126C
TOPEX0127C
TOPEX0128C
TOPEX0129C
TOPEX0130C
TOPEX0131C
TOPEX0132C
TOPEX0133C
TOPEX0134C
TOPEX0135C
TOPEX0136C
TOPEX0137C
TOPEX0138C
TOPEX0139C
TOPEX0140C
TOPEX0141C
TOPEX0142C
TOPEX01C | Total opex | ($000's) | 0
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.2.3 Provisions
REGULATORY REPORTING STATEMENT
TransGrid
Benchmarking RIN response 2013-14
3.2 OPERATING EXPENDITURE
Instructions
#REF!
TABLE 3.2.3 - PROVISIONS
| For each provision report: | $000s
2013-14
TOPEX03A | Long Service Leave
Long Services Leave
TOPEX0301A | Opening balance (the carrying amount at the beginning of the period) | 61398000
Additional provisions made in the period, including increases to existing provisions
TOPEX0302A | Opex component | 2288000
TOPEX0303A | Capex component | 816000
TOPEX0304A | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305A | Opex component | 4080000
TOPEX0306A | Capex component | 1456000
TOPEX0307A | Other component | 0
| Unused amounts reversed during the period | 0
TOPEX0308A | Opex component | 0
TOPEX0309A | Capex component | 0
TOPEX0310A | Other component | 0
| The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate | 0
TOPEX0311A | Opex component | 0
TOPEX0312A | Capex component | 0
TOPEX0313A | Other component | 0
TOPEX0314A | Closing balance (carrying amount at the end of the period) | 58966000
TOPEX03B | Annual leave
Annual leave
TOPEX0301B | Opening balance (the carrying amount at the beginning of the period) | 17747000
Additional provisions made in the period, including increases to existing provisions
TOPEX0302B | Opex component | 6633000
TOPEX0303B | Capex component | 2367000
TOPEX0304B | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305B | Opex component | 6801000
TOPEX0306B | Capex component | 2426000
TOPEX0307B | Other component | 0
| Unused amounts reversed during the period | 0
TOPEX0308B | Opex component | 0
TOPEX0309B | Capex component | 0
TOPEX0310B | Other component | 0
| The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate | 0
TOPEX0311B | Opex component | 0
TOPEX0312B | Capex component | 0
TOPEX0313B | Other component | 0
TOPEX0314B | Closing balance (carrying amount at the end of the period) | 17520000
TOPEX03C | Workers' Compensation
Workers' Compensation
TOPEX0301C | Opening balance (the carrying amount at the beginning of the period) | 11338000
Additional provisions made in the period, including increases to existing provisions
TOPEX0302C | Opex component | 1007000
TOPEX0303C | Capex component | 360000
TOPEX0304C | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305C | Opex component | 524000
TOPEX0306C | Capex component | 187000
TOPEX0307C | Other component | 0
| Unused amounts reversed during the period | 0
TOPEX0308C | Opex component | 1320000
TOPEX0309C | Capex component | 472000
TOPEX0310C | Other component | 0
| The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate | 0
TOPEX0311C | Opex component | 0
TOPEX0312C | Capex component | 0
TOPEX0313C | Other component | 0
TOPEX0314C | Closing balance (carrying amount at the end of the period) | 10202000
TOPEX03D | Defined Benefit Superannuation Scheme
Defined Benefit Superannuation Scheme
TOPEX0301D | Opening balance (the carrying amount at the beginning of the period) | 269556000
Additional provisions made in the period, including increases to existing provisions
TOPEX0302D | Opex component | 6937000
TOPEX0303D | Capex component | 0
TOPEX0304D | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305D | Opex component | 17875000
TOPEX0306D | Capex component | 0
TOPEX0307D | Other component | 0
| Unused amounts reversed during the period | 0
TOPEX0308D | Opex component | 0
TOPEX0309D | Capex component | 0
TOPEX0310D | Other component | 0
| The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate | 0
TOPEX0311D | Opex component | 0
TOPEX0312D | Capex component | 0
TOPEX0313D | Other component | 0
TOPEX0314D | Closing balance (carrying amount at the end of the period) | 258618000
TOPEX03E | Short Term Incentive scheme
Short Term Incentives
TOPEX0301E | Opening balance (the carrying amount at the beginning of the period) | 1144000
Additional provisions made in the period, including increases to existing provisions
TOPEX0302E | Opex component | 2730000
TOPEX0303E | Capex component | 0
TOPEX0304E | Other component | 0
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305E | Opex component | 1332000
TOPEX0306E | Capex component | 0
TOPEX0307E | Other component | 0
| Unused amounts reversed during the period | 0
TOPEX0308E | Opex component | 0
TOPEX0309E | Capex component | 0
TOPEX0310E | Other component | 0
| The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate | 0
TOPEX0311E | Opex component | 0
TOPEX0312E | Capex component | 0
TOPEX0313E | Other component | 0
TOPEX0314E | Closing balance (carrying amount at the end of the period) | 2542000
TOPEX03F | Provision name
Brief description of provision
TOPEX0301F | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302F | Opex component
TOPEX0303F | Capex component
TOPEX0304F | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305F | Opex component
TOPEX0306F | Capex component
TOPEX0307F | Other component
Unused amounts reversed during the period
TOPEX0308F | Opex component
TOPEX0309F | Capex component
TOPEX0310F | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311F | Opex component
TOPEX0312F | Capex component
TOPEX0313F | Other component
TOPEX0314F | Closing balance (carrying amount at the end of the period)
TOPEX03G | Provision name
Brief description of provision
TOPEX0301G | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302G | Opex component
TOPEX0303G | Capex component
TOPEX0304G | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305G | Opex component
TOPEX0306G | Capex component
TOPEX0307G | Other component
Unused amounts reversed during the period
TOPEX0308G | Opex component
TOPEX0309G | Capex component
TOPEX0310G | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311G | Opex component
TOPEX0312G | Capex component
TOPEX0313G | Other component
TOPEX0314G | Closing balance (carrying amount at the end of the period)
TOPEX03H | Provision name
Brief description of provision
TOPEX0301H | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302H | Opex component
TOPEX0303H | Capex component
TOPEX0304H | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305H | Opex component
TOPEX0306H | Capex component
TOPEX0307H | Other component
Unused amounts reversed during the period
TOPEX0308H | Opex component
TOPEX0309H | Capex component
TOPEX0310H | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311H | Opex component
TOPEX0312H | Capex component
TOPEX0313H | Other component
TOPEX0314H | Closing balance (carrying amount at the end of the period)
TOPEX03I | Provision name
Brief description of provision
TOPEX0301I | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302I | Opex component
TOPEX0303I | Capex component
TOPEX0304I | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305I | Opex component
TOPEX0306I | Capex component
TOPEX0307I | Other component
Unused amounts reversed during the period
TOPEX0308I | Opex component
TOPEX0309I | Capex component
TOPEX0310I | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311I | Opex component
TOPEX0312I | Capex component
TOPEX0313I | Other component
TOPEX0314I | Closing balance (carrying amount at the end of the period)
TOPEX03J | Provision name
Brief description of provision
TOPEX0301J | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302J | Opex component
TOPEX0303J | Capex component
TOPEX0304J | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305J | Opex component
TOPEX0306J | Capex component
TOPEX0307J | Other component
Unused amounts reversed during the period
TOPEX0308J | Opex component
TOPEX0309J | Capex component
TOPEX0310J | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311J | Opex component
TOPEX0312J | Capex component
TOPEX0313J | Other component
TOPEX0314J | Closing balance (carrying amount at the end of the period)
TOPEX03K | Provision name
Brief description of provision
TOPEX0301K | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302K | Opex component
TOPEX0303K | Capex component
TOPEX0304K | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305K | Opex component
TOPEX0306K | Capex component
TOPEX0307K | Other component
Unused amounts reversed during the period
TOPEX0308K | Opex component
TOPEX0309K | Capex component
TOPEX0310K | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311K | Opex component
TOPEX0312K | Capex component
TOPEX0313K | Other component
TOPEX0314K | Closing balance (carrying amount at the end of the period)
TOPEX03L | Provision name
Brief description of provision
TOPEX0301L | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302L | Opex component
TOPEX0303L | Capex component
TOPEX0304L | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305L | Opex component
TOPEX0306L | Capex component
TOPEX0307L | Other component
Unused amounts reversed during the period
TOPEX0308L | Opex component
TOPEX0309L | Capex component
TOPEX0310L | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311L | Opex component
TOPEX0312L | Capex component
TOPEX0313L | Other component
TOPEX0314L | Closing balance (carrying amount at the end of the period)
TOPEX03M | Provision name
Brief description of provision
TOPEX0301M | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302M | Opex component
TOPEX0303M | Capex component
TOPEX0304M | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305M | Opex component
TOPEX0306M | Capex component
TOPEX0307M | Other component
Unused amounts reversed during the period
TOPEX0308M | Opex component
TOPEX0309M | Capex component
TOPEX0310M | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311M | Opex component
TOPEX0312M | Capex component
TOPEX0313M | Other component
TOPEX0314M | Closing balance (carrying amount at the end of the period)
TOPEX03N | Provision name
Brief description of provision
TOPEX0301N | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302N | Opex component
TOPEX0303N | Capex component
TOPEX0304N | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305N | Opex component
TOPEX0306N | Capex component
TOPEX0307N | Other component
Unused amounts reversed during the period
TOPEX0308N | Opex component
TOPEX0309N | Capex component
TOPEX0310N | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311N | Opex component
TOPEX0312N | Capex component
TOPEX0313N | Other component
TOPEX0314N | Closing balance (carrying amount at the end of the period)
TOPEX03O | Provision name
Brief description of provision
TOPEX0301O | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302O | Opex component
TOPEX0303O | Capex component
TOPEX0304O | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305O | Opex component
TOPEX0306O | Capex component
TOPEX0307O | Other component
Unused amounts reversed during the period
TOPEX0308O | Opex component
TOPEX0309O | Capex component
TOPEX0310O | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311O | Opex component
TOPEX0312O | Capex component
TOPEX0313O | Other component
TOPEX0314O | Closing balance (carrying amount at the end of the period)
TOPEX03P | Provision name
Brief description of provision
TOPEX0301P | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302P | Opex component
TOPEX0303P | Capex component
TOPEX0304P | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305P | Opex component
TOPEX0306P | Capex component
TOPEX0307P | Other component
Unused amounts reversed during the period
TOPEX0308P | Opex component
TOPEX0309P | Capex component
TOPEX0310P | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311P | Opex component
TOPEX0312P | Capex component
TOPEX0313P | Other component
TOPEX0314P | Closing balance (carrying amount at the end of the period)
TOPEX03Q | Provision name
Brief description of provision
TOPEX0301Q | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302Q | Opex component
TOPEX0303Q | Capex component
TOPEX0304Q | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305Q | Opex component
TOPEX0306Q | Capex component
TOPEX0307Q | Other component
Unused amounts reversed during the period
TOPEX0308Q | Opex component
TOPEX0309Q | Capex component
TOPEX0310Q | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311Q | Opex component
TOPEX0312Q | Capex component
TOPEX0313Q | Other component
TOPEX0314Q | Closing balance (carrying amount at the end of the period)
TOPEX03R | Provision name
Brief description of provision
TOPEX0301R | Opening balance (the carrying amount at the beginning of the period)
Additional provisions made in the period, including increases to existing provisions
TOPEX0302R | Opex component
TOPEX0303R | Capex component
TOPEX0304R | Other component
Amounts used (that is, incurred and charged against the provision) during the period
TOPEX0305R | Opex component
TOPEX0306R | Capex component
TOPEX0307R | Other component
Unused amounts reversed during the period
TOPEX0308R | Opex component
TOPEX0309R | Capex component
TOPEX0310R | Other component
The increase during the period in the discounted amount arising from the passage of time and the effect of any change in the discount rate
TOPEX0311R | Opex component
TOPEX0312R | Capex component
TOPEX0313R | Other component
TOPEX0314R | Closing balance (carrying amount at the end of the period)
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.3 Assets (RAB)
REGULATORY REPORTING STATEMENT
TransGrid
Benchmarking RIN response 2013-14
3.3 ASSETS
Actual ($ 000s)
2013-14
TABLE 3.3.1 - REGULATORY ASSET BASE VALUES
For total asset base:
TRAB0101 | Opening value | 5319141090.6675
TRAB0102 | Inflation addition | 154632763.1449
TRAB0103 | Straight line depreciation | -222310257.3592
TRAB0104
TRAB0105 | Actual additions (recognised in RAB) | 599025857.3342
TRAB0106 | Disposals | -16614093.07
TRAB0107 | Closing value | 5833875360.7173
TABLE 3.3.2 - ASSET VALUE ROLL FORWARD
For overhead transmission assets:
TRAB0201 | Opening value | 1576792019.7078
TRAB0202 | Inflation addition | 45545977.4627
TRAB0203 | Straight line depreciation | -68768801.9161
TRAB0204
TRAB0205 | Actual additions (recognised in RAB) | 207580895.7523
TRAB0206 | Disposals | -436340.64
TRAB0207 | Closing value | 1760713750.3668
For underground transmission assets:
TRAB0301 | Opening value | 213733467.4939
TRAB0302 | Inflation addition | 6261722.6805
TRAB0303 | Straight line depreciation | -6947744.8849
TRAB0304
TRAB0305 | Actual additions (recognised in RAB) | 0
TRAB0306 | Disposals | 0
TRAB0307 | Closing value | 213047445.2895
For transmission switchyards, substations
TRAB0401 | Opening value | 2496401883.223
TRAB0402 | Inflation addition | 71224839.1726
TRAB0403 | Straight line depreciation | -90049550.206
TRAB0404
TRAB0405 | Actual additions (recognised in RAB) | 254593449.3812
TRAB0406 | Disposals | -3379435.23
TRAB0407 | Closing value | 2728791186.3407
For easements:
TRAB0501 | Opening value | 666470987.8427
TRAB0502 | Inflation addition | 20994334.6307
TRAB0503 | Straight line depreciation | 0
TRAB0504
TRAB0505 | Actual additions (recognised in RAB) | 51111204.2674
TRAB0506 | Disposals | -9583136.78
TRAB0507 | Closing value | 728993389.9607
For “other” assets with long lives:
TRAB0601 | Opening value | 233933120.6051
TRAB0602 | Inflation addition | 6237780.8199
TRAB0603 | Straight line depreciation | -19501991.385
TRAB0604
TRAB0605 | Actual additions (recognised in RAB) | 58768272.0659
TRAB0606 | Disposals | 0
TRAB0607 | Closing value | 279437182.1059
For “other” assets with short lives:
TRAB0701 | Opening value | 131809611.7949
TRAB0702 | Inflation addition | 4368108.3785
TRAB0703 | Straight line depreciation | -37042168.9672
TRAB0704
TRAB0705 | Actual additions (recognised in RAB) | 26972035.8674
TRAB0706 | Disposals | -3215180.42
TRAB0707 | Closing value | 122892406.6537
TABLE 3.3.3 - TOTAL DISAGGREGATED RAB ASSET VALUES
TRAB0801 | Overhead transmission assets | 1668753009.8539
TRAB0802 | Underground transmission assets (cables, ducts etc) | 213390233.7469
TRAB0803 | Substations, switchyards, Transformers etc with transmission function | 2612596441.6115
TRAB0804 | Easements | 697731993.9213
TRAB0805 | Other assets with long lives (please specify) | 256685060.3026
TRAB0806 | Other assets with short lives (please specify) | 127350805.8975
| TABLE 3.3.4 - ASSET LIVES | Service Life (Years)
| 3.3.4.1 Asset Lives – estimated service life of new assets | 2013-14
TRAB0901 | Overhead transmission assets | 50
TRAB0902 | Underground transmission assets | 45
TRAB0903 | Switchyard, substation and transformer assets | 40
TRAB0904 | “Other” assets with long lives | 35
TRAB0905 | “Other assets with short lives | 5.4864
3.3.4.2 Asset Lives – estimated residual service life
TRAB1001 | Overhead transmission assets | 22.9289
TRAB1002 | Underground transmission assets | 30.763
TRAB1003 | Switchyard, substation and transformer assets | 27.7225
TRAB1004 | Other assets with long lives | 11.9953
TRAB1005 | Other assets with short lives | 3.5584
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.4 Operational data
REGULATORY REPORTING STATEMENT
TransGrid
Benchmarking RIN response 2013-14
3.4 OPERATIONAL DATA
Actual
2013-14
Units
TABLE 3.4.1 - ENERGY DELIVERY
Energy Grouping by Downstream Connection type
TOPED0101 | To Other connected transmission networks | GWh | 7400
TOPED0102 | To Distribution networks | GWh | 49500
TOPED0103 | To Directly connected end–users (330 kV) | GWh | 9949.886
TOPED0104 | Pumping and Power Station Auxillaries | GWh | 950.1143
TOPED01 | Total energy transported | GWh | 67800
TABLE 3.4.2 - CONNECTION POINTS
Number of entry points at each transmission voltage level
TOPCP0101 | 500kV | number | 2
TOPCP0102 | 330kV | number | 13.5
TOPCP0103 | 275kV | number | 0
TOPCP0104 | 220kV | number | 0
TOPCP0105 | 132 kV | number | 5
TOPCP0106 | 110kV | number | 0
TOPCP0107 | 66 kV | number | 0
TOPCP0108 | 33 kV | number | 0
TOPCP0109 | 22 kV | number | 1
TOPCP0110 | 11 kV | number | 0
TOPCP0111 | 6.6 kV | number | 0
Number of exit points at each transmission voltage level
TOPCP0201 | 500kV | number | 0
TOPCP0202 | 330kV | number | 5
TOPCP0203 | 275kV | number | 0
TOPCP0204 | 220kV | number | 2
TOPCP0205 | 132 kV | number | 55
TOPCP0206 | 110kV | number | 0
TOPCP0207 | 66 kV | number | 29
TOPCP0208 | 44 kV | number | 0
TOPCP0209 | 33kV | number | 5
TOPCP0210 | 22kV | number | 2
TOPCP0211 | 11kV | number | 1
TOPCP0212 | 6.6kV | number | 0
TABLE 3.4.3 - SYSTEM DEMAND
Table 3.4.3.1 Annual system maximum demand characteristics – MW measure
TOPSD0101 | Transmission System coincident maximum demand | MW | 12100
TOPSD0102 | Transmission System coincident weather adjusted maximum demand 10% POE | MW | 13800
TOPSD0103 | Transmission System coincident weather adjusted maximum demand 50% POE | MW | 12700
TOPSD0104 | Transmission System non-coincident summated maximum demand | MW | 16700
TOPSD0105 | Transmission System non-coincident weather adjusted summated maximum demand 10% POE | MW | 18700
TOPSD0106 | Transmission System non-coincident weather adjusted summated maximum demand 50% POE | MW | 17900
Table 3.4.3.2 Annual system maximum demand characteristics – MVA measure
TOPSD0201 | Transmission System coincident maximum demand | MVA | 12300
TOPSD0202 | Transmission System coincident weather adjusted maximum demand 10% POE | MVA | 14100
TOPSD0203 | Transmission System coincident weather adjusted maximum demand 50% POE | MVA | 13000
TOPSD0204 | Transmission System non-coincident summated maximum demand | MVA | 17000
TOPSD0205 | Transmission System non-coincident weather adjusted summated maximum demand 10% POE | MVA | 19100
TOPSD0206 | Transmission System non-coincident weather adjusted summated maximum demand 50% POE | MVA | 18300
Table 3.4.3.3 Power factor
Power factor conversion between MVA and MW
TOPSD0301 | Average overall network power factor conversion between MVA and MW | Factor | 0.98
TOPSD0302 | Average power factor conversion for 500 kV lines | Factor | 0.98
TOPSD0303 | Average power factor conversion for 330 kV lines | Factor | 0.98
TOPSD0304 | Average power factor conversion for 275 kV lines | Factor | 0.98
TOPSD0305 | Average power factor conversion for 220 kV lines | Factor | 0.98
TOPSD0306 | Average power factor conversion for 132 kV lines | Factor | 0.98
TOPSD0307 | Average power factor conversion for 110 kV lines | Factor | 0.98
TOPSD0308 | Average power factor conversion for 88 kV lines | Factor | 0.98
TOPSD0309 | Average power factor conversion for 66 kV lines | Factor | 0.98
TOPSD0310 | Average power factor conversion for 33 kV lines | Factor | 0.98
TOPSD0311 | Average power factor conversion for 22 kV lines | Factor | 0.98
TOPSD0311 | Average power factor conversion for 11 kV lines | Factor | 0.98
TOPSD0312 | Average power factor conversion for 6.6 kV lines | Factor | 0.98
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.5 Physical assets
REGULATORY REPORTING STATEMENT
TransGrid
Benchmarking RIN response 2013-14
3.5 PHYSICAL ASSETS
Actual
2013-14
Unit
TABLE 3.5.1 - TRANSMISSION SYSTEM CAPACITIES
Table 3.5.1.1 Overhead network length of circuit at each voltage
TPA0101 | 500 kV | km | 1028.854
TPA0102 | 330 kV | km | 5463.571
TPA0103 | 275 kV | km | 0
TPA0104 | 220 kV | km | 681.172
TPA0105 | 132 kV | km | 5704.632
TPA0106 | 110 kV | km | 0
TPA0107 | 88 kV | km | 0
TPA0108 | 66 kV | km | 0
TPA0109 | 33 kV | km | 0
TPA0109 | 22 kV | km | 0
TPA0109 | 11 kV | km | 0
TPA01 | Total overhead circuit kilometres | km | 12878.229
Table 3.5.1.2 Underground cable circuit length at each voltage
TPA0201 | 500 kV | km | 0
TPA0202 | 330 kV | km | 47.2
TPA0203 | 275 kV | km | 0
TPA0204 | 220 kV | km | 0
TPA0205 | 132 kV | km | 4.237
TPA0206 | 110 kV | km | 0
TPA0207 | 88 kV | km | 0
TPA0208 | 66 kV | km | 0
TPA0209 | 33 kV | km | 0
TPA0210 | 22 kV | km | 0
TPA0211 | 11 kV | km | 0
TPA02 | Total underground circuit kilometres | km | 51.437
TPA0301 | Table 3.5.1.3 Estimated overhead network weighted average MVA capacity by voltage class
TPA0302 | 500 kV | MVA | 2633.2073
TPA0303 | 330 kV | MVA | 1002.5302
TPA0304 | 275 kV | MVA | 0
TPA0305 | 220 kV | MVA | 205.1916
TPA0306 | 132 kV | MVA | 120.915
TPA0307 | 110 kV | MVA | 0
TPA0308 | 88 kV | MVA | 0
TPA0309 | 66 kV | MVA | 0
TPA0310 | 33 kV | MVA | 0
TPA0311 | 22 kV | MVA | 0
TPA0312 | 11 kV | MVA | 0
Table 3.5.1.4 Estimated underground network weighted average MVA capacity by voltage class
TPA0401 | 500 kV | MVA | 0
TPA0402 | 330 kV | MVA | 676.9597
TPA0403 | 275 kV | MVA | 0
TPA0404 | 220 kV | MVA | 0
TPA0405 | 132 kV | MVA | 275.1853
TPA0406 | 110 kV | MVA | 0
TPA0407 | 88 kV | MVA | 0
TPA0408 | 66 kV | MVA | 0
TPA0409 | 33 kV | MVA | 0
TPA0410 | 22 kV | MVA | 0
TPA0411 | 11 kV |  | 0
Table 3.5.1.5 Installed transmission system transformer capacity
TPA0501 | Transmission substations | MVA | 21918
TPA0502 | Terminal points to DNSP systems | MVA | 31079.3
TPA0503 | Transformer capacity for directly connected end–users owned by the TNSP | MVA | 35
TPA0504 | Transformer capacity for directly connected end–users owned by the end–user | MVA | 2336
TPA0505 | Interconnector capacity | MVA | 0
TPA0506 | Other | MVA | 776
Table 3.5.1.6 Cold spare capacity
TPA06 | Cold spare capacity included in Table 3.5.1.5 | MVA | 2731.3
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.6 Quality of services
REGULATORY REPORTING STATEMENT
TransGrid
Benchmarking RIN response 2013-14
3.6 QUALITY OF SERVICE DATA
Actual
Calendar Year 2013
Unit
TABLE 3.6.1 - SERVICE COMPONENT
Table 3.6.1.1 Service Parameter 1 – Average Circuit outage rate
TQS0101 | Lines outage rate - fault | % | 10.23%
TQS0102 | Number of Lines fault outages | number | 21
TQS0103 | Number of defined Lines | number | 205.33
TQS0104 | Transformers outage rate - fault | % | 10.84%
TQS0105 | Number of Transformer fault outages | number | 20
TQS0106 | Number of defined Transformers | number | 184.5
TQS0107 | Reactive plant outage rate - fault | % | 15.65%
TQS0108 | Number of Reactive plant fault outages | number | 21
TQS0109 | Number of defined Reactive plant | number | 134.17
TQS0110 | Lines outage rate – forced outage | % | 17.05%
TQS0111 | Number of Lines forced outages | number | 35
TQS0112 | Transformer outage rate – forced outage | % | 39.02%
TQS0113 | Number of Transformers forced outages | number | 72
TQS0114 | Reactive plant outage rate – forced outage | % | 22.36%
TQS0115 | Number of Reactive plant forced outages | number | 30
Table 3.6.1.2 Service Parameter 2 – Loss of supply event frequency – number in ranges specified
TQS0116 | Number of events greater than 0.05 system minutes per annum (X) | number | 3
TQS0117 | Number of events greater than 0.1 system minutes per annum (X) | number
TQS0118 | Number of events greater than 0.2 system minutes per annum (X) | number
TQS0119 | Number of events greater than 0.25 system minutes per annum (X) | number
TQS0120 | Number of events greater than 0.30 system minutes per annum (X) | number
TQS0121 | Number of events greater than 0.5 system minutes per annum (X) | number
TQS0122 | Number of events greater than 0.75 system minutes per annum (X) | number
TQS0123 | Number of events greater than 1.0 system minutes per annum (X) | number
TQS0124 | Number of events greater than 0.05 system minutes per annum (Y) | number
TQS0125 | Number of events greater than 0.1 system minutes per annum (Y) | number
TQS0126 | Number of events greater than 0.2 system minutes per annum (Y) | number
TQS0127 | Number of events greater than 0.25 system minutes per annum (Y) | number | 0
TQS0128 | Number of events greater than 0.30 system minutes per annum (Y) | number
TQS0129 | Number of events greater than 0.5 system minutes per annum (Y) | number
TQS0130 | Number of events greater than 0.75 system minutes per annum (Y) | number
TQS0131 | Number of events greater than 1.0 system minutes per annum (Y) | number
Table 3.6.1.3 Service Parameter 3 – Average outage duration
TQS0118 | Average outage duration | minutes | 71.138
Table 3.6.1.4 System Parameter 4 – Proper operation of equipment – number of failure events
TQS0119 | Failure of protection system | number | 24
TQS0120 | Material failure of Supervisory Control and Data Acquisition (SCADA) system | number | 6
TQS0121 | Incorrect operational isolation of primary or secondary equipment | number | 6
TABLE 3.6.2 - MARKET IMPACT COMPONENT
TQS02 | Market Impact Parameter | Number of dispatch intervals | 749.5
TABLE 3.6.3 - SYSTEM LOSSES
TQS03 | System losses | % | 2%
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.7 Operating environment
REGULATORY REPORTING STATEMENT
TransGrid
Benchmarking RIN response 2013-14
3.7 OPERATING ENVIRONMENT FACTORS
Actual
2013-14
Unit
TEF01 | TABLE 3.7.1 - TERRAIN FACTORS
TEF0101 | Total number of vegetation maintenance spans | Number of spans | 2717
TEF0102 | Average vegetation maintenance span cycle | Years | 4.035
TEF0103 | Average number of trees per vegetation maintenance span | Trees | 1139.89
TEF0104 | Average number of defects per vegetation maintenance span | Defects | 0.52
TEF0105 | Tropical proportion | Number of spans | 363
TEF0106 | Standard vehicle access | km | 9100
TEF0107 | Altitude | km | 3772
TEF0108 | Bushfire risk | Number of spans | 2195
TEF02 | TABLE 3.7.2 - NETWORK CHARACTERISTICS
TEF0201 | Route line length | km | 11258.618
TEF0202 | Variability of dispatch | % | 9.249%
TEF0203 | Concentrated load distance | km | 430
TEF0204 | Total number of spans | number | 37650
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL
Contents

## 3.7.4 Weather stations
REGULATORY REPORTING STATEMENT
TransGrid
Benchmarking RIN response 2013-14
3.7 OPERATING ENVIRONMENT FACTORS
TABLE 3.7.4 - WEATHER STATIONS
Weather Station ID | Post code | Suburb | Materiality
46012 | 2836 | WILCANNIA | No
46126 | 2880 | TIBOOBURRA | No
46128 | 2880 | FOWLERS GAP | No
46129 | 2836 | WHITE CLIFFS | No
47048 | 2880 | BROKEN HILL | Yes
48027 | 2835 | COBAR | No
48237 | 2835 | COBAR | No
48245 | 2840 | NORTH BOURKE | No
49000 | 2878 | IVANHOE | No
50017 | 2671 | WEST WYALONG | No
50137 | 2877 | CONDOBOLIN | No
51049 | 2823 | TRANGIE | No
51161 | 2829 | COONAMBLE | No
52088 | 2832 | WALGETT | No
53115 | 2400 | MOREE | Yes
54038 | 2390 | NARRABRI | Yes
55202 | 2380 | GUNNEDAH | Yes
55325 | 2340 | WESTDALE | Yes
56018 | 2360 | INVERELL | Yes
56238 | 2350 | ARMIDALE | Yes
56243 | 2370 | GLEN INNES | Yes
58012 | 2464 | YAMBA | Yes
58077 | 2460 | TRENAYR | Yes
58161 | 2460 | GLENUGIE | Yes
58198 | 2478 | BALLINA | Yes
58208 | 2470 | CASINO | Yes
58212 | 2472 | THE GAP | Yes
58214 | 2480 | LOFTVILLE | Yes
58216 | 2481 | BYRON BAY | No
59007 | 2440 | ALDAVILLA | Yes
59040 | 2450 | COFFS HARBOUR | Yes
60139 | 2444 | PORT MACQUARIE | Yes
60141 | 2430 | CUNDLETOWN | Yes
61055 | 2300 | NEWCASTLE | Yes
61078 | 2318 | WILLIAMTOWN | Yes
61250 | 2421 | TOCAL | Yes
61260 | 2320 | POKOLBIN | Yes
61287 | 2329 | MERRIWA | Yes
61363 | 2337 | SCONE | Yes
61366 | 2263 | NORAH HEAD | Yes
61375 | 2250 | MANGROVE MOUNTAIN | Yes
61392 | 2338 | MURRURUNDI | Yes
61412 | 2265 | COORANBONG | Yes
61425 | 2250 | EAST GOSFORD | Yes
62100 | 2849 | NULLO MOUNTAIN | Yes
62101 | 2850 | BOMBIRA | Yes
63291 | 2795 | RAGLAN | Yes
63292 | 2785 | BLACKHEATH | Yes
63303 | 2800 | HUNTLEY | Yes
64017 | 2357 | COONABARABRAN | No
65068 | 2870 | PARKES | Yes
65070 | 2830 | DUBBO | Yes
65103 | 2871 | FORBES | Yes
65111 | 2794 | COWRA | Yes
66037 | 2020 | MASCOT | Yes
66059 | 2084 | TERREY HILLS | Yes
66137 | 2200 | BANKSTOWN AERODROME | Yes
66161 | 2173 | HOLSWORTHY | Yes
66194 | 2193 | CANTERBURY | Yes
66196 | 2088 | PORT JACKSON | Yes
66212 | 2127 | SYDNEY OLYMPIC PARK | Yes
67105 | 2753 | RICHMOND | Yes
67108 | 2555 | BADGERYS CREEK | Yes
67113 | 2749 | CASTLEREAGH | Yes
67117 | 2173 | HOLSWORTHY | Yes
67119 | 2175 | HORSLEY PARK | Yes
68072 | 2540 | NOWRA HILL | Yes
68151 | 2540 | BEECROFT PENINSULA | Yes
68192 | 2570 | COBBITTY | Yes
68228 | 2518 | BELLAMBI | Yes
68239 | 2577 | MOSS VALE | Yes
68241 | 2527 | ALBION PARK RAIL | Yes
68242 | 2533 | BOMBO | Yes
68253 | 2505 | PORT KEMBLA | Yes
68257 | 2567 | MOUNT ANNAN | Yes
69017 | 2546 | MONTAGUE ISLAND | No
69128 | 2622 | NERRIGA | Yes
69132 | 2622 | BRAIDWOOD | Yes
69137 | 2551 | GREEN CAPE | No
69138 | 2539 | ULLADULLA | Yes
69139 | 2550 | BEGA | No
69147 | 2548 | MERIMBULA | No
69148 | 2537 | MORUYA | No
70217 | 2630 | COOLRINGDON | Yes
70328 | 2632 | LORDS HILL | No
70330 | 2580 | BRISBANE GROVE | Yes
70339 | 2901 | TUGGERANONG | Yes
70349 | 2901 | TUGGERANONG | Yes
70351 | 2609 | MAJURA | Yes
71032 | 2627 | KOSCIUSZKO NATIONAL PARK | Yes
71075 | 2627 | KOSCIUSZKO NATIONAL PARK | Yes
72150 | 2651 | FOREST HILL | Yes
72160 | 2640 | EAST ALBURY | Yes
72161 | 2629 | CABRAMURRA | Yes
72162 | 2642 | KHANCOBAN | Yes
73138 | 2594 | MAIMURU | Yes
73151 | 2666 | TEMORA | No
74037 | 2703 | YANCO | Yes
74148 | 2700 | NARRANDERA | Yes
74258 | 2710 | DENILIQUIN | Yes
75019 | 2711 | HAY SOUTH | Yes
75041 | 2680 | GRIFFITH | Yes
200288 | 2899 | NORFOLK ISLAND | No
200839 | 2898 | LORD HOWE ISLAND | No
Contents
Mark selected cells CONFIDENTIAL
Return cells to NON-CONFIDENTIAL