## Cover
Service Target Performance Incentive Scheme
|  | Electricity Distribution Network Service Provider | CitiPower | 2026-31
Contents
Output ¦ Decision tables | Provides output including incentive rates, targets and VCR by feeders type.
STPIS inputs | Inputs average smoothed revenues, average annual energy consumptions, CPI and network feeders type.
Target adjustments | Calculates performance target adjustments
Annual performance and targets | Calculates performance targets for each network feeder type for the upcoming regulatory control period (based on historical performance and if applicable, any performance target adjustments)
Incentive rates calculations | Calculates incentive rates by STPIS parameters and network feeder types.

## Output ¦ Final Decision tables
CitiPower
AER Decision STPIS for 2026-31
Legend
Revenue at Risk (STPIS) ± | 5% |  |  | Data Input
Beta Method (Major Event Day Threshold calculation) | 2.5 | Log normal |  | Linked Input
Feeders classifications | CBD | Urban |  | Calculated figure
STPIS Targets and incentive rates
STPIS reliability targets for 2026-31 period
Classification | CBD | Urban
SAIDI (minutes) | 6.9877 | 23.1269
SAIFI (interruptions) | 0.078811 | 0.30094
MAIFI / MAIFIe (interruptions) | 0.019181 | 0.2106
STPIS Incentive rates for 2026-31 period
Classification | CBD | Urban
ir - SAIDI | 0.012047 | 0.056415
ir - SAIFI | 0.71207 | 2.8903
ir - MAIFI / MAIFIe | 0.056966 | 0.23122
Customer service
| Incentive rate | Target
Telephone answering (calls answered in 30 seconds) | -0.04% | 93.46%
Value of customer reliablity ($/MWh)
| CBD | Urban
VCR | 34464.1697 | 35857.1675

## STPIS inputs
Inputs
| Source | Average | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31
Revenue Smoothing ($ Real 2025-26) | AER PTRM Outputs | 376634186.0621 | 358912629.1467 | 367562423.5092 | 376420677.9157 | 385492416.2535 | 394782783.4852
| Source | CBD | Urban
Average annual energy consumption by network type (MWh) | DNSP | 1154046.3948 | 5194418.2527
| Source | CBD | Urban
VCR ($/MWh) | AER, Value of customer reliability review, final report, December 2024. | 34390 | 35780
|  | Table 2: Business VCR values | Table 20: Regional VCR
CPI |  | 0.0021567
ABS
2024-09-01 |  | 139.1 | AER, Value of customer reliability review, final report, December 2024. September 2024 CPI used.
2024-12-01 |  | 139.4 | VCR values has been escalated to the December 2024 quarter.

## Target adjustments
Backcasted data (Actual)
Measure | Source | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25
Unplanned SAIDI - CBD | ▪ s-factor annual compliance (actual) ▪ Annual information Orders | 6.9623 | 9.3179 | 5.0608 | 7.9747 | 5.6227
Unplanned SAIDI - urban |  | 25.3223 | 20.8533 | 18.8248 | 23.7159 | 26.9183
Unplanned SAIFI - CBD |  | 0.14655 | 0.059571 | 0.0499 | 0.079618 | 0.058419
Unplanned SAIFI - urban |  | 0.36543 | 0.26858 | 0.2727 | 0.28529 | 0.3127
Unplanned MAIFI - CBD |  | 0.00027039 | 0.036833 | 0.030665 | 0.023024 | 0.0051131
Unplanned MAIFI - urban |  | 0.16389 | 0.15949 | 0.2647 | 0.18857 | 0.27637
Telephone Answering (customer service) | ▪ Annual information Orders | 0.88795 | 0.94238 | 0.95135 | 0.94394 | 0.94746
Appendix F of the STPIS: Adjustment of performance target where the reward or penalty exceeds the revenue cap (right)
Part 1: Adjustment of Reliability of Supply performance target | Source | 2021H1 | 2021/22 | 2022/23 | 2023/24 | 2024/25
sum of the raw s-factors for the reliability of supply parameters | s-factor - annual compliance | 0.6021% | 1.153% | 1.366% | 0.8445% | 0.511%
reliability cap |  | 4.5% | 4.5% | 4.5% | 4.5% | 4.5%
performance over the cap |  | 0% | 0% | 0% | 0% | 0% | 0% | Did not exceed revenue at risk
| Source |  |  |  | ADDITIONAL NOTES
%above cap excluding telephone answering | STPIS |  | 0%
SAIDI proportion for incentive rate (60%) | STPIS Explanatory Statement (pg. 3) |  | 0%
SAIFI proportion for incentive rate (40%) |  |  | 0%
SAIDI adjustment | Source | CBD | Urban
SAIDI Incentive rates in current regulatory period | 2021-26 AER Final decision | 0.0196 | 0.0832
Adj required to 2026-31 RCP reliability targets due to R@R cap for 2021-26 SAIDI |  | 0% | 0%
SAIDI - Adj required to 2026-31 RCP reliability targets due to R@R |  | 0 | 0 | (5 years - 2020/21 to 2024/25)
SAIFI adjustment | Source | CBD | Urban
SAIFI Incentive rates in current regulatory period | 2021-26 AER Final decision | 1.0708 | 3.9902
Adj required to 2026-31 RCP reliability targets due to R@R cap for 2021-26 SAIFI |  | 0% | 0%
SAIFI - Adj required to 2026-31 RCP reliability targets due to R@R |  | 0 | 0 | (5 years - 2020/21 to 2024/25)
Forecast Energy Consumption by Network Type
Network type | Source | 5 Year Average MWH
CBD | DNSP Proposal | 1154046.3948
Urban |  | 5194418.2527

## Annual performance and targets
Historical STPIS performance and adjustments
Annual compliance actual | [7 empty] | Annual compliance actual | [7 empty] | Annual compliance actual
SAIFI | [7 empty] | SAIDI | [7 empty] | MAIFI / MAIFIe
Classification | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Draft decision | Final decision | Classification | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Draft decision | Final decision | Classification | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Draft decision | Final decision
CBD | 0.14655 | 0.059571 | 0.0499 | 0.079618 | 0.058419 | 0.083909 | 0.078811 | CBD | 6.9623 | 9.3179 | 5.0608 | 7.9747 | 5.6227 | 7.3289 | 6.9877 | CBD | 0.00027039 | 0.036833 | 0.030665 | 0.023024 | 0.0051131 | 0.022698 | 0.019181
Urban | 0.36543 | 0.26858 | 0.2727 | 0.28529 | 0.3127 | 0.298 | 0.30094 | Urban | 25.3223 | 20.8533 | 18.8248 | 23.7159 | 26.9183 | 22.1791 | 23.1269 | Urban | 0.16389 | 0.15949 | 0.2647 | 0.18857 | 0.27637 | 0.19416 | 0.2106
Telephone Answering | 0.88795 | 0.94238 | 0.95135 | 0.94394 | 0.94746 | 0.93141 | 0.93462
Adjustments | [7 empty] | Adjustments | [7 empty] | Adjustments
SAIFI | [7 empty] | SAIDI | [7 empty] | MAIFI / MAIFIe
Classification | [5 empty] | Draft decision | Final decision | Classification | [5 empty] | Draft decision | Final decision | Classification | [5 empty] | Draft decision | Final decision
CBD | [5 empty] | 0 | 0 | CBD | [5 empty] | 0 | 0 | CBD | [5 empty] | 0 | 0
Urban | [5 empty] | 0 | 0 | Urban | [5 empty] | 0 | 0 | Urban | [5 empty] | 0 | 0
Telephone Answering | [5 empty] | 0 | 0
Decision (with Adjustments) | [7 empty] | Decision (with Adjustments) | [7 empty] | Decision (with Adjustments)
SAIFI | [7 empty] | SAIDI | [7 empty] | MAIFI / MAIFIe
Classification | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Draft decision | Final decision | Classification | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Draft decision | Final decision | Classification | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Draft decision | Final decision
CBD | 0.14655 | 0.059571 | 0.0499 | 0.079618 | 0.058419 | 0.083909 | 0.078811 | CBD | 6.9623 | 9.3179 | 5.0608 | 7.9747 | 5.6227 | 7.3289 | 6.9877 | CBD | 0.00027039 | 0.036833 | 0.030665 | 0.023024 | 0.0051131 | 0.022698 | 0.019181
Urban | 0.36543 | 0.26858 | 0.2727 | 0.28529 | 0.3127 | 0.298 | 0.30094 | Urban | 25.3223 | 20.8533 | 18.8248 | 23.7159 | 26.9183 | 22.1791 | 23.1269 | Urban | 0.16389 | 0.15949 | 0.2647 | 0.18857 | 0.27637 | 0.19416 | 0.2106
Telephone Answering | 0.88795 | 0.94238 | 0.95135 | 0.94394 | 0.94746 | 0.93141 | 0.93462

## Incentive rates calc
Incentive rates calculation |  |  |  | Service Target Performance Incentive Scheme v2 (13 December 2018)
Incentive rate attributes |  | CBD | Urban
Value of Customer Reliability (VCR) for VIC ($/MWh) | VCRn | 34390 | 35780
Average annual energy consumption by network type (MWh) | Cn | 1154046.3948 | 5194418.2527
Average smoothed revenue requirement ($) | R | 376634186.0621 | 376634186.0621
Average unplanned SAIFI target | SAIFIn | 0.078811 | 0.30094
Average unplanned SAIDI target | SAIDIn | 6.9877 | 23.1269
Average unplanned MAIFI target | MAIFI | 0.019181 | 0.2106
Network type weighting | wn | 1.5 | 1.5
Inflation | CPI | 0.0021567 | 0.0021567
SAIDI Incentive rates |  | 0.012047 | 0.056415
SAIFI Incentive rates |  | 0.71207 | 2.8903
MAIFI Incentive rates (8% of the incentive rate for SAIFI) |  | 0.056966 | 0.23122
1.5
8%

## Change log (hidden)
Changelog (to detail completion of inputs, and any changes to inputs)
Date | Cell range | Description
Changed format of decision tables tab
2023-08-30 | C18 to F18; C19 to F19 | Output decision tables incentive rates calculation divided value by 100. This was removed as the value is also in percentage form
2023-08-30 | C23-F23 | Output decision tables, fixed VCR not being escalated.