## Cover
Service Target Performance Incentive Scheme
|  | Electricity Distribution Network Service Provider | Powercor | 2026-31
Contents
Output ¦ Decision tables | Provides output including incentive rates, targets and VCR by feeders type.
STPIS inputs | Inputs average smoothed revenues, average annual energy consumptions, CPI and network feeders type.
Target adjustments | Calculates performance target adjustments
Annual performance and targets | Calculates performance targets for each network feeder type for the upcoming regulatory control period (based on historical performance and if applicable, any performance target adjustments)
Incentive rates calculations | Calculates incentive rates by STPIS parameters and network feeder types.

## Output ¦ Final Decision tables
Powercor
AER Decision STPIS for 2026-31
Legend
Revenue at Risk (STPIS) ± | 5% |  |  |  | Data Input
Beta Method (Major Event Day Threshold calculation) | 2.8 | Log normal |  |  | Linked Input
Feeders classifications | Urban | Short Rural | Long Rural |  | Calculated figure
STPIS Targets and incentive rates
STPIS reliability targets for 2026-31 period
Classification | Urban | Short Rural | Long Rural
SAIDI (minutes) | 57.18 | 92.572 | 204.7207
SAIFI (interruptions) | 0.71787 | 1.0019 | 2.087
MAIFI / MAIFIe (interruptions) | 1.0902 | 1.7178 | 2.7814
STPIS Incentive rates for 2026-31 period
Classification | Urban | Short Rural | Long Rural
ir - SAIDI | 0.021894 | 0.020075 | 0.013406
ir - SAIFI | 1.1626 | 1.2366 | 0.87671
ir - MAIFI / MAIFIe | 0.093007 | 0.098928 | 0.070137
Customer service component
| Incentive rate | Target
Telephone answering (calls answered in 30 seconds) | -0.04% | 87.62%
Value of customer reliablity ($/MWh)
| Urban | Short Rural | Long Rural
VCR | 35857.1675 | 35857.1675 | 35857.1675

## STPIS inputs
Inputs
| Source | Average | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31
Revenue Smoothing ($ Real 2025-26) | AER PTRM Outputs | 984877038.5476 | 913728957.7131 | 947993793.6274 | 983543560.8884 | 1020426444.4217 | 1058692436.0875
| Source | Urban | Short Rural | Long Rural
Average annual energy consumption by network type (MWh) | DNSP | 5271362.9902 | 4833441.557 | 3227833.4114
| Source | Urban | Short Rural | Long Rural
VCR ($/MWh) | AER, Value of customer reliability review, final report, December 2024. | 35780 | 35780 | 35780 | Table 20: Regional VCR
CPI |  | 0.0021567
ABS
2024-09-01 |  | 139.1 | AER, Value of customer reliability review, final report, December 2024. September 2024 CPI used.
2024-12-01 |  | 139.4 | VCR values has been escalated to the December 2024 quarter.

## Target adjustments
Backcasted data (Actual) | [8 empty] | (Extract of STPIS version 2.0)
Measure | Source | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25
Unplanned SAIDI - urban | ▪ s-factor annual compliance (actual) ▪ Annual information orders | 49.4479 | 47.0731 | 68.6965 | 55.9996 | 64.6895
Unplanned SAIDI - short rural |  | 97.2333 | 85.7566 | 91.8472 | 73.9393 | 114.231
Unplanned SAIDI - long rural |  | 191.25 | 197.4875 | 220.9925 | 175.2145 | 240.8164
Unplanned SAIFI - urban |  | 0.68003 | 0.59737 | 0.8288 | 0.69127 | 0.79197
Unplanned SAIFI - short rural |  | 1.2108 | 0.9626 | 0.99732 | 0.79791 | 1.0439
Unplanned SAIFI - long rural |  | 2.2664 | 2.4598 | 2.0388 | 1.8125 | 1.8874
Unplanned MAIFI - urban |  | 1.0473 | 0.98405 | 1.0555 | 1.2511 | 1.1128
Unplanned MAIFI - short rural |  | 1.8025 | 1.7847 | 1.6418 | 1.5001 | 1.8595
Unplanned MAIFI - long rural |  | 3.1707 | 2.9044 | 2.9082 | 2.4481 | 2.4581
Telephone Answering (customer service) |  | 0.83735 | 0.88087 | 0.89607 | 0.87755 | 0.88894
Performance Target Adjustments (clause 3.2.1 of the STPIS)
Revenue at Risk - Appendix F (right)
| Source | 2021H1 | 2021/22 | 2022/23 | 2023/24 | 2024/25
sum of the raw s-factors for the reliability of supply parameters | s-factor - annual compliance review | 2.725% | 2.55% | 1.432% | 4.383% | 0.6531%
reliability cap |  | 4.5% | 4.5% | 4.5% | 4.5% | 4.5%
performance over the cap |  | 0% | 0% | 0% | 0% | 0% | 0% | Did not exceed revenue at risk
| Source |  |  |  | ADDITIONAL NOTES
%above cap excluding telephone answering | STPIS |  | 0%
SAIDI proportion for incentive rate (60%) | STPIS Explanatory Statement (pg. 3) |  | 0%
SAIFI proportion for incentive rate (40%) |  |  | 0%
SAIDI adjustment | Source | Urban | Short Rural | Long Rural
SAIDI Incentive rates in current regulatory period | 2021-26 AER Final decision | 0.0308 | 0.0327 | 0.0202
Adj required to 2026-31 RCP reliability targets due to R@R cap for 2021-26 SAIDI |  | 0% | 0% | 0%
SAIDI - Adj required to 2026-31 RCP reliability targets due to R@R |  | 0 | 0 | 0 | (5 years - 2020/21 to 2024/25)
SAIFI adjustment | Source | Urban | Short Rural | Long Rural
SAIFI Incentive rates in current regulatory period | 2021-26 AER Final decision | 1.7242 | 1.9771 | 1.6048
Adj required to 2026-31 RCP reliability targets due to R@R cap for 2021-26 SAIFI |  | 0% | 0% | 0%
SAIFI - Adj required to 2026-31 RCP reliability targets due to R@R |  | 0 | 0 | 0 | (5 years - 2020/21 to 2024/25)
Expected reliability improvements associated with expenditure programs
SAIDI adjustment | Source | 5 year Average | ADDITIONAL NOTES
BAN003-WND024 ¦ Long Rural | Powercor response to AER information request #081 | -0.14315 | Long Rural
BAN003-BMH003 ¦ Long Rural |  | -0.052791
Maintain REFCL reliability
Urban |  | -0.00132 | Urban
Short Rural |  | -0.02952 | Short Rural
Long Rural |  | -0.23556 | Long Rural
SAIFI adjustment |  | Average
BAN003-WND024 ¦ Long Rural |  | -0.0011884 | Long Rural
BAN003-BMH003 ¦ Long Rural |  | -0.00061998
Maintain REFCL reliability
Urban |  | -2e-05 | Urban
Short Rural |  | -0.00064 | Short Rural
Long Rural |  | -0.0042 | Long Rural
MAIFI adjustment |  | Average
BAN003-WND024 ¦ Long Rural |  | 0.0020712 | Long Rural
BAN003-BMH003 ¦ Long Rural |  | 0.0010176
Maintain REFCL reliability
Urban |  | 0 | Urban
Short Rural |  | 8e-05 | Short Rural
Long Rural |  | 0.00036 | Long Rural
Forecast Energy Consumption by Network Type
Network type | Source | 5 Year Average MWH
Urban | DNSP Proposal | 5271362.9902
Short Rural |  | 4833441.557
Long Rural |  | 3227833.4114

## Annual performance and targets
Historical STPIS performance and adjustments
Annual compliance actual | [7 empty] | Annual compliance actual | [7 empty] | Annual compliance actual
SAIFI | [7 empty] | SAIDI | [7 empty] | MAIFI / MAIFIe
Classification | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Draft decision | Final decision | Classification | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Draft decision | Final decision | Classification | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Draft decision | Final decision
Urban | 0.68003 | 0.59737 | 0.8288 | 0.69127 | 0.79197 | 0.69937 | 0.71789 | Urban | 49.4479 | 47.0731 | 68.6965 | 55.9996 | 64.6895 | 55.3043 | 57.1813 | Urban | 1.0473 | 0.98405 | 1.0555 | 1.2511 | 1.1128 | 1.0845 | 1.0902
Short Rural | 1.2108 | 0.9626 | 0.99732 | 0.79791 | 1.0439 | 0.99216 | 1.0025 | Short Rural | 97.2333 | 85.7566 | 91.8472 | 73.9393 | 114.231 | 87.1941 | 92.6015 | Short Rural | 1.8025 | 1.7847 | 1.6418 | 1.5001 | 1.8595 | 1.6823 | 1.7177
Long Rural | 2.2664 | 2.4598 | 2.0388 | 1.8125 | 1.8874 | 2.1444 | 2.093 | Long Rural | 191.25 | 197.4875 | 220.9925 | 175.2145 | 240.8164 | 196.2361 | 205.1522 | Long Rural | 3.1707 | 2.9044 | 2.9082 | 2.4481 | 2.4581 | 2.8578 | 2.7779
Telephone Answering | 0.83735 | 0.88087 | 0.89607 | 0.87755 | 0.88894 | 0.87296 | 0.87616
Adjustments | [7 empty] | Adjustments | [7 empty] | Adjustments
SAIFI | [7 empty] | SAIDI | [7 empty] | MAIFI / MAIFIe
Classification | [5 empty] | Draft decision | Final decision | Classification | [5 empty] | Draft decision | Final decision | Classification | [5 empty] | Draft decision | Final decision
Urban | [5 empty] | 0 | -2e-05 | Urban | [5 empty] | 0 | -0.00132 | Urban | [5 empty] | 0 | 0
Short Rural | [5 empty] | 0 | -0.00064 | Short Rural | [5 empty] | 0 | -0.02952 | Short Rural | [5 empty] | 0 | 8e-05
Long Rural | [5 empty] | 0 | -0.0060084 | Long Rural | [5 empty] | 0 | -0.4315 | Long Rural | [5 empty] | 0 | 0.0034488
Telephone Answering | [5 empty] | 0 | 0
Decision | [7 empty] | Decision | [7 empty] | Decision
SAIFI | [7 empty] | SAIDI | [7 empty] | MAIFI / MAIFIe
Classification | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Draft decision | Final decision | Classification | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Draft decision | Final decision | Classification | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | Draft decision | Final decision
Urban | 0.68003 | 0.59737 | 0.8288 | 0.69127 | 0.79197 | 0.69937 | 0.71787 | Urban | 49.4479 | 47.0731 | 68.6965 | 55.9996 | 64.6895 | 55.3043 | 57.18 | Urban | 1.0473 | 0.98405 | 1.0555 | 1.2511 | 1.1128 | 1.0845 | 1.0902
Short Rural | 1.2108 | 0.9626 | 0.99732 | 0.79791 | 1.0439 | 0.99216 | 1.0019 | Short Rural | 97.2333 | 85.7566 | 91.8472 | 73.9393 | 114.231 | 87.1941 | 92.572 | Short Rural | 1.8025 | 1.7847 | 1.6418 | 1.5001 | 1.8595 | 1.6823 | 1.7178
Long Rural | 2.2664 | 2.4598 | 2.0388 | 1.8125 | 1.8874 | 2.1444 | 2.087 | Long Rural | 191.25 | 197.4875 | 220.9925 | 175.2145 | 240.8164 | 196.2361 | 204.7207 | Long Rural | 3.1707 | 2.9044 | 2.9082 | 2.4481 | 2.4581 | 2.8578 | 2.7814
Telephone Answering | 0.83735 | 0.88087 | 0.89607 | 0.87755 | 0.88894 | 0.87296 | 0.87616

## Incentive rates calc
Incentive rates calculation |  |  |  |  | Service Target Performance Incentive Scheme v2 (13 December 2018)
Incentive rate attributes |  | Urban | Short Rural | Long Rural
Value of Customer Reliability (VCR) for VIC ($/MWh) | VCRn | 35780 | 35780 | 35780
Average annual energy consumption by network type (MWh) | Cn | 5271362.9902 | 4833441.557 | 3227833.4114
Average smoothed revenue requirement ($) | R | 984877038.5476 | 984877038.5476 | 984877038.5476
Average unplanned SAIFI target | SAIFIn | 0.71787 | 1.0019 | 2.087
Average unplanned SAIDI target | SAIDIn | 57.18 | 92.572 | 204.7207
Average unplanned MAIFI target | MAIFI | 1.0902 | 1.7178 | 2.7814
Network type weighting | wn | 1.5 | 1.5 | 1.5
Inflation | CPI | 0.0021567 | 0.0021567 | 0.0021567
SAIDI Incentive rates |  | 0.021894 | 0.020075 | 0.013406
SAIFI Incentive rates |  | 1.1626 | 1.2366 | 0.87671
MAIFI Incentive rates (8% of the incentive rate for SAIFI) |  | 0.093007 | 0.098928 | 0.070137
1.5
8%

## Change log (hidden)
Changelog (to detail completion of inputs, and any changes to inputs)
Date | Cell range | Description
Changed format of decision tables tab
2023-08-30 | C18 to F18; C19 to F19 | Output decision tables incentive rates calculation divided value by 100. This was removed as the value is also in percentage form
2023-08-30 | C23-F23 | Output decision tables, fixed VCR not being escalated.