## Changes summary
Data category 03: Network metrics
Changes from December 2023 Consultation workbooks
Data requirements
Worksheet name | Table name | Change | Rationale
Checks and Totals |  | Removed the following "Overhead network length of circuit at each voltage = Overhead conductors by material type" | Conductor length is reported based on the length of all the conductors, for example the three lines of conductor will be reported for a three-phase circuit. Therefore, these lengths will not reconcile as provided within the Checks and Totals.
Capacity | Selected Assets Characteristics | Transformers capacity requirements removed | Data not required

## Introduction
AER Network information requirements review
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 03: Network metrics
Network metrics describe the physical characteristics of the network, including the volume, capacity, location and age of assets, and information about the environment in which the network operates.
Network metrics data used to assess expenditure forecasts, and inform specific analysis (such as benchmarking analysis). It also provides insights to the operating environment of the network, that may impact the operational and investment decisions of the network business.
This workbook defines the data requirements related to network metrics. Requirements are set out in tables on each worksheet, and are defined by multiple elements of the workbook including: - worksheet name - table and sub-table names - column headings and - row descriptors. The workbook also includes validation rules for input cells (shaded green), cross checks where disaggregated data must equal the same total and definitions of the terms used.
Yes
No
not sure
other - see explanation

## Definitions
Data category 03: Network metrics
Definitions have been provided for each column descriptor as well as each row descriptor of the data tabs in this workbook. To find the full meaning of a data element, please consider all relevant column, row and table heading definitions provided in the table below.
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
Network assets - volume
Installed assets - quantity currently in commission by year | The number of assets currently in commission and the year they were installed.
Overhead conductor | Overhead conductor / line Assets located above ground used for the primary function of transmitting power in a transmission network or distributing power in a distribution network. Excludes assets that are included in any other asset category or asset group.
SCADA and network control and protection systems | SCADA and network control hardware, software and associated IT systems. Includes protection and control systems and communication systems. Excludes SCADA and Network Control systems that exist within gateway devices (routers, bridges etc.) at corporate offices. Protection systems has the meaning prescribed in the National Electricity Rules.
Substation power transformer | Asset used to transform between voltage levels within segments of the network. This includes all its components such as the cooling systems and tap changing equipment. It excludes any assets that are included in any other asset group. For the avoidance of doubt, this does not include instrument transformers as defined in the National Electricity Rules.
Substation reactive plant | These are assets used to support the transfer of real power across the network. This includes reactors, synchronous condensers, shunt capacitors, static VAr compensators, dynamic VAr compensators. It excludes any assets that are included in any other asset group.
Substation switchbay | An asset used to provide switching within the substation. Includes disconnect switches, circuit breakers, current transformers, voltage transformers and associated busbars and steelwork.
Transmission cable | This asset has the primary function of transmitting power, below ground, between segments of the network. Includes the material primarily used to transmit the power and cable ends, joints, terminations and associated hardware and equipment (e.g. surge diverters, etc.), cable tunnels, ducts, pipes, pits and pillars. It excludes any assets that are included in any other asset group.
Transmission tower | Vertically oriented asset that provides load bearing structural support for conductors or other lines assets. Includes associated transmission tower support structures, insulators, earthing, footings, where these are replaced in conjunction with a transmission tower replacement project. It excludes any assets that are included in any other asset group.
Transmission tower support structures | Horizontally oriented structures and their components that provide support for conductors or other line assets to be located on a transmission tower and provide adequate clearances.
Non-network assets - volume
Car | Cars are motor vehicles other than those that comply with the definition of Light commercial vehicle, Heavy commercial vehicle, Elevated work platform (LCV), or Elevated work platform (HCV).
Device | Hardware devices that access services made available by a server. May include desktop computers, laptops, tablets and thin client interfaces and handheld end user computing devices including smart phones, tablets and laptops.
Elevated work platform (HCV) | Motor Vehicles that have permanently attached elevating work platforms that would be HCVs but for the exclusion of elevated work platforms from the definition of HCV.
Elevated work platform (LCV) | (LCV) are Motor Vehicles that have permanently attached elevating work platforms that are not Elevated work platforms (HCV).
Heavy commercial vehicle | Heavy commercial vehicles (HCVs) are Motor Vehicles that are registered for use on public roads excluding Elevated Work Platform (HCV)s that: have a gross vehicle mass greater than 4.5 tonnes; or are articulated Vehicles; or are buses with a gross vehicle mass exceeding 4.5 tonnes.
Light commercial vehicle | Motor Vehicles that are registered for use on public roads excluding elevated work platforms that: are rigid trucks or load carrying vans or utilities having a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or have cab-chassis construction, and a gross vehicle mass greater than 1.5 tonnes but not exceeding 4.5 tonnes; or are buses with a gross vehicle mass not exceeding 4.5 tonnes.
Length
Circuit length | Circuit length is calculated from the route length (measured in kilometres) of lines in service (the total length of feeders including all spurs), where each SWER line, single-phase line, and three-phase line counts as one line. A double circuit line counts as twice the length. The length does not take into account vertical components such as sag.
Overhead network assets | Assets used to conduct electricity from one point to another above ground. These include poles, pole-top structures and overhead conductors. This does not include pole top substations and transformers.
Underground asset (cable) | An asset with the primary function of distributing power, below ground. This includes cables, cable joints and other assets used to connect the underground network to the overhead system. It excludes any pole mounted assets that are included in any other asset group. This does not include underground substations and transformers.
Capacity
Asset replacement | The replacement of an asset with its modern equivalent where the asset has reached the end of its economic life.
Assets decommissioned | The removal of the asset from service.
Cold spare capacity | The capacity of spare transformers owned by NSP but not currently in use. Cold Spare Capacity incorporates both spare capacity and cold capacity. Cold capacity is equipment which is already on site, with connections already in place so that the device can be brought into service merely by switching operations but which is not normally load carrying. Spare capacity also includes spare assets, on site, or in the store, where physical movement and / or making of connections would require manual intervention at the site of use.
Estimated overhead network weighted average MVA capacity by voltage class | For overhead network, estimated typical or weighted average capacities for each of the listed voltage classes under normal circumstances taking account of limits imposed by thermal or by voltage drop considerations as relevant.
Estimated underground network weighted average MVA capacity by voltage class | For underground network, estimated typical or weighted average capacities for each of the listed voltage classes under normal circumstances taking account of limits imposed by thermal or by voltage drop considerations as relevant.
Power factor | The ratio of demand in MW to demand in MVA.
Substation reactive plant | These are assets used to support the transfer of real power across the network. This includes reactors, synchronous condensers, shunt capacitors, static VAr compensators, dynamic VAr compensators. It excludes any assets that are included in any other asset group.
Transformer | Assets used to transform voltage levels within the network. This includes all its components such as the cooling systems and tap changing equipment (where installed). It excludes any pole mounted assets that are included in any other asset category. For the avoidance of doubt, this does not include instrument transformers as defined in the National Electricity Rules. It also does not include auxiliary transformers.
Transformer | Assets used to transform voltage levels within the network. This includes all its components such as the cooling systems and tap changing equipment (where installed). It excludes any pole mounted assets that are included in any other asset category. For the avoidance of doubt, this does not include instrument transformers as defined in the National Electricity Rules. It also does not include auxiliary transformers.
Transmission system capacities variables | The transmission system capacity variables are: (a) Transmission Substations (e.g. 500 kV to 330 kV, 330kV to 132kV and so on) (b) Terminal Points to DNSP Systems (c) Transformer Capacity for Directly Connected End–Users Owned by the TNSP (d) Interconnector Capacity (e) Other installed transformer capacity - specify voltages For the purposes of these measures the transmission system includes transformers, overhead and underground lines and cables in service that serve a transmission function. The transformer capacities Variables must be reported inclusive of Cold Spare Capacity.
Age
Estimated residual service life | The remaining time an asset class is expected to deliver the same effective service as that asset class did at its installation date.
Estimated service life of new assets | The expected service life of new assets is the estimated period after installation of a new asset during which the asset will be capable of delivering the same effective service as it could at its installation date.
Other assets with long lives | Assets with expected asset lives greater than or equal to 10 years that are not: (a) Overhead Assets (b) Underground Assets (c) Substations, switchyards and transformer (d) Zone Substations And Transformers (e) Easements (f) Meters Note: For transmission, assets must be used for provision of Prescribed Transmission Services only. Includes secondary substation equipment (protection, telecommunication and control systems) where these assets have lives of ten years or greater.
Other assets with short lives | Assets with expected asset lives less than 10 years that are not: (a) Overhead Assets (b) Underground Assets (c) Substations, switchyards and transformer (d) Zone Substations And Transformers (e) Easements (f) Meters Note: For transmission, assets must be used for provision of Prescribed Transmission Services only. Includes secondary substation equipment (protection, telecommunication and control systems) where these assets have lives less than 10 years.
Overhead transmission assets | Assets used to conduct electricity from one point to another above ground. These include poles, towers, insulators, pole-top structures and overhead conductors. However, it does not include overhead conductors used for communication, signal or protection purposes, or for the reticulation or control of any street lighting system. Overhead substations and their associated connection, fuses and transformers must be separately regarded as assets classified as substations and/or transformers.
Switchyard, substation and transformer assets | Asset installations at intermediate locations for transmission service function, which incorporate transmission switchyards, substations etc (e.g. 500 kV to 330 kV, 330 kV to 132 kV and so on). This includes the following: (a) transformers and switchyards without transformers. (b) transmission assets for connection to DNSPs or direct connected end use customers. (c) energised transformers and Cold Spare Capacity. (d) capacity of tertiary windings where relevant. (e) relevant small equipment (e.g. circuit breakers and current transformers). Do not include step-up transformers at generation connection location.
Underground transmission assets | Assets used to conduct electricity from one point to another below ground. This includes cables, cable joints, cable terminations and other assets used to connect the underground network to the overhead system (which, but for the cable connection, would not have been necessary). It does not include communication, signal or protection cables, or cables which form part of any street lighting system. Ground mounted, indoor or submerged substations and their associated enclosures, switchgear and transformers must be separately regarded as assets classified as Substations, Switchyards and Transformers.
Terrain
Altitude (terrain) | Route Line Length that is 600 metres or greater above sea level.
Average number of trees per vegetation maintenance span | The average number of trees within the NSP’s vegetation maintenance spans. This includes only trees that require active vegetation management to meet its vegetation management obligations. This excludes trees that only require Inspections and no other vegetation management activities required to comply with the NSP’s vegetation obligations.
Bushfire risk | The number of Maintenance Spans in high bushfire risk areas as classified by a person or organisation with appropriate expertise on fire risk. This includes but is not limited to: (a) the NSP’s jurisdictional fire authority (b) local councils (c) insurance companies (d) NSP’s consultants (e) local fire experts.
Concentrated load distance | Greatest distance (Route Line Length) from node having at least 30 per cent of generation capacity to node having at least 30 per cent of load, where a node is a connection point from a generation source or location to the (transmission) network at source end and a connection point to a load or distribution system at the destination end. Where there is no concentrated source or load above 30 per cent, respond relative to the largest concentrated source and load and indicate the generation and load magnitudes.
Cutting cycle | The average planned number of years (including fractions of years) between which cyclic vegetation maintenance is performed within vegetation management zones.
Defects (vegetation) | Any recorded incidence of noncompliance with a NSP’s vegetation clearance standard. This also includes vegetation outside a NSP’s standard clearance zone that is recognised as hazardous vegetation and which would normally be reported as requiring management under the NSP's inspection practices.
Route line length | The aggregate length in kilometres of lines, measured as the length of each span between poles and/or towers, and where the length of each span is considered only once irrespective of how may circuits it contains. This is the distance between line segments and does not include vertical components such as line sag.
Standard vehicle access | Route Line Length areas with Standard Vehicle Access are serviced through made roads, gravel roads and open paddocks (including gated and fenced paddocks). An area with no Standard Vehicle Access would not be accessible by a two wheel drive vehicle.
Total number of spans | The total count of spans in the network in the relevant year. If NSP records towers rather than spans, the number of spans is the number of towers less one.
Tree | For the purposes of calculating the average number of trees per maintenance span a tree is a perennial plant (of any species including shrubs) that is: equal to or greater in height than 3 metres (measured from the ground) in the relevant reporting period; and of a species which could grow to a height such that it may impinge on the vegetation clearance space of power lines.
Tropical proportion | The approximate total number of urban and rural maintenance spans in the Hot Humid Summer and Warm Humid Summer regions as defined by the Australian Bureau of Meteorology Australian Climatic Zones map (based on temperature and humidity).
Variability of dispatch | Proportion of energy dispatch from non-thermal generators.
Vegetation maintenance span | A span within the NSP’s network that is subject to active vegetation management practices in the relevant year. Active vegetation management practices do not include inspection of vegetation maintenance spans.
Vegetation management | Activities that: are primarily directed at removing, altering, or managing vegetation to maintain safe or regulated clearances from distribution or transmission assets; and are not emergency or fault related activities; and are not initiated by a request from a distribution or transmission customer, excluding customers that are network service providers; and are not activities for which expenditure could be attributed to the AER expenditure category 'Augmentation, replacement, or non-routine maintenance activities triggered by a changed regulatory obligation or requirement'; and are not activities for which expenditure could be attributed to the AER expenditure category 'Augmentation, replacement, or non-routine maintenance activities triggered by a changed internal standard'. Includes tree cutting, undergrowth control, root management, waste disposal, use of herbicide and growth retardants, and encouragement of low-growth vegetation to prevent the establishment of high-growth vegetation. Also includes: pre-cutting/trimming inspections; and inspections of vegetation to ensure that activities have been undertaken appropriately; and liaison with affected residents and landowners including the issue of trim/cut notices, and follow up calls on notices; and operational support such as any temporary generation used during the activity. Does not include: such items as "beautification" works, lawnmowing e.g. from natures strips, or office gardens, interior plant and aesthetic vegetation works; and any work done in proximity to non-network assets.

## Validations
Data category 03: Network metrics
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | input cells | Rules applying
Network assets - volume | Installed assets - quantity currently in commission by year | Number of assets | ≥0
Number
NULL valid
|  | km | ≥0
Number
NULL valid
|  | Business specified categories | Free text - must match categories specified in Data category 07 - capital expenditure
Non-network assets - volume | IT & communications | Number of devices | ≥0
Number
NULL invalid
| Motor vehicles | Number of vehicles | ≥0
Number
NULL invalid
Length | Length data | km | ≥0
Number
NULL invalid
| Selected asset characteristics | Business specified | Free text - to align with previous years' submission where relevant
|  | km | ≥0
Number
NULL invalid
Capacity | Circuit capacity | MVA | ≥0
Number
NULL invalid
| Transformer capacities | MVA | ≥0
Number
NULL invalid
| Selected asset characteristics | MVA | ≥0
Number
NULL invalid
|  | Business specified | Free text - to align with previous years' submission where relevant
NULL invalid
|  | Factor | ≥0
Number
NULL valid for AusNet Services; NULL invalid for all other TNSPs
Asset Age | Asset lives | Years | ≥0
Number
NULL invalid
Terrain | Vegetation maintenance | km | ≥0
Number
NULL invalid
|  | Meters | ≥0
Number
NULL invalid
|  | Years | ≥0
Number
NULL invalid
|  | Number of spans | ≥0
Number
NULL invalid
|  | Average number of trees | ≥0
Number
NULL invalid
| Terrain factors | Number of defects | ≥0
Number
NULL invalid
|  | Number of spans | ≥0
Number
NULL invalid
|  | km | ≥0
Number
NULL invalid
| Network characteristics | % | Number
≥0 ; ≤1
NULL invalid
1 = 100%
|  | km | ≥0
Number
NULL invalid
|  | Number of spans | ≥0
Number
NULL invalid

## Checks and Totals
Data category 03: Network metrics
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference |  | Worksheet | Table | Sub table | Reference | Check
Length | Overhead network length of circuit at each voltage |  | Total | = | Length | Overhead conductors by material type |  | Total | TRUE

## Network assets - volume
Data category 03: Network metrics
Network assets - volume
[7 empty] | Current RIN reference | Assurance standard - Non-Financial data
Installed assets - quantity currently in commission by year |  | Units | Current FY | FY-1 | … | 1934-35
TRANSMISSION TOWERS: Highest operating voltage; Circuit configuration
< = 33 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Other |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
| Total transmission towers | Number of assets | 0 | 0 | … | 0
TRANSMISSION TOWER SUPPORT STRUCTURES BY: Highest operating voltage; Circuit configuration
< = 33 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; Single Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; Multiple Circuit |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Other |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
| Total transmission towers support structures | Number of assets | 0 | 0 | … | 0
CONDUCTORS BY: Voltage; Maximum continuous rating
< = 33 kV; < = 100 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; > 100 MVA & < = 400 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; > 400 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; < = 100 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; > 100 MVA & < = 400 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; > 400 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; < = 100 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; > 100 MVA & < = 400 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; > 400 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; < = 200 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; > 200 MVA & < = 600 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; > 600 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; < = 800 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; > 800 MVA & < = 1200 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; > 1200 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; < = 1000 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; > 1000 MVA & < = 1500 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; > 1500 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; < = 2000 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; > 2000 MVA & < = 3000 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; > 3000 MVA |  | km |  |  | … |  | CA5.2.1 | ASAE3000
Other |  | km |  |  | … |  | CA5.2.1 | ASAE3000
| Total conductors | km | 0 | 0 | … | 0
TRANSMISSION CABLES BY: Highest operating voltage; Insulation type
< = 33 kV; Oil Filled |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; Oil Filled |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; Oil Filled |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; Oil Filled |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; Oil Filled |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; Oil Filled |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; Oil Filled |  | km |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; XLPE Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; XLPE Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; XLPE Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; XLPE Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; XLPE Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; XLPE Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; XLPE Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; Other Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; Other Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; Other Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; Other Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; Other Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; Other Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; Other Insulated |  | km |  |  | … |  | CA5.2.1 | ASAE3000
Other |  | km |  |  | … |  | CA5.2.1 | ASAE3000
| Total transmission cables | km | 0 | 0 | … | 0
SUBSTATION SWITCHBAYS BY: Highest operating voltage; Switch type
< = 33 kV; Air Insulated circuit Breaker |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; Air Insulated circuit Breaker |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; Air Insulated circuit Breaker |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; Air Insulated circuit Breaker |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; Air Insulated circuit Breaker |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; Air Insulated circuit Breaker |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; Air Insulated circuit Breaker |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; Air Insulated Isolators / Earth Switch |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; Air Insulated Isolators / Earth Switch |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; Air Insulated Isolators / Earth Switch |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; Air Insulated Isolators / Earth Switch |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; Air Insulated Isolators / Earth Switch |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; Air Insulated Isolators / Earth Switch |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; Air Insulated Isolators / Earth Switch |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; VT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; VT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; VT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; VT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; VT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; VT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; VT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; CT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; CT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; CT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; CT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; CT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; CT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; CT |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; GIS Module |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; GIS Module |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; GIS Module |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; GIS Module |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; GIS Module |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; GIS Module |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; GIS Module |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Other |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
| Total substation switchbays | Number of assets | 0 | 0 | … | 0
SUBSTATION POWER TRANSFORMERS BY: Highest operating voltage; Ampere rating
< = 33 kV; < = 10 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; > 10 MVA & < = 30 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; > 30 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; < = 10 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; > 10 MVA & < = 30 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; > 30 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; < = 30 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; > 30 MVA & < = 60 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; > 60 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 220 kV; < = 50 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 220 kV; > 50 MVA & < = 100 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 220 kV; > 100 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 220 kV & < = 275 kV; < = 50 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 220 kV & < = 275 kV; > 50 MVA & < = 100 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 220 kV & < = 275 kV; > 100 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; < = 100 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; > 100 MVA & < = 250 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; > 250 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; < = 150 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; > 150 MVA & < = 300 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; > 300 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; < = 1000 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; > 1000 MVA & < = 1500 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; > 1500 MVA |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Other |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
| Total substation power transformers | Number of assets | 0 | 0 | … | 0
SUBSTATION REACTIVE PLANT BY: Highest operating voltage; Function
< = 33 kV; SVCS |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; SVCS |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; SVCS |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; SVCS |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; SVCS |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; SVCS |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; SVCS |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; Capacitors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; Capacitors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; Capacitors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; Capacitors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; Capacitors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; Capacitors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; Capacitors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
< = 33 kV; Oil Filled Reactors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 33 kV & < = 66 kV; Oil Filled Reactors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 66 kV & < = 132 kV; Oil Filled Reactors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 132 kV & < = 275 kV; Oil Filled Reactors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 275 kV & < = 330 kV; Oil Filled Reactors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 330 kV & < = 500 kV; Oil Filled Reactors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
> 500 kV; Oil Filled Reactors |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Other |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
| Total substation reactive plant | Number of assets | 0 | 0 | … | 0
SCADA, NETWORK CONTROL AND PROTECTION SYSTEMS BY: Function
Communications Network Assets |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Master Station Assets |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Control equipment / systems |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Infrastructure: protection and control |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Metering systems |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
OPGW |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Protection schemes / systems |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Site establishment |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Station SCADA and control systems |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Telecommunications Network / Systems |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Total secondary systems |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
Other |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
| Total SCADA, network, control and protection systems | Number of assets | 0 | 0 | … | 0
OTHER BY: business specified categories
<business specified> |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
<business specified> |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
<business specified> |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
<business specified> |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
<business specified> |  | Number of assets |  |  | … |  | CA5.2.1 | ASAE3000
<additional rows allowed>
| Total Other TNSP defined | Number of assets | 0 | 0 | … | 0

## Non-network assets - volume
Data category 03: Network metrics
Non-network assets - volume
Non-network assets | Units | Volume | Current RIN reference | Assurance standard - Non-Financial data
IT & COMMUNICATIONS
Number of devices | Number of devices |  | CA2.6.2 | ASAE3000
MOTOR VEHICLES
Car | Number of vehicles |  | CA2.6.3 | ASAE3000
Light Commercial Vehicle | Number of vehicles |  | CA2.6.3 | ASAE3000
Elevated Work Platform (LCV) | Number of vehicles |  | CA2.6.3 | ASAE3000
Elevated Work Platform (HCV) | Number of vehicles |  | CA2.6.3 | ASAE3000
Heavy Commercial Vehicle | Number of vehicles |  | CA2.6.3 | ASAE3000

## Length
Data category 03: Network metrics
Length
|  | Units |  | Current RIN reference | Assurance standard - Non-Financial data
Length data |  |  | Length
OVERHEAD NETWORK LENGTH OF CIRCUIT AT EACH VOLTAGE
500 kV |  | km |  | EB3.5.1.1 | ASAE3000
330 kV |  | km |  | EB3.5.1.1 | ASAE3000
275 kV |  | km |  | EB3.5.1.1 | ASAE3000
220 kV |  | km |  | EB3.5.1.1 | ASAE3000
132 kV |  | km |  | EB3.5.1.1 | ASAE3000
110 kV |  | km |  | EB3.5.1.1 | ASAE3000
88 kV |  | km |  | EB3.5.1.1 | ASAE3000
66 kV |  | km |  | EB3.5.1.1 | ASAE3000
33 kV |  | km |  | EB3.5.1.1 | ASAE3000
22 kV |  | km |  | EB3.5.1.1 | ASAE3000
11 kV |  | km |  | EB3.5.1.1 | ASAE3000
Other voltages |  | km |  | EB3.5.1.1 | ASAE3000
| Total overhead length | km | 0
UNDERGROUND CABLE CIRCUIT LENGTH AT EACH VOLTAGE
500 kV |  | km |  | EB3.5.1.2 | ASAE3000
330 kV |  | km |  | EB3.5.1.2 | ASAE3000
275 kV |  | km |  | EB3.5.1.2 | ASAE3000
220 kV |  | km |  | EB3.5.1.2 | ASAE3000
132 kV |  | km |  | EB3.5.1.2 | ASAE3000
110 kV |  | km |  | EB3.5.1.2 | ASAE3000
88 kV |  | km |  | EB3.5.1.2 | ASAE3000
66 kV |  | km |  | EB3.5.1.2 | ASAE3000
33 kV |  | km |  | EB3.5.1.2 | ASAE3000
22 kV |  | km |  | EB3.5.1.2 | ASAE3000
11 kV |  | km |  | EB3.5.1.2 | ASAE3000
Other voltages |  | km |  | EB3.5.1.2 | ASAE3000
| Total underground length | km | 0
Selected asset characteristics |  |  | Asset Volumes Currently in Commission
CONDUCTORS BY: CONDUCTOR LENGTH; MATERIAL TYPE
<business specified> |  | km |  | CA2.2.2 | ASAE3000
<business specified> |  | km |  | CA2.2.2 | ASAE3000
<business specified> |  | km |  | CA2.2.2 | ASAE3000
<business specified> |  | km |  | CA2.2.2 | ASAE3000
<business specified> |  | km |  | CA2.2.2 | ASAE3000
<additional rows allowed>

## Capacity
Data category 03: Network metrics
Capacity
| Units |  |  | Current RIN reference | Assurance standard - Non-Financial data
Circuit capacity |  |  | Capacity
ESTIMATED OVERHEAD NETWORK WEIGHTED AVERAGE MVA CAPACITY BY VOLTAGE CLASS
500 kV | MVA |  |  | EB3.5.1.3 | ASAE3000
330 kV | MVA |  |  | EB3.5.1.3 | ASAE3000
275 kV | MVA |  |  | EB3.5.1.3 | ASAE3000
220 kV | MVA |  |  | EB3.5.1.3 | ASAE3000
132 kV | MVA |  |  | EB3.5.1.3 | ASAE3000
110 kV | MVA |  |  | EB3.5.1.3 | ASAE3000
88 kV | MVA |  |  | EB3.5.1.3 | ASAE3000
66 kV | MVA |  |  | EB3.5.1.3 | ASAE3000
33 kV | MVA |  |  | EB3.5.1.3 | ASAE3000
22 kV | MVA |  |  | EB3.5.1.3 | ASAE3000
11 kV | MVA |  |  | EB3.5.1.3 | ASAE3000
ESTIMATED UNDERGROUND NETWORK WEIGHTED AVERAGE MVA CAPACITY BY VOLTAGE CLASS
500 kV | MVA |  |  | EB3.5.1.4 | ASAE3000
330 kV | MVA |  |  | EB3.5.1.4 | ASAE3000
275 kV | MVA |  |  | EB3.5.1.4 | ASAE3000
220 kV | MVA |  |  | EB3.5.1.4 | ASAE3000
132 kV | MVA |  |  | EB3.5.1.4 | ASAE3000
110 kV | MVA |  |  | EB3.5.1.4 | ASAE3000
88 kV | MVA |  |  | EB3.5.1.4 | ASAE3000
66 kV | MVA |  |  | EB3.5.1.4 | ASAE3000
33 kV | MVA |  |  | EB3.5.1.4 | ASAE3000
22 kV | MVA |  |  | EB3.5.1.4 | ASAE3000
11 kV | MVA |  |  | EB3.5.1.4 | ASAE3000
Transformer capacities |  |  | Capacity
INSTALLED TRANSMISSION SYSTEM TRANSFORMER CAPACITY
Transmission substations (e.g. 500 kV to 330 kV) | MVA |  |  | EB3.5.1.5 | ASAE3000
Terminal points to DNSP systems | MVA |  |  | EB3.5.1.5 | ASAE3000
Transformer capacity for directly connected end–users owned by the TNSP | MVA |  |  | EB3.5.1.5 | ASAE3000
Interconnector capacity | MVA |  |  | EB3.5.1.5 | ASAE3000
Other | MVA |  |  | EB3.5.1.5 | ASAE3000
COLD SPARE CAPACITY
Cold spare capacity included in 'installed transmission system transformer capacity' | MVA |  |  | EB3.5.1.6 | ASAE3000
Selected asset characteristics
SUBSTATION REACTIVE PLANT BY: REACTIVE CAPACITY |  | Assets in Commission | Asset Replacements
<business specified> | MVA |  |  | CA2.2.2 | ASAE3000
<business specified> | MVA |  |  | CA2.2.2 | ASAE3000
<business specified> | MVA |  |  | CA2.2.2 | ASAE3000
<business specified> | MVA |  |  | CA2.2.2 | ASAE3000
<business specified> | MVA |  |  | CA2.2.2 | ASAE3000
<additional rows allowed>
POWER FACTOR CONVERSION BETWEEN MVA AND MW |  |  | Power Factor
Average overall network power factor conversion between MVA and MW | Factor |  |  | EB3.4.3.3 | ASAE3000
Average power factor conversion for 500 kV lines | Factor |  |  | EB3.4.3.3 | ASAE3000
Average power factor conversion for 330 kV lines | Factor |  |  | EB3.4.3.3 | ASAE3000
Average power factor conversion for 275 kV lines | Factor |  |  | EB3.4.3.3 | ASAE3000
Average power factor conversion for 220 kV lines | Factor |  |  | EB3.4.3.3 | ASAE3000
Average power factor conversion for 132 kV lines | Factor |  |  | EB3.4.3.3 | ASAE3000
Average power factor conversion for 110 kV lines | Factor |  |  | EB3.4.3.3 | ASAE3000
Average power factor conversion for 88 kV lines | Factor |  |  | EB3.4.3.3 | ASAE3000
Average power factor conversion for 66 kV lines | Factor |  |  | EB3.4.3.3 | ASAE3000
Average power factor conversion for 33 kV lines | Factor |  |  | EB3.4.3.3 | ASAE3000
Average power factor conversion for 22 kV lines | Factor |  |  | EB3.4.3.3 | ASAE3000
Average power factor conversion for 11 kV lines | Factor |  |  | EB3.4.3.3 | ASAE3000
Average power factor conversion for 6.6 kV lines | Factor |  |  | EB3.4.3.3 | ASAE3000

## Asset Age
Data category 03: Network metrics
Asset age
|  |  | Current RIN reference | Assurance standard - Non-Financial data
Asset lives | Units | Asset Lives
ESTIMATED SERVICE LIFE OF NEW ASSETS
Overhead transmission assets | Years |  | EB3.3.4
Underground transmission assets | Years |  | EB3.3.4
Switchyard, substation and transformer assets | Years |  | EB3.3.4
Other assets with long lives | Years |  | EB3.3.4
Other assets with short lives | Years |  | EB3.3.4
ESTIMATED RESIDUAL SERVICE LIFE
Overhead transmission assets | Years |  | EB3.3.4
Underground transmission assets | Years |  | EB3.3.4
Switchyard, substation and transformer assets | Years |  | EB3.3.4
Other assets with long lives | Years |  | EB3.3.4
Other assets with short lives | Years |  | EB3.3.4

## Terrain
Data category 03: Network metrics
Terrain
| Units |  | Current RIN reference | Assurance standard - Non-Financial data
Vegetation maintenance
Total route line length | km | 0 | EB3.7.1
Total number of vegetation maintenance spans | Number of spans | 0 | EB3.7.1
ZONE 1
Route line length within zone | km |  | CA2.7.1 | ASAE3000
Number of maintenance spans | Number of spans |  | CA2.7.1 | ASAE3000
Total length of maintenance spans | km |  | CA2.7.1 | ASAE3000
Average number of trees per maintenance span | Average number of trees |  | CA2.7.1 | ASAE3000
Length of vegetation corridors | km |  | CA2.7.1 | ASAE3000
Average width of vegetation corridors | Metres |  | CA2.7.1 | ASAE3000
Average frequency of cutting cycle | Years |  | CA2.7.1 | ASAE3000
ZONE 2
Route line length within zone | km |  | CA2.7.1 | ASAE3000
Number of maintenance spans | Number of spans |  | CA2.7.1 | ASAE3000
Total length of maintenance spans | km |  | CA2.7.1 | ASAE3000
Average number of trees per maintenance span | Average number of trees |  | CA2.7.1 | ASAE3000
Length of vegetation corridors | km |  | CA2.7.1 | ASAE3000
Average width of vegetation corridors | Metres |  | CA2.7.1 | ASAE3000
Average frequency of cutting cycle | Years |  | CA2.7.1 | ASAE3000
ZONE 3
Route line length within zone | km |  | CA2.7.1 | ASAE3000
Number of maintenance spans | Number of spans |  | CA2.7.1 | ASAE3000
Total length of maintenance spans | km |  | CA2.7.1 | ASAE3000
Average number of trees per maintenance span | Average number of trees |  | CA2.7.1 | ASAE3000
Length of vegetation corridors | km |  | CA2.7.1 | ASAE3000
Average width of vegetation corridors | Metres |  | CA2.7.1 | ASAE3000
Average frequency of cutting cycle | Years |  | CA2.7.1 | ASAE3000
Terrain factors
ALL ZONES
Average number of defects per vegetation maintenance span | Number of defects |  | EB3.7.1 | ASAE3000
Tropical proportion | Number of spans |  | EB3.7.1 | ASAE3000
Standard vehicle access | km |  | EB3.7.1 | ASAE3000
Altitude | km |  | EB3.7.1 | ASAE3000
Bushfire risk | Number of spans |  | EB3.7.1 | ASAE3000
Network characteristics
ALL ZONES
Variability of dispatch | % |  | EB3.7.2 | ASAE3000
Concentrated load distance | km |  | EB3.7.2 | ASAE3000
Total number of spans | Number of spans |  | EB3.7.2 | ASAE3000