## Changes summary
Changes from December 2023 Consultation workbooks
Data requirements
Worksheet | Table | Change | Rationale
Energy delivered |  | Worksheet name changed to "Energy not supplied" | The only data requirement on this worksheet is Energy not supplied
System losses | System losses | Removed "Identify the service target performance incentive scheme (STPIS) that applied in the reporting period" | Not applicable to system losses
System losses | System losses | Heading added to table "Financial Year" | To clarify the reporting period
Service component | Service Component Performance | Corrected calculations of Parameter 1 rates | To correct an error

## Introduction
AER Network information requirements review
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 05: Service performance
Service Performance data is collected to measure how well the regulated transmission businesses delivers services to their customers. It is important to consider service quality, particularly because increases in measured efficiency may otherwise be achieved at the expense of service quality in either the short-term or the longer term.
The data is used to calculate service performance scheme outcomes, and will impact on the total revenues that can be collected in each year.
This workbook defines the data requirements related to service performance. Requirements are set out in tables on each worksheet, and are defined by multiple elements of the workbook including: - worksheet name - table and sub-table names - column headings and - row descriptors. The workbook also includes validation rules for input cells (shaded green), cross checks where disaggregated data must equal the same total and definitions of the terms used.

## Definitions
Data category 05: Service performance
Definitions have been provided for each column descriptor as well as each row descriptor of the data tabs in this workbook. To find the full meaning of a data element, please consider all relevant column, row and table heading definitions provided in the table below.
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
Current STPIS | The STPIS referenced in the AER's final revenue or distribution determination that applies to a electricity distributor, TNSP or interconnector in the reporting period.
Energy not supplied | An estimate of the amount of energy that would have been supplied using the transmission or distribution network (as applicable) if the outage on the network had not occurred. Note, the estimation method is set out in Appendix A of the relevant regulatory information instrument applying to the regulated electricity network.
Excluded events (Transmission) | Events that do not contribute to the calculation of service performance outcomes (rewards/penalties) under the STPIS, as described in the transmission STPIS.
Exclusion type (Transmission) | A valid reason to exclude an event from a TNSP's performance results. Valid exclusion types depend on the Parameter to which the event relates, as described in the transmission STPIS.
Market impact component (MIC) | As described or defined in the transmission STPIS.
Planned outage count (DI) with exclusions | As described or defined in the transmission STPIS.
Planned outage count (DI) without exclusions | As described or defined in the transmission STPIS.
Service component | Measures the network transmission service outcomes, as described or defined in the transmission STPIS.
Service performance scheme parameters | As described or defined in the relevant version of the transmission STPIS.
Service target performance incentive scheme (STPIS) | The AER's Service target performance incentive scheme published by the AER in accordance with the NER.
System losses | As described or defined in the transmission STPIS. A measure of the electrical energy lost through the transmission of energy.
Unplanned outage count (DI) with exclusions | As described or defined in the transmission STPIS.
Unplanned outage count (DI) without exclusions | As described or defined in the transmission STPIS.

## Validations
Data category 05: Service performance
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | input cells | Rules applying
Market Impact Component |  | Identify the service target performance incentive scheme (STPIS) that applied in the reporting period | Text
NULL invalid
| Market impact parameter - calendar year | Number of dispatch intervals | ≥0
Number
NULL valid if the parameter does not apply to the TNSP
| Market impact component | Number of dispatch intervals | ≥0
Number
NULL valid if the parameter does not apply to the TNSP
Service component | Service component performance | Number of events | ≥0
Number
NULL valid if parameter does not apply to the TNSP
|  | Number of assets (lines, transformers, reactive plant) | ≥0
Number
NULL valid if the parameter does not apply to the TNSP
|  | System minutes | ≥0
Minutes
NULL valid if the parameter does not apply to the TNSP
|  | Minutes | ≥0
Minutes
NULL valid if the parameter does not apply to the TNSP
System losses | System losses | % | ≥0, ≤1
NULL invalid
1 = 100%
Energy not supplied | Energy not supplied | MWh | Number
≥0
NULL invalid; NULL valid for AusNet Services

## Checks and Totals
Data category 05: Service performance
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference | Worksheet | Table | Sub table | Reference | Check
none specified

## Market impact component
Data category 05: Service performance
Market impact component
Identify the service target performance incentive scheme (STPIS) that applied in the reporting period |  | STPIS V5
|  |  | Current RIN reference | Assurance standard - Non-Financial data
Market impact parameter - calendar year | Units
Planned outages without exclusions
January | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
February | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
March | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
April | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
May | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
June | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
July | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
August | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
September | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
October | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
November | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
December | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
Planned outages with exclusions
January | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
February | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
March | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
April | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
May | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
June | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
July | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
August | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
September | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
October | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
November | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
December | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
Unplanned outages without exclusions
January | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
February | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
March | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
April | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
May | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
June | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
July | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
August | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
September | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
October | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
November | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
December | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
Unplanned outages with exclusions
January | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
February | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
March | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
April | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
May | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
June | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
July | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
August | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
September | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
October | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
November | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
December | Number of dispatch intervals |  | Reset 7.9.4 | ASAE 3000
Market impact component
Market Impact Parameter | Number of dispatch intervals |  | EB3.6 | ASAE 3000

## Service component
Data category 05: Service performance
Service component performance
Identify the service target performance incentive scheme (STPIS) that applied in the reporting period |  |  | STPIS V5
Service component performance | Units |  |  | Current RIN reference | Assurance standard - Non-Financial data
Unplanned outages |  |  | Number of events without exclusions
Lines fault outages | Number of events |  |  | EB3.6 | ASAE 3000
Transformer fault outages | Number of events |  |  | EB3.6 | ASAE 3000
Reactive plant fault outages | Number of events |  |  | EB3.6 | ASAE 3000
Lines forced outages | Number of events |  |  | EB3.6 | ASAE 3000
Transformer forced outages | Number of events |  |  | EB3.6 | ASAE 3000
Reactive plant forced outages | Number of events |  |  | EB3.6 | ASAE 3000
Number of assets |  |  | Number of assets
Lines | Number of lines |  |  | EB3.6 | ASAE 3000
Transformers | Number of transformers |  |  | EB3.6 | ASAE 3000
Reactive plants | Number of reactive plant |  |  | EB3.6 | ASAE 3000
Parameter 1 - Unplanned outage circuit, transformer, reactive plant event rate |  |  | Parameter 1 - Rate
S1. Lines event rate – fault | % |  | 0 | EB3.6
S2. Transformer event rate – fault | % |  | 0 | EB3.6
S3. Reactive plant event rate – fault | % |  | 0 | EB3.6
S4. Lines event rate – forced | % |  | 0 | EB3.6
S5. Transformer event rate – forced | % |  | 0 | EB3.6
S6. Reactive plant event rate – forced | % |  | 0 | EB3.6
Parameter 2 - Loss of supply event frequency |  |  | Loss of supply
What is the 'x' threshold applied in the reporting year under the scheme identified above | System minutes |  |  | EB3.6 | ASAE 3000
What is the 'y' threshold applied in the reporting year under the scheme identified above | System minutes |  |  | EB3.6 | ASAE 3000
S7. Loss of supply events: Number of events greater than (X) system minutes per annum | Number of events |  |  | EB3.6 | ASAE 3000
S8. Loss of supply events: Number of events greater than (Y) system minutes per annum | Number of events |  |  | EB3.6 | ASAE 3000
Parameter 3 - Average outage duration |  |  | Loss of supply
S9. Average outage duration | Minutes |  |  | EB3.6 | ASAE 3000
Parameter 4 - Proper operation of equipment |  | Performance with exclusions | Performance without exclusions
S10. Failure of protection system | Number of events |  |  | EB3.6 | ASAE 3000
S11. Material failure of SCADA | Number of events |  |  | EB3.6 | ASAE 3000
S12. Incorrect operational isolation of primary or secondary equipment | Number of events |  |  | EB3.6 | ASAE 3000

## System losses
Data category 05: Service performance
System losses
| Units | Financial Year | Current RIN reference | Assurance standard - Non-Financial data
System losses
System losses | % |  | EB3.6 | ASAE 3000

## Energy not supplied
Data category 05: Service performance
Energy not supplied
Energy not supplied | Units | Financial Year | Current RIN reference | Assurance standard - Non-Financial data
Total energy not supplied | MWh |  | EB Information request | ASAE3000