## Changes summary
Data category 05: Service performance
Changes from December 2023 Consultation workbooks
Data requirements
Worksheet | Table | Change | Rationale
Definitions | Service outcomes | Term added "Energy not supplied" | Was not included in previous version.
Interruptions to supply | Interruptions to supply | "Effect on unplanned MAIFI" column deleted | Not required.
Interruptions to supply | Interruptions to supply | "Average duration of sustained customer interruptions" column added | Data requirement was previously omitted. Data requirement added on advice from NSPs.
Interruptions to supply | Interruptions to supply | "Total customer minutes off supply" | Data requirement added on advice from NSPs that the calculation was not appropriate in the case of a complex multi stage outage (was previously a calculation field).
Interruptions to supply | Interruptions to supply | "Reference to supporting evidence" | Updated the column heading and validation rules to require input against this requirement only when the interruption is a DRMG exclusion.
Validations | Interruptions to supply | Validation rule added to "Customers (STPIS) affected by interruption" must be an integer | Number of customers must be an integer.
Validations | Interruptions to supply - Restoration stage | Validation rule removed If Restoration stage <>1, then date; start time; feeder id must all match against an interruption where restoration stage =1. | Validation rule not required
Validations | Interruptions to supply - Reference to supporting evidence | NULL invalid where "reason for interruption" is a DRMG exclusion, else NULL valid | Supporting evidence is only required where the "reason for interruption" is a DRMG exclusion.
Other service measures | Fire starts - unplanned vegetation events | Table renamed to "Fire starts" | Clarification
MAIFI ¦ MAIFIe |  | Tab renamed to "Momentary interruptions" | Clarification

## Introduction
AER Network information requirements review
Project Overview
The network information requirements review project is being undertaken to streamline regulated electricity networks' annual reporting obligations, and facilitate improvements in the AER’s information management maturity. The project will allow for consolidation of existing information requests, ongoing integration of new information requirements, and clearer documentation of our underlying data structure. In sum, this project will help improve data quality and deliver efficiencies to both the AER and the regulated businesses.
Data category 05: Service performance
Service Performance refers to the quality of services an NSP provides to its customers. It is important to consider service quality, particularly because increases in measured efficiency may otherwise be achieved at the expense of service quality in either the short-term or the longer term.
The data is used to calculate service performance scheme outcomes, and will impact on the total revenues that can be collected in each year.
This workbook defines the data requirements related to service performance. Requirements are set out in tables on each worksheet, and are defined by multiple elements of the workbook including: - worksheet name - table and sub-table names - column headings and - row descriptors. The workbook also includes validation rules for input cells (shaded green), cross checks where disaggregated data must equal the same total and definitions of the terms used.
Concepts
Total feeders (non Tasmanian) = CBD + Urban + Short rural + Long rural
Total feeders (Tasmanian) = Urban + Critical infrastructure + High density commercial + High density rural + Low density rural

## Definitions
Data category 05: Service performance
Definitions have been provided for each column descriptor as well as each row descriptor of the data tabs in this workbook. To find the full meaning of a data element, please consider all relevant column, row and table heading definitions provided in the table below.
Compounding Definitions
Where you are seeking to discern the meaning of a row or column descriptor with multiple terms, you may need to look up the terms individually below and consider the definitions together to discern the full meaning of the row or column descriptor.
Term | Definition
Interruptions
Incident reference number | A reference number created by the NSP to assist in its internal reporting systems and processes.
Feeder ID | The unique code or feeder identifier that the NSP uses internally to identify the feeder.
CBD feeder | A feeder in the CBD area of State or Territory capital that has been determined by the relevant participating jurisdiction as supplying electricity to predominantly commercial, high-rise buildings, supplied by a predominantly underground distribution network containing significant interconnection and redundancy when compared to urban areas.
Customer (STPIS) | For STPIS purposes, the definition of customer is defined in the AER’s Distribution Reliability Measures Guideline.
Date of interruption | The date on which the interruption started.
Detailed reason for interruption | Detailed reasons for the interruption are as follows: Animal impact; Animal nesting/burrowing; Animal other; Asset failure - HV; Asset failure - LV; Asset failure - Distribution substation; Asset failure - Zone substation; Asset failure - sub transmission; Network error; Switching and protection error; Fire; Dig in; Unauthorised access; Vehicle impact; Third party other; Blow in/Fall in - NSP responsibility; Grow in - NSP responsibility; Blow in/Fall in - Other responsible party; Grow in - Other responsible party. The responsibility for vegetation blow-in or grow-in should be assigned to the party (NSP or Other) that is responsible for management of the vegetation.
Duration of interruption | The duration of an interruption experienced by a customer.
Feeder | A power line, including underground cables, that is part of a distribution network.
Feeder classification | Classification of feeder based on location on network or type of load served (network type as defined in the STPIS). Non Tasmanian feeder classifications are: CBD, Urban; Short rural and Long Rural. Tasmanian feeder classifications are consistent with the requirements of the Tasmanian Electricity Code: Critical infrastructure; Urban; High density commercial, High density rural and Low density rural.
Feeder service area description | A description of the location of the feeder.
Interruptions to supply | Interruption to a Distribution Customer’s electricity supply at the point of supply.
Long rural feeder | A feeder with a total feeder route length greater than 200 km, which is not a CBD feeder or urban feeder.
Major event day (MED) | A day in which the daily System Average Interruption Duration Index (SAIDI) exceeds a Major Event Day threshold value.
Reason for interruption | The cause of the interruption - limited to reasons listed: Momentary; Animal; Asset Failure; Other; Overloads; Planned; Network Business; Third Party; Unknown; Vegetation; Weather; DRMG exclusion 3.3.1; DRMG exclusion 3.3.2; DRMG exclusion 3.3.3; DRMG exclusion 3.3.4; DRMG exclusion 3.3.5; DRMG exclusion 3.3.6; DRMG exclusion 3.3.7; DRMG exclusion 3.3.8; excl customer installation fault or request.
Restoration stage | Where an interruption is restored in multiple stages; and reported on multiple rows each restoration stage should be numbered, to enable correct calculation of SAIDI and SAIFI impacts. The SAIFI impact for interruptions that are restored in multiple stages will be zero for the second and consequent stages, however a SAIDI impact will be determined for each restoration stage.
Service target performance incentive scheme (STPIS) | The AER's Service target performance incentive scheme published by the AER in accordance with the NER.
Short rural feeder | A feeder with a total feeder route length less than 200 km, which is not a CBD feeder or urban feeder.
TAS - Critical Infrastructure | Consistent with the requirements of the Tasmanian Electricity Code.
TAS - High density commercial | Consistent with the requirements of the Tasmanian Electricity Code.
TAS - High density rural | Consistent with the requirements of the Tasmanian Electricity Code.
TAS - Low density rural | Consistent with the requirements of the Tasmanian Electricity Code.
Urban feeder | Has the meaning as defined in the STPIS scheme and Distribution Reliability Measures Guideline.
Call centre
Total number of calls received (Call centre fault line) | Calls to the fault line, including any answered by an automated response service and terminated without being answered by an operator. Excludes missed calls where the fault line is overloaded. Call centre information must be reported as per the definitions in the STPIS, that is excluding: (a) calls to payment lines and automated interactive services (b) calls abandoned by the customer within 30 seconds of the call being queued for response by a human operator (where the time in which a telephone call is abandoned is not measured, then an estimate of the number of calls abandoned within 30 seconds will be determined by taking 20 per cent of all calls abandoned).
Excluded events (Distribution) | For reliability of supply component exclusions, as defined in section 3.3 of the STPIS. For customer service component exclusions, as defined in section 5.4 of the STPIS.
Momentary interruption
MAIFI | Momentary Average Interruption Frequency Index, as defined in the AER's Distribution Reliability Measures Guideline.
MAIFIe | MAIFIe or Momentary Average Interruption Frequency Index event, as defined in the AER's Distribution Reliability Measures Guideline.
Momentary interruption | An interruption whose duration is less than the threshold duration used to identify a sustained interruption. The AER's Distribution reliability measures Guideline set the threshold for sustained interruptions at 3 minutes.
CBD feeder | A feeder in the CBD area of State or Territory capital that has been determined by the relevant participating jurisdiction as supplying electricity to predominantly commercial, high-rise buildings, supplied by a predominantly underground distribution network containing significant interconnection and redundancy when compared to urban areas.
Urban feeder | Has the meaning as defined in the STPIS scheme and Distribution Reliability Measures Guideline.
Short rural feeder | A feeder with a total feeder route length less than 200 km, which is not a CBD feeder or urban feeder.
Long rural feeder | A feeder with a total feeder route length greater than 200 km, which is not a CBD feeder or urban feeder.
Excluded events (distribution) | For reliability of supply component exclusions, as defined in section 3.3 of the STPIS. For customer service component exclusions, as defined in section 5.4 of the STPIS.
Other service measures
Instances where GSL not met | Number of times the applicable service levels were not met by the NSP.
Scheme administrator | The body/bodies responsible for the administration and review of service level schemes in the NSPs jurisdiction.
Specification of scheme | Documentation of service level standard applying to the NSP.
Asset failure | The failure of an asset to perform its intended function safely and in compliance with jurisdictional regulations, not as a result of external impacts such as: (a) extreme or atypical weather events; or (b) third party interference, such as traffic accidents and vandalism; or (c) wildlife interference, but only where the wildlife interference directly, clearly and unambiguously influenced asset performance; or (d) vegetation interference, but only where the vegetation interference directly, clearly and unambiguously influenced asset performance. Excludes planned interruptions.
Fire start | Any fire: (a) that starts in and originates from the reporting NSP’s transmission or distribution system; or (b) started by any tree, or part of a tree, which falls or blows in or grows into contact with the reporting NSP’s transmission or distribution system; or (c) started by any person, bird, reptile or other animal coming into contact with the reporting NSP’s transmission or distribution system; or (d) started by lightning striking the reporting NSP’s transmission or distribution system; or (e) started by any other thing forming part of or coming into contact with the reporting NSP’s transmission or distribution system; or (f) otherwise started by the reporting NSP’s transmission or distribution system. The responsibility for vegetation blow-in or grow-in should be assigned to the party (NSP or Other) that is responsible for management of the vegetation.
Vegetation blow-ins and fall-ins | An interruption to supply caused by vegetation blowing onto or falling onto network assets. For example wind born branches lodging across the phases of an overhead line, or an adjacent tree falling onto overhead lines. These interruptions to supply may be the responsibility of NSP or other responsible parties such as municipal councils or private land owners. The responsibility for vegetation blow-in or grow-in should be assigned to the party (NSP or Other) that is responsible for management of the vegetation.
Vegetation grow-ins | An interruption to supply caused by vegetation growing into network assets. For example a tree branch contacting overhead lines. These interruptions to supply may be the responsibility of NSP or other responsible parties such as municipal councils or private land owners. The responsibility for vegetation blow-in or grow-in should be assigned to the party (NSP or Other) that is responsible for management of the vegetation.
Customer (STPIS) | For STPIS purposes, the definition of customer is defined in the AER’s Distribution Reliability Measures Guideline.
Feeder | A power line, including underground cables, that is part of a distribution network.
Inadequately served customers | Inadequate level of service customer as defined in the AER's Distribution Reliability Measures Guideline.
SAIDI | The system average interruption duration index for the purposes of the service target performance incentive scheme.
SAIFI | The system average interruption frequency index for the purposes of the service target performance incentive scheme.
Service target performance incentive scheme (STPIS) | The AER's Service target performance incentive scheme published by the AER in accordance with the NER.
Threshold SAIDI value for inadequately served customers | Threshold for inadequately served customers equal to or greater than four times the Network average for unplanned SAIDI on a three-year rolling average basis compared with a network average customer.
Zone substation | A substation on a distribution network that transforms any voltage above 33 kV to levels at or below 33 kV but above 1 kV. As a guide, assets included within a zone substation include all equipment, buildings, structures, civil works and other assets that are located permanently within the substation boundary fence; but excluding the landing spans of incoming or outgoing overhead lines, and excluding incoming or outgoing cables and associated cable terminations (cables includes all power, communications and control cables).
Service outcomes
Major event day (MED) | A day in which the daily System Average Interruption Duration Index (SAIDI) exceeds a Major Event Day threshold value.
Excluded events (distribution) | For reliability of supply component exclusions, as defined in section 3.3 of the STPIS. For customer service component exclusions, as defined in section 5.4 of the STPIS.
Interruption | Any loss of electricity supply to a customers, as defined in the AER's Distribution Reliability Measures Guideline.
SAIDI | The system average interruption duration index for the purposes of the service target performance incentive scheme.
SAIFI | The system average interruption frequency index for the purposes of the service target performance incentive scheme.
System losses | As described or defined in the transmission STPIS. A measure of the electrical energy lost through the transmission of energy.
Overall utilisation | The sum of non-coincident Maximum Demand at the zone substation level divided by summation of zone substation thermal capacity.
Energy not supplied | An estimate of the amount of energy that would have been supplied using the transmission or distribution network (as applicable) if the outage on the network had not occurred. Note, the estimation method is set out in Appendix A of the relevant regulatory information instrument applying to the regulated electricity network.
Energy not supplied (planned) | An estimate energy not supplied due to planned outages.
Energy not supplied (unplanned) | An estimate of energy not supplied due to unplanned outages.
Export Services
Approved capacity | The maximum amount of export capacity a distribution network agrees to accept from a customer.
Average time to provide an offer to connect small generating units to the distribution network by connection type | The number of days that elapse between the electricity distributor receiving a connection application and making a connection offer in response to that application, divided by the number of connection offers made.
Battery | A device that reserves energy.
CBD feeder | A feeder in the CBD area of State or Territory capital that has been determined by the relevant participating jurisdiction as supplying electricity to predominantly commercial, high-rise buildings, supplied by a predominantly underground distribution network containing significant interconnection and redundancy when compared to urban areas.
Complaint | A written or verbal expression of dissatisfaction about an action, a proposed action, or a failure to act by a distributor, its employees or contractors. This includes failure by a distributor to observe its published practices or procedures.
Complaint management | Systems and processes for recording, analysing, responding to and resolving complaints. Examples of complaints management include but not limited to: complaint processing, analysis, transformer tapping.
Curtailment | The amount of energy that is prevented from being generated by export customers due to a planned or unplanned network constraint.
Customer (export services) | Metered customers with a NMI.
Demand Management Incentive Scheme (DMIS) | The AER’s Demand Management Incentive Scheme (DMIS), developed by the AER in 2017 and amended from time to time.
Demand Management Innovation Allowance Mechanism (DMIAM) | The AER's Demand Management Innovation Allowance Mechanism (DMIAM), as developed by the AER in 2017 and amended from time to time.
Distribution network | A network is defined in the NER: The apparatus, equipment, plant and buildings used to convey, and control the conveyance of, electricity excluding any connection assets. In relation to a Network Service Provider, a network owned, operated or controlled by that Network Service Provider.
Duration of full export access against the agreed limit | The time customers experience unconstrained access up to the maximum export limit set in their connection agreement.
Duration of no export access | The time customers are unable to export energy.
Energy exported | Electricity exported from a customer's premises to a distribution network.
Export capacity | The maximum amount of electricity a customer's system is capable of exporting to the distribution network in accordance with the connection agreement.
Export capacity request | The maximum amount of export capacity a customer requests when requesting export services from a distribution network.
Export customer | A customer (export services) that receives export services
Export limit compliance | The proportion of customers that have not exceeded the export limits in the reporting period.
Export services | Export services are services provided by distribution networks to accept and distribute energy generated within its network either behind the meter or front of meter.
Feeder | A power line, including underground cables, that is part of a distribution network.
Feeder classification | Classification of feeder based on location on network or type of load served (network type as defined in the STPIS). Non Tasmanian feeder classifications are: CBD, Urban; Short rural and Long Rural. Tasmanian feeder classifications are consistent with the requirements of the Tasmanian Electricity Code: Critical infrastructure; Urban; High density commercial, High density rural and Low density rural.
High voltage customer | Customer connected at higher than 415 volts.
Isolated network | An electricity distribution network that is not connected to another electricity network.
Long rural feeder | A feeder with a total feeder route length greater than 200 km, which is not a CBD feeder or urban feeder.
Low voltage customer | Customer connected at 240 or 415 volts.
Measured voltage data | Voltage data measured, collected or procured by the electricity distributor, using voltage measurement that may include power quality data from smart meters.
Net metered volumes | Metered energy net of load.
Non-residential customer | A customer who purchases energy not principally for personal, household or domestic use at premises.
Non-residential HV customer | Non-residential customer who is connected at higher than 415 volts.
Non-residential LV customer | Non-residential customer who is connected at 240 or 415 volts.
Overvoltage | The network voltage reaching a point where a customer's generating unit should reduce its real power output in response to increased voltage. This is typically expected to occur when network voltage exceeds 253V.
Potential customer generation | The amount of energy that would be generated by export customers if there were no network constraints.
Residential customer | A customer or customer (gas) who purchases energy principally for personal, household or domestic use at premises.
SAPS | Stand alone power system.
Short rural feeder | A feeder with a total feeder route length less than 200 km, which is not a CBD feeder or urban feeder.
Small business | A small customer that is not a residential customer, whose tariff is classified as a small business tariff, or otherwise identified as a small business in the NSP's customer database.
Small generating unit | As defined in AEMO's DER register as a generating unit: (a) with a nameplate rating that is less than 30 MW; and (b) which is owned, controlled or operated by a person that AEMO has exempted from the requirement to register as a Generator in respect of that generating unit in accordance with NER clause 2.2.1(c).
Smart meter | Also known as advanced meter. These meters record customer usages and demand in real time and can be remotely read in discrete time intervals.
Solar photovoltaic (PV) | A system for generating electricity that converts sunlight into electrical energy.
TAS - Critical infrastructure | Consistent with the requirements of the Tasmanian Electricity Code.
TAS - High density commercial | Consistent with the requirements of the Tasmanian Electricity Code.
TAS - High density rural | Consistent with the requirements of the Tasmanian Electricity Code.
TAS - Low density rural | Consistent with the requirements of the Tasmanian Electricity Code.
TAS - Urban | Consistent with the requirements of the Tasmanian Electricity Code.
Urban feeder | Has the meaning as defined in the STPIS scheme and Distribution Reliability Measures Guideline.
Small customer | A customer, usually residential or small business, whose annual usage falls under the relevant jurisdictional threshold (generally 100MWh).

## Validations
Data category 05: Service performance
Data validation is a process to improve data quality by checking the accuracy and quality of source data before using, importing or otherwise processing the data. Data validation rules provide the first level of data cleansing in the data quality process. They decrease the likelihood of errors at the point of data entry. Data validation rules cannot, however, guarantee data entry is correct, only that it has passed a pre-specified set of rules.
Validation Rules
Worksheet | Tables | input cells | Rules applying
Interruptions to supply | Interruptions to supply | Identify the service target performance incentive scheme (STPIS) that applied in the reporting period | Text
NULL invalid
|  | Incident reference number (business specified) | Free text or number
NULL valid
|  | Start date of interruption | DD/MM/YYYY
NULL invalid
|  | Start time of interruption | hh:mm:ss
NULL invalid
|  | End date of interruption | DD/MM/YYYY
NULL invalid
|  | End time of interruption | hh:mm:ss
NULL invalid
|  | Business specified (Feeder ID) | Free text - must align with data category 03 - network metrics - must align with previous years' submission where relevant
NULL invalid
|  | Business selection (Feeder service area description) | Free text - must align with data category 03 - network metrics - must align with previous years' submission where relevant
NULL invalid
|  | Business selection (Feeder classification) | Text
Valid responses are only: CBD / Urban / Short rural / Long rural Tasnetworks valid responses are only: Urban / critical infrastructure / high density commercial /high density rural / low density rural
NULL invalid
|  | Business selection (Reason for interruption) | Text
Valid responses are: Momentary; Animal; Asset Failure; Other; Overloads; Planned; Network Business; Third Party; Unknown; Vegetation; Weather; DRMG exclusion 3.3.1; DRMG exclusion 3.3.2; DRMG exclusion 3.3.3; DRMG exclusion 3.3.4; DRMG exclusion 3.3.5; DRMG exclusion 3.3.6; DRMG exclusion 3.3.7; DRMG exclusion 3.3.8; disconnection caused by retailer or a fault in electrical equipment owned by a Customer
NULL invalid
|  | Business selection (Detailed reason for interruption) | Text
Where the reason for interruption is 'Momentary' - NULL valid Where the reason for interruption is 'Animal' - Valid responses are: Animal impact; Animal nesting/burrowing; Animal other Where the reason for interruption is 'Asset failure' - valid responses are: Asset failure - HV; Asset failure - LV; Asset failure - Distribution substation; Asset failure - Zone substation; Asset failure - sub transmission Where the reason for interruption is 'Other' - NULL invalid - free text to describe cause Where the reason for interruption is 'Overloads' - NULL valid Where the reason for interruption is 'Planned' - NULL valid Where the reason for interruption is 'Network business' - Valid responses are: Network error; Switching and protection error Where the reason for interruption is 'Third party' - Valid responses are: Fire; Dig in; Unauthorised access; Vehicle impact; Third party other Where the reason for interruption is 'Unknown' - NULL valid Where the reason for interruption is 'Vegetation' - Valid responses are: Blow in/Fall in - NSP responsibility; Grow in - NSP responsibility; Blow in/Fall in - Other responsible party; Grow in - Other responsible party Where the reason for interruption is 'Weather' - NULL valid Where the reason for interruption is DRMG exclusion, or disconnection caused by retailer or a fault in electrical equipment owned by a Customer - NULL valid
|  | Number of customers (Customers (STPIS) affected by interruption) | ≥0
Integer
NULL invalid
|  | Total customer minutes off supply | Minutes
≥0
NULL invalid
|  | Average duration of sustained customer interruptions | Minutes
≥0
NULL invalid
|  | Restoration stage | Integer
≥1
NULL invalid
|  | Major event day | Text - Valid responses are: Yes; No
NULL invalid
|  | Reference to supporting evidence (DRMG exclusions only) | Text
NULL invalid where "reason for interruption" is a DRMG exclusion, else NULL valid
Call centre | Daily Performance Data - unplanned | Number of calls | Integer
≥0
NULL invalid
Momentary interruptions |  | Identify the service target performance incentive scheme (STPIS) that applied in the reporting period | Text
NULL invalid
|  | Identify the Momentary interruptions parameter that applies in the reporting year | Valid responses are: None; MAIFI; MAIFIe
NULL invalid
| MAIFI impact | All events | Number
≤1
NULL valid where not applicable
|  | After removing excluded events | Number
≤1
NULL valid where not applicable
Other service measures | Guaranteed Service Level | Scheme administrator | Free text
NULL invalid
|  | Specification of scheme | Free text
NULL invalid
| Instances where GSL not met | Number of instances | ≥0
NULL invalid
|  | Business specified GSL categories | Free text - must align with business specified GSL category from data category 6 - operational expenditure - must align with previous years submission where relevant
NULL invalid
|  | Business specified GSL parameters | Free text - must align with business specified GSL parameter from data category 6 - operational expenditure - must align with previous years submission where relevant
NULL invalid
| Fire starts | Number of events | NULL invalid
≥0
| Inadequately served customers (STPIS) | SAIDI | NULL invalid
≥0
|  | SAIFI | NULL invalid
≥0
| Top 5 feeders with most inadequately served customers (STPIS) | SAIDI | NULL response valid if top 5 zone substation data provided
≥0
|  | SAIFI | NULL response valid if top 5 zone substation data provided
≥0
|  | Number of customers | NULL response valid if top 5 zone substation data provided
≥0
|  | Business defined | Free text
NULL response valid if top 5 zone substation data provided
| Top 5 zone substations with most inadequately served customers (STPIS) | SAIDI | NULL response valid if top 5 feeder data provided
≥0
|  | SAIFI | NULL response valid if top 5 feeder data provided
≥0
|  | Number of customers | NULL response valid if top 5 feeder data provided
≥0
|  | Business defined | Free text
NULL response valid if top 5 feeder data provided
Service outcomes | Reliability | Minutes/customer | Number
NULL invalid
|  | Interruptions/customer | Number
NULL invalid
| Energy not supplied | GWh | ≥0
NULL invalid
| System losses | % | NULL invalid
| Capacity utilisation | % | NULL invalid
Export Services | Average duration of full export access against the agreed limit | Duration (Residential) | hh:mm
≥0
NULL invalid
|  | Duration (Low voltage non residential) | hh:mm
≥0
NULL valid if data provided at "Low voltage small business" & "Low voltage non residential (excluding small business)", else NULL invalid
NULL valid if data provided at "Low voltage small business" & "Low voltage non residential (excluding small business)", else NULL invalid
|  | Duration (Low voltage small business) | hh:mm
≥0
NULL valid if data provided at "Low voltage non residential", else NULL invalid
|  | Duration (Low voltage non residential (excluding small business)) | hh:mm
≥0
NULL valid if data provided at "Low voltage non residential", else NULL invalid
|  | Duration (High voltage non residential) | hh:mm
≥0
NULL invalid
| Average duration of no export access | Duration (Residential) | hh:mm
≥0
NULL invalid
|  | Duration (Low voltage non residential) | hh:mm
≥0
NULL valid if data provided at "Low voltage small business" & "Low voltage non residential (excluding small business)", else NULL invalid
|  | Duration (Low voltage small business) | hh:mm
≥0
NULL valid if data provided at "Low voltage non residential", else NULL invalid
|  | Duration (Low voltage non residential (excluding small business)) | hh:mm
≥0
NULL valid if data provided at "Low voltage non residential", else NULL invalid
|  | Duration (High voltage non residential) | hh:mm
≥0
NULL invalid
| Average upper limit - customers with flexible export limits | Residential (kW) | ≥0
NULL invalid
|  | Low voltage non residential (kW) | ≥0
NULL valid if data provided at "Low voltage small business" & "Low voltage non residential (excluding small business)", else NULL invalid
|  | Low voltage small business (kW) | ≥0
NULL valid if data provided at "Low voltage non residential", else NULL invalid
|  | Low voltage non residential (excluding small business) (kW) | ≥0
NULL valid if data provided at "Low voltage non residential", else NULL invalid
|  | High voltage non residential (kW) | ≥0
NULL invalid
| Average time upper limit unavailable - customers with flexible export limits | Duration (Residential) | hh:mm
≥0
NULL invalid
|  | Duration (Low voltage non residential) | hh:mm
≥0
NULL valid if data provided at "Low voltage small business" & "Low voltage non residential (excluding small business)", else NULL invalid
|  | Duration (Low voltage small business) | hh:mm
≥0
NULL valid if data provided at "Low voltage non residential", else NULL invalid
|  | Duration (Low voltage non residential (excluding small business)) | hh:mm
≥0
NULL valid if data provided at "Low voltage non residential", else NULL invalid
|  | Duration (High voltage non residential) | hh:mm
≥0
NULL invalid
| Export limit compliance | % | % (1 = 1%)
≥0, <= 100
NULL valid - With no justification required in BoP
| Complaints relating to export services | Number of complaints | Integer
≥0
NULL valid
| Complaints relating to overvoltage | Number of complaints | Integer
≥0
NULL valid
| Average time to provide an offer | Days | Integer
≥0
NULL valid

## Checks and Totals
Data category 05: Service performance
Totals and Data Hierarchies
Worksheet | Table | Sub table | Reference |  | Worksheet | Table | Sub table | Reference | Check
Export Services | Complaints relating to export services | Customer (export services) type | Total complaints relating to overvoltage export services | = | Export Services | Complaints relating to export services | Feeder classifications | Total of sub table | TRUE
Export Services | Complaints relating to overvoltage | Customer (export services) type | Total complaints relating to overvoltage export services | = | Export Services | Complaints relating to overvoltage | Feeder classifications | Total of sub table | TRUE

## Interruptions to supply
Data category 05: Service performance
Interruptions to supply
Identify the service target performance incentive scheme (STPIS) that applied in the reporting period | [6 empty] | STPIS V2 | [8 empty] | Current RIN reference | Assurance standard - Non-Financial data
Incident reference number | Start date of interruption | Start time of interruption | End date of interruption | End time of interruption | Feeder ID | Feeder service area description | Feeder classification | Reason for interruption | Detailed reason for interruption | Customers (STPIS) affected by interruption | Total customer minutes off supply | Average duration of sustained customer interruptions | Restoration stage | Major event day | Reference to supporting evidence (DRMG Exclusions only) | NEW - table replaces CA6.3 Enables derivation of data previously collected in AR3.6.8; AR3.6.9; AR6.2; AR6.8.
| DD/MM/YYYY | hh:mm:ss | DD/MM/YYYY | hh:mm:ss |  |  | Select from options listed below | Select from options listed below | Select from options listed below | Number of customers | (Minutes) | (Minutes) | Stage number | Yes/No
<business specified> |  |  |  |  | <business specified> | <business specified> | <business selection> | <business selection> | <business selection> | [5 empty] | <business specified> |  | ASAE 3000
<business specified> |  |  |  |  | <business specified> | <business specified> | <business selection> | <business selection> | <business selection> | [5 empty] | <business specified> |  | ASAE 3000
<business specified> |  |  |  |  | <business specified> | <business specified> | <business selection> | <business selection> | <business selection> | [5 empty] | <business specified> |  | ASAE 3000
<business specified> |  |  |  |  | <business specified> | <business specified> | <business selection> | <business selection> | <business selection> | [5 empty] | <business specified> |  | ASAE 3000
<business specified> |  |  |  |  | <business specified> | <business specified> | <business selection> | <business selection> | <business selection> | [5 empty] | <business specified> |  | ASAE 3000
<additional rows allowed>
[7 empty] | Feeder classification | Reason for interruption | Detailed reason for interruption
[7 empty] | CBD | momentary
[7 empty] | Urban | animal | Animal impact
[7 empty] | Short rural | animal | Animal nesting/burrowing
[7 empty] | Long rural | animal | Animal other
[7 empty] | TAS - Critical infrastructure | asset failure | Asset failure - HV
[7 empty] | TAS - Urban | asset failure | Asset failure - LV
[7 empty] | TAS - High density commercial | asset failure | Asset failure - Distribution substation
[7 empty] | TAS - High density rural | asset failure | Asset failure - Zone substation
[7 empty] | TAS - Low density rural | asset failure | Assets failure - sub transmission
other
overloads
planned
[8 empty] | network business | Network error
[8 empty] | network business | Switching and protection error
[8 empty] | third party | Fire
[8 empty] | third party | Dig in
[8 empty] | third party | Unauthorised access
[8 empty] | third party | Vehicle impact
[8 empty] | third party | Third party other
unknown
[8 empty] | vegetation | Blow in/Fall in - NSP responsibility
[8 empty] | vegetation | Grow in - NSP responsibility
[8 empty] | vegetation | Blow in/Fall in - Other responsible party
[8 empty] | vegetation | Grow in - Other responsible party
weather
DRMG exclusion 3.3.1
DRMG exclusion 3.3.2
DRMG exclusion 3.3.3
DRMG exclusion 3.3.4
DRMG exclusion 3.3.5
DRMG exclusion 3.3.6
DRMG exclusion 3.3.7
DRMG exclusion 3.3.8
disconnection caused by retailer or a fault in electrical equipment owned by a Customer

## Call Centre
Data category 05: Service performance
Call centre
|  |  |  | Current RIN reference | Assurance standard - Non-Financial data
Daily performance data - unplanned
| Total number of calls received (calls to call centre fault line) | Number of calls received (after removing excluded events) | Number of calls answered in 30 seconds (after removing excluded events)
Date | Number of calls | Number of calls | Number of calls
2022-07-01 |  |  |  | AR 6.7.1 | ASAE 3000
2023-07-02 |  |  |  | AR 6.7.1 | ASAE 3000
… |  |  |  | AR 6.7.1 | ASAE 3000
… |  |  |  | AR 6.7.1 | ASAE 3000
+ |  |  |  | AR 6.7.1 | ASAE 3000
+ |  |  |  | AR 6.7.1 | ASAE 3000
… |  |  |  | AR 6.7.1 | ASAE 3000
… |  |  |  | AR 6.7.1 | ASAE 3000
2023-06-08 |  |  |  | AR 6.7.1 | ASAE 3000
2021-06-29 |  |  |  | AR 6.7.1 | ASAE 3000
2021-06-30 |  |  |  | AR 6.7.1 | ASAE 3000

## Momentary interruptions
Data category 05: Service performance
Momentary interruptions
Identify the service target performance incentive scheme (STPIS) that applied in the reporting period | [9 empty] | STPIS V2 | Current RIN reference | Assurance standard - Non-Financial data
Identify the Momentary interruptions parameter that applies in the reporting year (None, MAIFI, MAIFIe) | [9 empty] | MAIFI
MAIFI impact
| CBD |  | Urban |  | Short rural |  | Long rural |  | Network
Date | All events | After removing excluded events | All events | After removing excluded events | All events | After removing excluded events | All events | After removing excluded events | All events | After removing excluded events
2022-07-01 | [10 empty] | AR 6.7.1 | ASAE 3000
2023-07-02 | [10 empty] | AR 6.7.1 | ASAE 3000
… | [10 empty] | AR 6.7.1 | ASAE 3000
… | [10 empty] | AR 6.7.1 | ASAE 3000
+ | [10 empty] | AR 6.7.1 | ASAE 3000
+ | [10 empty] | AR 6.7.1 | ASAE 3000
… | [10 empty] | AR 6.7.1 | ASAE 3000
… | [10 empty] | AR 6.7.1 | ASAE 3000
2023-06-08 | [10 empty] | AR 6.7.1 | ASAE 3000
2021-06-29 | [10 empty] | AR 6.7.1 | ASAE 3000
2021-06-30 | [10 empty] | AR 6.7.1 | ASAE 3000
None
MAIFI
MAIFIe

## Other service measures
Data category 05: Service performance
Other service measures
| Units |  | Current RIN reference | Assurance standard - Non-Financial data
Guaranteed service levels |  | Service performance
GSL REQUIREMENTS
Scheme administrator | Free text |  | NEW
Specification of scheme | Free text |  | NEW
Instances where GSL not met
<Business specified GSL category 1>
<Business specified GSL parameter 1.1> | Number of instances |  | AR 6.9.1 | ASAE 3000
<Business specified GSL parameter 1.2> | Number of instances |  | AR 6.9.1 | ASAE 3000
<Business specified GSL parameter 1.3> | Number of instances |  | AR 6.9.1 | ASAE 3000
<Business specified GSL category 2>
<Business specified GSL parameter 2.1> | Number of instances |  | AR 6.9.1 | ASAE 3000
<Business specified GSL parameter 2.2> | Number of instances |  | AR 6.9.1 | ASAE 3000
<Business specified GSL parameter 2.3> | Number of instances |  | AR 6.9.1 | ASAE 3000
<Business specified GSL category 3>
<Business specified GSL parameter 3.1> | Number of instances |  | AR 6.9.1 | ASAE 3000
<Business specified GSL parameter 3.2> | Number of instances |  | AR 6.9.1 | ASAE 3000
<Business specified GSL parameter 3.3> | Number of instances |  | AR 6.9.1 | ASAE 3000
<additional Business specified GSL Categories (and corresponding GSL Parameters) allowed>
Fire starts
Number of fire starts caused by vegetation grow-ins (NSP responsibility) | Number of events |  | CA2.7.3 | ASAE 3000
Number of fire starts caused by vegetation blow-ins and fall-ins (NSP responsibility) | Number of events |  | CA2.7.3 | ASAE 3000
Number of fire starts caused by vegetation grow-ins (other party responsibility) | Number of events |  | CA2.7.3 | ASAE 3000
Number of fire starts caused by vegetation blow-ins and fall-ins (other party responsibility) | Number of events |  | CA2.7.3 | ASAE 3000
Number of fire starts caused by asset failure (poles) | Number of events |  | NEW | ASAE 3000
Number of fire starts caused by asset failure (pole top structures) | Number of events |  | NEW | ASAE 3000
Number of fire starts caused by asset failure (other) | Number of events |  | NEW | ASAE 3000
Inadequately served customers (STPIS)
SAIDI VALUES
Threshold SAIDI value for inadequately served customers | SAIDI |  | AR 6.6.2 | ASAE 3000
Average unplanned SAIDI of inadequately served customers | SAIDI |  | AR 6.6.2 | ASAE 3000
Highest unplanned SAIDI of inadequately served customers | SAIDI |  | AR 6.6.2 | ASAE 3000
SAIFI VALUES
Average unplanned SAIFI of inadequately served customers | SAIFI |  | AR 6.6.2 | ASAE 3000
Highest unplanned SAIFI of inadequately served customers | SAIFI |  | AR 6.6.2 | ASAE 3000
Top 5 feeders with most inadequately served customers (STPIS)
SAIDI VALUE
<business specified> | SAIDI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIDI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIDI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIDI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIDI |  | AR 6.6.2 | ASAE 3000
SAIFI VALUE
<business specified> | SAIFI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIFI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIFI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIFI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIFI |  | AR 6.6.2 | ASAE 3000
NUMBER OF INADEQUATELY SERVED CUSTOMERS (STPIS)
<business specified> | Number of customers |  | AR 6.6.2 | ASAE 3000
<business specified> | Number of customers |  | AR 6.6.2 | ASAE 3000
<business specified> | Number of customers |  | AR 6.6.2 | ASAE 3000
<business specified> | Number of customers |  | AR 6.6.2 | ASAE 3000
<business specified> | Number of customers |  | AR 6.6.2 | ASAE 3000
Top 5 zone substations with most inadequately served customers
<NULL response valid if top 5 feeder data provided>
SAIDI VALUE
<business specified> | SAIDI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIDI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIDI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIDI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIDI |  | AR 6.6.2 | ASAE 3000
SAIFI VALUE
<business specified> | SAIFI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIFI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIFI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIFI |  | AR 6.6.2 | ASAE 3000
<business specified> | SAIFI |  | AR 6.6.2 | ASAE 3000
NUMBER OF INADEQUATELY SERVED CUSTOMERS
<business specified> | Number of customers |  | AR 6.6.2 | ASAE 3000
<business specified> | Number of customers |  | AR 6.6.2 | ASAE 3000
<business specified> | Number of customers |  | AR 6.6.2 | ASAE 3000
<business specified> | Number of customers |  | AR 6.6.2 | ASAE 3000
<business specified> | Number of customers |  | AR 6.6.2 | ASAE 3000

## Service outcomes
Data category 05: Service performance
Service outcomes
Service target performance incentive scheme (STPIS) |  | STPIS V1 | Current RIN reference | Assurance standard - Non-Financial data
Reliability | Units | Service performance
Inclusive of MEDs
Whole of network unplanned SAIDI | Minutes/customer |  | EB3.6.1 | ASAE 3000
Whole of network unplanned SAIDI excluding excluded outages | Minutes/customer |  | EB3.6.1 | ASAE 3000
Whole of network unplanned SAIFI | Interruptions/customer |  | EB3.6.1 | ASAE 3000
Whole of network unplanned SAIFI excluding excluded outages | Interruptions/customer |  | EB3.6.1 | ASAE 3000
Exclusive of MEDs
Whole of network unplanned SAIDI | Minutes/customer |  | EB3.6.1 | ASAE 3000
Whole of network unplanned SAIDI excluding excluded outages | Minutes/customer |  | EB3.6.1 | ASAE 3000
Whole of network unplanned SAIFI | Interruptions/customer |  | EB3.6.1 | ASAE 3000
Whole of network unplanned SAIFI excluding excluded outages | Interruptions/customer |  | EB3.6.1 | ASAE 3000
Energy not supplied
Planned | GWh |  | EB3.6.2 | ASAE 3000
Unplanned | GWh |  | EB3.6.2 | ASAE 3000
Total energy not supplied | GWh | 0
System losses
System losses | % |  | EB3.6.3 | ASAE 3000
Capacity utilisation
Overall utilisation | % |  | EB3.6.4 | ASAE 3000

## Export services
Data category 05: Service performance
Export Services
| Units | Service performance | Current RIN reference | Assurance standard - Non-Financial data
Average duration of full export access against the agreed limit
SOLAR PV ONLY
Residential | hh:mm |  | ES Info Req 3.7.1
Non residential LV | hh:mm |  | ES Info Req 3.7.1
Low voltage small business | hh:mm |  | NEW
Low voltage non residential (excluding small business) | hh:mm |  | NEW
Non residential HV | hh:mm |  | ES Info Req 3.7.1
SOLAR PV AND BATTERY
Residential | hh:mm |  | ES Info Req 3.7.2
Non residential LV | hh:mm |  | ES Info Req 3.7.2
Low voltage small business | hh:mm |  | NEW
Low voltage non residential (excluding small business) | hh:mm |  | NEW
Non residential HV | hh:mm |  | ES Info Req 3.7.2
BATTERY ONLY
Residential | hh:mm |  | ES Info Req 3.7.3
Non residential LV | hh:mm |  | ES Info Req 3.7.3
Low voltage small business | hh:mm |  | NEW
Low voltage non residential (excluding small business) | hh:mm |  | NEW
Non residential HV | hh:mm |  | ES Info Req 3.7.3
Average duration of no export access
SOLAR PV ONLY
Residential | hh:mm |  | ES Info Req 3.8.1
Non residential LV | hh:mm |  | ES Info Req 3.8.1
Low voltage small business | hh:mm |  | NEW
Low voltage non residential (excluding small business) | hh:mm |  | NEW
Non residential HV | hh:mm |  | ES Info Req 3.8.1
SOLAR PV AND BATTERY
Residential | hh:mm |  | ES Info Req 3.8.2
Non residential LV | hh:mm |  | ES Info Req 3.8.2
Low voltage small business | hh:mm |  | NEW
Low voltage non residential (excluding small business) | hh:mm |  | NEW
Non residential HV | hh:mm |  | ES Info Req 3.8.2
BATTERY ONLY
Residential | hh:mm |  | ES Info Req 3.8.3
Non residential LV | hh:mm |  | ES Info Req 3.8.3
Low voltage small business | hh:mm |  | NEW
Low voltage non residential (excluding small business) | hh:mm |  | NEW
Non residential HV | hh:mm |  | ES Info Req 3.8.3
Average upper limit - customers with flexible export limits
FEEDER CLASSIFICATION
CBD | kW |  | ES Info Req 3.10.2
Urban / TAS - Urban | kW |  | ES Info Req 3.10.2
Short rural | kW |  | ES Info Req 3.10.2
Long rural | kW |  | ES Info Req 3.10.2
TAS - Low density rural | kW |  | ES Info Req 3.10.2
TAS - High density rural | kW |  | ES Info Req 3.10.2
TAS - High density commercial | kW |  | ES Info Req 3.10.2
TAS - Critical infrastructure | kW |  | ES Info Req 3.10.2
CUSTOMER (EXPORT SERVICES) TYPE
Average flexible export upper limit | kW | 0 | ES Info Req 3.10.1
Residential | kW |  | ES Info Req 3.10.1
Non residential LV | kW |  | ES Info Req 3.10.1
Low voltage small business | kW |  | NEW
Low voltage non residential (excluding small business) | kW |  | NEW
Non residential HV | kW |  | ES Info Req 3.10.1
CUSTOMERS ON ISOLATED NETWORKS | kW |  | ES Info Req 3.10.2
Average time upper limit unavailable - customers with flexible export limits
FEEDER CLASSIFICATION
CBD | hh:mm |  | ES Info Req 3.11.2
Urban / TAS - Urban | hh:mm |  | ES Info Req 3.11.2
Short rural | hh:mm |  | ES Info Req 3.11.2
Long rural | hh:mm |  | ES Info Req 3.11.2
TAS - Low density rural | hh:mm |  | ES Info Req 3.11.2
TAS - High density rural | hh:mm |  | ES Info Req 3.11.2
TAS - High density commercial | hh:mm |  | ES Info Req 3.11.2
TAS - Critical infrastructure | hh:mm |  | ES Info Req 3.11.2
CUSTOMER (EXPORT SERVICES) TYPE
Average time the flexible export upper limit was unavailable | hh:mm | 0 | ES Info Req 3.11.1
Residential | hh:mm |  | ES Info Req 3.11.1
Non residential LV | hh:mm |  | ES Info Req 3.11.1
Low voltage small business | hh:mm |  | NEW
Low voltage non residential (excluding small business) | hh:mm |  | NEW
Non residential HV | hh:mm |  | ES Info Req 3.11.1
CUSTOMERS ON ISOLATED NETWORKS | hh:mm |  | ES Info Req 3.10.2
Export limit compliance
Compliance with static export limits | % |  | ES Info Req 3.12
Compliance with flexible export limits | % |  | ES Info Req 3.12
Complaints relating to export services
FEEDER CLASSIFICATION
CBD | Number of complaints |  | ES Info Req 4.1.2
Urban / TAS - Urban | Number of complaints |  | ES Info Req 4.1.2
Short rural | Number of complaints |  | ES Info Req 4.1.2
Long rural | Number of complaints |  | ES Info Req 4.1.2
TAS - Low density rural | Number of complaints |  | ES Info Req 4.1.2
TAS - High density rural | Number of complaints |  | ES Info Req 4.1.2
TAS - High density commercial | Number of complaints |  | ES Info Req 4.1.2
TAS - Critical infrastructure | Number of complaints |  | ES Info Req 4.1.2
CUSTOMER (EXPORT SERVICES) TYPE
Total complaints relating to overvoltage (export services) | Number of complaints | 0 | ES Info Req 4.1.1
Residential | Number of complaints |  | ES Info Req 4.1.1
Non residential LV | Number of complaints |  | ES Info Req 4.1.1
Low voltage small business | Number of complaints |  | NEW
Low voltage non residential (excluding small business) | Number of complaints |  | NEW
Non residential HV | Number of complaints |  | ES Info Req 4.1.1
Complaints relating to overvoltage
FEEDER CLASSIFICATION
CBD | Number of complaints |  | ES Info Req 4.2.2
Urban / TAS - Urban | Number of complaints |  | ES Info Req 4.2.2
Short rural | Number of complaints |  | ES Info Req 4.2.2
Long rural | Number of complaints |  | ES Info Req 4.2.2
TAS - Low density rural | Number of complaints |  | ES Info Req 4.2.2
TAS - High density rural | Number of complaints |  | ES Info Req 4.2.2
TAS - High density commercial | Number of complaints |  | ES Info Req 4.2.2
TAS - Critical infrastructure | Number of complaints |  | ES Info Req 4.2.2
CUSTOMER (EXPORT SERVICES) TYPE
Total complaints relating to overvoltage | Number of complaints | 0 | ES Info Req 4.2.1
Residential | Number of complaints |  | ES Info Req 4.2.1
Non residential LV | Number of complaints |  | ES Info Req 4.2.1
Low voltage small business | Number of complaints |  | NEW
Low voltage non residential (excluding small business) | Number of complaints |  | NEW
Non residential HV | Number of complaints |  | ES Info Req 4.2.1
Average time to provide an offer
AVERAGE TIME TO PROVIDE AN OFFER TO CONNECT SMALL GENERATING UNITS TO THE DISTRIBUTION NETWORK
Model standing offer or equivalent | Days |  | ES Info Req 4.7
Low voltage connections outside model standing offers | Days |  | ES Info Req 4.7
High voltage connections | Days |  | ES Info Req 4.7